## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-20 00:00:00 | 2.02 | 214.347 | 0.45 | 171.378 | 0 | 154.033 | 1.32 | 107 | -6.07 | 889.483 | 36.261 | 0.30128
2019-02-20 00:15:00 | 1.59 | 212.3 | 0.034 | 170.265 | 0 | 154.033 | 1.054 | 106.733 | -5.898 | 889.8 | 35.941 | 0.30696
2019-02-20 00:30:00 | 1.514 | 213.38 | 0 | 169.549 | 0 | 154 | 0.769 | 107 | -6.286 | 889.6 | 36.411 | 0.30839
2019-02-20 00:45:00 | 0.027 | 213.353 | 0 | 169.542 | 0.047 | 102.067 | 1.764 | 92.467 | -6.09 | 890.033 | 36.304 | 0.30981
2019-02-20 01:00:00 | 0 | 213.513 | 0.29 | 125.9 | 1.623 | 60.1 | 2.624 | 68.1 | -6.915 | 889.8 | 37.28 | 0.23662
2019-02-20 01:15:00 | 0 | 213.573 | 0 | 114.09 | 1.587 | 79.367 | 2.68 | 78.633 | -7.21 | 889.933 | 38.149 | 0.43131
2019-02-20 01:30:00 | 0.223 | 213.553 | 0.62 | 107.038 | 1.996 | 104.933 | 2.469 | 99.233 | -7.234 | 889.867 | 39.136 | 0.69707
2019-02-20 01:45:00 | 1.736 | 162.88 | 2.304 | 121.126 | 3.019 | 111.4 | 3.114 | 103.033 | -7.131 | 890.183 | 39.269 | 0.82639
2019-02-20 02:00:00 | 1.546 | 147.12 | 2.207 | 105.546 | 1.778 | 102.333 | 2.197 | 94.867 | -7.15 | 889.992 | 41.728 | 2.2298
2019-02-20 02:15:00 | 1.901 | 140.257 | 2.411 | 102.07 | 1.9 | 99.4 | 2.391 | 94.367 | -7.622 | 889.75 | 41.675 | 3.253
2019-02-20 02:30:00 | 1.858 | 160.887 | 2.31 | 107.823 | 1.73 | 101 | 2.062 | 89.733 | -7.712 | 889.658 | 42.304 | 4.2328
2019-02-20 02:45:00 | 2.434 | 171.707 | 2.733 | 120.728 | 2.585 | 111.267 | 3.005 | 104.8 | -8.17 | 889.808 | 44.107 | 2.6007
2019-02-20 03:00:00 | 2.614 | 173.553 | 2.779 | 128.478 | 3.168 | 122.3 | 3.693 | 115.4 | -8.03 | 890.017 | 45.141 | 2.6966
2019-02-20 03:15:00 | 2.666 | 172.46 | 2.726 | 131.834 | 3.134 | 123.867 | 3.516 | 115.1 | -7.559 | 889.867 | 43.755 | 2.4074
2019-02-20 03:30:00 | 2.862 | 184.067 | 2.461 | 134.758 | 2.974 | 121.667 | 3.427 | 114.267 | -8.274 | 889.783 | 44.533 | 2.1807
2019-02-20 03:45:00 | 2.225 | 168.4 | 2.22 | 129.128 | 2.665 | 111.467 | 2.987 | 105.9 | -7.772 | 889.592 | 45.205 | 1.3217
2019-02-20 04:00:00 | 3.323 | 176.56 | 2.731 | 136.606 | 3.004 | 123.833 | 3.568 | 114.967 | -7.943 | 889.933 | 44.875 | 0.76741
2019-02-20 04:15:00 | 3.307 | 190.167 | 2.686 | 152.633 | 2.419 | 131 | 3.146 | 120.7 | -8.924 | 889.925 | 50.379 | 0.48318
2019-02-20 04:30:00 | 2.891 | 201.54 | 2.047 | 152.217 | 2.059 | 142.833 | 2.876 | 118.933 | -8.604 | 889.525 | 50.773 | 0.095926
2019-02-20 04:45:00 | 3 | 211.4 | 1.763 | 160.638 | 1.777 | 145.667 | 2.98 | 115.2 | -8.691 | 889.858 | 48.309 | 0.19327
2019-02-20 05:00:00 | 2.718 | 215.367 | 1.224 | 154.047 | 1.912 | 146.233 | 2.908 | 123.167 | -8.674 | 889.95 | 49.237 | 0.21957
2019-02-20 05:15:00 | 3.303 | 223.873 | 1.416 | 168.341 | 1.537 | 153.533 | 2.301 | 136.467 | -8.538 | 889.375 | 48.992 | 0.20535
2019-02-20 05:30:00 | 4.345 | 227.933 | 1.756 | 203.879 | 0.888 | 168.867 | 1.66 | 147 | -10.149 | 889.942 | 52.011 | 0.30554
2019-02-20 05:45:00 | 3.55 | 232.733 | 1.785 | 207.482 | 1.161 | 176 | 1.906 | 147.1 | -8.891 | 889.55 | 51.893 | 0.30696
2019-02-20 06:00:00 | 4.386 | 234.933 | 2.497 | 228.786 | 1.324 | 203 | 1.696 | 148 | -8.708 | 890.092 | 51.541 | 0.30412
2019-02-20 06:15:00 | 3.618 | 243.9 | 2.348 | 254.225 | 0.047 | 217.667 | 0 | 148 | -9.024 | 889.775 | 56.149 | 0.29986
2019-02-20 06:30:00 | 3.552 | 240.307 | 2.072 | 257.007 | 0 | 237.1 | 0 | 148 | -8.17 | 889.783 | 53.429 | 0.30128
2019-02-20 06:45:00 | 3.132 | 230.433 | 0.146 | 255.425 | 0 | 236.867 | 1.72 | 148.1 | -7.739 | 889.717 | 53.109 | 0.30128
2019-02-20 07:00:00 | 3.269 | 225.473 | 0.34 | 245.426 | 0 | 237 | 1.024 | 148.1 | -8.354 | 890.192 | 54.965 | 0.30696
2019-02-20 07:15:00 | 4.064 | 220.007 | 0.56 | 244.602 | 0 | 236.733 | 1.054 | 148 | -9.574 | 889.883 | 55.979 | 0.30412
2019-02-20 07:30:00 | 3.34 | 212.833 | 0.314 | 220.493 | 0 | 236.733 | 1.652 | 148 | -9.058 | 889.458 | 56.096 | 0.30839
2019-02-20 07:45:00 | 2.949 | 210.427 | 0.07 | 220.509 | 0 | 236.867 | 1.703 | 148 | -8.11 | 889.767 | 54.645 | 0.30981
2019-02-20 08:00:00 | 1.54 | 209.4 | 0 | 220.465 | 0 | 237 | 1.215 | 148.033 | -8.674 | 890.308 | 55.573 | 0.30554
2019-02-20 08:15:00 | 2.096 | 200.533 | 0 | 178.274 | 0 | 113.033 | 0.433 | 148 | -8.658 | 890.017 | 56.213 | 0.30483
2019-02-20 08:30:00 | 1.902 | 229.033 | 0.523 | 198.889 | 0.476 | 196.133 | 1.942 | 138.167 | -8.941 | 890.075 | 54.848 | 0.25936
2019-02-20 08:45:00 | 2.99 | 232.933 | 0.964 | 192.161 | 0.127 | 153.933 | 1.713 | 108.467 | -9.195 | 889.717 | 53.963 | 0.1478
2019-02-20 09:00:00 | 3.256 | 230.9 | 1.644 | 185.08 | 0.3 | 137.033 | 1.727 | 100.5 | -10.984 | 890.108 | 58.219 | 0.36168
2019-02-20 09:15:00 | 3.576 | 234.54 | 1.904 | 189.247 | 1.778 | 146.133 | 2.804 | 112.933 | -9.333 | 889.95 | 54.763 | 0.065372
2019-02-20 09:30:00 | 2.667 | 229.74 | 0.96 | 189.615 | 0.33 | 147.867 | 1.76 | 94.2 | -10.104 | 889.783 | 57.429 | 0.73117
2019-02-20 09:45:00 | 1.814 | 256.28 | 0 | 190.55 | 0 | 159.05 | 1.643 | 112.3 | -7.606 | 889.742 | 52.235 | 0.30057
2019-02-20 10:00:00 | 0.821 | 264.8 | 0 | 190.574 | 0 | 159.483 | 2.153 | 128.867 | -6.512 | 889.883 | 48.437 | 0.1947
2019-02-20 10:15:00 | 0 | 241.007 | 0 | 190.531 | 0.942 | 134.833 | 2.309 | 126.3 | -3.742 | 889.833 | 42.763 | 0.19185
2019-02-20 10:30:00 | 0 | 231.64 | 0.043 | 177.577 | 1.217 | 135.367 | 2.582 | 120.267 | -1.389 | 889.9 | 36.309 | 0.15775
2019-02-20 10:45:00 | 1.398 | 132.853 | 0.919 | 126.597 | 1.133 | 118.633 | 2.225 | 106.8 | -3.401 | 889.4 | 34.624 | 0.68428
2019-02-20 11:00:00 | 3.656 | 99.717 | 3.522 | 93.5 | 3.164 | 100.8 | 3.554 | 101.167 | -2.805 | 889.75 | 32.795 | 2.1686
2019-02-20 11:15:00 | 3.68 | 104.32 | 3.62 | 100.521 | 3.182 | 104.367 | 3.601 | 106.1 | -2.76 | 889.683 | 35.093 | 2.7137
2019-02-20 11:30:00 | 3.551 | 113.437 | 3.211 | 103.802 | 2.776 | 102.033 | 3.477 | 98.433 | -2.622 | 890.217 | 30.171 | 2.8103
2019-02-20 11:45:00 | 3.66 | 92.7 | 3.467 | 88.325 | 3.539 | 91.167 | 3.984 | 86.133 | -2.23 | 889.45 | 28.875 | 3.4548
2019-02-20 12:00:00 | 4.079 | 90.513 | 3.985 | 88.632 | 4.07 | 93.267 | 4.527 | 91 | -1.676 | 889.517 | 28.304 | 5.2724
2019-02-20 12:15:00 | 4.48 | 83.887 | 4.499 | 79.173 | 4.471 | 87.8 | 4.876 | 84.2 | -1.58 | 889.833 | 27.888 | 6.6161
2019-02-20 12:30:00 | 4.4 | 85.057 | 4.6 | 77.037 | 4.617 | 85.167 | 4.662 | 85.133 | -1.299 | 889.983 | 26.832 | 7.4752
2019-02-20 12:45:00 | 4.793 | 98.873 | 4.174 | 89.152 | 4.223 | 89.3 | 4.661 | 86.6 | -1.115 | 889.517 | 26.053 | 9.3162
2019-02-20 13:00:00 | 4.874 | 80.933 | 4.932 | 77.683 | 5.072 | 84.833 | 5.127 | 82.6 | -0.768 | 889.883 | 25.392 | 9.9152
2019-02-20 13:15:00 | 4.592 | 91.898 | 4.606 | 86.142 | 4.329 | 91.033 | 4.564 | 86.567 | -0.262 | 889.8 | 25.227 | 10.3032
2019-02-20 13:30:00 | 5.053 | 80.57 | 5 | 75.548 | 4.929 | 80.067 | 5.173 | 75.633 | -0.322 | 889.833 | 25.269 | 9.3937
2019-02-20 13:45:00 | 4.589 | 94.497 | 4.426 | 87.326 | 4.636 | 88.7 | 4.766 | 79.8 | -0.056 | 889.783 | 25.2 | 9.226
2019-02-20 14:00:00 | 4.783 | 90.833 | 4.674 | 86.18 | 4.738 | 93.967 | 5.081 | 90.167 | 0.15 | 889.567 | 24.928 | 9.6957
2019-02-20 14:15:00 | 4.546 | 86.36 | 4.641 | 79.56 | 4.896 | 82.2 | 5.127 | 76.767 | 0.034 | 889.233 | 24.896 | 10.6549
2019-02-20 14:30:00 | 4.374 | 96.923 | 4.287 | 92.248 | 4.21 | 96.233 | 4.389 | 89.2 | 0.282 | 889.733 | 24.928 | 9.3731
2019-02-20 14:45:00 | 4.676 | 93.592 | 4.448 | 86.715 | 4.637 | 86.633 | 5.046 | 81.433 | 0.665 | 889.817 | 24.608 | 9.8776
2019-02-20 15:00:00 | 5.307 | 78.245 | 5.465 | 72.654 | 5.243 | 77.767 | 5.634 | 75.4 | 0.648 | 889.517 | 24.24 | 13.952
2019-02-20 15:15:00 | 5.911 | 76.627 | 6.046 | 74.666 | 6.127 | 81.633 | 6.137 | 79.567 | 0.665 | 889.5 | 24.379 | 16.9683
2019-02-20 15:30:00 | 5.761 | 82.485 | 5.519 | 77.795 | 5.452 | 84.9 | 5.719 | 77.767 | 0.832 | 889.567 | 24.464 | 18.6062
2019-02-20 15:45:00 | 6.158 | 84.09 | 6.242 | 79.208 | 6.384 | 83.267 | 6.486 | 76.033 | 0.732 | 889.883 | 25.013 | 20.8658
2019-02-20 16:00:00 | 6.176 | 84.95 | 6.247 | 77.349 | 6.424 | 81.567 | 6.588 | 75.867 | 0.083 | 889.85 | 25.211 | 19.0155
2019-02-20 16:15:00 | 5.03 | 84.76 | 4.941 | 79.392 | 5.01 | 86.4 | 5.541 | 81.7 | 0.499 | 889.567 | 24.992 | 14.9795
2019-02-20 16:30:00 | 5.422 | 78.572 | 5.463 | 73.855 | 5.615 | 78.767 | 5.813 | 74.633 | 0.432 | 889.55 | 24.912 | 14.8345
2019-02-20 16:45:00 | 5.42 | 90.47 | 5.239 | 83.647 | 4.98 | 87.533 | 5.116 | 84.067 | 0.482 | 889.85 | 25.019 | 14.2
2019-02-20 17:00:00 | 4.675 | 85.067 | 4.457 | 82.37 | 4.338 | 87.9 | 4.465 | 81.667 | 0.034 | 889.583 | 25.371 | 12.0739
2019-02-20 17:15:00 | 4.563 | 87.687 | 4.344 | 79.188 | 4.434 | 82.867 | 4.972 | 78.267 | 0.033 | 889.783 | 25.205 | 11.8885
2019-02-20 17:30:00 | 5.082 | 82.543 | 5.374 | 76.313 | 5.469 | 80.6 | 5.457 | 79.167 | 0.449 | 889.8 | 24.704 | 10.8845
2019-02-20 17:45:00 | 4.097 | 89.697 | 4.376 | 83.071 | 4.261 | 88.9 | 4.326 | 82 | 0.316 | 889.783 | 24.923 | 10.0559
2019-02-20 18:00:00 | 4.234 | 88.943 | 4.22 | 82.631 | 3.984 | 86.833 | 3.922 | 85.333 | -0.016 | 889.85 | 25.419 | 8.7002
2019-02-20 18:15:00 | 3.456 | 82.213 | 3.458 | 76.725 | 3.219 | 84.7 | 3.63 | 79.333 | 0.067 | 889.783 | 25.552 | 6.1244
2019-02-20 18:30:00 | 3.94 | 72.825 | 4.03 | 68.622 | 4.156 | 73.233 | 4.422 | 69.567 | -0.096 | 889.883 | 25.888 | 5.1587
2019-02-20 18:45:00 | 4.252 | 71.727 | 4.258 | 67.133 | 4.18 | 73.033 | 4.143 | 69.6 | -0.638 | 889.633 | 26.176 | 5.3285
2019-02-20 19:00:00 | 3.605 | 64.933 | 3.685 | 61.849 | 3.83 | 69.3 | 3.961 | 65.167 | -0.612 | 889.8 | 26.731 | 6.6573
2019-02-20 19:15:00 | 3.282 | 71.378 | 3.759 | 66.834 | 3.929 | 72.7 | 4.158 | 69.1 | -1.089 | 889.5 | 27.515 | 7.1398
2019-02-20 19:30:00 | 2.811 | 79.607 | 3.114 | 76.52 | 3.192 | 80.2 | 3.387 | 77 | -1.66 | 889.483 | 28.16 | 5.1573
2019-02-20 19:45:00 | 2.252 | 74.133 | 2.412 | 71.703 | 2.45 | 78.8 | 2.761 | 74.733 | -1.895 | 889.983 | 28.549 | 3.0895
2019-02-20 20:00:00 | 2.336 | 82.093 | 2.506 | 72.3 | 2.505 | 79.7 | 2.724 | 77.6 | -2.131 | 890.033 | 28.981 | 1.7722
2019-02-20 20:15:00 | 2.168 | 86.747 | 2.729 | 78.251 | 2.74 | 83.967 | 2.843 | 77.333 | -2.842 | 889.767 | 29.376 | 0.75107
2019-02-20 20:30:00 | 1.473 | 86.763 | 2.07 | 74.751 | 1.937 | 84 | 2.028 | 78.3 | -2.74 | 890.183 | 29.723 | 0.20677
2019-02-20 20:45:00 | 1.675 | 93.07 | 1.962 | 75.355 | 2.022 | 83.033 | 2.35 | 78 | -2.862 | 889.85 | 29.931 | 0.31265
2019-02-20 21:00:00 | 1.172 | 89.103 | 1.373 | 68.287 | 1.634 | 78 | 1.952 | 77.7 | -2.864 | 889.817 | 30.336 | 0.28423
2019-02-20 21:15:00 | 0 | 89 | 0 | 68.199 | 0 | 78.033 | 1.103 | 78 | -3.388 | 889.8 | 31.115 | 0.2757
2019-02-20 21:30:00 | 0 | 89.053 | 0 | 68.235 | 0 | 78 | 1.071 | 77.9 | -4.274 | 889.8 | 32.357 | 0.27854
2019-02-20 21:45:00 | 0 | 93.987 | 0 | 68.3 | 0 | 78 | 0.024 | 78.033 | -4.285 | 889.217 | 33.317 | 0.27286
2019-02-20 22:00:00 | 0.027 | 221.193 | 0 | 68.264 | 0 | 78 | 0 | 78 | -4.599 | 890.067 | 33.92 | 0.2757
2019-02-20 22:15:00 | 0.153 | 221.1 | 0 | 68.176 | 0 | 78 | 0 | 78 | -4.305 | 889.9 | 33.968 | 0.26859
2019-02-20 22:30:00 | 1.368 | 218.96 | 0 | 68.279 | 0 | 78 | 0.722 | 78.067 | -4.384 | 890.2 | 33.861 | 0.29133
2019-02-20 22:45:00 | 2.404 | 212.233 | 0 | 137.532 | 0 | 78 | 0.762 | 78 | -4.503 | 890.333 | 33.84 | 0.28849
2019-02-20 23:00:00 | 3.116 | 216.687 | 1.028 | 151.067 | 0 | 78 | 0.292 | 78 | -4.364 | 889.333 | 33.584 | 0.28991
2019-02-20 23:15:00 | 3.963 | 221.267 | 1.773 | 194.342 | 0 | 150.033 | 0.027 | 77.833 | -4.819 | 889.3 | 34.272 | 0.28707
2019-02-20 23:30:00 | 4.163 | 224.167 | 1.651 | 202.087 | 0 | 155.733 | 0.844 | 78 | -5.435 | 889.783 | 35.221 | 0.29275
2019-02-20 23:45:00 | 4.945 | 224.033 | 2.093 | 212.475 | 0.334 | 177.7 | 0.44 | 78 | -7.323 | 889.7 | 39.275 | 0.2956