## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-21 00:00:00 | 3.504 | 223.38 | 0.915 | 207.52 | 0 | 196 | 0.158 | 78 | -5.74 | 889.767 | 38.485 | 0.29844
2019-02-21 00:15:00 | 3.914 | 228.767 | 0.682 | 208.531 | 0 | 196 | 0 | 78 | -5.8 | 889.75 | 37.76 | 0.29986
2019-02-21 00:30:00 | 3.518 | 230.393 | 0 | 212.526 | 0 | 196 | 0 | 78.033 | -5.978 | 889.95 | 37.6 | 0.2956
2019-02-21 00:45:00 | 4.206 | 232.9 | 0.646 | 236.433 | 0 | 196 | 0 | 78.033 | -7.439 | 889.675 | 40.485 | 0.29702
2019-02-21 01:00:00 | 3.488 | 231.82 | 0 | 237.465 | 0 | 196 | 0 | 78 | -5.776 | 889.767 | 39.093 | 0.29844
2019-02-21 01:15:00 | 3.247 | 232.607 | 0 | 237.497 | 0 | 196.1 | 0 | 77.833 | -5.505 | 889.817 | 38.187 | 0.29986
2019-02-21 01:30:00 | 3.167 | 228.507 | 0 | 237.489 | 0 | 196.033 | 0.322 | 78 | -6.116 | 889.633 | 38.512 | 0.30128
2019-02-21 01:45:00 | 3.375 | 229.493 | 0 | 237.466 | 0 | 196 | 0.087 | 78 | -5.978 | 889.783 | 39.205 | 0.29702
2019-02-21 02:00:00 | 3.055 | 234.413 | 0 | 237.511 | 0 | 196.033 | 1.303 | 78 | -6.087 | 889.733 | 39.712 | 0.30412
2019-02-21 02:15:00 | 3.822 | 226.533 | 0 | 237.526 | 0 | 270 | 1.113 | 78.25 | -6.428 | 889.475 | 40.651 | 0.31123
2019-02-21 02:30:00 | 3.247 | 220.333 | 0 | 237.389 | 0 | 270 | 1.518 | 76.317 | -6.462 | 889.608 | 40.741 | 0.30981
2019-02-21 02:45:00 | 3.379 | 221.147 | 1.014 | 222.066 | 0 | 270.067 | 0 | 76.242 | -7.816 | 889.783 | 43.829 | 0.29986
2019-02-21 03:00:00 | 2.097 | 214.893 | 0 | 214.446 | 0 | 269.933 | 0.03 | 76.25 | -6.11 | 890.067 | 39.813 | 0.29844
2019-02-21 03:15:00 | 0.266 | 216.127 | 0 | 214.483 | 0 | 268.067 | 0.906 | 76.25 | -5.978 | 889.767 | 39.355 | 0.30128
2019-02-21 03:30:00 | 2.594 | 236.673 | 0 | 214.49 | 0 | 293.667 | 1.606 | 76.233 | -6.714 | 889.558 | 40.88 | 0.30128
2019-02-21 03:45:00 | 3.2 | 220.78 | 0 | 214.48 | 0 | 38.933 | 1.673 | 75.867 | -7.032 | 889.85 | 41.621 | 0.29986
2019-02-21 04:00:00 | 2.517 | 207.007 | 1.345 | 195.432 | 0.274 | 92.367 | 1.477 | 77 | -6.582 | 889.292 | 41.216 | 0.31976
2019-02-21 04:15:00 | 1.616 | 199.08 | 1.437 | 138.498 | 1.827 | 128.067 | 2.379 | 114 | -7.23 | 889.958 | 41.28 | 0.42705
2019-02-21 04:30:00 | 2.166 | 211.747 | 1.737 | 157.59 | 2.114 | 153.7 | 2.77 | 146.1 | -7.131 | 889.858 | 41.493 | 2.1388
2019-02-21 04:45:00 | 2.569 | 216.933 | 3.126 | 187.272 | 3.33 | 177.4 | 2.951 | 157.3 | -7.406 | 890.292 | 43.2 | 2.6234
2019-02-21 05:00:00 | 3.955 | 201.333 | 2.986 | 169.77 | 2.407 | 154.567 | 2.721 | 139.533 | -8.29 | 890.008 | 44.757 | 1.2854
2019-02-21 05:15:00 | 3.788 | 197.733 | 3.037 | 171.901 | 2.176 | 160.967 | 2.534 | 136.533 | -7.99 | 889.85 | 49.216 | 1.2776
2019-02-21 05:30:00 | 4.479 | 196.88 | 3.572 | 156.449 | 2.72 | 138.5 | 3.038 | 129.033 | -7.95 | 890.033 | 53.557 | 3.0526
2019-02-21 05:45:00 | 3.777 | 199.927 | 3.821 | 154.474 | 2.946 | 138.2 | 3.631 | 122.867 | -9.799 | 889.9 | 58.037 | 4.0595
2019-02-21 06:00:00 | 3.918 | 187.647 | 3.469 | 141.486 | 2.618 | 134.467 | 2.92 | 127.1 | -9.837 | 890.033 | 62.923 | 4.6926
2019-02-21 06:15:00 | 4.155 | 197 | 3.262 | 150.836 | 2.529 | 138 | 2.392 | 129.6 | -9.258 | 889.592 | 60.789 | 3.2011
2019-02-21 06:30:00 | 3.443 | 191.767 | 2.644 | 137.18 | 2.724 | 120.367 | 3.279 | 113.767 | -8.724 | 890.067 | 59.307 | 1.2726
2019-02-21 06:45:00 | 2.983 | 184.673 | 2.136 | 131.588 | 2.364 | 112.333 | 2.594 | 101.8 | -8.371 | 890.092 | 58.507 | 0.18475
2019-02-21 07:00:00 | 2.961 | 203.04 | 1.24 | 134.7 | 1.509 | 114.4 | 2.072 | 95.733 | -8.287 | 890.133 | 58.453 | 0.26931
2019-02-21 07:15:00 | 2.406 | 207.467 | 0.36 | 113.245 | 1.753 | 100.067 | 2.293 | 100 | -7.639 | 889.45 | 56.331 | 0.33112
2019-02-21 07:30:00 | 2.194 | 214.34 | 0.35 | 107.242 | 1.524 | 96 | 2.161 | 90 | -7.012 | 890.4 | 54.731 | 0.34249
2019-02-21 07:45:00 | 1.871 | 162.927 | 2.387 | 98.096 | 2.861 | 97.733 | 3.452 | 90.5 | -5.879 | 889.958 | 49.899 | 0.24586
2019-02-21 08:00:00 | 2.105 | 131.2 | 2.698 | 95.311 | 2.233 | 98.7 | 2.514 | 91.2 | -5.879 | 890.258 | 45.376 | 2.3243
2019-02-21 08:15:00 | 2.124 | 158.947 | 2.543 | 107.411 | 2.698 | 95.367 | 2.872 | 87.733 | -7.612 | 889.517 | 47.115 | 3.091
2019-02-21 08:30:00 | 2.81 | 166.08 | 3.172 | 130.063 | 3.406 | 119.267 | 3.499 | 106.567 | -7.381 | 889.25 | 52.043 | 2.5332
2019-02-21 08:45:00 | 1.902 | 175.48 | 2.862 | 151.241 | 2.722 | 148.9 | 2.873 | 140.567 | -7.561 | 889.467 | 51.211 | 3.9635
2019-02-21 09:00:00 | 3.645 | 211.093 | 2.117 | 170.199 | 2.084 | 155.567 | 2.444 | 138.333 | -11.29 | 889.9 | 55.147 | 4.0147
2019-02-21 09:15:00 | 3.293 | 215.9 | 2.838 | 176.455 | 2.559 | 162.7 | 2.63 | 141 | -8.974 | 890.367 | 55.285 | 2.6064
2019-02-21 09:30:00 | 3.36 | 197.913 | 2.65 | 155.907 | 2.309 | 141.667 | 3.454 | 120.3 | -8.551 | 889.317 | 56.736 | 2.3648
2019-02-21 09:45:00 | 2.196 | 181.8 | 2.493 | 128.499 | 2.689 | 118.7 | 3.199 | 111.067 | -6.28 | 890.225 | 51.285 | 1.3408
2019-02-21 10:00:00 | 1.597 | 153.647 | 2.708 | 112.566 | 3.155 | 109.5 | 3.535 | 102.8 | -4.012 | 890.183 | 43.093 | 1.2932
2019-02-21 10:15:00 | 1.836 | 113.633 | 2.304 | 102.295 | 1.99 | 103.233 | 2.103 | 90.4 | -3.404 | 889.525 | 39.723 | 1.2883
2019-02-21 10:30:00 | 2.016 | 96.843 | 1.95 | 88.675 | 1.706 | 92.2 | 2.12 | 88.3 | -2.087 | 889.717 | 36.501 | 0.18617
2019-02-21 10:45:00 | 2.625 | 74.133 | 2.338 | 70.285 | 2.141 | 73.767 | 2.505 | 71.633 | -1.7 | 889.533 | 32.635 | 0.15917
2019-02-21 11:00:00 | 2.239 | 69.997 | 1.992 | 63.412 | 1.84 | 70.033 | 2.23 | 72.1 | -1.559 | 889.85 | 31.387 | 0.30981
2019-02-21 11:15:00 | 2.228 | 74.743 | 2.222 | 69.357 | 2.04 | 74.7 | 2.375 | 69.1 | -1.079 | 889.833 | 30.027 | 0.29986
2019-02-21 11:30:00 | 3.812 | 79.567 | 3.785 | 71.921 | 3.842 | 74.3 | 3.99 | 71.4 | -1.032 | 889.9 | 30.395 | 1.9072
2019-02-21 11:45:00 | 4.133 | 84.95 | 3.901 | 83.84 | 3.861 | 86.3 | 4.171 | 81 | -1.165 | 890 | 30.203 | 7.6336
2019-02-21 12:00:00 | 4.851 | 106.413 | 4.432 | 99.276 | 4.124 | 99.367 | 4.475 | 94.033 | -0.995 | 890.033 | 29.861 | 9.388
2019-02-21 12:15:00 | 5.973 | 97.163 | 5.38 | 93.587 | 4.892 | 100.833 | 5.419 | 91.6 | -0.242 | 889.767 | 28.757 | 17.4977
2019-02-21 12:30:00 | 6.475 | 109.02 | 6.617 | 100.153 | 6.349 | 100.4 | 6.758 | 94.167 | 0.465 | 889.783 | 27.136 | 30.943
2019-02-21 12:45:00 | 7.119 | 90.853 | 6.795 | 86.604 | 6.565 | 93.067 | 6.514 | 88.433 | 0.565 | 889.917 | 26.944 | 36.2773
2019-02-21 13:00:00 | 7.189 | 105.743 | 6.889 | 100.059 | 6.773 | 101.767 | 6.97 | 98.467 | 0.815 | 889.783 | 26.549 | 39.2048
2019-02-21 13:15:00 | 6.78 | 91.123 | 6.658 | 88.206 | 6.698 | 92.5 | 6.63 | 89.967 | 1.195 | 889.5 | 25.957 | 40.1953
2019-02-21 13:30:00 | 8.079 | 80.063 | 8.043 | 76.661 | 7.943 | 85.4 | 7.983 | 82.767 | 1.329 | 889.55 | 25.936 | 43.5485
2019-02-21 13:45:00 | 7.471 | 89.843 | 7.156 | 86.911 | 7.274 | 91.733 | 7.682 | 88.7 | 1.439 | 889.583 | 25.312 | 45.8401
2019-02-21 14:00:00 | 6.526 | 88.433 | 6.556 | 81.328 | 6.587 | 88.533 | 7.062 | 82.433 | 1.048 | 889.583 | 25.931 | 39.0549
2019-02-21 14:15:00 | 6.092 | 94.22 | 5.862 | 91.214 | 5.995 | 93.767 | 5.937 | 88.167 | 1.296 | 889.75 | 25.915 | 31.164
2019-02-21 14:30:00 | 5.712 | 89.02 | 5.37 | 84.152 | 4.92 | 89.9 | 5.234 | 85.767 | 1.402 | 890.017 | 25.456 | 23.3627
2019-02-21 14:45:00 | 4.019 | 81.898 | 4.32 | 78.831 | 4.393 | 82.933 | 4.851 | 79.4 | 1.716 | 889.783 | 24.565 | 13.2002
2019-02-21 15:00:00 | 5.428 | 79.743 | 5.302 | 71.484 | 5.394 | 77.467 | 5.688 | 73.5 | 1.749 | 889.8 | 24.171 | 12.4712
2019-02-21 15:15:00 | 4.458 | 60.363 | 4.75 | 58.091 | 4.957 | 61.467 | 4.957 | 59.833 | 2.001 | 889.667 | 23.963 | 11.1516
2019-02-21 15:30:00 | 5.181 | 78.167 | 5.466 | 72.45 | 5.479 | 76.8 | 5.733 | 73.8 | 2.155 | 889.2 | 24.112 | 10.186
2019-02-21 15:45:00 | 5.931 | 65.282 | 5.674 | 58.917 | 5.71 | 63.667 | 6.02 | 63.433 | 2.392 | 889.267 | 24.528 | 16.0673
2019-02-21 16:00:00 | 5.416 | 69.048 | 5.314 | 62.886 | 5.348 | 66.1 | 5.335 | 62.633 | 1.939 | 889.85 | 24.917 | 14.3684
2019-02-21 16:15:00 | 4.695 | 89.89 | 4.749 | 80.596 | 4.872 | 82.6 | 5.112 | 78.8 | 2.175 | 889.667 | 24.837 | 14.3783
2019-02-21 16:30:00 | 5.38 | 80.933 | 5.272 | 74.509 | 5.13 | 78.533 | 5.179 | 72.8 | 2.398 | 889.25 | 24.933 | 13.0751
2019-02-21 16:45:00 | 4.576 | 66.848 | 4.516 | 60.831 | 4.429 | 69.467 | 4.477 | 66.967 | 2.404 | 889.767 | 24.88 | 10.7246
2019-02-21 17:00:00 | 3.538 | 68.198 | 3.785 | 59.081 | 3.984 | 60.033 | 4.32 | 56.833 | 2.065 | 889.467 | 24.949 | 5.7563
2019-02-21 17:15:00 | 4.615 | 75.102 | 4.596 | 69.148 | 4.613 | 73.6 | 4.703 | 68.967 | 2.54 | 889.467 | 25.429 | 6.1826
2019-02-21 17:30:00 | 3.877 | 60.453 | 3.775 | 53.566 | 3.769 | 56.2 | 3.962 | 57.433 | 2.377 | 889.7 | 25.248 | 6.8968
2019-02-21 17:45:00 | 4.243 | 66.637 | 4.02 | 60.927 | 3.884 | 66.333 | 4.059 | 63.2 | 2.048 | 889.783 | 25.381 | 6.356
2019-02-21 18:00:00 | 3.954 | 68.013 | 3.985 | 62.201 | 3.864 | 69.7 | 4.062 | 62.767 | 2.122 | 889.767 | 25.408 | 6.2608
2019-02-21 18:15:00 | 4.351 | 70.17 | 4.311 | 64.86 | 4.473 | 69.233 | 4.678 | 66.567 | 1.985 | 889.567 | 25.931 | 7.8212
2019-02-21 18:30:00 | 4.492 | 76.057 | 4.524 | 70.667 | 4.591 | 74.5 | 4.574 | 70.6 | 1.673 | 890.067 | 26.496 | 7.2677
2019-02-21 18:45:00 | 4.037 | 67.96 | 4.084 | 60.016 | 4.061 | 65.7 | 4.312 | 65.367 | 1.342 | 889.883 | 26.667 | 5.9545
2019-02-21 19:00:00 | 3.287 | 65.002 | 3.393 | 57.958 | 3.142 | 64.6 | 3.299 | 63.1 | 1.015 | 889.817 | 27.355 | 4.8546
2019-02-21 19:15:00 | 2.376 | 55.435 | 2.632 | 54.568 | 2.664 | 61.433 | 2.756 | 58.733 | 0.599 | 889.6 | 28.363 | 3.5685
2019-02-21 19:30:00 | 2.028 | 33.219 | 2.876 | 41.089 | 3.1 | 50.433 | 2.852 | 49.3 | -0.143 | 889.3 | 29.765 | 1.9896
2019-02-21 19:45:00 | 3.302 | 36.547 | 4.174 | 37.142 | 4.338 | 44.4 | 4.269 | 44.8 | -0.639 | 889.633 | 30.987 | 3.0405
2019-02-21 20:00:00 | 2.862 | 10.823 | 4.038 | 27.058 | 4.112 | 34.3 | 4.299 | 32.467 | -1.459 | 889.533 | 32 | 3.54
2019-02-21 20:15:00 | 3.338 | 14.24 | 4.133 | 21.791 | 4.412 | 30.467 | 4.471 | 25.933 | -1.299 | 889.5 | 32.075 | 1.8169
2019-02-21 20:30:00 | 1.797 | 5.046 | 4.199 | 26.992 | 4.261 | 36.733 | 4.534 | 33.633 | -2.16 | 889.65 | 32.304 | 2.0777
2019-02-21 20:45:00 | 1.067 | 8.514 | 3.196 | 27.74 | 3.83 | 39.233 | 4.058 | 37.567 | -2.131 | 890.1 | 33.333 | 1.4496
2019-02-21 21:00:00 | 3.513 | 265.333 | 4.513 | 219.231 | 4.88 | 215.535 | 5.015 | 219.133 | -2.781 | 889.85 | 34.197 | 1.0097
2019-02-21 21:15:00 | 3.798 | 298.253 | 4.904 | 304.324 | 5.499 | 310.267 | 6.048 | 315.2 | -5.614 | 889.767 | 48.539 | 8.2781
2019-02-21 21:30:00 | 4.305 | 276.527 | 5.161 | 287.108 | 5.265 | 295.833 | 5.916 | 298 | -6.588 | 890.058 | 54.437 | 10.5803
2019-02-21 21:45:00 | 3.694 | 263.987 | 4.571 | 282.061 | 4.671 | 290.8 | 5.201 | 291.567 | -7.071 | 890.158 | 55.077 | 8.644
2019-02-21 22:00:00 | 4.403 | 260.807 | 4.337 | 283.321 | 4.453 | 292.8 | 4.97 | 295.333 | -6.478 | 890.075 | 52.283 | 5.4934
2019-02-21 22:15:00 | 4.363 | 243.593 | 4.436 | 278.654 | 4.528 | 288.6 | 4.931 | 290 | -6.093 | 889.708 | 49.632 | 5.7307
2019-02-21 22:30:00 | 3.664 | 297.507 | 4.251 | 296.282 | 4.166 | 301.233 | 4.601 | 294.8 | -7.051 | 889.642 | 51.488 | 3.9969
2019-02-21 22:45:00 | 4.09 | 282.827 | 5.158 | 294.725 | 4.558 | 301.667 | 4.816 | 294.5 | -7.276 | 890.008 | 52.48 | 5.3769
2019-02-21 23:00:00 | 4.567 | 256.413 | 4.982 | 272.137 | 4.608 | 279.633 | 4.704 | 276.367 | -8.134 | 889.833 | 53.371 | 6.5614
2019-02-21 23:15:00 | 4.59 | 245.7 | 4.509 | 262.557 | 4.703 | 276.533 | 5.282 | 273.733 | -8.09 | 889.692 | 52.672 | 7.7679
2019-02-21 23:30:00 | 5.653 | 239.527 | 6.795 | 253.276 | 6.53 | 263.933 | 6.476 | 263.6 | -8.21 | 890.167 | 53.797 | 11.1985
2019-02-21 23:45:00 | 5.44 | 235.207 | 6.981 | 242.861 | 6.369 | 252.233 | 5.892 | 253.217 | -8.07 | 890.133 | 53.92 | 16.7793