## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-22 00:00:00 | 5.73 | 238.133 | 7.417 | 238.676 | 7.081 | 248.967 | 6.266 | 248.133 | -7.522 | 890.225 | 52.832 | 21.4904
2019-02-22 00:15:00 | 5.318 | 233.567 | 7.354 | 233.327 | 7.477 | 241.033 | 6.733 | 238.867 | -7.873 | 889.833 | 53.707 | 27.0598
2019-02-22 00:30:00 | 4.56 | 234.173 | 6.179 | 237.054 | 6.149 | 245.7 | 5.981 | 241.733 | -8.053 | 890.133 | 53.824 | 21.0946
2019-02-22 00:45:00 | 4.365 | 221.433 | 5.788 | 233.256 | 5.615 | 244.533 | 5.156 | 244.133 | -8.608 | 889.892 | 55.797 | 14.3428
2019-02-22 01:00:00 | 5.171 | 227.067 | 7.099 | 232.872 | 6.771 | 243.567 | 5.979 | 243.4 | -9.091 | 889.967 | 58.027 | 16.4304
2019-02-22 01:15:00 | 4.862 | 229 | 7.018 | 231.18 | 6.695 | 242.4 | 5.846 | 244.067 | -9.274 | 890.025 | 59.019 | 21.322
2019-02-22 01:30:00 | 4.541 | 240.4 | 6.552 | 239.528 | 7.403 | 247.133 | 7.292 | 244.033 | -8.608 | 889.867 | 58.72 | 29.5994
2019-02-22 01:45:00 | 3.856 | 236.733 | 5.912 | 239.042 | 6.212 | 246.433 | 5.812 | 242.9 | -8.474 | 890.325 | 57.749 | 22.6159
2019-02-22 02:00:00 | 3.814 | 228.1 | 5.999 | 236.215 | 6.441 | 244.5 | 6.336 | 240.6 | -9.258 | 890.058 | 59.104 | 25.3957
2019-02-22 02:15:00 | 4.76 | 243.167 | 6.291 | 242.915 | 6.343 | 251.6 | 5.923 | 249.767 | -8.741 | 889.625 | 59.563 | 27.8421
2019-02-22 02:30:00 | 4.779 | 244 | 6.026 | 250.36 | 5.86 | 259.233 | 5.646 | 258.083 | -8.558 | 889.683 | 58.336 | 29.6804
2019-02-22 02:45:00 | 4.67 | 247.76 | 6.086 | 252.815 | 5.988 | 268.733 | 6.032 | 266.933 | -9.254 | 889.567 | 59.179 | 26.9802
2019-02-22 03:00:00 | 4.298 | 249.427 | 5.685 | 241.459 | 5.87 | 251.733 | 5.801 | 251.567 | -9.474 | 889.908 | 59.851 | 25.7794
2019-02-22 03:15:00 | 4.752 | 238.2 | 5.89 | 242.964 | 6.43 | 252.3 | 6.985 | 249.533 | -9.391 | 889.95 | 60.181 | 29.1197
2019-02-22 03:30:00 | 5.619 | 238.567 | 7.29 | 241.794 | 8.063 | 249.4 | 8.51 | 245.933 | -8.791 | 889.8 | 59.947 | 42.8593
2019-02-22 03:45:00 | 6.092 | 237.56 | 7.546 | 240.474 | 8.073 | 247.567 | 8.374 | 244.667 | -8.11 | 890.35 | 57.205 | 55.8903
2019-02-22 04:00:00 | 5.792 | 240.167 | 7.175 | 241.117 | 8.178 | 247.8 | 8.581 | 243.45 | -7.639 | 890.025 | 55.744 | 56.1767
2019-02-22 04:15:00 | 5.425 | 235.433 | 6.874 | 235.862 | 7.845 | 244.5 | 8.27 | 240.9 | -7.823 | 889.842 | 55.477 | 56.5519
2019-02-22 04:30:00 | 7.856 | 235.447 | 9.646 | 234.581 | 10.583 | 241.367 | 10.516 | 238.267 | -7.749 | 889.967 | 55.616 | 56.6855
2019-02-22 04:45:00 | 6.325 | 240.86 | 8.184 | 242.067 | 9.207 | 248.533 | 9.359 | 246.233 | -7.592 | 890 | 55.115 | 56.7402
2019-02-22 05:00:00 | 5.385 | 244.8 | 6.874 | 245.668 | 7.449 | 253.633 | 7.755 | 249.067 | -8.19 | 890.225 | 55.931 | 47.6669
2019-02-22 05:15:00 | 6.154 | 243.733 | 7.409 | 245.133 | 8.594 | 250.7 | 8.916 | 246.95 | -7.639 | 889.758 | 56.181 | 43.6537
2019-02-22 05:30:00 | 6.174 | 237.587 | 7.72 | 241.171 | 8.633 | 247.9 | 9.421 | 241.883 | -7.399 | 890.033 | 56.32 | 49.7716
2019-02-22 05:45:00 | 6.783 | 242.267 | 8.709 | 243.538 | 9.35 | 250.433 | 9.666 | 245.283 | -7.422 | 889.85 | 58.08 | 57.7748
2019-02-22 06:00:00 | 6.326 | 241.7 | 8.216 | 242.423 | 9.009 | 248.333 | 9.334 | 244.933 | -7.606 | 890.375 | 60.427 | 55.636
2019-02-22 06:15:00 | 6.548 | 244.44 | 7.979 | 245.767 | 8.972 | 252.033 | 9.141 | 249.067 | -7.622 | 889.833 | 61.451 | 55.6431
2019-02-22 06:30:00 | 8.055 | 239.687 | 9.355 | 245.502 | 9.934 | 251.783 | 10.605 | 247.35 | -7.556 | 889.783 | 61.2 | 59.4815
2019-02-22 06:45:00 | 8.087 | 238.933 | 10.072 | 242.098 | 10.981 | 247.567 | 11.655 | 243.6 | -7.289 | 890.158 | 60.704 | 60.9531
2019-02-22 07:00:00 | 8.774 | 239.367 | 10.428 | 241.933 | 11.395 | 249.067 | 11.933 | 243.733 | -7.556 | 889.892 | 61.312 | 60.8522
2019-02-22 07:15:00 | 8.064 | 237.867 | 9.755 | 240.313 | 10.825 | 246.967 | 11.306 | 242.067 | -7.672 | 890.192 | 61.483 | 60.9382
2019-02-22 07:30:00 | 8.173 | 236.933 | 9.84 | 238.586 | 10.95 | 245.4 | 11.082 | 242.1 | -7.589 | 890.058 | 62.432 | 61.5209
2019-02-22 07:45:00 | 8.238 | 236.667 | 10.106 | 238.116 | 11.04 | 244.333 | 11.026 | 240.9 | -7.889 | 889.875 | 62.475 | 61.9394
2019-02-22 08:00:00 | 8.189 | 238.287 | 9.655 | 238.472 | 10.557 | 242.967 | 10.758 | 240.333 | -7.696 | 889.833 | 61.984 | 62.9505
2019-02-22 08:15:00 | 7.759 | 239.953 | 9.462 | 238.172 | 10.288 | 245.133 | 10.689 | 241.567 | -7.533 | 889.892 | 59.989 | 62.3998
2019-02-22 08:30:00 | 7.893 | 238.893 | 9.561 | 240.427 | 10.788 | 247.167 | 11.261 | 244.217 | -7.154 | 890.075 | 59.424 | 59.5817
2019-02-22 08:45:00 | 7.192 | 235.48 | 8.842 | 237.365 | 9.695 | 243.033 | 9.919 | 238.333 | -7.23 | 889.883 | 57.803 | 55.9351
2019-02-22 09:00:00 | 5.987 | 228.86 | 7.126 | 228.958 | 7.983 | 236.367 | 8.357 | 233.233 | -7.071 | 889.642 | 56.309 | 51.5488
2019-02-22 09:15:00 | 5.209 | 223.207 | 6.265 | 226.896 | 7.347 | 234.167 | 7.796 | 233.4 | -7.393 | 889.867 | 56.405 | 53.0111
2019-02-22 09:30:00 | 4.918 | 231.147 | 6.028 | 233.919 | 6.711 | 241.5 | 7.113 | 240 | -6.601 | 889.908 | 54.24 | 47.2655
2019-02-22 09:45:00 | 4.925 | 224.033 | 5.772 | 226.517 | 6.562 | 235.667 | 6.818 | 235.233 | -6.495 | 889.8 | 52.288 | 36.4514
2019-02-22 10:00:00 | 5.232 | 223.94 | 5.65 | 223.172 | 6.235 | 231.833 | 6.598 | 229.833 | -5.621 | 889.333 | 49.728 | 33.2346
2019-02-22 10:15:00 | 4.862 | 222.367 | 5.324 | 223.663 | 5.825 | 231.767 | 5.914 | 231.133 | -5.052 | 889.775 | 47.189 | 30.4016
2019-02-22 10:30:00 | 7.463 | 234.7 | 8.064 | 236.448 | 8.269 | 241.533 | 8.07 | 237.133 | -3.656 | 889.925 | 44.48 | 24.8009
2019-02-22 10:45:00 | 7.551 | 239.553 | 7.989 | 248.108 | 7.918 | 250.1 | 7.927 | 245.1 | -3.267 | 890.158 | 42.389 | 27.4691
2019-02-22 11:00:00 | 9.276 | 238.867 | 9.847 | 245.434 | 10.11 | 250.233 | 9.868 | 245.567 | -2.7 | 889.85 | 41.237 | 41.0416
2019-02-22 11:15:00 | 8.827 | 244.227 | 9.435 | 248.172 | 9.57 | 253.767 | 9.295 | 248 | -2.062 | 889.525 | 40.813 | 47.2179
2019-02-22 11:30:00 | 8.736 | 243.407 | 9.398 | 252.304 | 9.528 | 256.5 | 9.365 | 252.117 | -2.386 | 889.633 | 40.317 | 47.3081
2019-02-22 11:45:00 | 8.405 | 243.487 | 8.625 | 250.753 | 8.829 | 254.267 | 8.609 | 249.8 | -1.339 | 889.483 | 38.371 | 45.9531
2019-02-22 12:00:00 | 7.611 | 252.24 | 8.207 | 255.423 | 8.228 | 258.25 | 8.178 | 255.733 | -1.165 | 889.883 | 37.253 | 40.1534
2019-02-22 12:15:00 | 8.375 | 251.673 | 8.994 | 256.049 | 9.082 | 259.233 | 9.071 | 255.05 | -1.292 | 889.433 | 37.907 | 46.5826
2019-02-22 12:30:00 | 6.823 | 251.967 | 7.262 | 255.694 | 7.441 | 259.567 | 7.435 | 256.133 | -1.062 | 889.55 | 36.373 | 38.3834
2019-02-22 12:45:00 | 7.306 | 262.98 | 7.618 | 268.369 | 7.652 | 272.867 | 7.551 | 269.433 | -1.206 | 889.9 | 36.152 | 31.6408
2019-02-22 13:00:00 | 6.664 | 277.933 | 7.172 | 278.984 | 7.368 | 284.3 | 7.56 | 282.167 | -1.386 | 889.417 | 36.053 | 32.6882
2019-02-22 13:15:00 | 6.951 | 292.933 | 7.585 | 290.802 | 7.835 | 293.1 | 8.051 | 291.5 | -1.269 | 889.75 | 35.976 | 34.098
2019-02-22 13:30:00 | 6.772 | 301.52 | 7.063 | 294.075 | 7.295 | 299.6 | 7.595 | 298.3 | -0.728 | 889.483 | 35.789 | 34.6401
2019-02-22 13:45:00 | 7.653 | 291.74 | 8.45 | 291.078 | 8.472 | 297.467 | 8.86 | 295.4 | -0.725 | 889.533 | 36.499 | 38.2718
2019-02-22 14:00:00 | 6.257 | 299.427 | 6.97 | 296.755 | 7.356 | 300.833 | 7.556 | 297.2 | -0.828 | 889.833 | 37.645 | 39.877
2019-02-22 14:15:00 | 7.167 | 305.6 | 7.589 | 300.409 | 7.635 | 308 | 7.946 | 305.267 | -0.879 | 889.933 | 38.435 | 36.2275
2019-02-22 14:30:00 | 7.124 | 314.173 | 7.511 | 307.261 | 7.738 | 310.233 | 8.134 | 309.3 | -1.045 | 889.733 | 38.264 | 36.899
2019-02-22 14:45:00 | 7.817 | 319.067 | 8.079 | 311.401 | 8.533 | 316.5 | 8.888 | 312.733 | -0.925 | 889.717 | 38.957 | 42.2851
2019-02-22 15:00:00 | 7.846 | 312.84 | 8.102 | 305.244 | 8.456 | 307.9 | 8.864 | 305.733 | -1.065 | 889.717 | 39.76 | 46.0696
2019-02-22 15:15:00 | 8.005 | 310.2 | 8.342 | 304.342 | 8.414 | 306.7 | 8.639 | 302.5 | -1.132 | 889.608 | 41.355 | 48.958
2019-02-22 15:30:00 | 8.995 | 300.48 | 9.44 | 294.692 | 9.515 | 300.733 | 9.919 | 297.033 | -1.082 | 889.85 | 41.168 | 53.9654
2019-02-22 15:45:00 | 9.315 | 298.867 | 9.749 | 294.686 | 9.898 | 298.733 | 10.716 | 294.7 | -1.048 | 889.767 | 40.549 | 53.8098
2019-02-22 16:00:00 | 10.428 | 293.067 | 11.105 | 293.662 | 11.275 | 299.333 | 11.713 | 295.733 | -1.372 | 889.642 | 41.408 | 53.242
2019-02-22 16:15:00 | 10.374 | 279.1 | 11.083 | 283.632 | 11.382 | 286.433 | 11.449 | 284.167 | -1.988 | 889.725 | 43.413 | 52.8846
2019-02-22 16:30:00 | 9.278 | 284.693 | 9.969 | 284.983 | 10.184 | 289 | 10.28 | 286.767 | -2.333 | 889.925 | 42.987 | 53.4467
2019-02-22 16:45:00 | 8.75 | 295 | 9.228 | 289.318 | 9.311 | 295.2 | 9.493 | 291.967 | -2.23 | 889.842 | 43.723 | 54.2056
2019-02-22 17:00:00 | 8.96 | 277.767 | 9.618 | 281.597 | 10.02 | 284.833 | 10.189 | 283.033 | -2.532 | 890.383 | 44.011 | 55.6296
2019-02-22 17:15:00 | 8.839 | 275.593 | 9.664 | 279.349 | 9.67 | 283.6 | 9.877 | 281.8 | -2.545 | 889.808 | 44.277 | 57.2667
2019-02-22 17:30:00 | 8.153 | 278.5 | 9.035 | 282.222 | 9.222 | 285.8 | 9.578 | 283.633 | -2.74 | 889.708 | 44.816 | 59.3188
2019-02-22 17:45:00 | 6.922 | 276.42 | 7.504 | 278.034 | 7.88 | 282.767 | 8.013 | 279.667 | -2.315 | 890.108 | 45.515 | 52.5706
2019-02-22 18:00:00 | 8.989 | 259.313 | 9.84 | 267.719 | 9.852 | 273.4 | 10.05 | 271.067 | -2.77 | 889.633 | 46.635 | 49.6693
2019-02-22 18:15:00 | 7.05 | 274.6 | 7.616 | 280.146 | 7.725 | 280.7 | 8.005 | 277.8 | -3.639 | 889.583 | 49.099 | 47.7217
2019-02-22 18:30:00 | 8.589 | 267.867 | 9.408 | 277.776 | 9.928 | 281.033 | 9.979 | 277.067 | -3.722 | 889.667 | 49.701 | 46.2735
2019-02-22 18:45:00 | 7.056 | 267.533 | 7.829 | 271.446 | 7.928 | 274.733 | 8.021 | 269.8 | -3.672 | 889.933 | 50.379 | 48.6987
2019-02-22 19:00:00 | 6.695 | 262.433 | 7.362 | 271.606 | 7.756 | 275.267 | 7.982 | 270.867 | -3.907 | 889.842 | 51.275 | 41.3123
2019-02-22 19:15:00 | 6.353 | 275.5 | 7.172 | 280.632 | 7.513 | 283.933 | 7.659 | 280.033 | -3.79 | 889.467 | 51.824 | 35.2249
2019-02-22 19:30:00 | 6.892 | 261.62 | 7.766 | 269.663 | 8.108 | 273.033 | 8.29 | 269.067 | -3.88 | 889.825 | 52.4 | 34.7844
2019-02-22 19:45:00 | 6.102 | 253.98 | 6.98 | 257.861 | 7.271 | 261.2 | 7.397 | 255.617 | -4.192 | 890.2 | 52.981 | 33.3313
2019-02-22 20:00:00 | 5.926 | 254.673 | 7.1 | 256.905 | 7.338 | 259.45 | 7.648 | 255.717 | -4.317 | 890.375 | 53.131 | 33.9978
2019-02-22 20:15:00 | 6.17 | 255.313 | 6.894 | 258.279 | 7.035 | 262.083 | 7.136 | 257.6 | -4.232 | 890.15 | 53.109 | 33.0691
2019-02-22 20:30:00 | 6.721 | 258.187 | 7.779 | 263.046 | 7.943 | 266.9 | 8.022 | 263 | -4.006 | 889.867 | 53.184 | 32.1524
2019-02-22 20:45:00 | 6.667 | 248.413 | 7.806 | 254.52 | 8.184 | 258.167 | 8.362 | 254.517 | -4.265 | 889.983 | 53.627 | 35.8545
2019-02-22 21:00:00 | 6.013 | 242.613 | 7.222 | 249.342 | 7.61 | 253.267 | 7.6 | 248.667 | -4.33 | 889.542 | 54.048 | 34.7027
2019-02-22 21:15:00 | 6.81 | 237.88 | 7.443 | 242.938 | 8.068 | 246.333 | 8.161 | 242.467 | -4.246 | 889.858 | 54.624 | 33.8081
2019-02-22 21:30:00 | 5.492 | 244.693 | 6.556 | 249.358 | 7.114 | 254.883 | 7.299 | 251.85 | -4.364 | 889.775 | 55.408 | 31.2159
2019-02-22 21:45:00 | 5.468 | 244.187 | 6.652 | 247.102 | 7.382 | 251.75 | 7.596 | 247.75 | -4.69 | 889.908 | 56.037 | 26.1638
2019-02-22 22:00:00 | 5.102 | 253.333 | 6.321 | 253.414 | 6.498 | 256.167 | 6.676 | 251.817 | -4.69 | 889.475 | 57.072 | 23.4793
2019-02-22 22:15:00 | 4.915 | 250.62 | 6.007 | 250.27 | 6.597 | 255.2 | 6.89 | 250.9 | -4.285 | 889.558 | 57.808 | 22.0119
2019-02-22 22:30:00 | 4.77 | 271.52 | 5.922 | 271.916 | 6.191 | 275.367 | 6.339 | 269.867 | -4.421 | 889.983 | 57.771 | 22.0325
2019-02-22 22:45:00 | 5.259 | 292.773 | 6.048 | 287.742 | 6.277 | 290.3 | 6.628 | 286.5 | -4.746 | 889.767 | 58.192 | 19.6351
2019-02-22 23:00:00 | 5.816 | 281.153 | 6.719 | 283.163 | 7.008 | 284.3 | 7.223 | 279.733 | -4.885 | 889.75 | 58.837 | 26.8559
2019-02-22 23:15:00 | 7.164 | 267.173 | 7.926 | 272.784 | 8.183 | 277.833 | 8.391 | 275.167 | -4.935 | 890.283 | 58.752 | 32.8047
2019-02-22 23:30:00 | 6.687 | 257.873 | 7.601 | 267.117 | 7.729 | 272 | 7.825 | 267.267 | -5.285 | 889.775 | 59.013 | 35.6506
2019-02-22 23:45:00 | 7.433 | 252.673 | 8.392 | 261.55 | 8.989 | 265.033 | 9.216 | 260.267 | -5.219 | 889.592 | 59.061 | 43.8889