## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-23 00:00:00 | 6.689 | 252.46 | 7.755 | 254.524 | 8.11 | 259.117 | 8.359 | 255.217 | -5.402 | 890.167 | 59.045 | 47.4495
2019-02-23 00:15:00 | 6.212 | 250.667 | 7.272 | 253.843 | 7.565 | 258.5 | 7.959 | 254.9 | -5.419 | 889.608 | 58.539 | 52.6459
2019-02-23 00:30:00 | 6.369 | 244.34 | 7.254 | 251.652 | 7.45 | 255.933 | 7.784 | 251.833 | -5.319 | 889.883 | 57.904 | 52.9038
2019-02-23 00:45:00 | 6.125 | 256.307 | 7.395 | 262.635 | 7.705 | 266.367 | 7.923 | 262.333 | -5.519 | 890.233 | 57.659 | 49.6331
2019-02-23 01:00:00 | 6.626 | 256.347 | 7.48 | 267.847 | 7.87 | 270.733 | 8.337 | 267.2 | -5.369 | 890.042 | 57.968 | 44.647
2019-02-23 01:15:00 | 7.163 | 255.96 | 8.009 | 265.909 | 8.177 | 269.367 | 8.643 | 265.05 | -5.369 | 889.925 | 58.187 | 44.7522
2019-02-23 01:30:00 | 7.886 | 260.2 | 8.628 | 268.537 | 8.909 | 272.267 | 9.245 | 267.033 | -5.525 | 889.933 | 58.544 | 49.5208
2019-02-23 01:45:00 | 7.653 | 254.84 | 8.606 | 263.464 | 9.108 | 267.3 | 9.469 | 263.417 | -5.508 | 889.817 | 59.739 | 54.2773
2019-02-23 02:00:00 | 7.078 | 251.833 | 7.754 | 257.874 | 7.978 | 261.167 | 8.085 | 255.9 | -5.806 | 889.967 | 60.4 | 51.6085
2019-02-23 02:15:00 | 6.721 | 253.5 | 7.569 | 256.794 | 8.055 | 261.2 | 8.216 | 256.517 | -5.445 | 890.058 | 60.875 | 52.4022
2019-02-23 02:30:00 | 6.264 | 245.42 | 7.096 | 255.991 | 7.394 | 259.867 | 7.703 | 256.533 | -5.69 | 889.775 | 60.229 | 54.8266
2019-02-23 02:45:00 | 7.287 | 239.713 | 7.819 | 249.975 | 8.123 | 253.633 | 8.222 | 251.267 | -6.195 | 889.717 | 60.672 | 52.1385
2019-02-23 03:00:00 | 6.509 | 243.587 | 7.203 | 248.08 | 7.562 | 252 | 8.036 | 247.867 | -6.256 | 889.525 | 61.195 | 46.8882
2019-02-23 03:15:00 | 6.704 | 246.167 | 7.237 | 250.851 | 7.653 | 254.55 | 7.636 | 250.033 | -6.239 | 889.933 | 61.04 | 47.1305
2019-02-23 03:30:00 | 5.984 | 248.193 | 6.818 | 252.309 | 7.104 | 255.5 | 7.243 | 250.65 | -6.322 | 890.042 | 60.923 | 47.6911
2019-02-23 03:45:00 | 5.47 | 249.213 | 6.247 | 249.639 | 6.824 | 254.1 | 7.175 | 249.45 | -6.326 | 889.567 | 61.195 | 41.7565
2019-02-23 04:00:00 | 6.397 | 238.4 | 7.379 | 246.074 | 7.798 | 249 | 8.097 | 244.633 | -6.163 | 889.683 | 61.371 | 42.5345
2019-02-23 04:15:00 | 5.556 | 242.407 | 6.411 | 247.329 | 6.855 | 251.75 | 7.052 | 246.883 | -6.222 | 890.033 | 61.835 | 44.1624
2019-02-23 04:30:00 | 5.767 | 239.927 | 6.935 | 245.366 | 7.438 | 249.967 | 7.533 | 244.25 | -6.226 | 889.775 | 65.781 | 47.0686
2019-02-23 04:45:00 | 5.755 | 241.293 | 6.6 | 243.706 | 6.979 | 247.6 | 7.166 | 242.767 | -6.176 | 889.717 | 69.045 | 43.5492
2019-02-23 05:00:00 | 5.726 | 238.187 | 6.691 | 241.435 | 7.261 | 245.9 | 7.411 | 240.2 | -6.356 | 889.942 | 67.221 | 47.1504
2019-02-23 05:15:00 | 5.596 | 240.04 | 6.44 | 242.771 | 6.866 | 247.633 | 6.849 | 243.033 | -6.1 | 890.175 | 65.291 | 41.2775
2019-02-23 05:30:00 | 6.275 | 233.133 | 7.296 | 233.901 | 7.804 | 239.033 | 8.157 | 234 | -6.512 | 889.908 | 64.224 | 36.349
2019-02-23 05:45:00 | 6.486 | 235.76 | 7.218 | 233.89 | 7.888 | 239.633 | 7.86 | 234.767 | -6.076 | 889.625 | 64.053 | 33.9665
2019-02-23 06:00:00 | 4.87 | 230.913 | 6.199 | 232.236 | 6.802 | 239.5 | 7.056 | 234.567 | -5.839 | 889.825 | 63.552 | 29.6711
2019-02-23 06:15:00 | 4.214 | 222.067 | 4.96 | 229.601 | 5.935 | 239.6 | 6.484 | 237.633 | -6.378 | 890.15 | 65.291 | 27.0712
2019-02-23 06:30:00 | 3.883 | 220.913 | 5.23 | 218.686 | 5.716 | 225.333 | 5.608 | 226.5 | -6.7 | 890.308 | 65.813 | 27.2225
2019-02-23 06:45:00 | 4.436 | 222.207 | 5.555 | 222.424 | 6.127 | 229.367 | 6.454 | 226.9 | -7.21 | 889.917 | 68.491 | 28.3857
2019-02-23 07:00:00 | 4.494 | 219.82 | 5.889 | 218.139 | 6.578 | 223.033 | 6.456 | 221.6 | -7.184 | 889.492 | 69.141 | 31.201
2019-02-23 07:15:00 | 5.068 | 215.227 | 6.316 | 213.803 | 7.027 | 218.967 | 7.4 | 216.867 | -7.337 | 890.033 | 70.421 | 29.7209
2019-02-23 07:30:00 | 4.722 | 218.553 | 6.333 | 216.596 | 7.178 | 220.967 | 7.544 | 217.433 | -7.533 | 889.942 | 72.885 | 28.2891
2019-02-23 07:45:00 | 5.043 | 221.273 | 6.559 | 218.787 | 7.095 | 223.933 | 7.313 | 220.133 | -7.21 | 889.833 | 73.248 | 28.1484
2019-02-23 08:00:00 | 4.804 | 219.393 | 6.255 | 216.121 | 7.206 | 219.833 | 7.456 | 217.533 | -7.071 | 889.842 | 72.491 | 28.53
2019-02-23 08:15:00 | 5.113 | 216.767 | 6.71 | 213.76 | 7.546 | 217.067 | 7.52 | 214.567 | -7.074 | 889.725 | 70.581 | 31.579
2019-02-23 08:30:00 | 5.514 | 217.84 | 6.883 | 213.506 | 7.719 | 217.8 | 7.755 | 214.4 | -6.962 | 889.85 | 70.421 | 26.858
2019-02-23 08:45:00 | 5.429 | 213.66 | 6.951 | 211.918 | 7.716 | 215 | 7.803 | 213.3 | -7.17 | 889.775 | 73.312 | 24.0491
2019-02-23 09:00:00 | 4.949 | 208.213 | 6.402 | 208.8 | 7.365 | 212.167 | 7.508 | 211.6 | -6.718 | 889.8 | 72.565 | 22.2329
2019-02-23 09:15:00 | 4.603 | 208.727 | 5.665 | 207.92 | 6.641 | 211.933 | 7.063 | 212.033 | -6.442 | 889.783 | 71.179 | 19.4958
2019-02-23 09:30:00 | 3.5 | 208.54 | 3.938 | 206.534 | 4.445 | 209.433 | 5 | 206.7 | -5.819 | 890.042 | 68.512 | 16.1597
2019-02-23 09:45:00 | 3.476 | 214.8 | 3.511 | 211.468 | 3.728 | 214.3 | 4.198 | 209.833 | -4.969 | 889.8 | 64.192 | 13.5605
2019-02-23 10:00:00 | 4.22 | 215.693 | 4.155 | 214.787 | 4.138 | 217.667 | 4.393 | 213.467 | -4.285 | 889.908 | 60.203 | 9.8541
2019-02-23 10:15:00 | 4.318 | 216.867 | 4.331 | 213.814 | 4.306 | 219.533 | 4.438 | 217.4 | -3.874 | 889.458 | 58.933 | 9.6928
2019-02-23 10:30:00 | 3.709 | 224.3 | 3.757 | 223.861 | 3.798 | 227.5 | 3.897 | 223.833 | -2.934 | 890.1 | 55.744 | 10.1327
2019-02-23 10:45:00 | 4.21 | 287.68 | 4.341 | 287.03 | 4.492 | 290.1 | 4.774 | 284.067 | -3.263 | 890.25 | 50.373 | 6.8712
2019-02-23 11:00:00 | 4.582 | 294.607 | 4.868 | 287.645 | 4.852 | 291.4 | 4.926 | 286.067 | -3.234 | 889.892 | 50.859 | 6.1066
2019-02-23 11:15:00 | 3.481 | 274.293 | 3.643 | 270.832 | 3.546 | 277 | 3.805 | 276.533 | -2.862 | 889.808 | 50.976 | 8.5602
2019-02-23 11:30:00 | 4.319 | 276.08 | 4.463 | 273.402 | 4.369 | 276.85 | 4.686 | 275.033 | -2.76 | 889.842 | 49.899 | 6.6474
2019-02-23 11:45:00 | 5.015 | 260.84 | 5.226 | 261.738 | 5.323 | 267.7 | 5.423 | 264.533 | -2.659 | 890.017 | 49.659 | 7.8567
2019-02-23 12:00:00 | 5.393 | 278.333 | 5.534 | 279.914 | 5.579 | 284.333 | 5.826 | 281.667 | -2.304 | 890.025 | 48.736 | 8.4451
2019-02-23 12:15:00 | 5.574 | 271.647 | 5.725 | 278.444 | 5.917 | 281.417 | 6.153 | 279.3 | -2.263 | 890.033 | 47.307 | 12.0491
2019-02-23 12:30:00 | 6.22 | 275.427 | 6.484 | 278.779 | 6.349 | 285.7 | 6.627 | 280.6 | -2.131 | 889.958 | 46.395 | 13.9506
2019-02-23 12:45:00 | 5.629 | 282.227 | 6.132 | 281.159 | 6.443 | 284.5 | 6.586 | 280.9 | -2.164 | 890.342 | 45.808 | 16.4098
2019-02-23 13:00:00 | 5.665 | 291.733 | 5.885 | 290.452 | 5.942 | 294.7 | 6.138 | 288.667 | -2.332 | 890.05 | 45.621 | 14.7251
2019-02-23 13:15:00 | 5.556 | 260.187 | 5.955 | 268.011 | 6.048 | 273.167 | 6.231 | 270.7 | -2.207 | 889.742 | 46.117 | 15.1123
2019-02-23 13:30:00 | 5.471 | 277.1 | 5.819 | 281.155 | 6.022 | 287.2 | 6.217 | 281.7 | -2.28 | 889.458 | 46.325 | 17.4451
2019-02-23 13:45:00 | 5.251 | 285.173 | 5.483 | 284.862 | 5.591 | 291.067 | 5.702 | 287.6 | -2.296 | 889.958 | 45.557 | 15.7327
2019-02-23 14:00:00 | 5.629 | 295.107 | 5.712 | 291.17 | 5.736 | 294.8 | 5.891 | 288.367 | -2.296 | 889.592 | 43.867 | 13.6685
2019-02-23 14:15:00 | 5.398 | 302.413 | 5.872 | 296.177 | 6.022 | 302.667 | 6.534 | 299.567 | -2.114 | 889.65 | 44.075 | 13.9562
2019-02-23 14:30:00 | 5.215 | 291.333 | 5.494 | 287.827 | 5.586 | 291.8 | 5.692 | 287.1 | -1.7 | 890.35 | 43.013 | 15.5273
2019-02-23 14:45:00 | 4.909 | 283.14 | 5.071 | 281.383 | 5.334 | 284.733 | 5.666 | 282.4 | -1.503 | 889.683 | 42.848 | 17.3265
2019-02-23 15:00:00 | 5.444 | 285.973 | 5.441 | 289.036 | 5.635 | 291.533 | 5.812 | 290.533 | -1.229 | 889.683 | 41.397 | 15.6978
2019-02-23 15:15:00 | 6.8 | 302.2 | 6.803 | 297.679 | 6.927 | 300.767 | 7.068 | 295.833 | -1.6 | 890.017 | 42.165 | 15.7796
2019-02-23 15:30:00 | 5.388 | 321.56 | 5.557 | 312.342 | 5.717 | 314.067 | 6.202 | 311.333 | -1.246 | 889.692 | 41.643 | 14.0067
2019-02-23 15:45:00 | 5.166 | 263.413 | 5.48 | 268.012 | 5.499 | 275.967 | 5.754 | 275.3 | -1.082 | 889.783 | 42.208 | 15.5934
2019-02-23 16:00:00 | 5.567 | 285.28 | 5.688 | 278.447 | 5.72 | 282.217 | 6.035 | 279.583 | -1.082 | 889.9 | 42.229 | 15.5159
2019-02-23 16:15:00 | 5.673 | 281.693 | 6.119 | 282.507 | 6.181 | 286.767 | 6.307 | 284.167 | -1.115 | 889.958 | 41.867 | 14.9546
2019-02-23 16:30:00 | 6 | 301.54 | 6.332 | 291.838 | 6.34 | 298.2 | 6.496 | 292.967 | -1.319 | 889.875 | 43.376 | 15.7184
2019-02-23 16:45:00 | 4.961 | 247.307 | 5.256 | 249.049 | 5.437 | 255.917 | 5.635 | 253.067 | -1.189 | 889.85 | 45.115 | 15.1919
2019-02-23 17:00:00 | 5.147 | 270.24 | 5.697 | 272.716 | 5.899 | 276.717 | 6.025 | 273.467 | -1.566 | 889.833 | 45.216 | 11.897
2019-02-23 17:15:00 | 5.531 | 275.72 | 5.944 | 278.053 | 5.927 | 285.033 | 6.132 | 282.4 | -1.68 | 890.125 | 44.907 | 12.6829
2019-02-23 17:30:00 | 5.926 | 259.453 | 6.379 | 265.207 | 6.413 | 271.117 | 6.408 | 268.967 | -1.872 | 890.1 | 47.947 | 16.6941
2019-02-23 17:45:00 | 5.565 | 273.967 | 6 | 274.525 | 6.228 | 277.967 | 6.196 | 274.733 | -2.148 | 889.767 | 51.611 | 19.7701
2019-02-23 18:00:00 | 5.468 | 259.24 | 5.903 | 267.199 | 6.161 | 273.3 | 6.293 | 270.9 | -2.687 | 889.875 | 53.493 | 18.1251
2019-02-23 18:15:00 | 5.924 | 274.533 | 6.23 | 275.817 | 6.394 | 281.2 | 6.442 | 279.133 | -2.882 | 890 | 55.84 | 18.8805
2019-02-23 18:30:00 | 5.863 | 259.46 | 6.19 | 264.166 | 6.365 | 269.833 | 6.564 | 266.433 | -3.086 | 890.108 | 57.829 | 17.9319
2019-02-23 18:45:00 | 5.713 | 261.46 | 6.113 | 267.423 | 6.212 | 271.767 | 6.397 | 266.467 | -3.08 | 889.875 | 58.832 | 19.38
2019-02-23 19:00:00 | 6.08 | 263.433 | 6.427 | 264.963 | 6.562 | 271.167 | 6.739 | 266.967 | -3.387 | 889.867 | 60.795 | 19.6337
2019-02-23 19:15:00 | 5.078 | 262.433 | 5.593 | 266.6 | 5.573 | 271.617 | 5.576 | 267.933 | -3.655 | 889.608 | 65.275 | 19.7601
2019-02-23 19:30:00 | 5.269 | 260.8 | 5.543 | 260.941 | 5.556 | 263.7 | 5.552 | 258.317 | -4.009 | 890.042 | 68.117 | 15.6978
2019-02-23 19:45:00 | 4.208 | 251.067 | 4.536 | 252.642 | 4.678 | 259.533 | 4.861 | 256.867 | -4.108 | 889.75 | 68.32 | 11.6973
2019-02-23 20:00:00 | 4.49 | 269.1 | 4.572 | 266.695 | 4.597 | 270 | 4.812 | 264.3 | -4.073 | 889.983 | 63.077 | 9.032
2019-02-23 20:15:00 | 4.149 | 275.7 | 4.481 | 274.146 | 4.57 | 278.733 | 4.731 | 275.067 | -3.874 | 890.05 | 59.307 | 11.0728
2019-02-23 20:30:00 | 3.372 | 279 | 3.875 | 275.575 | 4.017 | 279.233 | 4.068 | 274.7 | -3.84 | 889.683 | 54.811 | 7.4979
2019-02-23 20:45:00 | 3.062 | 273.333 | 3.74 | 271.76 | 3.917 | 276.933 | 4.227 | 270.333 | -3.84 | 889.817 | 51.285 | 6.4079
2019-02-23 21:00:00 | 3.273 | 279.067 | 4.031 | 274.208 | 4.204 | 277.5 | 4.45 | 274.4 | -3.722 | 889.5 | 50.843 | 4.1504
2019-02-23 21:15:00 | 2.154 | 302.987 | 2.848 | 288.543 | 3.026 | 287.933 | 3.484 | 279.767 | -4.136 | 889.908 | 51.077 | 2.8138
2019-02-23 21:30:00 | 3.802 | 333.333 | 4.157 | 325.668 | 4.198 | 327.3 | 4.085 | 320.2 | -5.419 | 889.95 | 53.989 | 3.2039
2019-02-23 21:45:00 | 3.788 | 328.2 | 3.888 | 320.181 | 4.113 | 322.667 | 3.836 | 314.667 | -5.385 | 889.733 | 57.243 | 3.0377
2019-02-23 22:00:00 | 2.75 | 315.947 | 2.96 | 309.384 | 3.142 | 314.367 | 3.235 | 313.2 | -5.769 | 889.9 | 58.773 | 1.1426
2019-02-23 22:15:00 | 1.743 | 314.587 | 1.684 | 304.179 | 1.948 | 302.8 | 2.435 | 306.4 | -5.879 | 890.033 | 59.328 | 0.10943
2019-02-23 22:30:00 | 1.42 | 312.693 | 1.296 | 302.886 | 1.642 | 301 | 2.453 | 296.067 | -6.037 | 889.975 | 59.616 | 0.14069
2019-02-23 22:45:00 | 1.314 | 313.693 | 1.297 | 302.934 | 1.576 | 300.533 | 2.262 | 296 | -6.136 | 890.242 | 59.84 | 0.18119
2019-02-23 23:00:00 | 1.683 | 336.747 | 1.714 | 317.161 | 1.23 | 300 | 1.74 | 296.067 | -6.299 | 889.842 | 60.053 | 0.21388
2019-02-23 23:15:00 | 1.961 | 326.213 | 2.231 | 313.042 | 2.077 | 304.833 | 2.036 | 296.467 | -6.283 | 889.792 | 60.373 | 0.23449
2019-02-23 23:30:00 | 2.269 | 313.027 | 2.546 | 311.823 | 2.531 | 312.867 | 2.758 | 296.933 | -6.252 | 890.275 | 60.757 | 0.18333
2019-02-23 23:45:00 | 2.637 | 297.6 | 2.775 | 299.245 | 3.032 | 305.5 | 3.049 | 296.833 | -6.645 | 889.758 | 60.629 | 0.069636