## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-24 00:00:00 | 2.705 | 290.2 | 3.103 | 289.317 | 2.965 | 292.033 | 2.742 | 286.767 | -6.495 | 889.7 | 60.704 | 0.10516
2019-02-24 00:15:00 | 2.108 | 299.933 | 2.25 | 295.428 | 2.216 | 295.3 | 2.156 | 284 | -6.412 | 890.008 | 60.437 | 0.29773
2019-02-24 00:30:00 | 2.026 | 297.76 | 2.424 | 295.041 | 2.495 | 298.267 | 2.471 | 284.133 | -7.131 | 889.992 | 61.408 | 0.32402
2019-02-24 00:45:00 | 2.297 | 302.827 | 2.587 | 295.043 | 2.316 | 290.5 | 2.397 | 282 | -6.834 | 889.475 | 64.24 | 0.28494
2019-02-24 01:00:00 | 2.08 | 300.053 | 2.368 | 294.004 | 1.929 | 282.667 | 2.246 | 272.767 | -7.071 | 889.908 | 65.739 | 0.31833
2019-02-24 01:15:00 | 1.793 | 288.667 | 2.488 | 286.946 | 2.308 | 274.567 | 2.57 | 257.867 | -7.091 | 890.05 | 65.296 | 0.29915
2019-02-24 01:30:00 | 0.654 | 299.12 | 1.282 | 287.087 | 1.178 | 274 | 1.662 | 258.133 | -7.269 | 889.808 | 65.205 | 0.28494
2019-02-24 01:45:00 | 1.4 | 299.173 | 1.699 | 289.79 | 1.524 | 274.133 | 1.918 | 258.033 | -7.249 | 889.75 | 65.627 | 0.30981
2019-02-24 02:00:00 | 0 | 299.107 | 0.466 | 289.082 | 1.027 | 273.733 | 2.039 | 240 | -7.15 | 890.058 | 65.856 | 0.30554
2019-02-24 02:15:00 | 1.096 | 240.6 | 1.356 | 240.27 | 1.841 | 231.2 | 2.428 | 221.133 | -7.289 | 889.567 | 65.109 | 0.3027
2019-02-24 02:30:00 | 1.885 | 203.3 | 2.417 | 196.373 | 2.901 | 201.033 | 3.525 | 205.7 | -6.694 | 890.033 | 62.837 | 0.11582
2019-02-24 02:45:00 | 3.193 | 200.82 | 4.262 | 201.486 | 3.213 | 206.033 | 2.574 | 200 | -6.189 | 889.842 | 59.552 | 0.40431
2019-02-24 03:00:00 | 3.246 | 195.88 | 4.272 | 200.242 | 3.871 | 205.867 | 3.103 | 202 | -5.938 | 890.4 | 58.667 | 0.60469
2019-02-24 03:15:00 | 3.672 | 206.98 | 4.098 | 210.482 | 3.389 | 212 | 3.086 | 209 | -5.625 | 889.867 | 58.4 | 1.0346
2019-02-24 03:30:00 | 3.288 | 202.667 | 3.265 | 204.568 | 2.858 | 212 | 2.654 | 209 | -5.352 | 889.892 | 59.765 | 0.54003
2019-02-24 03:45:00 | 3.268 | 206.167 | 2.99 | 209.54 | 2.332 | 218.967 | 2.205 | 212 | -5.452 | 889.483 | 62.133 | 0.16059
2019-02-24 04:00:00 | 3.434 | 200.567 | 2.746 | 205.909 | 2.163 | 217.933 | 2.054 | 212 | -5.535 | 890 | 61.483 | 0.33254
2019-02-24 04:15:00 | 2.049 | 246.333 | 2.007 | 243.787 | 1.658 | 244.817 | 1.791 | 221.5 | -5.352 | 889.825 | 62.629 | 0.2892
2019-02-24 04:30:00 | 1.025 | 357.053 | 0.17 | 339.812 | 0 | 324.6 | 0.342 | 221.333 | -6.076 | 889.925 | 59.072 | 0.31407
2019-02-24 04:45:00 | 0.475 | 20.11 | 0.11 | 354.918 | 0 | 322.067 | 0 | 221.483 | -6.12 | 889.758 | 59.435 | 0.30696
2019-02-24 05:00:00 | 0.456 | 60.952 | 0.272 | 127.531 | 0 | 322 | 0 | 221.567 | -6.578 | 889.625 | 60.603 | 0.3027
2019-02-24 05:15:00 | 0 | 87.2 | 0 | 55.13 | 0 | 321.867 | 0.06 | 221.483 | -6.395 | 889.917 | 61.664 | 0.30128
2019-02-24 05:30:00 | 1.126 | 122.507 | 0 | 55.149 | 0 | 270.8 | 1.967 | 219.983 | -6.495 | 890.042 | 62.549 | 0.3027
2019-02-24 05:45:00 | 1.36 | 156.433 | 1.067 | 149.865 | 1.997 | 211.867 | 1.954 | 212 | -6.528 | 890.058 | 63.541 | 0.30412
2019-02-24 06:00:00 | 2.702 | 207.4 | 2.397 | 199.948 | 2.078 | 207.267 | 1.942 | 212 | -6.428 | 889.642 | 69.205 | 0.31549
2019-02-24 06:15:00 | 2.889 | 195.54 | 2.434 | 196.526 | 1.733 | 211.7 | 1.34 | 212 | -6.017 | 890.35 | 69.333 | 0.31407
2019-02-24 06:30:00 | 2.573 | 200.127 | 2.535 | 204.449 | 1.606 | 222.533 | 1.409 | 211.833 | -6.309 | 889.825 | 71.008 | 0.30696
2019-02-24 06:45:00 | 2.902 | 212.4 | 2.091 | 213.569 | 1.193 | 232.933 | 1.606 | 212 | -6.495 | 890.133 | 73.856 | 0.30554
2019-02-24 07:00:00 | 3.294 | 216.427 | 1.676 | 213.511 | 0.987 | 232.933 | 1.559 | 212 | -6.624 | 889.567 | 74.731 | 0.30981
2019-02-24 07:15:00 | 3.899 | 219.833 | 1.77 | 213.503 | 1.186 | 233 | 1.515 | 212.367 | -6.512 | 889.642 | 74.08 | 0.30696
2019-02-24 07:30:00 | 4.076 | 215.833 | 2.178 | 213.552 | 1.421 | 226.9 | 1.431 | 230.167 | -6.512 | 890.15 | 72.96 | 0.30554
2019-02-24 07:45:00 | 3.518 | 211.553 | 2.22 | 203.622 | 1.408 | 212 | 1.626 | 224 | -6.571 | 889.633 | 72.949 | 0.30839
2019-02-24 08:00:00 | 3.128 | 209.84 | 2.704 | 199.978 | 1.807 | 199 | 1.999 | 200.267 | -7.111 | 890.025 | 73.952 | 0.31265
2019-02-24 08:15:00 | 3.222 | 203.393 | 2.935 | 199.684 | 2.414 | 197.267 | 2.092 | 199 | -7.071 | 889.467 | 74.613 | 0.31123
2019-02-24 08:30:00 | 3.28 | 201.9 | 2.848 | 202.46 | 2.519 | 192.4 | 2.588 | 190 | -7.639 | 890.058 | 75.691 | 0.32118
2019-02-24 08:45:00 | 3.466 | 203.833 | 2.594 | 199.644 | 2.41 | 189 | 2.549 | 186.467 | -7.889 | 889.792 | 76.501 | 0.31407
2019-02-24 09:00:00 | 3.255 | 197.107 | 2.777 | 202.515 | 2.194 | 195.533 | 2.3 | 181.767 | -7.719 | 890.475 | 76.491 | 0.31833
2019-02-24 09:15:00 | 2.671 | 197.633 | 2.639 | 199.467 | 1.56 | 202 | 1.863 | 182 | -7.672 | 890.117 | 76.416 | 0.30554
2019-02-24 09:30:00 | 2.261 | 201.787 | 2.201 | 197.494 | 1.193 | 196 | 1.412 | 181.967 | -6.72 | 889.925 | 74.731 | 0.30554
2019-02-24 09:45:00 | 1.807 | 209.347 | 2.09 | 196.453 | 0.317 | 195.967 | 0.783 | 182.033 | -5.74 | 889.892 | 71.211 | 0.31549
2019-02-24 10:00:00 | 1.827 | 200.28 | 1.854 | 195.632 | 1.478 | 193.733 | 1.623 | 181.933 | -4.361 | 889.967 | 66.581 | 0.30981
2019-02-24 10:15:00 | 1.722 | 195.633 | 1.57 | 184.004 | 1.296 | 185.4 | 1.72 | 182 | -3.237 | 890.067 | 61.888 | 0.30554
2019-02-24 10:30:00 | 0.096 | 163.487 | 0.21 | 174.082 | 0.047 | 167.6 | 0.608 | 182 | -3.384 | 890.15 | 57.941 | 0.31549
2019-02-24 10:45:00 | 0.56 | 132.327 | 0.42 | 142.097 | 0.11 | 154.133 | 0.588 | 180.667 | -2.222 | 889.667 | 54.144 | 0.30981
2019-02-24 11:00:00 | 0.953 | 123.043 | 1.107 | 113.392 | 0.863 | 116.867 | 1.609 | 123.467 | -2.862 | 889.633 | 52.32 | 0.31976
2019-02-24 11:15:00 | 1.479 | 83.867 | 1.244 | 80.167 | 1.196 | 92.433 | 1.902 | 96.033 | -2.23 | 890.117 | 52.373 | 0.31691
2019-02-24 11:30:00 | 1.771 | 79.013 | 1.375 | 67.671 | 1.677 | 80.667 | 2.108 | 85.967 | -1.586 | 889.775 | 50.315 | 0.31833
2019-02-24 11:45:00 | 2.284 | 73.312 | 2.473 | 69.211 | 2.372 | 74.467 | 2.771 | 76.933 | -1.782 | 889.583 | 51.509 | 0.31194
2019-02-24 12:00:00 | 1.298 | 80.233 | 1.171 | 66.232 | 1.187 | 73 | 1.696 | 71.3 | -1.74 | 889.7 | 50.955 | 0.20109
2019-02-24 12:15:00 | 1.64 | 85.545 | 1.65 | 77.764 | 1.753 | 88.1 | 2.119 | 86.633 | -1.6 | 890 | 51.093 | 0.11582
2019-02-24 12:30:00 | 2.768 | 67.023 | 2.484 | 72.043 | 2.77 | 80.867 | 3.546 | 79.967 | -1.216 | 889.633 | 50.624 | 0.14567
2019-02-24 12:45:00 | 3.14 | 104.68 | 3.353 | 100.47 | 3.414 | 109.9 | 3.405 | 105.1 | -0.552 | 889.817 | 48.8 | 0.83918
2019-02-24 13:00:00 | 2.298 | 116.32 | 2.617 | 80.33 | 2.857 | 92.208 | 3.214 | 86.533 | -0.702 | 889.783 | 48.181 | 1.6265
2019-02-24 13:15:00 | 2.746 | 108.413 | 2.673 | 106.835 | 3.031 | 115.333 | 3.587 | 116.133 | -1.032 | 889.875 | 48.629 | 2.5893
2019-02-24 13:30:00 | 4.195 | 59.71 | 4.002 | 56.801 | 4.268 | 60.7 | 4.514 | 59.467 | -0.625 | 889.883 | 48.416 | 4.7153
2019-02-24 13:45:00 | 4.081 | 107.04 | 3.962 | 84.614 | 4.483 | 91.7 | 4.89 | 89.533 | -0.995 | 889.933 | 52.555 | 6.8918
2019-02-24 14:00:00 | 5.755 | 67.433 | 5.811 | 64.68 | 6.236 | 68.9 | 6.292 | 66.9 | -1.216 | 890.083 | 59.253 | 11.0152
2019-02-24 14:15:00 | 5.698 | 71.857 | 5.561 | 64.838 | 5.5 | 67.867 | 5.858 | 67.433 | -1.329 | 890.017 | 58.283 | 14.1339
2019-02-24 14:30:00 | 5.386 | 71.542 | 5.47 | 64.283 | 5.623 | 72.333 | 6.005 | 66.133 | -1.61 | 889.675 | 59.179 | 13.7132
2019-02-24 14:45:00 | 4.852 | 85.353 | 4.999 | 77.808 | 5.066 | 79.167 | 5.336 | 72 | -1.132 | 889.867 | 55.701 | 13.1611
2019-02-24 15:00:00 | 5.138 | 68.88 | 5.277 | 58.647 | 5.578 | 64.033 | 5.592 | 63.933 | -0.728 | 889.467 | 54.656 | 13.0773
2019-02-24 15:15:00 | 5.763 | 48.2 | 5.905 | 42.701 | 6.171 | 45.833 | 6.215 | 41.633 | -0.632 | 890.283 | 54.176 | 11.6199
2019-02-24 15:30:00 | 5.345 | 40.727 | 5.552 | 36.782 | 5.693 | 46.067 | 6.168 | 41.3 | -1.012 | 889.983 | 55.2 | 12.0256
2019-02-24 15:45:00 | 4.854 | 57.487 | 4.729 | 47.187 | 4.941 | 52.667 | 4.985 | 50.967 | -1.199 | 889.75 | 56.587 | 13.8809
2019-02-24 16:00:00 | 5.124 | 64.833 | 4.904 | 60.282 | 5.235 | 66.133 | 5.646 | 61.567 | -1.229 | 889.975 | 56.533 | 15.4832
2019-02-24 16:15:00 | 5.376 | 64.503 | 5.373 | 56.287 | 5.349 | 62.133 | 5.722 | 57.433 | -1.115 | 889.65 | 56.373 | 17.4899
2019-02-24 16:30:00 | 4.351 | 45.326 | 4.59 | 41.67 | 4.476 | 50.3 | 4.504 | 49.367 | -1.185 | 890.258 | 57.995 | 13.9676
2019-02-24 16:45:00 | 4.128 | 70.713 | 3.89 | 61.61 | 3.737 | 64.733 | 4.05 | 61.5 | -1.132 | 889.917 | 58.261 | 11.1651
2019-02-24 17:00:00 | 5.898 | 69.58 | 5.667 | 59.492 | 5.436 | 62.267 | 5.93 | 60.067 | -1.7 | 889.792 | 62.037 | 15.6509
2019-02-24 17:15:00 | 5.118 | 59.198 | 4.928 | 54.391 | 5.04 | 64.2 | 5.16 | 59.433 | -1.62 | 889.892 | 62.4 | 16.9364
2019-02-24 17:30:00 | 4.163 | 72.087 | 4.292 | 69.584 | 4.426 | 76.067 | 4.804 | 72 | -1.974 | 889.983 | 63.435 | 11.4266
2019-02-24 17:45:00 | 4.266 | 86.84 | 4.177 | 83.618 | 4.153 | 84.467 | 4.211 | 80.133 | -1.799 | 890 | 64.469 | 9.2914
2019-02-24 18:00:00 | 4.355 | 87.027 | 4.221 | 80.906 | 4.331 | 82.4 | 4.466 | 75.3 | -2.018 | 889.917 | 64.651 | 9.3582
2019-02-24 18:15:00 | 4.217 | 81.953 | 4.223 | 75.557 | 4.158 | 80.133 | 4.551 | 73.233 | -2.114 | 890.2 | 65.024 | 8.2042
2019-02-24 18:30:00 | 4.786 | 86.14 | 4.965 | 78.915 | 4.558 | 86.133 | 4.541 | 82.033 | -2.164 | 889.692 | 66.443 | 7.8638
2019-02-24 18:45:00 | 4.288 | 86.267 | 4.016 | 81.499 | 3.999 | 85.633 | 4.142 | 81.733 | -2.23 | 889.808 | 66.699 | 7.1128
2019-02-24 19:00:00 | 4.12 | 82.14 | 4.255 | 77.297 | 4.294 | 81.767 | 4.474 | 78.833 | -2.434 | 890.05 | 67.648 | 4.9725
2019-02-24 19:15:00 | 2.716 | 87.86 | 2.826 | 82.746 | 2.7 | 85.8 | 2.91 | 81.133 | -2.679 | 889.892 | 68.907 | 3.0803
2019-02-24 19:30:00 | 2.574 | 81.1 | 2.626 | 76.584 | 2.746 | 81.767 | 2.829 | 79.233 | -3.354 | 889.992 | 69.856 | 0.48034
2019-02-24 19:45:00 | 1.826 | 88.633 | 1.534 | 87.542 | 1.153 | 98.8 | 1.488 | 85.467 | -3.121 | 890.125 | 70.048 | 0.32402
2019-02-24 20:00:00 | 1.188 | 90.133 | 1.167 | 85.235 | 1.149 | 85 | 1.533 | 93 | -3.304 | 889.908 | 71.424 | 0.3226
2019-02-24 20:15:00 | 0 | 90 | 0 | 85.297 | 0 | 85 | 0.907 | 93 | -3.84 | 890.35 | 73.163 | 0.28991
2019-02-24 20:30:00 | 0.07 | 90 | 0 | 85.141 | 0 | 93 | 1.235 | 93 | -3.606 | 889.817 | 75.712 | 0.29275
2019-02-24 20:45:00 | 0.096 | 90 | 1.08 | 85.166 | 1.137 | 92.4 | 1.585 | 93 | -3.689 | 889.775 | 76.587 | 0.28849
2019-02-24 21:00:00 | 0 | 90.07 | 0.754 | 72.247 | 1.001 | 74.333 | 1.334 | 91.367 | -4.49 | 889.842 | 76.565 | 0.29418
2019-02-24 21:15:00 | 0 | 90.1 | 1.143 | 66.139 | 1.576 | 68 | 1.767 | 72 | -4.869 | 889.917 | 79.797 | 0.30128
2019-02-24 21:30:00 | 0 | 90.067 | 1.296 | 66.243 | 1.474 | 67.967 | 1.667 | 72 | -5.419 | 889.8 | 82.293 | 0.29986
2019-02-24 21:45:00 | 0 | 118.333 | 0.908 | 66.255 | 1.205 | 68 | 1.248 | 72 | -5.152 | 889.721 | 84.16 | 0.30839
2019-02-24 22:00:00 | 1.273 | 183.7 | 0 | 66.271 | 0 | 68 | 0 | 71.9 | -5.285 | 889.838 | 84.224 | 0.29986
2019-02-24 22:15:00 | 1.687 | 203.2 | 0 | 66.249 | 0.14 | 68 | 1.361 | 72 | -5.352 | 890.508 | 82.901 | 0.30839
2019-02-24 22:30:00 | 1.951 | 212.173 | 0 | 66.202 | 0 | 68 | 0.403 | 72 | -5.868 | 890.383 | 82.517 | 0.31833
2019-02-24 22:45:00 | 2.163 | 220.107 | 0 | 66.242 | 0 | 68.1 | 0 | 72 | -5.455 | 889.938 | 82.411 | 0.30696
2019-02-24 23:00:00 | 2.461 | 227.213 | 0 | 66.299 | 0 | 68 | 0.897 | 72.067 | -5.542 | 889.288 | 81.899 | 0.31549
2019-02-24 23:15:00 | 2.892 | 226.727 | 0 | 66.256 | 0 | 68.1 | 0.466 | 72 | -5.978 | 889.621 | 82.219 | 0.31691
2019-02-24 23:30:00 | 3.121 | 227.96 | 0 | 66.221 | 0 | 68 | 0 | 72 | -5.978 | 889.662 | 82.283 | 0.31549
2019-02-24 23:45:00 | 3.903 | 228.033 | 1.13 | 66.983 | 0 | 182.933 | 0 | 72 | -6.494 | 889.25 | 81.483 | 0.31976