## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-25 00:00:00 | 4.104 | 229.613 | 1.07 | 250.49 | 0 | 272.067 | 0 | 72 | -7.843 | 890.008 | 78.485 | 0.31123
2019-02-25 00:15:00 | 4.502 | 234.8 | 1.834 | 250.48 | 0 | 272 | 0.104 | 72 | -8.474 | 889.446 | 81.461 | 0.30839
2019-02-25 00:30:00 | 4.373 | 237.767 | 1.929 | 250.595 | 0 | 272 | 0 | 71.933 | -8.958 | 890.4 | 81.536 | 0.3027
2019-02-25 00:45:00 | 3.388 | 243.767 | 0.788 | 258.971 | 0 | 272 | 0.064 | 72.033 | -8.09 | 889.912 | 84.693 | 0.30839
2019-02-25 01:00:00 | 3.169 | 236.567 | 0.156 | 266.911 | 0 | 272 | 0.255 | 69 | -7.856 | 889.8 | 84.779 | 0.31123
2019-02-25 01:15:00 | 3.668 | 234.087 | 1.537 | 261.829 | 0 | 272 | 0 | 69.1 | -8.431 | 889.696 | 83.659 | 0.30412
2019-02-25 01:30:00 | 3.695 | 235.08 | 0.641 | 262.919 | 0 | 271.933 | 0 | 69.108 | -7.732 | 890.338 | 84.928 | 0.31265
2019-02-25 01:45:00 | 4.709 | 230.32 | 2.029 | 252.787 | 0.503 | 272 | 0 | 69 | -8.962 | 889.583 | 81.344 | 0.30412
2019-02-25 02:00:00 | 4.676 | 226.233 | 2.474 | 234.312 | 1.483 | 248 | 0.621 | 69 | -9.091 | 890.254 | 83.669 | 0.31265
2019-02-25 02:15:00 | 4.348 | 231.92 | 2.392 | 243.457 | 0.88 | 248.1 | 0.205 | 69.1 | -9.724 | 889.633 | 80.501 | 0.31549
2019-02-25 02:30:00 | 4.477 | 234.647 | 2.773 | 248.512 | 1.961 | 267.267 | 1.472 | 270.133 | -10.508 | 889.95 | 80.661 | 0.31265
2019-02-25 02:45:00 | 5.268 | 225.16 | 2.881 | 249.318 | 1.806 | 266.267 | 1.283 | 270.267 | -10.489 | 889.783 | 80.811 | 0.31265
2019-02-25 03:00:00 | 4.567 | 231.347 | 2.717 | 250.324 | 1.766 | 264 | 1.428 | 270.1 | -9.787 | 889.946 | 84.309 | 0.30839
2019-02-25 03:15:00 | 4.257 | 231.867 | 2.604 | 247.525 | 1.895 | 256.667 | 1.414 | 249.267 | -8.09 | 890.238 | 86.336 | 0.31123
2019-02-25 03:30:00 | 5.408 | 227.407 | 2.678 | 247.556 | 1.631 | 250.5 | 1.512 | 247 | -10.751 | 890.017 | 78.517 | 0.31691
2019-02-25 03:45:00 | 5.787 | 223.833 | 3.306 | 236.403 | 1.817 | 250.1 | 1.341 | 247.033 | -11.578 | 890 | 80.917 | 0.31549
2019-02-25 04:00:00 | 5.774 | 220.533 | 3.386 | 231.353 | 2.395 | 247.433 | 1.611 | 247 | -11.545 | 890.158 | 82.219 | 0.31691
2019-02-25 04:15:00 | 4.928 | 223.093 | 2.461 | 230.576 | 1.682 | 247.133 | 1.286 | 247.033 | -11.04 | 889.738 | 83.456 | 0.31976
2019-02-25 04:30:00 | 5.295 | 222.533 | 2.268 | 230.523 | 1.41 | 248 | 1.512 | 246.867 | -11.095 | 889.667 | 82.763 | 0.31976
2019-02-25 04:45:00 | 5.499 | 223.167 | 2.565 | 229.391 | 1.072 | 248.067 | 1.272 | 247.1 | -10.941 | 889.838 | 81.195 | 0.3226
2019-02-25 05:00:00 | 5.558 | 221.633 | 3.219 | 219.524 | 1.687 | 232.933 | 1.002 | 247 | -11.445 | 889.742 | 80.149 | 0.31976
2019-02-25 05:15:00 | 5.419 | 221.2 | 2.609 | 219.388 | 1.328 | 233 | 0.333 | 246.9 | -10.891 | 889.833 | 78.219 | 0.31976
2019-02-25 05:30:00 | 5.22 | 225.42 | 3.056 | 219.537 | 1.942 | 232.567 | 0.869 | 247 | -11.003 | 889.783 | 77.387 | 0.31976
2019-02-25 05:45:00 | 3.664 | 241.867 | 2.761 | 217.037 | 1.033 | 228.067 | 0 | 247 | -11.786 | 889.708 | 76.32 | 0.31976
2019-02-25 06:00:00 | 4.56 | 244.207 | 2.826 | 213.545 | 1.15 | 210.067 | 0 | 247.033 | -12.186 | 889.292 | 78.677 | 0.31976
2019-02-25 06:15:00 | 5.484 | 243.7 | 4.685 | 228.315 | 1.554 | 241.267 | 0.588 | 246.867 | -12.62 | 889.683 | 78.635 | 0.31833
2019-02-25 06:30:00 | 4.907 | 239.833 | 3.022 | 216.507 | 0 | 232.9 | 0 | 247.1 | -12.266 | 889.442 | 78.528 | 0.32118
2019-02-25 06:45:00 | 5.183 | 246.467 | 2.843 | 227.246 | 1.172 | 208.833 | 0 | 247 | -12.57 | 890.05 | 78.336 | 0.31691
2019-02-25 07:00:00 | 4.604 | 242.633 | 1.93 | 218.671 | 0.376 | 212 | 0 | 247 | -13.12 | 889.733 | 80.032 | 0.31265
2019-02-25 07:15:00 | 4.247 | 234.633 | 0.41 | 217.407 | 0 | 212 | 0 | 247 | -12.97 | 890.408 | 80.704 | 0.31833
2019-02-25 07:30:00 | 4.79 | 233.533 | 0.063 | 217.48 | 0 | 212 | 0 | 247 | -12.903 | 890.25 | 80.448 | 0.32118
2019-02-25 07:45:00 | 4.29 | 228.933 | 0.382 | 217.471 | 0.364 | 212 | 0.228 | 247 | -13.086 | 889.958 | 80.736 | 0.31407
2019-02-25 08:00:00 | 4.11 | 222.293 | 0.084 | 217.05 | 0.641 | 142 | 1.695 | 113.333 | -13.193 | 889.696 | 81.291 | 0.32118
2019-02-25 08:15:00 | 2.72 | 215.26 | 0.426 | 153.866 | 1.384 | 111.433 | 2.107 | 94.7 | -10.92 | 890.033 | 87.445 | 0.32118
2019-02-25 08:30:00 | 2.964 | 219.827 | 0 | 157.548 | 0.283 | 123 | 1.286 | 94 | -10.191 | 889.596 | 84.416 | 0.31549
2019-02-25 08:45:00 | 2.168 | 213.4 | 0.27 | 157.48 | 1.597 | 123 | 1.522 | 94 | -8.941 | 890.292 | 85.163 | 0.32402
2019-02-25 09:00:00 | 2.261 | 214.867 | 0.824 | 154.145 | 2.1 | 117 | 2.056 | 95.9 | -8.791 | 889.962 | 82.859 | 0.31833
2019-02-25 09:15:00 | 2.213 | 216.633 | 0.186 | 151.51 | 1.81 | 112.7 | 1.717 | 94.067 | -7.672 | 890.067 | 77.899 | 0.33254
2019-02-25 09:30:00 | 1.51 | 213.613 | 1.31 | 149.023 | 1.732 | 113 | 1.569 | 94 | -7.131 | 889.492 | 75.627 | 0.3226
2019-02-25 09:45:00 | 0.197 | 210.4 | 0.87 | 134.513 | 1.053 | 112.667 | 0.809 | 94 | -5.469 | 889.708 | 70.24 | 0.31549
2019-02-25 10:00:00 | 0 | 213.2 | 1.114 | 74.008 | 1.787 | 73.7 | 1.665 | 73.8 | -4.885 | 889.658 | 67.061 | 0.31691
2019-02-25 10:15:00 | 0 | 56.025 | 0.2 | 72.282 | 1.478 | 58.1 | 1.439 | 73 | -2.952 | 890.008 | 61.504 | 0.32544
2019-02-25 10:30:00 | 1.597 | 73.867 | 1.506 | 72.682 | 1.813 | 80.833 | 1.832 | 72.933 | -3.706 | 889.475 | 60.885 | 0.31976
2019-02-25 10:45:00 | 2.081 | 72.533 | 2.053 | 67.951 | 2.057 | 74.8 | 2.008 | 73.633 | -3.672 | 889.883 | 57.984 | 0.31407
2019-02-25 11:00:00 | 2.113 | 78.7 | 2.088 | 77.414 | 2.27 | 93.867 | 2.354 | 88.3 | -3.958 | 889.833 | 56.331 | 0.33823
2019-02-25 11:15:00 | 0.972 | 113.367 | 0.977 | 112.534 | 1.607 | 129.667 | 1.636 | 128.667 | -3.221 | 889.767 | 56.629 | 0.30128
2019-02-25 11:30:00 | 2.388 | 98.983 | 2.593 | 94.426 | 2.656 | 99.233 | 2.803 | 98.633 | -3.036 | 890.158 | 58.955 | 0.2217
2019-02-25 11:45:00 | 2.409 | 80.485 | 2.518 | 81.787 | 2.861 | 86.267 | 2.901 | 84.867 | -2.618 | 889.633 | 56.267 | 0.26291
2019-02-25 12:00:00 | 3.325 | 88.275 | 3.155 | 90.893 | 3.38 | 98.567 | 3.58 | 98.4 | -2.353 | 889.975 | 57.461 | 1.3437
2019-02-25 12:15:00 | 3.252 | 104.25 | 2.976 | 96.026 | 3.055 | 107 | 3.182 | 99.3 | -1.985 | 889.642 | 58.453 | 1.7835
2019-02-25 12:30:00 | 3.903 | 111.32 | 4.032 | 102.805 | 4.017 | 104 | 3.931 | 96.067 | -2.377 | 889.642 | 56.907 | 1.4758
2019-02-25 12:45:00 | 2.257 | 87.489 | 2.171 | 90.042 | 2.673 | 94.333 | 2.832 | 90.7 | -1.853 | 890.267 | 55.776 | 0.85268
2019-02-25 13:00:00 | 3.13 | 96.31 | 3.568 | 91.611 | 3.574 | 95.867 | 3.964 | 92.5 | -1.553 | 889.9 | 54.837 | 1.1262
2019-02-25 13:15:00 | 2.998 | 79.537 | 3.149 | 73.268 | 3.255 | 81.033 | 3.456 | 80.833 | -0.995 | 890.092 | 53.835 | 1.4851
2019-02-25 13:30:00 | 3.144 | 66.9 | 3.382 | 62.414 | 3.615 | 69.133 | 3.899 | 66.867 | -0.658 | 890.142 | 51.829 | 1.7345
2019-02-25 13:45:00 | 2.531 | 66.99 | 2.61 | 70.899 | 2.919 | 74.333 | 3.217 | 68.867 | -0.738 | 889.85 | 51.904 | 2.5573
2019-02-25 14:00:00 | 4.303 | 88.17 | 4.18 | 85.572 | 4.018 | 93.267 | 4.369 | 87.2 | -0.223 | 890.017 | 51.563 | 2.897
2019-02-25 14:15:00 | 3.636 | 52.993 | 3.547 | 48.622 | 3.532 | 53.2 | 3.837 | 55.933 | -0.798 | 889.95 | 53.259 | 4.1767
2019-02-25 14:30:00 | 2.598 | 53.302 | 2.297 | 55.026 | 2.359 | 59.2 | 2.502 | 57 | -0.392 | 889.883 | 49.792 | 4.0602
2019-02-25 14:45:00 | 4.019 | 84.347 | 3.93 | 77.886 | 3.589 | 85.967 | 3.688 | 81.4 | -0.648 | 889.65 | 51.296 | 5.4223
2019-02-25 15:00:00 | 3.369 | 68.823 | 3.599 | 64.095 | 3.694 | 69.9 | 3.465 | 67.467 | -0.618 | 889.592 | 51.136 | 3.896
2019-02-25 15:15:00 | 4.315 | 90.17 | 4.483 | 83.075 | 4.464 | 87.3 | 4.831 | 85.6 | -0.439 | 889.642 | 48.309 | 5.0564
2019-02-25 15:30:00 | 3.25 | 102.24 | 2.947 | 103.384 | 3.344 | 105.2 | 3.745 | 95.133 | -0.13 | 889.992 | 49.248 | 6.4527
2019-02-25 15:45:00 | 3.145 | 92.613 | 3.008 | 87.166 | 3.115 | 93.867 | 3.405 | 98.967 | -0.196 | 889.658 | 50.059 | 6.0618
2019-02-25 16:00:00 | 4.294 | 46.418 | 4.189 | 44.421 | 4.228 | 51.067 | 4.524 | 46.833 | -0.485 | 890.067 | 50.325 | 5.5851
2019-02-25 16:15:00 | 4.263 | 40.867 | 4.35 | 37.178 | 4.782 | 43.033 | 4.751 | 47.033 | -0.003 | 890.292 | 50.763 | 4.5277
2019-02-25 16:30:00 | 4.69 | 46.178 | 4.672 | 41.55 | 4.727 | 46.6 | 4.821 | 46.633 | -0.262 | 889.375 | 51.083 | 3.9557
2019-02-25 16:45:00 | 3.578 | 91.667 | 3.413 | 78.568 | 3.459 | 81.033 | 3.725 | 76.967 | -0.086 | 889.925 | 50.987 | 3.0299
2019-02-25 17:00:00 | 3.481 | 75.478 | 3.631 | 70.652 | 3.774 | 72.933 | 3.96 | 69.933 | -0.016 | 889.908 | 51.317 | 3.0505
2019-02-25 17:15:00 | 1.484 | 96.273 | 1.339 | 85.402 | 1.318 | 89.533 | 2.04 | 72.6 | -0.099 | 889.717 | 51.104 | 2.0486
2019-02-25 17:30:00 | 3.146 | 41.964 | 3.311 | 37.378 | 3.131 | 47.8 | 3.272 | 46.5 | 0.166 | 889.583 | 50.805 | 1.5689
2019-02-25 17:45:00 | 3.821 | 64.312 | 3.914 | 61.562 | 3.787 | 67.567 | 3.991 | 63.533 | 0.15 | 889.95 | 50.869 | 1.9704
2019-02-25 18:00:00 | 3.284 | 50.285 | 3.047 | 43.109 | 2.735 | 47.367 | 2.872 | 48.933 | -0.362 | 889.883 | 52.053 | 1.4041
2019-02-25 18:15:00 | 3.274 | 57.007 | 3.213 | 50.605 | 3.246 | 58.1 | 3.149 | 55.533 | -0.01 | 889.558 | 52 | 1.37
2019-02-25 18:30:00 | 2.186 | 64.249 | 2.267 | 58.234 | 2.455 | 63.233 | 2.743 | 62.933 | -0.16 | 889.7 | 52.779 | 1.2556
2019-02-25 18:45:00 | 3.147 | 67.413 | 2.892 | 58.689 | 2.829 | 60.233 | 3.008 | 54.8 | -0.698 | 889.517 | 54.24 | 0.66367
2019-02-25 19:00:00 | 2.771 | 63.107 | 2.494 | 56.131 | 2.442 | 64.833 | 2.654 | 58.833 | -0.732 | 889.992 | 55.328 | 0.41071
2019-02-25 19:15:00 | 3.274 | 66.577 | 3.206 | 61.337 | 3.113 | 63.967 | 3.132 | 58.433 | -0.995 | 889.917 | 56.352 | 1.8453
2019-02-25 19:30:00 | 2.79 | 61.973 | 2.439 | 55.394 | 2.181 | 55.733 | 2.57 | 54.133 | -1.309 | 889.833 | 57.6 | 2.406
2019-02-25 19:45:00 | 2.62 | 63.387 | 2.824 | 57.615 | 2.584 | 62.7 | 2.617 | 59.367 | -1.64 | 889.583 | 59.243 | 1.6073
2019-02-25 20:00:00 | 2.76 | 71.893 | 2.828 | 69.625 | 3.012 | 74.967 | 3.055 | 69.467 | -1.735 | 889.25 | 59.637 | 2.0393
2019-02-25 20:15:00 | 2.394 | 78.567 | 2.713 | 73.799 | 2.791 | 80.1 | 2.74 | 75.2 | -2.065 | 889.892 | 60.491 | 1.9647
2019-02-25 20:30:00 | 2.588 | 79.507 | 3.17 | 77.003 | 3.106 | 85.1 | 3.008 | 80.5 | -2.337 | 890.058 | 62.453 | 1.3416
2019-02-25 20:45:00 | 1.952 | 96.197 | 2.319 | 82.129 | 2.257 | 86.5 | 2.241 | 81.533 | -3.16 | 889.833 | 63.883 | 0.92374
2019-02-25 21:00:00 | 1.521 | 100.883 | 2.263 | 83.084 | 1.739 | 87.333 | 2.056 | 83.067 | -2.986 | 889.9 | 64.672 | 0.38797
2019-02-25 21:15:00 | 1.798 | 133.067 | 1.854 | 97.032 | 1.227 | 103.533 | 1.702 | 89.733 | -3.321 | 889.867 | 65.547 | 0.71341
2019-02-25 21:30:00 | 1.75 | 146.367 | 2.168 | 107.255 | 1.699 | 108.467 | 1.787 | 88.233 | -3.354 | 889.883 | 66.485 | 0.32544
2019-02-25 21:45:00 | 1.173 | 147.167 | 1.762 | 109.774 | 1.58 | 105.933 | 2.034 | 104.233 | -3.74 | 889.692 | 67.669 | 0.29133
2019-02-25 22:00:00 | 1.617 | 151.367 | 1.503 | 109.764 | 0.979 | 107.033 | 1.65 | 103.767 | -3.471 | 889.858 | 68.437 | 0.2956
2019-02-25 22:15:00 | 1.819 | 157 | 2.021 | 111.274 | 2.224 | 111.667 | 2.458 | 104.767 | -3.572 | 890.417 | 69.675 | 0.21175
2019-02-25 22:30:00 | 2.537 | 165.133 | 2.266 | 131.776 | 2.692 | 118.3 | 3.028 | 108.2 | -3.89 | 889.842 | 70.496 | 0.081715
2019-02-25 22:45:00 | 2.646 | 199.467 | 1.754 | 149.405 | 1.579 | 131.067 | 2.158 | 121.367 | -5.152 | 890.108 | 71.083 | 0.32047
2019-02-25 23:00:00 | 2.131 | 209.4 | 0.13 | 155.481 | 0.057 | 131 | 1.545 | 120.967 | -5.069 | 890.292 | 72.704 | 0.30839
2019-02-25 23:15:00 | 1.793 | 209.267 | 0 | 155.515 | 0.89 | 131 | 1.917 | 121 | -5.069 | 889.942 | 74.805 | 0.28991
2019-02-25 23:30:00 | 2.434 | 207.2 | 1.123 | 155.449 | 0.843 | 131 | 1.618 | 121 | -4.885 | 889.908 | 74.368 | 0.2956
2019-02-25 23:45:00 | 2.662 | 214.567 | 0.64 | 155.43 | 0.494 | 131 | 1.364 | 121 | -4.902 | 889.892 | 73.835 | 0.29702