## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-26 00:00:00 | 3.748 | 223.167 | 0.639 | 155.516 | 0 | 131 | 0.992 | 121 | -5.385 | 889.783 | 73.461 | 0.30412
2019-02-26 00:15:00 | 4.646 | 225.267 | 1.408 | 179.782 | 0 | 148.4 | 1.289 | 123 | -6.81 | 889.808 | 70.741 | 0.29986
2019-02-26 00:30:00 | 4.202 | 227.767 | 1.428 | 212.364 | 0 | 159 | 0.918 | 124.033 | -7.489 | 889.783 | 74.923 | 0.3027
2019-02-26 00:45:00 | 4.255 | 226.393 | 1.769 | 212.519 | 0 | 159 | 0.45 | 124 | -7.793 | 889.842 | 77.493 | 0.30696
2019-02-26 01:00:00 | 4.854 | 224.493 | 1.646 | 212.482 | 0 | 159 | 0 | 124 | -8.394 | 889.842 | 75.701 | 0.3027
2019-02-26 01:15:00 | 4.648 | 224.18 | 2.167 | 216.842 | 0.087 | 188.633 | 0 | 124 | -8.601 | 889.917 | 77.6 | 0.29844
2019-02-26 01:30:00 | 4.323 | 221.3 | 1.491 | 212.457 | 0 | 196 | 0 | 124 | -7.823 | 889.517 | 81.355 | 0.30412
2019-02-26 01:45:00 | 4.029 | 224.58 | 1.327 | 221.443 | 0 | 196.033 | 0 | 124 | -7.33 | 890.108 | 77.675 | 0.3027
2019-02-26 02:00:00 | 4.403 | 225.3 | 0.508 | 221.552 | 0 | 196.033 | 0 | 124.033 | -8.24 | 889.933 | 75.243 | 0.30554
2019-02-26 02:15:00 | 3.501 | 227.567 | 0 | 221.537 | 0 | 196 | 0 | 124.033 | -7.223 | 889.642 | 80.779 | 0.30128
2019-02-26 02:30:00 | 3.111 | 223.313 | 0 | 221.437 | 0 | 195.867 | 0.252 | 124 | -6.187 | 890.025 | 78.613 | 0.30554
2019-02-26 02:45:00 | 2.367 | 214.3 | 0 | 221.43 | 0 | 196 | 1.146 | 124.033 | -6.096 | 890.208 | 78.261 | 0.30696
2019-02-26 03:00:00 | 3.18 | 221.753 | 0 | 221.484 | 0 | 196 | 0.986 | 124 | -6.223 | 889.483 | 74.933 | 0.30981
2019-02-26 03:15:00 | 3.348 | 221.82 | 0 | 221.448 | 0 | 196 | 0.995 | 123.5 | -6.952 | 889.892 | 75.627 | 0.30554
2019-02-26 03:30:00 | 3.027 | 216.667 | 0 | 221.53 | 0 | 196.033 | 1.045 | 122.833 | -6.86 | 890.067 | 77.312 | 0.31407
2019-02-26 03:45:00 | 3.98 | 221.967 | 0 | 221.503 | 0 | 196 | 1.045 | 123.067 | -7.973 | 889.925 | 73.088 | 0.30981
2019-02-26 04:00:00 | 4.686 | 220.18 | 1.712 | 218.245 | 0 | 196 | 1.399 | 124 | -8.651 | 890.175 | 72.149 | 0.31265
2019-02-26 04:15:00 | 5.476 | 215.433 | 2.126 | 213.783 | 1.096 | 196.1 | 1.92 | 153.2 | -10.233 | 890.258 | 73.184 | 0.31265
2019-02-26 04:30:00 | 5.134 | 213.367 | 2.411 | 203.442 | 1.926 | 183 | 2.218 | 155.067 | -10.333 | 889.725 | 73.365 | 0.32118
2019-02-26 04:45:00 | 4.221 | 215.867 | 1.595 | 199.573 | 1.531 | 173.067 | 1.913 | 155 | -9.912 | 889.65 | 73.888 | 0.31407
2019-02-26 05:00:00 | 4.166 | 216.333 | 2.328 | 189.496 | 1.743 | 161.267 | 1.619 | 143.8 | -8.624 | 889.742 | 73.611 | 0.30839
2019-02-26 05:15:00 | 4.346 | 216.2 | 2.24 | 175.522 | 1.344 | 147.267 | 1.626 | 116.333 | -9.108 | 890.117 | 72.096 | 0.31265
2019-02-26 05:30:00 | 4.979 | 213.027 | 3.04 | 173.401 | 1.978 | 158.3 | 1.919 | 135.133 | -10.582 | 890.125 | 71.819 | 0.31123
2019-02-26 05:45:00 | 4.914 | 212.067 | 3.854 | 181.413 | 2.777 | 172.667 | 2.365 | 150.933 | -10.499 | 890.067 | 71.893 | 0.31407
2019-02-26 06:00:00 | 6.004 | 217.493 | 4.484 | 188.159 | 2.97 | 180 | 2.468 | 164.167 | -10.947 | 889.808 | 72.299 | 0.32118
2019-02-26 06:15:00 | 6.18 | 216.133 | 3.441 | 187.742 | 2.135 | 172.167 | 2.01 | 151.8 | -11.151 | 889.808 | 72.416 | 0.31976
2019-02-26 06:30:00 | 5.946 | 217.027 | 3.224 | 195.332 | 1.61 | 177.433 | 1.659 | 147.733 | -11.04 | 889.65 | 71.317 | 0.31691
2019-02-26 06:45:00 | 6.309 | 218.3 | 3.927 | 196.916 | 1.992 | 186.533 | 1.575 | 145.4 | -11.311 | 889.625 | 71.221 | 0.31976
2019-02-26 07:00:00 | 5.523 | 211.767 | 4.157 | 186.529 | 2.896 | 181.733 | 2.033 | 162.8 | -11.295 | 889.667 | 70.069 | 0.31833
2019-02-26 07:15:00 | 4.832 | 211.8 | 3.751 | 177.375 | 2.262 | 169.9 | 1.692 | 152 | -11.295 | 889.908 | 68.981 | 0.31549
2019-02-26 07:30:00 | 4.579 | 210.873 | 2.964 | 176.676 | 1.303 | 150.333 | 1.592 | 138.833 | -10.037 | 890.175 | 65.717 | 0.31691
2019-02-26 07:45:00 | 5.748 | 212.02 | 3.873 | 190.816 | 2.52 | 177.4 | 1.983 | 142.867 | -11.003 | 889.425 | 66.229 | 0.31691
2019-02-26 08:00:00 | 5.996 | 216.193 | 3.744 | 195.67 | 2.681 | 179.133 | 2.469 | 152 | -11.695 | 889.692 | 67.989 | 0.3226
2019-02-26 08:15:00 | 5.645 | 212.273 | 4.814 | 199.476 | 3.908 | 195.433 | 3.344 | 178.633 | -12.153 | 889.942 | 69.899 | 0.23378
2019-02-26 08:30:00 | 5.154 | 210.167 | 4.2 | 181.741 | 3.625 | 179.3 | 3.064 | 163.433 | -12.286 | 889.883 | 70.955 | 0.69067
2019-02-26 08:45:00 | 5.444 | 212.607 | 4.183 | 192.423 | 3.603 | 187.5 | 3.032 | 172.9 | -11.674 | 889.717 | 71.04 | 1.5995
2019-02-26 09:00:00 | 4.698 | 212.967 | 3.341 | 192.612 | 2.967 | 197 | 3.008 | 186.067 | -10.56 | 890.392 | 67.691 | 0.66367
2019-02-26 09:15:00 | 4.384 | 210.707 | 3.815 | 190.763 | 2.653 | 194.1 | 2.836 | 185.6 | -9.433 | 890.308 | 65.259 | 0.076741
2019-02-26 09:30:00 | 3.695 | 216.1 | 3.742 | 198.285 | 2.564 | 204 | 2.757 | 182.6 | -8.441 | 889.942 | 64.235 | 0.17196
2019-02-26 09:45:00 | 2.957 | 213.433 | 3.388 | 190.636 | 1.839 | 190.067 | 1.936 | 171 | -6.528 | 890 | 60.491 | 0.082426
2019-02-26 10:00:00 | 2.087 | 215.08 | 2.446 | 198.31 | 1.551 | 183.633 | 1.02 | 179 | -4.709 | 890.175 | 55.179 | 0.33254
2019-02-26 10:15:00 | 1.609 | 194.273 | 1.558 | 192.763 | 1.393 | 186.867 | 1.576 | 153 | -2.912 | 889.967 | 49.152 | 0.32118
2019-02-26 10:30:00 | 1.329 | 158.347 | 0.897 | 162.687 | 0.63 | 150.667 | 1.595 | 143.233 | -2.652 | 889.867 | 43.552 | 0.30554
2019-02-26 10:45:00 | 1.713 | 113.837 | 1.514 | 106.636 | 1.36 | 123.633 | 1.679 | 123.967 | -2.312 | 889.817 | 40.741 | 0.24301
2019-02-26 11:00:00 | 3.296 | 115.21 | 3.441 | 110.346 | 3.262 | 117.1 | 3.492 | 113.567 | -2.646 | 889.992 | 48.064 | 1.5341
2019-02-26 11:15:00 | 3.837 | 107.497 | 3.844 | 105.145 | 3.776 | 110.333 | 3.888 | 108.3 | -2.137 | 889.567 | 51.776 | 4.2677
2019-02-26 11:30:00 | 3.641 | 117.99 | 3.91 | 110.608 | 3.969 | 114.167 | 4.36 | 108.267 | -1.809 | 889.992 | 52.565 | 5.3996
2019-02-26 11:45:00 | 4.161 | 107.2 | 4.473 | 101.164 | 4.349 | 108.4 | 4.489 | 107.967 | -1.72 | 889.875 | 54.528 | 6.1954
2019-02-26 12:00:00 | 4.37 | 115.37 | 4.315 | 106.456 | 4.332 | 108.833 | 4.427 | 108.667 | -1.62 | 889.717 | 50.624 | 6.955
2019-02-26 12:15:00 | 3.769 | 106.427 | 3.814 | 101.766 | 4.063 | 104.467 | 4.372 | 105.2 | -1.302 | 890.308 | 52.181 | 6.6459
2019-02-26 12:30:00 | 4.663 | 106.287 | 4.836 | 98.942 | 4.727 | 104.5 | 4.961 | 99.4 | -0.965 | 890.567 | 55.317 | 8.551
2019-02-26 12:45:00 | 4.368 | 94.633 | 4.073 | 94.806 | 4.266 | 103.433 | 4.59 | 96.067 | -0.658 | 889.983 | 54.272 | 8.2063
2019-02-26 13:00:00 | 4.789 | 80.118 | 5.071 | 79.966 | 5.387 | 83.7 | 5.242 | 78.367 | -0.016 | 890.242 | 51.883 | 7.6812
2019-02-26 13:15:00 | 4.49 | 83.268 | 4.371 | 77.562 | 4.309 | 84.7 | 4.597 | 85.533 | 0.033 | 889.825 | 49.675 | 8.4842
2019-02-26 13:30:00 | 4.381 | 75.068 | 4.484 | 69.335 | 4.745 | 75.133 | 4.746 | 73.633 | 0.432 | 889.567 | 49.131 | 10.5064
2019-02-26 13:45:00 | 4.023 | 75.628 | 4.282 | 67.265 | 4.512 | 74.067 | 4.759 | 66.233 | 0.282 | 889.45 | 48.192 | 8.9872
2019-02-26 14:00:00 | 5.003 | 72.872 | 4.909 | 71.957 | 5.054 | 82.733 | 5.108 | 77.067 | 0.432 | 889.892 | 48.619 | 9.8605
2019-02-26 14:15:00 | 4.356 | 76.05 | 4.303 | 73.297 | 4.452 | 82.367 | 4.646 | 77.433 | 0.449 | 889.858 | 46.752 | 10.09
2019-02-26 14:30:00 | 4.027 | 93.077 | 4.129 | 93.194 | 4.075 | 97.633 | 4.348 | 82.867 | 0.915 | 889.717 | 43.755 | 9.1414
2019-02-26 14:45:00 | 3.964 | 80.185 | 4.092 | 75.399 | 4.12 | 82.033 | 4.196 | 76.167 | 1.015 | 890.125 | 42.848 | 9.582
2019-02-26 15:00:00 | 5.684 | 77.11 | 5.644 | 73.626 | 5.741 | 78.6 | 5.935 | 77 | 0.915 | 889.742 | 43.061 | 10.6862
2019-02-26 15:15:00 | 4.922 | 77.777 | 4.878 | 75.501 | 5.154 | 78.633 | 5.158 | 71.4 | 1.052 | 890.208 | 42.453 | 12.0349
2019-02-26 15:30:00 | 4.893 | 65.327 | 5.1 | 62.688 | 5.51 | 73.3 | 6.042 | 70.733 | 1.159 | 890.325 | 42.901 | 10.9626
2019-02-26 15:45:00 | 4.797 | 92.702 | 5.206 | 85.556 | 5.303 | 89.967 | 5.293 | 86.367 | 1.499 | 890.017 | 42.411 | 11.4906
2019-02-26 16:00:00 | 5.831 | 54.576 | 6.001 | 52.194 | 6.004 | 60.367 | 6.07 | 55.8 | 1.299 | 889.667 | 42.432 | 11.0031
2019-02-26 16:15:00 | 4.735 | 56.616 | 4.833 | 52.75 | 4.946 | 62.867 | 5.204 | 60.533 | 1.479 | 889.808 | 43.04 | 9.8314
2019-02-26 16:30:00 | 4.861 | 67.95 | 4.82 | 58.617 | 4.754 | 62.5 | 5.076 | 59.367 | 1.399 | 889.933 | 42.795 | 9.9337
2019-02-26 16:45:00 | 4.343 | 78.287 | 4.423 | 71.771 | 4.448 | 80.833 | 4.645 | 75.333 | 1.559 | 889.875 | 42.485 | 9.7852
2019-02-26 17:00:00 | 3.614 | 86.783 | 3.674 | 80.841 | 3.56 | 87.333 | 3.87 | 85.433 | 1.6 | 889.792 | 42.059 | 10.7416
2019-02-26 17:15:00 | 4.752 | 66.172 | 4.699 | 63.314 | 4.714 | 67.567 | 4.926 | 63.9 | 1.609 | 889.858 | 41.568 | 9.096
2019-02-26 17:30:00 | 5.317 | 63.39 | 5.083 | 57.457 | 5.07 | 62.8 | 5.331 | 59.633 | 1.596 | 889.892 | 41.845 | 8.5566
2019-02-26 17:45:00 | 4.782 | 73 | 4.761 | 69.066 | 4.817 | 75.733 | 5.142 | 73.6 | 1.609 | 889.733 | 41.813 | 9.8797
2019-02-26 18:00:00 | 4.686 | 71.78 | 4.54 | 66.628 | 4.443 | 73.433 | 4.511 | 70.533 | 1.399 | 889.992 | 42.379 | 9.8385
2019-02-26 18:15:00 | 4.718 | 61.073 | 4.43 | 52.927 | 4.364 | 58.533 | 4.736 | 56.067 | 1.239 | 889.808 | 42.624 | 9.8307
2019-02-26 18:30:00 | 4.146 | 59.893 | 3.944 | 55.783 | 4.078 | 62 | 4.086 | 57.033 | 1.309 | 890.042 | 42.891 | 10.0993
2019-02-26 18:45:00 | 4.248 | 66.66 | 4.273 | 61.049 | 4.109 | 65.233 | 4.157 | 61.333 | 0.932 | 889.992 | 43.435 | 9.5266
2019-02-26 19:00:00 | 5.158 | 66.41 | 5.189 | 60.431 | 4.754 | 64.5 | 4.94 | 60.3 | 0.698 | 890.192 | 44.384 | 9.6296
2019-02-26 19:15:00 | 4.2 | 72.285 | 4.526 | 66.35 | 4.597 | 70.933 | 4.928 | 67.867 | 0.332 | 890.458 | 45.824 | 7.996
2019-02-26 19:30:00 | 3.652 | 73.553 | 4.168 | 67.214 | 4.358 | 73.2 | 4.585 | 69.6 | 0.033 | 889.842 | 47.04 | 8.4138
2019-02-26 19:45:00 | 3.786 | 80.383 | 4.17 | 74.909 | 4.152 | 80.133 | 4.434 | 75.733 | -0.336 | 889.983 | 48.544 | 7.4887
2019-02-26 20:00:00 | 3.215 | 82.207 | 3.69 | 75.58 | 3.725 | 82.467 | 4.139 | 77.733 | -0.972 | 889.708 | 49.781 | 6.6076
2019-02-26 20:15:00 | 3.239 | 82.033 | 3.772 | 75.302 | 3.59 | 81.367 | 3.45 | 77.833 | -1.132 | 890.033 | 50.549 | 4.198
2019-02-26 20:30:00 | 2.426 | 94.423 | 2.962 | 85.328 | 2.51 | 92.8 | 2.695 | 83.7 | -1.216 | 889.725 | 51.829 | 2.7407
2019-02-26 20:45:00 | 2.521 | 101.627 | 3.07 | 85.357 | 2.55 | 93.167 | 2.563 | 84.3 | -1.539 | 889.925 | 53.547 | 3.4065
2019-02-26 21:00:00 | 2.065 | 118.44 | 2.042 | 97.522 | 1.474 | 98.567 | 1.676 | 87.4 | -2.051 | 890.075 | 54.912 | 1.8581
2019-02-26 21:15:00 | 1.74 | 127.11 | 2.05 | 103.618 | 1.441 | 103.9 | 2.022 | 101.233 | -2.153 | 889.767 | 56.203 | 0.6658
2019-02-26 21:30:00 | 1.35 | 124.81 | 1.978 | 95.535 | 1.761 | 95.467 | 1.948 | 82 | -2.491 | 890.25 | 58.144 | 0.31976
2019-02-26 21:45:00 | 1.641 | 143.353 | 2.28 | 107.079 | 2.047 | 107.533 | 2.25 | 102.133 | -2.217 | 890.067 | 58.933 | 0.28138
2019-02-26 22:00:00 | 1.02 | 147.647 | 1.314 | 105.093 | 0.956 | 95.033 | 1.386 | 97.533 | -2.54 | 889.875 | 59.819 | 0.17409
2019-02-26 22:15:00 | 1.226 | 165.073 | 0.82 | 99.262 | 1.794 | 100.067 | 2.278 | 94 | -2.659 | 890.058 | 60.661 | 0.34676
2019-02-26 22:30:00 | 2.138 | 203.233 | 0.656 | 125.238 | 0.864 | 100 | 1.684 | 94 | -3.572 | 889.792 | 62.72 | 0.31833
2019-02-26 22:45:00 | 1.692 | 212 | 0.063 | 125.224 | 1.291 | 100 | 2.042 | 94 | -3.437 | 890 | 63.072 | 0.30696
2019-02-26 23:00:00 | 2.303 | 212.067 | 0.537 | 125.253 | 1.509 | 110.667 | 2.149 | 94.333 | -3.505 | 890.108 | 62.901 | 0.3027
2019-02-26 23:15:00 | 3.067 | 223 | 0.166 | 130.232 | 0.497 | 112.867 | 1.572 | 96.033 | -3.756 | 889.783 | 62.507 | 0.30839
2019-02-26 23:30:00 | 3.673 | 232.9 | 0.34 | 171.502 | 0 | 113.033 | 1.002 | 96 | -4.487 | 889.992 | 61.397 | 0.2956
2019-02-26 23:45:00 | 3.641 | 233.7 | 0.536 | 230.584 | 0 | 113 | 0.508 | 96 | -5.102 | 890.392 | 62.965 | 0.30554