## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-27 00:00:00 | 4.166 | 233.467 | 1.287 | 231.189 | 0 | 113 | 0.155 | 95.9 | -5.997 | 889.75 | 64.288 | 0.30839
2019-02-27 00:15:00 | 4.613 | 231.12 | 1.786 | 234.746 | 0 | 160.567 | 0.853 | 96 | -6.919 | 889.925 | 67.051 | 0.31549
2019-02-27 00:30:00 | 4.14 | 231.013 | 1.832 | 229.673 | 0.03 | 214 | 0.648 | 96 | -5.624 | 890.017 | 67.467 | 0.31123
2019-02-27 00:45:00 | 4.11 | 227.693 | 0.954 | 227.576 | 0 | 214 | 0.124 | 96 | -5.879 | 890.017 | 67.072 | 0.31549
2019-02-27 01:00:00 | 5.042 | 224.827 | 1.39 | 227.434 | 0 | 214 | 0.668 | 96 | -6.641 | 889.392 | 67.083 | 0.31123
2019-02-27 01:15:00 | 4.932 | 226.873 | 1.852 | 227.564 | 1.162 | 213.933 | 1.395 | 97.633 | -7.836 | 890.158 | 70.635 | 0.31265
2019-02-27 01:30:00 | 5.272 | 225.393 | 2.448 | 227.502 | 1.487 | 214 | 1.496 | 129.833 | -7.592 | 889.825 | 70.581 | 0.31833
2019-02-27 01:45:00 | 5.488 | 220.367 | 2.615 | 224.286 | 1.597 | 213 | 1.635 | 164 | -8.558 | 890.067 | 72.075 | 0.31833
2019-02-27 02:00:00 | 4.705 | 222.533 | 1.63 | 216.542 | 0.087 | 213 | 0.708 | 164 | -8.441 | 889.8 | 72.768 | 0.31549
2019-02-27 02:15:00 | 4.63 | 223.633 | 1.094 | 219.479 | 0 | 212.9 | 0.111 | 161.933 | -7.739 | 889.658 | 73.419 | 0.31833
2019-02-27 02:30:00 | 4.548 | 224.753 | 0.329 | 219.562 | 0 | 213.1 | 0.185 | 161.867 | -7.333 | 889.892 | 71.051 | 0.31407
2019-02-27 02:45:00 | 3.877 | 225.14 | 0 | 233.582 | 0 | 213 | 0.484 | 161.033 | -6.814 | 889.617 | 72.149 | 0.31833
2019-02-27 03:00:00 | 4.081 | 228.04 | 0 | 233.461 | 0 | 213.033 | 1.03 | 133 | -6.532 | 889.975 | 69.397 | 0.31976
2019-02-27 03:15:00 | 4.3 | 227.213 | 0.043 | 233.523 | 0 | 213 | 1.235 | 92.867 | -7.933 | 889.842 | 70.112 | 0.31976
2019-02-27 03:30:00 | 4.215 | 232.5 | 0.536 | 238.899 | 0 | 278 | 1.27 | 77.138 | -7.656 | 889.783 | 71.808 | 0.31976
2019-02-27 03:45:00 | 4.207 | 233.507 | 1.319 | 251.415 | 0 | 332.067 | 0.994 | 32.1 | -7.012 | 889.8 | 70.837 | 0.31833
2019-02-27 04:00:00 | 4.778 | 231.527 | 0.861 | 245.076 | 0 | 332.067 | 0 | 32 | -8.093 | 890.058 | 70.741 | 0.31549
2019-02-27 04:15:00 | 4.545 | 231.9 | 1.274 | 241.519 | 0 | 332 | 0.027 | 32.067 | -7.572 | 890.025 | 70.869 | 0.30981
2019-02-27 04:30:00 | 4.255 | 231.18 | 0.585 | 241.434 | 0 | 331.8 | 0 | 32.004 | -7.916 | 890.025 | 72.491 | 0.30696
2019-02-27 04:45:00 | 3.763 | 228.947 | 0 | 241.47 | 0 | 332 | 0.403 | 41.733 | -7.246 | 890.125 | 72.16 | 0.30696
2019-02-27 05:00:00 | 3.832 | 226.1 | 0 | 216.558 | 0 | 332 | 0.104 | 45.767 | -6.876 | 889.892 | 70.763 | 0.3027
2019-02-27 05:15:00 | 4.106 | 223.027 | 0.313 | 216.505 | 0 | 332 | 0.962 | 46.067 | -7.302 | 890.025 | 71.115 | 0.30839
2019-02-27 05:30:00 | 3.864 | 220.613 | 0 | 216.546 | 0 | 331.867 | 1.087 | 46.438 | -7.513 | 889.75 | 69.205 | 0.30839
2019-02-27 05:45:00 | 4.23 | 216.707 | 0.872 | 210.562 | 0 | 220 | 1.16 | 46.967 | -8.904 | 889.942 | 68.736 | 0.31265
2019-02-27 06:00:00 | 4.339 | 215.233 | 2.056 | 206.363 | 0.996 | 209.967 | 1.416 | 75 | -7.906 | 889.792 | 72.405 | 0.3226
2019-02-27 06:15:00 | 4.672 | 216.733 | 1.697 | 203.533 | 0.713 | 210 | 1.249 | 82.667 | -8.991 | 889.683 | 68.768 | 0.32118
2019-02-27 06:30:00 | 4.37 | 215.413 | 1.383 | 199.571 | 0 | 209.9 | 0.604 | 86 | -9.341 | 889.417 | 73.579 | 0.32402
2019-02-27 06:45:00 | 3.993 | 216.5 | 1.163 | 197.578 | 0 | 210.067 | 0.453 | 86.067 | -9.041 | 889.667 | 75.403 | 0.32402
2019-02-27 07:00:00 | 4.732 | 218.533 | 1.661 | 197.451 | 1.145 | 196 | 2.377 | 162.9 | -8.941 | 889.925 | 71.392 | 0.33681
2019-02-27 07:15:00 | 4.035 | 220.973 | 1.563 | 197.513 | 1.887 | 175 | 2.04 | 159 | -8.621 | 889.517 | 74.453 | 0.28849
2019-02-27 07:30:00 | 3.933 | 212.187 | 2.992 | 185.339 | 2.506 | 165.667 | 2.634 | 148.567 | -9.724 | 889.933 | 71.712 | 0.17125
2019-02-27 07:45:00 | 3.717 | 194.447 | 3.147 | 159.454 | 3.267 | 152.033 | 3.504 | 143.733 | -7.413 | 889.75 | 71.168 | 0.78944
2019-02-27 08:00:00 | 4.291 | 192.647 | 3.715 | 152.613 | 3.251 | 143.7 | 2.783 | 137.9 | -7.54 | 889.925 | 65.205 | 1.9057
2019-02-27 08:15:00 | 4.804 | 202.5 | 3.657 | 166.441 | 2.659 | 155.367 | 2.694 | 140.733 | -9.141 | 889.725 | 68.192 | 1.7963
2019-02-27 08:30:00 | 5.288 | 202.933 | 3.852 | 169.989 | 2.584 | 161.067 | 2.875 | 148.2 | -9.341 | 889.808 | 67.701 | 1.6393
2019-02-27 08:45:00 | 5.24 | 206.927 | 3.488 | 171.674 | 2.329 | 159.3 | 2.422 | 145.567 | -9.558 | 889.992 | 66.432 | 1.1554
2019-02-27 09:00:00 | 5.048 | 208.313 | 5.004 | 175.145 | 2.938 | 168.7 | 2.652 | 149.1 | -9.683 | 889.233 | 66.411 | 1.8631
2019-02-27 09:15:00 | 4.119 | 209.173 | 4.802 | 176.053 | 3.063 | 163.8 | 3.216 | 147.367 | -8.654 | 889.833 | 66.144 | 2.627
2019-02-27 09:30:00 | 4.408 | 204.013 | 4.331 | 174.04 | 3.25 | 158.9 | 3.114 | 141.3 | -7.23 | 889.942 | 62.816 | 2.6405
2019-02-27 09:45:00 | 3.859 | 205.567 | 4.752 | 183.317 | 3.507 | 176.367 | 2.949 | 155.433 | -5.552 | 889.583 | 58.688 | 3.2743
2019-02-27 10:00:00 | 2.858 | 207.18 | 3.353 | 196.832 | 3.232 | 181.867 | 2.545 | 158.967 | -3.796 | 889.883 | 52.757 | 2.6689
2019-02-27 10:15:00 | 2.15 | 194.827 | 2.296 | 184.56 | 2.347 | 176.533 | 2.714 | 150.033 | -2.18 | 889.858 | 47.669 | 1.7942
2019-02-27 10:30:00 | 2.034 | 168.433 | 2.134 | 168.871 | 2.279 | 167.667 | 2.67 | 152.1 | -1.132 | 889.983 | 44.053 | 0.72265
2019-02-27 10:45:00 | 2.594 | 150.673 | 2.583 | 146.195 | 2.412 | 149.033 | 2.788 | 140.633 | -1.309 | 890.158 | 44.384 | 0.32118
2019-02-27 11:00:00 | 3.093 | 144.497 | 3.149 | 138.054 | 2.947 | 137.067 | 3.093 | 131.333 | -1.64 | 889.95 | 46.389 | 0.42705
2019-02-27 11:15:00 | 3.387 | 107.113 | 3.531 | 102.087 | 3.356 | 107.667 | 3.687 | 103.267 | -1.015 | 889.95 | 47.456 | 1.4233
2019-02-27 11:30:00 | 3.803 | 106.927 | 3.572 | 96.673 | 3.779 | 100.767 | 4.126 | 99.233 | -0.932 | 889.775 | 47.851 | 3.5656
2019-02-27 11:45:00 | 3.536 | 95.973 | 3.644 | 93.214 | 3.826 | 94.833 | 3.997 | 94.867 | -0.399 | 889.808 | 46.688 | 4.2812
2019-02-27 12:00:00 | 4.281 | 104.517 | 4.193 | 100.316 | 3.966 | 103.167 | 4.043 | 99.733 | -0.176 | 890.125 | 46.016 | 4.4972
2019-02-27 12:15:00 | 4.84 | 113.68 | 4.881 | 107.494 | 5.124 | 112.9 | 5.21 | 110.633 | -0.199 | 889.867 | 45.291 | 5.978
2019-02-27 12:30:00 | 4.584 | 110.613 | 4.231 | 103.029 | 4.421 | 106.6 | 4.89 | 103.4 | 0.449 | 889.575 | 44.171 | 6.5223
2019-02-27 12:45:00 | 4.622 | 83.217 | 4.825 | 82.635 | 4.718 | 90.367 | 4.891 | 86.5 | 0.781 | 890.008 | 44.363 | 11.2703
2019-02-27 13:00:00 | 4.844 | 82.057 | 4.888 | 79.124 | 5.3 | 80.1 | 5.358 | 76.4 | 0.915 | 890.067 | 44.288 | 11.46
2019-02-27 13:15:00 | 4.966 | 94.07 | 4.752 | 91.083 | 4.755 | 95.4 | 4.995 | 92.467 | 1.479 | 890.358 | 42.965 | 12.5777
2019-02-27 13:30:00 | 4.569 | 76.562 | 4.639 | 76.593 | 4.519 | 85.567 | 4.843 | 82.933 | 1.932 | 890.175 | 42.123 | 12.7518
2019-02-27 13:45:00 | 4.652 | 79.282 | 4.893 | 72.95 | 5.004 | 82.1 | 5.24 | 77.5 | 2.122 | 889.758 | 40.763 | 12.8399
2019-02-27 14:00:00 | 5.537 | 81.647 | 5.38 | 80.304 | 5.502 | 84.667 | 5.646 | 76.467 | 2.385 | 889.342 | 40.853 | 14.7393
2019-02-27 14:15:00 | 5.201 | 81.878 | 5.596 | 70.384 | 6.283 | 75.7 | 6.412 | 74.033 | 2.589 | 889.417 | 40.795 | 17.5226
2019-02-27 14:30:00 | 5.892 | 75.12 | 5.886 | 70.257 | 5.842 | 77.833 | 5.903 | 75.2 | 2.561 | 889.633 | 38.773 | 20.3378
2019-02-27 14:45:00 | 6.089 | 66.25 | 6.267 | 60.188 | 6.558 | 65.6 | 6.741 | 63.067 | 2.254 | 889.9 | 39.008 | 19.8205
2019-02-27 15:00:00 | 5.464 | 87.428 | 5.581 | 80.783 | 5.589 | 83.233 | 6.035 | 80 | 2.372 | 889.9 | 38.624 | 18.9181
2019-02-27 15:15:00 | 5.742 | 81.303 | 5.929 | 73.257 | 5.695 | 79.433 | 6.038 | 78.367 | 2.659 | 889.117 | 37.392 | 17.2625
2019-02-27 15:30:00 | 5.915 | 73.212 | 6.138 | 66.775 | 6.196 | 74 | 6.117 | 73.3 | 3.036 | 889.7 | 36.997 | 19.9556
2019-02-27 15:45:00 | 6.186 | 71.592 | 6.371 | 66.866 | 6.406 | 72.5 | 6.652 | 68.033 | 3.126 | 889.55 | 36.864 | 18.28
2019-02-27 16:00:00 | 5.292 | 71.767 | 5.605 | 67.637 | 5.646 | 71.933 | 5.682 | 69.867 | 3.087 | 889.983 | 35.984 | 16.8269
2019-02-27 16:15:00 | 5.718 | 77.233 | 5.852 | 72.814 | 5.943 | 75.667 | 6.356 | 71.033 | 3.254 | 889.483 | 35.936 | 16.7282
2019-02-27 16:30:00 | 4.545 | 81.333 | 4.807 | 77.488 | 5.061 | 80.167 | 5.215 | 76.333 | 3.221 | 889.917 | 35.125 | 14.2803
2019-02-27 16:45:00 | 5.978 | 63.167 | 5.888 | 58.08 | 5.693 | 62.333 | 5.377 | 61.633 | 3.722 | 889.967 | 34.203 | 15.3219
2019-02-27 17:00:00 | 5.464 | 83.933 | 5.564 | 79.453 | 5.63 | 84.5 | 5.873 | 77.967 | 3.421 | 890.083 | 34.08 | 13.6933
2019-02-27 17:15:00 | 4.715 | 88.567 | 4.87 | 83.019 | 4.564 | 86.233 | 4.631 | 77.533 | 3.672 | 889.767 | 33.52 | 14.978
2019-02-27 17:30:00 | 5.434 | 67.333 | 5.402 | 60.896 | 5.653 | 69.333 | 5.987 | 68.433 | 3.739 | 889.7 | 33.595 | 13.92
2019-02-27 17:45:00 | 4.802 | 75.233 | 4.631 | 72.76 | 4.598 | 82.367 | 4.774 | 75.1 | 3.271 | 889.933 | 33.6 | 14.5062
2019-02-27 18:00:00 | 5.525 | 67.033 | 5.437 | 64.349 | 5.478 | 68.867 | 5.89 | 65.467 | 3.304 | 889.883 | 33.509 | 14.4593
2019-02-27 18:15:00 | 5.045 | 75.4 | 5.274 | 71.749 | 5.362 | 76.533 | 5.451 | 71.967 | 3.388 | 889.783 | 33.675 | 13.3594
2019-02-27 18:30:00 | 4.786 | 74.613 | 4.984 | 68.581 | 5.142 | 74.133 | 5.352 | 72.633 | 3.008 | 889.467 | 34.293 | 12.6907
2019-02-27 18:45:00 | 5.751 | 72.027 | 5.896 | 66.006 | 5.97 | 70.333 | 6.008 | 67.2 | 2.77 | 890.05 | 34.88 | 15.0555
2019-02-27 19:00:00 | 5.167 | 75.2 | 5.51 | 71.319 | 5.626 | 76.8 | 5.728 | 73.567 | 2.187 | 889.65 | 35.739 | 15.7263
2019-02-27 19:15:00 | 4.583 | 79.553 | 4.985 | 76.178 | 5.13 | 82.367 | 5.364 | 77.667 | 2.114 | 889.917 | 36.805 | 12.3816
2019-02-27 19:30:00 | 4.383 | 81.86 | 5.131 | 76.414 | 5.346 | 82.033 | 5.355 | 78.433 | 1.539 | 889.75 | 38.293 | 11.5616
2019-02-27 19:45:00 | 4.129 | 81.113 | 4.533 | 76.192 | 4.736 | 81.167 | 4.915 | 77.233 | 1.099 | 889.55 | 39.387 | 9.8357
2019-02-27 20:00:00 | 3.673 | 81 | 4.152 | 75.971 | 4.257 | 81.767 | 4.471 | 76.467 | 0.715 | 889.717 | 40.331 | 8.4316
2019-02-27 20:15:00 | 3.345 | 88.14 | 4.115 | 80.229 | 4.166 | 85.167 | 4.441 | 80.667 | 0.233 | 889.992 | 41.44 | 7.1646
2019-02-27 20:30:00 | 3.815 | 86.923 | 4.84 | 79.427 | 4.981 | 84.033 | 5.033 | 80.867 | -0.043 | 889.683 | 42.933 | 6.9316
2019-02-27 20:45:00 | 3.885 | 86.613 | 4.019 | 81.756 | 3.707 | 88.533 | 3.651 | 84.467 | -0.299 | 889.858 | 44.587 | 6.2906
2019-02-27 21:00:00 | 2.944 | 101.373 | 3.31 | 91.459 | 2.167 | 97.367 | 2.313 | 94.733 | -0.972 | 889.842 | 46.037 | 5.5488
2019-02-27 21:15:00 | 2.646 | 108.287 | 2.493 | 94.331 | 2.06 | 98.267 | 2.44 | 94.533 | -1.082 | 889.667 | 47.488 | 5.3932
2019-02-27 21:30:00 | 2.538 | 112.553 | 2.99 | 103.468 | 2.363 | 100.6 | 2.625 | 102 | -1.002 | 889.875 | 48.267 | 3.4796
2019-02-27 21:45:00 | 1.872 | 158.547 | 2.122 | 115.858 | 2.185 | 123.033 | 2.789 | 110.7 | -1.66 | 889.642 | 49.515 | 0.44055
2019-02-27 22:00:00 | 2.262 | 196.313 | 1.528 | 142.637 | 1.766 | 132.5 | 2.215 | 110.6 | -2.254 | 889.667 | 50.859 | 0.31904
2019-02-27 22:15:00 | 2.965 | 196.2 | 1.472 | 144.539 | 1.607 | 128 | 2.272 | 109 | -2.902 | 890.117 | 52.992 | 0.30554
2019-02-27 22:30:00 | 3.581 | 210.027 | 2.428 | 175.768 | 1.727 | 137.4 | 1.914 | 121.2 | -2.263 | 889.633 | 51.936 | 0.29844
2019-02-27 22:45:00 | 4.257 | 218.3 | 2.469 | 196.5 | 1.546 | 156.467 | 1.723 | 128.133 | -2.234 | 889.683 | 49.579 | 0.30554
2019-02-27 23:00:00 | 4.811 | 220.667 | 2.824 | 207.896 | 1.978 | 196.4 | 1.99 | 161 | -3.589 | 889.725 | 51.072 | 0.30981
2019-02-27 23:15:00 | 4.644 | 221.92 | 2.812 | 206.905 | 1.9 | 199.033 | 1.798 | 162.067 | -4.662 | 890.05 | 53.387 | 0.31265
2019-02-27 23:30:00 | 4.768 | 223.633 | 2.641 | 206.713 | 1.788 | 187.9 | 2.029 | 163 | -3.756 | 890.042 | 52 | 0.31265
2019-02-27 23:45:00 | 4.174 | 225.467 | 1.467 | 206.643 | 0.747 | 165.4 | 1.831 | 143.4 | -3.806 | 889.892 | 53.344 | 0.30128