## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-02-28 00:00:00 | 4.217 | 227.067 | 1.076 | 208.193 | 0.047 | 159.167 | 1.047 | 126.167 | -3.907 | 889.492 | 52.64 | 0.30839
2019-02-28 00:15:00 | 3.256 | 220.94 | 0.517 | 192.407 | 0.09 | 149.033 | 1.111 | 125.133 | -3.297 | 889.525 | 53.76 | 0.30839
2019-02-28 00:30:00 | 2.728 | 219.067 | 0.237 | 179.592 | 0.587 | 125.8 | 1.838 | 109.9 | -3.102 | 889.967 | 53.248 | 0.29418
2019-02-28 00:45:00 | 2.204 | 219.04 | 0.033 | 150.538 | 1.297 | 98.367 | 2.298 | 96.867 | -2.659 | 890.158 | 53.141 | 0.3027
2019-02-28 01:00:00 | 2.402 | 218.96 | 0.117 | 131.814 | 1.83 | 99 | 2.517 | 93 | -3.193 | 890.117 | 53.003 | 0.30839
2019-02-28 01:15:00 | 2.477 | 218.9 | 0.047 | 127.269 | 2.212 | 98.9 | 3.121 | 93 | -3.271 | 889.717 | 53.451 | 0.23662
2019-02-28 01:30:00 | 2.534 | 224.733 | 0.11 | 125.772 | 1.904 | 94.967 | 3.003 | 83.7 | -3.521 | 889.883 | 53.621 | 0.62175
2019-02-28 01:45:00 | 3.394 | 217.513 | 0.287 | 176.477 | 0.676 | 133.967 | 2.52 | 98.6 | -3.88 | 889.642 | 54.496 | 1.424
2019-02-28 02:00:00 | 3.65 | 216.36 | 1.257 | 168.324 | 1.799 | 124.533 | 2.883 | 105.2 | -4.566 | 890.092 | 55.456 | 1.1739
2019-02-28 02:15:00 | 4.075 | 218.307 | 1.717 | 199.154 | 1.234 | 153.933 | 2.358 | 118.233 | -5.474 | 881.892 | 57.141 | 0.51871
2019-02-28 02:30:00 | 2.309 | 212.433 | 0.717 | 134.817 | 1.85 | 122.467 | 2.987 | 106.333 | -4.604 | 881.525 | 56.427 | 0.072478
2019-02-28 02:45:00 | 1.81 | 199.32 | 1.403 | 131.008 | 2.138 | 111.967 | 2.933 | 101.033 | -4.466 | 880.775 | 57.824 | 0.29702
2019-02-28 03:00:00 | 0.093 | 183.187 | 2.165 | 95.919 | 2.472 | 94.233 | 2.849 | 89.467 | -4.723 | 873.15 | 57.376 | 0.28352
2019-02-28 03:15:00 | 2.341 | 203.22 | 1.908 | 106.246 | 2.745 | 99.833 | 2.71 | 95.9 | -6.163 | 868.633 | 58.869 | 2.3228
2019-02-28 03:30:00 | 3.231 | 213.413 | 2.024 | 152.144 | 2.257 | 115.967 | 2.36 | 99.3 | -7.139 | 861.683 | 63.296 | 3.2089
2019-02-28 03:45:00 | 3.499 | 175.133 | 3.532 | 147.065 | 3.712 | 131.867 | 4.244 | 116.2 | -5.64 | 862.083 | 64.309 | 3.7617
2019-02-28 04:00:00 | 4.07 | 205.273 | 3.163 | 167.929 | 3.514 | 151.633 | 4.01 | 132.1 | -5.776 | 862.992 | 60.725 | 4.0573
2019-02-28 04:15:00 | 4.236 | 207.707 | 3.621 | 186.251 | 3.274 | 173.133 | 3.632 | 148.567 | -5.311 | 861.867 | 56.021 | 4.3345
2019-02-28 04:30:00 | 4.779 | 209.007 | 4.102 | 180.21 | 3.709 | 169.667 | 3.67 | 152.267 | -8.551 | 861.858 | 66.027 | 3.9216
2019-02-28 04:45:00 | 5.354 | 201.573 | 4.494 | 177.563 | 3.604 | 172.233 | 3.522 | 154.333 | -9.606 | 861.558 | 67.477 | 3.9522
2019-02-28 05:00:00 | 5.603 | 203.167 | 4.096 | 173.43 | 3.359 | 163.9 | 3.694 | 149.7 | -8.906 | 861.958 | 66.507 | 4.2087
2019-02-28 05:15:00 | 5.255 | 195.487 | 3.542 | 161.539 | 3.285 | 150.833 | 3.913 | 144.133 | -8.244 | 862.133 | 59.627 | 4.0154
2019-02-28 05:30:00 | 5.872 | 210.5 | 4.556 | 180.957 | 3.538 | 170.133 | 3.356 | 152.533 | -9.306 | 861.45 | 59.264 | 3.528
2019-02-28 05:45:00 | 5.346 | 209.7 | 3.944 | 177.845 | 3.173 | 162.1 | 3.612 | 144.267 | -9.581 | 861.933 | 59.435 | 3.005
2019-02-28 06:00:00 | 5.224 | 210.533 | 3.354 | 178.183 | 2.805 | 165.7 | 3.327 | 143.3 | -9.089 | 861.775 | 56.608 | 2.0649
2019-02-28 06:15:00 | 4.682 | 204.293 | 2.959 | 163.718 | 3.249 | 146.1 | 3.887 | 129.667 | -7.919 | 862.142 | 55.36 | 2.2433
2019-02-28 06:30:00 | 3.998 | 201.513 | 2.756 | 163.51 | 2.886 | 146.8 | 3.434 | 127.933 | -5.979 | 862.15 | 51.157 | 2.3363
2019-02-28 06:45:00 | 5.377 | 205.173 | 4.251 | 179.593 | 3.165 | 165.567 | 3.4 | 144.733 | -8.114 | 861.925 | 51.136 | 2.757
2019-02-28 07:00:00 | 4.955 | 199.053 | 3.942 | 170.912 | 3.451 | 158.733 | 4.031 | 142.2 | -8.142 | 861.733 | 53.728 | 2.806
2019-02-28 07:15:00 | 4.75 | 202.667 | 4.982 | 174.351 | 3.789 | 162.8 | 4.104 | 146.8 | -8.87 | 861.883 | 52.181 | 5.8295
2019-02-28 07:30:00 | 5.006 | 205.207 | 5.12 | 171.881 | 4.036 | 157.6 | 4.327 | 144.5 | -9.76 | 861.883 | 55.349 | 6.7021
2019-02-28 07:45:00 | 5.163 | 203.247 | 4.087 | 164.564 | 3.494 | 155.633 | 3.866 | 144.433 | -9.698 | 861.8 | 55.36 | 5.8153
2019-02-28 08:00:00 | 6.198 | 208.08 | 5.172 | 180.004 | 3.505 | 171.8 | 3.492 | 151.4 | -9.835 | 861.708 | 54.261 | 4.4112
2019-02-28 08:15:00 | 6.205 | 217.393 | 5.154 | 180.984 | 3.875 | 177.967 | 3.284 | 163.867 | -10.775 | 862.183 | 55.797 | 4.532
2019-02-28 08:30:00 | 5.815 | 207.133 | 3.998 | 174.339 | 2.549 | 164.9 | 3.043 | 148.667 | -9.989 | 861.8 | 55.765 | 3.1187
2019-02-28 08:45:00 | 5.099 | 203.693 | 3.653 | 175.471 | 2.914 | 159.667 | 3.575 | 141.3 | -9.418 | 861.892 | 52.715 | 3.0512
2019-02-28 09:00:00 | 3.455 | 204.933 | 3.267 | 163.548 | 3.117 | 148.2 | 3.482 | 131.667 | -7.897 | 866.383 | 49.28 | 3.2544
2019-02-28 09:15:00 | 3.323 | 195.08 | 3.098 | 154.436 | 3.217 | 136.9 | 3.741 | 123.6 | -6.518 | 890.117 | 46.219 | 3.2601
2019-02-28 09:30:00 | 3.242 | 177.527 | 3.264 | 136.523 | 3.295 | 125.6 | 3.772 | 113.033 | -4.418 | 889.917 | 42.037 | 4.7103
2019-02-28 09:45:00 | 2.109 | 200.2 | 2.813 | 150.092 | 3.275 | 135.9 | 3.691 | 123.733 | -3.071 | 889.4 | 39.205 | 3.8861
2019-02-28 10:00:00 | 2.43 | 141.447 | 3.762 | 120.973 | 4.102 | 122.4 | 4.683 | 119.933 | -1.559 | 889.35 | 35.419 | 4.4837
2019-02-28 10:15:00 | 3.579 | 123.113 | 4.021 | 114.838 | 4.501 | 120.4 | 5.072 | 114.833 | -0.802 | 889.45 | 33.307 | 9.7177
2019-02-28 10:30:00 | 3.513 | 141.953 | 3.469 | 134.954 | 3.475 | 137.033 | 3.711 | 132.867 | -0.083 | 889.717 | 29.499 | 7.1
2019-02-28 10:45:00 | 3.974 | 133.1 | 4.192 | 126.933 | 4.257 | 133.967 | 4.38 | 132.033 | 0.665 | 889.7 | 28.672 | 5.5055
2019-02-28 11:00:00 | 3.955 | 125.897 | 3.677 | 122.087 | 3.608 | 129.433 | 3.912 | 126.133 | 0.851 | 889.817 | 30.592 | 6.1777
2019-02-28 11:15:00 | 4.773 | 119.907 | 5.144 | 114.136 | 5.073 | 123.067 | 5.041 | 123.033 | 1.149 | 889.367 | 31.776 | 6.938
2019-02-28 11:30:00 | 4.789 | 123.483 | 5.1 | 116.04 | 5.199 | 122.367 | 5.378 | 119.4 | 1.192 | 890.067 | 33.419 | 11.1161
2019-02-28 11:45:00 | 4.529 | 121.44 | 4.64 | 119.488 | 4.661 | 122.6 | 4.908 | 117.367 | 1.609 | 889.617 | 33.195 | 10.7317
2019-02-28 12:00:00 | 4.95 | 118.123 | 5.133 | 114.035 | 5.074 | 117.7 | 5.337 | 114.5 | 1.649 | 889.933 | 32.251 | 9.4136
2019-02-28 12:15:00 | 5.06 | 117.453 | 5.227 | 111.93 | 5.17 | 117.033 | 5.292 | 113.933 | 1.982 | 889.967 | 30.144 | 9.7632
2019-02-28 12:30:00 | 4.33 | 93.333 | 4.149 | 89.986 | 4.038 | 98.633 | 4.148 | 93.167 | 2.395 | 889.6 | 30.251 | 7.9726
2019-02-28 12:45:00 | 3.868 | 101.733 | 3.704 | 96.169 | 3.932 | 101.767 | 3.943 | 104.233 | 3.054 | 889.35 | 32.816 | 6.8385
2019-02-28 13:00:00 | 3.665 | 104.067 | 3.782 | 98.544 | 3.872 | 104.033 | 4.294 | 97.233 | 3.338 | 889.567 | 34.192 | 8.4607
2019-02-28 13:15:00 | 4.867 | 100.517 | 4.667 | 92.991 | 4.218 | 96.3 | 4.549 | 90.367 | 3.905 | 890.2 | 33.477 | 9.2295
2019-02-28 13:30:00 | 5.493 | 91.95 | 5.644 | 89.661 | 5.166 | 93.567 | 5.09 | 87.2 | 4.023 | 889.767 | 33.013 | 15.1578
2019-02-28 13:45:00 | 5.687 | 103.387 | 5.473 | 99.566 | 5.344 | 102.2 | 5.712 | 100.2 | 4.408 | 889.55 | 32.139 | 21.516
2019-02-28 14:00:00 | 6.092 | 91.587 | 6.058 | 85.565 | 6.113 | 90.9 | 6.471 | 85.9 | 4.64 | 889.933 | 30.976 | 24.8109
2019-02-28 14:15:00 | 6.024 | 97.557 | 5.241 | 92.602 | 4.926 | 98.233 | 5.26 | 87.967 | 5.09 | 889.767 | 28.155 | 27.6361
2019-02-28 14:30:00 | 6.391 | 100.937 | 5.933 | 95.003 | 5.674 | 100.1 | 6.098 | 96.7 | 5.634 | 889.617 | 25.253 | 31.029
2019-02-28 14:45:00 | 5.976 | 96.937 | 6.038 | 86.224 | 5.85 | 91.167 | 5.904 | 86.733 | 5.912 | 889.833 | 23.984 | 28.5143
2019-02-28 15:00:00 | 6.529 | 72.65 | 6.717 | 71.696 | 6.698 | 77.833 | 6.817 | 73.533 | 5.928 | 889.85 | 22.619 | 26.1432
2019-02-28 15:15:00 | 6.953 | 76.733 | 6.783 | 74.666 | 7.109 | 80.233 | 7.164 | 76.467 | 6.188 | 889.983 | 21.861 | 28.3395
2019-02-28 15:30:00 | 7.321 | 77.803 | 7.21 | 72.406 | 7.287 | 77.5 | 7.344 | 74.467 | 6.28 | 889.7 | 22.411 | 30.953
2019-02-28 15:45:00 | 7.729 | 70.363 | 7.648 | 63.814 | 8.022 | 70.8 | 8.409 | 67.7 | 6.08 | 889.567 | 23.099 | 37.1363
2019-02-28 16:00:00 | 6.496 | 87.987 | 6.327 | 80.998 | 6.407 | 86.567 | 6.424 | 82.9 | 6.314 | 890.117 | 22.816 | 39.0385
2019-02-28 16:15:00 | 6.81 | 88.35 | 6.724 | 84 | 6.312 | 91 | 7.011 | 81.667 | 6.294 | 889.717 | 23.04 | 40.9315
2019-02-28 16:30:00 | 6.827 | 81.98 | 7.12 | 74.924 | 7.383 | 81.533 | 7.416 | 78.667 | 6.277 | 889.767 | 22.939 | 41.156
2019-02-28 16:45:00 | 7.148 | 73.088 | 7.369 | 70.075 | 7.411 | 75.7 | 7.388 | 74.2 | 6.174 | 889.683 | 22.8 | 38.7664
2019-02-28 17:00:00 | 7.2 | 79.39 | 7.415 | 76.3 | 7.514 | 79.833 | 7.822 | 75.2 | 6.267 | 889.5 | 22.427 | 41.205
2019-02-28 17:15:00 | 7.501 | 91.27 | 7.456 | 80.968 | 7.63 | 86.6 | 7.764 | 83.967 | 6.313 | 889.817 | 21.968 | 46.648
2019-02-28 17:30:00 | 7.502 | 84.487 | 7.244 | 80.447 | 7.291 | 84.867 | 7.37 | 80.8 | 6.264 | 889.333 | 20.373 | 47.4815
2019-02-28 17:45:00 | 7.596 | 88.19 | 6.935 | 84.585 | 6.821 | 90 | 6.744 | 86.767 | 6.134 | 889.417 | 20.472 | 49.5308
2019-02-28 18:00:00 | 7.567 | 88.773 | 7.272 | 83.448 | 6.556 | 90.967 | 6.402 | 88.1 | 5.935 | 889.3 | 20.069 | 51.5068
2019-02-28 18:15:00 | 6.132 | 92.757 | 5.861 | 90.057 | 5.395 | 95.567 | 5.106 | 90.167 | 5.719 | 889.833 | 19.941 | 50.1738
2019-02-28 18:30:00 | 6.292 | 97.213 | 5.756 | 90.881 | 5.096 | 97.833 | 5.237 | 89.167 | 5.479 | 889.35 | 20.032 | 45.99
2019-02-28 18:45:00 | 6.163 | 85.813 | 6.492 | 82.007 | 6.583 | 86.3 | 6.685 | 83.1 | 5.379 | 889.367 | 20.165 | 42.391
2019-02-28 19:00:00 | 5.328 | 91.37 | 5.393 | 88.95 | 4.485 | 93.133 | 4.258 | 87.333 | 4.855 | 889.75 | 21.04 | 35.2597
2019-02-28 19:15:00 | 5.259 | 95.843 | 5.002 | 91.722 | 4.241 | 101.1 | 4.583 | 95.633 | 4.597 | 890.05 | 21.216 | 29.6484
2019-02-28 19:30:00 | 4.054 | 94.947 | 3.9 | 93.937 | 3.204 | 98.467 | 3.676 | 97.2 | 3.936 | 889.733 | 20.525 | 20.7123
2019-02-28 19:45:00 | 3.699 | 103.933 | 3.904 | 101.562 | 4.046 | 108.367 | 4.804 | 104.633 | 3.706 | 890.05 | 20.88 | 13.655
2019-02-28 20:00:00 | 2.79 | 108.267 | 3.04 | 105.936 | 3.646 | 111.7 | 4.448 | 111.133 | 3.538 | 889.917 | 20.584 | 12.0477
2019-02-28 20:15:00 | 2.93 | 137.1 | 2.878 | 128.275 | 2.776 | 131.133 | 3.21 | 129.3 | 3.288 | 889.617 | 21.264 | 9.0675
2019-02-28 20:30:00 | 3.07 | 150.567 | 3.039 | 138.808 | 2.889 | 142.533 | 3.182 | 135.7 | 4.073 | 889.2 | 18.475 | 5.8401
2019-02-28 20:45:00 | 2.963 | 180.567 | 2.26 | 156.379 | 2.284 | 153.633 | 2.903 | 144 | 3.673 | 889.167 | 18.08 | 2.3243
2019-02-28 21:00:00 | 3.768 | 200.507 | 2.723 | 178.36 | 2.157 | 170.567 | 2.562 | 161.533 | 3.214 | 889.267 | 19.211 | 1.289
2019-02-28 21:15:00 | 3.862 | 201.073 | 3.105 | 184.942 | 2.788 | 174.267 | 2.98 | 159.5 | 3.047 | 889.533 | 19.259 | 0.19683
2019-02-28 21:30:00 | 4.036 | 195.187 | 2.902 | 185.252 | 2.598 | 184.067 | 2.864 | 181.867 | 2.578 | 889.667 | 20.171 | 0.19398
2019-02-28 21:45:00 | 5.285 | 193.133 | 3.651 | 171.54 | 2.984 | 177.267 | 2.544 | 175.333 | 0.719 | 889.5 | 23.723 | 0.46969
2019-02-28 22:00:00 | 5.071 | 193.927 | 3.532 | 168.637 | 2.915 | 166.967 | 2.743 | 161.833 | 1.145 | 889.933 | 26.597 | 3.8385
2019-02-28 22:15:00 | 5.506 | 200.64 | 4.404 | 168.383 | 3.904 | 165.733 | 4.102 | 163.467 | 1.652 | 889.583 | 25.861 | 2.8138
2019-02-28 22:30:00 | 6.101 | 195.773 | 4.044 | 178.618 | 4.155 | 186.6 | 4.498 | 185.667 | -1.296 | 889.867 | 29.104 | 1.9789
2019-02-28 22:45:00 | 4.794 | 218.333 | 3.814 | 215.18 | 4.138 | 214.6 | 4.713 | 206.333 | 1.048 | 889.433 | 26.859 | 3.9934
2019-02-28 23:00:00 | 5.348 | 223.107 | 3.98 | 217.457 | 3.818 | 213.333 | 4.355 | 201.1 | 0.482 | 889.8 | 26.832 | 4.9477
2019-02-28 23:15:00 | 6.129 | 221.34 | 4.869 | 216.596 | 4.627 | 212.9 | 4.653 | 201.633 | -1.452 | 887.667 | 27.328 | 5.2689
2019-02-28 23:30:00 | 5.556 | 210.967 | 5.076 | 200.95 | 4.808 | 203.167 | 4.529 | 190.933 | -0.886 | 877.95 | 27.307 | 4.77
2019-02-28 23:45:00 | 4.709 | 213.793 | 3.776 | 194.474 | 3.351 | 188.533 | 4.215 | 182.667 | -0.199 | 880.833 | 25.813 | 2.4422