## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-01 00:00:00 | 5.745 | 209.467 | 5.6 | 192.962 | 4.992 | 195 | 5.094 | 188.333 | -0.638 | 882.517 | 26.437 | 2.1075
2019-03-01 00:15:00 | 6.274 | 197.14 | 6.865 | 184.882 | 6.295 | 184.333 | 5.714 | 177.2 | -1.851 | 868.067 | 27.696 | 2.2958
2019-03-01 00:30:00 | 5.587 | 195.273 | 5.032 | 176.694 | 4.258 | 174.833 | 3.707 | 163.8 | -2.781 | 861.867 | 29.067 | 1.576
2019-03-01 00:45:00 | 5.219 | 201.1 | 3.442 | 173.236 | 2.638 | 161.833 | 3.013 | 150.1 | -3.527 | 861.85 | 30.464 | 0.74183
2019-03-01 01:00:00 | 5.347 | 196.453 | 3.839 | 167.886 | 2.835 | 159.833 | 3.008 | 146.467 | -3.974 | 861.65 | 30.693 | 1.6307
2019-03-01 01:15:00 | 5.33 | 187.227 | 3.202 | 159.56 | 3.012 | 157.267 | 3.098 | 145.867 | -2.962 | 861.85 | 29.141 | 3.3027
2019-03-01 01:30:00 | 4.336 | 181.827 | 3.851 | 159.147 | 3.159 | 154.7 | 2.974 | 134.833 | -2.117 | 861.5 | 27.803 | 5.3683
2019-03-01 01:45:00 | 4.036 | 162.807 | 4.028 | 140.165 | 3.616 | 137.5 | 3.541 | 129.7 | -0.76 | 862.817 | 25.84 | 5.0891
2019-03-01 02:00:00 | 3.354 | 156.473 | 2.784 | 132.053 | 2.626 | 131.833 | 2.912 | 125.967 | 0.849 | 876.05 | 23.072 | 1.8397
2019-03-01 02:15:00 | 2.656 | 164.787 | 2.465 | 118.053 | 2.124 | 118.567 | 2.258 | 114.533 | -0.346 | 872.033 | 23.973 | 0.31336
2019-03-01 02:30:00 | 4.505 | 199.287 | 2.805 | 156.04 | 2.252 | 155.867 | 2.325 | 146.767 | -2.491 | 862.383 | 26.603 | 0.1073
2019-03-01 02:45:00 | 5.077 | 196.947 | 3.351 | 152.908 | 2.948 | 139.333 | 2.621 | 119.333 | -3.818 | 861.883 | 29.077 | 0.15632
2019-03-01 03:00:00 | 5.525 | 200.36 | 3.275 | 168.543 | 2.457 | 167.867 | 2.286 | 158.367 | -4.01 | 861.75 | 29.392 | 0.16272
2019-03-01 03:15:00 | 4.962 | 204.847 | 4.352 | 179.313 | 2.676 | 174.6 | 2.009 | 149 | -4.104 | 861.6 | 28.747 | 0.15348
2019-03-01 03:30:00 | 4.909 | 199.78 | 3.126 | 167.812 | 1.937 | 162.6 | 2.167 | 151.967 | -2.253 | 862.017 | 26.304 | 0.15917
2019-03-01 03:45:00 | 4.731 | 194.633 | 2.453 | 172.202 | 1.86 | 172.033 | 2.32 | 157.333 | -2.703 | 861.717 | 26.165 | 0.18901
2019-03-01 04:00:00 | 4.695 | 207.527 | 3.594 | 183.349 | 2.784 | 181.8 | 2.509 | 180.433 | -1.835 | 861.783 | 24.016 | 0.13217
2019-03-01 04:15:00 | 5.905 | 208.413 | 3.555 | 194.315 | 3.503 | 190 | 3.383 | 180.933 | -3.462 | 861.967 | 25.024 | 0.11582
2019-03-01 04:30:00 | 5.459 | 199.273 | 3.706 | 176.713 | 2.935 | 171.2 | 2.782 | 159.467 | -2.764 | 861.45 | 24.816 | 0.1478
2019-03-01 04:45:00 | 4.975 | 203.767 | 3.156 | 174.467 | 1.834 | 168.2 | 1.932 | 155 | -3.426 | 861.45 | 25.136 | 0.1009
2019-03-01 05:00:00 | 5.758 | 216.873 | 3.196 | 194.814 | 2.564 | 194.867 | 1.711 | 175 | -4.647 | 861.9 | 27.408 | 0.25296
2019-03-01 05:15:00 | 5.427 | 218.113 | 2.399 | 196.497 | 1.793 | 195 | 1.606 | 175.033 | -2.249 | 861.35 | 24.437 | 0.31265
2019-03-01 05:30:00 | 5.682 | 213.08 | 2.419 | 203.83 | 0.31 | 195 | 1.165 | 175 | -1.912 | 861.85 | 23.179 | 0.30554
2019-03-01 05:45:00 | 5.064 | 214.267 | 2.021 | 199.363 | 0.11 | 164.8 | 1.118 | 125.167 | -2.213 | 861.583 | 23.504 | 0.31549
2019-03-01 06:00:00 | 2.873 | 205.093 | 0.614 | 161.783 | 0.934 | 108.367 | 1.842 | 77.267 | -2.29 | 861.95 | 23.696 | 0.31407
2019-03-01 06:15:00 | 2.755 | 194.993 | 0.633 | 123.879 | 1.24 | 84.833 | 2.048 | 69.433 | -1.521 | 861.833 | 22.608 | 0.31691
2019-03-01 06:30:00 | 1.453 | 214.08 | 0.03 | 131.384 | 1.343 | 87.767 | 2.271 | 72.633 | -1.201 | 862.067 | 22.059 | 0.32402
2019-03-01 06:45:00 | 1.897 | 188.56 | 0.677 | 83.507 | 1.674 | 90 | 2.492 | 90 | -0.926 | 861.65 | 21.915 | 0.59545
2019-03-01 07:00:00 | 2.221 | 195.593 | 1.733 | 139.89 | 2.098 | 118.167 | 2.762 | 96.3 | -1.722 | 861.583 | 22.064 | 1.6528
2019-03-01 07:15:00 | 1.103 | 207.613 | 0.63 | 147.56 | 2.145 | 118.833 | 2.93 | 102.733 | -1.762 | 862.017 | 23.312 | 1.2762
2019-03-01 07:30:00 | 1.523 | 180.967 | 1.94 | 129.358 | 2.714 | 112.533 | 2.826 | 98.767 | -2.119 | 863.8 | 24.245 | 0.21033
2019-03-01 07:45:00 | 3.141 | 233.493 | 0.167 | 134.785 | 1.301 | 119.967 | 2.289 | 110.8 | -2.05 | 879.083 | 23.867 | 0.24159
2019-03-01 08:00:00 | 1.84 | 257.667 | 0 | 140.483 | 1.207 | 109.058 | 2.256 | 99 | -3.829 | 866.167 | 25.221 | 0.32686
2019-03-01 08:15:00 | 2.301 | 219.767 | 0.434 | 140.452 | 1.869 | 118.9 | 2.667 | 101.7 | -3.258 | 861.933 | 26.72 | 0.30981
2019-03-01 08:30:00 | 1.889 | 204.727 | 0.966 | 133.516 | 1.741 | 121.433 | 3.046 | 106.9 | -2.295 | 871.083 | 28.048 | 0.18048
2019-03-01 08:45:00 | 1.876 | 208.567 | 0.863 | 132.439 | 2.423 | 110.867 | 2.788 | 104.1 | -2.508 | 889.967 | 27.429 | 0.50379
2019-03-01 09:00:00 | 2.499 | 211.873 | 1.577 | 163.722 | 1.246 | 147.933 | 2.025 | 103.967 | -1.862 | 889.85 | 26.139 | 0.18972
2019-03-01 09:15:00 | 1.224 | 207.34 | 0.127 | 157.487 | 0.663 | 129.2 | 2.273 | 111.933 | 0.282 | 889.733 | 23.179 | 0.21601
2019-03-01 09:30:00 | 2.57 | 234.387 | 0 | 157.438 | 0.157 | 123 | 1.996 | 130.667 | 0.482 | 889.917 | 21.472 | 0.28209
2019-03-01 09:45:00 | 1.284 | 230.613 | 0 | 157.469 | 0.653 | 134 | 2.1 | 123 | 1.199 | 890.033 | 20.96 | 0.31549
2019-03-01 10:00:00 | 0.569 | 213.34 | 0 | 157.354 | 0.692 | 129.8 | 1.979 | 118 | 1.526 | 889.783 | 20.771 | 0.31123
2019-03-01 10:15:00 | 0 | 213.027 | 0 | 157.517 | 0.579 | 99 | 1.53 | 123 | 4.087 | 889.433 | 18.925 | 0.31549
2019-03-01 10:30:00 | 0 | 324.107 | 0 | 157.515 | 0 | 99 | 0.292 | 107 | 4.049 | 889.6 | 17.453 | 0.29844
2019-03-01 10:45:00 | 2.346 | 37.733 | 2.115 | 35.152 | 2.002 | 43.8 | 2.269 | 50.933 | 3.472 | 889.333 | 17.459 | 0.31265
2019-03-01 11:00:00 | 2.21 | 49.064 | 1.92 | 49.652 | 2.063 | 65.9 | 2.422 | 71.933 | 2.205 | 889.967 | 19.651 | 0.26788
2019-03-01 11:15:00 | 2.803 | 55.333 | 2.454 | 56.467 | 2.167 | 65 | 2.576 | 70.467 | 3.338 | 889.333 | 20.061 | 0.40289
2019-03-01 11:30:00 | 3.169 | 69.733 | 2.993 | 63.106 | 3.128 | 69.9 | 3.403 | 71.567 | 3.538 | 889.783 | 21.211 | 1.7864
2019-03-01 11:45:00 | 3.902 | 80.837 | 3.776 | 76.057 | 3.734 | 80.267 | 3.82 | 75.3 | 3.809 | 889.817 | 21.429 | 3.459
2019-03-01 12:00:00 | 4.7 | 82.74 | 4.721 | 78.804 | 4.525 | 82.967 | 4.816 | 79.767 | 3.695 | 889.617 | 23.547 | 6.9557
2019-03-01 12:15:00 | 5.31 | 76.95 | 5.263 | 72.777 | 5.286 | 80.267 | 5.388 | 76.1 | 4.305 | 890.233 | 24.128 | 8.9297
2019-03-01 12:30:00 | 4.762 | 94.723 | 4.555 | 87.716 | 4.549 | 90.4 | 4.715 | 86.567 | 5.04 | 889.767 | 23.675 | 9.5585
2019-03-01 12:45:00 | 4.772 | 77.657 | 4.902 | 75.917 | 4.988 | 84.2 | 5.248 | 80.3 | 5.194 | 889.667 | 22.688 | 9.2487
2019-03-01 13:00:00 | 5.596 | 68.152 | 5.651 | 62.93 | 5.76 | 70.6 | 6.367 | 67.9 | 5.593 | 889.117 | 20.539 | 11.5225
2019-03-01 13:15:00 | 4.654 | 98.863 | 3.933 | 88.86 | 3.722 | 93.533 | 3.834 | 88.033 | 5.675 | 889.433 | 19.792 | 11.2987
2019-03-01 13:30:00 | 5.148 | 71.537 | 5.157 | 61.889 | 5.126 | 66.6 | 5.673 | 63.667 | 6.032 | 889.883 | 20.765 | 12.6566
2019-03-01 13:45:00 | 5.855 | 59.947 | 5.743 | 53.643 | 5.656 | 58.067 | 5.716 | 56.667 | 6.442 | 889.883 | 21.333 | 15.6751
2019-03-01 14:00:00 | 5.599 | 63.337 | 5.416 | 55.448 | 5.459 | 60.267 | 5.615 | 56.467 | 6.158 | 889.483 | 22.069 | 17.6839
2019-03-01 14:15:00 | 4.869 | 56.947 | 4.748 | 54.102 | 4.621 | 58.433 | 4.581 | 59.667 | 6.373 | 889.8 | 20.96 | 15.4555
2019-03-01 14:30:00 | 4.608 | 73.315 | 5.049 | 67.262 | 5.137 | 70.4 | 5.446 | 65.9 | 6.506 | 889.533 | 19.424 | 12.9977
2019-03-01 14:45:00 | 5.733 | 64.975 | 5.667 | 61.756 | 5.86 | 67.9 | 6.154 | 65.8 | 6.678 | 889.6 | 18.24 | 11.9489
2019-03-01 15:00:00 | 5.244 | 64.982 | 5.15 | 55.13 | 5.207 | 57.567 | 5.398 | 55.9 | 6.41 | 889.367 | 17.595 | 13.6365
2019-03-01 15:15:00 | 4.741 | 71.892 | 4.934 | 66.757 | 5.014 | 73.167 | 5.318 | 66.667 | 6.747 | 889.167 | 17.093 | 14.1609
2019-03-01 15:30:00 | 5.095 | 66.307 | 4.935 | 60.516 | 5.043 | 65.367 | 5.357 | 64.7 | 6.88 | 889.733 | 17.528 | 14.9318
2019-03-01 15:45:00 | 4.474 | 72.373 | 4.414 | 68.837 | 4.822 | 73.033 | 5.042 | 70.633 | 6.601 | 889.333 | 17.224 | 13.424
2019-03-01 16:00:00 | 5.61 | 68.745 | 5.393 | 59.152 | 5.408 | 63.433 | 5.52 | 60.433 | 6.88 | 889.7 | 18.091 | 14.6917
2019-03-01 16:15:00 | 5.206 | 69.897 | 4.805 | 61.946 | 4.755 | 67.333 | 4.878 | 62.567 | 6.856 | 889.3 | 17.483 | 16.3885
2019-03-01 16:30:00 | 5.065 | 73.745 | 4.918 | 67.636 | 5.103 | 72.7 | 5.181 | 67.867 | 7.002 | 889.533 | 17.155 | 12.3766
2019-03-01 16:45:00 | 4.859 | 92.633 | 4.326 | 86.316 | 4.225 | 89.8 | 4.078 | 86.433 | 6.806 | 889.1 | 17.013 | 11.8459
2019-03-01 17:00:00 | 4.68 | 72.855 | 4.881 | 71.275 | 4.842 | 79.033 | 4.927 | 75.833 | 7.156 | 889.8 | 17.32 | 10.8802
2019-03-01 17:15:00 | 4.825 | 76.447 | 4.979 | 68.294 | 5.133 | 76.1 | 5.058 | 72.167 | 7.122 | 889.633 | 16.84 | 10.294
2019-03-01 17:30:00 | 4.653 | 78.998 | 4.362 | 76.442 | 4.529 | 78.967 | 4.804 | 74.433 | 6.972 | 889.2 | 17.08 | 9.6012
2019-03-01 17:45:00 | 5.465 | 78.937 | 5.324 | 73.31 | 5.168 | 79.8 | 5.462 | 73.967 | 6.804 | 889.7 | 16.853 | 10.1377
2019-03-01 18:00:00 | 4.14 | 68.43 | 4.357 | 63.998 | 4.484 | 69.733 | 4.469 | 68.867 | 6.688 | 889.133 | 16.304 | 8.6732
2019-03-01 18:15:00 | 4.128 | 81.63 | 4.14 | 75.782 | 4.329 | 78.233 | 4.759 | 74.933 | 6.9 | 889.733 | 16.312 | 8.1054
2019-03-01 18:30:00 | 4.235 | 79.753 | 4.194 | 75.156 | 4.312 | 81.367 | 4.439 | 76.4 | 6.364 | 889.2 | 16.341 | 7.9448
2019-03-01 18:45:00 | 3.868 | 79.207 | 4.142 | 74.459 | 4.343 | 78.2 | 4.611 | 73.3 | 6.366 | 889.8 | 16.901 | 6.9223
2019-03-01 19:00:00 | 3.514 | 71.137 | 3.805 | 68.292 | 3.975 | 73.633 | 4.061 | 70 | 6.127 | 889.7 | 16.768 | 5.4657
2019-03-01 19:15:00 | 3.371 | 78.833 | 3.734 | 73.364 | 3.902 | 77.7 | 3.927 | 72.933 | 5.995 | 889.433 | 17.011 | 4.7707
2019-03-01 19:30:00 | 2.978 | 74.783 | 3.168 | 73.526 | 3.369 | 78.2 | 3.479 | 74.033 | 5.332 | 889.167 | 17.419 | 4.3231
2019-03-01 19:45:00 | 2.912 | 87.967 | 3.017 | 84.005 | 2.534 | 91 | 2.576 | 85.567 | 4.952 | 889.333 | 18.317 | 2.8451
2019-03-01 20:00:00 | 2.693 | 88.943 | 3.13 | 80.668 | 2.881 | 86.667 | 2.963 | 79.7 | 4.299 | 889.1 | 18.677 | 1.8851
2019-03-01 20:15:00 | 2.141 | 100.383 | 2.116 | 87.942 | 1.62 | 93.867 | 1.76 | 82.6 | 4.288 | 889.3 | 19.229 | 0.36665
2019-03-01 20:30:00 | 1.155 | 116.813 | 1.494 | 90.722 | 1.388 | 95.733 | 1.545 | 81.533 | 3.768 | 889.633 | 19.819 | 0.16414
2019-03-01 20:45:00 | 1.198 | 134 | 1.842 | 89.277 | 2.06 | 92.7 | 2.209 | 90.1 | 3.288 | 889.567 | 20.349 | 0.29346
2019-03-01 21:00:00 | 0.093 | 134.133 | 1.157 | 85.76 | 1.78 | 87.067 | 2.174 | 89 | 2.986 | 889.617 | 20.843 | 0.26931
2019-03-01 21:15:00 | 0.95 | 145.4 | 1.675 | 85.176 | 2.478 | 86.967 | 2.474 | 89.033 | 2.418 | 889.833 | 21.52 | 0.27854
2019-03-01 21:30:00 | 1.971 | 189.287 | 0 | 91.579 | 1.58 | 90.667 | 2.214 | 90 | 2.597 | 890.133 | 21.216 | 0.26291
2019-03-01 21:45:00 | 2.273 | 207.893 | 0 | 110.237 | 0.357 | 97.033 | 1.535 | 90 | 2.067 | 889.8 | 21.125 | 0.25438
2019-03-01 22:00:00 | 1.766 | 208.507 | 0 | 135.5 | 0.167 | 97 | 1.592 | 90 | 1.68 | 889.65 | 21.456 | 0.2558
2019-03-01 22:15:00 | 2.503 | 217.347 | 0 | 135.401 | 0 | 97 | 1.163 | 89.9 | 1.459 | 889.683 | 21.728 | 0.25722
2019-03-01 22:30:00 | 3.094 | 217.98 | 0 | 135.436 | 0 | 96.867 | 0.688 | 90 | 1.459 | 889.9 | 21.819 | 0.26149
2019-03-01 22:45:00 | 3.517 | 224.7 | 0 | 151.514 | 0 | 97 | 0 | 90.067 | 0.915 | 889.667 | 22.277 | 0.26717
2019-03-01 23:00:00 | 3.23 | 230.173 | 0 | 180.574 | 0 | 96.867 | 0.787 | 90.067 | 1.129 | 889.433 | 22.421 | 0.27428
2019-03-01 23:15:00 | 4.954 | 230.9 | 2.005 | 231.062 | 0.157 | 204.733 | 0 | 90.067 | -1.009 | 889.8 | 23.973 | 0.26717
2019-03-01 23:30:00 | 4.31 | 236.853 | 2.118 | 243.615 | 0.03 | 230 | 0 | 89.9 | -0.083 | 890.133 | 23.984 | 0.28707
2019-03-01 23:45:00 | 5.219 | 234.707 | 2.595 | 253.014 | 1.103 | 253.733 | 0.074 | 90.117 | -2.161 | 890.2 | 25.056 | 0.28707