## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-02 00:00:00 | 5.976 | 232.987 | 3.344 | 249.644 | 2.282 | 259.933 | 1.35 | 90.242 | -4.25 | 884.133 | 29.541 | 0.29418
2019-03-02 00:15:00 | 5.494 | 233.133 | 2.961 | 250.598 | 1.896 | 260.667 | 1.071 | 176.083 | -3.742 | 873.6 | 32.981 | 0.29133
2019-03-02 00:30:00 | 6.243 | 226.633 | 3.864 | 245.448 | 2.528 | 251.067 | 1.26 | 251 | -3.791 | 884.283 | 33.936 | 0.28849
2019-03-02 00:45:00 | 5.627 | 228.413 | 2.91 | 239.88 | 0.824 | 248.333 | 0 | 234.2 | -2.771 | 879.633 | 34.459 | 0.27073
2019-03-02 01:00:00 | 4.352 | 225.787 | 1.694 | 225.636 | 0.223 | 242.567 | 0.091 | 234.983 | -1.453 | 877.9 | 33.941 | 0.29844
2019-03-02 01:15:00 | 3.901 | 222.993 | 0.978 | 213.695 | 0.034 | 189.6 | 0.598 | 208.4 | 0.632 | 889.65 | 30.608 | 0.2956
2019-03-02 01:30:00 | 3.58 | 222.573 | 0 | 212.425 | 0 | 143.267 | 1.586 | 161.6 | 0.549 | 889.483 | 29.616 | 0.30412
2019-03-02 01:45:00 | 3.704 | 224.46 | 0.043 | 212.469 | 0 | 127 | 1.572 | 125 | -0.442 | 889.717 | 30.885 | 0.29844
2019-03-02 02:00:00 | 4.142 | 229.227 | 0 | 212.455 | 0.32 | 85.233 | 2.117 | 90 | -0.246 | 889.683 | 29.925 | 0.30128
2019-03-02 02:15:00 | 3.897 | 222.993 | 0 | 209.534 | 0 | 69 | 1.73 | 85 | -0.705 | 884.95 | 30.139 | 0.29844
2019-03-02 02:30:00 | 4.515 | 222.833 | 1.378 | 209.648 | 0.277 | 127 | 0.521 | 85.033 | -0.359 | 889.5 | 29.115 | 0.30839
2019-03-02 02:45:00 | 4.637 | 222.073 | 1.747 | 209.534 | 1.405 | 195 | 1.583 | 85.867 | 0.076 | 886.233 | 27.259 | 0.31123
2019-03-02 03:00:00 | 4.846 | 212.587 | 2.268 | 202.639 | 1.519 | 195 | 2.086 | 155.067 | -3.922 | 861.617 | 32.917 | 0.30981
2019-03-02 03:15:00 | 4.889 | 212.433 | 3.527 | 205.202 | 3.269 | 206.4 | 3.094 | 195 | -5.076 | 861.967 | 35.189 | 0.30412
2019-03-02 03:30:00 | 3.979 | 210.38 | 1.711 | 200.51 | 1.584 | 197 | 2.089 | 195 | -1.264 | 861.983 | 29.803 | 0.32402
2019-03-02 03:45:00 | 3.87 | 190.44 | 1.55 | 183.993 | 1.47 | 181.433 | 1.955 | 165 | -2.188 | 861.767 | 29.968 | 0.30696
2019-03-02 04:00:00 | 4.272 | 197.3 | 1.6 | 165.443 | 1.446 | 153.133 | 1.767 | 152 | -3.996 | 862.117 | 30.288 | 0.31123
2019-03-02 04:15:00 | 4.058 | 198.333 | 2.292 | 163.988 | 2.031 | 161.967 | 2.416 | 154 | -3.141 | 861.917 | 30.069 | 0.31549
2019-03-02 04:30:00 | 3.521 | 195.693 | 1.966 | 145.725 | 1.937 | 145.767 | 2.051 | 145 | -2.1 | 861.867 | 28.709 | 0.33397
2019-03-02 04:45:00 | 4.322 | 206.947 | 1.965 | 154.449 | 1.475 | 145 | 2.357 | 142 | -2.723 | 861.767 | 29.296 | 0.28494
2019-03-02 05:00:00 | 4.639 | 199.12 | 1.992 | 158.052 | 1.837 | 149.433 | 2.688 | 142.267 | -2.404 | 861.917 | 29.723 | 0.23662
2019-03-02 05:15:00 | 4.628 | 208.88 | 2.187 | 157.945 | 1.813 | 148.833 | 2.728 | 143.333 | -4.036 | 861.833 | 30.843 | 0.20891
2019-03-02 05:30:00 | 3.7 | 192.74 | 2.658 | 162.132 | 1.996 | 153.3 | 2.654 | 137.733 | -2.051 | 861.717 | 29.915 | 0.20749
2019-03-02 05:45:00 | 4.419 | 199.84 | 2.776 | 165.782 | 2.358 | 156.1 | 2.447 | 136.867 | -1.274 | 861.783 | 27.344 | 0.16698
2019-03-02 06:00:00 | 5.241 | 199.253 | 2.819 | 170.369 | 2.382 | 158.567 | 2.718 | 142.2 | -3.288 | 861.683 | 28.336 | 0.14496
2019-03-02 06:15:00 | 4.987 | 196.493 | 3.247 | 167.336 | 2.873 | 150.333 | 2.942 | 138.067 | -3.247 | 861.45 | 28.901 | 0.41355
2019-03-02 06:30:00 | 5.312 | 209.287 | 2.72 | 156.808 | 2.057 | 137.667 | 2.848 | 121.833 | -6.562 | 861.65 | 32.613 | 0.19754
2019-03-02 06:45:00 | 4.799 | 214.147 | 2.516 | 159.8 | 2.428 | 128.7 | 2.715 | 111 | -6.643 | 861.6 | 34.651 | 0.22241
2019-03-02 07:00:00 | 3.806 | 201.293 | 2.399 | 148.757 | 2.674 | 134.7 | 3.418 | 112.433 | -3.097 | 861.9 | 30.325 | 0.13217
2019-03-02 07:15:00 | 5.338 | 215.7 | 2.266 | 178.453 | 1.776 | 164.833 | 2.499 | 143.167 | -2.377 | 861.783 | 27.755 | 0.089531
2019-03-02 07:30:00 | 6.316 | 219.573 | 2.844 | 203.622 | 1.847 | 174.9 | 1.922 | 146.733 | -5.859 | 861.667 | 32.373 | 0.13643
2019-03-02 07:45:00 | 5.644 | 214.2 | 3.569 | 200.671 | 2.771 | 194.733 | 2.786 | 176.067 | -7.514 | 861.667 | 37.755 | 0.29986
2019-03-02 08:00:00 | 5.063 | 212.1 | 3.958 | 191.129 | 2.6 | 202.067 | 2.508 | 191.067 | -4.976 | 861.867 | 33.589 | 0.32402
2019-03-02 08:15:00 | 5.562 | 209.267 | 3.568 | 189.626 | 2.633 | 188 | 2.008 | 190.733 | -6.784 | 861.733 | 34.827 | 0.29631
2019-03-02 08:30:00 | 4.24 | 195.68 | 2.968 | 180.07 | 2.299 | 169.733 | 2.034 | 164.433 | -3.751 | 861.617 | 30.309 | 0.31052
2019-03-02 08:45:00 | 4.588 | 205.407 | 2.914 | 169.64 | 1.507 | 152.967 | 2.048 | 135.933 | -3.63 | 861.75 | 28.421 | 0.3162
2019-03-02 09:00:00 | 4.717 | 206.827 | 2.185 | 158.287 | 1.88 | 139.367 | 2.366 | 129.333 | -4.194 | 861.983 | 28.581 | 0.29346
2019-03-02 09:15:00 | 3.779 | 199.273 | 2.613 | 149.964 | 2.473 | 125.7 | 2.892 | 112.933 | -3.251 | 861.767 | 26.939 | 0.29844
2019-03-02 09:30:00 | 3.566 | 212.06 | 2.314 | 183.103 | 1.848 | 157.133 | 2.119 | 135.2 | -3.08 | 867.283 | 27.141 | 0.32473
2019-03-02 09:45:00 | 4.328 | 231.607 | 1.536 | 200.416 | 0.99 | 149.8 | 2.065 | 115.567 | -2.046 | 880.5 | 27.611 | 0.29275
2019-03-02 10:00:00 | 3.454 | 240.007 | 1.428 | 223.738 | 0 | 201.767 | 0.433 | 104.133 | -1.58 | 890 | 26.699 | 0.30554
2019-03-02 10:15:00 | 2.386 | 246.227 | 0.785 | 231.932 | 0 | 197.467 | 0.37 | 104 | -0.582 | 889.833 | 26.133 | 0.30554
2019-03-02 10:30:00 | 2.304 | 239.327 | 0.133 | 247.826 | 0 | 253.933 | 1.014 | 104 | 1.089 | 889.917 | 24 | 0.30839
2019-03-02 10:45:00 | 1.534 | 203.72 | 0.94 | 178.78 | 1.741 | 126.133 | 2.62 | 114.8 | 2.214 | 889.433 | 22.133 | 0.31549
2019-03-02 11:00:00 | 1.169 | 105.133 | 0.88 | 98.598 | 1.163 | 97.267 | 2.274 | 88.2 | 3.773 | 889.217 | 20.816 | 0.31976
2019-03-02 11:15:00 | 2.463 | 83.1 | 2.226 | 77.14 | 2.229 | 84 | 2.477 | 80.133 | 3.505 | 889.633 | 21.072 | 0.21033
2019-03-02 11:30:00 | 2.594 | 107.277 | 2.503 | 106.7 | 2.52 | 111.433 | 2.761 | 109.333 | 3.983 | 889.333 | 19.843 | 0.3162
2019-03-02 11:45:00 | 3.184 | 117.033 | 3.348 | 109.974 | 3.249 | 116.9 | 3.463 | 109.267 | 3.941 | 889.533 | 20.203 | 1.6528
2019-03-02 12:00:00 | 3.61 | 109.743 | 3.455 | 101.037 | 3.354 | 105.433 | 3.526 | 97.767 | 4.262 | 889.8 | 20.277 | 3.3517
2019-03-02 12:15:00 | 4.135 | 101.927 | 3.494 | 94.139 | 3.351 | 102.3 | 3.762 | 96.767 | 4.746 | 889.533 | 19.648 | 4.1582
2019-03-02 12:30:00 | 3.88 | 95.977 | 4.017 | 90.654 | 3.745 | 94.633 | 3.947 | 93.133 | 4.958 | 889.7 | 18.832 | 4.483
2019-03-02 12:45:00 | 3.82 | 81.463 | 3.891 | 78.551 | 3.73 | 84.567 | 4 | 83 | 4.802 | 889.467 | 18.669 | 5.9652
2019-03-02 13:00:00 | 3.146 | 83.342 | 3.416 | 79.934 | 3.782 | 84.8 | 4.017 | 81.5 | 4.795 | 889.567 | 18.536 | 6.1755
2019-03-02 13:15:00 | 3.686 | 97.937 | 3.443 | 94.486 | 2.901 | 96.3 | 3.176 | 93.8 | 5.517 | 889.367 | 18.459 | 4.7047
2019-03-02 13:30:00 | 3.956 | 75.502 | 3.95 | 70.727 | 3.971 | 76.233 | 4.278 | 74.6 | 5.353 | 889.433 | 18.68 | 5.3925
2019-03-02 13:45:00 | 4.493 | 72.165 | 4.511 | 66.614 | 4.662 | 72.267 | 4.77 | 68.167 | 6.337 | 889.533 | 18.208 | 5.9851
2019-03-02 14:00:00 | 4.443 | 83.23 | 4.385 | 78.042 | 4.389 | 82.7 | 4.369 | 80.833 | 5.965 | 889.767 | 18.027 | 6.8335
2019-03-02 14:15:00 | 4.548 | 66.983 | 4.469 | 60.03 | 4.555 | 61.2 | 4.446 | 56.5 | 6.267 | 890 | 18.128 | 6.8669
2019-03-02 14:30:00 | 4.956 | 68.518 | 5.332 | 68.372 | 5.381 | 74.2 | 5.55 | 73.433 | 6.317 | 889.733 | 17.544 | 9.6033
2019-03-02 14:45:00 | 4.213 | 94.18 | 4.279 | 79.626 | 4.358 | 79.9 | 4.698 | 75.7 | 6.39 | 889.633 | 17.037 | 9.9195
2019-03-02 15:00:00 | 5.451 | 80.082 | 5.69 | 74.164 | 5.543 | 80.9 | 5.666 | 76.767 | 6.86 | 889.533 | 17.301 | 11.3641
2019-03-02 15:15:00 | 4.179 | 86.275 | 4.436 | 78.983 | 4.829 | 86.133 | 5.031 | 83 | 6.737 | 889.467 | 16.637 | 11.6618
2019-03-02 15:30:00 | 4.653 | 98.367 | 4.508 | 88.809 | 4.372 | 88.7 | 5.054 | 82.667 | 7.072 | 889.267 | 16.749 | 10.5278
2019-03-02 15:45:00 | 5.414 | 91.528 | 4.955 | 90.122 | 4.726 | 93.967 | 4.678 | 83.433 | 7.139 | 889.567 | 17.317 | 13.2393
2019-03-02 16:00:00 | 5.208 | 77.547 | 5.327 | 70.049 | 5.658 | 76.633 | 5.556 | 72.433 | 7.172 | 889.767 | 17.488 | 15.9508
2019-03-02 16:15:00 | 4.439 | 87.067 | 4.248 | 77.602 | 4.192 | 82.067 | 4.273 | 72.7 | 7.389 | 889.733 | 18.392 | 13.4851
2019-03-02 16:30:00 | 6.269 | 73.76 | 6.276 | 69.318 | 6.215 | 77.2 | 6.35 | 74.267 | 6.956 | 890.167 | 18.491 | 14.2881
2019-03-02 16:45:00 | 6.112 | 68.812 | 6.285 | 66.701 | 6.472 | 72.4 | 6.443 | 70.767 | 7.489 | 889.667 | 18.275 | 16.5733
2019-03-02 17:00:00 | 5.292 | 80.833 | 5.494 | 75.576 | 5.673 | 79.1 | 5.786 | 75.9 | 7.089 | 889.467 | 17.952 | 15.0306
2019-03-02 17:15:00 | 5.05 | 81.128 | 5.02 | 75.76 | 5.022 | 79.6 | 5.115 | 77.033 | 7.439 | 889.767 | 17.989 | 10.5221
2019-03-02 17:30:00 | 4.214 | 73.613 | 4.59 | 68.662 | 4.887 | 71.3 | 4.972 | 66 | 7.356 | 889.433 | 17.928 | 8.4067
2019-03-02 17:45:00 | 4.699 | 73.18 | 4.695 | 64.005 | 4.629 | 71.067 | 4.828 | 68.667 | 7.289 | 889.6 | 18.083 | 8.9261
2019-03-02 18:00:00 | 5.218 | 80.913 | 5.276 | 76.122 | 5.261 | 80.667 | 5.448 | 78.067 | 7.489 | 889.467 | 17.696 | 8.1516
2019-03-02 18:15:00 | 4.083 | 89.967 | 4.228 | 83.311 | 4.237 | 86.967 | 4.588 | 84 | 7.306 | 889.6 | 17.939 | 8.1005
2019-03-02 18:30:00 | 4.536 | 76.962 | 4.804 | 72.195 | 4.941 | 77.967 | 5.115 | 75.7 | 7.489 | 889.9 | 18.224 | 7.8006
2019-03-02 18:45:00 | 4.598 | 73.095 | 4.856 | 67.909 | 4.84 | 73.033 | 5.032 | 70.6 | 7.139 | 889.467 | 18.453 | 7.802
2019-03-02 19:00:00 | 3.933 | 76.942 | 4.358 | 73.275 | 4.608 | 79.4 | 4.822 | 75.4 | 6.873 | 880.233 | 18.803 | 8.0209
2019-03-02 19:15:00 | 3.769 | 81.097 | 4.373 | 76 | 4.509 | 82.2 | 4.641 | 78.567 | 6.311 | 873 | 19.603 | 7.969
2019-03-02 19:30:00 | 3.987 | 80.58 | 4.284 | 75.785 | 4.363 | 81 | 4.321 | 78.2 | 5.765 | 868.6 | 20.013 | 7.1369
2019-03-02 19:45:00 | 3.976 | 84.41 | 4.474 | 79.036 | 4.36 | 86.167 | 4.359 | 81.067 | 5.366 | 861.667 | 20.184 | 6.6445
2019-03-02 20:00:00 | 3.643 | 79.847 | 4.194 | 77.79 | 4.422 | 82.7 | 4.416 | 80.367 | 4.524 | 861.65 | 20.701 | 6.5145
2019-03-02 20:15:00 | 3.944 | 81.897 | 4.215 | 77.938 | 4.394 | 84.1 | 4.453 | 79.3 | 4.194 | 861.95 | 21.696 | 6.1336
2019-03-02 20:30:00 | 3.94 | 84.783 | 4.42 | 79.111 | 4.396 | 84.4 | 4.497 | 81.333 | 3.844 | 861.7 | 22.491 | 5.8387
2019-03-02 20:45:00 | 3.112 | 84.167 | 4.093 | 77.604 | 3.599 | 86.633 | 3.383 | 80.733 | 3.544 | 861.867 | 23.211 | 4.969
2019-03-02 21:00:00 | 2.705 | 91.03 | 2.802 | 83.596 | 2.308 | 90.267 | 2.715 | 83.667 | 2.607 | 861.85 | 23.936 | 4.9086
2019-03-02 21:15:00 | 2.385 | 101.237 | 2.684 | 86.16 | 2.153 | 94.667 | 2.144 | 86.367 | 2.916 | 861.95 | 24.293 | 4.5938
2019-03-02 21:30:00 | 2.176 | 101.62 | 2.617 | 83.79 | 2.244 | 91.833 | 2.57 | 83.267 | 2.831 | 861.817 | 24.645 | 3.5386
2019-03-02 21:45:00 | 1.02 | 134.31 | 1.996 | 92.623 | 1.952 | 97.367 | 2.429 | 85 | 2.166 | 861.717 | 25.237 | 1.9313
2019-03-02 22:00:00 | 1.625 | 199.913 | 0.17 | 126.75 | 1.564 | 112.6 | 1.807 | 91.533 | 1.461 | 861.483 | 26.16 | 0.69493
2019-03-02 22:15:00 | 2.925 | 226.56 | 0.156 | 143.999 | 0 | 114.1 | 1.28 | 85 | 1.421 | 861.95 | 26.501 | 0.26362
2019-03-02 22:30:00 | 3.125 | 227.427 | 0.849 | 202.552 | 0 | 114.1 | 1.552 | 84.867 | 1.258 | 861.583 | 26.533 | 0.29133
2019-03-02 22:45:00 | 3.868 | 232.307 | 1.603 | 220.999 | 0 | 114.133 | 0.024 | 85 | 1.207 | 861.667 | 26.448 | 0.27854
2019-03-02 23:00:00 | 4.222 | 240.127 | 2.369 | 229.833 | 0.323 | 209.8 | 0.245 | 86.833 | 0.366 | 862.067 | 26.528 | 0.2558
2019-03-02 23:15:00 | 5.566 | 236.007 | 3.045 | 233.458 | 1.233 | 233.233 | 0.292 | 90.067 | -1.528 | 861.683 | 28.24 | 0.26433
2019-03-02 23:30:00 | 6.359 | 227.673 | 3.329 | 230.544 | 1.671 | 220.133 | 1.502 | 159.133 | -3.084 | 862.983 | 29.579 | 0.27712
2019-03-02 23:45:00 | 6.351 | 227.967 | 2.414 | 229.561 | 0.17 | 217 | 0.84 | 156.233 | -3.341 | 861.85 | 31.093 | 0.29133