## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-03 00:00:00 | 5.839 | 228.2 | 2.667 | 232.362 | 0.878 | 224.967 | 0 | 157 | -3.813 | 861.567 | 32 | 0.28707
2019-03-03 00:15:00 | 5.996 | 229.86 | 3.326 | 241.296 | 2.018 | 243.067 | 1.115 | 212 | -3.926 | 861.75 | 33.067 | 0.29133
2019-03-03 00:30:00 | 5.59 | 230.933 | 2.811 | 247.656 | 1.079 | 248 | 0 | 212 | -3.728 | 861.4 | 33.051 | 0.29702
2019-03-03 00:45:00 | 4.886 | 231.967 | 1.969 | 253.263 | 0 | 248 | 0 | 212 | -3.779 | 861.55 | 33.248 | 0.29133
2019-03-03 01:00:00 | 4.919 | 232.707 | 1.803 | 255.489 | 0 | 248 | 0 | 212.033 | -3.067 | 861.15 | 31.701 | 0.29275
2019-03-03 01:15:00 | 5.673 | 232.907 | 2.68 | 252.475 | 0.127 | 248 | 0.034 | 211.533 | -2.38 | 861.95 | 30.709 | 0.29133
2019-03-03 01:30:00 | 6.013 | 228.353 | 2.743 | 242.724 | 0.884 | 241.133 | 1.182 | 190.233 | -4.273 | 861.767 | 32.832 | 0.29702
2019-03-03 01:45:00 | 6.37 | 226.7 | 2.909 | 229.691 | 1.347 | 219.567 | 1.753 | 177 | -4.909 | 861.533 | 34.459 | 0.29418
2019-03-03 02:00:00 | 6.233 | 229.127 | 3.24 | 223.948 | 1.781 | 210.933 | 2.136 | 176.933 | -4.756 | 861.533 | 34.635 | 0.29986
2019-03-03 02:15:00 | 4.258 | 228.867 | 1.553 | 202.919 | 1.306 | 176.333 | 2.238 | 147.633 | -1.571 | 861.933 | 31.045 | 0.32118
2019-03-03 02:30:00 | 3.76 | 221.84 | 0.824 | 188.546 | 1.079 | 154.967 | 2.414 | 137.967 | -0.333 | 861.75 | 28.469 | 0.31123
2019-03-03 02:45:00 | 4.032 | 221.147 | 0.426 | 174.971 | 0.856 | 151.433 | 2.114 | 131.033 | 0.05 | 861.8 | 27.547 | 0.21814
2019-03-03 03:00:00 | 5.341 | 224.813 | 1.58 | 197.634 | 1.353 | 156.433 | 2.381 | 138.5 | -1.231 | 861.867 | 28.107 | 0.28067
2019-03-03 03:15:00 | 6.345 | 227.727 | 3.23 | 217.07 | 1.62 | 189.567 | 2.022 | 152.867 | -4.939 | 862.45 | 33.344 | 0.3226
2019-03-03 03:30:00 | 6.424 | 226.26 | 2.986 | 217.052 | 1.806 | 201.6 | 2.226 | 146.933 | -5.87 | 861.967 | 36.72 | 0.30412
2019-03-03 03:45:00 | 7.114 | 224.58 | 3.273 | 218.022 | 1.95 | 204.967 | 2.184 | 167.167 | -5.731 | 861.717 | 37.189 | 0.31123
2019-03-03 04:00:00 | 6 | 223.9 | 2.602 | 210.786 | 1.72 | 187.533 | 2.226 | 146.367 | -4.959 | 861.717 | 37.104 | 0.30839
2019-03-03 04:15:00 | 6.985 | 223.933 | 4.101 | 218.981 | 2.755 | 208.467 | 2.455 | 180.5 | -4.992 | 862.117 | 36.427 | 0.31691
2019-03-03 04:30:00 | 6.497 | 223.3 | 3.386 | 217.81 | 2.423 | 211.233 | 2.116 | 182.367 | -3.526 | 861.65 | 34.309 | 0.31691
2019-03-03 04:45:00 | 6.709 | 222.167 | 3.251 | 220.173 | 2.423 | 214 | 2.006 | 196.367 | -5.026 | 861.85 | 36.507 | 0.31123
2019-03-03 05:00:00 | 6.783 | 223.467 | 3.234 | 228.745 | 1.701 | 226.2 | 1.008 | 196.267 | -5.542 | 861.933 | 37.397 | 0.30696
2019-03-03 05:15:00 | 6.914 | 223.733 | 3.606 | 227.772 | 1.712 | 236.1 | 0.362 | 196.2 | -5.276 | 861.733 | 37.877 | 0.2956
2019-03-03 05:30:00 | 7.128 | 222.447 | 4.238 | 223.23 | 2.809 | 226.233 | 2.121 | 212.2 | -5.515 | 861.917 | 39.051 | 0.30128
2019-03-03 05:45:00 | 7.329 | 222.72 | 4.057 | 227.46 | 2.534 | 234 | 1.565 | 209.733 | -5.418 | 862.05 | 38.725 | 0.30128
2019-03-03 06:00:00 | 6.935 | 223.12 | 3.291 | 227.795 | 2.377 | 240.9 | 1.976 | 227 | -5.85 | 861.767 | 39.52 | 0.30128
2019-03-03 06:15:00 | 6.555 | 222.133 | 2.933 | 224.973 | 1.491 | 240.633 | 0 | 227 | -6.104 | 861.783 | 40.085 | 0.29986
2019-03-03 06:30:00 | 6.24 | 221.907 | 2.563 | 224.273 | 1.099 | 223.467 | 0.46 | 226.367 | -6.174 | 862.025 | 40.736 | 0.2956
2019-03-03 06:45:00 | 6.693 | 223.44 | 2.377 | 228.648 | 0.786 | 228.267 | 0.034 | 226 | -6.24 | 861.533 | 41.376 | 0.29986
2019-03-03 07:00:00 | 6.27 | 224.48 | 1.434 | 241.287 | 0 | 233.033 | 0.168 | 226.1 | -6.924 | 861.467 | 42.837 | 0.29844
2019-03-03 07:15:00 | 6.634 | 225.833 | 3.176 | 240.28 | 1.886 | 273.933 | 1.848 | 289.833 | -7.099 | 861.925 | 44.725 | 0.30128
2019-03-03 07:30:00 | 7.158 | 222.84 | 3.721 | 231.66 | 2.725 | 250.6 | 2.066 | 263 | -7.02 | 861.558 | 46.005 | 0.30554
2019-03-03 07:45:00 | 7.19 | 221.86 | 3.597 | 226.146 | 2.696 | 242.867 | 2.243 | 246.367 | -7.178 | 861.825 | 46.539 | 0.22241
2019-03-03 08:00:00 | 6.768 | 221.887 | 3.781 | 225.668 | 2.394 | 235.333 | 2.04 | 243.1 | -6.596 | 862.075 | 46.624 | 0.27712
2019-03-03 08:15:00 | 7.02 | 221.833 | 3.87 | 226.723 | 2.144 | 243.333 | 1.849 | 244.367 | -6.52 | 861.775 | 45.429 | 0.27357
2019-03-03 08:30:00 | 6.692 | 224.393 | 4.297 | 229.382 | 3.359 | 242.333 | 3.158 | 244.833 | -6.533 | 861.808 | 44.096 | 0.25367
2019-03-03 08:45:00 | 6.991 | 222.9 | 5.023 | 228.829 | 4.272 | 238.7 | 3.748 | 239.833 | -5.592 | 861.8 | 41.408 | 0.43487
2019-03-03 09:00:00 | 6.305 | 221.133 | 5.432 | 223.382 | 4.566 | 231.933 | 4.086 | 230.467 | -4.411 | 861.333 | 38.315 | 1.8773
2019-03-03 09:15:00 | 5.548 | 220.5 | 4.953 | 227.039 | 4.094 | 237.3 | 3.646 | 234.867 | -3.208 | 861.317 | 35.936 | 2.2923
2019-03-03 09:30:00 | 5.275 | 221 | 4.657 | 228.51 | 4.071 | 242.467 | 3.516 | 244.167 | -1.966 | 874.717 | 33.979 | 1.6428
2019-03-03 09:45:00 | 4.923 | 223.587 | 4.968 | 225.882 | 4.133 | 240.9 | 3.686 | 242.933 | -0.405 | 889.567 | 31.301 | 1.5689
2019-03-03 10:00:00 | 4.202 | 221.647 | 4.237 | 223.64 | 3.766 | 242.133 | 3.306 | 243.867 | 1.412 | 889.583 | 28.501 | 2.2219
2019-03-03 10:15:00 | 3.215 | 227.953 | 2.926 | 231.794 | 2.958 | 243.967 | 2.442 | 255 | 2.949 | 889.6 | 25.717 | 0.56561
2019-03-03 10:30:00 | 2.567 | 241.827 | 2.457 | 246.236 | 2.383 | 256.867 | 2.268 | 252.017 | 4.666 | 889.733 | 23.109 | 0.22099
2019-03-03 10:45:00 | 2.144 | 236.64 | 1.99 | 244.045 | 2.039 | 246.633 | 2.382 | 247.55 | 5.719 | 890.083 | 21.184 | 0.28067
2019-03-03 11:00:00 | 0.987 | 263.1 | 0.503 | 251.433 | 0.732 | 270.8 | 1.559 | 249.567 | 6.306 | 889.767 | 20.352 | 0.29915
2019-03-03 11:15:00 | 1.332 | 293.847 | 0.427 | 288.095 | 0.706 | 293.467 | 1.601 | 286.3 | 6.512 | 889.367 | 19.581 | 0.27428
2019-03-03 11:30:00 | 1.424 | 316.28 | 1.122 | 313.042 | 0.996 | 313.933 | 1.526 | 303 | 6.413 | 889.667 | 19.221 | 0.27712
2019-03-03 11:45:00 | 1.439 | 245.553 | 1.243 | 259.968 | 1.103 | 254.25 | 1.382 | 248.083 | 7.306 | 889.467 | 18.755 | 0.27428
2019-03-03 12:00:00 | 1.78 | 304.213 | 1.581 | 295.453 | 1.795 | 307.767 | 2.32 | 302.833 | 8.153 | 889.667 | 17.648 | 0.27286
2019-03-03 12:15:00 | 1.488 | 215.067 | 0.833 | 314.455 | 0.816 | 298.6 | 1.513 | 305.533 | 7.306 | 889.767 | 18.003 | 0.27428
2019-03-03 12:30:00 | 2.28 | 320.027 | 1.893 | 327.969 | 1.93 | 329.133 | 2.092 | 319.8 | 7.672 | 889.567 | 17.517 | 0.27144
2019-03-03 12:45:00 | 1.759 | 285.587 | 1.096 | 275.096 | 0.814 | 279.417 | 1.536 | 267.067 | 8.31 | 889.733 | 17.256 | 0.26575
2019-03-03 13:00:00 | 0.806 | 63.759 | 1.011 | 249.922 | 1.635 | 228.6 | 2.273 | 326.167 | 8.13 | 889.633 | 17.095 | 0.27428
2019-03-03 13:15:00 | 2.587 | 209.09 | 2.678 | 265.59 | 2.812 | 186.6 | 3.074 | 256.4 | 8.611 | 889.3 | 16.769 | 0.22525
2019-03-03 13:30:00 | 2.222 | 209.07 | 2.328 | 188.18 | 2.368 | 95.87 | 2.46 | 166.634 | 8.357 | 889.567 | 16.964 | 0.21104
2019-03-03 13:45:00 | 1.41 | 269.9 | 1.528 | 318.998 | 1.54 | 309.767 | 1.983 | 293.3 | 9.816 | 889.267 | 15.932 | 0.24515
2019-03-03 14:00:00 | 2.84 | 320.387 | 2.687 | 340.367 | 2.664 | 310.7 | 2.936 | 322.533 | 9.245 | 889.6 | 15.901 | 0.11014
2019-03-03 14:15:00 | 1.547 | 96.817 | 1.69 | 96.105 | 1.56 | 95.933 | 1.576 | 41.733 | 9.568 | 889.567 | 16.365 | 0.10587
2019-03-03 14:30:00 | 3.517 | 226.28 | 3.707 | 246.215 | 4.004 | 194.9 | 3.916 | 215.333 | 9.116 | 889.467 | 14.945 | 0.45476
2019-03-03 14:45:00 | 2.136 | 291.173 | 2.497 | 290.88 | 2.822 | 297.067 | 3.1 | 301.233 | 9.066 | 889.333 | 14.996 | 0.76457
2019-03-03 15:00:00 | 2.482 | 283.427 | 2.505 | 288.365 | 2.509 | 301.667 | 2.758 | 303.4 | 9.474 | 889.133 | 14.656 | 1.0545
2019-03-03 15:15:00 | 4.208 | 285.747 | 4.148 | 290.893 | 4.164 | 297.867 | 4.207 | 298 | 9.245 | 889.533 | 14.595 | 2.2305
2019-03-03 15:30:00 | 3.744 | 18.398 | 3.807 | 84.364 | 3.969 | 49.8 | 3.744 | 36.367 | 9.52 | 889.4 | 15.077 | 1.6215
2019-03-03 15:45:00 | 3.332 | 236.44 | 3.681 | 266.457 | 3.574 | 232.434 | 3.852 | 217.667 | 9.735 | 889.633 | 15.799 | 1.9953
2019-03-03 16:00:00 | 4.416 | 208.9 | 4.557 | 288.106 | 4.603 | 234 | 4.555 | 268.8 | 9.818 | 889.767 | 15.02 | 2.9382
2019-03-03 16:15:00 | 3.294 | 153.367 | 3.491 | 218.696 | 3.63 | 218.667 | 3.66 | 284.4 | 9.699 | 889.533 | 15.571 | 3.1471
2019-03-03 16:30:00 | 4.191 | 331.96 | 4.071 | 327.736 | 4.422 | 330.967 | 4.667 | 329.533 | 10.018 | 889.467 | 15.491 | 3.9593
2019-03-03 16:45:00 | 4.503 | 315 | 4.489 | 312.54 | 4.556 | 317.233 | 4.722 | 318.9 | 9.699 | 889.533 | 15.832 | 3.7859
2019-03-03 17:00:00 | 3.052 | 251.761 | 3.268 | 306.772 | 3.378 | 306.333 | 3.583 | 315.633 | 9.978 | 889.367 | 16.176 | 3.4121
2019-03-03 17:15:00 | 4.364 | 328.04 | 4.436 | 322.872 | 4.638 | 330.533 | 4.653 | 329.133 | 10.122 | 889.3 | 16.179 | 3.199
2019-03-03 17:30:00 | 4.318 | 246.953 | 4.806 | 289.596 | 5.017 | 257.133 | 5.315 | 278.233 | 10.166 | 889.4 | 16.379 | 4.3274
2019-03-03 17:45:00 | 4.499 | 332.467 | 4.678 | 326.273 | 4.918 | 331.333 | 4.979 | 329.733 | 9.943 | 889.433 | 16.409 | 4.8724
2019-03-03 18:00:00 | 5.279 | 169.71 | 5.63 | 304.299 | 5.696 | 187.8 | 5.758 | 222.967 | 9.918 | 889.433 | 15.967 | 9.8904
2019-03-03 18:15:00 | 4.093 | 297.933 | 4.18 | 339.821 | 4.342 | 335.133 | 4.357 | 335.767 | 9.91 | 889.433 | 16.147 | 9.0079
2019-03-03 18:30:00 | 4.44 | 154.234 | 4.851 | 244.596 | 4.886 | 199.167 | 4.86 | 234.6 | 9.532 | 889.867 | 16.199 | 7.8681
2019-03-03 18:45:00 | 3.995 | 316.547 | 4.069 | 321.644 | 4.346 | 304.667 | 4.255 | 306.933 | 9.362 | 889.8 | 16.456 | 7.2975
2019-03-03 19:00:00 | 4.182 | 300.307 | 5.137 | 345.879 | 5.45 | 349.467 | 5.382 | 348.933 | 9.212 | 889.667 | 16.851 | 6.7866
2019-03-03 19:15:00 | 3.798 | 355.6 | 4.97 | 347.491 | 5.308 | 329.1 | 5.455 | 329.167 | 8.949 | 889.833 | 17.947 | 11.735
2019-03-03 19:30:00 | 3.695 | 345.867 | 4.84 | 343.017 | 5.132 | 346.933 | 5.178 | 346 | 7.923 | 889.2 | 19.949 | 13.3473
2019-03-03 19:45:00 | 2.741 | 346.32 | 3.913 | 341.839 | 4.705 | 345.433 | 4.899 | 343.933 | 7.642 | 889.367 | 20.417 | 7.5405
2019-03-03 20:00:00 | 3.26 | 337.8 | 4.436 | 331.572 | 4.81 | 335.633 | 5.063 | 334.9 | 7.022 | 889.533 | 20.765 | 8.8743
2019-03-03 20:15:00 | 2.591 | 300.24 | 4.342 | 315.405 | 5.57 | 323.867 | 5.952 | 322.933 | 6.187 | 889.617 | 21.416 | 9.425
2019-03-03 20:30:00 | 3.173 | 286.6 | 3.857 | 301.782 | 4.594 | 312.9 | 5.063 | 310.533 | 5.547 | 889.633 | 24.733 | 7.9122
2019-03-03 20:45:00 | 3.711 | 249.7 | 4.034 | 274.531 | 4.522 | 285.2 | 4.873 | 287.7 | 4.984 | 889.483 | 25.184 | 5.2738
2019-03-03 21:00:00 | 4.067 | 249.613 | 4.33 | 270.245 | 4.696 | 283.7 | 5.057 | 285.433 | 4.041 | 889.333 | 27.387 | 6.5443
2019-03-03 21:15:00 | 4.263 | 245.367 | 4.654 | 267.086 | 4.694 | 276.8 | 4.828 | 279 | 3.539 | 889.483 | 29.016 | 7.9122
2019-03-03 21:30:00 | 5.415 | 231.327 | 5.358 | 251.975 | 4.931 | 265.867 | 4.74 | 263.933 | 2.925 | 889.683 | 29.429 | 7.7594
2019-03-03 21:45:00 | 5.416 | 238.84 | 5.49 | 254.497 | 4.992 | 264.267 | 4.838 | 264.7 | 1.592 | 889.8 | 31.901 | 8.0465
2019-03-03 22:00:00 | 5.219 | 239.833 | 5.21 | 258.69 | 5.117 | 269.867 | 4.999 | 269.633 | 1.185 | 889.483 | 34.709 | 10.3501
2019-03-03 22:15:00 | 5.234 | 238.833 | 5.616 | 262.445 | 5.319 | 276.333 | 5.239 | 277.833 | 0.882 | 889.983 | 35.061 | 9.5962
2019-03-03 22:30:00 | 5.215 | 236.233 | 5.576 | 263.96 | 5.498 | 277.8 | 5.806 | 278.833 | 0.316 | 889.917 | 36.707 | 9.1834
2019-03-03 22:45:00 | 5.722 | 220.007 | 5.608 | 252.514 | 5.517 | 268.667 | 5.692 | 269 | 0.033 | 890 | 38.512 | 9.9714
2019-03-03 23:00:00 | 5.95 | 230.84 | 5.833 | 256.368 | 5.632 | 271.2 | 5.906 | 270.933 | -0.05 | 889.917 | 38.629 | 10.7004
2019-03-03 23:15:00 | 5.458 | 218.153 | 5.767 | 246.601 | 5.517 | 258 | 5.305 | 258.167 | -0.718 | 890.2 | 39.76 | 10.7566
2019-03-03 23:30:00 | 6.378 | 228.567 | 5.468 | 245.041 | 5.059 | 256.233 | 5.142 | 255.417 | -0.638 | 889.883 | 38.789 | 12.9089
2019-03-03 23:45:00 | 5.826 | 233.147 | 5.671 | 245.808 | 5.186 | 259.333 | 5.306 | 260.933 | -0.146 | 889.767 | 36.859 | 12.2459