## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-04 00:00:00 | 5.282 | 210.113 | 5.884 | 231.626 | 5.209 | 246.533 | 4.594 | 248.367 | -0.828 | 889.417 | 36.379 | 10.9697
2019-03-04 00:15:00 | 6.016 | 223.153 | 5.575 | 237.66 | 5.038 | 247.867 | 4.389 | 249.633 | -0.862 | 889.017 | 35.557 | 11.2511
2019-03-04 00:30:00 | 5.936 | 223.78 | 5.346 | 237.426 | 4.627 | 250.033 | 3.913 | 255.367 | -0.725 | 889.717 | 34.613 | 7.8248
2019-03-04 00:45:00 | 5.688 | 229 | 5.379 | 243.602 | 4.82 | 252.733 | 4.358 | 253.417 | -1.523 | 889.617 | 35.317 | 7.8972
2019-03-04 01:00:00 | 5.22 | 227.18 | 5.209 | 246.015 | 4.526 | 256.8 | 3.851 | 262.367 | -1.559 | 889.35 | 35.888 | 5.9311
2019-03-04 01:15:00 | 5.64 | 225.327 | 4.791 | 243.036 | 4.004 | 252.967 | 3.433 | 255.2 | -1.946 | 889.383 | 37.28 | 6.2722
2019-03-04 01:30:00 | 5.814 | 227.22 | 4.561 | 245.202 | 3.587 | 259.733 | 3.243 | 267.6 | -1.709 | 889.683 | 36.971 | 3.4789
2019-03-04 01:45:00 | 6.15 | 225.007 | 5.274 | 240.595 | 4.166 | 253.833 | 3.485 | 266 | -2.045 | 889.6 | 37.616 | 3.3333
2019-03-04 02:00:00 | 6.04 | 212.1 | 6.15 | 218.892 | 4.95 | 228.033 | 4.075 | 226.567 | -2.936 | 889.55 | 39.019 | 5.3165
2019-03-04 02:15:00 | 6.275 | 218.473 | 5.718 | 224.489 | 5.199 | 231.867 | 4.261 | 230.233 | -2.197 | 890.067 | 39.653 | 6.9515
2019-03-04 02:30:00 | 6.168 | 217.54 | 5.3 | 228.958 | 4.764 | 238.167 | 4.013 | 235.6 | -2.76 | 889.925 | 40.651 | 5.8473
2019-03-04 02:45:00 | 6.515 | 216.4 | 5.908 | 224.365 | 5.338 | 232.267 | 4.618 | 229.467 | -3.052 | 889.983 | 41.163 | 7.2684
2019-03-04 03:00:00 | 6.418 | 217.567 | 5.382 | 221.198 | 4.853 | 229.433 | 4.502 | 227.067 | -3.387 | 889.492 | 40.843 | 6.6516
2019-03-04 03:15:00 | 6.424 | 220.5 | 5.213 | 227.916 | 5.032 | 234.467 | 4.723 | 230.7 | -3.271 | 889.683 | 40.405 | 6.3361
2019-03-04 03:30:00 | 6.325 | 223.567 | 5.276 | 234.268 | 5.081 | 242.6 | 4.838 | 239.433 | -3.304 | 890.017 | 40.395 | 7.5
2019-03-04 03:45:00 | 6.158 | 217.033 | 5.636 | 238.247 | 5.289 | 247.933 | 5.061 | 246.5 | -3.672 | 889.508 | 40.907 | 8.0138
2019-03-04 04:00:00 | 6.361 | 216.86 | 6.07 | 228.559 | 5.61 | 237.6 | 5.229 | 236.167 | -4.085 | 889.392 | 41.611 | 7.9811
2019-03-04 04:15:00 | 6.972 | 217.653 | 5.872 | 226.795 | 5.382 | 234.567 | 5.042 | 231.267 | -4.082 | 889.775 | 41.355 | 7.1533
2019-03-04 04:30:00 | 6.116 | 210.353 | 7.477 | 212.674 | 6.462 | 220.4 | 5.597 | 218.5 | -3.95 | 889.725 | 41.461 | 10.4894
2019-03-04 04:45:00 | 7.011 | 219.567 | 6.809 | 217.483 | 5.907 | 223.033 | 5.223 | 223.233 | -3.505 | 889.8 | 40.485 | 7.6592
2019-03-04 05:00:00 | 6.927 | 215.067 | 6.482 | 218.39 | 5.61 | 222 | 4.721 | 221.233 | -3.505 | 889.417 | 40.299 | 7.4681
2019-03-04 05:15:00 | 6.872 | 217.133 | 5.649 | 220.052 | 5.049 | 225.333 | 4.499 | 225.7 | -3.739 | 889.433 | 40.053 | 6.2999
2019-03-04 05:30:00 | 6.803 | 213.433 | 5.743 | 217.474 | 4.558 | 224.667 | 4.055 | 226.067 | -4.122 | 889.283 | 40.88 | 4.2783
2019-03-04 05:45:00 | 7.152 | 216.267 | 5.748 | 218.641 | 4.679 | 223.467 | 3.874 | 226 | -3.773 | 889.75 | 40.965 | 3.1734
2019-03-04 06:00:00 | 7.092 | 217.813 | 5.477 | 221.438 | 4.238 | 229.533 | 3.414 | 227.067 | -4.311 | 889.792 | 41.216 | 3.5258
2019-03-04 06:15:00 | 7.388 | 218.133 | 6.616 | 220.063 | 4.81 | 230.567 | 3.686 | 235.7 | -4.288 | 889.842 | 41.301 | 4.5888
2019-03-04 06:30:00 | 6.813 | 218.893 | 5.158 | 217.249 | 4.592 | 226.433 | 3.865 | 224.767 | -4.351 | 889.417 | 40.96 | 3.5763
2019-03-04 06:45:00 | 7.186 | 215.54 | 6.698 | 208.608 | 5.871 | 216.8 | 4.964 | 214.233 | -4.076 | 890.192 | 42.112 | 2.838
2019-03-04 07:00:00 | 6.625 | 217.993 | 5.581 | 211.86 | 4.749 | 218.633 | 4.183 | 216.9 | -4.285 | 889.925 | 42.976 | 3.7944
2019-03-04 07:15:00 | 6.885 | 220.233 | 6.143 | 219.854 | 4.969 | 226.267 | 3.771 | 228.1 | -4.404 | 889.875 | 42.987 | 3.7966
2019-03-04 07:30:00 | 7.279 | 217.007 | 6.755 | 217.002 | 5.629 | 223.833 | 4.674 | 220.9 | -4.226 | 890.108 | 42.912 | 4.9114
2019-03-04 07:45:00 | 7.252 | 217.5 | 7.076 | 214.22 | 6.159 | 220 | 5.217 | 219.167 | -4.206 | 890.35 | 42.997 | 6.7177
2019-03-04 08:00:00 | 7.574 | 215.473 | 6.866 | 212.332 | 6.426 | 215.567 | 5.735 | 213.3 | -4.523 | 889.792 | 42.987 | 9.6317
2019-03-04 08:15:00 | 7.125 | 217.633 | 6.671 | 214.822 | 6.09 | 221.1 | 5.39 | 218.9 | -3.907 | 890.208 | 41.845 | 9.1464
2019-03-04 08:30:00 | 5.668 | 213.233 | 6.467 | 207.953 | 5.88 | 212.5 | 5.618 | 212.533 | -3.488 | 889.883 | 41.312 | 9.9508
2019-03-04 08:45:00 | 7.224 | 215.867 | 7.255 | 210.271 | 6.562 | 213.8 | 5.968 | 212.167 | -3.171 | 890.367 | 39.888 | 7.5441
2019-03-04 09:00:00 | 6.414 | 220.273 | 7.057 | 214.081 | 6.771 | 219.867 | 6.297 | 218.1 | -1.68 | 889.783 | 37.115 | 11.5588
2019-03-04 09:15:00 | 6.546 | 215.6 | 7.373 | 209.101 | 6.684 | 210.8 | 6.421 | 209.6 | -0.618 | 890.133 | 34.635 | 15.5778
2019-03-04 09:30:00 | 5.506 | 216.22 | 6.609 | 205.412 | 6.27 | 209.633 | 5.877 | 207.733 | 0.848 | 890.167 | 31.899 | 12.7433
2019-03-04 09:45:00 | 5.146 | 215.427 | 5.754 | 207.785 | 5.614 | 210.1 | 5.195 | 206.7 | 2.349 | 890.083 | 29.211 | 8.6597
2019-03-04 10:00:00 | 4.678 | 216.493 | 4.828 | 211.838 | 5.078 | 213.333 | 4.563 | 209.1 | 4.02 | 889.95 | 26.32 | 6.0384
2019-03-04 10:15:00 | 4.581 | 212.133 | 4.724 | 209.184 | 4.727 | 211.8 | 4.914 | 205.9 | 5.019 | 889.883 | 24.192 | 4.4673
2019-03-04 10:30:00 | 4.351 | 213.327 | 4.306 | 207.607 | 4.329 | 210.733 | 4.493 | 205.067 | 5.742 | 889.817 | 22.827 | 2.9382
2019-03-04 10:45:00 | 3.825 | 205.567 | 3.675 | 201.44 | 3.725 | 203.967 | 3.796 | 200.633 | 6.492 | 889.517 | 21.723 | 0.48603
2019-03-04 11:00:00 | 2.871 | 212.927 | 2.742 | 208.319 | 2.87 | 210.767 | 3.132 | 201.6 | 7.392 | 889.117 | 20.939 | 0.19754
2019-03-04 11:15:00 | 2.16 | 187.68 | 1.963 | 185.854 | 1.943 | 189.067 | 2.422 | 188.6 | 7.866 | 889.533 | 19.821 | 0.27002
2019-03-04 11:30:00 | 2.45 | 181.627 | 2.123 | 174.416 | 2.106 | 181.433 | 2.586 | 175.6 | 8.477 | 889.033 | 18.616 | 0.2757
2019-03-04 11:45:00 | 2.229 | 158.8 | 2.091 | 166.192 | 1.929 | 170.3 | 2.37 | 164.333 | 7.789 | 889.133 | 18.36 | 0.26575
2019-03-04 12:00:00 | 1.498 | 165.993 | 1.346 | 152.251 | 1.426 | 145.767 | 2.157 | 144.133 | 9.174 | 889.267 | 17.448 | 0.23164
2019-03-04 12:15:00 | 2.432 | 137.42 | 2.574 | 134.037 | 2.322 | 141.733 | 2.864 | 138.833 | 8.558 | 890 | 16.992 | 0.15348
2019-03-04 12:30:00 | 2.495 | 93.703 | 2.535 | 94.31 | 2.88 | 107.3 | 2.96 | 103.333 | 9.37 | 889.5 | 16.875 | 0.10161
2019-03-04 12:45:00 | 1.885 | 107.51 | 1.643 | 108.963 | 2.003 | 114.267 | 2.64 | 108.6 | 9.287 | 889.467 | 17.12 | 0.20749
2019-03-04 13:00:00 | 2.323 | 131.147 | 2.461 | 125.574 | 2.633 | 131.7 | 2.889 | 126.233 | 9.316 | 889.633 | 16.76 | 0.901
2019-03-04 13:15:00 | 3.498 | 110.92 | 3.491 | 101.628 | 3.465 | 103.2 | 4.019 | 90.567 | 9.299 | 889.267 | 16.693 | 2.72
2019-03-04 13:30:00 | 4.02 | 66.3 | 4.086 | 62.352 | 4.114 | 67.2 | 4.778 | 68.133 | 9.666 | 889.5 | 16.541 | 3.9316
2019-03-04 13:45:00 | 4.296 | 89.93 | 4.415 | 81.801 | 4.539 | 85.733 | 4.863 | 82.667 | 9.856 | 889.733 | 17.059 | 6.3432
2019-03-04 14:00:00 | 4.66 | 62.967 | 5.187 | 62.027 | 5.51 | 66.367 | 5.644 | 62.867 | 9.851 | 889.367 | 17.891 | 12.4498
2019-03-04 14:15:00 | 6.188 | 64.35 | 5.928 | 57.472 | 5.901 | 61.767 | 6.306 | 59.733 | 9.441 | 889.5 | 19.184 | 17.2732
2019-03-04 14:30:00 | 4.589 | 88.687 | 4.434 | 84.543 | 4.686 | 87.7 | 5.056 | 81.3 | 9.295 | 889.467 | 18.672 | 16.9378
2019-03-04 14:45:00 | 5.721 | 73.767 | 5.527 | 68.728 | 5.642 | 75.1 | 5.857 | 72.5 | 9.078 | 889.233 | 18.528 | 17.8459
2019-03-04 15:00:00 | 4.672 | 83.303 | 4.941 | 77.232 | 5.276 | 79.867 | 5.626 | 75.8 | 8.899 | 889.133 | 18.653 | 16.5541
2019-03-04 15:15:00 | 5.686 | 83.26 | 5.605 | 79.028 | 5.746 | 85.767 | 5.903 | 84.067 | 8.891 | 889.033 | 18.509 | 16.6386
2019-03-04 15:30:00 | 5.921 | 77.84 | 5.913 | 73.376 | 5.771 | 82.167 | 5.917 | 81.9 | 9.349 | 889.533 | 18.813 | 17.6931
2019-03-04 15:45:00 | 4.54 | 103.753 | 4.794 | 96.508 | 4.73 | 100.7 | 5.041 | 92.967 | 9.162 | 889.567 | 18.275 | 16.4617
2019-03-04 16:00:00 | 4.359 | 79.68 | 4.568 | 78.224 | 4.818 | 83.533 | 4.758 | 80.833 | 9.316 | 889.633 | 18 | 13.5235
2019-03-04 16:15:00 | 4.968 | 86.007 | 4.966 | 82.631 | 5.126 | 85.6 | 5.485 | 81.1 | 9.337 | 889.567 | 17.891 | 13.5306
2019-03-04 16:30:00 | 5.069 | 87.233 | 5.239 | 82.713 | 5.333 | 86.633 | 5.471 | 82.233 | 9.733 | 889.733 | 17.424 | 13.4851
2019-03-04 16:45:00 | 5.63 | 78.293 | 5.458 | 71.882 | 5.664 | 78.6 | 5.812 | 75.4 | 9.649 | 889.833 | 17.547 | 14.3051
2019-03-04 17:00:00 | 6.05 | 77.347 | 6.073 | 72.784 | 5.923 | 78.133 | 6.161 | 72.3 | 9.366 | 889.467 | 16.584 | 18.8485
2019-03-04 17:15:00 | 6.421 | 70.063 | 6.578 | 63.465 | 6.784 | 68.2 | 6.89 | 65.767 | 9.695 | 889.5 | 16.307 | 21.8606
2019-03-04 17:30:00 | 5.093 | 80.273 | 5.052 | 73.69 | 5.221 | 77.6 | 5.353 | 73.567 | 8.933 | 889.2 | 16.861 | 17.6235
2019-03-04 17:45:00 | 6.284 | 77.253 | 6.204 | 74.063 | 6.226 | 81.3 | 6.221 | 75.767 | 8.904 | 889.6 | 16.643 | 13.7914
2019-03-04 18:00:00 | 4.872 | 84.393 | 4.644 | 81.392 | 4.718 | 84.933 | 4.883 | 80.533 | 8.878 | 889.8 | 17.315 | 12.722
2019-03-04 18:15:00 | 4.783 | 89.593 | 4.568 | 84.874 | 4.453 | 86.567 | 4.667 | 82.5 | 8.745 | 889.433 | 17.269 | 10.392
2019-03-04 18:30:00 | 4.106 | 89.287 | 4.019 | 80.316 | 3.764 | 90.4 | 3.808 | 85.8 | 8.804 | 889.667 | 17.541 | 7.9853
2019-03-04 18:45:00 | 3.967 | 84.787 | 4.093 | 81.24 | 4.095 | 88.6 | 4.032 | 82.533 | 8.887 | 889.567 | 17.776 | 7.1753
2019-03-04 19:00:00 | 4.538 | 86.18 | 4.842 | 79.059 | 4.882 | 84.433 | 5.069 | 79.967 | 8.411 | 889.367 | 18.643 | 9.997
2019-03-04 19:15:00 | 4.706 | 77.617 | 5.178 | 74.208 | 5.431 | 77.933 | 5.613 | 73.733 | 8.073 | 889.333 | 20.005 | 14.1047
2019-03-04 19:30:00 | 4.414 | 72.7 | 4.959 | 67.617 | 5.382 | 73.833 | 5.604 | 70.667 | 7.389 | 889.717 | 21.067 | 12.3049
2019-03-04 19:45:00 | 3.9 | 87.423 | 4.578 | 85.326 | 3.515 | 94.8 | 3.34 | 91.633 | 6.98 | 890.067 | 22.133 | 17.5062
2019-03-04 20:00:00 | 4.12 | 104.207 | 4.635 | 100.81 | 4.03 | 102.067 | 4.03 | 97.6 | 6.068 | 889.9 | 22.757 | 20.853
2019-03-04 20:15:00 | 4.559 | 101.097 | 4.583 | 95.384 | 3.54 | 99.033 | 3.607 | 94.433 | 6.306 | 889.717 | 22.896 | 16.4951
2019-03-04 20:30:00 | 3.582 | 107.92 | 3.568 | 97.807 | 2.834 | 102.167 | 2.879 | 97.1 | 5.502 | 889.667 | 23.829 | 11.4799
2019-03-04 20:45:00 | 3.91 | 108.797 | 3.763 | 100.628 | 3.106 | 104.067 | 3.336 | 100.5 | 5.578 | 889.633 | 23.968 | 8.2163
2019-03-04 21:00:00 | 3.476 | 118.92 | 3.334 | 103.419 | 2.844 | 106.033 | 2.986 | 100.667 | 5.221 | 889.967 | 24.341 | 6.9366
2019-03-04 21:15:00 | 2.313 | 126.143 | 2.508 | 102.876 | 1.817 | 98.567 | 2.004 | 86.9 | 4.624 | 889.383 | 24.955 | 3.5386
2019-03-04 21:30:00 | 1.259 | 127.763 | 2.016 | 94.273 | 2.041 | 91.3 | 2.234 | 85.033 | 4.165 | 889.833 | 25.888 | 2.3704
2019-03-04 21:45:00 | 1.06 | 121.4 | 2.818 | 87.547 | 3.783 | 84.233 | 3.832 | 82.133 | 3.64 | 889.567 | 27.019 | 5.9204
2019-03-04 22:00:00 | 0.093 | 113.033 | 1.534 | 78.834 | 2.804 | 74.167 | 3.314 | 72.733 | 3.288 | 889.533 | 27.515 | 3.9081
2019-03-04 22:15:00 | 0.203 | 109.163 | 1.348 | 72.752 | 2.651 | 81.233 | 3.227 | 79.333 | 2.74 | 890.233 | 29.045 | 2.109
2019-03-04 22:30:00 | 1.803 | 92.817 | 2.259 | 88.924 | 1.858 | 94.933 | 2.06 | 90.2 | 2.609 | 889.817 | 29.835 | 2.666
2019-03-04 22:45:00 | 1.903 | 147.6 | 3.239 | 105.444 | 2.653 | 101.367 | 2.315 | 97.3 | 2.818 | 889.983 | 28.832 | 5.784
2019-03-04 23:00:00 | 1.906 | 134.407 | 3.064 | 102.402 | 2.651 | 102.267 | 3.292 | 99.567 | 2.098 | 889.85 | 29.531 | 6.9636
2019-03-04 23:15:00 | 1.059 | 137.22 | 2.887 | 102.154 | 2.454 | 99.4 | 2.569 | 95.9 | 1.72 | 890.067 | 30.053 | 9.6097
2019-03-04 23:30:00 | 1.972 | 185.533 | 1.93 | 130.964 | 3.307 | 114.333 | 4.126 | 105.367 | 1.839 | 889.75 | 30.597 | 10.2599
2019-03-04 23:45:00 | 1.896 | 169.42 | 2.69 | 123.025 | 3.456 | 111.1 | 3.688 | 102.933 | 1.879 | 889.783 | 30.192 | 7.4745