## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-05 00:00:00 | 3.204 | 193.407 | 2.537 | 152.122 | 2.836 | 134.2 | 3.645 | 119.333 | 1.526 | 889.85 | 30.011 | 3.1698
2019-03-05 00:15:00 | 2.584 | 207.807 | 1.084 | 159.563 | 2.116 | 128.3 | 2.965 | 108.4 | 0.216 | 889.85 | 31.52 | 1.7395
2019-03-05 00:30:00 | 0.296 | 230.527 | 0.423 | 102.406 | 2.099 | 85.058 | 3.036 | 82.8 | 0.948 | 889.817 | 32.32 | 0.72833
2019-03-05 00:45:00 | 1.638 | 194.687 | 0.364 | 139.262 | 1.799 | 100.6 | 2.915 | 89.1 | 0.11 | 889.75 | 33.253 | 1.2982
2019-03-05 01:00:00 | 2.077 | 210.34 | 0.16 | 127.995 | 1.899 | 109.533 | 2.127 | 93.2 | -0.479 | 889.867 | 32.731 | 1.5675
2019-03-05 01:15:00 | 3.858 | 204.24 | 2.074 | 180.824 | 1.67 | 161.3 | 2.277 | 130.1 | -0.05 | 889.683 | 33.584 | 0.68143
2019-03-05 01:30:00 | 2.162 | 192.747 | 1.189 | 159.017 | 1.732 | 138.867 | 2.534 | 135.333 | 1.429 | 889.717 | 32.016 | 0.28991
2019-03-05 01:45:00 | 2.472 | 222.96 | 0 | 151.541 | 0 | 148.967 | 0.561 | 125 | 0.715 | 889.8 | 32.736 | 0.29133
2019-03-05 02:00:00 | 3.974 | 234.573 | 1.544 | 240.244 | 0 | 183 | 0 | 125.067 | 0.017 | 889.317 | 35.147 | 0.28565
2019-03-05 02:15:00 | 5.731 | 231.647 | 3.298 | 241.961 | 1.36 | 260 | 0.121 | 234.383 | -2.185 | 889.283 | 38.248 | 0.27144
2019-03-05 02:30:00 | 4.99 | 227.76 | 2.632 | 240.875 | 1.902 | 256.7 | 1.548 | 269.233 | -2.184 | 889.975 | 41.685 | 0.28423
2019-03-05 02:45:00 | 5.357 | 220.08 | 2.555 | 221.308 | 1.077 | 233.567 | 0.598 | 251 | -1.352 | 889.783 | 42.048 | 0.29844
2019-03-05 03:00:00 | 5.491 | 220.56 | 1.757 | 218.416 | 0.076 | 230.067 | 0.101 | 251.033 | -1.412 | 889.592 | 41.285 | 0.30128
2019-03-05 03:15:00 | 4.274 | 213.973 | 1.534 | 202.606 | 0.06 | 213.933 | 0.316 | 251 | -1.372 | 889.9 | 40.709 | 0.28849
2019-03-05 03:30:00 | 5.58 | 217.953 | 2.87 | 208.951 | 1.387 | 207.1 | 0.52 | 251.033 | -2.484 | 889.7 | 42.112 | 0.30128
2019-03-05 03:45:00 | 5.088 | 221.087 | 2.039 | 213.348 | 0.107 | 207.067 | 0 | 251.067 | -1.463 | 889.475 | 40.603 | 0.3027
2019-03-05 04:00:00 | 5.818 | 216.167 | 2.364 | 215.854 | 0.727 | 216 | 0.369 | 251.1 | -1.155 | 889.817 | 38.757 | 0.29418
2019-03-05 04:15:00 | 4.755 | 213.52 | 2.552 | 208.239 | 1.361 | 216 | 1.467 | 250.9 | -0.659 | 889.567 | 36.229 | 0.30412
2019-03-05 04:30:00 | 4.916 | 216.647 | 2.302 | 204.699 | 1.481 | 209.333 | 1.208 | 250.867 | 0.382 | 889.75 | 33.157 | 0.30128
2019-03-05 04:45:00 | 5.979 | 223.733 | 3.716 | 222.338 | 2.339 | 232.633 | 1.516 | 251 | -1.996 | 890.1 | 36.24 | 0.31123
2019-03-05 05:00:00 | 5.516 | 224.087 | 4.382 | 216.989 | 3.023 | 224.967 | 2.103 | 226.467 | -3.25 | 889.8 | 40.485 | 0.30554
2019-03-05 05:15:00 | 6.073 | 227.467 | 4.538 | 229.955 | 3.601 | 237.067 | 3.158 | 239.367 | -3.488 | 890 | 42.923 | 0.3027
2019-03-05 05:30:00 | 4.92 | 227.22 | 2.066 | 235.816 | 0 | 258.333 | 0 | 227.433 | -1.929 | 889.958 | 40.464 | 0.27925
2019-03-05 05:45:00 | 5.731 | 224.567 | 2.942 | 224.661 | 1.27 | 240.567 | 1.152 | 248.017 | -3.237 | 889.867 | 43.445 | 0.29702
2019-03-05 06:00:00 | 5.498 | 225.8 | 2.109 | 225.474 | 0 | 237.033 | 0.608 | 248.1 | -3.287 | 889.933 | 43.563 | 0.30981
2019-03-05 06:15:00 | 4.85 | 228.833 | 1.407 | 229.226 | 0 | 237 | 0.054 | 248 | -3.505 | 889.967 | 44.235 | 0.3027
2019-03-05 06:30:00 | 4.625 | 227.907 | 0.409 | 229.642 | 0.484 | 255.033 | 0.685 | 248.067 | -1.212 | 889.683 | 39.643 | 0.29702
2019-03-05 06:45:00 | 4.493 | 227.013 | 1.823 | 240.044 | 1.316 | 288.333 | 1.999 | 290.933 | -2.821 | 890.058 | 41.488 | 0.30981
2019-03-05 07:00:00 | 5.103 | 235.627 | 3.022 | 272.939 | 2.754 | 298 | 2.8 | 310.5 | -2.842 | 889.55 | 40.853 | 0.30128
2019-03-05 07:15:00 | 4.187 | 244.04 | 3.068 | 262.805 | 2.747 | 280.733 | 2.575 | 295.767 | -2.387 | 889.625 | 42.291 | 0.28352
2019-03-05 07:30:00 | 5.406 | 235.14 | 2.778 | 264.462 | 2.292 | 284 | 2.233 | 304.7 | -2.733 | 889.433 | 39.717 | 0.29346
2019-03-05 07:45:00 | 4.798 | 236.667 | 2.615 | 262.891 | 2.078 | 284.267 | 2.227 | 298.933 | -2.095 | 889.417 | 37.525 | 0.30839
2019-03-05 08:00:00 | 5.467 | 238.667 | 3.311 | 252.479 | 1.936 | 266.267 | 1.574 | 313.5 | -3.421 | 889.9 | 37.179 | 0.31833
2019-03-05 08:15:00 | 5.836 | 238.9 | 3.196 | 261.025 | 1.97 | 292 | 2.339 | 306.167 | -4.952 | 889.617 | 39.699 | 0.31052
2019-03-05 08:30:00 | 5.301 | 241.633 | 5.131 | 275.056 | 4.31 | 294.933 | 3.601 | 300.3 | -4.189 | 889.5 | 38.427 | 0.49811
2019-03-05 08:45:00 | 5.694 | 238.733 | 4.722 | 277.98 | 4.454 | 293.333 | 4.244 | 298.5 | -5.002 | 889.967 | 38.672 | 1.2719
2019-03-05 09:00:00 | 5.128 | 251.533 | 4.615 | 280.97 | 4.449 | 295.867 | 4.284 | 298.333 | -3.371 | 890.05 | 36.488 | 1.969
2019-03-05 09:15:00 | 3.908 | 244.513 | 4.29 | 284.573 | 4.05 | 308.067 | 3.831 | 314.367 | -2.246 | 889.833 | 34.221 | 2.1097
2019-03-05 09:30:00 | 4.186 | 243.487 | 4.318 | 264.863 | 3.728 | 293 | 3.718 | 313.033 | -1.025 | 889.933 | 32.592 | 1.3479
2019-03-05 09:45:00 | 3.025 | 252.2 | 3.828 | 266.068 | 3.494 | 286.467 | 3.533 | 298.567 | 1.082 | 889.917 | 30.544 | 0.52014
2019-03-05 10:00:00 | 3.031 | 266.373 | 3.077 | 269.523 | 3.228 | 284.4 | 3.375 | 298.167 | 2.415 | 889.467 | 27.544 | 0.2558
2019-03-05 10:15:00 | 2.447 | 288.453 | 2.182 | 284.29 | 2.131 | 297.767 | 2.364 | 303.667 | 2.016 | 889.717 | 27.725 | 0.26717
2019-03-05 10:30:00 | 1.22 | 61.24 | 1.364 | 186.917 | 1.255 | 269.3 | 1.676 | 322.833 | 2.897 | 889.783 | 27.061 | 0.31265
2019-03-05 10:45:00 | 1.349 | 168.9 | 0.98 | 125.756 | 1.094 | 78.967 | 1.706 | 10.601 | 3.221 | 890.3 | 26.44 | 0.28991
2019-03-05 11:00:00 | 2.073 | 29.174 | 1.781 | 38.087 | 1.69 | 43.867 | 1.893 | 41.9 | 2.997 | 889.483 | 26.448 | 0.30412
2019-03-05 11:15:00 | 1.663 | 115.413 | 1.443 | 211.978 | 1.466 | 147.34 | 1.942 | 115.268 | 3.725 | 889.6 | 25.963 | 0.29133
2019-03-05 11:30:00 | 1.87 | 33.449 | 1.859 | 31.518 | 1.895 | 40.2 | 2.17 | 40.867 | 3.883 | 889.283 | 25.555 | 0.29418
2019-03-05 11:45:00 | 0.283 | 176.072 | 0 | 0 | 0.04 | 0.133 | 0.802 | 12.9 | 4.524 | 889.65 | 24.405 | 0.27854
2019-03-05 12:00:00 | 0.598 | 230.036 | 0.08 | 195.06 | 0.23 | 81.671 | 0.312 | 14.133 | 5.154 | 889.683 | 23.477 | 0.27286
2019-03-05 12:15:00 | 0.28 | 93.37 | 0.053 | 64.081 | 0 | 137.833 | 0.645 | 163.2 | 6.264 | 889.767 | 22.181 | 0.27286
2019-03-05 12:30:00 | 1.511 | 81.09 | 0.423 | 77.872 | 0.106 | 80.233 | 0.79 | 113.8 | 5.982 | 889.9 | 21.291 | 0.2558
2019-03-05 12:45:00 | 1.206 | 196.902 | 0.603 | 124.812 | 0.58 | 239.404 | 1.302 | 120.819 | 6.618 | 890.067 | 20.612 | 0.25296
2019-03-05 13:00:00 | 2.167 | 74.49 | 2.235 | 60.792 | 1.99 | 68.8 | 2.314 | 52.633 | 6.41 | 889.4 | 20.517 | 0.2558
2019-03-05 13:15:00 | 1.953 | 144.132 | 1.394 | 114.168 | 1.343 | 62.488 | 1.998 | 83.3 | 6.989 | 889.5 | 19.863 | 0.26291
2019-03-05 13:30:00 | 2.922 | 29.763 | 2.55 | 31.495 | 2.695 | 43.2 | 2.858 | 43.367 | 7.549 | 889.467 | 19.371 | 0.24444
2019-03-05 13:45:00 | 2.75 | 41.883 | 2.524 | 30.172 | 2.82 | 36.267 | 2.802 | 43.6 | 6.872 | 889.633 | 19.693 | 0.15419
2019-03-05 14:00:00 | 2.979 | 80.761 | 2.722 | 68.832 | 2.725 | 60.6 | 2.855 | 61.4 | 7.773 | 889.367 | 19.992 | 0.75533
2019-03-05 14:15:00 | 2.61 | 91.153 | 2.953 | 83.418 | 3.169 | 86.033 | 3.614 | 78.833 | 8.07 | 889.433 | 19.016 | 1.6009
2019-03-05 14:30:00 | 1.845 | 92.614 | 1.504 | 91.86 | 2.326 | 83 | 2.814 | 77.233 | 7.773 | 889.367 | 18.288 | 2.3186
2019-03-05 14:45:00 | 3.729 | 91.927 | 3.824 | 88.363 | 4.026 | 96.233 | 4.145 | 89.8 | 8.07 | 889.6 | 18.168 | 3.0874
2019-03-05 15:00:00 | 3.021 | 113.417 | 2.652 | 110.418 | 3.018 | 105.633 | 3.524 | 103.2 | 8.391 | 889.633 | 17.909 | 5.2468
2019-03-05 15:15:00 | 5.711 | 87.427 | 6.116 | 83.428 | 6.347 | 85.333 | 6.527 | 82.833 | 8.578 | 889.6 | 17.941 | 10.8624
2019-03-05 15:30:00 | 4.913 | 77.173 | 5.363 | 74.415 | 5.53 | 81.867 | 5.683 | 76.467 | 9.183 | 889.067 | 17.773 | 11.2468
2019-03-05 15:45:00 | 5.239 | 109.393 | 5.405 | 99.841 | 5.426 | 103.2 | 5.56 | 99.467 | 9.378 | 889.467 | 17.664 | 13.3075
2019-03-05 16:00:00 | 4.54 | 88.97 | 4.615 | 84.32 | 4.498 | 86.933 | 4.484 | 81.8 | 9.63 | 889.7 | 17.832 | 14.2128
2019-03-05 16:15:00 | 5.468 | 73.65 | 5.533 | 65.918 | 5.64 | 68.967 | 5.823 | 66.9 | 9.599 | 889.133 | 18.141 | 15.2871
2019-03-05 16:30:00 | 4.549 | 73.24 | 4.697 | 72.901 | 4.943 | 81.867 | 5.046 | 80.9 | 10.024 | 890 | 17.829 | 15.7
2019-03-05 16:45:00 | 6.195 | 100.74 | 6.054 | 93.403 | 5.765 | 93.667 | 5.928 | 89.9 | 9.891 | 889.433 | 18.069 | 15.5031
2019-03-05 17:00:00 | 6.836 | 92.45 | 6.618 | 87.209 | 6.43 | 91.033 | 6.623 | 87 | 10.247 | 889.367 | 18.851 | 20.7713
2019-03-05 17:15:00 | 7.16 | 75.933 | 7.618 | 69.091 | 7.83 | 73.833 | 7.967 | 69.8 | 9.816 | 889.4 | 19.451 | 25.407
2019-03-05 17:30:00 | 5.992 | 100.243 | 5.697 | 94.582 | 5.115 | 99.667 | 5.158 | 91.767 | 9.685 | 889.3 | 18.837 | 25.2876
2019-03-05 17:45:00 | 6.467 | 79.22 | 6.231 | 75.096 | 6.046 | 78.233 | 6.158 | 75.033 | 9.449 | 889.667 | 20.373 | 24.5238
2019-03-05 18:00:00 | 5.374 | 87.533 | 5.351 | 80.65 | 5.467 | 87 | 5.762 | 82.933 | 9.237 | 889.583 | 20.48 | 23.9326
2019-03-05 18:15:00 | 5.883 | 82.267 | 6.246 | 75.465 | 6.367 | 82.9 | 6.481 | 77.833 | 9.541 | 889.883 | 21.664 | 23.3585
2019-03-05 18:30:00 | 5.8 | 76.01 | 5.82 | 69.474 | 5.914 | 75.967 | 6.125 | 72.1 | 9.312 | 889.783 | 21.595 | 21.582
2019-03-05 18:45:00 | 4.965 | 77.307 | 5.194 | 73.48 | 5.481 | 78.667 | 5.919 | 74.2 | 9.116 | 889.617 | 21.637 | 21.1031
2019-03-05 19:00:00 | 4.542 | 73.97 | 4.919 | 70.257 | 5.058 | 75.633 | 5.15 | 73.933 | 8.529 | 889.533 | 22.8 | 18.3298
2019-03-05 19:15:00 | 5.066 | 78.4 | 5.531 | 72.815 | 5.879 | 78.167 | 6.062 | 74.533 | 8.274 | 889.683 | 23.605 | 18.9799
2019-03-05 19:30:00 | 3.886 | 76.3 | 4.442 | 71.59 | 4.618 | 78.033 | 4.96 | 73.6 | 7.339 | 889.433 | 24.789 | 16.0332
2019-03-05 19:45:00 | 3.514 | 80.567 | 4.094 | 74.769 | 4.446 | 82.467 | 5.006 | 79.5 | 7.072 | 890.2 | 25.259 | 10.736
2019-03-05 20:00:00 | 3.438 | 80.593 | 4.16 | 76.614 | 4.379 | 81.667 | 4.664 | 79.1 | 6.933 | 890.05 | 25.552 | 7.4851
2019-03-05 20:15:00 | 2.806 | 84.357 | 3.366 | 78.04 | 3.516 | 85.033 | 3.388 | 82.6 | 6.93 | 889.533 | 25.813 | 5.2589
2019-03-05 20:30:00 | 2.223 | 85.283 | 2.883 | 76.532 | 2.553 | 84.967 | 2.503 | 82.767 | 6.375 | 889.767 | 26.437 | 3.2146
2019-03-05 20:45:00 | 0.74 | 90.117 | 1.623 | 80.343 | 1.533 | 88.6 | 1.596 | 96.067 | 5.813 | 889.683 | 27.323 | 1.3046
2019-03-05 21:00:00 | 0.349 | 220.96 | 0 | 85.894 | 0.725 | 100.367 | 1.803 | 102.1 | 4.533 | 889.833 | 28.853 | 0.26007
2019-03-05 21:15:00 | 1.116 | 221.1 | 0 | 89.232 | 0.92 | 104 | 1.747 | 103 | 4.388 | 889.25 | 30.075 | 0.17338
2019-03-05 21:30:00 | 1.891 | 252.08 | 0 | 89.237 | 0 | 104 | 1.401 | 103.033 | 3.995 | 889.3 | 30.832 | 0.30412
2019-03-05 21:45:00 | 2.056 | 258.053 | 0 | 89.242 | 0 | 104.008 | 1.31 | 102.733 | 3.886 | 889.7 | 30.96 | 0.23022
2019-03-05 22:00:00 | 2.694 | 256.28 | 0 | 89.231 | 0 | 104.033 | 1.156 | 103 | 3.942 | 890 | 30.923 | 0.22596
2019-03-05 22:15:00 | 3.19 | 247.6 | 0 | 89.422 | 0 | 103.933 | 1.344 | 104 | 3.421 | 889.7 | 30.912 | 0.24728
2019-03-05 22:30:00 | 3.846 | 241.133 | 0.676 | 226.484 | 0 | 124.467 | 1.854 | 130.6 | 3.237 | 889.35 | 30.784 | 0.2558
2019-03-05 22:45:00 | 4.03 | 245.14 | 1.282 | 251.65 | 0 | 131 | 0.581 | 123 | 3.197 | 889.533 | 30.928 | 0.24728
2019-03-05 23:00:00 | 4.387 | 242.273 | 1.749 | 265.746 | 0.03 | 236.067 | 0 | 104.117 | 2.495 | 889.683 | 30.813 | 0.26007
2019-03-05 23:15:00 | 6.102 | 231.353 | 3.526 | 249.526 | 2.172 | 262.133 | 1.248 | 296.833 | -0.822 | 889.733 | 33.84 | 0.25865
2019-03-05 23:30:00 | 5.853 | 228.24 | 3.516 | 252.719 | 1.79 | 259 | 0.977 | 276.967 | -1.272 | 889.7 | 35.379 | 0.26717
2019-03-05 23:45:00 | 6.161 | 226.48 | 4.144 | 246.342 | 2.623 | 259.133 | 1.482 | 254.65 | -1.63 | 889.517 | 36.117 | 0.27144