## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-06 00:00:00 | 6.17 | 224.14 | 5.474 | 237.857 | 3.55 | 255.967 | 1.916 | 281.3 | -1.426 | 890.017 | 36.181 | 0.26646
2019-03-06 00:15:00 | 6.307 | 220.673 | 4.308 | 234.605 | 2.947 | 244.6 | 1.841 | 254.9 | -1.396 | 889.417 | 35.84 | 0.19114
2019-03-06 00:30:00 | 5.727 | 227.233 | 3.968 | 243.149 | 2.809 | 248.267 | 2.238 | 253.6 | -1.8 | 889.55 | 36.037 | 1.0779
2019-03-06 00:45:00 | 5.125 | 230.273 | 3.797 | 250.156 | 2.492 | 263.333 | 2.139 | 264.6 | -1.819 | 889.567 | 37.12 | 0.85694
2019-03-06 01:00:00 | 5.005 | 229.393 | 2.583 | 261.387 | 1.834 | 319.533 | 2.671 | 340.733 | -1.516 | 888.633 | 36.797 | 0.28707
2019-03-06 01:15:00 | 6.099 | 234.227 | 4.641 | 247.999 | 3.566 | 260.633 | 3.153 | 266.833 | -2.124 | 889.683 | 37.795 | 0.26149
2019-03-06 01:30:00 | 4.997 | 235.447 | 3.57 | 244.16 | 3.008 | 252.2 | 2.531 | 253.067 | -0.685 | 889.6 | 37.808 | 1.0751
2019-03-06 01:45:00 | 5.998 | 229.487 | 3.347 | 247.144 | 2.407 | 253.6 | 1.64 | 238.8 | -1.326 | 889.467 | 36.011 | 0.27783
2019-03-06 02:00:00 | 6.694 | 225.847 | 3.895 | 245.558 | 2.834 | 267.6 | 2.296 | 277.933 | -2.72 | 889.583 | 38.608 | 0.20962
2019-03-06 02:15:00 | 5.262 | 233.62 | 3.014 | 267.569 | 2.664 | 286.467 | 2.767 | 301.6 | -2.781 | 889.633 | 39.507 | 0.063951
2019-03-06 02:30:00 | 4.919 | 238.4 | 3.011 | 270.336 | 2.62 | 292.6 | 2.496 | 311.1 | -3.271 | 889.375 | 41.147 | 0.21601
2019-03-06 02:45:00 | 2.754 | 257.693 | 0.536 | 300.254 | 0.457 | 27.409 | 1.78 | 44.571 | -1.329 | 890.1 | 39.864 | 0.31691
2019-03-06 03:00:00 | 4.34 | 248.087 | 1.677 | 282.083 | 0.137 | 332.533 | 1.457 | 13.545 | -1.226 | 889.783 | 38.069 | 0.30554
2019-03-06 03:15:00 | 3.984 | 244.027 | 0.746 | 263.437 | 0 | 334 | 1.444 | 42.692 | -1.62 | 890.017 | 38.368 | 0.29275
2019-03-06 03:30:00 | 3.196 | 241.653 | 0 | 299.008 | 0.066 | 37.9 | 1.832 | 47.633 | -0.718 | 889.467 | 38.139 | 0.31407
2019-03-06 03:45:00 | 2.912 | 229.613 | 0 | 219.479 | 0 | 71 | 1.646 | 75.233 | -0.429 | 889.85 | 36.928 | 0.31691
2019-03-06 04:00:00 | 1.856 | 222.613 | 0.04 | 187.156 | 0.267 | 110.067 | 1.982 | 81.333 | 0.415 | 889.533 | 36 | 0.31833
2019-03-06 04:15:00 | 2.348 | 214.567 | 0.766 | 172.335 | 0.97 | 127.2 | 2.086 | 90.433 | 0.299 | 889.883 | 35.499 | 0.2956
2019-03-06 04:30:00 | 3.564 | 216.873 | 0.913 | 172.06 | 0.123 | 141.033 | 1.246 | 105.633 | 0.126 | 889.6 | 35.104 | 0.3027
2019-03-06 04:45:00 | 4.68 | 223.073 | 2.119 | 206.953 | 0.797 | 191.7 | 1.092 | 106.1 | -1.019 | 889.75 | 35.995 | 0.30554
2019-03-06 05:00:00 | 3.998 | 218.6 | 2.201 | 198.544 | 1.736 | 193.967 | 1.508 | 122.9 | -0.379 | 889.833 | 36.325 | 0.29133
2019-03-06 05:15:00 | 4.335 | 221.547 | 2.144 | 203.733 | 1.475 | 192.2 | 1.586 | 169.2 | -0.808 | 889.617 | 36.688 | 0.29844
2019-03-06 05:30:00 | 3.703 | 219.24 | 2.379 | 204.505 | 1.942 | 203.833 | 1.939 | 185 | -0.033 | 889.55 | 36.037 | 0.31549
2019-03-06 05:45:00 | 3.836 | 215.913 | 1.79 | 193.985 | 0.779 | 197.633 | 0.967 | 161.667 | -0.176 | 889.883 | 35.573 | 0.30696
2019-03-06 06:00:00 | 4.196 | 220.513 | 1.746 | 199.224 | 0.69 | 192.567 | 1.041 | 161.967 | -0.992 | 889.967 | 37.744 | 0.31123
2019-03-06 06:15:00 | 2.921 | 222.32 | 0.469 | 200.706 | 0 | 206.033 | 0.037 | 175.033 | -0.858 | 889.55 | 38.075 | 0.30696
2019-03-06 06:30:00 | 3.594 | 220.413 | 0 | 200.56 | 0 | 206 | 0 | 175 | -1.199 | 889.75 | 37.733 | 0.30554
2019-03-06 06:45:00 | 2.797 | 225.48 | 0 | 200.519 | 0.087 | 55.933 | 0.876 | 130 | -1.032 | 889.45 | 38.469 | 0.31123
2019-03-06 07:00:00 | 3.227 | 220.1 | 0 | 200.492 | 0.053 | 56.067 | 1.566 | 102.267 | -1.179 | 889.6 | 38.48 | 0.31123
2019-03-06 07:15:00 | 2.906 | 217.667 | 0 | 199.602 | 0 | 72.2 | 1.216 | 101.9 | -1.392 | 889.3 | 39.552 | 0.31407
2019-03-06 07:30:00 | 3.466 | 226.847 | 0 | 196.564 | 0 | 78.867 | 0.567 | 102 | -1.459 | 889.833 | 39.547 | 0.30839
2019-03-06 07:45:00 | 2.905 | 226.507 | 0 | 196.564 | 0 | 79 | 0.997 | 102 | -1.449 | 889.75 | 40.224 | 0.30412
2019-03-06 08:00:00 | 2.76 | 220.987 | 0 | 196.494 | 0.133 | 79 | 1.566 | 90.067 | -0.982 | 889.467 | 39.691 | 0.31265
2019-03-06 08:15:00 | 3.959 | 226.4 | 0 | 196.588 | 0 | 79.067 | 1.272 | 90.067 | -2.234 | 889.775 | 40.549 | 0.30981
2019-03-06 08:30:00 | 3.836 | 225.967 | 0.893 | 220.96 | 0 | 79 | 0.98 | 90 | -2.418 | 889.683 | 41.845 | 0.30981
2019-03-06 08:45:00 | 2.785 | 228.407 | 0 | 220.594 | 0 | 196 | 1.165 | 90 | -1.165 | 889.883 | 39.653 | 0.30554
2019-03-06 09:00:00 | 3.422 | 230.207 | 0 | 220.515 | 0 | 196 | 0.791 | 90 | -0.958 | 889.917 | 38.277 | 0.31123
2019-03-06 09:15:00 | 2.754 | 228.2 | 0.147 | 229.45 | 0 | 195.867 | 1.014 | 90 | -1.132 | 889.85 | 38.101 | 0.30696
2019-03-06 09:30:00 | 1.467 | 219.18 | 0 | 234.565 | 0 | 103 | 1.212 | 66 | 0.312 | 890.083 | 36.171 | 0.31549
2019-03-06 09:45:00 | 0.456 | 219.367 | 0 | 234.558 | 0 | 103 | 1.428 | 66 | 1.399 | 889.667 | 33.845 | 0.31265
2019-03-06 10:00:00 | 0 | 219.22 | 0 | 196.616 | 0.319 | 94.533 | 1.802 | 66 | 2.847 | 889.867 | 31.467 | 0.30696
2019-03-06 10:15:00 | 0.336 | 128.407 | 0 | 124.11 | 0.177 | 89 | 0.49 | 75.033 | 3.08 | 889.767 | 29.643 | 0.30554
2019-03-06 10:30:00 | 1.52 | 81.187 | 1.036 | 70.283 | 1.08 | 77.1 | 1.371 | 76 | 3.314 | 889.75 | 28.96 | 0.30412
2019-03-06 10:45:00 | 1.845 | 61.097 | 1.701 | 64.516 | 1.858 | 70.433 | 2.452 | 68.3 | 2.659 | 890.3 | 29.909 | 0.32686
2019-03-06 11:00:00 | 2.422 | 47.455 | 2.073 | 49.849 | 2.101 | 57.1 | 2.304 | 46.167 | 2.794 | 889.933 | 29.904 | 0.29915
2019-03-06 11:15:00 | 2.438 | 40.4 | 2.116 | 42.475 | 2.37 | 58 | 2.536 | 64.1 | 3.154 | 889.6 | 29.248 | 0.30483
2019-03-06 11:30:00 | 1.972 | 57.833 | 1.724 | 62.522 | 2.045 | 64.1 | 2.323 | 60.367 | 3.238 | 889.667 | 29.381 | 0.2558
2019-03-06 11:45:00 | 2.749 | 60.661 | 2.427 | 55.717 | 2.3 | 62.867 | 2.59 | 63.733 | 4.072 | 889.75 | 28.56 | 0.22809
2019-03-06 12:00:00 | 2.881 | 52.568 | 2.614 | 52.578 | 2.547 | 64.833 | 2.436 | 64.533 | 4.274 | 890.217 | 28.272 | 0.085978
2019-03-06 12:15:00 | 2.876 | 61.548 | 2.693 | 55.276 | 2.928 | 62.5 | 3.1 | 62.8 | 4.666 | 890.117 | 27.344 | 0.16059
2019-03-06 12:30:00 | 3.806 | 70.843 | 3.785 | 64.754 | 3.874 | 73.133 | 3.75 | 66.9 | 5.085 | 889.683 | 25.744 | 1.387
2019-03-06 12:45:00 | 3.29 | 63.38 | 3.191 | 66.827 | 3.289 | 75.2 | 3.47 | 75.833 | 5.398 | 889.833 | 25.104 | 1.8574
2019-03-06 13:00:00 | 4.261 | 74.493 | 4.308 | 66.358 | 4.358 | 74.667 | 4.395 | 68.3 | 5.576 | 889.8 | 24.197 | 3.3397
2019-03-06 13:15:00 | 4.093 | 74.313 | 4.046 | 67.112 | 3.998 | 74.133 | 4.074 | 68.933 | 5.951 | 889.733 | 23.968 | 5.1573
2019-03-06 13:30:00 | 5.232 | 81.133 | 5.108 | 77.387 | 5.124 | 83.833 | 5.307 | 80.467 | 5.845 | 889.967 | 23.707 | 8.4579
2019-03-06 13:45:00 | 4.815 | 118.373 | 4.778 | 108.227 | 4.891 | 110.633 | 4.875 | 104.333 | 7.022 | 889.983 | 21.963 | 12.3376
2019-03-06 14:00:00 | 4.791 | 95.49 | 4.727 | 89.731 | 4.425 | 94.767 | 4.617 | 90.833 | 7.322 | 889.817 | 20.285 | 15.6616
2019-03-06 14:15:00 | 5.825 | 78.18 | 5.899 | 75.148 | 6.236 | 81.2 | 6.518 | 74.233 | 7.156 | 889.133 | 19.731 | 20.0245
2019-03-06 14:30:00 | 6.044 | 73.818 | 6.442 | 69.659 | 6.692 | 76.1 | 6.944 | 72.333 | 7.272 | 889.5 | 18.992 | 20.2732
2019-03-06 14:45:00 | 5.334 | 84.577 | 5.51 | 80.881 | 5.846 | 84.867 | 6.272 | 76.233 | 7.746 | 889.3 | 17.907 | 19.6919
2019-03-06 15:00:00 | 5.395 | 83.512 | 5.659 | 77.225 | 5.524 | 80.2 | 5.726 | 80.5 | 8.19 | 889.2 | 17.141 | 20.2931
2019-03-06 15:15:00 | 5.437 | 90.263 | 5.577 | 88.713 | 5.691 | 91.267 | 5.863 | 86.033 | 8.06 | 889.633 | 17.096 | 19.2201
2019-03-06 15:30:00 | 5.896 | 82.055 | 5.945 | 78.313 | 5.922 | 83.967 | 6.05 | 79.5 | 7.93 | 889.933 | 17.019 | 17.546
2019-03-06 15:45:00 | 5.773 | 90.013 | 5.338 | 82.801 | 5.509 | 88.667 | 5.882 | 83.5 | 7.943 | 889.5 | 17.107 | 17.9766
2019-03-06 16:00:00 | 5.184 | 94.793 | 4.636 | 89.754 | 4.337 | 92.4 | 4.992 | 85.033 | 7.812 | 889.033 | 17.355 | 15.8783
2019-03-06 16:15:00 | 5.134 | 80.38 | 5.376 | 74.29 | 5.443 | 79.267 | 5.464 | 74.367 | 8.143 | 889.533 | 17.472 | 14.0991
2019-03-06 16:30:00 | 4.83 | 87.23 | 4.622 | 81.486 | 5.063 | 86.2 | 5.289 | 84.967 | 8.498 | 889.533 | 17.275 | 11.9304
2019-03-06 16:45:00 | 4.518 | 92.077 | 4.341 | 81.337 | 4.328 | 86.567 | 4.624 | 81.133 | 8.498 | 889.667 | 17.144 | 12.064
2019-03-06 17:00:00 | 4.429 | 83.247 | 4.163 | 80.203 | 4.336 | 85.233 | 4.861 | 80 | 8.45 | 889.433 | 16.995 | 11.0578
2019-03-06 17:15:00 | 5.319 | 78.037 | 5.737 | 73.545 | 5.961 | 79.4 | 5.9 | 76.5 | 8.564 | 889.933 | 16.232 | 11.973
2019-03-06 17:30:00 | 5.217 | 81.99 | 5.497 | 74.523 | 5.718 | 79.833 | 5.862 | 76.833 | 8.484 | 889.2 | 16.099 | 14.7237
2019-03-06 17:45:00 | 5.157 | 71.992 | 5.189 | 67.981 | 5.521 | 70.867 | 5.833 | 68.6 | 7.97 | 889.533 | 16.008 | 15.8897
2019-03-06 18:00:00 | 4.907 | 77.478 | 5.09 | 71.47 | 5.461 | 77.133 | 5.775 | 72 | 7.762 | 889.567 | 16.205 | 13.3785
2019-03-06 18:15:00 | 4.834 | 83.347 | 5.091 | 76.348 | 5.489 | 78.967 | 5.682 | 75 | 7.643 | 889.5 | 16.253 | 12.9394
2019-03-06 18:30:00 | 4.841 | 76.62 | 4.822 | 72.151 | 4.88 | 79.133 | 5.036 | 76.333 | 7.359 | 889.633 | 16.531 | 11.2895
2019-03-06 18:45:00 | 4.24 | 74.69 | 4.282 | 70.711 | 4.411 | 74.8 | 4.495 | 71.967 | 7.539 | 889.367 | 16.803 | 7.7921
2019-03-06 19:00:00 | 2.876 | 79.3 | 3.1 | 75.478 | 3.217 | 81.267 | 3.279 | 77 | 7.422 | 889.867 | 17.133 | 5.1004
2019-03-06 19:15:00 | 2.59 | 69.875 | 2.525 | 65.993 | 2.647 | 69.733 | 2.645 | 69 | 7.172 | 889.4 | 17.48 | 2.0102
2019-03-06 19:30:00 | 2.012 | 58.857 | 2.064 | 64.212 | 2.314 | 70.7 | 2.502 | 65.7 | 6.506 | 889.7 | 18.109 | 0.35741
2019-03-06 19:45:00 | 0.95 | 35.751 | 0.88 | 46.919 | 1.143 | 56.633 | 1.508 | 71 | 6.445 | 889.7 | 18.845 | 0.23804
2019-03-06 20:00:00 | 1.316 | 95.988 | 0.65 | 11.23 | 1.256 | 31.567 | 1.496 | 58 | 6.164 | 889.333 | 19.208 | 0.27641
2019-03-06 20:15:00 | 2.32 | 353.067 | 1.571 | 11.636 | 2.134 | 28.898 | 2.306 | 37.067 | 5.845 | 889.267 | 19.101 | 0.24444
2019-03-06 20:30:00 | 2.159 | 0 | 1.981 | 12.273 | 1.875 | 26.467 | 2.038 | 37.2 | 6.097 | 889.4 | 19.157 | 0.23164
2019-03-06 20:45:00 | 2.106 | 0 | 2.025 | 15.489 | 1.64 | 33.8 | 1.832 | 39 | 6.151 | 889.367 | 19.152 | 0.22596
2019-03-06 21:00:00 | 2.811 | 265.6 | 2.456 | 248.875 | 1.933 | 2.267 | 1.968 | 14.433 | 5.809 | 889.533 | 19.148 | 0.21743
2019-03-06 21:15:00 | 2.769 | 331.067 | 2.488 | 345.257 | 2.194 | 354.267 | 2.023 | 118.667 | 5.25 | 889.133 | 19.383 | 0.23307
2019-03-06 21:30:00 | 3.145 | 316.267 | 3.042 | 339.058 | 2.637 | 344.467 | 2.518 | 347.867 | 4.752 | 889.533 | 19.549 | 0.26859
2019-03-06 21:45:00 | 2.842 | 310.533 | 3.402 | 344.874 | 3.063 | 346.167 | 2.804 | 348.167 | 4.088 | 889.3 | 19.891 | 0.22312
2019-03-06 22:00:00 | 3.153 | 320.533 | 4.183 | 347.116 | 3.897 | 352.433 | 3.429 | 351.233 | 3.672 | 889.5 | 20.464 | 0.19683
2019-03-06 22:15:00 | 4.848 | 298.147 | 5.613 | 304.708 | 5.816 | 317.067 | 5.554 | 322.7 | 3.398 | 889.317 | 20.679 | 1.7288
2019-03-06 22:30:00 | 4.81 | 275.76 | 5.76 | 292.742 | 5.839 | 301.033 | 6.059 | 299.867 | 1.406 | 889.917 | 26.291 | 9.5038
2019-03-06 22:45:00 | 4.628 | 261.42 | 4.96 | 279.722 | 5.043 | 286.433 | 5.224 | 287.5 | 1.429 | 889.75 | 32.509 | 9.7412
2019-03-06 23:00:00 | 4.358 | 234.793 | 4.724 | 258.496 | 4.381 | 271.6 | 4.328 | 275.267 | 0.965 | 889.717 | 31.72 | 5.0841
2019-03-06 23:15:00 | 4.918 | 234.313 | 5.253 | 247.162 | 4.603 | 260.933 | 4.32 | 262.667 | 0.05 | 889.833 | 31.003 | 5.2312
2019-03-06 23:30:00 | 4.941 | 234.507 | 5.349 | 247.014 | 4.673 | 259.8 | 4.316 | 261.7 | -0.252 | 889.483 | 34.651 | 7.2449
2019-03-06 23:45:00 | 4.871 | 237.067 | 4.964 | 246.907 | 4.358 | 257.767 | 4.015 | 260.633 | -0.376 | 889.117 | 40.368 | 6.2963