## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-07 00:00:00 | 4.696 | 233.693 | 5.081 | 246.145 | 4.403 | 261.6 | 4.165 | 266.233 | -0.219 | 889.775 | 41.419 | 5.5552
2019-03-07 00:15:00 | 4.764 | 226.867 | 4.577 | 243.575 | 3.997 | 257.533 | 3.701 | 259.433 | -0.399 | 889.517 | 42.368 | 5.2198
2019-03-07 00:30:00 | 5.008 | 225.793 | 5.089 | 242.623 | 3.827 | 258.733 | 3.521 | 266.967 | -0.772 | 890.033 | 42.528 | 3.2942
2019-03-07 00:45:00 | 4.792 | 222.273 | 4.725 | 242.04 | 3.842 | 258.4 | 3.392 | 272.767 | -0.918 | 889.983 | 42.603 | 2.5879
2019-03-07 01:00:00 | 4.808 | 215.653 | 5.291 | 229.924 | 4.01 | 246.733 | 3.252 | 257.8 | -1.065 | 889.775 | 40.976 | 2.5325
2019-03-07 01:15:00 | 5.066 | 221.747 | 5.224 | 234.513 | 4.27 | 245.333 | 3.359 | 253.2 | -1.66 | 889.583 | 38.555 | 3.2487
2019-03-07 01:30:00 | 4.901 | 222.9 | 4.713 | 240.21 | 4.313 | 251.233 | 3.658 | 250.967 | -1.823 | 889.817 | 36.869 | 3.2473
2019-03-07 01:45:00 | 5.095 | 223.567 | 4.693 | 245.529 | 4.203 | 256.633 | 3.637 | 262 | -2.065 | 889.867 | 36.405 | 2.7442
2019-03-07 02:00:00 | 4.805 | 226.867 | 4.859 | 250.438 | 4.381 | 263.067 | 3.954 | 264.867 | -2.422 | 889.867 | 36.299 | 3.4931
2019-03-07 02:15:00 | 4.853 | 233.62 | 4.846 | 254.161 | 4.337 | 269.667 | 3.97 | 273.767 | -2.405 | 889.567 | 36.203 | 4.6833
2019-03-07 02:30:00 | 4.61 | 232.507 | 4.801 | 255.193 | 4.56 | 268.067 | 3.981 | 268.467 | -2.475 | 889.633 | 37.272 | 4.2677
2019-03-07 02:45:00 | 4.786 | 241.72 | 5.489 | 255.208 | 4.965 | 269.667 | 4.285 | 271.333 | -2.781 | 889.633 | 39.125 | 5.2184
2019-03-07 03:00:00 | 5.428 | 238.567 | 6.067 | 253.534 | 5.457 | 267.667 | 5.102 | 271.7 | -2.234 | 889.792 | 41.541 | 8.7137
2019-03-07 03:15:00 | 5.514 | 234.993 | 6.398 | 248.145 | 5.959 | 259.267 | 6.153 | 261.133 | -2.654 | 889.942 | 47.36 | 12.1578
2019-03-07 03:30:00 | 5.581 | 236.613 | 6.671 | 248.128 | 6.172 | 262.267 | 6.219 | 263.833 | -2.622 | 889.8 | 50.613 | 15.8492
2019-03-07 03:45:00 | 5.562 | 233.767 | 6.905 | 244.128 | 6.301 | 256.3 | 6.265 | 259.233 | -2.23 | 890.242 | 49.909 | 18.6971
2019-03-07 04:00:00 | 5.694 | 236.093 | 7.143 | 244.176 | 6.474 | 256.833 | 6.393 | 260.2 | -2.263 | 889.95 | 49.643 | 17.0358
2019-03-07 04:15:00 | 6.072 | 234.04 | 7.371 | 242.739 | 6.82 | 255.867 | 6.738 | 258.45 | -2.114 | 890.067 | 52.085 | 20.0636
2019-03-07 04:30:00 | 6.265 | 232.273 | 7.694 | 240.518 | 7.208 | 253.2 | 7.059 | 253.833 | -2.114 | 889.308 | 51.381 | 24.6488
2019-03-07 04:45:00 | 5.922 | 232.753 | 7.444 | 239.23 | 7.058 | 250.7 | 6.921 | 251.733 | -2.296 | 889.592 | 49.899 | 27.5728
2019-03-07 05:00:00 | 6.171 | 232.507 | 7.581 | 237.504 | 7.316 | 247.6 | 6.882 | 246.6 | -1.901 | 889.825 | 47.893 | 27.6958
2019-03-07 05:15:00 | 6.283 | 230.82 | 7.729 | 234.962 | 7.637 | 243.733 | 7.188 | 242.867 | -1.64 | 890.25 | 47.296 | 30.5011
2019-03-07 05:30:00 | 6.351 | 231.353 | 7.491 | 235.383 | 7.431 | 245.133 | 6.944 | 243.567 | -1.539 | 889.717 | 46.752 | 34.2259
2019-03-07 05:45:00 | 6.231 | 233.627 | 7.398 | 236.418 | 7.113 | 246.333 | 6.61 | 246.467 | -1.72 | 889.708 | 46.069 | 32.8758
2019-03-07 06:00:00 | 6.208 | 232.347 | 7.15 | 236.081 | 6.815 | 246.733 | 6.23 | 247.067 | -1.429 | 889.717 | 46.133 | 29.2093
2019-03-07 06:15:00 | 6.427 | 228.027 | 7.531 | 232.08 | 7.19 | 240.3 | 6.587 | 240.6 | -1.62 | 889.917 | 46.368 | 30.1955
2019-03-07 06:30:00 | 6.338 | 226.673 | 7.565 | 231.749 | 7.284 | 240.467 | 6.816 | 238.433 | -1.693 | 889.75 | 46.656 | 32.1581
2019-03-07 06:45:00 | 5.805 | 227.12 | 7.745 | 231.024 | 7.508 | 239.6 | 7.037 | 236.8 | -2.578 | 889.808 | 47.733 | 32.426
2019-03-07 07:00:00 | 6.018 | 224.96 | 7.438 | 230.388 | 7.229 | 238.6 | 6.794 | 237.2 | -2.364 | 889.683 | 49.035 | 30.7746
2019-03-07 07:15:00 | 5.805 | 227.1 | 7.574 | 232.469 | 7.331 | 241.6 | 6.96 | 239.667 | -2.598 | 889.333 | 49.888 | 28.5896
2019-03-07 07:30:00 | 6.38 | 224.327 | 7.427 | 230.227 | 7.18 | 240.467 | 6.767 | 239.3 | -2.639 | 890.267 | 50.443 | 28.0198
2019-03-07 07:45:00 | 6.314 | 220.453 | 7.58 | 227.499 | 7.489 | 236.633 | 6.987 | 234.367 | -2.679 | 890.042 | 51.424 | 28.5058
2019-03-07 08:00:00 | 5.917 | 222.293 | 7.238 | 228.278 | 7.152 | 236.667 | 6.713 | 234.1 | -2.757 | 889.8 | 52.299 | 27.273
2019-03-07 08:15:00 | 6.174 | 220.067 | 7.566 | 226.186 | 7.474 | 233.967 | 7.184 | 231.733 | -2.952 | 889.925 | 52.277 | 28.8376
2019-03-07 08:30:00 | 5.667 | 218.107 | 7.761 | 222.102 | 7.297 | 229.567 | 7.153 | 227.533 | -2.67 | 889.883 | 50.805 | 28.925
2019-03-07 08:45:00 | 6.294 | 225.053 | 7.298 | 227.529 | 7.248 | 235.433 | 6.952 | 233.767 | -1.966 | 889.825 | 48.256 | 26.863
2019-03-07 09:00:00 | 6.088 | 224.48 | 6.957 | 228.632 | 7.013 | 239.2 | 6.842 | 235.733 | -1.329 | 890.008 | 46.325 | 27.1067
2019-03-07 09:15:00 | 5.289 | 219.607 | 6.602 | 224.025 | 6.842 | 233.367 | 6.706 | 231.9 | -0.772 | 889.883 | 44.459 | 24.4584
2019-03-07 09:30:00 | 5.058 | 221.86 | 6.35 | 226.52 | 6.812 | 236.367 | 6.762 | 233.867 | -0.016 | 889.867 | 41.984 | 22.8518
2019-03-07 09:45:00 | 4.58 | 227.14 | 5.871 | 228.224 | 6.462 | 237.567 | 6.466 | 235.433 | 0.865 | 889.633 | 39.712 | 21.9139
2019-03-07 10:00:00 | 3.983 | 222.807 | 4.652 | 224.307 | 5.33 | 232.733 | 5.82 | 232.533 | 1.793 | 889.483 | 37.083 | 18.7433
2019-03-07 10:15:00 | 4.432 | 225.42 | 4.515 | 224.823 | 4.924 | 231.833 | 5.012 | 228.433 | 3.084 | 890.133 | 33.392 | 15.2601
2019-03-07 10:30:00 | 4.854 | 232.933 | 4.833 | 232.354 | 4.955 | 239.133 | 5.07 | 235.033 | 3.958 | 889.4 | 30.811 | 11.3897
2019-03-07 10:45:00 | 4.652 | 248.02 | 4.968 | 244.36 | 4.938 | 250.1 | 4.841 | 248.267 | 4.769 | 889.55 | 28.816 | 8.649
2019-03-07 11:00:00 | 4.514 | 274.987 | 4.597 | 270.36 | 4.546 | 271.25 | 4.631 | 264.767 | 5.289 | 889.6 | 27.56 | 7.3622
2019-03-07 11:15:00 | 4.303 | 268.527 | 4.561 | 265.624 | 4.789 | 270.967 | 4.683 | 267.067 | 5.412 | 889.467 | 27.171 | 8.401
2019-03-07 11:30:00 | 4.601 | 275.147 | 4.771 | 270.537 | 4.912 | 275.4 | 4.846 | 269.7 | 5.534 | 889.583 | 26.088 | 6.9266
2019-03-07 11:45:00 | 4.661 | 292.307 | 4.561 | 288.039 | 4.511 | 293.067 | 4.625 | 285.933 | 6.153 | 889.317 | 25.173 | 6.5507
2019-03-07 12:00:00 | 4.174 | 306.067 | 4.204 | 297.546 | 4.641 | 300.6 | 4.843 | 296.367 | 6.044 | 889.783 | 24.728 | 6.5528
2019-03-07 12:15:00 | 4.249 | 305.24 | 4.47 | 304.95 | 4.738 | 306.467 | 4.935 | 305.5 | 5.895 | 889.85 | 24.517 | 6.3375
2019-03-07 12:30:00 | 4.193 | 306.067 | 4.203 | 297.492 | 4.483 | 301.667 | 4.902 | 300.667 | 6.724 | 889.967 | 23.885 | 5.2212
2019-03-07 12:45:00 | 5.045 | 307.747 | 5.222 | 302.845 | 5.24 | 308.233 | 5.182 | 307.6 | 6.314 | 889.617 | 24.104 | 8.8117
2019-03-07 13:00:00 | 4.72 | 308.587 | 4.739 | 303.633 | 5.052 | 310.567 | 5.165 | 311.533 | 6.571 | 889.9 | 23.904 | 10.7793
2019-03-07 13:15:00 | 5.38 | 309.853 | 5.405 | 303.553 | 5.429 | 308.867 | 5.652 | 307.267 | 6.919 | 889.8 | 23.203 | 9.5671
2019-03-07 13:30:00 | 5.551 | 342.533 | 5.622 | 334.052 | 5.89 | 340.333 | 5.971 | 339.1 | 7.356 | 889.65 | 26.211 | 11.7592
2019-03-07 13:45:00 | 5.912 | 320.4 | 6.205 | 314.823 | 6.329 | 318.633 | 6.638 | 317.533 | 7.422 | 889.683 | 25.451 | 12.2246
2019-03-07 14:00:00 | 6.808 | 327.6 | 7.227 | 320.278 | 7.482 | 323.267 | 7.656 | 324.267 | 7.356 | 889.417 | 26.752 | 19.7331
2019-03-07 14:15:00 | 6.532 | 318.533 | 6.68 | 309.926 | 6.79 | 315.433 | 7.153 | 315.533 | 7.106 | 889.95 | 26.547 | 28.2841
2019-03-07 14:30:00 | 6.962 | 321.667 | 7.253 | 313.887 | 7.499 | 319.433 | 7.731 | 320.133 | 7.439 | 889.733 | 25.299 | 30.1451
2019-03-07 14:45:00 | 8.107 | 326.547 | 8.616 | 316.775 | 8.879 | 323.233 | 8.94 | 320.4 | 8.003 | 890.15 | 24.04 | 32.1368
2019-03-07 15:00:00 | 7.867 | 317.813 | 8.144 | 311.63 | 8.167 | 316.767 | 8.258 | 319.1 | 8.037 | 889.583 | 23.347 | 36.2488
2019-03-07 15:15:00 | 7.491 | 317.44 | 7.581 | 310.465 | 7.865 | 315.9 | 8.053 | 314.833 | 8.147 | 889.533 | 23.235 | 39.0215
2019-03-07 15:30:00 | 7.732 | 315.8 | 8.198 | 309.328 | 8.57 | 315.1 | 8.81 | 311.4 | 8.407 | 890.1 | 22.888 | 43.0298
2019-03-07 15:45:00 | 7.311 | 314.88 | 7.646 | 308.769 | 8.178 | 314.433 | 8.629 | 313.333 | 8.432 | 889.633 | 24.704 | 43.7013
2019-03-07 16:00:00 | 9.207 | 322.773 | 9.752 | 314.941 | 9.969 | 319.533 | 10.202 | 317.5 | 8.364 | 889.667 | 24.669 | 54.1146
2019-03-07 16:15:00 | 8.658 | 318.347 | 8.926 | 312.224 | 9.185 | 317.667 | 9.62 | 316.033 | 8.07 | 889.833 | 27.141 | 61.1762
2019-03-07 16:30:00 | 8.846 | 312.507 | 9.266 | 309.555 | 9.567 | 314.533 | 9.722 | 312.667 | 7.512 | 889.85 | 28.915 | 64.0803
2019-03-07 16:45:00 | 9.36 | 312.067 | 9.723 | 304.45 | 10 | 309.4 | 10.322 | 306.1 | 7.189 | 890.017 | 29.899 | 69.934
2019-03-07 17:00:00 | 10.273 | 302.733 | 10.718 | 300.29 | 11.248 | 303.767 | 11.642 | 301.133 | 7.156 | 889.3 | 31.005 | 75.1019
2019-03-07 17:15:00 | 8.802 | 319.787 | 9.144 | 310.318 | 9.308 | 315.4 | 9.655 | 311.167 | 6.887 | 889.65 | 32.088 | 74.8049
2019-03-07 17:30:00 | 8.47 | 313.787 | 8.788 | 308.558 | 8.994 | 313.567 | 9.065 | 312.233 | 6.902 | 889.367 | 32.152 | 59.5299
2019-03-07 17:45:00 | 8.206 | 313.973 | 8.634 | 307.318 | 8.93 | 312.867 | 9.326 | 310.467 | 6.601 | 889.65 | 33.307 | 55.2544
2019-03-07 18:00:00 | 8.774 | 306.72 | 9.254 | 301.665 | 9.544 | 306.467 | 9.708 | 304.033 | 6.141 | 889.833 | 33.891 | 60.5012
2019-03-07 18:15:00 | 8.839 | 312.36 | 9.449 | 304.546 | 9.636 | 308.333 | 10.034 | 305.733 | 6.117 | 889.833 | 35.461 | 63.9496
2019-03-07 18:30:00 | 8.918 | 300.267 | 9.397 | 295.922 | 9.594 | 301.6 | 10.266 | 296.867 | 5.415 | 889.767 | 36.147 | 59.419
2019-03-07 18:45:00 | 7.791 | 285.707 | 8.376 | 283.007 | 8.827 | 287.933 | 9.228 | 286.233 | 5.558 | 889.2 | 36.624 | 55.3645
2019-03-07 19:00:00 | 7.253 | 293.413 | 8.024 | 287.459 | 8.322 | 289.367 | 8.85 | 287.2 | 5.369 | 889.65 | 37.077 | 38.6072
2019-03-07 19:15:00 | 6.795 | 292.787 | 7.451 | 289.916 | 7.999 | 294.333 | 8.41 | 292.2 | 5.13 | 889.833 | 38.131 | 30.6389
2019-03-07 19:30:00 | 6.227 | 295.667 | 7.141 | 294.63 | 7.653 | 300.133 | 8.298 | 297.833 | 4.653 | 889.517 | 38.861 | 27.1131
2019-03-07 19:45:00 | 5.668 | 306.613 | 6.531 | 299.426 | 6.907 | 305.1 | 7.498 | 302.733 | 4.226 | 890 | 40.491 | 25.0489
2019-03-07 20:00:00 | 5.526 | 297.56 | 6.63 | 296.533 | 7.252 | 300.8 | 8.034 | 298.8 | 3.962 | 889.625 | 42.304 | 20.2014
2019-03-07 20:15:00 | 5.626 | 290.067 | 6.54 | 287.222 | 6.946 | 292.333 | 7.493 | 290.233 | 3.706 | 890.067 | 43.131 | 22.8262
2019-03-07 20:30:00 | 5.093 | 285.867 | 6.09 | 282.5 | 6.397 | 285.833 | 6.79 | 284 | 3.706 | 889.708 | 44.075 | 23.9717
2019-03-07 20:45:00 | 4.448 | 274.133 | 5.434 | 272.771 | 5.832 | 277.633 | 6.151 | 274.3 | 3.304 | 889.75 | 44.544 | 23.2327
2019-03-07 21:00:00 | 5.755 | 270.4 | 6.81 | 269.208 | 7.079 | 274.6 | 7.232 | 269.967 | 3.271 | 889.892 | 45.856 | 26.3855
2019-03-07 21:15:00 | 5.27 | 262.407 | 6.501 | 262.14 | 6.64 | 266.85 | 7.011 | 263.333 | 2.565 | 890.15 | 46.656 | 28.9748
2019-03-07 21:30:00 | 5.847 | 256.46 | 7.1 | 256.243 | 7.388 | 261.4 | 7.751 | 258.467 | 2.098 | 889.45 | 49.349 | 29.8431
2019-03-07 21:45:00 | 5.876 | 253.86 | 7.202 | 254.768 | 7.773 | 258.783 | 8.034 | 255.75 | 2.021 | 889.683 | 51.803 | 37.5641
2019-03-07 22:00:00 | 4.891 | 249.14 | 6.164 | 250.936 | 6.768 | 258.583 | 7.061 | 256.333 | 1.205 | 889.758 | 53.195 | 37.4682
2019-03-07 22:15:00 | 6.809 | 259.393 | 8.089 | 257.583 | 8.284 | 262.8 | 8.503 | 257.95 | 0.915 | 890.083 | 55.323 | 35.777
2019-03-07 22:30:00 | 4.705 | 251.887 | 6.113 | 252.246 | 6.409 | 257.9 | 6.666 | 254.967 | 0.532 | 890.108 | 55.029 | 43.0994
2019-03-07 22:45:00 | 4.22 | 255.887 | 5.978 | 260.118 | 6.733 | 267.3 | 7.044 | 262.267 | 0.2 | 889.983 | 56.08 | 35.6513
2019-03-07 23:00:00 | 4.139 | 235.24 | 5.735 | 244.339 | 6.666 | 252.5 | 6.863 | 251.3 | 0.116 | 890.217 | 55.531 | 30.877
2019-03-07 23:15:00 | 6.301 | 240.367 | 7.452 | 243.295 | 7.782 | 252.333 | 8.016 | 249.75 | -0.236 | 889.825 | 53.355 | 44.8403
2019-03-07 23:30:00 | 6.691 | 254.273 | 8.265 | 251.19 | 8.598 | 257.217 | 8.661 | 253.1 | -0.618 | 889.908 | 52.203 | 46.9209
2019-03-07 23:45:00 | 6.176 | 244.213 | 7.386 | 246.376 | 7.561 | 253.2 | 7.723 | 250.267 | -0.186 | 889.925 | 50.507 | 47.7487