## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-08 00:00:00 | 6.126 | 244.26 | 7.126 | 245.801 | 7.38 | 252.067 | 7.634 | 249.317 | -0.761 | 890.092 | 48.149 | 41.3308
2019-03-08 00:15:00 | 5.389 | 242.373 | 6.856 | 245.196 | 6.826 | 254.967 | 6.86 | 254.133 | -0.712 | 890.317 | 46.603 | 33.5153
2019-03-08 00:30:00 | 4.862 | 237.967 | 5.025 | 242.502 | 5.131 | 256.833 | 5.558 | 258.8 | -0.578 | 889.792 | 45.301 | 24.7355
2019-03-08 00:45:00 | 4.175 | 224.647 | 4.448 | 242.195 | 4.53 | 255.733 | 4.572 | 257.233 | -1.192 | 890.017 | 44.907 | 16.7843
2019-03-08 01:00:00 | 3.281 | 219.373 | 3.584 | 230.762 | 3.189 | 243.967 | 3.184 | 249.867 | -1.082 | 889.55 | 44.309 | 12.6509
2019-03-08 01:15:00 | 3.343 | 200.767 | 3.307 | 210.649 | 3.267 | 234.767 | 3.533 | 246.6 | -1.048 | 889.583 | 43.573 | 8.0614
2019-03-08 01:30:00 | 4.7 | 214.313 | 5.468 | 230.827 | 5.216 | 248.567 | 5.664 | 259.7 | -1.506 | 889.717 | 43.541 | 6.9685
2019-03-08 01:45:00 | 5.513 | 215.047 | 5.369 | 225.059 | 5.544 | 245.433 | 6.068 | 252.433 | -2.082 | 889.775 | 43.616 | 11.2923
2019-03-08 02:00:00 | 5.924 | 223.553 | 6.169 | 238.109 | 6.816 | 256.967 | 7.673 | 259.483 | -1.64 | 889.758 | 44.395 | 18.4598
2019-03-08 02:15:00 | 4.917 | 212.533 | 4.758 | 234.866 | 6.178 | 251.6 | 7.177 | 252.067 | -2.148 | 889.717 | 46.368 | 26.8552
2019-03-08 02:30:00 | 5.813 | 240.413 | 7.73 | 246.031 | 8.138 | 255.6 | 8.448 | 252.867 | -2.19 | 889.95 | 48.053 | 38.6079
2019-03-08 02:45:00 | 6.787 | 238.693 | 8.273 | 245.706 | 8.373 | 253.4 | 8.277 | 251.7 | -1.366 | 889.617 | 46.763 | 48.3171
2019-03-08 03:00:00 | 6.265 | 239.5 | 8.117 | 243.921 | 8.144 | 252.167 | 8.183 | 251.067 | -1.6 | 889.533 | 47.851 | 49.8399
2019-03-08 03:15:00 | 5.848 | 231.727 | 7.007 | 239.302 | 7.531 | 252.967 | 7.802 | 253.367 | -2.188 | 889.85 | 50.016 | 48.6362
2019-03-08 03:30:00 | 6.136 | 235.753 | 7.942 | 240.431 | 8.188 | 251.3 | 8.096 | 250.65 | -2.499 | 889.892 | 51.989 | 49.562
2019-03-08 03:45:00 | 7.563 | 242.773 | 8.986 | 251.628 | 9.087 | 259.467 | 9.417 | 257.467 | -2.197 | 889.958 | 52.779 | 58.3915
2019-03-08 04:00:00 | 7.087 | 241.88 | 7.98 | 246.132 | 7.985 | 254.733 | 8.181 | 253.15 | -1.76 | 890.05 | 52.459 | 61.901
2019-03-08 04:15:00 | 6.96 | 235.76 | 7.844 | 242.557 | 7.887 | 252.167 | 8.017 | 251.683 | -1.733 | 890.35 | 52.725 | 54.2233
2019-03-08 04:30:00 | 6.737 | 226.913 | 7.36 | 232.689 | 7.28 | 241.367 | 7.12 | 241.233 | -1.912 | 890.242 | 53.568 | 44.7323
2019-03-08 04:45:00 | 5.826 | 220.967 | 7.202 | 225.395 | 7.234 | 232.5 | 7.041 | 232.633 | -1.926 | 889.625 | 54.357 | 40.579
2019-03-08 05:00:00 | 5.627 | 222.273 | 6.998 | 226.926 | 7.178 | 234.733 | 7.029 | 232.467 | -2.114 | 889.567 | 54.613 | 35.8616
2019-03-08 05:15:00 | 5.553 | 222.087 | 7.287 | 226.018 | 7.547 | 232.233 | 7.479 | 229.067 | -2.398 | 889.367 | 54.891 | 34.7702
2019-03-08 05:30:00 | 5.619 | 214.767 | 7.54 | 220.202 | 7.473 | 229.033 | 7.472 | 226.533 | -3.254 | 889.85 | 57.003 | 35.8346
2019-03-08 05:45:00 | 5.919 | 213.7 | 7.726 | 220.808 | 7.798 | 233.3 | 7.646 | 231.533 | -3.237 | 889.858 | 59.029 | 37.1264
2019-03-08 06:00:00 | 5.207 | 217.067 | 7.018 | 222.814 | 7.298 | 233.833 | 7.355 | 233.233 | -3.471 | 890.125 | 59.723 | 35.0849
2019-03-08 06:15:00 | 6.357 | 222.233 | 7.635 | 228.675 | 8.003 | 239.4 | 7.864 | 236.633 | -3.237 | 889.817 | 60.032 | 39.7249
2019-03-08 06:30:00 | 6.306 | 225.767 | 7.26 | 235.209 | 7.398 | 244.567 | 7.41 | 241.633 | -3.806 | 890.167 | 61.472 | 40.3509
2019-03-08 06:45:00 | 6.079 | 231.367 | 7.497 | 240.013 | 7.681 | 249.867 | 7.626 | 249.533 | -3.672 | 889.933 | 61.653 | 37.6075
2019-03-08 07:00:00 | 6.008 | 236.7 | 7.93 | 242.717 | 7.778 | 252.3 | 7.652 | 251.683 | -3.588 | 889.692 | 60.416 | 42.7427
2019-03-08 07:15:00 | 6.478 | 235.46 | 8.09 | 241.813 | 8.118 | 252 | 8.438 | 251.167 | -2.74 | 890.158 | 57.973 | 50.7735
2019-03-08 07:30:00 | 6.314 | 241.167 | 8.112 | 245.557 | 8.046 | 254.633 | 8.367 | 254.133 | -2.801 | 889.958 | 56.555 | 56.139
2019-03-08 07:45:00 | 6.314 | 239.98 | 7.702 | 248.165 | 7.655 | 257.733 | 7.874 | 256.817 | -2.63 | 890.142 | 55.36 | 51.8522
2019-03-08 08:00:00 | 7.288 | 238.667 | 7.738 | 245.802 | 7.779 | 256.5 | 8.054 | 255.033 | -2.818 | 889.892 | 55.435 | 50.2079
2019-03-08 08:15:00 | 4.497 | 223.18 | 5.295 | 234.316 | 6.349 | 247.533 | 6.998 | 253.4 | -2.333 | 889.575 | 54.571 | 45.0222
2019-03-08 08:30:00 | 5.735 | 240.247 | 7.414 | 246.665 | 7.65 | 256.5 | 7.795 | 254.75 | -2.532 | 889.875 | 54.688 | 43.7865
2019-03-08 08:45:00 | 6.534 | 238.08 | 8.566 | 244.526 | 8.449 | 251 | 8.27 | 249.567 | -1.529 | 889.867 | 52.523 | 53.1291
2019-03-08 09:00:00 | 6.557 | 236.38 | 8.266 | 240.711 | 8.699 | 248.2 | 8.632 | 244.8 | 0 | 890.367 | 48.107 | 61.248
2019-03-08 09:15:00 | 5.344 | 233.507 | 6.79 | 235.081 | 7.527 | 244.1 | 7.661 | 241.2 | 0.831 | 889.792 | 46.048 | 57.671
2019-03-08 09:30:00 | 6.232 | 240.653 | 6.864 | 239.844 | 7.452 | 244.6 | 7.396 | 242.033 | 1.979 | 890.142 | 43.147 | 43.157
2019-03-08 09:45:00 | 6.377 | 236.827 | 6.508 | 235.13 | 7.04 | 241.1 | 7.295 | 236.767 | 2.346 | 889.842 | 41.589 | 32.858
2019-03-08 10:00:00 | 6.113 | 240.4 | 6.222 | 240.859 | 6.496 | 244.233 | 6.441 | 239.767 | 3.187 | 889.65 | 40.032 | 26.291
2019-03-08 10:15:00 | 6.464 | 238.333 | 6.582 | 239.046 | 6.635 | 246.367 | 6.912 | 239.883 | 3.538 | 890.217 | 39.04 | 26.3435
2019-03-08 10:30:00 | 5.28 | 273.067 | 5.716 | 268.174 | 6.004 | 274.033 | 6.062 | 268.767 | 4.271 | 890.017 | 37.061 | 22.8831
2019-03-08 10:45:00 | 6.511 | 274.413 | 7.13 | 276.508 | 7.152 | 279.3 | 7.253 | 275.267 | 4.468 | 889.917 | 36.112 | 23.5119
2019-03-08 11:00:00 | 7.891 | 292.453 | 8.284 | 292.25 | 8.574 | 295.667 | 8.823 | 292.467 | 3.968 | 889.65 | 37.043 | 29.9895
2019-03-08 11:15:00 | 7.339 | 304.533 | 7.663 | 298.113 | 7.685 | 302.933 | 8.052 | 300.133 | 3.889 | 889.85 | 36.541 | 29.006
2019-03-08 11:30:00 | 8.652 | 306.933 | 8.6 | 302.501 | 8.582 | 307.833 | 8.998 | 306.5 | 4.305 | 889.8 | 36.571 | 31.6493
2019-03-08 11:45:00 | 7.542 | 306.64 | 7.8 | 300.943 | 8.052 | 306.133 | 8.336 | 305.767 | 4.166 | 889.617 | 35.787 | 35.7891
2019-03-08 12:00:00 | 7.741 | 311.44 | 7.907 | 302.493 | 8.338 | 308.067 | 8.42 | 306.167 | 4.364 | 889.55 | 35.659 | 37.5968
2019-03-08 12:15:00 | 7.358 | 304 | 7.759 | 299.82 | 8.2 | 306.467 | 8.308 | 304.667 | 4.404 | 889.6 | 35.264 | 35.7365
2019-03-08 12:30:00 | 7.147 | 323 | 7.295 | 315.137 | 7.318 | 317.9 | 7.545 | 314.4 | 4.785 | 890.333 | 35.165 | 32.5965
2019-03-08 12:45:00 | 6.692 | 292.067 | 7.126 | 290.381 | 7.302 | 293.967 | 7.727 | 293.633 | 5.398 | 889.45 | 33.963 | 30.4975
2019-03-08 13:00:00 | 6.96 | 306.373 | 7.356 | 300.672 | 7.418 | 308.833 | 7.713 | 303.8 | 5.359 | 890.05 | 33.784 | 28.358
2019-03-08 13:15:00 | 7.558 | 304.84 | 7.814 | 301.148 | 7.935 | 305.467 | 8.262 | 304 | 5.541 | 889.733 | 32.891 | 28.7524
2019-03-08 13:30:00 | 8.05 | 313.28 | 8.194 | 305.235 | 8.586 | 309 | 9.07 | 307.467 | 5.616 | 889.75 | 32.789 | 31.7879
2019-03-08 13:45:00 | 7.746 | 298.933 | 8.2 | 295.371 | 8.163 | 300.3 | 8.169 | 295.233 | 6.028 | 889.767 | 32.12 | 36.1359
2019-03-08 14:00:00 | 6.901 | 309.467 | 7.214 | 304.667 | 7.29 | 309.7 | 7.882 | 305.8 | 5.895 | 889.967 | 32.48 | 35.7713
2019-03-08 14:15:00 | 7.359 | 313.6 | 7.714 | 311.296 | 8.021 | 315.3 | 8.605 | 312.267 | 5.762 | 889.567 | 31.269 | 34.719
2019-03-08 14:30:00 | 7.827 | 311.133 | 8.247 | 304.971 | 8.495 | 308.167 | 9.143 | 307.467 | 5.895 | 889.65 | 30.749 | 40.8441
2019-03-08 14:45:00 | 8.232 | 309.387 | 8.279 | 300.673 | 8.528 | 308.367 | 8.661 | 306.933 | 6.406 | 889.817 | 28.997 | 45.7022
2019-03-08 15:00:00 | 8.164 | 303.227 | 8.686 | 298.632 | 9.094 | 304 | 9.296 | 300.3 | 6.168 | 889.933 | 29.125 | 54.7477
2019-03-08 15:15:00 | 8.62 | 311.32 | 9.069 | 308.96 | 9.419 | 313.4 | 9.766 | 311.433 | 6.621 | 889.75 | 28.571 | 56.0111
2019-03-08 15:30:00 | 8.668 | 319.56 | 9.309 | 314.859 | 9.828 | 319.2 | 9.994 | 319.633 | 6.682 | 889.65 | 29.699 | 59.0047
2019-03-08 15:45:00 | 8.251 | 308.267 | 8.587 | 301.052 | 8.808 | 306.967 | 9.088 | 305.867 | 6.608 | 889.567 | 29.093 | 65.5611
2019-03-08 16:00:00 | 8.687 | 314.68 | 9.26 | 309.991 | 9.908 | 315.033 | 10.419 | 312.533 | 6.562 | 889.95 | 29.547 | 68.6962
2019-03-08 16:15:00 | 9.973 | 321.453 | 10.277 | 314.217 | 10.571 | 318.1 | 10.822 | 316.833 | 6.754 | 889.867 | 29.765 | 71.466
2019-03-08 16:30:00 | 9.775 | 311.12 | 10.23 | 303.048 | 10.526 | 306.333 | 11.099 | 303.9 | 6.769 | 889.567 | 29.379 | 72.2341
2019-03-08 16:45:00 | 10.07 | 308.733 | 10.663 | 301.562 | 10.783 | 308 | 11.134 | 306.1 | 6.956 | 889.833 | 28.845 | 73.7703
2019-03-08 17:00:00 | 9.269 | 308.573 | 9.803 | 304.2 | 10.136 | 307.033 | 10.771 | 307.333 | 6.568 | 890.017 | 28.645 | 73.1983
2019-03-08 17:15:00 | 8.62 | 298.173 | 9.4 | 295.391 | 9.653 | 300 | 9.962 | 297.867 | 6.717 | 889.75 | 30.405 | 70.0576
2019-03-08 17:30:00 | 8.968 | 288.107 | 9.822 | 285.168 | 9.992 | 289.567 | 10.13 | 289.333 | 6.535 | 889.3 | 32.267 | 67.6388
2019-03-08 17:45:00 | 9.074 | 279.213 | 9.767 | 278.614 | 9.958 | 282.167 | 10.03 | 279.3 | 5.915 | 889.483 | 32.104 | 68.7111
2019-03-08 18:00:00 | 8.418 | 290.8 | 8.899 | 285.365 | 9.187 | 288.767 | 9.489 | 286.9 | 6.244 | 889.983 | 32.517 | 63.568
2019-03-08 18:15:00 | 8.108 | 275.093 | 8.874 | 276.46 | 9.175 | 280.733 | 9.41 | 277.633 | 5.62 | 889.467 | 33.419 | 56.6222
2019-03-08 18:30:00 | 8.529 | 302.333 | 9.277 | 296.878 | 9.596 | 301.933 | 10.178 | 300.533 | 5.73 | 889.733 | 33.08 | 57.7968
2019-03-08 18:45:00 | 9.269 | 292.907 | 10.119 | 291.622 | 10.565 | 297.6 | 11.151 | 294.467 | 5.557 | 889.883 | 33.56 | 64.172
2019-03-08 19:00:00 | 8.087 | 280.72 | 9.096 | 281.252 | 9.399 | 284.633 | 9.748 | 284.433 | 4.981 | 889.917 | 33.896 | 62.5419
2019-03-08 19:15:00 | 7.167 | 284.093 | 8.11 | 281.501 | 8.281 | 285.167 | 8.67 | 282.633 | 4.869 | 889.883 | 35.517 | 51.7435
2019-03-08 19:30:00 | 6.588 | 273.187 | 7.58 | 272.37 | 7.99 | 277.3 | 8.047 | 274.4 | 4.001 | 889.4 | 38.819 | 42.3739
2019-03-08 19:45:00 | 5.72 | 272.2 | 6.844 | 270.702 | 6.95 | 274.4 | 7.11 | 269.233 | 3.773 | 889.883 | 40.195 | 39.283
2019-03-08 20:00:00 | 5.868 | 268.3 | 6.762 | 268.983 | 7.195 | 272.867 | 7.294 | 269.033 | 3.288 | 890.358 | 42.432 | 33.0101
2019-03-08 20:15:00 | 6.549 | 263.68 | 7.975 | 262.066 | 8.213 | 268.567 | 8.407 | 263.767 | 2.801 | 890.183 | 45.531 | 35.0764
2019-03-08 20:30:00 | 6.188 | 252.74 | 7.371 | 254.096 | 7.757 | 258.817 | 7.784 | 255.6 | 2.148 | 889.783 | 48.587 | 34.7446
2019-03-08 20:45:00 | 6.115 | 252.147 | 7.5 | 252.732 | 8.002 | 258.15 | 8.114 | 253.983 | 2.001 | 889.583 | 50.347 | 41.1468
2019-03-08 21:00:00 | 5.365 | 249.467 | 6.676 | 251.816 | 7.096 | 257.533 | 7.247 | 254.467 | 1.195 | 889.7 | 50.384 | 38.22
2019-03-08 21:15:00 | 5.356 | 254.047 | 6.657 | 257.536 | 7.149 | 264.5 | 7.5 | 260.083 | 0.515 | 889.967 | 51.707 | 37.8355
2019-03-08 21:30:00 | 5.503 | 253.407 | 6.958 | 258.409 | 7.107 | 264.567 | 7.418 | 260.783 | 0.1 | 890.225 | 52.965 | 35.2057
2019-03-08 21:45:00 | 5.918 | 241.873 | 7.203 | 247.9 | 7.595 | 254.767 | 7.991 | 251.833 | 0.1 | 889.7 | 54.293 | 38.5092
2019-03-08 22:00:00 | 5.562 | 230.013 | 6.866 | 234.948 | 7.259 | 245.967 | 7.262 | 244.333 | -0.146 | 890.058 | 55.563 | 45.4223
2019-03-08 22:15:00 | 5.554 | 238.733 | 7.068 | 243.075 | 7.207 | 251.267 | 7.125 | 249.583 | -0.638 | 890.492 | 55.52 | 45.0172
2019-03-08 22:30:00 | 5.245 | 228.7 | 6.261 | 233.229 | 6.316 | 244.733 | 6.359 | 244.5 | -0.339 | 889.717 | 54.901 | 39.4137
2019-03-08 22:45:00 | 5.698 | 228.847 | 6.953 | 234.038 | 7.04 | 244.433 | 6.991 | 243.533 | -0.725 | 889.358 | 55.851 | 43.0781
2019-03-08 23:00:00 | 6.408 | 232.22 | 7.762 | 234.773 | 7.762 | 243.6 | 7.734 | 242.133 | -0.882 | 889.767 | 55.499 | 42.5196
2019-03-08 23:15:00 | 6.548 | 236.913 | 7.748 | 239.58 | 7.701 | 246.833 | 7.558 | 244.6 | -0.972 | 889.733 | 53.984 | 41.6797
2019-03-08 23:30:00 | 5.952 | 240.773 | 7.179 | 244.757 | 7.224 | 251.9 | 7.33 | 251.1 | -0.978 | 889.558 | 54.048 | 36.4578
2019-03-08 23:45:00 | 5.639 | 230.107 | 7.295 | 233.584 | 7.481 | 243.833 | 7.135 | 242.5 | -1.135 | 890.175 | 54.965 | 34.2237