## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-09 00:00:00 | 6.212 | 232.26 | 7.744 | 235.206 | 8.092 | 242.767 | 7.9 | 238.233 | -1.412 | 890.342 | 53.099 | 40.0923
2019-03-09 00:15:00 | 5.936 | 227.827 | 7.358 | 231.3 | 7.72 | 240.533 | 7.489 | 237.967 | -1.62 | 889.767 | 53.931 | 39.0641
2019-03-09 00:30:00 | 5.713 | 216.44 | 6.986 | 219.866 | 7.419 | 229.9 | 7.354 | 231.1 | -2.197 | 890.217 | 57.216 | 37.1527
2019-03-09 00:45:00 | 5.786 | 222.76 | 7.539 | 226.566 | 8.02 | 235.533 | 7.799 | 233.7 | -2.263 | 889.983 | 60.843 | 39.5608
2019-03-09 01:00:00 | 5.713 | 232.62 | 7.769 | 236.255 | 8.168 | 243.9 | 8.164 | 241.633 | -2.315 | 890.175 | 60.245 | 40.9464
2019-03-09 01:15:00 | 5.177 | 232.953 | 7.288 | 233.967 | 7.809 | 242.633 | 7.739 | 240.067 | -2.3 | 890.142 | 59.797 | 40.1449
2019-03-09 01:30:00 | 5.853 | 223.58 | 7.782 | 229.949 | 8.02 | 239.6 | 8.037 | 236.767 | -2.821 | 889.75 | 62.485 | 39.6368
2019-03-09 01:45:00 | 6.238 | 224.867 | 7.749 | 231.773 | 7.94 | 239.267 | 8.012 | 236.767 | -3.187 | 890.058 | 61.941 | 38.5362
2019-03-09 02:00:00 | 6.056 | 217.62 | 7.586 | 227.359 | 7.963 | 237.667 | 7.798 | 235.267 | -3.016 | 890.067 | 60.48 | 40.837
2019-03-09 02:15:00 | 5.645 | 223.833 | 7.913 | 232.12 | 8.168 | 242.033 | 8.167 | 239.333 | -3.371 | 889.858 | 58.208 | 45.0521
2019-03-09 02:30:00 | 5.99 | 222.133 | 7.939 | 230.156 | 8.305 | 240.133 | 8.181 | 237.067 | -3.069 | 889.533 | 57.163 | 44.2015
2019-03-09 02:45:00 | 6 | 226.167 | 7.894 | 233.292 | 8.323 | 242.9 | 8.286 | 241.633 | -3.254 | 889.983 | 57.44 | 45.8998
2019-03-09 03:00:00 | 6.263 | 219.967 | 7.717 | 226.632 | 7.921 | 237.067 | 7.612 | 235.533 | -3.454 | 890.083 | 57.6 | 42.3377
2019-03-09 03:15:00 | 5.684 | 225.767 | 7.552 | 231.636 | 8.05 | 241.3 | 7.996 | 237.433 | -3.371 | 889.717 | 55.061 | 44.372
2019-03-09 03:30:00 | 5.094 | 220.467 | 7.026 | 229.165 | 7.848 | 242.867 | 7.861 | 241.8 | -3.639 | 889.992 | 57.515 | 43.9478
2019-03-09 03:45:00 | 5.102 | 225.833 | 7.59 | 229.851 | 8.175 | 240.833 | 7.908 | 238.1 | -3.672 | 889.675 | 60.075 | 44.441
2019-03-09 04:00:00 | 5.623 | 221.107 | 7.501 | 227.187 | 8.032 | 237.9 | 7.994 | 236.433 | -4.424 | 890.258 | 60.48 | 44.0615
2019-03-09 04:15:00 | 5.655 | 222.76 | 7.366 | 232.545 | 8.038 | 243.933 | 8.143 | 241.667 | -4.268 | 890.008 | 59.755 | 44.6229
2019-03-09 04:30:00 | 5.205 | 234.28 | 7.312 | 237.502 | 8.055 | 245.4 | 8.158 | 242.6 | -3.173 | 889.433 | 54.016 | 44.0161
2019-03-09 04:45:00 | 5.744 | 226.807 | 7.551 | 232.219 | 7.843 | 241.567 | 7.714 | 238.2 | -2.76 | 889.9 | 52.608 | 41.2477
2019-03-09 05:00:00 | 6.77 | 216.267 | 7.976 | 220.583 | 8.004 | 230.1 | 7.926 | 228.267 | -4.04 | 890.1 | 55.477 | 40.1875
2019-03-09 05:15:00 | 6.556 | 220.84 | 8.05 | 223.072 | 7.975 | 231.467 | 7.786 | 229.8 | -4.424 | 890 | 56.821 | 41.792
2019-03-09 05:30:00 | 6.311 | 220.627 | 7.478 | 226.073 | 7.619 | 234.733 | 7.491 | 232.9 | -4.153 | 890.075 | 56.48 | 39.5793
2019-03-09 05:45:00 | 6.149 | 218.4 | 7.185 | 226.121 | 7.462 | 234.3 | 7.348 | 232.433 | -4.072 | 889.65 | 57.099 | 34.6749
2019-03-09 06:00:00 | 5.882 | 215.087 | 6.976 | 225.388 | 7.113 | 235.767 | 6.95 | 233.967 | -4.265 | 889.525 | 58.368 | 33.3377
2019-03-09 06:15:00 | 5.9 | 216.74 | 7.162 | 225.295 | 7.283 | 235.467 | 7.084 | 233.967 | -4.424 | 890.35 | 58.251 | 37.2287
2019-03-09 06:30:00 | 6.171 | 214.82 | 7.784 | 221.716 | 7.837 | 229.9 | 7.539 | 228.133 | -4.562 | 889.325 | 58.059 | 38.5902
2019-03-09 06:45:00 | 6.251 | 218.18 | 7.783 | 224.018 | 7.882 | 232.267 | 7.503 | 231.567 | -4.444 | 890.117 | 57.963 | 40.8775
2019-03-09 07:00:00 | 6.544 | 217.987 | 7.785 | 226.39 | 7.916 | 236.133 | 7.823 | 235.033 | -4.562 | 890.175 | 57.845 | 39.2183
2019-03-09 07:15:00 | 6.418 | 216.047 | 7.834 | 224.845 | 8.123 | 234.733 | 8.07 | 233.333 | -4.709 | 889.625 | 59.125 | 40.6586
2019-03-09 07:30:00 | 6.876 | 217.7 | 7.936 | 226.292 | 8.076 | 236.733 | 7.923 | 235.033 | -5.085 | 889.858 | 59.808 | 44.2321
2019-03-09 07:45:00 | 6.47 | 217.533 | 8.643 | 220.935 | 8.375 | 229.4 | 8.145 | 229.467 | -5.319 | 889.917 | 60.768 | 43.1357
2019-03-09 08:00:00 | 6.626 | 215.76 | 9.259 | 214.43 | 8.983 | 221.733 | 8.465 | 221.9 | -4.799 | 890.017 | 60.864 | 46.5677
2019-03-09 08:15:00 | 6.97 | 216.533 | 9.268 | 214.251 | 8.957 | 222.533 | 8.616 | 221.933 | -4.206 | 889.5 | 59.445 | 47.5
2019-03-09 08:30:00 | 7.294 | 215.48 | 8.802 | 216.813 | 8.758 | 223.767 | 8.549 | 221.667 | -3.09 | 889.75 | 56.437 | 48.428
2019-03-09 08:45:00 | 6.448 | 219.587 | 8.443 | 220.661 | 8.652 | 228.333 | 8.604 | 225.833 | -2.382 | 889.842 | 52.683 | 51.9957
2019-03-09 09:00:00 | 6.525 | 220.187 | 8.235 | 220.343 | 8.593 | 228.9 | 8.751 | 226.867 | -1.249 | 889.908 | 48.875 | 54.6916
2019-03-09 09:15:00 | 6.48 | 222.56 | 7.797 | 222.674 | 8.577 | 229.067 | 8.741 | 225.967 | -0.242 | 889.733 | 44.768 | 51.2368
2019-03-09 09:30:00 | 6.526 | 220.807 | 7.36 | 220.906 | 8.03 | 228.3 | 8.393 | 225.933 | 1.159 | 889.817 | 41.205 | 46.9024
2019-03-09 09:45:00 | 6.97 | 227.973 | 7.297 | 226.875 | 7.736 | 232.033 | 7.947 | 228.667 | 2.032 | 890 | 38.699 | 39.0314
2019-03-09 10:00:00 | 6.589 | 240.22 | 6.763 | 238.003 | 6.912 | 239.233 | 6.958 | 234.3 | 2.578 | 889.633 | 36.997 | 32.2192
2019-03-09 10:15:00 | 6.373 | 243.133 | 6.805 | 244.748 | 7.059 | 248.933 | 6.882 | 245.1 | 3.672 | 889.75 | 34.928 | 30.7476
2019-03-09 10:30:00 | 6.967 | 258.247 | 7.519 | 258.752 | 7.61 | 264.1 | 7.573 | 258.817 | 4.285 | 890.267 | 31.307 | 28.5868
2019-03-09 10:45:00 | 7.591 | 268.28 | 8.058 | 272.574 | 7.963 | 275.2 | 8.055 | 270.367 | 4.035 | 889.817 | 30.251 | 26.5425
2019-03-09 11:00:00 | 7.795 | 275.387 | 8.504 | 272.49 | 8.443 | 278.967 | 8.638 | 275.367 | 4.434 | 889.917 | 28.928 | 32.3109
2019-03-09 11:15:00 | 7.736 | 291.653 | 8.209 | 286.117 | 8.184 | 291.833 | 8.377 | 288.467 | 3.934 | 889.683 | 27.795 | 41.7309
2019-03-09 11:30:00 | 7.301 | 279.267 | 8.013 | 281.291 | 7.962 | 286.433 | 8.108 | 283.2 | 4.364 | 890.133 | 27.467 | 40.6934
2019-03-09 11:45:00 | 7.232 | 292.693 | 7.359 | 289.929 | 7.357 | 295.867 | 8.022 | 293.2 | 4.726 | 890.1 | 24.904 | 35.6029
2019-03-09 12:00:00 | 7.167 | 288.08 | 7.589 | 287.342 | 7.548 | 292.233 | 7.856 | 288.133 | 5.286 | 889.6 | 25.832 | 35.6733
2019-03-09 12:15:00 | 7.262 | 307.76 | 7.568 | 300.377 | 7.766 | 304.233 | 8.183 | 300.7 | 5.272 | 889.533 | 22.371 | 36.3675
2019-03-09 12:30:00 | 6.942 | 282.86 | 7.524 | 281.61 | 7.683 | 285.567 | 7.807 | 285 | 5.319 | 889.633 | 22.704 | 38.8815
2019-03-09 12:45:00 | 7.771 | 276.067 | 8.295 | 279.852 | 8.256 | 287.333 | 8.349 | 285.667 | 5.448 | 889.65 | 23.088 | 39.5899
2019-03-09 13:00:00 | 7.728 | 285.753 | 8.329 | 284.865 | 8.325 | 289.2 | 8.604 | 285 | 5.257 | 889.767 | 22.155 | 37.9954
2019-03-09 13:15:00 | 6.968 | 291.213 | 7.291 | 288.217 | 7.33 | 293.267 | 7.465 | 292.933 | 5.882 | 889.65 | 22.907 | 37.4916
2019-03-09 13:30:00 | 8.638 | 305.213 | 9.049 | 298.554 | 9.406 | 300.9 | 9.627 | 298.067 | 6.28 | 890.433 | 22.859 | 34.5605
2019-03-09 13:45:00 | 7.756 | 293.033 | 7.914 | 286.692 | 8.546 | 292.4 | 8.742 | 288.917 | 6.32 | 890.15 | 22.904 | 34.0084
2019-03-09 14:00:00 | 6.774 | 290.387 | 7.313 | 283.009 | 7.792 | 286.333 | 8.108 | 281.083 | 6.737 | 889.633 | 22.056 | 31.3353
2019-03-09 14:15:00 | 7.585 | 311.08 | 8.015 | 303.043 | 8.422 | 307.6 | 8.603 | 304.067 | 6.463 | 889.817 | 21.493 | 34.6856
2019-03-09 14:30:00 | 7.932 | 308.427 | 8.05 | 305.638 | 8.413 | 308.333 | 8.804 | 306.567 | 6.565 | 889.567 | 19.911 | 38.6847
2019-03-09 14:45:00 | 7.409 | 299.253 | 7.74 | 294.888 | 7.92 | 299.1 | 8.216 | 295.167 | 6.688 | 889.3 | 19.82 | 39.9019
2019-03-09 15:00:00 | 8.31 | 304.467 | 8.75 | 297.58 | 9.155 | 299.9 | 9.46 | 299.7 | 7.122 | 889.75 | 20.481 | 43.7759
2019-03-09 15:15:00 | 7.144 | 299.973 | 7.528 | 294.73 | 7.54 | 297.5 | 8.173 | 293.433 | 6.635 | 889.967 | 21.085 | 47.2797
2019-03-09 15:30:00 | 8.855 | 309.387 | 9.515 | 300.075 | 9.778 | 304.3 | 10.192 | 300.3 | 6.804 | 889.483 | 22.048 | 47.8894
2019-03-09 15:45:00 | 9.879 | 296.227 | 9.866 | 294.066 | 10.087 | 298.9 | 10.341 | 295.3 | 6.582 | 889.75 | 22.824 | 56.6123
2019-03-09 16:00:00 | 10.099 | 301.533 | 10.606 | 295.8 | 10.962 | 299.6 | 11.436 | 297.033 | 6.227 | 889.917 | 23.581 | 66.028
2019-03-09 16:15:00 | 10.636 | 303.213 | 11.327 | 296.331 | 11.544 | 301.567 | 11.908 | 298.833 | 6.346 | 889.5 | 25.747 | 70.6694
2019-03-09 16:30:00 | 11.79 | 294.067 | 12.522 | 291.631 | 12.737 | 296.133 | 13.085 | 293.867 | 6.36 | 889.817 | 26.696 | 73.8108
2019-03-09 16:45:00 | 9.353 | 288.573 | 10.803 | 287.191 | 11.203 | 291.833 | 11.476 | 289.033 | 6.088 | 889.7 | 26.467 | 74.0034
2019-03-09 17:00:00 | 10.674 | 293.293 | 11.551 | 292.593 | 11.792 | 296.633 | 12.461 | 293.433 | 5.852 | 889.75 | 27.736 | 74.3345
2019-03-09 17:15:00 | 10.106 | 283.133 | 10.953 | 286.294 | 11.107 | 289.567 | 11.699 | 287.8 | 5.746 | 889.9 | 30.8 | 74.9435
2019-03-09 17:30:00 | 10.681 | 285.173 | 11.723 | 283.101 | 11.967 | 286.633 | 12.422 | 284.467 | 5.409 | 889.933 | 31.472 | 76.0207
2019-03-09 17:45:00 | 11.157 | 275.64 | 12.113 | 273.444 | 12.238 | 278.833 | 12.785 | 274.667 | 5.227 | 890 | 32.483 | 73.6083
2019-03-09 18:00:00 | 10.918 | 291.12 | 11.466 | 288.355 | 11.837 | 291.6 | 12.269 | 289.633 | 5.081 | 889.7 | 30.893 | 72.7706
2019-03-09 18:15:00 | 11.149 | 279.227 | 11.908 | 278.078 | 12.008 | 281.5 | 12.159 | 279.233 | 5.09 | 889.933 | 34.267 | 72.5915
2019-03-09 18:30:00 | 10.567 | 268.193 | 11.653 | 270.528 | 11.941 | 274.8 | 11.997 | 273.467 | 4.919 | 889.85 | 35.923 | 73.4392
2019-03-09 18:45:00 | 10.418 | 265.707 | 11.454 | 268.67 | 11.98 | 271.467 | 12.266 | 268.733 | 4.577 | 889.767 | 38.355 | 72.8217
2019-03-09 19:00:00 | 11.749 | 263.18 | 12.889 | 267.71 | 13.336 | 272.7 | 13.325 | 268.733 | 4.001 | 889.633 | 40.741 | 73.2331
2019-03-09 19:15:00 | 9.441 | 258.067 | 10.545 | 262.096 | 11.044 | 267.167 | 11.412 | 261.483 | 3.589 | 889.925 | 43.813 | 73.8776
2019-03-09 19:30:00 | 10.832 | 262.927 | 12.058 | 263.121 | 12.174 | 269.233 | 12.458 | 266.3 | 2.86 | 889.75 | 46.661 | 73.2694
2019-03-09 19:45:00 | 11.105 | 254.927 | 12.648 | 257.466 | 13.011 | 262.1 | 13.258 | 258.217 | 2.032 | 890.217 | 49.477 | 72.6029
2019-03-09 20:00:00 | 8.394 | 252.807 | 9.645 | 253.867 | 10.284 | 256.917 | 10.401 | 252.967 | 2.048 | 889.842 | 50.277 | 72.1296
2019-03-09 20:15:00 | 9.595 | 251.793 | 10.934 | 254.454 | 11.54 | 258.717 | 11.803 | 255.233 | 1.885 | 890.358 | 52.384 | 72.9262
2019-03-09 20:30:00 | 9.1 | 250.073 | 10.98 | 254.181 | 11.411 | 257.65 | 11.907 | 254.6 | 1.152 | 890.067 | 53.131 | 72.7222
2019-03-09 20:45:00 | 9.212 | 249.48 | 11.076 | 252.642 | 11.397 | 258.967 | 11.859 | 256.65 | 1.456 | 889.667 | 52.72 | 73.646
2019-03-09 21:00:00 | 9.545 | 245.96 | 10.699 | 248.792 | 11.465 | 254.75 | 11.771 | 252.167 | 1.109 | 890.117 | 53.744 | 73.2395
2019-03-09 21:15:00 | 8.934 | 243.8 | 10.523 | 248.237 | 11.086 | 253.733 | 11.233 | 250.683 | 1.099 | 890.067 | 53.952 | 72.7777
2019-03-09 21:30:00 | 8.894 | 247.387 | 10.719 | 249.652 | 11.512 | 254.583 | 11.681 | 251.267 | 0.932 | 889.667 | 54.88 | 73.4193
2019-03-09 21:45:00 | 9.21 | 247.68 | 10.854 | 252.587 | 11.778 | 257.717 | 12.27 | 254.433 | 0.499 | 890.392 | 55.835 | 73.7071
2019-03-09 22:00:00 | 8.641 | 247.673 | 11.096 | 253.951 | 11.836 | 259.467 | 12.341 | 255.15 | 0.349 | 889.942 | 54.165 | 73.7504
2019-03-09 22:15:00 | 8.098 | 243.78 | 9.918 | 248.586 | 10.574 | 256.3 | 11.202 | 252.967 | 0.499 | 890.158 | 54.075 | 74.3828
2019-03-09 22:30:00 | 7.816 | 245.947 | 9.53 | 249.846 | 10.284 | 256.433 | 10.598 | 252.55 | 0.582 | 889.917 | 54.219 | 74.5519
2019-03-09 22:45:00 | 6.734 | 243.727 | 8.404 | 246.766 | 9.243 | 253.917 | 9.482 | 251.733 | -0.116 | 889.867 | 54.08 | 74.0318
2019-03-09 23:00:00 | 7.55 | 237.64 | 8.994 | 242.614 | 9.686 | 250.4 | 9.925 | 246.167 | -0.332 | 890.092 | 54.048 | 73.1031
2019-03-09 23:15:00 | 7.236 | 237.107 | 8.687 | 242.509 | 9.284 | 249.167 | 9.363 | 246.067 | -0.189 | 890.108 | 53.301 | 73.8549
2019-03-09 23:30:00 | 6.662 | 241 | 8.232 | 244.965 | 8.763 | 251.7 | 8.845 | 248.2 | -0.678 | 889.992 | 52.693 | 72.3741
2019-03-09 23:45:00 | 5.707 | 241.38 | 7.342 | 243.524 | 8.246 | 251.133 | 8.338 | 249.25 | -0.449 | 889.658 | 52.715 | 66.4465