## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-10 00:00:00 | 5.541 | 239.4 | 6.68 | 242.204 | 7.288 | 250.967 | 7.573 | 249.2 | -0.419 | 890.125 | 53.333 | 55.9131
2019-03-10 00:15:00 | 6.164 | 238.313 | 7.324 | 239.951 | 7.868 | 248 | 7.844 | 245.117 | -0.848 | 890.308 | 53.397 | 55.4725
2019-03-10 00:30:00 | 6.844 | 237.467 | 7.919 | 238.545 | 8.154 | 246.633 | 8.175 | 244.167 | -0.638 | 889.642 | 53.696 | 58.0632
2019-03-10 00:45:00 | 7.162 | 235.747 | 8.465 | 236.078 | 8.786 | 243.6 | 8.72 | 241.9 | -0.948 | 889.925 | 53.365 | 66.2539
2019-03-10 01:00:00 | 7.125 | 237.767 | 8.366 | 238.848 | 8.794 | 246.3 | 8.98 | 244.5 | -0.598 | 889.742 | 52.96 | 69.9567
2019-03-10 01:15:00 | 7.445 | 233.64 | 8.445 | 234.342 | 8.906 | 243 | 8.848 | 242.833 | -0.612 | 890.008 | 52.789 | 71.8212
2019-03-10 01:30:00 | 7.722 | 231 | 9.28 | 233.23 | 9.69 | 239.6 | 9.58 | 237.4 | -0.722 | 890.125 | 52.736 | 74.4105
2019-03-10 01:45:00 | 7.877 | 233.773 | 9.281 | 235.366 | 10.027 | 241.4 | 9.723 | 238.533 | -0.958 | 889.508 | 52.8 | 75.1744
2019-03-10 02:00:00 | 7.583 | 233.713 | 8.948 | 236.943 | 9.416 | 243.867 | 9.387 | 239.1 | -1.199 | 890.275 | 52.693 | 74.7033
2019-03-10 02:15:00 | 8.292 | 235.233 | 9.675 | 238.637 | 10.113 | 245.633 | 10.289 | 240.967 | -0.865 | 890.108 | 52.277 | 75.6555
2019-03-10 02:30:00 | 7.668 | 237.133 | 8.961 | 239.238 | 9.525 | 247.467 | 9.852 | 244.617 | -0.718 | 889.975 | 51.787 | 73.0676
2019-03-10 02:45:00 | 6.88 | 234.467 | 8.208 | 243.145 | 9.016 | 251.767 | 9.264 | 249.283 | -0.478 | 889.642 | 52.032 | 65.0886
2019-03-10 03:00:00 | 5.887 | 236.6 | 7.057 | 243.655 | 7.898 | 252.133 | 8.264 | 251.033 | -1.048 | 889.667 | 52.896 | 52.3887
2019-03-10 03:15:00 | 5.769 | 234.033 | 6.902 | 240.366 | 7.421 | 247.167 | 7.742 | 247.25 | -0.845 | 889.875 | 53.077 | 50.0559
2019-03-10 03:30:00 | 6.433 | 236.313 | 7.932 | 241.235 | 8.548 | 248.833 | 8.562 | 247.45 | -0.848 | 889.858 | 52.683 | 53.0481
2019-03-10 03:45:00 | 7.184 | 230.78 | 8.304 | 232.884 | 8.864 | 242.2 | 8.979 | 240.4 | -0.908 | 889.675 | 51.765 | 70.9913
2019-03-10 04:00:00 | 7.2 | 230.587 | 8.454 | 233.119 | 9.016 | 239.7 | 8.982 | 236.533 | -0.982 | 889.95 | 51.541 | 75.2135
2019-03-10 04:15:00 | 7.085 | 232.38 | 8.504 | 233.56 | 9.201 | 240.533 | 9.031 | 237.567 | -1.109 | 889.533 | 51.36 | 74.4837
2019-03-10 04:30:00 | 7.063 | 230.54 | 8.061 | 232.847 | 8.361 | 240.533 | 8.22 | 240.7 | -1.396 | 889.608 | 51.712 | 72.1694
2019-03-10 04:45:00 | 6.402 | 229.06 | 7.244 | 232.481 | 7.503 | 243.9 | 7.358 | 241.567 | -1.443 | 890.067 | 52.853 | 64.8691
2019-03-10 05:00:00 | 6.396 | 228.4 | 7.558 | 233.557 | 7.806 | 242.4 | 7.763 | 241.867 | -1.7 | 890.217 | 53.344 | 56.2364
2019-03-10 05:15:00 | 6.513 | 230.693 | 7.759 | 234.147 | 7.922 | 243.133 | 7.936 | 242.3 | -1.519 | 889.908 | 53.451 | 55.7809
2019-03-10 05:30:00 | 6.636 | 231.52 | 8.188 | 234.323 | 8.758 | 243.1 | 8.736 | 241.567 | -1.64 | 890.342 | 53.013 | 56.7672
2019-03-10 05:45:00 | 6.806 | 231.493 | 8.422 | 233.194 | 8.957 | 241.1 | 8.93 | 239.133 | -1.489 | 889.592 | 52.203 | 61.5571
2019-03-10 06:00:00 | 6.784 | 235.827 | 8.418 | 237.629 | 9.071 | 244.633 | 9.284 | 241.867 | -1.015 | 889.925 | 51.392 | 66.5879
2019-03-10 06:15:00 | 7.003 | 232.793 | 8.537 | 234.919 | 8.93 | 241.767 | 8.78 | 238.333 | -1.099 | 890.05 | 51.008 | 66.5709
2019-03-10 06:30:00 | 6.684 | 233.08 | 7.923 | 234.971 | 8.413 | 243.8 | 8.501 | 242.167 | -1.016 | 890.05 | 51.051 | 61.6282
2019-03-10 06:45:00 | 6.25 | 230.413 | 7.248 | 231.211 | 7.548 | 239 | 7.563 | 236.2 | -1.032 | 889.933 | 51.605 | 57.3378
2019-03-10 07:00:00 | 5.646 | 229.96 | 6.69 | 231.659 | 7.281 | 240.867 | 7.283 | 241.367 | -1.72 | 889.967 | 52.971 | 53.0033
2019-03-10 07:15:00 | 6.634 | 232.367 | 8.465 | 234.798 | 8.882 | 243.167 | 8.789 | 241.533 | -1.446 | 889.942 | 53.899 | 56.6663
2019-03-10 07:30:00 | 6.666 | 232.413 | 7.917 | 235.231 | 8.421 | 244.133 | 8.336 | 242.6 | -1.453 | 889.975 | 53.707 | 67.7234
2019-03-10 07:45:00 | 7.032 | 227.507 | 7.816 | 230.738 | 8.052 | 238.3 | 7.985 | 237.267 | -1.88 | 889.675 | 54.112 | 64.5862
2019-03-10 08:00:00 | 6.406 | 230.167 | 7.406 | 234.808 | 7.834 | 246.133 | 7.797 | 245.133 | -1.7 | 889.942 | 54.88 | 53.7913
2019-03-10 08:15:00 | 6.248 | 229.893 | 7.155 | 234.176 | 7.596 | 246.9 | 7.856 | 247.967 | -1.859 | 889.717 | 55.765 | 47.7281
2019-03-10 08:30:00 | 6.488 | 226.107 | 7.244 | 229.866 | 7.152 | 242.233 | 7.372 | 247.9 | -2.032 | 889.667 | 55.435 | 45.7918
2019-03-10 08:45:00 | 6.946 | 224.667 | 7.809 | 226.423 | 7.458 | 235.6 | 7.085 | 236.633 | -1.7 | 889.758 | 53.589 | 49.3034
2019-03-10 09:00:00 | 5.925 | 225.093 | 7.356 | 225.31 | 7.645 | 234.667 | 7.401 | 235.8 | -1.015 | 889.817 | 52.811 | 47.4389
2019-03-10 09:15:00 | 4.985 | 219.24 | 5.684 | 222.932 | 5.922 | 232.633 | 5.943 | 235.133 | 0.067 | 889.533 | 49.6 | 41.2797
2019-03-10 09:30:00 | 7.339 | 251.487 | 8.099 | 255.814 | 8.207 | 261.183 | 8.536 | 255.567 | 2.114 | 889.892 | 44.608 | 38.0196
2019-03-10 09:45:00 | 6.998 | 250.553 | 7.942 | 255.584 | 8.214 | 260.4 | 8.448 | 256.133 | 2.76 | 890.108 | 41.936 | 44.1013
2019-03-10 10:00:00 | 7.575 | 257.133 | 8.38 | 260.403 | 8.49 | 264 | 8.688 | 259.917 | 2.733 | 889.742 | 41.797 | 58.8314
2019-03-10 10:15:00 | 8.718 | 265.667 | 9.586 | 267.962 | 9.704 | 272.3 | 9.878 | 267.8 | 3.042 | 889.667 | 42.107 | 55.6374
2019-03-10 10:30:00 | 9.793 | 267.133 | 10.597 | 268.518 | 11.009 | 273.833 | 10.969 | 270.617 | 3.287 | 890.25 | 41.909 | 53.387
2019-03-10 10:45:00 | 9.226 | 269.133 | 9.961 | 273.701 | 10.028 | 277.633 | 10.022 | 275.467 | 3.237 | 890.208 | 42.672 | 66.627
2019-03-10 11:00:00 | 8.246 | 274.52 | 8.818 | 276.681 | 8.736 | 278 | 8.882 | 271.15 | 4.029 | 889.992 | 41.701 | 69.0387
2019-03-10 11:15:00 | 7.641 | 272.033 | 8.556 | 274.206 | 8.622 | 279.567 | 9.004 | 274.8 | 3.739 | 890.175 | 42.272 | 60.1772
2019-03-10 11:30:00 | 7.914 | 284.373 | 8.431 | 283.726 | 8.788 | 287.833 | 8.926 | 287.533 | 3.883 | 889.667 | 41.453 | 60.0635
2019-03-10 11:45:00 | 8.163 | 275.633 | 8.688 | 277.2 | 8.936 | 280.6 | 8.885 | 277.433 | 4.082 | 889.492 | 40.76 | 57.067
2019-03-10 12:00:00 | 8.073 | 263.653 | 8.824 | 267.651 | 9.143 | 272.133 | 9.184 | 269.017 | 4.265 | 889.567 | 39.893 | 49.1371
2019-03-10 12:15:00 | 7.168 | 273.953 | 7.553 | 278.414 | 7.658 | 280.4 | 7.87 | 277.417 | 4.246 | 889.917 | 39.227 | 42.3142
2019-03-10 12:30:00 | 8.507 | 282.327 | 8.904 | 283.599 | 9.054 | 285.9 | 9.163 | 281.3 | 5.034 | 889.517 | 36.765 | 44.2527
2019-03-10 12:45:00 | 8.018 | 293.447 | 8.094 | 293.072 | 7.991 | 297.467 | 8.132 | 293.8 | 4.849 | 889.533 | 36.072 | 44.1482
2019-03-10 13:00:00 | 8.003 | 293.06 | 8.272 | 293.708 | 8.372 | 296.8 | 8.553 | 293.633 | 5.227 | 890.167 | 35.133 | 38.7117
2019-03-10 13:15:00 | 6.593 | 280.813 | 7.016 | 280.515 | 7.076 | 288.233 | 7.184 | 286.633 | 5.468 | 889.8 | 34.155 | 36.6844
2019-03-10 13:30:00 | 7.042 | 269.693 | 7.53 | 271.34 | 7.758 | 276.2 | 7.821 | 274.133 | 5.892 | 889.683 | 31.883 | 35.7244
2019-03-10 13:45:00 | 7.585 | 267.06 | 8.196 | 269.644 | 8.234 | 274.467 | 8.32 | 271.267 | 6.28 | 889.917 | 30.776 | 41.0274
2019-03-10 14:00:00 | 6.168 | 281.107 | 6.597 | 281.612 | 6.818 | 284.233 | 7.247 | 282.1 | 5.942 | 889.533 | 31.525 | 41.6875
2019-03-10 14:15:00 | 6.729 | 280.32 | 7.006 | 279.733 | 7.074 | 284.633 | 7.342 | 280.467 | 6.26 | 889.667 | 29.843 | 42.2588
2019-03-10 14:30:00 | 8.96 | 262.04 | 9.666 | 261.204 | 9.716 | 267.2 | 9.725 | 263.967 | 7.056 | 890.15 | 26.237 | 39.6311
2019-03-10 14:45:00 | 7.968 | 286.373 | 8.576 | 281.538 | 8.792 | 284.733 | 9.283 | 283.883 | 6.83 | 889.483 | 26.587 | 42.7939
2019-03-10 15:00:00 | 7.994 | 274.827 | 8.502 | 276.38 | 8.558 | 281.033 | 8.778 | 279.4 | 7.199 | 889.917 | 25.184 | 44.117
2019-03-10 15:15:00 | 9.565 | 274.86 | 9.948 | 275.79 | 10.094 | 280.967 | 10.05 | 277.85 | 6.789 | 889.617 | 25.931 | 55.3162
2019-03-10 15:30:00 | 9.246 | 290.5 | 10.228 | 288.85 | 10.37 | 291.033 | 10.822 | 287.767 | 6.986 | 889.583 | 25.509 | 61.0924
2019-03-10 15:45:00 | 7.984 | 290.667 | 8.48 | 287.103 | 8.832 | 291.467 | 9.209 | 287.867 | 7.106 | 889.9 | 25.211 | 54.0656
2019-03-10 16:00:00 | 8.51 | 274.44 | 9.061 | 272.146 | 9.296 | 278.767 | 9.492 | 276.433 | 6.972 | 889.8 | 25.8 | 58.9273
2019-03-10 16:15:00 | 9.882 | 281.4 | 10.651 | 279.715 | 10.749 | 284.733 | 10.843 | 281.2 | 6.972 | 889.733 | 25.808 | 62.2549
2019-03-10 16:30:00 | 9.286 | 286.8 | 9.715 | 281.639 | 9.92 | 287.167 | 10.234 | 284.8 | 7.039 | 889.817 | 25.12 | 67.6118
2019-03-10 16:45:00 | 9.681 | 274.827 | 10.266 | 272.505 | 10.295 | 277.967 | 10.511 | 273.2 | 7.006 | 890 | 25.659 | 72.8942
2019-03-10 17:00:00 | 9.662 | 276.333 | 10.712 | 277.394 | 10.9 | 281.633 | 11.163 | 279.367 | 6.761 | 889.883 | 25.429 | 72.4934
2019-03-10 17:15:00 | 9.622 | 283.947 | 10.453 | 281.766 | 10.5 | 286.067 | 10.754 | 282.533 | 6.512 | 889.883 | 26.525 | 72.9979
2019-03-10 17:30:00 | 10.772 | 280.093 | 11.533 | 279.53 | 11.446 | 285.1 | 11.808 | 282.367 | 6.334 | 890.15 | 27.224 | 71.2009
2019-03-10 17:45:00 | 10.035 | 279.407 | 10.486 | 281.678 | 10.7 | 288.233 | 11.004 | 287.033 | 6.425 | 890.283 | 27.797 | 73.2822
2019-03-10 18:00:00 | 9.812 | 272.353 | 10.535 | 276.428 | 10.661 | 281.667 | 10.896 | 279.433 | 6.077 | 890.133 | 29.381 | 73.0271
2019-03-10 18:15:00 | 9.942 | 290.207 | 10.551 | 285.718 | 10.732 | 288.967 | 10.888 | 284.5 | 6.316 | 889.633 | 30.408 | 73.565
2019-03-10 18:30:00 | 10.253 | 284.987 | 10.915 | 282.513 | 11.141 | 286.8 | 11.672 | 283.567 | 5.796 | 889.683 | 32.216 | 70.1457
2019-03-10 18:45:00 | 9.936 | 284.073 | 10.866 | 283.496 | 11.018 | 288.933 | 11.322 | 286.6 | 5.66 | 889.7 | 32.349 | 72.6178
2019-03-10 19:00:00 | 10.382 | 271.06 | 11.249 | 275.794 | 11.287 | 280.533 | 11.305 | 277.2 | 5.134 | 889.733 | 32.648 | 73.1592
2019-03-10 19:15:00 | 9.929 | 283.8 | 10.826 | 282.229 | 11.263 | 285.533 | 11.742 | 282.8 | 4.869 | 889.533 | 34.944 | 75.3236
2019-03-10 19:30:00 | 8.219 | 281.187 | 9.271 | 281.558 | 9.569 | 286.1 | 10.085 | 283.1 | 4.079 | 890.067 | 36.912 | 74.3565
2019-03-10 19:45:00 | 7.141 | 271.16 | 8.413 | 278.717 | 8.838 | 281.9 | 9.106 | 280.567 | 3.813 | 889.983 | 39.387 | 67.3063
2019-03-10 20:00:00 | 7.489 | 268.033 | 8.883 | 276.019 | 9.062 | 279.867 | 9.462 | 276.767 | 3.104 | 889.55 | 41.344 | 57.1679
2019-03-10 20:15:00 | 6.184 | 272.9 | 7.422 | 273.548 | 7.945 | 277.867 | 8.197 | 274.467 | 3.221 | 889.667 | 43.771 | 49.7418
2019-03-10 20:30:00 | 5.314 | 281.82 | 6.614 | 278.676 | 7.312 | 282.033 | 7.628 | 278.067 | 2.63 | 889.842 | 45.056 | 38.1134
2019-03-10 20:45:00 | 4.032 | 290.687 | 5.396 | 289.695 | 5.646 | 292.167 | 5.984 | 287.1 | 1.673 | 890.083 | 48.661 | 34.8412
2019-03-10 21:00:00 | 3.497 | 288.747 | 4.802 | 291.348 | 5.045 | 293.3 | 5.481 | 287.667 | 1.296 | 890 | 51.141 | 27.4861
2019-03-10 21:15:00 | 3.838 | 291.973 | 5.088 | 288.775 | 5.311 | 292.1 | 5.482 | 288.6 | 0.432 | 889.858 | 52.651 | 21.6304
2019-03-10 21:30:00 | 3.794 | 278.253 | 4.57 | 279.986 | 4.715 | 283.367 | 4.888 | 279.467 | -0.099 | 889.742 | 53.792 | 16.1753
2019-03-10 21:45:00 | 4.078 | 279.253 | 4.326 | 280.055 | 4.482 | 280.833 | 4.848 | 275.333 | 0.027 | 889.875 | 54.725 | 11.8395
2019-03-10 22:00:00 | 4.605 | 252.14 | 5.593 | 261.475 | 6.072 | 269.533 | 6.588 | 266.433 | -0.678 | 889.15 | 54.565 | 11.8437
2019-03-10 22:15:00 | 5.213 | 266.3 | 5.763 | 270.861 | 6.042 | 275.8 | 6.354 | 272.233 | -0.692 | 890.133 | 54.992 | 14.3584
2019-03-10 22:30:00 | 5.534 | 268.533 | 5.744 | 272.909 | 5.874 | 276.767 | 6.224 | 271.5 | -0.638 | 889.883 | 53.84 | 17.9717
2019-03-10 22:45:00 | 5.639 | 258.587 | 6.503 | 266.5 | 6.883 | 271.967 | 7.215 | 268.067 | -1.132 | 889.833 | 54.72 | 17.5183
2019-03-10 23:00:00 | 4.794 | 249.18 | 5.398 | 264.991 | 5.81 | 273.533 | 6.372 | 269.167 | -1.66 | 889.975 | 57.952 | 16.6834
2019-03-10 23:15:00 | 5.08 | 243.62 | 5.28 | 257.547 | 5.452 | 269.067 | 5.86 | 269.033 | -2.378 | 890.458 | 60.571 | 18.0441
2019-03-10 23:30:00 | 5.528 | 237.153 | 6.024 | 252.109 | 6.145 | 264.067 | 6.538 | 264.4 | -2.585 | 889.733 | 59.621 | 21.4719
2019-03-10 23:45:00 | 5.582 | 240.62 | 5.976 | 248.617 | 6.176 | 258.8 | 6.364 | 258.083 | -2.984 | 889.742 | 60.8 | 22.849