## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-11 00:00:00 | 6.127 | 232.773 | 6.472 | 244.108 | 6.673 | 255.967 | 6.944 | 257.233 | -2.76 | 890.017 | 60.277 | 22.3146
2019-03-11 00:15:00 | 6.626 | 232.673 | 6.789 | 244.235 | 6.99 | 255.533 | 7.218 | 255.333 | -2.659 | 889.875 | 61.301 | 26.1588
2019-03-11 00:30:00 | 6.017 | 240.627 | 6.428 | 248.13 | 6.509 | 255.767 | 6.755 | 253.7 | -2.925 | 889.825 | 62.859 | 29.2505
2019-03-11 00:45:00 | 6.104 | 240 | 6.725 | 254.113 | 6.983 | 259.167 | 7.108 | 255.817 | -3.455 | 890.242 | 61.84 | 27.3078
2019-03-11 01:00:00 | 6.607 | 239.6 | 6.774 | 254.379 | 7.068 | 261.6 | 7.294 | 259.2 | -3.655 | 889.825 | 60.784 | 30.9075
2019-03-11 01:15:00 | 6.274 | 250.167 | 6.318 | 258.962 | 6.071 | 266.633 | 6.351 | 263.9 | -3.438 | 890 | 59.563 | 28.5001
2019-03-11 01:30:00 | 6.064 | 257.8 | 5.595 | 264.512 | 5.778 | 271.533 | 6.097 | 267.067 | -3.404 | 890.2 | 58.747 | 21.4641
2019-03-11 01:45:00 | 5.715 | 251.493 | 5.156 | 256.936 | 5.209 | 263.833 | 5.409 | 261.267 | -2.858 | 889.667 | 58.117 | 17.5801
2019-03-11 02:00:00 | 5.585 | 246.667 | 4.812 | 254.329 | 4.638 | 262.933 | 5.231 | 263.267 | -3.052 | 889.808 | 55.397 | 13.9705
2019-03-11 02:15:00 | 5.488 | 255.967 | 4.873 | 269.279 | 4.876 | 276.167 | 5.194 | 271.4 | -3.806 | 889.842 | 58.096 | 12.3489
2019-03-11 02:30:00 | 5.631 | 257.973 | 5.084 | 272.396 | 5.066 | 278.267 | 5.19 | 276.767 | -4.206 | 889.825 | 60.256 | 11.6156
2019-03-11 02:45:00 | 5.359 | 258.267 | 4.889 | 277.914 | 5.005 | 282.833 | 5.4 | 283.133 | -2.311 | 889.717 | 57.467 | 14.4494
2019-03-11 03:00:00 | 4.951 | 256.4 | 5.013 | 276.64 | 4.987 | 281.667 | 5.52 | 280.833 | -3.16 | 889.958 | 57.995 | 14.195
2019-03-11 03:15:00 | 5.142 | 247.233 | 4.172 | 267.327 | 4.238 | 273.667 | 4.76 | 272.733 | -3.689 | 889.942 | 58.885 | 12.398
2019-03-11 03:30:00 | 5.172 | 239.833 | 4.72 | 259.391 | 4.994 | 268.2 | 5.345 | 267.233 | -4.305 | 889.775 | 61.307 | 9.7468
2019-03-11 03:45:00 | 5.206 | 241.733 | 4.683 | 255.101 | 4.745 | 265 | 5.013 | 263.8 | -4.919 | 889.792 | 63.717 | 9.221
2019-03-11 04:00:00 | 5.133 | 242.4 | 4.794 | 251.298 | 4.252 | 263.867 | 4.421 | 264.767 | -5.052 | 889.725 | 64.213 | 7.0794
2019-03-11 04:15:00 | 5.256 | 243.867 | 5.252 | 252.781 | 4.883 | 260.8 | 4.738 | 258.133 | -4.752 | 890.067 | 63.403 | 8.6035
2019-03-11 04:30:00 | 5.208 | 245.167 | 4.952 | 255.177 | 4.167 | 263.267 | 4.064 | 262.133 | -5.219 | 890.167 | 65.115 | 11.514
2019-03-11 04:45:00 | 4.482 | 246.1 | 4.161 | 264.038 | 3.748 | 269.733 | 3.626 | 270.633 | -5.552 | 890.117 | 66.341 | 9.42
2019-03-11 05:00:00 | 4.324 | 246.787 | 4.567 | 263.246 | 4.06 | 271.4 | 3.902 | 270.467 | -5.809 | 889.925 | 67.424 | 8.4984
2019-03-11 05:15:00 | 5.23 | 258.033 | 4.244 | 270.233 | 3.883 | 273.9 | 3.818 | 269.867 | -5.085 | 889.8 | 67.419 | 7.9555
2019-03-11 05:30:00 | 5.616 | 259.173 | 4.529 | 267.644 | 4.205 | 276.3 | 4.244 | 278.167 | -4.656 | 889.75 | 66.064 | 7.7004
2019-03-11 05:45:00 | 5.324 | 253.333 | 4.344 | 261.26 | 3.847 | 268.1 | 3.914 | 276.667 | -3.487 | 889.825 | 63.211 | 7.2044
2019-03-11 06:00:00 | 5.432 | 252.4 | 4.794 | 258.475 | 4.176 | 263.767 | 4.042 | 269.567 | -3.454 | 889.433 | 62.549 | 5.9645
2019-03-11 06:15:00 | 5.463 | 259.4 | 4.537 | 266.521 | 4.122 | 272.767 | 4.068 | 266 | -3.983 | 890.083 | 62.379 | 6.8627
2019-03-11 06:30:00 | 5.349 | 258.373 | 4.726 | 268.538 | 4.156 | 272.1 | 3.927 | 264.567 | -4.15 | 889.667 | 64.64 | 7.667
2019-03-11 06:45:00 | 5.102 | 248.467 | 5.075 | 263.733 | 4.673 | 274.533 | 4.53 | 271.767 | -5.485 | 889.683 | 66.005 | 8.8331
2019-03-11 07:00:00 | 5.382 | 251.973 | 4.634 | 261.567 | 4.436 | 267.9 | 4.391 | 263.617 | -6.073 | 889.325 | 68.464 | 9.8485
2019-03-11 07:15:00 | 5.267 | 239.84 | 5.088 | 246.634 | 4.822 | 252.033 | 4.936 | 246.4 | -5.637 | 889.7 | 68.267 | 9.7227
2019-03-11 07:30:00 | 4.104 | 233.867 | 4.774 | 249.12 | 4.413 | 256.967 | 4.408 | 252.867 | -5.302 | 890.275 | 65.248 | 7.0936
2019-03-11 07:45:00 | 5.135 | 237.8 | 4.774 | 252.677 | 4.434 | 256.8 | 4.478 | 252.3 | -6.195 | 890.192 | 67.115 | 6.1372
2019-03-11 08:00:00 | 5.835 | 236.333 | 5.426 | 242.616 | 5.008 | 254.333 | 4.836 | 251.283 | -6.262 | 890.192 | 67.275 | 6.2601
2019-03-11 08:15:00 | 4.697 | 227.68 | 5.786 | 233.733 | 5.344 | 242.067 | 5.058 | 238.233 | -5.74 | 889.942 | 66.987 | 7.6109
2019-03-11 08:30:00 | 4.809 | 220.52 | 6.058 | 229.278 | 5.762 | 237.067 | 5.547 | 234 | -4.746 | 889.858 | 64.619 | 12.2061
2019-03-11 08:45:00 | 4.392 | 219.9 | 5.75 | 227.488 | 5.471 | 236.133 | 5.298 | 234.867 | -3.638 | 889.658 | 61.653 | 13.8973
2019-03-11 09:00:00 | 4.731 | 226.413 | 5.527 | 236.138 | 5.454 | 246.233 | 5.257 | 245.5 | -2.329 | 890.05 | 57.013 | 11.7037
2019-03-11 09:15:00 | 4.059 | 228.6 | 5.635 | 234.722 | 5.624 | 246.367 | 5.482 | 244.333 | -0.842 | 890.083 | 51.755 | 11.0443
2019-03-11 09:30:00 | 4.204 | 230.52 | 5.166 | 228.97 | 5.853 | 240.2 | 5.699 | 237.7 | 0.449 | 889.742 | 47.605 | 11.3009
2019-03-11 09:45:00 | 4.715 | 233.787 | 4.924 | 234.004 | 5.364 | 240.7 | 5.495 | 237.367 | 1.84 | 890.267 | 42.293 | 11.9716
2019-03-11 10:00:00 | 4.132 | 241.367 | 4.085 | 238.358 | 4.167 | 244.9 | 4.248 | 241.4 | 3.304 | 889.683 | 36.667 | 8.649
2019-03-11 10:15:00 | 4.158 | 251.667 | 4.243 | 250.496 | 4.24 | 257 | 4.318 | 251.317 | 4.305 | 889.733 | 32.603 | 6.5251
2019-03-11 10:30:00 | 4.922 | 272.533 | 5.516 | 274.67 | 5.489 | 277.433 | 5.488 | 272.717 | 3.782 | 889.833 | 29.235 | 11.8821
2019-03-11 10:45:00 | 4.677 | 273.4 | 4.761 | 273.746 | 4.959 | 279.4 | 5.316 | 275.717 | 3.504 | 890.117 | 28.861 | 17.0834
2019-03-11 11:00:00 | 6.572 | 288.933 | 6.812 | 286.18 | 6.795 | 290.067 | 6.98 | 287.5 | 3.588 | 889.6 | 25.512 | 16.6251
2019-03-11 11:15:00 | 5.2 | 267.073 | 5.56 | 266.169 | 5.543 | 270.633 | 5.562 | 265.983 | 4.06 | 889.283 | 26.043 | 15.4392
2019-03-11 11:30:00 | 5.263 | 279.633 | 5.849 | 278.849 | 5.72 | 283.1 | 5.802 | 280.8 | 4.646 | 889.7 | 22.861 | 13.7445
2019-03-11 11:45:00 | 5.243 | 296.227 | 5.338 | 290.566 | 5.324 | 290.4 | 5.398 | 288.2 | 4.785 | 889.283 | 19.753 | 11.6185
2019-03-11 12:00:00 | 4.782 | 312.187 | 4.909 | 303.359 | 4.92 | 304.233 | 5.054 | 298 | 5.379 | 890 | 20.425 | 8.9219
2019-03-11 12:15:00 | 4.62 | 315.64 | 4.526 | 311.044 | 4.88 | 310.867 | 5.152 | 308.133 | 5.474 | 889.65 | 20.492 | 8.4174
2019-03-11 12:30:00 | 4.834 | 320.68 | 5.085 | 308.814 | 5.23 | 314.3 | 5.181 | 313.267 | 5.452 | 889.4 | 20.708 | 7.9498
2019-03-11 12:45:00 | 5.102 | 318.427 | 5.201 | 310.066 | 5.334 | 314.433 | 5.576 | 310.767 | 6.035 | 889.617 | 20.503 | 9.3255
2019-03-11 13:00:00 | 2.456 | 294.947 | 2.359 | 306.46 | 2.888 | 301.633 | 3.363 | 314.1 | 6.028 | 889.733 | 19.708 | 9.0867
2019-03-11 13:15:00 | 4.595 | 308.293 | 4.987 | 314.811 | 5.258 | 310.567 | 5.45 | 317.467 | 6.274 | 889.1 | 19.609 | 6.7049
2019-03-11 13:30:00 | 5.639 | 322.613 | 5.744 | 312.683 | 5.816 | 315.867 | 5.756 | 309.9 | 6.528 | 889.4 | 19.723 | 8.784
2019-03-11 13:45:00 | 4.971 | 304.213 | 5.094 | 303.437 | 5.24 | 311.967 | 5.45 | 314.267 | 6.644 | 889.6 | 20.416 | 10.5278
2019-03-11 14:00:00 | 5.018 | 310.853 | 5.227 | 302.524 | 5.447 | 306.9 | 5.507 | 305.967 | 6.952 | 889.933 | 21.437 | 12.3838
2019-03-11 14:15:00 | 4.458 | 286.613 | 4.579 | 313.576 | 4.71 | 323.867 | 5.102 | 323.633 | 7.089 | 889.767 | 22.101 | 13.0915
2019-03-11 14:30:00 | 5.555 | 314 | 5.756 | 306.737 | 5.869 | 311.333 | 6.138 | 309.633 | 7.172 | 889.8 | 21.88 | 11.5055
2019-03-11 14:45:00 | 5.029 | 313.773 | 5.358 | 312.791 | 5.582 | 309.8 | 5.739 | 320.867 | 7.446 | 889.45 | 22.733 | 14.1367
2019-03-11 15:00:00 | 6.189 | 318 | 6.454 | 314.857 | 6.523 | 318.433 | 6.667 | 316.033 | 7.156 | 889.783 | 23.899 | 17.3385
2019-03-11 15:15:00 | 4.882 | 332.267 | 5.434 | 323.166 | 5.584 | 327.533 | 5.568 | 323.4 | 7.339 | 889.533 | 24.336 | 17.6093
2019-03-11 15:30:00 | 5.428 | 323.6 | 5.503 | 316.738 | 5.85 | 320.533 | 6.08 | 317.967 | 7.372 | 889.483 | 24.48 | 16.4162
2019-03-11 15:45:00 | 6.03 | 325.533 | 6.004 | 320.624 | 5.867 | 327.067 | 6.044 | 324.433 | 7.639 | 889.3 | 24.923 | 14.7016
2019-03-11 16:00:00 | 5.585 | 318.747 | 5.546 | 311.648 | 5.589 | 319.6 | 5.676 | 319.8 | 7.636 | 889.567 | 24.899 | 16.6337
2019-03-11 16:15:00 | 5.198 | 224.723 | 5.478 | 278.243 | 5.844 | 283.1 | 6.112 | 329.833 | 8.184 | 889.3 | 25.221 | 15.6872
2019-03-11 16:30:00 | 4.938 | 307.853 | 5.256 | 271.736 | 5.486 | 273.867 | 5.381 | 272.933 | 7.672 | 889.733 | 25.091 | 15.5856
2019-03-11 16:45:00 | 5.094 | 324.8 | 4.997 | 316.987 | 4.932 | 322.833 | 5.208 | 321.3 | 7.823 | 889.933 | 24.829 | 15.6346
2019-03-11 17:00:00 | 6.168 | 324 | 6.253 | 331.259 | 6.459 | 336.067 | 6.455 | 312.7 | 8.197 | 889.467 | 24.384 | 15.7902
2019-03-11 17:15:00 | 5.839 | 322.44 | 6.145 | 317.036 | 6.344 | 325.933 | 6.428 | 314.033 | 8.197 | 889.733 | 23.648 | 21.5074
2019-03-11 17:30:00 | 6.716 | 332.653 | 6.81 | 326.63 | 6.891 | 331.167 | 7.176 | 329.667 | 8.21 | 889.467 | 23.885 | 25.5506
2019-03-11 17:45:00 | 7.6 | 326.493 | 7.769 | 320.376 | 8.068 | 325.233 | 8.187 | 322.533 | 8.117 | 889.933 | 23.765 | 33.9423
2019-03-11 18:00:00 | 7.837 | 319.52 | 8.124 | 313.62 | 8.108 | 319.6 | 8.155 | 318.067 | 7.743 | 889.917 | 23.76 | 35.922
2019-03-11 18:15:00 | 7.379 | 326.52 | 7.632 | 318.213 | 8.168 | 323.467 | 8.714 | 321.833 | 7.576 | 889.617 | 24.531 | 39.3824
2019-03-11 18:30:00 | 7.56 | 324.933 | 8.113 | 317.02 | 8.481 | 322.033 | 8.679 | 319.133 | 7.156 | 889.317 | 26.091 | 42.2986
2019-03-11 18:45:00 | 7.55 | 327.027 | 7.802 | 318.628 | 8.192 | 322.267 | 8.542 | 321.2 | 7.046 | 889.6 | 26.469 | 41.6399
2019-03-11 19:00:00 | 6.354 | 325.853 | 7.069 | 318.566 | 7.371 | 325.433 | 7.531 | 324.3 | 6.638 | 889.783 | 26.632 | 37.9592
2019-03-11 19:15:00 | 6.552 | 323.987 | 7.156 | 318.142 | 7.577 | 323.7 | 7.611 | 322.067 | 6.373 | 889.917 | 27.691 | 32.7806
2019-03-11 19:30:00 | 6.344 | 317.827 | 7.185 | 312.781 | 7.602 | 318.333 | 8.145 | 317.9 | 5.919 | 889.633 | 30.117 | 30.1543
2019-03-11 19:45:00 | 5.978 | 318.867 | 6.872 | 311.607 | 7.356 | 318.233 | 7.668 | 315.833 | 5.216 | 889.633 | 32.544 | 24.4463
2019-03-11 20:00:00 | 5.079 | 316.12 | 6.147 | 312.422 | 6.653 | 317.733 | 7.2 | 316.767 | 4.087 | 889.7 | 34.152 | 20.7201
2019-03-11 20:15:00 | 4.882 | 312.28 | 6.022 | 308.454 | 6.698 | 314.367 | 7.332 | 311.9 | 4.142 | 889.833 | 35.616 | 19.4624
2019-03-11 20:30:00 | 5.426 | 314.4 | 6.715 | 310.116 | 7.234 | 315.333 | 7.701 | 311.6 | 3.305 | 890 | 36.275 | 19.3843
2019-03-11 20:45:00 | 5.27 | 304.667 | 6.703 | 303.176 | 7.329 | 309.133 | 7.807 | 306.667 | 3.271 | 890.05 | 36.501 | 17.5602
2019-03-11 21:00:00 | 4.62 | 299.52 | 6.622 | 301.906 | 7.016 | 307.567 | 7.478 | 305.067 | 2.639 | 889.967 | 37.824 | 12.1123
2019-03-11 21:15:00 | 4.397 | 287.933 | 5.864 | 295.01 | 6.116 | 300.533 | 6.416 | 296.6 | 2.328 | 889.667 | 38.573 | 6.3105
2019-03-11 21:30:00 | 3.364 | 229.12 | 3.487 | 232.349 | 3.402 | 240.7 | 3.637 | 250.15 | 1.256 | 889.458 | 40.725 | 2.3008
2019-03-11 21:45:00 | 3.248 | 228.487 | 2.751 | 234.863 | 2.559 | 246.333 | 2.776 | 246.7 | 1.533 | 889.533 | 40.533 | 1.4872
2019-03-11 22:00:00 | 3.422 | 226.647 | 2.796 | 227.832 | 2.716 | 231.767 | 2.893 | 228.533 | 1.406 | 890.008 | 41.76 | 1.4886
2019-03-11 22:15:00 | 4.666 | 228.213 | 3.68 | 224.861 | 2.94 | 229.967 | 2.636 | 228 | 0.848 | 890.217 | 42.496 | 2.3882
2019-03-11 22:30:00 | 5.001 | 229.453 | 4.481 | 229.092 | 4.524 | 235.767 | 4.529 | 232.667 | 0.532 | 889.783 | 43.253 | 4.9647
2019-03-11 22:45:00 | 5.121 | 230.587 | 5.136 | 235.278 | 5.115 | 240.9 | 5.096 | 235.7 | 0.432 | 889.692 | 42.197 | 6.5564
2019-03-11 23:00:00 | 5.117 | 243 | 5.418 | 247.08 | 5.434 | 251.333 | 5.386 | 245.733 | -0.842 | 889.692 | 45.397 | 7.6713
2019-03-11 23:15:00 | 3.712 | 231.653 | 5.093 | 250.295 | 4.976 | 254.1 | 4.923 | 248.767 | -0.708 | 889.442 | 45.813 | 7.8198
2019-03-11 23:30:00 | 2.23 | 233.627 | 4.231 | 238.727 | 4.343 | 253.433 | 3.993 | 252.35 | -1.733 | 890.017 | 47.947 | 6.6559
2019-03-11 23:45:00 | 2.596 | 232.647 | 5.041 | 237.309 | 4.665 | 246.933 | 4.466 | 242.467 | -2.34 | 889.7 | 49.12 | 4.8766