## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-12 00:00:00 | 3.761 | 229.793 | 4.522 | 237.167 | 4.205 | 249.033 | 4.153 | 245.167 | -2.278 | 889.8 | 51.541 | 3.9351
2019-03-12 00:15:00 | 4.575 | 225.513 | 5.605 | 228.784 | 5.3 | 238.433 | 4.846 | 236.133 | -2.532 | 889.733 | 51.445 | 5.2291
2019-03-12 00:30:00 | 4.473 | 238.033 | 5.57 | 247.523 | 5.435 | 256.2 | 5.343 | 252.4 | -2.902 | 890 | 52.864 | 7.1305
2019-03-12 00:45:00 | 4.95 | 243.707 | 6.385 | 249.82 | 5.994 | 255.9 | 5.714 | 252.817 | -2.366 | 889.95 | 53.856 | 10.8134
2019-03-12 01:00:00 | 5.576 | 244.7 | 6.338 | 248.926 | 6.032 | 254.767 | 5.878 | 251.667 | -1.048 | 889.875 | 51.467 | 13.2066
2019-03-12 01:15:00 | 4.631 | 234.72 | 6.358 | 242.345 | 6.414 | 249.733 | 6.101 | 246.5 | -1.539 | 889.35 | 51.285 | 13.1085
2019-03-12 01:30:00 | 4.79 | 233.407 | 6.205 | 241.197 | 6.121 | 248.633 | 5.743 | 247.9 | -1.971 | 889.517 | 51.712 | 13.4773
2019-03-12 01:45:00 | 5.166 | 223.993 | 6.415 | 239.641 | 6.093 | 247.633 | 5.519 | 246.033 | -2.74 | 889.617 | 53.685 | 13.3153
2019-03-12 02:00:00 | 4.629 | 223.16 | 5.494 | 241.238 | 5.11 | 251.967 | 4.877 | 253.533 | -2.757 | 890.308 | 54.656 | 13.0204
2019-03-12 02:15:00 | 4.633 | 214.173 | 4.608 | 233.039 | 4.577 | 247.167 | 4.276 | 248.233 | -3.08 | 889.583 | 55.125 | 10.0325
2019-03-12 02:30:00 | 5.36 | 212.82 | 5.172 | 224.461 | 5.302 | 244.733 | 5.115 | 248.167 | -2.781 | 890.058 | 53.76 | 10.8965
2019-03-12 02:45:00 | 6.026 | 220.387 | 5.398 | 230.582 | 5.339 | 253.533 | 5.633 | 257.1 | -2.578 | 890.067 | 53.28 | 12.9806
2019-03-12 03:00:00 | 5.546 | 226.16 | 4.913 | 236.443 | 4.918 | 256.367 | 5.124 | 260.433 | -2.364 | 889.492 | 51.883 | 13.9456
2019-03-12 03:15:00 | 4.725 | 237.007 | 5.071 | 249.308 | 5.174 | 268.933 | 5.431 | 272.4 | -2.76 | 889.483 | 52.304 | 11.8871
2019-03-12 03:30:00 | 4.493 | 222.533 | 4.482 | 242.446 | 4.179 | 262.6 | 4.168 | 267.967 | -3.371 | 889.767 | 53.717 | 8.3079
2019-03-12 03:45:00 | 4.761 | 228.967 | 4.708 | 244.592 | 4.671 | 265.8 | 4.901 | 268.333 | -3.672 | 890.008 | 54.443 | 6.6104
2019-03-12 04:00:00 | 4.828 | 229.987 | 5.307 | 254.298 | 5.051 | 269.067 | 5.139 | 272.467 | -4.265 | 889.867 | 56.597 | 8.0735
2019-03-12 04:15:00 | 4.494 | 238.1 | 4.63 | 267.76 | 4.753 | 277.2 | 5.079 | 276.467 | -4.404 | 890.175 | 57.365 | 9.695
2019-03-12 04:30:00 | 4.761 | 247.693 | 5.114 | 263.861 | 5.073 | 275.2 | 5.414 | 272.867 | -4.186 | 889.908 | 56.229 | 9.3461
2019-03-12 04:45:00 | 6.14 | 247.533 | 5.944 | 256.901 | 5.75 | 264 | 5.816 | 260.867 | -3.672 | 890.158 | 55.749 | 15.3418
2019-03-12 05:00:00 | 6.367 | 248.333 | 6.233 | 252.485 | 6.043 | 259.1 | 6.052 | 258.017 | -2.328 | 890.267 | 51.968 | 20.3677
2019-03-12 05:15:00 | 5.505 | 256.133 | 6.472 | 254.942 | 6.232 | 262.333 | 5.97 | 262.067 | -2.871 | 889.967 | 51.563 | 20.3577
2019-03-12 05:30:00 | 4.156 | 251.233 | 5.351 | 258.014 | 4.965 | 268.267 | 4.808 | 270.367 | -3.504 | 890.075 | 53.472 | 15.9785
2019-03-12 05:45:00 | 3.61 | 253.62 | 4.933 | 260.284 | 4.309 | 274.067 | 4.279 | 276.067 | -4.288 | 889.967 | 55.173 | 11.9446
2019-03-12 06:00:00 | 5.142 | 253.48 | 4.829 | 268.558 | 4.591 | 276.667 | 4.697 | 274.967 | -4.969 | 890.258 | 57.349 | 10.1277
2019-03-12 06:15:00 | 6.071 | 262.053 | 5.6 | 276.914 | 5.519 | 284.033 | 5.984 | 280.467 | -5.152 | 889.8 | 58.464 | 12.673
2019-03-12 06:30:00 | 6.821 | 256.347 | 6.159 | 271.196 | 5.957 | 279.767 | 6.147 | 277.267 | -4.252 | 890.142 | 55.829 | 14.3044
2019-03-12 06:45:00 | 6.895 | 246.02 | 6.386 | 256.958 | 6.626 | 265.667 | 6.977 | 265.1 | -4.579 | 888.8 | 57.131 | 18.0612
2019-03-12 07:00:00 | 7.445 | 237.853 | 6.864 | 246.69 | 6.807 | 254.767 | 7.09 | 252.267 | -4.364 | 889.525 | 57.013 | 21.2111
2019-03-12 07:15:00 | 6.464 | 231.293 | 6.939 | 237.032 | 7.019 | 244.3 | 6.958 | 242.9 | -4.085 | 889.758 | 56.96 | 19.1349
2019-03-12 07:30:00 | 4.492 | 213.707 | 6.236 | 223.892 | 6.719 | 242.067 | 6.157 | 241.3 | -5.205 | 890.125 | 59.051 | 17.4721
2019-03-12 07:45:00 | 2.807 | 206.38 | 5.211 | 223.195 | 6.007 | 241.667 | 5.83 | 241.967 | -6.054 | 889.525 | 64.373 | 17.1822
2019-03-12 08:00:00 | 5.025 | 227.18 | 6.64 | 235.18 | 6.29 | 244.233 | 5.905 | 243.733 | -5.575 | 889.633 | 64.544 | 20.1453
2019-03-12 08:15:00 | 5.68 | 231.127 | 6.048 | 240.422 | 6.077 | 249.2 | 5.736 | 247.533 | -4.849 | 890.1 | 60.021 | 20.7528
2019-03-12 08:30:00 | 1.912 | 265.673 | 2.386 | 244.13 | 4.194 | 246.55 | 5.264 | 248.267 | -4.463 | 889.917 | 56.779 | 16.7175
2019-03-12 08:45:00 | 2.693 | 293.427 | 2.585 | 265.033 | 3.128 | 263.133 | 4.269 | 256 | -3.863 | 889.417 | 53.387 | 15.8314
2019-03-12 09:00:00 | 3.815 | 285.6 | 4.312 | 259.434 | 5.014 | 258.233 | 5.015 | 256.667 | -4.206 | 890.092 | 53.621 | 13.8433
2019-03-12 09:15:00 | 3.916 | 276.74 | 4.548 | 262.149 | 5.112 | 262.867 | 5.29 | 257.667 | -2.28 | 889.633 | 48.613 | 11.595
2019-03-12 09:30:00 | 4.8 | 251.767 | 4.886 | 249.131 | 4.972 | 253.667 | 4.97 | 248.617 | 0.499 | 890.05 | 39.083 | 11.1893
2019-03-12 09:45:00 | 4.689 | 270.72 | 4.934 | 267.078 | 4.889 | 270.7 | 5.08 | 266.417 | 0.748 | 889.683 | 36.627 | 10.0602
2019-03-12 10:00:00 | 4.331 | 279.72 | 4.214 | 276.791 | 4.258 | 279 | 4.417 | 278 | 0.366 | 889.417 | 37.317 | 9.4356
2019-03-12 10:15:00 | 4.766 | 288.6 | 4.924 | 286.19 | 5.068 | 288.5 | 5.563 | 284.4 | 0.382 | 889.317 | 39.376 | 8.3484
2019-03-12 10:30:00 | 4.766 | 288.6 | 4.924 | 286.19 | 5.068 | 288.5 | 5.563 | 284.4 | 0.382 | 889.317 | 39.376 | 12.8215
2019-03-12 10:45:00 | 5.773 | 300.533 | 5.913 | 297.302 | 5.997 | 300.533 | 5.98 | 293.633 | 1.209 | 889.883 | 37.104 | 12.2061
2019-03-12 11:00:00 | 5.763 | 293.947 | 6.09 | 292.328 | 6.237 | 299.567 | 6.67 | 297.2 | 1.389 | 890.133 | 37.851 | 18.8336
2019-03-12 11:15:00 | 6.675 | 313.733 | 6.642 | 307.487 | 6.576 | 311.4 | 6.794 | 308.067 | 1.965 | 889.767 | 39.211 | 21.781
2019-03-12 11:30:00 | 8.148 | 281.024 | 8.225 | 283.798 | 8.281 | 286.235 | 8.678 | 281.765 | 2.854 | 889.882 | 32.856 | 36.7818
2019-03-12 11:45:00 | 7.445 | 286.68 | 7.795 | 284.822 | 8.073 | 288.6 | 8.266 | 284.167 | 2.816 | 889.8 | 32.933 | 47.4666
2019-03-12 12:00:00 | 7.445 | 286.68 | 7.795 | 284.822 | 8.073 | 288.6 | 8.266 | 284.167 | 2.816 | 889.8 | 32.933 | 45.6781
2019-03-12 12:15:00 | 8.392 | 287.133 | 9.151 | 286.071 | 9.434 | 288.3 | 9.93 | 286.2 | 3.438 | 889.35 | 32.656 | 50.0459
2019-03-12 12:30:00 | 9.713 | 290.1 | 10.043 | 291.606 | 10.114 | 293.867 | 10.363 | 291.5 | 3.138 | 889.567 | 34.104 | 61.9344
2019-03-12 12:45:00 | 9.589 | 286.367 | 10.056 | 288.477 | 10.278 | 292.9 | 10.608 | 288.933 | 3.555 | 889.517 | 32.456 | 60.0798
2019-03-12 13:00:00 | 9.198 | 272.3 | 9.532 | 275.463 | 9.394 | 279.9 | 9.405 | 275.733 | 3.773 | 890.083 | 31.779 | 59.564
2019-03-12 13:15:00 | 9.404 | 288.533 | 9.866 | 287.835 | 9.943 | 292.667 | 10.435 | 290.467 | 3.941 | 889.8 | 26.813 | 54.5573
2019-03-12 13:30:00 | 10.352 | 294.893 | 10.86 | 293.978 | 11.256 | 297.067 | 11.422 | 293.833 | 4.577 | 889.933 | 23.765 | 55.1123
2019-03-12 13:45:00 | 9.948 | 286.933 | 10.347 | 287.534 | 10.36 | 289.167 | 10.457 | 285.6 | 4.955 | 890.133 | 23.605 | 59.8027
2019-03-12 14:00:00 | 10.537 | 285.733 | 10.644 | 285.967 | 10.464 | 289.733 | 10.874 | 287.233 | 5.104 | 889.5 | 22.883 | 64.3887
2019-03-12 14:15:00 | 10.794 | 296.787 | 11.799 | 296.09 | 11.822 | 300.267 | 12.388 | 297.667 | 5.13 | 889.95 | 21.317 | 67.0903
2019-03-12 14:30:00 | 10.175 | 300.133 | 10.655 | 297.418 | 10.903 | 299.833 | 11.227 | 296.433 | 5.332 | 889.133 | 20.76 | 67.231
2019-03-12 14:45:00 | 9.14 | 297.067 | 9.63 | 294.277 | 9.842 | 299.833 | 10.739 | 295.033 | 5.201 | 889.433 | 20.008 | 67.9103
2019-03-12 15:00:00 | 9.409 | 286.68 | 10.103 | 282.522 | 10.377 | 287.333 | 10.705 | 284.267 | 5.518 | 889.733 | 18.205 | 64.9856
2019-03-12 15:15:00 | 9.981 | 294.067 | 10.298 | 291.028 | 10.485 | 296.3 | 11.077 | 292.9 | 5.73 | 889.7 | 17.272 | 68.9704
2019-03-12 15:30:00 | 10.037 | 291.52 | 10.386 | 288.549 | 10.645 | 294.6 | 11.045 | 291.5 | 5.379 | 889.633 | 17.5 | 72.6775
2019-03-12 15:45:00 | 9.8 | 292.84 | 10.685 | 289.16 | 11.188 | 293.367 | 11.296 | 292.767 | 5.574 | 889.4 | 16.6 | 75.3194
2019-03-12 16:00:00 | 11.206 | 300.947 | 11.748 | 298.511 | 11.947 | 302.6 | 12.314 | 302.367 | 5.567 | 889.3 | 17.328 | 75.4252
2019-03-12 16:15:00 | 9.51 | 292.48 | 10.426 | 289.982 | 10.433 | 296.333 | 11 | 292.1 | 5.55 | 889.367 | 18.987 | 74.8433
2019-03-12 16:30:00 | 9.006 | 293.36 | 9.316 | 293.234 | 9.68 | 299.8 | 10.158 | 298.1 | 5.339 | 889.3 | 19.473 | 71.8447
2019-03-12 16:45:00 | 9.39 | 291.973 | 10.052 | 290.761 | 10.148 | 294.9 | 10.709 | 291.633 | 5.491 | 889.217 | 20.108 | 65.7381
2019-03-12 17:00:00 | 9.647 | 293.8 | 10.294 | 294.192 | 10.655 | 296.967 | 10.956 | 295.6 | 5.474 | 889.583 | 21.048 | 61.3255
2019-03-12 17:15:00 | 9.279 | 291.627 | 10.208 | 291.647 | 10.308 | 296.267 | 10.486 | 294.067 | 5.339 | 889.417 | 22.061 | 62.6734
2019-03-12 17:30:00 | 9.035 | 298.96 | 9.669 | 296.351 | 10.019 | 301.367 | 10.28 | 299.067 | 5.306 | 889.967 | 22.387 | 61.6772
2019-03-12 17:45:00 | 9.805 | 296.267 | 9.992 | 293.417 | 10.254 | 298.033 | 10.731 | 295.067 | 5.25 | 889.867 | 24.344 | 64.685
2019-03-12 18:00:00 | 8.4 | 288.813 | 8.707 | 288.279 | 8.848 | 289.967 | 9.363 | 287.433 | 5.3 | 889.4 | 25.541 | 66.2298
2019-03-12 18:15:00 | 7.953 | 283.773 | 8.645 | 285.396 | 8.832 | 289.6 | 9.089 | 287.367 | 5.028 | 889.583 | 27.339 | 66.4458
2019-03-12 18:30:00 | 8.39 | 294.32 | 9.27 | 289.993 | 9.524 | 294.567 | 9.995 | 291.5 | 4.766 | 889.55 | 27.056 | 74.9222
2019-03-12 18:45:00 | 9.22 | 264.827 | 9.803 | 266.861 | 10.259 | 271.5 | 10.277 | 266.417 | 4.587 | 889.7 | 31.515 | 74.817
2019-03-12 19:00:00 | 7.969 | 266.76 | 9.05 | 274.447 | 9.323 | 278.333 | 9.791 | 273.6 | 4.215 | 890.083 | 33.331 | 69.2753
2019-03-12 19:15:00 | 8.725 | 268.747 | 9.768 | 274.55 | 10.116 | 278.867 | 10.45 | 276.533 | 3.726 | 889.833 | 35.709 | 66.0045
2019-03-12 19:30:00 | 8.359 | 268.62 | 9.527 | 280.711 | 9.989 | 283.633 | 10.516 | 281.633 | 3.093 | 889.933 | 38.741 | 61.3141
2019-03-12 19:45:00 | 9.013 | 269.553 | 9.9 | 279.781 | 10.333 | 285.633 | 10.774 | 282.233 | 2.519 | 890.275 | 41.443 | 55.6004
2019-03-12 20:00:00 | 6.899 | 259.593 | 8.222 | 261.507 | 8.795 | 265.967 | 9.134 | 261.05 | 1.809 | 889.783 | 43.984 | 52.9813
2019-03-12 20:15:00 | 7.423 | 252.507 | 8.998 | 256.996 | 9.416 | 263.25 | 9.691 | 260.067 | 1.6 | 889.708 | 44.475 | 58.3844
2019-03-12 20:30:00 | 6.846 | 255.013 | 8.206 | 256.945 | 8.766 | 260.933 | 8.841 | 256.883 | 1.119 | 890.35 | 45.221 | 64.1649
2019-03-12 20:45:00 | 6.719 | 256.847 | 7.943 | 260.665 | 8.69 | 263.967 | 8.956 | 258.883 | 1.035 | 890.008 | 45.781 | 50.0246
2019-03-12 21:00:00 | 6.388 | 268.073 | 7.904 | 270.421 | 8.086 | 274.333 | 8.334 | 269.267 | 0.998 | 889.917 | 45.797 | 47.2648
2019-03-12 21:15:00 | 5.718 | 268.96 | 7 | 269.131 | 7.396 | 274.5 | 7.74 | 270.567 | 0.499 | 890.175 | 46.869 | 43.6245
2019-03-12 21:30:00 | 5.394 | 255.893 | 6.899 | 259.048 | 7.366 | 267.033 | 7.895 | 262.667 | 0.183 | 890.108 | 48.304 | 44.3664
2019-03-12 21:45:00 | 6.539 | 255.733 | 7.911 | 257.435 | 8.5 | 263.167 | 8.862 | 258.833 | 0.1 | 889.742 | 50.453 | 42.7647
2019-03-12 22:00:00 | 6.679 | 250.08 | 7.998 | 255.172 | 8.572 | 261.817 | 8.895 | 257.85 | -0.292 | 889.825 | 51.915 | 45.305
2019-03-12 22:15:00 | 4.513 | 238.293 | 5.901 | 247.136 | 6.926 | 256.467 | 7.502 | 253.683 | -0.342 | 889.892 | 52.821 | 45.3171
2019-03-12 22:30:00 | 5.155 | 238.387 | 6.265 | 243.447 | 6.546 | 250.533 | 6.678 | 247.283 | -0.515 | 890.25 | 53.291 | 48.0286
2019-03-12 22:45:00 | 6.358 | 239.98 | 7.618 | 250.692 | 8.05 | 257.433 | 8.43 | 255.333 | -1.065 | 889.458 | 54.555 | 49.7333
2019-03-12 23:00:00 | 5.65 | 247.747 | 7.096 | 252.458 | 7.461 | 258.533 | 7.624 | 255.983 | -0.558 | 889.858 | 54.789 | 46.4504
2019-03-12 23:15:00 | 6.023 | 245.94 | 7.578 | 251.778 | 8.085 | 258.967 | 8.23 | 255.75 | -1.132 | 890.042 | 54.821 | 43.0959
2019-03-12 23:30:00 | 5.098 | 240.793 | 6.405 | 247.028 | 7.215 | 256.633 | 7.564 | 254.433 | -0.852 | 889.892 | 54.635 | 42.1487
2019-03-12 23:45:00 | 5.348 | 239.247 | 6.385 | 245.644 | 6.647 | 255.6 | 6.808 | 254.033 | -1.76 | 889.717 | 55.84 | 39.3171