## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-13 00:00:00 | 5.445 | 246.267 | 7.126 | 254.478 | 7.511 | 260.6 | 7.883 | 259.283 | -1.399 | 889.892 | 55.109 | 36.6766
2019-03-13 00:15:00 | 4.681 | 238.187 | 6.271 | 247.873 | 6.978 | 255.067 | 7.195 | 253.133 | -1.552 | 889.683 | 54.699 | 33.1948
2019-03-13 00:30:00 | 5.748 | 237.167 | 6.8 | 243.058 | 7.097 | 251.033 | 7.29 | 248.25 | -2.395 | 889.692 | 56.459 | 39.0932
2019-03-13 00:45:00 | 5.958 | 237.36 | 7.682 | 245.106 | 8.04 | 252.2 | 8.178 | 249.767 | -2.263 | 889.442 | 57.685 | 37.5065
2019-03-13 01:00:00 | 6.247 | 236.14 | 7.807 | 244.54 | 8.098 | 250.567 | 8.333 | 246.233 | -2.058 | 889.8 | 56.981 | 38.0679
2019-03-13 01:15:00 | 5.12 | 233.987 | 6.755 | 241.447 | 6.902 | 250.067 | 7.192 | 247.5 | -2.131 | 889.492 | 56.832 | 38.4665
2019-03-13 01:30:00 | 5.615 | 236.48 | 7.558 | 239.184 | 7.838 | 246.833 | 7.89 | 243.4 | -2.164 | 889.742 | 58.165 | 40.8164
2019-03-13 01:45:00 | 6.83 | 237.32 | 7.966 | 240.785 | 8.406 | 247.333 | 8.433 | 244.233 | -2.226 | 889.533 | 56.747 | 45.9978
2019-03-13 02:00:00 | 6.386 | 232.54 | 7.846 | 236.923 | 8.181 | 244.033 | 8.319 | 240.1 | -2.287 | 889.95 | 56.203 | 48.6411
2019-03-13 02:15:00 | 6.07 | 227.88 | 7.529 | 231.965 | 7.969 | 239.667 | 8.05 | 236.433 | -2.72 | 889.725 | 56.608 | 41.8936
2019-03-13 02:30:00 | 6.172 | 226.807 | 7.943 | 231.708 | 8.394 | 240.733 | 8.472 | 238.333 | -3.13 | 890.175 | 58.016 | 46.1883
2019-03-13 02:45:00 | 6.289 | 227.453 | 8.3 | 233.449 | 8.74 | 240.733 | 8.799 | 238 | -2.899 | 889.533 | 56.651 | 53.0189
2019-03-13 03:00:00 | 6.567 | 229.693 | 8.241 | 232.968 | 8.779 | 240.867 | 8.806 | 238.167 | -2.361 | 889.542 | 55.019 | 57.1679
2019-03-13 03:15:00 | 6.395 | 228.687 | 8.338 | 233.844 | 8.758 | 242.7 | 8.955 | 240 | -2.683 | 889.742 | 54.421 | 55.0739
2019-03-13 03:30:00 | 5.643 | 224.287 | 7.925 | 231.471 | 8.374 | 240.5 | 8.266 | 238.133 | -3.067 | 889.467 | 54.037 | 47.819
2019-03-13 03:45:00 | 6.024 | 229.9 | 7.678 | 236.301 | 8.197 | 244.5 | 8.328 | 242.367 | -3.204 | 889.808 | 53.675 | 41.6193
2019-03-13 04:00:00 | 5.997 | 228.367 | 7.329 | 232.851 | 7.606 | 243.1 | 7.581 | 243.133 | -2.7 | 889.633 | 52.779 | 36.3284
2019-03-13 04:15:00 | 5.938 | 223.553 | 7.421 | 232.252 | 7.655 | 242.867 | 7.781 | 241.9 | -3.032 | 890.233 | 52.459 | 36.9118
2019-03-13 04:30:00 | 5.014 | 225.667 | 7.204 | 234.626 | 7.566 | 245.5 | 7.444 | 245.333 | -3.806 | 889.808 | 53.504 | 36.0023
2019-03-13 04:45:00 | 6.106 | 219.007 | 7.542 | 226.924 | 7.773 | 236.267 | 7.551 | 235.733 | -3.843 | 890.275 | 55.339 | 34.4781
2019-03-13 05:00:00 | 5.762 | 225.987 | 7.318 | 233.869 | 7.532 | 242.767 | 7.447 | 241.3 | -3.95 | 890 | 55.083 | 35.3727
2019-03-13 05:15:00 | 5.323 | 225.7 | 7.021 | 233.873 | 7.073 | 242.8 | 6.843 | 240.833 | -3.89 | 889.967 | 54.624 | 33.0385
2019-03-13 05:30:00 | 5.593 | 224.733 | 6.863 | 234.283 | 6.889 | 244 | 6.678 | 243.567 | -3.337 | 889.325 | 52.971 | 32.6996
2019-03-13 05:45:00 | 5.844 | 219.267 | 7.187 | 227.852 | 7.27 | 236.633 | 7.177 | 234.333 | -3.806 | 890.3 | 53.045 | 34.8803
2019-03-13 06:00:00 | 5.404 | 222.7 | 7.17 | 229.529 | 7.398 | 238.8 | 7.198 | 236.267 | -3.89 | 889.842 | 52.235 | 38.4623
2019-03-13 06:15:00 | 5.308 | 220.467 | 6.922 | 229.065 | 7.02 | 237.933 | 6.907 | 234.867 | -3.823 | 889.533 | 52 | 37.2422
2019-03-13 06:30:00 | 5.541 | 215.113 | 7.409 | 219.474 | 7.414 | 228.967 | 7.2 | 229.667 | -4.246 | 890.017 | 51.563 | 34.0027
2019-03-13 06:45:00 | 5.964 | 216.66 | 7.744 | 220.998 | 7.546 | 230.5 | 7.62 | 228.867 | -4.716 | 889.783 | 56.299 | 34.1221
2019-03-13 07:00:00 | 6.541 | 217.6 | 8.53 | 219.318 | 8.447 | 226.533 | 8.027 | 224.4 | -4.885 | 889.933 | 59.04 | 38.6108
2019-03-13 07:15:00 | 6.396 | 214.767 | 8.798 | 218.708 | 8.56 | 225.133 | 8.22 | 224.3 | -4.852 | 890.158 | 60.277 | 41.2278
2019-03-13 07:30:00 | 6.576 | 214.967 | 8.172 | 221.67 | 8.313 | 230.467 | 8.269 | 228.867 | -5.002 | 889.608 | 60.64 | 41.0267
2019-03-13 07:45:00 | 6.309 | 214.067 | 8.78 | 216.904 | 8.508 | 226.2 | 8.309 | 225.667 | -4.935 | 889.858 | 60.875 | 43.0817
2019-03-13 08:00:00 | 6.873 | 211.447 | 9.374 | 210.24 | 9.476 | 215.967 | 9.046 | 215.1 | -4.345 | 889.75 | 61.035 | 48.0855
2019-03-13 08:15:00 | 7.073 | 215.333 | 9.806 | 212.638 | 9.816 | 216.333 | 9.725 | 213.733 | -3.554 | 889.775 | 58.155 | 52.7134
2019-03-13 08:30:00 | 6.982 | 213.06 | 9.381 | 210.501 | 9.932 | 213.5 | 9.873 | 212.3 | -2.74 | 890.025 | 54.336 | 56.7061
2019-03-13 08:45:00 | 6.289 | 211.693 | 8.487 | 209.728 | 9.728 | 213.167 | 9.776 | 210.933 | -1.743 | 889.783 | 50.581 | 52.8804
2019-03-13 09:00:00 | 6.793 | 213.367 | 7.864 | 209.137 | 8.989 | 212.367 | 9.898 | 209.9 | -0.459 | 889.992 | 47.125 | 54.7548
2019-03-13 09:15:00 | 6.648 | 211.433 | 7.762 | 209.093 | 8.63 | 212 | 9.641 | 209.633 | 0.665 | 889.417 | 44.032 | 51.0457
2019-03-13 09:30:00 | 6.887 | 216.98 | 7.178 | 214.008 | 7.764 | 215.6 | 8.388 | 212.267 | 1.559 | 889.9 | 40.704 | 44.5589
2019-03-13 09:45:00 | 6.922 | 221.707 | 7.185 | 219.059 | 7.451 | 222.033 | 7.588 | 218.233 | 2.28 | 889.817 | 39.088 | 37.2323
2019-03-13 10:00:00 | 6.928 | 217.133 | 6.857 | 214.432 | 6.994 | 218.267 | 7.111 | 215.733 | 3.171 | 889.817 | 37.829 | 31.2635
2019-03-13 10:15:00 | 6.457 | 225.967 | 6.724 | 226.809 | 6.917 | 232.167 | 6.895 | 228.167 | 3.722 | 889.5 | 36 | 28.1328
2019-03-13 10:30:00 | 5.934 | 234.36 | 6.441 | 235.229 | 6.644 | 239.9 | 6.73 | 235.767 | 4.7 | 890.183 | 34.213 | 24.8784
2019-03-13 10:45:00 | 4.728 | 263.327 | 4.959 | 261.259 | 5.117 | 267.817 | 5.286 | 264.1 | 5.283 | 889.833 | 29.52 | 20.7763
2019-03-13 11:00:00 | 5.894 | 258.56 | 6.084 | 257.703 | 6.132 | 262.35 | 6.292 | 258.367 | 4.992 | 890.017 | 27.845 | 17.4579
2019-03-13 11:15:00 | 5.837 | 284.587 | 6.256 | 282.353 | 6.171 | 284.367 | 6.354 | 281.967 | 5.461 | 889.867 | 24.917 | 15.8094
2019-03-13 11:30:00 | 5.397 | 281.24 | 5.401 | 276.587 | 5.712 | 280.867 | 6.036 | 279.4 | 5.204 | 889.883 | 24.091 | 15.4953
2019-03-13 11:45:00 | 5.039 | 273.707 | 5.327 | 271.034 | 5.632 | 273.7 | 5.667 | 267.683 | 5.73 | 889.683 | 23.955 | 15.1088
2019-03-13 12:00:00 | 5.073 | 294.773 | 5.352 | 295.524 | 5.443 | 299.333 | 5.913 | 295.6 | 5.772 | 889.717 | 22.573 | 15.4449
2019-03-13 12:15:00 | 4.186 | 296.587 | 4.437 | 286.792 | 4.561 | 287.483 | 4.796 | 284.3 | 6.472 | 890.033 | 21.272 | 12.6865
2019-03-13 12:30:00 | 5.626 | 285.067 | 5.755 | 279.722 | 5.718 | 284.467 | 6.03 | 280.2 | 6.84 | 889.85 | 20.763 | 12.5735
2019-03-13 12:45:00 | 3.866 | 282.773 | 4.154 | 279.419 | 4.449 | 285.1 | 4.748 | 282.15 | 7.122 | 889.3 | 20.261 | 10.979
2019-03-13 13:00:00 | 4.622 | 301.2 | 4.948 | 291.733 | 5.064 | 291.3 | 5.146 | 287.3 | 7.506 | 889.6 | 19.207 | 11.897
2019-03-13 13:15:00 | 5.243 | 274.467 | 5.297 | 270.676 | 5.545 | 278.333 | 5.699 | 273.667 | 7.509 | 889.2 | 18.143 | 12.3305
2019-03-13 13:30:00 | 6.348 | 313.947 | 6.667 | 306.922 | 6.794 | 312.4 | 6.918 | 313.967 | 7.769 | 889.6 | 17.823 | 12.7461
2019-03-13 13:45:00 | 4.968 | 314.333 | 5.212 | 304.999 | 5.361 | 312.467 | 5.492 | 311.633 | 7.823 | 889.367 | 17.636 | 13.2599
2019-03-13 14:00:00 | 5.703 | 314.667 | 5.88 | 309.771 | 6.25 | 317.233 | 6.689 | 312.933 | 8.11 | 889.4 | 17.792 | 13.0623
2019-03-13 14:15:00 | 4.092 | 311.413 | 4.339 | 298.925 | 4.674 | 300.9 | 5.19 | 300.933 | 8.371 | 889.333 | 17.413 | 12.9359
2019-03-13 14:30:00 | 5.366 | 304.933 | 5.593 | 299.45 | 5.445 | 304.5 | 5.588 | 304.2 | 8.574 | 889.2 | 16.733 | 12.4974
2019-03-13 14:45:00 | 5.259 | 322.267 | 5.438 | 313.003 | 5.63 | 317.233 | 5.889 | 315.3 | 8.558 | 889.633 | 17.424 | 10.8553
2019-03-13 15:00:00 | 5.064 | 306.68 | 5.529 | 298.207 | 5.547 | 304.833 | 5.577 | 302.567 | 8.599 | 889.7 | 17.167 | 12.7852
2019-03-13 15:15:00 | 5.382 | 300.348 | 5.458 | 314.882 | 5.41 | 316.5 | 5.779 | 310.333 | 9.141 | 889.633 | 17.595 | 14.8551
2019-03-13 15:30:00 | 4.836 | 316.387 | 5.041 | 294.642 | 5.416 | 310.367 | 5.894 | 306.667 | 9.162 | 889.3 | 17.769 | 15.9409
2019-03-13 15:45:00 | 5.063 | 329.08 | 5.211 | 318.849 | 5.314 | 318.433 | 5.458 | 316.333 | 9.037 | 889.667 | 17.508 | 11.1459
2019-03-13 16:00:00 | 6.006 | 323.173 | 6.175 | 312.876 | 6.156 | 317.133 | 6.515 | 316.033 | 9.224 | 889.433 | 17.833 | 11.4003
2019-03-13 16:15:00 | 5.436 | 299.867 | 5.617 | 293.951 | 5.927 | 298.9 | 6.145 | 296.767 | 9.616 | 889.667 | 18.004 | 14.0245
2019-03-13 16:30:00 | 5.838 | 331.92 | 6.036 | 323.492 | 6.441 | 327.567 | 6.387 | 323.167 | 9.52 | 889.567 | 18.139 | 15.2424
2019-03-13 16:45:00 | 4.264 | 324.507 | 4.571 | 320.2 | 5.007 | 324.567 | 5.418 | 322.033 | 9.412 | 889.4 | 18.323 | 14.0081
2019-03-13 17:00:00 | 5.82 | 322.573 | 5.998 | 315.885 | 6.261 | 319.6 | 6.374 | 317.7 | 9.978 | 889.533 | 18.592 | 15.9636
2019-03-13 17:15:00 | 5.957 | 336.867 | 5.811 | 326.257 | 5.695 | 330.5 | 5.971 | 326.633 | 9.478 | 889.633 | 18.283 | 15.3084
2019-03-13 17:30:00 | 4.982 | 324.507 | 4.928 | 318.572 | 5.13 | 323.2 | 5.385 | 320.567 | 9.745 | 889.667 | 17.903 | 14.8786
2019-03-13 17:45:00 | 4.442 | 319.147 | 4.484 | 312.318 | 4.723 | 319.6 | 4.888 | 316.7 | 9.854 | 889.467 | 17.521 | 13.8632
2019-03-13 18:00:00 | 5.214 | 319.853 | 5.413 | 313.128 | 5.329 | 318.233 | 5.543 | 316.933 | 9.42 | 889.6 | 17.785 | 13.3508
2019-03-13 18:15:00 | 5.413 | 315.76 | 5.522 | 313.654 | 5.85 | 318.1 | 5.882 | 316.633 | 9.287 | 889.7 | 17.624 | 13.9129
2019-03-13 18:30:00 | 5.282 | 315.333 | 5.438 | 309.857 | 5.758 | 314.933 | 5.994 | 313.8 | 9.341 | 889.433 | 17.452 | 14.6462
2019-03-13 18:45:00 | 5.031 | 307.96 | 5.125 | 304.48 | 5.267 | 309.633 | 5.447 | 309.2 | 8.991 | 889.633 | 17.057 | 15.0534
2019-03-13 19:00:00 | 4.856 | 312.453 | 5.336 | 308.71 | 5.53 | 315.167 | 5.789 | 313.8 | 9.178 | 889.733 | 17.035 | 13.8099
2019-03-13 19:15:00 | 4.856 | 312.453 | 5.336 | 308.71 | 5.53 | 315.167 | 5.789 | 313.8 | 9.178 | 889.733 | 17.035 | 12.6261
2019-03-13 19:30:00 | 4.358 | 313.96 | 5.21 | 308.439 | 5.619 | 314.833 | 5.779 | 312.633 | 8 | 889.467 | 17.324 | 12.2864
2019-03-13 19:45:00 | 4.188 | 318 | 4.952 | 310.168 | 5.49 | 315 | 5.868 | 315.143 | 7.696 | 889.643 | 18.657 | 12.1265
2019-03-13 20:00:00 | 4.179 | 312.733 | 5.083 | 309.014 | 5.556 | 315 | 6.006 | 311.567 | 6.789 | 889.733 | 19.547 | 13.6599
2019-03-13 20:15:00 | 3.906 | 306.707 | 4.966 | 305.069 | 5.387 | 309.8 | 5.581 | 306.6 | 6.452 | 889.617 | 20.467 | 12.3745
2019-03-13 20:30:00 | 3.957 | 292.467 | 4.882 | 295.656 | 5.243 | 301.9 | 5.501 | 300.733 | 6.095 | 889.683 | 21.635 | 10.92
2019-03-13 20:45:00 | 4.167 | 278.84 | 4.468 | 282.565 | 4.79 | 288.7 | 5.124 | 286.95 | 5.458 | 889.725 | 23.288 | 7.9754
2019-03-13 21:00:00 | 3.816 | 255.442 | 4.246 | 278.674 | 4.392 | 286.316 | 4.426 | 287.263 | 4.608 | 890.026 | 23.764 | 6.4335
2019-03-13 21:15:00 | 3.851 | 246.545 | 3.868 | 276.223 | 3.988 | 286.483 | 4.396 | 288.414 | 3.774 | 890.276 | 24.403 | 5.1495
2019-03-13 21:30:00 | 4.66 | 239.867 | 4.108 | 258.839 | 4.056 | 275.333 | 4.217 | 278.3 | 2.952 | 889.667 | 25.616 | 4.4069
2019-03-13 21:45:00 | 5.71 | 231.773 | 4.587 | 243.979 | 4.176 | 257.833 | 4.158 | 263.567 | 2.67 | 889.667 | 26.251 | 4.3728
2019-03-13 22:00:00 | 5.493 | 228.44 | 4.742 | 243.017 | 4.334 | 254.867 | 3.995 | 258.067 | 1.693 | 889.583 | 29.179 | 4.9001
2019-03-13 22:15:00 | 6.018 | 218.62 | 5.751 | 231.627 | 5.396 | 239.467 | 4.938 | 237.733 | 0.715 | 889.533 | 30.768 | 7.424
2019-03-13 22:30:00 | 6.342 | 218.187 | 6.238 | 223.811 | 5.888 | 229.933 | 5.359 | 226.7 | 0.2 | 889.783 | 32.283 | 10.0311
2019-03-13 22:45:00 | 6.083 | 218.633 | 6.211 | 221.603 | 6.093 | 227.8 | 5.934 | 224.4 | 0.465 | 889.533 | 34 | 12.5621
2019-03-13 23:00:00 | 6.232 | 220.02 | 6.55 | 221.936 | 6.132 | 229 | 6.063 | 226.1 | 0.466 | 889.4 | 34.56 | 13.3729
2019-03-13 23:15:00 | 6.196 | 217.727 | 7.065 | 219.147 | 6.74 | 223.267 | 6.269 | 220.7 | -0.116 | 889.55 | 33.728 | 13.4361
2019-03-13 23:30:00 | 6.17 | 218.84 | 7.337 | 220.176 | 6.754 | 224.267 | 6.127 | 220.5 | -0.292 | 890.017 | 33.541 | 13.2514
2019-03-13 23:45:00 | 6.231 | 218.667 | 7.663 | 221.015 | 6.735 | 225.133 | 5.664 | 221.033 | -0.558 | 889.933 | 34.608 | 11.9368