## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-14 00:00:00 | 6.299 | 217.867 | 7.016 | 219.539 | 6.372 | 225.467 | 5.208 | 220.733 | -0.578 | 889.9 | 35.867 | 10.6123
2019-03-14 00:15:00 | 6.99 | 215.967 | 6.884 | 214.319 | 6.088 | 217.4 | 5.457 | 216.233 | -0.722 | 889.883 | 36.885 | 10.2847
2019-03-14 00:30:00 | 7.098 | 214.667 | 7.403 | 214.561 | 6.613 | 219.267 | 5.227 | 213.9 | -0.478 | 889.933 | 37.296 | 11.8373
2019-03-14 00:45:00 | 7.175 | 214.76 | 7.525 | 216.056 | 6.226 | 218.967 | 5.496 | 213.933 | -0.828 | 889.55 | 37.189 | 13.2563
2019-03-14 01:00:00 | 6.683 | 215.567 | 6.498 | 217.647 | 6.211 | 220.1 | 5.616 | 214 | -0.989 | 889.917 | 36.981 | 11.3101
2019-03-14 01:15:00 | 7.324 | 217.7 | 7.797 | 219.52 | 7.209 | 224.1 | 6.545 | 220.6 | -0.862 | 889.617 | 34.453 | 14.2582
2019-03-14 01:30:00 | 7.031 | 218.207 | 8.532 | 220.31 | 7.541 | 224.767 | 6.656 | 221.233 | -0.412 | 889.5 | 34.853 | 17.3329
2019-03-14 01:45:00 | 7.211 | 218.287 | 8.178 | 215.053 | 7.399 | 219.767 | 6.754 | 217.1 | -0.942 | 889.967 | 36.005 | 17.0579
2019-03-14 02:00:00 | 7.587 | 215.82 | 7.966 | 213.218 | 7.36 | 216.167 | 6.236 | 208.4 | -1.149 | 889.85 | 37.36 | 14.5766
2019-03-14 02:15:00 | 7.115 | 218.227 | 6.57 | 208.001 | 5.907 | 211 | 5.565 | 203.867 | -1.259 | 889.85 | 37.995 | 11.2703
2019-03-14 02:30:00 | 7.115 | 216.993 | 7.028 | 207.582 | 6.265 | 207.133 | 5.753 | 198.5 | -1.82 | 889.083 | 38.64 | 10.419
2019-03-14 02:45:00 | 5.811 | 216.693 | 7.725 | 211.54 | 6.362 | 211.167 | 6.299 | 204 | -1.576 | 889.967 | 38.72 | 7.4681
2019-03-14 03:00:00 | 5.984 | 220.307 | 7.777 | 212.532 | 6.874 | 213.267 | 6.495 | 208.867 | -1.58 | 889.833 | 38.651 | 9.01
2019-03-14 03:15:00 | 6.604 | 220.2 | 8.087 | 214.36 | 7.371 | 215.633 | 6.685 | 210.6 | -1.499 | 889.917 | 37.877 | 12.3013
2019-03-14 03:30:00 | 6.676 | 218.5 | 8.292 | 214.345 | 7.45 | 213.933 | 7.052 | 206.9 | -1.8 | 889.65 | 37.248 | 16.6848
2019-03-14 03:45:00 | 6.893 | 219.327 | 7.903 | 212.91 | 7.364 | 212.633 | 7.437 | 202.467 | -1.519 | 889.533 | 37.2 | 16.677
2019-03-14 04:00:00 | 6.86 | 217.273 | 7.477 | 209.926 | 7.5 | 206.133 | 8.02 | 196.467 | -1.479 | 889.267 | 37.051 | 14.0721
2019-03-14 04:15:00 | 6.568 | 221.067 | 7.175 | 211.97 | 7.184 | 206.533 | 6.854 | 195.233 | -1.723 | 889.85 | 36.027 | 12.879
2019-03-14 04:30:00 | 6.598 | 221.173 | 7.517 | 215.093 | 7.009 | 211.667 | 7.261 | 200.2 | -1.68 | 889.767 | 35.648 | 13.2315
2019-03-14 04:45:00 | 6.802 | 220.473 | 7.558 | 214.812 | 6.881 | 214.367 | 6.794 | 202.767 | -1.875 | 889.9 | 36.325 | 15.4122
2019-03-14 05:00:00 | 6.54 | 221.847 | 8.079 | 215.723 | 6.895 | 216.533 | 6.082 | 207.3 | -2.164 | 889.633 | 37.029 | 13.3352
2019-03-14 05:15:00 | 6.738 | 223.593 | 8.452 | 217.633 | 7.526 | 216.833 | 6.532 | 209.833 | -2.18 | 889.283 | 38.133 | 12.6005
2019-03-14 05:30:00 | 6.076 | 225.493 | 8.343 | 216.696 | 7.637 | 217.033 | 6.702 | 210.8 | -2.552 | 889.517 | 39.76 | 12.0427
2019-03-14 05:45:00 | 5.716 | 232.293 | 7.98 | 224.409 | 7.145 | 218.1 | 6.02 | 212.967 | -2.639 | 889.45 | 40.624 | 9.496
2019-03-14 06:00:00 | 6.108 | 230.427 | 8 | 221.441 | 7.045 | 215.367 | 5.75 | 211.033 | -2.74 | 889.975 | 40.816 | 8.4742
2019-03-14 06:15:00 | 6.438 | 234.933 | 7.214 | 216.91 | 6.279 | 215.933 | 6.428 | 205.767 | -3.337 | 889.45 | 40.32 | 8.3165
2019-03-14 06:30:00 | 6.101 | 231.887 | 7.374 | 220.506 | 6.47 | 212.067 | 5.85 | 201.2 | -2.781 | 890.033 | 39.397 | 7.5157
2019-03-14 06:45:00 | 6.544 | 237.133 | 7.025 | 223.753 | 6.124 | 215.1 | 6.018 | 205.1 | -3.387 | 889.383 | 40.16 | 7.1689
2019-03-14 07:00:00 | 6.238 | 234.433 | 7.107 | 221.253 | 5.66 | 212.6 | 4.836 | 196.5 | -3.606 | 889.65 | 40.187 | 8.3307
2019-03-14 07:15:00 | 6.105 | 230.767 | 7.539 | 220.916 | 6.211 | 218.467 | 5.726 | 202.8 | -3.706 | 889.383 | 40.235 | 10.3188
2019-03-14 07:30:00 | 6.188 | 230.6 | 6.753 | 216.257 | 5.56 | 213.8 | 5.011 | 200.333 | -3.488 | 889.767 | 39.264 | 9.4925
2019-03-14 07:45:00 | 6.009 | 224.633 | 7.244 | 213.765 | 5.889 | 208.5 | 5.168 | 197.167 | -3.487 | 889.9 | 38.736 | 7.5874
2019-03-14 08:00:00 | 5.708 | 221.253 | 7.258 | 210.073 | 6.613 | 206.3 | 6.306 | 196.967 | -2.982 | 889.8 | 38.587 | 9.3404
2019-03-14 08:15:00 | 6.654 | 218.14 | 6.79 | 209.314 | 7.1 | 204.8 | 7.272 | 197.867 | -1.95 | 890.083 | 36.336 | 8.541
2019-03-14 08:30:00 | 6.627 | 219.127 | 7.168 | 205.419 | 6.596 | 198.667 | 5.618 | 189.867 | -1.182 | 889.767 | 34.064 | 6.604
2019-03-14 08:45:00 | 5.692 | 210.053 | 7.662 | 199.154 | 7.505 | 198.167 | 6.28 | 191.067 | 0.017 | 889.15 | 32.389 | 9.5237
2019-03-14 09:00:00 | 4.965 | 212.527 | 6.282 | 200.954 | 5.71 | 197.833 | 5.034 | 190.667 | 1.543 | 890.167 | 29.205 | 8.6952
2019-03-14 09:15:00 | 3.684 | 214.047 | 5.191 | 204.344 | 5.338 | 195.6 | 4.886 | 188.7 | 2.72 | 889.3 | 26.944 | 7.4169
2019-03-14 09:30:00 | 2.221 | 209.1 | 2.032 | 204.751 | 3.058 | 209 | 4.142 | 196.533 | 4.885 | 889.4 | 22.571 | 7.6706
2019-03-14 09:45:00 | 1.458 | 199.167 | 1.289 | 203.533 | 1.883 | 210.767 | 2.717 | 202.8 | 7.256 | 889.567 | 19.293 | 3.3745
2019-03-14 10:00:00 | 1.402 | 167.06 | 0.626 | 187.608 | 1.061 | 198.767 | 2.13 | 194.967 | 7.843 | 889.933 | 16.851 | 0.96992
2019-03-14 10:15:00 | 1.309 | 119.99 | 0.71 | 135.896 | 0.68 | 146.433 | 1.66 | 164.367 | 8.224 | 889.633 | 15.512 | 0.16059
2019-03-14 10:30:00 | 1.664 | 118.28 | 0.996 | 116.882 | 0.999 | 119.1 | 1.558 | 103.033 | 8.424 | 889.533 | 15.605 | 0.12435
2019-03-14 10:45:00 | 2.623 | 72.923 | 2.166 | 77.304 | 2.088 | 89.567 | 2.166 | 100.733 | 8.558 | 889.767 | 16.12 | 0.17409
2019-03-14 11:00:00 | 2.404 | 69.097 | 2.228 | 65.635 | 2.329 | 76.133 | 2.391 | 76.767 | 8.741 | 889.633 | 16.155 | 0.11227
2019-03-14 11:15:00 | 1.841 | 45.3 | 0.822 | 42.58 | 0.263 | 114.767 | 0.517 | 87.067 | 9.583 | 889.5 | 15.288 | 0.49029
2019-03-14 11:30:00 | 0.546 | 192.175 | 0.447 | 145.408 | 0.676 | 128.1 | 0.95 | 130.667 | 10.628 | 889.5 | 13.189 | 0.2288
2019-03-14 11:45:00 | 1.272 | 212.34 | 0.723 | 217.747 | 0.667 | 211.6 | 0.961 | 185.45 | 11.194 | 890.233 | 12.368 | 0.16627
2019-03-14 12:00:00 | 1.405 | 197.108 | 0.276 | 200.2 | 0.37 | 117.354 | 1.257 | 101.533 | 10.89 | 889.733 | 11.657 | 0.18546
2019-03-14 12:15:00 | 2.218 | 75.687 | 1.323 | 83.682 | 1.02 | 90.5 | 1.337 | 106.867 | 11.166 | 889.167 | 11.64 | 0.18759
2019-03-14 12:30:00 | 3.012 | 145.383 | 3.218 | 133.094 | 3.156 | 141.233 | 3.308 | 138.3 | 10.995 | 889.4 | 11.179 | 0.77025
2019-03-14 12:45:00 | 0.875 | 168.46 | 0.31 | 184.913 | 0.253 | 164.933 | 1.357 | 168.033 | 11.511 | 889.267 | 10.517 | 1.1206
2019-03-14 13:00:00 | 2.512 | 167.52 | 2.616 | 160.81 | 2.731 | 161.333 | 3.2 | 151.4 | 12.049 | 889.233 | 9.976 | 0.86263
2019-03-14 13:15:00 | 0.849 | 196.973 | 0.76 | 216.8 | 1.288 | 231.6 | 1.845 | 224.633 | 11.922 | 888.933 | 9.413 | 0.17338
2019-03-14 13:30:00 | 3.131 | 123.977 | 3.285 | 126.405 | 3.261 | 138.033 | 3.522 | 133.767 | 11.749 | 888.867 | 8.984 | 0.27712
2019-03-14 13:45:00 | 2.998 | 133.597 | 3.03 | 129.48 | 3.09 | 131.633 | 2.879 | 120.5 | 12.693 | 889.033 | 9.765 | 0.47253
2019-03-14 14:00:00 | 3.914 | 79.905 | 4.059 | 69.357 | 4.252 | 73.133 | 4.414 | 66.5 | 11.399 | 889.4 | 11.784 | 2.6746
2019-03-14 14:15:00 | 5.616 | 75.215 | 5.57 | 68.416 | 5.767 | 79 | 5.858 | 72.3 | 12.061 | 889.733 | 10.944 | 5.617
2019-03-14 14:30:00 | 4.818 | 88.135 | 5.023 | 84.884 | 5.004 | 91.767 | 4.775 | 89.4 | 11.549 | 889.8 | 10.947 | 6.0341
2019-03-14 14:45:00 | 3.652 | 110.73 | 3.824 | 102.391 | 3.836 | 106.333 | 3.918 | 101.1 | 11.803 | 889.367 | 11.101 | 4.5512
2019-03-14 15:00:00 | 4.615 | 68.358 | 4.645 | 61.396 | 4.512 | 68 | 4.424 | 69.433 | 12.195 | 889.567 | 11.024 | 5.1893
2019-03-14 15:15:00 | 4.155 | 81.86 | 4.256 | 79.38 | 4.354 | 88.9 | 4.6 | 87.2 | 12.166 | 888.933 | 12.339 | 7.4553
2019-03-14 15:30:00 | 6.047 | 68.297 | 6.032 | 69.29 | 5.92 | 75.433 | 6.064 | 71.433 | 11.87 | 889.5 | 12.221 | 10.7885
2019-03-14 15:45:00 | 5.052 | 85.658 | 5.39 | 74.395 | 5.547 | 79.133 | 5.974 | 70.867 | 11.782 | 889.867 | 12.165 | 13.3643
2019-03-14 16:00:00 | 4.808 | 76.787 | 4.784 | 77.585 | 5.331 | 80.5 | 6.032 | 75.267 | 11.655 | 889.3 | 12.032 | 16.2734
2019-03-14 16:15:00 | 5.099 | 80.032 | 4.799 | 71.992 | 4.831 | 77.5 | 5.118 | 71.033 | 11.557 | 889.367 | 12.352 | 17.2696
2019-03-14 16:30:00 | 6.142 | 83.217 | 6.267 | 80.065 | 6.105 | 84.767 | 6.365 | 80.7 | 11.911 | 889.533 | 12.259 | 18.7035
2019-03-14 16:45:00 | 5.447 | 90.24 | 5.373 | 85.969 | 5.415 | 86.933 | 5.648 | 78.733 | 12.157 | 889.4 | 12.045 | 16.9655
2019-03-14 17:00:00 | 4.513 | 77.562 | 4.634 | 74.355 | 4.645 | 83.7 | 4.87 | 78.833 | 11.82 | 890 | 12.083 | 15.3127
2019-03-14 17:15:00 | 5.033 | 108.647 | 4.987 | 102.318 | 5.069 | 107.8 | 5.424 | 100.633 | 11.77 | 889.3 | 12.144 | 15.209
2019-03-14 17:30:00 | 5.327 | 101.917 | 5.321 | 97.119 | 5.373 | 100.6 | 5.31 | 97 | 11.649 | 889.4 | 11.915 | 15.5316
2019-03-14 17:45:00 | 5.784 | 89.747 | 5.41 | 89.914 | 5.367 | 93.333 | 5.577 | 84.7 | 11.97 | 889.533 | 11.845 | 16.5164
2019-03-14 18:00:00 | 5.632 | 87.67 | 5.432 | 84.72 | 5.037 | 87.967 | 4.994 | 84.3 | 11.557 | 889.6 | 11.685 | 16.8802
2019-03-14 18:15:00 | 6.182 | 86 | 6.02 | 83.877 | 6.135 | 87.667 | 6.284 | 84.533 | 11.361 | 889.633 | 11.787 | 18.5138
2019-03-14 18:30:00 | 5.814 | 87.32 | 5.725 | 82.432 | 5.308 | 90.233 | 5.308 | 86.1 | 11.628 | 889.4 | 11.776 | 19.3352
2019-03-14 18:45:00 | 5.895 | 90.187 | 5.657 | 88.008 | 5.23 | 93.5 | 4.922 | 86.733 | 11.507 | 889.6 | 11.405 | 19.208
2019-03-14 19:00:00 | 5.429 | 84.227 | 5.782 | 78.377 | 6.054 | 82.967 | 6.312 | 78.833 | 11.182 | 890.033 | 11.621 | 18.8542
2019-03-14 19:15:00 | 5.243 | 89.033 | 5.103 | 83.488 | 4.534 | 92.767 | 4.154 | 85.633 | 11.011 | 889.433 | 11.699 | 19.7104
2019-03-14 19:30:00 | 5.046 | 90.323 | 5.023 | 86.288 | 4.273 | 91.167 | 4.235 | 88.467 | 10.405 | 889.467 | 12.176 | 20.0216
2019-03-14 19:45:00 | 4.489 | 92.81 | 4.566 | 89.64 | 3.345 | 98.9 | 3.292 | 88.767 | 9.714 | 889.3 | 12.656 | 18.4747
2019-03-14 20:00:00 | 4.171 | 96.68 | 4.31 | 91.258 | 3.32 | 96.667 | 3.038 | 90.4 | 9.045 | 889.533 | 13.28 | 16.6671
2019-03-14 20:15:00 | 3.719 | 94.733 | 4.159 | 88.166 | 3.169 | 99.4 | 2.808 | 93.5 | 8.34 | 889.267 | 13.624 | 14.7606
2019-03-14 20:30:00 | 3.42 | 99.31 | 3.97 | 91.574 | 3.062 | 100 | 2.927 | 91.367 | 8.08 | 889.833 | 13.987 | 14.4956
2019-03-14 20:45:00 | 3.455 | 102.367 | 3.786 | 98.267 | 3.428 | 103.067 | 3.484 | 98.667 | 7.389 | 889.767 | 14.317 | 15.0129
2019-03-14 21:00:00 | 3.751 | 101.05 | 4.368 | 98.476 | 3.516 | 97.9 | 3.053 | 96.133 | 6.94 | 889.5 | 14.347 | 13.6145
2019-03-14 21:15:00 | 3.847 | 109.007 | 3.862 | 96.758 | 2.895 | 99.6 | 2.777 | 97.067 | 6.516 | 889.733 | 14.661 | 10.2215
2019-03-14 21:30:00 | 3.505 | 125.307 | 3.797 | 107.254 | 3.599 | 109.733 | 4.021 | 107.733 | 5.895 | 889.5 | 15.16 | 7.4439
2019-03-14 21:45:00 | 1.874 | 145.28 | 2.98 | 108.137 | 3.008 | 108.933 | 3.334 | 108.033 | 5.306 | 889.233 | 15.784 | 5.4458
2019-03-14 22:00:00 | 1.755 | 165.947 | 2.254 | 125.707 | 2.816 | 123.933 | 3.272 | 120.733 | 5.786 | 889.767 | 16.536 | 4.5277
2019-03-14 22:15:00 | 1.394 | 170.4 | 2.178 | 112.61 | 2.663 | 110.967 | 2.941 | 104.667 | 5.316 | 889.533 | 17.099 | 2.7129
2019-03-14 22:30:00 | 2.209 | 204.4 | 0.74 | 131.153 | 1.827 | 112.7 | 2.066 | 100.667 | 4.819 | 889.7 | 17.768 | 1.6698
2019-03-14 22:45:00 | 2.786 | 213.613 | 0.783 | 170.151 | 0.82 | 142.733 | 2.152 | 106.1 | 5.207 | 889.333 | 17.696 | 0.96211
2019-03-14 23:00:00 | 1.949 | 213.473 | 0 | 157.537 | 0.766 | 120.4 | 1.7 | 94.633 | 5.319 | 889.833 | 17.701 | 0.23378
2019-03-14 23:15:00 | 1.78 | 211.96 | 0 | 133.481 | 1.11 | 104.1 | 2.158 | 90.333 | 5.793 | 889.9 | 17.725 | 0.1478
2019-03-14 23:30:00 | 2.885 | 217.527 | 0.434 | 157.212 | 1.108 | 114.933 | 2.153 | 94 | 2.737 | 889.267 | 18.363 | 0.49242
2019-03-14 23:45:00 | 4.957 | 223.413 | 1.504 | 210.923 | 0.53 | 167.267 | 1.367 | 132 | 2.255 | 889.433 | 19.189 | 0.74467