## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-15 00:00:00 | 5.76 | 224.167 | 2.715 | 210.703 | 1.608 | 198.9 | 1.357 | 157.033 | 0.05 | 889.817 | 21.499 | 0.18688
2019-03-15 00:15:00 | 4.679 | 228.647 | 1.649 | 225.245 | 0.32 | 202.667 | 0.85 | 156.1 | 1.506 | 889.467 | 20.741 | 0.24159
2019-03-15 00:30:00 | 4.975 | 225.953 | 2.828 | 226.737 | 2.244 | 228.633 | 1.603 | 215.533 | 1.935 | 889.7 | 21.165 | 0.23591
2019-03-15 00:45:00 | 5.572 | 230.567 | 2.729 | 227.119 | 2.031 | 230 | 1.986 | 218.967 | 0.935 | 889.25 | 22.048 | 0.25438
2019-03-15 01:00:00 | 6.248 | 230.42 | 3.433 | 237.916 | 1.982 | 241.133 | 1.199 | 221 | 0.083 | 889.817 | 23.893 | 0.23733
2019-03-15 01:15:00 | 5.535 | 233.98 | 2.633 | 239.175 | 1.55 | 248.333 | 0.467 | 221.167 | 0.865 | 889.883 | 25.877 | 0.23875
2019-03-15 01:30:00 | 5.542 | 238.953 | 3.661 | 240.728 | 2.411 | 258 | 2.038 | 241.467 | 0.316 | 889.983 | 28.261 | 0.24444
2019-03-15 01:45:00 | 5.433 | 244.527 | 3.19 | 244.508 | 2.798 | 264 | 2.561 | 257.467 | 1.702 | 889.067 | 29.008 | 0.27002
2019-03-15 02:00:00 | 4.761 | 244.367 | 2.571 | 244.485 | 2.057 | 263.867 | 1.997 | 265 | 1.7 | 889.767 | 28.917 | 0.29844
2019-03-15 02:15:00 | 4.074 | 245.7 | 1.951 | 254.454 | 1.653 | 268.8 | 1.836 | 270.6 | 2.7 | 889.617 | 27.397 | 0.25722
2019-03-15 02:30:00 | 4.925 | 233.653 | 3.79 | 239.367 | 2.854 | 258.233 | 1.984 | 270.233 | 1.195 | 889.667 | 27.061 | 0.27002
2019-03-15 02:45:00 | 5.056 | 240.893 | 3.21 | 208.898 | 2.041 | 209.5 | 2.088 | 257.7 | -0.849 | 889.817 | 29.472 | 0.25865
2019-03-15 03:00:00 | 3.54 | 241.24 | 1.597 | 160.876 | 1.207 | 122.7 | 0.353 | 155 | -0.795 | 889.983 | 29.893 | 0.26859
2019-03-15 03:15:00 | 3.58 | 246.067 | 0.263 | 209.294 | 0.996 | 111 | 0.917 | 155 | -0.538 | 889.55 | 29.195 | 0.27854
2019-03-15 03:30:00 | 2.784 | 242.653 | 0.157 | 216.482 | 1.213 | 115.567 | 1.882 | 109.9 | 1.112 | 889.35 | 27.781 | 0.28849
2019-03-15 03:45:00 | 2.766 | 238.407 | 0 | 170.982 | 1.003 | 106 | 2.296 | 88.533 | 1.806 | 889.717 | 26.693 | 0.27428
2019-03-15 04:00:00 | 3.382 | 226.013 | 0.07 | 171.465 | 0.047 | 85 | 1.743 | 76.867 | 2.269 | 889.85 | 25.499 | 0.2423
2019-03-15 04:15:00 | 3.002 | 225.54 | 0.982 | 226.565 | 0.564 | 216.6 | 0.551 | 162.167 | 2.98 | 889.4 | 24.597 | 0.27854
2019-03-15 04:30:00 | 3.43 | 223.42 | 1.13 | 224.516 | 0.547 | 212 | 0.171 | 147.667 | 3.066 | 889.7 | 24.187 | 0.2757
2019-03-15 04:45:00 | 3.659 | 232.567 | 1.351 | 221.138 | 0 | 212.067 | 0.027 | 125 | 2.5 | 889.883 | 24.517 | 0.28281
2019-03-15 05:00:00 | 3.753 | 232.873 | 0.326 | 226.507 | 0 | 212 | 0.785 | 124.933 | 2.557 | 889.383 | 24.827 | 0.28565
2019-03-15 05:15:00 | 4.759 | 229.98 | 0.137 | 230.003 | 0 | 212 | 0.557 | 101.833 | 1.943 | 890 | 24.688 | 0.28991
2019-03-15 05:30:00 | 4.119 | 230.133 | 0.44 | 240.764 | 0 | 211.9 | 0.856 | 97.733 | 2.034 | 890.167 | 25.371 | 0.28707
2019-03-15 05:45:00 | 4.235 | 227.64 | 0.276 | 239.848 | 0 | 162 | 0.695 | 91.833 | 1.109 | 889.65 | 26.203 | 0.28991
2019-03-15 06:00:00 | 4.987 | 228.66 | 1.437 | 233.54 | 0 | 162 | 0 | 92 | -1.015 | 889.95 | 29.2 | 0.29133
2019-03-15 06:15:00 | 5.554 | 224.78 | 2.392 | 234.157 | 1.006 | 247 | 0.108 | 93.2 | -1.546 | 889.733 | 30.16 | 0.28707
2019-03-15 06:30:00 | 5.426 | 223.473 | 1.497 | 240.708 | 0.45 | 247 | 0 | 93.933 | -2.475 | 889.817 | 32.149 | 0.28138
2019-03-15 06:45:00 | 5.586 | 224.513 | 1.559 | 246.255 | 0.05 | 254.1 | 0.111 | 93.117 | -3.979 | 889.667 | 34.299 | 0.28281
2019-03-15 07:00:00 | 4.482 | 222.893 | 0 | 233.417 | 0 | 258 | 0.682 | 93 | -2.807 | 889.767 | 33.2 | 0.28991
2019-03-15 07:15:00 | 3.324 | 222.46 | 0 | 233.586 | 0 | 258 | 1.242 | 92.942 | -0.828 | 889.833 | 30.976 | 0.28565
2019-03-15 07:30:00 | 3.657 | 217.867 | 0 | 233.511 | 0 | 258 | 1.438 | 87.667 | -0.176 | 889.95 | 28.896 | 0.28281
2019-03-15 07:45:00 | 3.785 | 218.907 | 0 | 230.768 | 0 | 258 | 1.488 | 86.767 | 0.332 | 889.767 | 28.064 | 0.28849
2019-03-15 08:00:00 | 3.975 | 225.7 | 0 | 230.956 | 0 | 258 | 1.404 | 92.133 | -0.396 | 889.55 | 28.811 | 0.30128
2019-03-15 08:15:00 | 4.693 | 224.427 | 0.713 | 233.302 | 0 | 97.033 | 1.616 | 114.5 | -0.579 | 889.733 | 28.757 | 0.29418
2019-03-15 08:30:00 | 3.266 | 224.133 | 0.433 | 204.424 | 1.327 | 149.8 | 2.49 | 132.833 | 1.921 | 889.6 | 26.261 | 0.22525
2019-03-15 08:45:00 | 3.122 | 219.533 | 0.967 | 162.174 | 1.674 | 155.5 | 2.72 | 129.233 | 3.555 | 889.933 | 23.349 | 1.063
2019-03-15 09:00:00 | 2.603 | 214.4 | 1.153 | 162.406 | 2.11 | 137.167 | 3.245 | 118.967 | 3.739 | 889.9 | 22.059 | 1.6826
2019-03-15 09:15:00 | 2.25 | 209.733 | 1.46 | 176.447 | 2.01 | 148.2 | 3.23 | 124.533 | 4.719 | 889.95 | 20.949 | 2.4998
2019-03-15 09:30:00 | 2.636 | 217.9 | 1.639 | 182.864 | 1.907 | 168.967 | 2.551 | 144.333 | 4.935 | 889.65 | 20.939 | 2.1367
2019-03-15 09:45:00 | 2.051 | 208.76 | 1.817 | 178.095 | 2.016 | 159.8 | 2.569 | 137.567 | 6.456 | 889.333 | 19.813 | 1.2158
2019-03-15 10:00:00 | 1.514 | 196.253 | 0.516 | 170.084 | 0.843 | 155.133 | 2.248 | 126.167 | 8.348 | 889.6 | 18.136 | 0.21317
2019-03-15 10:15:00 | 1.827 | 157.3 | 1.531 | 152.559 | 1.474 | 145.433 | 2.035 | 136.833 | 8.997 | 889.533 | 15.547 | 0.26788
2019-03-15 10:30:00 | 1.807 | 124.06 | 1.366 | 120.013 | 1.883 | 118.067 | 2.338 | 111.633 | 8.533 | 889.667 | 15.024 | 0.2352
2019-03-15 10:45:00 | 2.347 | 113.06 | 2.307 | 104.987 | 2.383 | 105.3 | 2.607 | 96.9 | 8.974 | 889.467 | 14.739 | 0.95003
2019-03-15 11:00:00 | 4.056 | 100.647 | 3.848 | 94.411 | 3.939 | 97.433 | 4.212 | 93.933 | 8.937 | 889.233 | 14.371 | 2.951
2019-03-15 11:15:00 | 3.353 | 87.927 | 3.315 | 84.576 | 3.279 | 82.333 | 3.635 | 75.033 | 9.12 | 889.5 | 14.544 | 3.9351
2019-03-15 11:30:00 | 3.618 | 71.878 | 3.724 | 67.891 | 3.626 | 71.933 | 3.357 | 73.167 | 9.349 | 889.567 | 14.861 | 3.7092
2019-03-15 11:45:00 | 3.266 | 60.737 | 3.186 | 60.574 | 3.297 | 74.8 | 3.615 | 74.167 | 9.366 | 889.6 | 14.907 | 2.7563
2019-03-15 12:00:00 | 3.357 | 66.887 | 3.291 | 68.155 | 3.456 | 73.767 | 3.612 | 67.267 | 9.77 | 889.533 | 14.875 | 2.4486
2019-03-15 12:15:00 | 4.08 | 64.653 | 4.323 | 57.731 | 4.195 | 66.233 | 4.177 | 62.633 | 9.87 | 889.733 | 14.589 | 2.6412
2019-03-15 12:30:00 | 3.185 | 57.267 | 3.36 | 61.705 | 3.371 | 67 | 3.533 | 65.3 | 9.899 | 889.967 | 14.256 | 4.1149
2019-03-15 12:45:00 | 3.472 | 72.177 | 3.696 | 75.25 | 3.747 | 80.7 | 3.966 | 73.333 | 9.901 | 889.5 | 13.288 | 4.1469
2019-03-15 13:00:00 | 3.344 | 81.923 | 3.378 | 73.818 | 3.596 | 84.167 | 3.813 | 75.5 | 10.422 | 889.4 | 13.027 | 3.0036
2019-03-15 13:15:00 | 3.999 | 69.022 | 3.902 | 63.515 | 3.954 | 69.033 | 3.964 | 63.733 | 10.652 | 889.7 | 12.816 | 3.5606
2019-03-15 13:30:00 | 3.773 | 70.927 | 3.756 | 64.512 | 4.152 | 67.9 | 4.221 | 64.7 | 10.961 | 889.167 | 12.291 | 3.6047
2019-03-15 13:45:00 | 3.913 | 78.223 | 4.096 | 76.616 | 4.219 | 79.633 | 4.18 | 74.033 | 11.078 | 889.433 | 12.635 | 4.969
2019-03-15 14:00:00 | 4.198 | 66.135 | 4.325 | 64.198 | 4.483 | 67.033 | 4.704 | 63.1 | 11.524 | 889.433 | 12.664 | 6.8158
2019-03-15 14:15:00 | 5.181 | 76.648 | 5.569 | 67.789 | 5.545 | 74.233 | 5.782 | 69.4 | 11.645 | 889.433 | 12.093 | 7.7118
2019-03-15 14:30:00 | 5.578 | 51.252 | 5.083 | 47.138 | 5.179 | 53.067 | 5.327 | 54.767 | 11.624 | 889.267 | 11.445 | 10.5981
2019-03-15 14:45:00 | 5.678 | 60.302 | 5.519 | 49.943 | 5.448 | 53.7 | 5.648 | 49.367 | 12.17 | 889.433 | 11.043 | 14.9901
2019-03-15 15:00:00 | 5.838 | 60.102 | 5.464 | 54.602 | 5.604 | 56.8 | 5.938 | 53.233 | 12.403 | 889.633 | 10.621 | 17.4757
2019-03-15 15:15:00 | 6.34 | 62.238 | 6.168 | 55.376 | 6.176 | 59.067 | 6.32 | 57.267 | 12.32 | 889.367 | 10.333 | 19.0574
2019-03-15 15:30:00 | 5.696 | 67.285 | 5.903 | 57.784 | 5.778 | 62.433 | 6.018 | 58.633 | 12.614 | 889.5 | 10.415 | 19.4731
2019-03-15 15:45:00 | 6.321 | 46.113 | 6.436 | 40.319 | 6.581 | 46.467 | 6.523 | 45.2 | 12.664 | 889.5 | 10.56 | 17.6022
2019-03-15 16:00:00 | 5.518 | 75.925 | 5.583 | 67.517 | 5.388 | 67.967 | 5.83 | 66.433 | 12.63 | 889.533 | 10.459 | 14.1097
2019-03-15 16:15:00 | 4.325 | 64.842 | 4.387 | 59.225 | 4.626 | 64.233 | 4.569 | 59.333 | 12.72 | 889.4 | 10.187 | 12.7085
2019-03-15 16:30:00 | 4.908 | 61.675 | 4.987 | 59.476 | 5.186 | 64.033 | 5.22 | 61.933 | 13.141 | 889.2 | 9.923 | 12.1883
2019-03-15 16:45:00 | 4.798 | 75.855 | 5.134 | 71.534 | 5.39 | 78.5 | 5.515 | 75.067 | 13.07 | 889.133 | 9.74 | 12.258
2019-03-15 17:00:00 | 4.912 | 85.34 | 5.292 | 77.197 | 5.382 | 81.267 | 5.459 | 76.567 | 13.182 | 889 | 9.728 | 10.9456
2019-03-15 17:15:00 | 4.219 | 76.633 | 4.389 | 67.328 | 4.534 | 72.9 | 4.79 | 70.933 | 13.228 | 889.067 | 9.575 | 10.3828
2019-03-15 17:30:00 | 3.557 | 72.568 | 3.966 | 66.053 | 4.041 | 71.6 | 4.299 | 67.7 | 13.349 | 889.267 | 9.857 | 7.3579
2019-03-15 17:45:00 | 3.846 | 70.357 | 3.97 | 67.334 | 4.355 | 72.133 | 4.334 | 72.7 | 13.222 | 888.733 | 9.739 | 5.784
2019-03-15 18:00:00 | 5.14 | 52.172 | 5.145 | 49.061 | 5.065 | 52.7 | 4.905 | 47.133 | 13.199 | 888.933 | 9.757 | 4.8326
2019-03-15 18:15:00 | 4.002 | 59.36 | 3.853 | 53.821 | 4.059 | 56.867 | 3.965 | 53.4 | 13.278 | 888.933 | 9.647 | 4.2051
2019-03-15 18:30:00 | 3.434 | 72.198 | 3.58 | 66.479 | 3.695 | 72.933 | 3.628 | 69.233 | 12.999 | 889 | 9.809 | 4.824
2019-03-15 18:45:00 | 3.391 | 71.255 | 3.533 | 67.732 | 3.591 | 71.633 | 3.782 | 67.167 | 13.256 | 888.933 | 9.4 | 4.6592
2019-03-15 19:00:00 | 4.064 | 45.99 | 4.251 | 39.586 | 4.07 | 45.667 | 4.152 | 45.867 | 13.512 | 889 | 8.972 | 4.4162
2019-03-15 19:15:00 | 3.25 | 51.195 | 3.625 | 44.048 | 4.023 | 48.8 | 4.133 | 45.967 | 12.755 | 889.2 | 9.181 | 5.4365
2019-03-15 19:30:00 | 2.456 | 51.638 | 2.31 | 49.247 | 2.386 | 52.3 | 2.707 | 51.833 | 12.345 | 889.233 | 9.804 | 4.1504
2019-03-15 19:45:00 | 2.561 | 46.067 | 2.784 | 44.741 | 2.447 | 51.7 | 2.338 | 52.8 | 11.757 | 889.367 | 10.608 | 2.0805
2019-03-15 20:00:00 | 2.632 | 68.49 | 2.867 | 62.997 | 3.03 | 64.3 | 2.99 | 64.267 | 11.245 | 889.633 | 11.424 | 1.3465
2019-03-15 20:15:00 | 2.931 | 79.667 | 3.28 | 74.615 | 3.518 | 80.567 | 3.788 | 75.433 | 10.745 | 889.8 | 11.16 | 3.4242
2019-03-15 20:30:00 | 3.077 | 82.457 | 3.773 | 79.312 | 3.63 | 86.3 | 3.648 | 80.967 | 10.185 | 889.433 | 11.24 | 6.4122
2019-03-15 20:45:00 | 2.396 | 87.68 | 3.153 | 81.099 | 2.843 | 88.633 | 2.567 | 85.367 | 9.587 | 889.633 | 11.541 | 6.9586
2019-03-15 21:00:00 | 2.824 | 114.43 | 3.132 | 101.474 | 2.88 | 106.7 | 2.75 | 98.333 | 9.722 | 889.533 | 11.976 | 6.3603
2019-03-15 21:15:00 | 2.591 | 134.34 | 3.696 | 112.398 | 3.699 | 115.033 | 3.726 | 109.933 | 9.483 | 889.567 | 11.773 | 4.7416
2019-03-15 21:30:00 | 2.661 | 151.327 | 2.952 | 115.063 | 3.449 | 115.9 | 3.834 | 111 | 8.21 | 889.433 | 12.187 | 3.8655
2019-03-15 21:45:00 | 2.36 | 179.36 | 1.644 | 132.164 | 2.522 | 131.733 | 2.943 | 123.533 | 8.093 | 889.233 | 12.752 | 2.0145
2019-03-15 22:00:00 | 3.242 | 208.627 | 1.45 | 155.488 | 1.404 | 148.9 | 1.985 | 130.333 | 8.11 | 889.267 | 12.949 | 0.13998
2019-03-15 22:15:00 | 4.193 | 213.96 | 2.515 | 185.792 | 2.324 | 166.633 | 2.772 | 145.867 | 8.411 | 888.867 | 12.635 | 0.18901
2019-03-15 22:30:00 | 6.628 | 228.027 | 4.931 | 222.938 | 3.764 | 213.833 | 3.07 | 190.533 | 5.445 | 889.3 | 13.021 | 0.2153
2019-03-15 22:45:00 | 6.171 | 230.08 | 4.006 | 225.863 | 3.258 | 218.3 | 2.683 | 194.633 | 2.254 | 889.133 | 16.141 | 0.1748
2019-03-15 23:00:00 | 6.7 | 226.753 | 4.501 | 234.589 | 3.933 | 231.633 | 3.596 | 217.533 | 2.394 | 889.133 | 16.603 | 0.69493
2019-03-15 23:15:00 | 6.234 | 229.447 | 5.36 | 249.608 | 4.352 | 251.6 | 3.851 | 239.233 | 2.181 | 889.767 | 17.104 | 2.6781
2019-03-15 23:30:00 | 6.105 | 242.96 | 4.864 | 258.644 | 4.579 | 261.667 | 4.247 | 254.4 | 2.447 | 889.6 | 17.737 | 2.5374
2019-03-15 23:45:00 | 5.892 | 229.527 | 4.633 | 265.753 | 3.847 | 285.333 | 3.572 | 279.4 | 2.72 | 889.533 | 17.239 | 1.7892