## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-16 00:00:00 | 6.687 | 235.2 | 5.667 | 258.856 | 4.696 | 272.067 | 4.214 | 274.133 | 2.936 | 889.633 | 18.004 | 3.366
2019-03-16 00:15:00 | 6.822 | 228.68 | 5.956 | 247.174 | 4.971 | 261.333 | 3.954 | 273.567 | 1.981 | 889.567 | 18.712 | 5.8991
2019-03-16 00:30:00 | 6.365 | 224.707 | 5.42 | 243.536 | 4.477 | 255.467 | 3.696 | 268.567 | 1.189 | 890.1 | 19.693 | 5.0784
2019-03-16 00:45:00 | 6.515 | 226.027 | 5.506 | 241.57 | 4.816 | 252.6 | 3.658 | 267.667 | 1.099 | 889.133 | 20.533 | 4.0907
2019-03-16 01:00:00 | 6.324 | 220.32 | 5.913 | 234.189 | 5.05 | 244.233 | 3.977 | 243.8 | 1.149 | 889.85 | 20.667 | 5.1992
2019-03-16 01:15:00 | 5.778 | 223.047 | 5.516 | 236.275 | 4.786 | 248.4 | 4.02 | 249.767 | 0.915 | 889.6 | 21.147 | 5.7201
2019-03-16 01:30:00 | 6.094 | 219.867 | 5.569 | 229.362 | 4.745 | 241.333 | 3.835 | 243.633 | 0.382 | 889.75 | 21.44 | 4.8596
2019-03-16 01:45:00 | 6 | 215.1 | 5.494 | 223.847 | 4.823 | 233.5 | 3.919 | 232.8 | 0.565 | 889.617 | 21.504 | 3.5315
2019-03-16 02:00:00 | 5.79 | 208.787 | 5.83 | 212.165 | 4.443 | 216.1 | 3.262 | 219.4 | 0.15 | 889.617 | 21.957 | 1.8645
2019-03-16 02:15:00 | 5.403 | 212.553 | 6.12 | 212.299 | 5.243 | 214 | 4.648 | 212.333 | 0.732 | 890.2 | 21.2 | 1.6826
2019-03-16 02:30:00 | 5.929 | 207.52 | 5.988 | 202.374 | 4.827 | 206.6 | 4.368 | 205.167 | 0.432 | 889.35 | 21.6 | 1.7444
2019-03-16 02:45:00 | 5.532 | 207.307 | 4.563 | 200.462 | 4.073 | 198.8 | 3.815 | 192.5 | 2.475 | 889.383 | 20.493 | 0.46755
2019-03-16 03:00:00 | 5.358 | 213.833 | 3.83 | 199.478 | 3.27 | 197 | 2.885 | 190.067 | 1.399 | 889.25 | 22.16 | 0.27783
2019-03-16 03:15:00 | 6.465 | 212.653 | 5.273 | 206.664 | 4.246 | 210.233 | 3.606 | 202.733 | 1.398 | 889.417 | 25.227 | 0.16698
2019-03-16 03:30:00 | 6.281 | 221.56 | 4.575 | 215.066 | 4.398 | 214.333 | 3.885 | 212.167 | 2.773 | 889.35 | 23.995 | 0.19612
2019-03-16 03:45:00 | 6.351 | 227.4 | 4.319 | 219.679 | 3.674 | 225.1 | 3.545 | 217 | 2.051 | 889.667 | 24.907 | 0.12435
2019-03-16 04:00:00 | 7.336 | 221.88 | 4.962 | 217.931 | 4.262 | 214.5 | 3.914 | 205.6 | 2.124 | 889.933 | 25.531 | 0.33823
2019-03-16 04:15:00 | 6.506 | 221.187 | 5.869 | 211.147 | 5.769 | 209.367 | 5.002 | 198.633 | 0.782 | 889.75 | 27.051 | 0.96353
2019-03-16 04:30:00 | 7.492 | 215.6 | 6.369 | 206.328 | 5.599 | 199.8 | 4.658 | 189 | 0.598 | 889.817 | 28.523 | 1.3806
2019-03-16 04:45:00 | 6.646 | 212.647 | 6.318 | 208.648 | 5.334 | 208 | 4.873 | 195.3 | 0.183 | 889.683 | 29.461 | 2.3349
2019-03-16 05:00:00 | 5.91 | 212.907 | 6.282 | 206.506 | 5.493 | 208 | 5.288 | 198.3 | 0.033 | 889.6 | 29.989 | 3.1265
2019-03-16 05:15:00 | 5.808 | 214.087 | 5.793 | 204.585 | 5.304 | 206.967 | 4.854 | 196.2 | 0.023 | 889.95 | 30.427 | 3.7994
2019-03-16 05:30:00 | 6.148 | 215.233 | 7.261 | 209.286 | 6.186 | 210.733 | 5.839 | 203.767 | -0.778 | 889.567 | 31.264 | 6.3333
2019-03-16 05:45:00 | 6.824 | 216.047 | 6.716 | 209.695 | 5.874 | 212.167 | 5.147 | 208.233 | -0.186 | 889.6 | 31.947 | 9.4839
2019-03-16 06:00:00 | 5.992 | 210.347 | 7.874 | 198.605 | 7.217 | 202 | 6.57 | 197.967 | 0.415 | 890.067 | 31.253 | 11.239
2019-03-16 06:15:00 | 5.13 | 204.473 | 8.057 | 196.614 | 7.405 | 199.7 | 6.91 | 193.2 | 0.532 | 889.817 | 30.491 | 9.9728
2019-03-16 06:30:00 | 5.096 | 209.993 | 7.868 | 199.925 | 7.687 | 201.767 | 7.144 | 196.933 | 0.682 | 889.917 | 29.989 | 11.3946
2019-03-16 06:45:00 | 5.578 | 211.933 | 7.493 | 200.21 | 6.944 | 203.733 | 6.214 | 200.333 | 0.216 | 890 | 30.837 | 12.4051
2019-03-16 07:00:00 | 6.873 | 205.447 | 8.345 | 198.883 | 7.088 | 201.867 | 6.463 | 196 | -0.229 | 889.767 | 31.653 | 12.4612
2019-03-16 07:15:00 | 7.043 | 208.093 | 8.398 | 197.698 | 7.664 | 201.633 | 7.13 | 196.133 | 0.332 | 889.867 | 29.771 | 10.7686
2019-03-16 07:30:00 | 5.434 | 213.407 | 7.858 | 207.105 | 7.406 | 210 | 6.988 | 205.2 | 0.532 | 889.267 | 28.805 | 12.5983
2019-03-16 07:45:00 | 5.877 | 216.747 | 8.04 | 212.636 | 7.773 | 217.733 | 7.647 | 214.667 | -0.106 | 889.383 | 30.565 | 13.5398
2019-03-16 08:00:00 | 5.731 | 216.527 | 8.869 | 216.249 | 8.1 | 222.4 | 7.479 | 220.367 | -0.728 | 889.983 | 30.133 | 20.9802
2019-03-16 08:15:00 | 5.302 | 212.867 | 8.065 | 212.645 | 7.76 | 220.467 | 6.982 | 221.733 | 0.316 | 889.75 | 28.613 | 27.2431
2019-03-16 08:30:00 | 5.769 | 211.667 | 7.494 | 208.322 | 7.995 | 213.433 | 7.724 | 213.433 | 0.715 | 889.817 | 27.339 | 24.9217
2019-03-16 08:45:00 | 6.329 | 214.033 | 8.388 | 212.43 | 7.985 | 218.867 | 7.2 | 221.1 | 2.069 | 889.767 | 25.563 | 22.7197
2019-03-16 09:00:00 | 6.06 | 214.367 | 8.197 | 213.595 | 8.241 | 220.3 | 7.304 | 219.833 | 3.522 | 889.667 | 23.253 | 23.8992
2019-03-16 09:15:00 | 5.592 | 218.387 | 7.336 | 219.294 | 7.114 | 227 | 6.626 | 227.667 | 5.342 | 889.5 | 21.259 | 22.3203
2019-03-16 09:30:00 | 5.495 | 219.487 | 6.486 | 216.973 | 7.221 | 223.9 | 6.656 | 222.9 | 6.452 | 889.6 | 19.6 | 22.083
2019-03-16 09:45:00 | 6.17 | 216.413 | 6.221 | 215.282 | 6.371 | 219.2 | 6.339 | 218.133 | 7.682 | 889.5 | 18.296 | 18.5969
2019-03-16 10:00:00 | 5.146 | 216 | 5.254 | 215.32 | 5.496 | 221.167 | 5.552 | 217.633 | 8.474 | 889.533 | 17.253 | 11.9155
2019-03-16 10:15:00 | 4.226 | 215.813 | 4.213 | 214.753 | 4.442 | 219.033 | 4.434 | 219.1 | 9.612 | 889.567 | 16.376 | 7.726
2019-03-16 10:30:00 | 3.487 | 232.267 | 3.567 | 228.733 | 3.683 | 231.933 | 3.618 | 226.033 | 11.045 | 889.667 | 15.195 | 4.4922
2019-03-16 10:45:00 | 3.511 | 242.073 | 3.433 | 239.904 | 3.488 | 240.317 | 3.839 | 235.367 | 11.761 | 889.8 | 13.999 | 3.9401
2019-03-16 11:00:00 | 3.023 | 259.253 | 3.107 | 252.209 | 3.345 | 254.717 | 3.524 | 248.8 | 12.743 | 889.4 | 12.904 | 2.7236
2019-03-16 11:15:00 | 3.816 | 239.353 | 3.656 | 239.302 | 4.229 | 244.617 | 4.649 | 240 | 12.628 | 889.333 | 12.321 | 1.7473
2019-03-16 11:30:00 | 4.331 | 322.587 | 4.014 | 317.733 | 4.309 | 321.633 | 4.389 | 308.067 | 11.849 | 889.267 | 11.943 | 1.0225
2019-03-16 11:45:00 | 3.911 | 326.04 | 3.878 | 320.796 | 3.654 | 324.4 | 3.562 | 326.1 | 11.332 | 889.633 | 11.956 | 1.3387
2019-03-16 12:00:00 | 4.148 | 277.224 | 4.2 | 315.519 | 4.265 | 318.033 | 4.312 | 321.633 | 11.407 | 889.433 | 11.992 | 3.0789
2019-03-16 12:15:00 | 3.698 | 323.36 | 3.811 | 321.522 | 4.141 | 327.767 | 4.259 | 325.133 | 12.007 | 889.533 | 11.579 | 5.1942
2019-03-16 12:30:00 | 2.416 | 315 | 1.981 | 277.234 | 2.114 | 277.934 | 2.63 | 295.6 | 12.036 | 889.6 | 10.677 | 3.2778
2019-03-16 12:45:00 | 3.899 | 296.213 | 3.656 | 307.019 | 3.911 | 297.8 | 4.266 | 312.9 | 12.857 | 889.467 | 10.26 | 1.834
2019-03-16 13:00:00 | 2.832 | 320.933 | 2.568 | 318.722 | 2.576 | 322.267 | 2.823 | 310.533 | 12.68 | 889.1 | 10.454 | 1.2549
2019-03-16 13:15:00 | 2.787 | 314.573 | 3.188 | 320.05 | 3.156 | 327.167 | 3.162 | 310.833 | 12.822 | 889.1 | 10.395 | 1.7565
2019-03-16 13:30:00 | 4.225 | 326 | 4.138 | 330.029 | 4.324 | 321.3 | 4.388 | 334.3 | 13.478 | 889.633 | 10.649 | 1.7046
2019-03-16 13:45:00 | 3.699 | 40.925 | 3.539 | 156.977 | 3.591 | 119.533 | 3.614 | 129.867 | 12.834 | 889.4 | 11.011 | 2.9382
2019-03-16 14:00:00 | 4.001 | 332.373 | 3.612 | 319.47 | 3.875 | 318.367 | 3.849 | 318.967 | 13.458 | 889.167 | 10.827 | 4.4318
2019-03-16 14:15:00 | 4.894 | 307.04 | 4.994 | 301.734 | 5.088 | 307.333 | 5.48 | 303.4 | 13.708 | 889.1 | 10.089 | 3.9003
2019-03-16 14:30:00 | 2.494 | 286.028 | 2.68 | 296.533 | 3.002 | 280 | 3.572 | 284 | 13.516 | 889 | 9.784 | 4.0474
2019-03-16 14:45:00 | 1.713 | 290.733 | 1.313 | 288.148 | 1.524 | 298.167 | 2.071 | 316.133 | 13.799 | 888.933 | 9.498 | 2.6703
2019-03-16 15:00:00 | 4.82 | 208.992 | 4.773 | 241.572 | 5.143 | 217.467 | 4.988 | 226.6 | 13.837 | 888.967 | 10.161 | 2.2113
2019-03-16 15:15:00 | 3.902 | 46.733 | 4.229 | 39.335 | 4.273 | 40.967 | 3.982 | 32.433 | 14.183 | 889.367 | 10.529 | 3.4327
2019-03-16 15:30:00 | 3.75 | 234.614 | 4.23 | 334.471 | 4.27 | 301.733 | 4.621 | 318.7 | 14.487 | 889.033 | 9.924 | 4.5235
2019-03-16 15:45:00 | 5.543 | 287.322 | 5.567 | 312.928 | 5.941 | 318.8 | 5.984 | 329.767 | 14.274 | 889.033 | 10.353 | 9.8229
2019-03-16 16:00:00 | 3.849 | 273.76 | 4.002 | 313.145 | 4.386 | 330.467 | 4.509 | 307.834 | 14.383 | 889.167 | 10.644 | 10.0424
2019-03-16 16:15:00 | 5.936 | 333.2 | 6.249 | 324.711 | 6.671 | 316.867 | 6.707 | 324.233 | 14.541 | 889.367 | 10.405 | 10.937
2019-03-16 16:30:00 | 4.789 | 246.316 | 5.114 | 232.573 | 5.196 | 235.801 | 5.131 | 223.367 | 14.016 | 889.667 | 11.22 | 17.8523
2019-03-16 16:45:00 | 4.41 | 16.417 | 4.529 | 31.49 | 4.696 | 10 | 4.825 | 20.467 | 14.27 | 889.2 | 11.109 | 11.0408
2019-03-16 17:00:00 | 5.301 | 253.629 | 5.598 | 280.569 | 5.818 | 259.5 | 5.858 | 246.1 | 13.933 | 889.467 | 11.183 | 9.2118
2019-03-16 17:15:00 | 5.097 | 259.287 | 5.432 | 281.784 | 5.607 | 273.634 | 5.834 | 271.967 | 14.258 | 889.267 | 10.197 | 15.7703
2019-03-16 17:30:00 | 6.267 | 316.693 | 6.756 | 310.058 | 6.716 | 315.333 | 6.905 | 312.467 | 14.62 | 889.333 | 10.705 | 18.4584
2019-03-16 17:45:00 | 5.041 | 310 | 5.297 | 332.898 | 5.484 | 326.567 | 5.81 | 338.167 | 14.433 | 889.4 | 11.189 | 20.4515
2019-03-16 18:00:00 | 5.734 | 324.627 | 5.937 | 328.334 | 6.049 | 334.633 | 6.085 | 331.1 | 14.599 | 889.333 | 11.553 | 15.5145
2019-03-16 18:15:00 | 5.664 | 292.06 | 5.809 | 346.861 | 6.214 | 292.833 | 6.437 | 302.967 | 13.762 | 889.6 | 11.909 | 16.6422
2019-03-16 18:30:00 | 6.331 | 332.133 | 6.54 | 325.273 | 6.811 | 331.2 | 7.037 | 329.2 | 13.87 | 889.4 | 11.493 | 13.4503
2019-03-16 18:45:00 | 6.386 | 326.013 | 6.716 | 318.179 | 7.089 | 324.533 | 7.276 | 323.033 | 14.133 | 889.567 | 11.672 | 26.9838
2019-03-16 19:00:00 | 6.029 | 322.973 | 6.42 | 316.414 | 6.629 | 319.9 | 7.075 | 320.8 | 13.962 | 889.633 | 12.068 | 27.9381
2019-03-16 19:15:00 | 5.472 | 321.067 | 5.947 | 314.933 | 6.579 | 319.767 | 6.764 | 318.167 | 13.639 | 889.6 | 12.275 | 22.7644
2019-03-16 19:30:00 | 4.081 | 321.64 | 4.766 | 314.026 | 5.151 | 318.333 | 5.469 | 316.6 | 13.23 | 889.667 | 12.707 | 14.767
2019-03-16 19:45:00 | 3.66 | 322.4 | 4.541 | 316.22 | 4.826 | 320.5 | 5.224 | 319.467 | 12.336 | 889.633 | 13.315 | 10.564
2019-03-16 20:00:00 | 3.278 | 312.44 | 3.607 | 308.804 | 3.922 | 314.333 | 4.269 | 313.7 | 12.472 | 889.767 | 13.916 | 8.1729
2019-03-16 20:15:00 | 2.886 | 306.44 | 3.505 | 312.903 | 3.847 | 321.333 | 4.009 | 318.167 | 11.807 | 889.233 | 14.419 | 6.0014
2019-03-16 20:30:00 | 2.906 | 300.733 | 3.477 | 311.09 | 3.771 | 317.833 | 3.941 | 316.833 | 11.128 | 889.567 | 14.899 | 3.5109
2019-03-16 20:45:00 | 3.118 | 286.533 | 2.813 | 305.709 | 3.048 | 313.533 | 3.347 | 314.933 | 10.961 | 889.467 | 15.211 | 2.0592
2019-03-16 21:00:00 | 3.361 | 268.307 | 3.164 | 291.124 | 3.146 | 302.4 | 3.301 | 302.333 | 10.145 | 889.333 | 15.715 | 0.69635
2019-03-16 21:15:00 | 3.617 | 259.88 | 3.284 | 291.246 | 3.56 | 305.733 | 3.742 | 302.6 | 9.433 | 889.767 | 16.423 | 0.79512
2019-03-16 21:30:00 | 3.151 | 265.867 | 3.023 | 292.99 | 3.069 | 304.767 | 3.358 | 305.533 | 9.341 | 889.867 | 17.079 | 1.0175
2019-03-16 21:45:00 | 3.216 | 249.793 | 2.366 | 290.947 | 2.558 | 304.067 | 3.036 | 302.967 | 9.233 | 889.6 | 17.051 | 0.79086
2019-03-16 22:00:00 | 4.769 | 230.353 | 2.606 | 277.369 | 2.635 | 294 | 3.15 | 292.867 | 8.197 | 889.367 | 17.599 | 0.22028
2019-03-16 22:15:00 | 6.057 | 223.74 | 3.863 | 245.448 | 2.898 | 274.4 | 3.01 | 284.9 | 5.318 | 888.967 | 19.384 | 0.27925
2019-03-16 22:30:00 | 6.314 | 224.48 | 4.559 | 243.347 | 3.792 | 256.133 | 3.42 | 269.3 | 4.643 | 889.717 | 20.371 | 1.3828
2019-03-16 22:45:00 | 6.292 | 223.78 | 5.165 | 240.462 | 4.039 | 251.433 | 3.769 | 258 | 4.676 | 889.567 | 20.381 | 3.0917
2019-03-16 23:00:00 | 6.444 | 220.633 | 6.012 | 232.042 | 5.099 | 242.267 | 4.322 | 244.767 | 4.338 | 889.967 | 20.659 | 5.5595
2019-03-16 23:15:00 | 6.629 | 218.187 | 6.809 | 223.552 | 6.058 | 232.8 | 5.322 | 229.6 | 4.215 | 889.867 | 20.8 | 11.1623
2019-03-16 23:30:00 | 6.801 | 216.553 | 8.229 | 219.381 | 7.615 | 222.633 | 6.735 | 219.967 | 4.032 | 889.7 | 21.28 | 17.1509
2019-03-16 23:45:00 | 6.749 | 214.673 | 7.147 | 220.616 | 6.116 | 227.9 | 5.501 | 227.667 | 3.976 | 889.467 | 21.568 | 18.808