## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-17 00:00:00 | 6.548 | 213.9 | 6.465 | 219.548 | 5.587 | 228.9 | 5.124 | 233.167 | 3.722 | 889.883 | 22.16 | 13.7132
2019-03-17 00:15:00 | 6.48 | 216.407 | 7.734 | 215.77 | 6.756 | 218.733 | 5.924 | 214.9 | 4.258 | 889.767 | 22.117 | 8.7272
2019-03-17 00:30:00 | 6.156 | 215.58 | 7.491 | 215.936 | 6.535 | 224.4 | 5.354 | 223.967 | 4.178 | 889.833 | 22.597 | 13.5107
2019-03-17 00:45:00 | 6.806 | 214.433 | 7.096 | 212.83 | 6.756 | 216.833 | 6.043 | 215.6 | 3.689 | 889.683 | 22.235 | 14.1481
2019-03-17 01:00:00 | 6.028 | 211.933 | 6.714 | 211.588 | 6.327 | 213 | 5.962 | 209.433 | 3.554 | 889.517 | 22.101 | 12.0462
2019-03-17 01:15:00 | 4.627 | 210.107 | 6.532 | 213.592 | 6.152 | 215 | 6.085 | 211.467 | 3.364 | 889.867 | 22.565 | 9.0349
2019-03-17 01:30:00 | 6.828 | 215.267 | 6.978 | 214.533 | 6.832 | 216.3 | 6.908 | 212.167 | 3.388 | 890.233 | 22.592 | 11.5012
2019-03-17 01:45:00 | 6.619 | 224.533 | 7.345 | 220.593 | 7.572 | 223.133 | 7.642 | 218.433 | 3.355 | 889.8 | 22.459 | 14.2575
2019-03-17 02:00:00 | 6.326 | 221.013 | 8.057 | 218.009 | 8.109 | 218.967 | 8.062 | 214 | 4.079 | 890.033 | 21.973 | 18.965
2019-03-17 02:15:00 | 6.194 | 220.753 | 7.214 | 217.476 | 6.888 | 216.733 | 6.831 | 212.033 | 4.448 | 889.517 | 21.616 | 17.5638
2019-03-17 02:30:00 | 5.787 | 216.833 | 7.14 | 213.457 | 6.837 | 216.767 | 6.803 | 214.5 | 3.823 | 889.733 | 22.128 | 15.3077
2019-03-17 02:45:00 | 5.034 | 213.033 | 6.699 | 212.655 | 6.405 | 218.233 | 6.093 | 215.833 | 3.137 | 889.95 | 22.629 | 14.362
2019-03-17 03:00:00 | 5.154 | 214.5 | 6.149 | 213.211 | 5.849 | 221.1 | 5.679 | 220.233 | 3.422 | 889.917 | 23.243 | 13.8802
2019-03-17 03:15:00 | 5.101 | 218.167 | 5.529 | 218.166 | 5.074 | 229.567 | 4.729 | 228.833 | 3.288 | 889.517 | 23.461 | 10.3636
2019-03-17 03:30:00 | 5.664 | 217.9 | 5.777 | 214.282 | 5.41 | 222.9 | 4.981 | 222.933 | 3.572 | 889.667 | 23.429 | 9.3667
2019-03-17 03:45:00 | 5.084 | 216.2 | 6.145 | 214.216 | 5.856 | 222.8 | 5.582 | 222.167 | 4.072 | 889.883 | 22.587 | 12.3738
2019-03-17 04:00:00 | 5.564 | 217.353 | 6.093 | 217.777 | 5.955 | 226.167 | 6.046 | 224.033 | 2.585 | 889.75 | 23.819 | 13.9719
2019-03-17 04:15:00 | 5.527 | 222.233 | 5.943 | 217.607 | 6.078 | 220.367 | 6.441 | 216.567 | 2.615 | 889.767 | 24.032 | 13.1753
2019-03-17 04:30:00 | 5.184 | 221.753 | 6.237 | 213.63 | 6.358 | 217.2 | 6.681 | 213.8 | 2.999 | 889.45 | 23.472 | 11.5694
2019-03-17 04:45:00 | 6.146 | 223.933 | 6.898 | 217.377 | 6.986 | 220.1 | 6.876 | 214.933 | 2.952 | 889.2 | 24.192 | 12.4406
2019-03-17 05:00:00 | 5.474 | 229.847 | 6.771 | 219.702 | 7.42 | 223.867 | 7.199 | 218.967 | 3.167 | 889.967 | 24.432 | 13.1689
2019-03-17 05:15:00 | 4.919 | 227.82 | 7.421 | 219.876 | 8.222 | 222.867 | 7.661 | 219.033 | 2.582 | 889.767 | 26.133 | 17.8658
2019-03-17 05:30:00 | 5.761 | 221.293 | 8.294 | 217.964 | 8.336 | 222.333 | 8.024 | 219.233 | 2.188 | 889.583 | 27.333 | 24.695
2019-03-17 05:45:00 | 5.046 | 227.06 | 8.136 | 219.011 | 8.486 | 223.5 | 8.07 | 219.967 | 2.823 | 890.133 | 26.597 | 32.7351
2019-03-17 06:00:00 | 7.334 | 221.593 | 8.986 | 221.202 | 8.542 | 226.5 | 8.112 | 222.533 | 2.869 | 889.383 | 26.459 | 38.2114
2019-03-17 06:15:00 | 5.736 | 225.667 | 7.418 | 220.806 | 8.436 | 225.3 | 8.358 | 221.567 | 3.555 | 889.517 | 25.509 | 35.4892
2019-03-17 06:30:00 | 5.646 | 228.12 | 6.759 | 220.255 | 8.45 | 221.8 | 8.77 | 217 | 3.749 | 889.85 | 25.259 | 35.5447
2019-03-17 06:45:00 | 6.299 | 219.767 | 8.772 | 214.484 | 8.898 | 219.6 | 8.687 | 216.267 | 3.338 | 889.7 | 26.112 | 38.4068
2019-03-17 07:00:00 | 6.468 | 215.927 | 8.803 | 215.354 | 8.394 | 220.467 | 8.384 | 217.333 | 2.68 | 889.783 | 27.883 | 32.4466
2019-03-17 07:15:00 | 6.9 | 215.34 | 8.593 | 214.064 | 8.417 | 219.8 | 8.225 | 216.833 | 2.298 | 889.683 | 28.928 | 28.6429
2019-03-17 07:30:00 | 6.974 | 214.053 | 8.752 | 212.755 | 8.701 | 216.867 | 8.678 | 214.2 | 2.048 | 889.65 | 29.557 | 29.8083
2019-03-17 07:45:00 | 6.756 | 215.467 | 8.697 | 212.544 | 8.803 | 215.9 | 8.486 | 214.4 | 2.065 | 890.067 | 28.757 | 30.3348
2019-03-17 08:00:00 | 6.068 | 218.92 | 8.206 | 213.551 | 8.586 | 215.1 | 8.496 | 214.667 | 2.214 | 890.017 | 27.445 | 31.8931
2019-03-17 08:15:00 | 5.966 | 217.767 | 8.376 | 214.056 | 9.101 | 217.967 | 9.018 | 214.233 | 3.521 | 889.7 | 25.493 | 34.2891
2019-03-17 08:30:00 | 6.577 | 217.187 | 8.976 | 216.057 | 8.576 | 220.667 | 8.219 | 217.133 | 4.034 | 889.517 | 24.907 | 33.8471
2019-03-17 08:45:00 | 6.732 | 214.307 | 8.949 | 214.308 | 8.846 | 219.2 | 8.465 | 216.067 | 4.722 | 890.3 | 23.504 | 34.5662
2019-03-17 09:00:00 | 5.314 | 221.76 | 7.366 | 215.383 | 8.337 | 219.167 | 7.928 | 217.267 | 6.091 | 889.767 | 21.813 | 33.0456
2019-03-17 09:15:00 | 6.17 | 216.833 | 7.882 | 214.333 | 7.682 | 220.4 | 7.377 | 219.133 | 7.356 | 889.4 | 20.011 | 26.0451
2019-03-17 09:30:00 | 5.069 | 214.847 | 5.949 | 213.647 | 6.92 | 217.867 | 7.088 | 218.067 | 8.741 | 889.8 | 18.512 | 22.4319
2019-03-17 09:45:00 | 5.439 | 217.507 | 5.61 | 215.763 | 5.942 | 220.533 | 6.321 | 218.967 | 10.114 | 888.967 | 17.069 | 17.1403
2019-03-17 10:00:00 | 5.347 | 217.833 | 5.339 | 217.374 | 5.456 | 223.967 | 5.651 | 219.533 | 11.061 | 889.467 | 15.869 | 12.6289
2019-03-17 10:15:00 | 4.835 | 223.687 | 4.883 | 221.121 | 4.908 | 225.467 | 5.005 | 220.333 | 11.824 | 889.667 | 15.245 | 9.5095
2019-03-17 10:30:00 | 4.653 | 225.087 | 4.605 | 224.63 | 4.886 | 231.4 | 5.034 | 225.6 | 12.472 | 889.3 | 14.667 | 8.4373
2019-03-17 10:45:00 | 4.914 | 242.28 | 5.046 | 237.33 | 5.125 | 241.467 | 5.366 | 237.033 | 13.153 | 889.633 | 14.077 | 8.5517
2019-03-17 11:00:00 | 2.774 | 230.953 | 2.82 | 230.221 | 2.929 | 237.017 | 3.353 | 228.133 | 14.17 | 889.5 | 13.461 | 7.5967
2019-03-17 11:15:00 | 3.912 | 281.373 | 4.069 | 273.61 | 4.156 | 278.567 | 4.28 | 276.533 | 13.445 | 889.367 | 13.72 | 3.4875
2019-03-17 11:30:00 | 3.747 | 275.193 | 4.258 | 268.542 | 4.342 | 270.117 | 4.435 | 265.75 | 13.741 | 889.533 | 13.971 | 4.6414
2019-03-17 11:45:00 | 3.784 | 289.933 | 3.908 | 280.905 | 3.81 | 284.267 | 4.117 | 277.433 | 14.028 | 889.567 | 13.739 | 6.3375
2019-03-17 12:00:00 | 4.094 | 280.927 | 4.404 | 280.271 | 4.646 | 284.467 | 5.064 | 286.967 | 14.195 | 889.3 | 12.803 | 6.3638
2019-03-17 12:15:00 | 2.333 | 275.142 | 2.23 | 268.776 | 2.381 | 273.417 | 2.291 | 277.067 | 14.424 | 889.233 | 12.812 | 4.3913
2019-03-17 12:30:00 | 2.49 | 281.487 | 2.834 | 275.472 | 2.951 | 286.7 | 3.261 | 280.667 | 15.21 | 889.767 | 12.092 | 2.1978
2019-03-17 12:45:00 | 4.773 | 281.733 | 4.677 | 276.271 | 4.666 | 277.467 | 4.897 | 272.567 | 15.041 | 889.433 | 11.996 | 3.0057
2019-03-17 13:00:00 | 2.382 | 263.307 | 2.213 | 263.553 | 1.957 | 265.917 | 2.545 | 275.433 | 16.141 | 889.267 | 11.811 | 4.2897
2019-03-17 13:15:00 | 2.564 | 272.72 | 2.776 | 280.621 | 2.784 | 291.333 | 3.201 | 289.367 | 16.731 | 889.467 | 11.357 | 3.0746
2019-03-17 13:30:00 | 1.338 | 228.68 | 1.094 | 217.079 | 1.22 | 231.442 | 1.977 | 228.356 | 15.542 | 889.333 | 11.791 | 2.1637
2019-03-17 13:45:00 | 4.431 | 53.053 | 4.455 | 39.67 | 4.428 | 36.467 | 4.808 | 40.767 | 16.364 | 889.367 | 12.037 | 0.18262
2019-03-17 14:00:00 | 2.522 | 182.612 | 1.654 | 202.307 | 0.996 | 235.133 | 1.454 | 302.1 | 15.576 | 889.867 | 12.501 | 1.8716
2019-03-17 14:15:00 | 4.578 | 9.605 | 4.519 | 65.997 | 4.769 | 9.033 | 4.646 | 9 | 16.208 | 889.2 | 12.047 | 1.5505
2019-03-17 14:30:00 | 6.126 | 114.788 | 6.294 | 133.855 | 6.366 | 76.533 | 5.896 | 56.333 | 15.264 | 889.233 | 12.645 | 7.4709
2019-03-17 14:45:00 | 4.806 | 131.594 | 4.973 | 185.101 | 5.182 | 144.767 | 5.174 | 174.8 | 15.592 | 889.5 | 12.739 | 9.3248
2019-03-17 15:00:00 | 5.452 | 19.472 | 5.76 | 51.432 | 6.025 | 29.133 | 5.824 | 28.767 | 15.54 | 889.533 | 12.825 | 9.2956
2019-03-17 15:15:00 | 4.632 | 251.541 | 4.647 | 253.241 | 4.876 | 199.301 | 4.717 | 226.833 | 15.566 | 889.567 | 12.731 | 12.9863
2019-03-17 15:30:00 | 4.571 | 277.147 | 4.884 | 312.876 | 5.365 | 284.3 | 5.6 | 283.467 | 15.984 | 889.233 | 12.835 | 9.7973
2019-03-17 15:45:00 | 3.474 | 60.598 | 3.226 | 65.271 | 3.282 | 29.704 | 3.36 | 60.3 | 15.901 | 889.233 | 12.435 | 8.6519
2019-03-17 16:00:00 | 4.552 | 98.221 | 4.658 | 67.281 | 4.685 | 34.568 | 4.754 | 42.167 | 15.614 | 889.467 | 12.915 | 4.2598
2019-03-17 16:15:00 | 4.774 | 275.6 | 4.987 | 309.939 | 5.106 | 293.217 | 4.989 | 299.283 | 16.481 | 889.3 | 11.823 | 2.1651
2019-03-17 16:30:00 | 4.006 | 281.408 | 3.94 | 303.429 | 4.267 | 325.167 | 4.59 | 327.2 | 15.647 | 889.6 | 13.043 | 5.2021
2019-03-17 16:45:00 | 4.267 | 323.013 | 4.282 | 325.793 | 4.613 | 306.833 | 4.92 | 316.133 | 16.517 | 889.1 | 12.936 | 8.7115
2019-03-17 17:00:00 | 5.884 | 267.933 | 6.517 | 285.262 | 6.974 | 292.767 | 7.209 | 290.667 | 16.364 | 889.7 | 12.393 | 12.253
2019-03-17 17:15:00 | 6.373 | 281.127 | 6.984 | 275.817 | 7.138 | 278.9 | 7.36 | 272.267 | 16.314 | 889.333 | 11.927 | 21.4676
2019-03-17 17:30:00 | 8.313 | 278.373 | 9.168 | 276.38 | 9.382 | 279.6 | 9.666 | 274.133 | 16.514 | 889.667 | 12.055 | 42.7598
2019-03-17 17:45:00 | 7.533 | 278.187 | 8.143 | 273.27 | 8.488 | 277.1 | 8.672 | 272.767 | 16.091 | 889.433 | 11.923 | 49.7787
2019-03-17 18:00:00 | 6.681 | 265.28 | 7.212 | 262.574 | 7.251 | 264.467 | 7.354 | 258.6 | 16.322 | 889.433 | 11.82 | 43.0127
2019-03-17 18:15:00 | 7.097 | 263.853 | 7.581 | 259.224 | 7.706 | 263.517 | 7.593 | 257.65 | 15.664 | 889.367 | 12.127 | 35.4452
2019-03-17 18:30:00 | 6.507 | 261.56 | 7.075 | 260.943 | 7.235 | 264.45 | 7.254 | 261.55 | 16.174 | 889.6 | 11.836 | 31.8057
2019-03-17 18:45:00 | 6.597 | 252.92 | 7.199 | 249.788 | 7.341 | 256.133 | 7.294 | 251.333 | 15.934 | 889.433 | 11.801 | 34.4468
2019-03-17 19:00:00 | 5.682 | 270.153 | 6.098 | 265.652 | 6.332 | 269.9 | 6.344 | 264.583 | 15.854 | 889.433 | 11.905 | 24.9835
2019-03-17 19:15:00 | 4.602 | 270.013 | 5.09 | 266.644 | 5.43 | 271.467 | 5.561 | 267.533 | 15.15 | 889.133 | 12.239 | 18.2452
2019-03-17 19:30:00 | 5.943 | 264.82 | 6.619 | 261.912 | 6.891 | 266.9 | 7.034 | 261.25 | 14.774 | 889.467 | 13.269 | 18.5906
2019-03-17 19:45:00 | 4.548 | 249.033 | 5.375 | 251.232 | 5.809 | 254.867 | 5.998 | 250.8 | 14.612 | 889.433 | 13.629 | 19.7857
2019-03-17 20:00:00 | 5.818 | 233.013 | 6.533 | 232.143 | 6.973 | 237.333 | 7.055 | 233.033 | 13.253 | 889.467 | 14.219 | 26.3599
2019-03-17 20:15:00 | 4.554 | 217.327 | 5.223 | 221.731 | 5.946 | 228.367 | 6.081 | 228.233 | 13.124 | 889.4 | 14.536 | 28.5278
2019-03-17 20:30:00 | 6.38 | 234.133 | 7.666 | 233.265 | 8.541 | 237.8 | 8.806 | 232.233 | 12.132 | 889.667 | 15.24 | 35.1794
2019-03-17 20:45:00 | 7.642 | 241.573 | 9.129 | 239.396 | 9.867 | 244.8 | 9.801 | 239.467 | 12.42 | 889.533 | 15.333 | 58.3134
2019-03-17 21:00:00 | 6.28 | 239.3 | 7.589 | 239.075 | 8.178 | 243.633 | 8.506 | 238.167 | 11.874 | 888.967 | 15.595 | 43.5592
2019-03-17 21:15:00 | 5.224 | 230.46 | 6.706 | 229.651 | 7.064 | 234.067 | 7.199 | 228.567 | 11.44 | 889.167 | 16.011 | 33.2922
2019-03-17 21:30:00 | 4.724 | 228.853 | 5.992 | 229.386 | 6.972 | 234.433 | 7.261 | 229.167 | 10.316 | 889.4 | 16.709 | 30.182
2019-03-17 21:45:00 | 5.33 | 240.487 | 6.959 | 237.511 | 7.994 | 241.9 | 8.244 | 236.967 | 10.686 | 889.733 | 16.92 | 32.3116
2019-03-17 22:00:00 | 6.45 | 254.167 | 7.911 | 248.863 | 8.447 | 253.633 | 8.408 | 249.383 | 10.332 | 889.5 | 17.165 | 38.701
2019-03-17 22:15:00 | 5.258 | 255.353 | 5.745 | 254.66 | 5.573 | 262.533 | 5.568 | 261.333 | 10.07 | 889.867 | 17.664 | 38.0857
2019-03-17 22:30:00 | 4.953 | 248.68 | 6.137 | 247.494 | 7.036 | 254.783 | 7.629 | 252.417 | 9.735 | 889.233 | 18.527 | 26.3656
2019-03-17 22:45:00 | 5.65 | 246.453 | 6.866 | 248.626 | 7.261 | 255.3 | 7.284 | 252.55 | 9.791 | 888.9 | 19.107 | 34.9464
2019-03-17 23:00:00 | 5.7 | 240.247 | 7.223 | 246.789 | 8.149 | 256.3 | 8.567 | 255.083 | 9.083 | 889.3 | 19.947 | 44.2868
2019-03-17 23:15:00 | 6.375 | 253.673 | 8.103 | 253.887 | 8.709 | 259.9 | 8.968 | 255.25 | 9.042 | 889.6 | 20.057 | 46.1541
2019-03-17 23:30:00 | 6.326 | 248.993 | 8.368 | 253.05 | 9.103 | 259.233 | 9.471 | 255.533 | 9.57 | 890.033 | 20.087 | 45.4173
2019-03-17 23:45:00 | 5.928 | 233.287 | 6.876 | 242.213 | 8.095 | 256.033 | 8.762 | 252.217 | 8.975 | 889.45 | 20.283 | 47.1866