## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-18 00:00:00 | 6.6 | 231.167 | 7.84 | 237.774 | 8.038 | 248.533 | 8.367 | 247.917 | 7.439 | 889.417 | 21.851 | 44.6975
2019-03-18 00:15:00 | 5.879 | 229.433 | 7.075 | 233.891 | 7.237 | 247.5 | 7.732 | 249 | 7.239 | 889.783 | 22.304 | 40.1371
2019-03-18 00:30:00 | 6.39 | 229.1 | 7.674 | 234.649 | 7.801 | 246.467 | 7.874 | 248.133 | 7.056 | 890.233 | 22.683 | 35.7763
2019-03-18 00:45:00 | 5.871 | 229.967 | 7.642 | 235.743 | 7.682 | 248.067 | 7.526 | 248.067 | 6.658 | 889.85 | 22.779 | 34.6415
2019-03-18 01:00:00 | 6.087 | 226.233 | 7.797 | 232.225 | 7.794 | 243 | 7.627 | 243.567 | 6.708 | 889.817 | 22.907 | 33.8116
2019-03-18 01:15:00 | 5.93 | 223.14 | 7.5 | 231.635 | 7.568 | 241.567 | 7.538 | 240.3 | 5.898 | 889.65 | 23.589 | 36.0236
2019-03-18 01:30:00 | 5.336 | 224.34 | 7.071 | 232.169 | 7.681 | 243.667 | 7.7 | 240.967 | 5.221 | 889.133 | 24.325 | 32.9433
2019-03-18 01:45:00 | 5.344 | 223.327 | 7.58 | 229.353 | 7.894 | 240.367 | 7.63 | 238.633 | 5.181 | 889.7 | 24.699 | 38.5056
2019-03-18 02:00:00 | 6.254 | 227.067 | 7.697 | 236.024 | 8.034 | 246.867 | 7.778 | 246.267 | 5.878 | 889.583 | 24.485 | 38.0153
2019-03-18 02:15:00 | 6.438 | 228.627 | 8.232 | 236.905 | 8.331 | 247.067 | 8.057 | 244.467 | 5.875 | 889.683 | 24.24 | 38.3123
2019-03-18 02:30:00 | 6.923 | 223.193 | 7.81 | 230.27 | 8.175 | 239.567 | 8.122 | 236.5 | 5.726 | 889.15 | 24.389 | 42.5963
2019-03-18 02:45:00 | 6.577 | 220.093 | 7.603 | 226.243 | 7.83 | 233.633 | 7.791 | 230.667 | 5.429 | 889.583 | 24.885 | 41.3024
2019-03-18 03:00:00 | 6.696 | 224 | 8.763 | 232.259 | 9.036 | 241.233 | 9.073 | 238.033 | 4.785 | 889.533 | 25.696 | 44.6392
2019-03-18 03:15:00 | 7.052 | 227.433 | 8.62 | 230.757 | 8.571 | 238.733 | 8.411 | 236.2 | 5.497 | 889.483 | 24.901 | 59.7565
2019-03-18 03:30:00 | 7.095 | 220.28 | 7.217 | 224.154 | 7.456 | 232.1 | 7.677 | 231.233 | 5.339 | 889.717 | 25.141 | 44.851
2019-03-18 03:45:00 | 5.692 | 222.327 | 6.965 | 228.332 | 7.576 | 242.133 | 8.083 | 241.1 | 4.866 | 889.833 | 25.883 | 35.0373
2019-03-18 04:00:00 | 7.237 | 237.893 | 9.459 | 236.596 | 10.006 | 242.467 | 10.493 | 239 | 4.534 | 889.767 | 26.661 | 55.9706
2019-03-18 04:15:00 | 7.121 | 234.493 | 9.48 | 231.828 | 10.384 | 239.033 | 10.102 | 235.833 | 4.533 | 890.083 | 26.917 | 78.3179
2019-03-18 04:30:00 | 7.031 | 224.953 | 9.309 | 226.894 | 9.685 | 234.233 | 9.355 | 231.5 | 4.846 | 889.55 | 26.661 | 74.8255
2019-03-18 04:45:00 | 7.14 | 219.033 | 9.082 | 221.251 | 8.801 | 228.733 | 8.549 | 227.7 | 4.67 | 889.917 | 26.699 | 61.6829
2019-03-18 05:00:00 | 7.011 | 214.647 | 9.395 | 217.215 | 9.366 | 224.233 | 8.72 | 223.133 | 4.328 | 890.533 | 26.837 | 55.0611
2019-03-18 05:15:00 | 6.466 | 219.647 | 8.55 | 217.876 | 8.588 | 225.5 | 7.935 | 223.5 | 4.212 | 889.95 | 26.907 | 51.3725
2019-03-18 05:30:00 | 6.441 | 216.107 | 8.129 | 221.646 | 8.545 | 231.733 | 8.875 | 229.633 | 4.127 | 889.467 | 27.003 | 49.0305
2019-03-18 05:45:00 | 5.539 | 232.2 | 7.336 | 230.162 | 8.958 | 237.467 | 9.69 | 235.567 | 4.372 | 889.717 | 27.264 | 58.6679
2019-03-18 06:00:00 | 6.374 | 230.307 | 9.257 | 231.426 | 11.101 | 239.1 | 11.571 | 236.467 | 4.592 | 889.667 | 27.211 | 70.668
2019-03-18 06:15:00 | 7.31 | 228.733 | 10.021 | 229.484 | 11.336 | 238.467 | 11.903 | 236.367 | 5.266 | 890.017 | 26.411 | 71.7502
2019-03-18 06:30:00 | 7.94 | 229.887 | 10.72 | 232.172 | 12.4 | 238.7 | 12.492 | 236.233 | 5.458 | 889.85 | 26.352 | 69.5716
2019-03-18 06:45:00 | 7.89 | 229.013 | 10.671 | 229.619 | 12.559 | 235.933 | 13.002 | 231.4 | 5.124 | 889.6 | 26.277 | 69.1957
2019-03-18 07:00:00 | 8.84 | 226.827 | 11.815 | 227.201 | 13.599 | 234.1 | 13.702 | 230.667 | 5.28 | 890.1 | 26.032 | 68.8305
2019-03-18 07:15:00 | 9.906 | 229.807 | 12.885 | 230.954 | 14.587 | 236.633 | 14.63 | 233.1 | 5.782 | 889.783 | 25.979 | 69.1737
2019-03-18 07:30:00 | 9.341 | 228.38 | 12.226 | 228.331 | 13.898 | 235.067 | 14.079 | 230.9 | 6.383 | 890.033 | 26.091 | 73.2424
2019-03-18 07:45:00 | 9.809 | 227.873 | 12.847 | 230.942 | 14.133 | 238.4 | 14.247 | 234.767 | 5.932 | 889.633 | 26.027 | 74.9406
2019-03-18 08:00:00 | 9.846 | 227.5 | 12.499 | 231.54 | 13.759 | 238.767 | 13.774 | 235.267 | 6.078 | 889.667 | 26.56 | 74.9534
2019-03-18 08:15:00 | 9.36 | 230.58 | 11.714 | 232.217 | 13.116 | 239.833 | 12.938 | 236.567 | 6.598 | 889.617 | 25.056 | 73.0157
2019-03-18 08:30:00 | 9.13 | 233.5 | 11.603 | 235.822 | 12.807 | 243.967 | 12.593 | 240.2 | 6.856 | 889.35 | 24.251 | 72.2987
2019-03-18 08:45:00 | 9.089 | 234.48 | 11.486 | 236.7 | 12.463 | 244.1 | 12.322 | 240.7 | 7.766 | 889.85 | 23.147 | 72.2113
2019-03-18 09:00:00 | 9.279 | 236.213 | 10.812 | 238.121 | 11.783 | 245.3 | 12.052 | 241.567 | 8.674 | 889.7 | 22.197 | 73.3667
2019-03-18 09:15:00 | 9.68 | 234.507 | 10.686 | 236.058 | 11.432 | 242.533 | 11.699 | 238.267 | 9.52 | 889.967 | 21.301 | 74.7644
2019-03-18 09:30:00 | 9.612 | 235.447 | 10.408 | 234.83 | 11.185 | 240.667 | 11.421 | 235.967 | 10.185 | 889.683 | 20.397 | 74.5384
2019-03-18 09:45:00 | 9.823 | 238.467 | 10.479 | 237.061 | 10.996 | 242.333 | 11.108 | 235.967 | 10.778 | 889.967 | 20.661 | 74.9285
2019-03-18 10:00:00 | 9.635 | 234.367 | 10.382 | 234.303 | 10.873 | 239.933 | 10.864 | 236.467 | 10.878 | 889.667 | 21.739 | 75.2455
2019-03-18 10:15:00 | 8.345 | 248.973 | 9.105 | 248.917 | 9.731 | 253.75 | 9.779 | 248.933 | 11.011 | 889.683 | 23.08 | 68.1313
2019-03-18 10:30:00 | 8.324 | 253.88 | 9.036 | 252.3 | 9.577 | 256.6 | 9.368 | 251.417 | 11.282 | 889.717 | 24.432 | 72.4593
2019-03-18 10:45:00 | 9.163 | 256.56 | 10.005 | 254.788 | 10.21 | 259 | 9.992 | 251.867 | 11.111 | 889.65 | 26.376 | 75.4394
2019-03-18 11:00:00 | 9.087 | 254.967 | 9.828 | 255.222 | 10.018 | 257.7 | 10.224 | 254 | 11.603 | 889.867 | 25.773 | 73.0967
2019-03-18 11:15:00 | 7.622 | 260.9 | 8.499 | 257.482 | 8.547 | 264.483 | 8.584 | 259.283 | 11.999 | 889.283 | 24.216 | 66.1736
2019-03-18 11:30:00 | 8.868 | 264.153 | 9.772 | 261.877 | 9.732 | 265.65 | 9.79 | 260.85 | 11.511 | 889.617 | 25.333 | 64.4875
2019-03-18 11:45:00 | 9.152 | 264.627 | 9.647 | 262.832 | 10.024 | 268.167 | 9.92 | 263.95 | 11.699 | 889.6 | 25.915 | 66.2525
2019-03-18 12:00:00 | 8.227 | 256.9 | 8.986 | 259.048 | 9.163 | 262 | 9.23 | 259.067 | 11.986 | 889.433 | 25.197 | 63.0621
2019-03-18 12:15:00 | 9.628 | 260.973 | 10.237 | 259.67 | 10.356 | 264.933 | 10.153 | 259.6 | 12.382 | 889.367 | 24.517 | 63.8402
2019-03-18 12:30:00 | 8.736 | 274.76 | 9.834 | 269.433 | 9.959 | 276.633 | 10.103 | 271.767 | 12.299 | 889.85 | 24.675 | 63.951
2019-03-18 12:45:00 | 8.332 | 278.48 | 9.078 | 276.044 | 9.168 | 278.567 | 9.402 | 276.3 | 12.459 | 890.067 | 24.76 | 61.9543
2019-03-18 13:00:00 | 8.281 | 280.987 | 8.676 | 280.743 | 8.806 | 284.467 | 9.15 | 281.033 | 12.178 | 889.617 | 25.139 | 54.2546
2019-03-18 13:15:00 | 8.742 | 287.133 | 9.572 | 282.612 | 9.87 | 286 | 10.191 | 282.667 | 12.547 | 889.933 | 25.179 | 54.1473
2019-03-18 13:30:00 | 7.052 | 284.747 | 7.751 | 280.018 | 7.815 | 281.733 | 8.139 | 279.5 | 12.557 | 889.667 | 25.235 | 50.6023
2019-03-18 13:45:00 | 6.765 | 289.013 | 7.31 | 283.024 | 7.77 | 288.467 | 7.895 | 284.367 | 12.557 | 889.9 | 25.293 | 45.9452
2019-03-18 14:00:00 | 8.122 | 283.307 | 8.968 | 281.004 | 9.163 | 284 | 9.298 | 279.1 | 13.28 | 889.383 | 24.835 | 43.7368
2019-03-18 14:15:00 | 7.749 | 298.187 | 8.077 | 293.868 | 8.047 | 299.533 | 8.222 | 293.667 | 12.897 | 889.783 | 24.619 | 48.8777
2019-03-18 14:30:00 | 8.9 | 303.293 | 9.596 | 294.953 | 9.748 | 299.733 | 10.461 | 295.833 | 13.17 | 889.683 | 23.451 | 45.094
2019-03-18 14:45:00 | 9.931 | 329.813 | 10.495 | 325.023 | 11.275 | 331.667 | 11.783 | 328.1 | 12.184 | 889.85 | 24.669 | 52.4455
2019-03-18 15:00:00 | 10.079 | 308.36 | 10.989 | 300.513 | 11.54 | 304.933 | 12.306 | 302.3 | 12.449 | 889.9 | 23.088 | 59.7324
2019-03-18 15:15:00 | 10.801 | 303.2 | 11.573 | 296.953 | 11.57 | 302.167 | 12.1 | 300.3 | 12.453 | 890.067 | 23.768 | 64.6417
2019-03-18 15:30:00 | 10.76 | 294.747 | 11.753 | 291.946 | 11.812 | 297.1 | 12.378 | 293.767 | 12.12 | 889.833 | 24.707 | 63.5332
2019-03-18 15:45:00 | 10.793 | 299.893 | 11.471 | 296.97 | 11.588 | 300.767 | 11.987 | 299.433 | 12.416 | 889.3 | 24.739 | 66.6021
2019-03-18 16:00:00 | 12.17 | 311.213 | 13.201 | 305.455 | 13.774 | 310.133 | 14.431 | 307.633 | 11.863 | 886.817 | 25.189 | 66.9745
2019-03-18 16:15:00 | 12.802 | 310.32 | 13.792 | 305.075 | 13.848 | 309.433 | 14.567 | 305.1 | 10.965 | 876.717 | 26.248 | 69.0827
2019-03-18 16:30:00 | 13.049 | 305.467 | 14.134 | 300.523 | 14.41 | 305.9 | 15.126 | 304.433 | 10.135 | 861.917 | 27.533 | 70.069
2019-03-18 16:45:00 | 11.979 | 306.28 | 12.772 | 302.525 | 13.304 | 307.2 | 14.246 | 306.7 | 9.718 | 863.567 | 28.435 | 68.8319
2019-03-18 17:00:00 | 13.479 | 307.827 | 14.771 | 301.842 | 15.016 | 307.1 | 15.172 | 303.067 | 8.773 | 861.833 | 31.352 | 68.1007
2019-03-18 17:15:00 | 13.862 | 309.88 | 15.199 | 303.921 | 15.354 | 309.433 | 16.042 | 306.067 | 8.683 | 861.883 | 31.597 | 70.0107
2019-03-18 17:30:00 | 12.783 | 304.493 | 14.078 | 301.53 | 14.803 | 305.5 | 15.748 | 304.3 | 8.162 | 861.633 | 31.029 | 69.9844
2019-03-18 17:45:00 | 12.716 | 295.533 | 14.332 | 292.385 | 15.017 | 295.467 | 15.814 | 292.967 | 8.456 | 861.833 | 30.84 | 70.442
2019-03-18 18:00:00 | 11.779 | 293.96 | 12.723 | 292.225 | 13.073 | 298 | 13.834 | 295.6 | 8.229 | 862.083 | 31.72 | 70.5756
2019-03-18 18:15:00 | 11.219 | 294.827 | 12.239 | 293.735 | 12.588 | 298.867 | 13.44 | 295.5 | 7.961 | 861.883 | 33.288 | 70.7064
2019-03-18 18:30:00 | 12.368 | 285.733 | 13.646 | 283.236 | 14.172 | 287.167 | 14.563 | 285.5 | 7.33 | 861.483 | 34.072 | 70.6978
2019-03-18 18:45:00 | 12.706 | 283.98 | 14.651 | 282.499 | 15.336 | 288.167 | 15.817 | 286.433 | 6.98 | 861.65 | 35.845 | 69.9674
2019-03-18 19:00:00 | 12.423 | 279.053 | 13.636 | 282.543 | 14.151 | 284.4 | 14.427 | 283.167 | 6.712 | 861.833 | 35.069 | 68.257
2019-03-18 19:15:00 | 13.82 | 280.693 | 15.608 | 281.308 | 16.252 | 284.967 | 16.977 | 282.867 | 6.474 | 862.05 | 33.987 | 68.5924
2019-03-18 19:30:00 | 12.021 | 281.693 | 13.426 | 282.397 | 13.807 | 286.833 | 14.589 | 284.3 | 5.66 | 861.217 | 34.805 | 68.5896
2019-03-18 19:45:00 | 12.805 | 276.033 | 14.429 | 279.757 | 14.843 | 284.133 | 15.344 | 281.433 | 5.24 | 861.75 | 31.72 | 68.6173
2019-03-18 20:00:00 | 12.172 | 285.573 | 13.917 | 287.702 | 14.561 | 292.133 | 15.521 | 289.233 | 4.388 | 861.65 | 32.253 | 69.1666
2019-03-18 20:15:00 | 12.04 | 281.813 | 13.306 | 281.803 | 14.154 | 285.633 | 14.766 | 284.133 | 3.999 | 861.95 | 34.936 | 68.8361
2019-03-18 20:30:00 | 14.374 | 287.187 | 15.784 | 291.077 | 16.373 | 293.667 | 17.379 | 291.2 | 2.642 | 861.883 | 44.715 | 68.8482
2019-03-18 20:45:00 | 16.767 | 284.54 | 19.042 | 287.636 | 19.859 | 290.1 | 20.955 | 289.167 | 0.483 | 861.975 | 59.541 | 69.5623
2019-03-18 21:00:00 | 17.276 | 278.287 | 19.428 | 283.919 | 20.14 | 287.1 | 21.414 | 286.467 | 0.55 | 862.108 | 57.861 | 70.4278
2019-03-18 21:15:00 | 16.822 | 283.62 | 19.22 | 284.687 | 19.639 | 287.167 | 20.33 | 286.4 | 0.283 | 862 | 56.005 | 70.1862
2019-03-18 21:30:00 | 14.42 | 276.253 | 15.362 | 280.818 | 15.612 | 284.767 | 16.155 | 281.3 | 0.216 | 862.283 | 57.68 | 69.6789
2019-03-18 21:45:00 | 12.14 | 273.627 | 13.68 | 279.405 | 13.935 | 282.9 | 14.479 | 280.667 | 0.116 | 861.717 | 58.677 | 69.0614
2019-03-18 22:00:00 | 12.995 | 281.06 | 14.112 | 281.014 | 14.783 | 283.7 | 15.599 | 281.233 | 0.05 | 861.958 | 57.936 | 69.2817
2019-03-18 22:15:00 | 13.74 | 266.067 | 15.422 | 272.704 | 15.774 | 275.567 | 15.988 | 272 | 0.083 | 861.342 | 58.624 | 68.2826
2019-03-18 22:30:00 | 13.217 | 263.667 | 14.577 | 267.906 | 15.107 | 271.6 | 15.551 | 268.2 | 0.283 | 861.75 | 57.968 | 69.8743
2019-03-18 22:45:00 | 14.303 | 264.873 | 15.926 | 272.442 | 16.242 | 276.5 | 16.574 | 271.333 | 0.15 | 861.783 | 55.36 | 69.9141
2019-03-18 23:00:00 | 12.978 | 272.58 | 14.548 | 273.911 | 14.919 | 277.2 | 15.799 | 275.633 | -0.033 | 861.825 | 56.197 | 69.5922
2019-03-18 23:15:00 | 12.098 | 267.6 | 13.663 | 275.875 | 13.557 | 279.433 | 14.022 | 277.067 | -0.34 | 861.925 | 58.549 | 70.2431
2019-03-18 23:30:00 | 16.202 | 271.053 | 17.625 | 278.953 | 18.323 | 281.567 | 18.719 | 278.867 | -0.793 | 861.675 | 59.136 | 69.3321
2019-03-18 23:45:00 | 13.91 | 267.307 | 15.758 | 275.239 | 16.514 | 279.233 | 16.955 | 277.833 | -1.26 | 869.708 | 58.955 | 65.5249