## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-19 00:00:00 | 13.261 | 265.287 | 15.166 | 276.181 | 16.198 | 279.367 | 16.603 | 275.3 | -1.857 | 870.292 | 58.549 | 64.3283
2019-03-19 00:15:00 | 13.278 | 262.167 | 14.872 | 268.333 | 14.955 | 273.267 | 15.219 | 270.767 | -2.063 | 873.758 | 60.064 | 57.3299
2019-03-19 00:30:00 | 10.753 | 263.533 | 12.2 | 266.479 | 12.503 | 272.333 | 12.977 | 270.483 | -2.681 | 875.025 | 62.245 | 48.2951
2019-03-19 00:45:00 | 12.101 | 283.933 | 13.145 | 289.162 | 13.816 | 291.6 | 14.883 | 290.133 | -2.733 | 885.15 | 61.632 | 45.3739
2019-03-19 01:00:00 | 9.636 | 280.027 | 11.11 | 285.006 | 11.812 | 285.267 | 12.802 | 284.867 | -3.107 | 886.3 | 62.784 | 48.8984
2019-03-19 01:15:00 | 9.632 | 271.333 | 10.817 | 279.774 | 11.218 | 283.633 | 12.034 | 282.6 | -3.354 | 887.958 | 60.875 | 43.3609
2019-03-19 01:30:00 | 8.735 | 252.6 | 9.76 | 264.38 | 10.069 | 268.9 | 10.696 | 266.867 | -3.104 | 889.792 | 52.933 | 29.1261
2019-03-19 01:45:00 | 7.499 | 265.9 | 8.363 | 270.418 | 8.613 | 272.9 | 8.562 | 270.5 | -3.555 | 889.467 | 49.68 | 33.2872
2019-03-19 02:00:00 | 6.586 | 280.607 | 7.655 | 283.712 | 8.19 | 286.767 | 8.727 | 284.733 | -4.032 | 890.242 | 51.435 | 47.846
2019-03-19 02:15:00 | 11.68 | 251.487 | 13.692 | 258.771 | 14.374 | 263.567 | 14.818 | 260.267 | -4.734 | 883.067 | 45.637 | 49.4412
2019-03-19 02:30:00 | 8.978 | 238.967 | 10.258 | 250.313 | 10.88 | 256.4 | 11.463 | 253.317 | -5.02 | 883.667 | 45.413 | 47.4225
2019-03-19 02:45:00 | 10.35 | 231.233 | 11.533 | 241.953 | 12.216 | 249.767 | 12.297 | 246.55 | -5.342 | 864.875 | 46.987 | 43.8945
2019-03-19 03:00:00 | 11.409 | 234.813 | 12.987 | 246.58 | 13.763 | 252.667 | 13.962 | 249.133 | -5.542 | 862.483 | 48.16 | 43.7027
2019-03-19 03:15:00 | 8.23 | 275.247 | 9.963 | 277.548 | 10.927 | 277.433 | 11.365 | 272.967 | -5.452 | 889.992 | 48.571 | 44.1084
2019-03-19 03:30:00 | 5.38 | 289.827 | 5.957 | 284.177 | 6.459 | 284.633 | 6.847 | 278.767 | -5.419 | 889.717 | 49.029 | 41.5234
2019-03-19 03:45:00 | 7.742 | 244.293 | 9.203 | 259.109 | 9.994 | 263.067 | 10.431 | 258.9 | -5.707 | 889.933 | 49.739 | 47.1475
2019-03-19 04:00:00 | 10.545 | 254.993 | 11.65 | 263.916 | 12.165 | 268.233 | 12.454 | 263.933 | -5.888 | 889.808 | 50.256 | 44.8652
2019-03-19 04:15:00 | 8.724 | 265.013 | 10.333 | 270.671 | 10.927 | 275.867 | 11.102 | 271.5 | -5.879 | 889.942 | 50.768 | 39.9793
2019-03-19 04:30:00 | 9 | 270.653 | 10.541 | 278.443 | 11.225 | 282.533 | 11.967 | 278.933 | -6.163 | 890.25 | 52.411 | 35.6868
2019-03-19 04:45:00 | 9.286 | 270.667 | 10.935 | 276.607 | 11.945 | 280.033 | 12.634 | 277.267 | -6.359 | 889.808 | 57.056 | 39.8457
2019-03-19 05:00:00 | 9.61 | 258.76 | 11.351 | 272.604 | 11.623 | 276 | 12.238 | 273.267 | -7.289 | 890.1 | 59.605 | 40.1605
2019-03-19 05:15:00 | 9.882 | 259.833 | 11.404 | 268.316 | 12.054 | 271.733 | 12.559 | 268.167 | -7.172 | 888.317 | 61.413 | 39.9118
2019-03-19 05:30:00 | 11.803 | 258.013 | 13.151 | 264.897 | 13.698 | 270.633 | 14.013 | 267.667 | -7.573 | 889.042 | 62.144 | 40.0141
2019-03-19 05:45:00 | 9.522 | 251.86 | 10.914 | 259.301 | 11.846 | 263.883 | 12.4 | 261.217 | -7.693 | 887.642 | 62.507 | 39.5857
2019-03-19 06:00:00 | 10.559 | 255.333 | 12.08 | 263.674 | 12.626 | 267.633 | 12.952 | 265.8 | -7.456 | 889.692 | 63.333 | 38.4388
2019-03-19 06:15:00 | 11.23 | 258.94 | 12.351 | 267.558 | 13.152 | 271.433 | 13.576 | 268.6 | -7.672 | 889.858 | 63.051 | 33.1231
2019-03-19 06:30:00 | 11.361 | 252.413 | 13.196 | 261.453 | 14.202 | 266.067 | 14.37 | 263.3 | -7.93 | 889.925 | 63.477 | 33.17
2019-03-19 06:45:00 | 10.457 | 251.38 | 11.987 | 266.123 | 12.742 | 269.9 | 13.446 | 266.567 | -7.94 | 889.583 | 64.325 | 35.1759
2019-03-19 07:00:00 | 9.977 | 257.92 | 11.749 | 264.339 | 12.53 | 267.7 | 13.195 | 263.933 | -8.331 | 889.667 | 64.544 | 32.5759
2019-03-19 07:15:00 | 10.391 | 253.367 | 12.19 | 264.902 | 13.228 | 269.133 | 13.472 | 265.867 | -8.291 | 889.85 | 64.523 | 29.524
2019-03-19 07:30:00 | 8.544 | 255.527 | 10.647 | 262.54 | 11.645 | 269.967 | 12.355 | 267.167 | -8.391 | 889.983 | 63.787 | 27.9302
2019-03-19 07:45:00 | 8.526 | 252.947 | 10.388 | 260.627 | 11.324 | 265.033 | 11.802 | 263.033 | -8.274 | 890.258 | 62.955 | 27.4527
2019-03-19 08:00:00 | 6.946 | 247.327 | 9.037 | 259.866 | 10.199 | 265.867 | 10.793 | 262.633 | -7.876 | 889.692 | 62.491 | 28.1043
2019-03-19 08:15:00 | 5.949 | 236.353 | 7.091 | 245.387 | 7.977 | 253.867 | 8.298 | 252.317 | -7.722 | 889.975 | 60.677 | 28.5349
2019-03-19 08:30:00 | 6.573 | 245.28 | 7.632 | 251.109 | 8.209 | 256.6 | 8.51 | 252.75 | -7.051 | 889.45 | 57.499 | 31.9705
2019-03-19 08:45:00 | 6.912 | 249.867 | 7.46 | 255.039 | 7.898 | 260.4 | 8.004 | 258.483 | -6.262 | 889.808 | 53.995 | 38.2129
2019-03-19 09:00:00 | 6.122 | 250.553 | 6.735 | 254.614 | 7.13 | 260.85 | 7.425 | 254.767 | -5.419 | 889.708 | 50.736 | 40.1406
2019-03-19 09:15:00 | 6.045 | 253.473 | 6.618 | 253.42 | 6.678 | 258.383 | 6.672 | 252.85 | -4.543 | 889.867 | 47.131 | 30.9331
2019-03-19 09:30:00 | 6.088 | 258.473 | 6.565 | 264.931 | 6.56 | 269.5 | 6.669 | 264.35 | -4.305 | 889.575 | 45.296 | 32.6782
2019-03-19 09:45:00 | 5.913 | 263.147 | 6.399 | 264.011 | 6.371 | 269.4 | 6.483 | 264.133 | -4.271 | 889.475 | 44.283 | 28.3267
2019-03-19 10:00:00 | 5.813 | 267.833 | 6.005 | 269.686 | 6.149 | 276.733 | 6.248 | 272.967 | -3.857 | 889.592 | 41.227 | 21.6566
2019-03-19 10:15:00 | 5.28 | 280.7 | 5.611 | 286.207 | 5.643 | 290.567 | 6.129 | 286.933 | -3.672 | 889.9 | 38.699 | 20.1851
2019-03-19 10:30:00 | 5.862 | 303.4 | 6.305 | 298.146 | 6.314 | 299.933 | 6.715 | 296.433 | -3.588 | 889.9 | 36.84 | 23.8154
2019-03-19 10:45:00 | 6.454 | 324.333 | 6.724 | 312.981 | 7.28 | 314.733 | 7.348 | 312.667 | -3.337 | 889.833 | 33.816 | 26.7521
2019-03-19 11:00:00 | 7.253 | 295.447 | 7.391 | 296.985 | 7.538 | 301.567 | 7.899 | 298.467 | -2.962 | 890.017 | 34.411 | 30.2865
2019-03-19 11:15:00 | 7.884 | 299.347 | 8.303 | 295.579 | 8.639 | 301.033 | 8.874 | 301.2 | -2.659 | 889.767 | 35.144 | 40.2927
2019-03-19 11:30:00 | 8.449 | 294.347 | 8.674 | 295.971 | 8.941 | 301.467 | 8.83 | 299.567 | -2.862 | 889.667 | 35.141 | 47.517
2019-03-19 11:45:00 | 8.247 | 301.347 | 8.434 | 298.602 | 8.575 | 305.567 | 8.864 | 302.4 | -2.569 | 889.85 | 33.603 | 46.1129
2019-03-19 12:00:00 | 8.643 | 291.107 | 9.327 | 291.846 | 9.628 | 296.667 | 9.825 | 297.433 | -2.401 | 889.983 | 33.387 | 56.2229
2019-03-19 12:15:00 | 9.48 | 291.253 | 9.76 | 294.068 | 9.762 | 298.767 | 10.129 | 298.467 | -2.201 | 889.6 | 32.123 | 67.4662
2019-03-19 12:30:00 | 9.492 | 291.033 | 9.984 | 292.025 | 10.036 | 296.733 | 10.401 | 294.467 | -1.922 | 889.617 | 30.579 | 60.8842
2019-03-19 12:45:00 | 9.557 | 317.56 | 10.093 | 313.37 | 10.59 | 317.533 | 10.947 | 314.5 | -2.025 | 889.667 | 30.251 | 59.23
2019-03-19 13:00:00 | 7.948 | 284.913 | 8.301 | 283.285 | 8.85 | 288.433 | 8.803 | 286.833 | -1.74 | 889.6 | 28.651 | 55.3659
2019-03-19 13:15:00 | 7.892 | 309.693 | 8.109 | 305.02 | 8.31 | 311.4 | 8.667 | 310.233 | -1.496 | 889.533 | 24.147 | 53.1376
2019-03-19 13:30:00 | 8.984 | 306.787 | 9.185 | 304.964 | 9.412 | 307.433 | 9.863 | 308.1 | -1.099 | 890.017 | 23.768 | 52.5976
2019-03-19 13:45:00 | 10.604 | 320.387 | 11.389 | 314.601 | 11.584 | 319.2 | 11.686 | 318.433 | -0.608 | 889.35 | 20.343 | 52.108
2019-03-19 14:00:00 | 9.28 | 300.053 | 9.757 | 343.602 | 10.03 | 325.133 | 10.164 | 301.267 | -0.639 | 889.717 | 23.168 | 51.6376
2019-03-19 14:15:00 | 7.885 | 319.333 | 8.588 | 325.873 | 8.68 | 331.3 | 8.806 | 331.633 | -1.055 | 889.933 | 21.445 | 52.0568
2019-03-19 14:30:00 | 6.815 | 309.933 | 7.042 | 315.465 | 7.503 | 307.633 | 8.08 | 316.467 | -0.385 | 889.5 | 19.427 | 48.2773
2019-03-19 14:45:00 | 7.568 | 316.707 | 7.793 | 315.683 | 7.908 | 322.567 | 8.338 | 320.2 | -0.405 | 889.667 | 18.203 | 45.909
2019-03-19 15:00:00 | 7.452 | 301.52 | 8.024 | 295.136 | 8.009 | 300.167 | 7.958 | 292.8 | -0.149 | 889.267 | 16.517 | 38.5283
2019-03-19 15:15:00 | 8.438 | 296.053 | 8.568 | 293.013 | 8.77 | 298.467 | 8.987 | 298.533 | -0.126 | 890.167 | 16.361 | 34.2465
2019-03-19 15:30:00 | 6.806 | 317.88 | 7.015 | 312.845 | 7.146 | 317.467 | 7.457 | 315.067 | 0.113 | 889.6 | 15.835 | 32.7131
2019-03-19 15:45:00 | 6.388 | 335.053 | 6.729 | 328.731 | 7.208 | 331.367 | 7.275 | 329.167 | -0.159 | 889.433 | 15.564 | 27.3526
2019-03-19 16:00:00 | 7.072 | 332.973 | 7.558 | 324.184 | 7.924 | 327.433 | 8.51 | 327.067 | 0.366 | 889.433 | 15.349 | 21.425
2019-03-19 16:15:00 | 6.24 | 303.16 | 6.35 | 295.633 | 6.735 | 292.833 | 7.414 | 290.033 | 0.017 | 889.667 | 14.86 | 20.7329
2019-03-19 16:30:00 | 6.021 | 320.893 | 6.404 | 325.011 | 6.986 | 327.233 | 7.035 | 315.033 | 0.465 | 889.333 | 15.215 | 19.3089
2019-03-19 16:45:00 | 4.624 | 283.454 | 4.744 | 269.151 | 4.808 | 282.133 | 5.135 | 318.567 | 0.382 | 889.567 | 15.248 | 21.5963
2019-03-19 17:00:00 | 5.1 | 313.84 | 5.273 | 308.286 | 5.52 | 311.9 | 5.706 | 310.4 | 0.349 | 889.867 | 14.805 | 21.6495
2019-03-19 17:15:00 | 4.139 | 306.053 | 4.048 | 305.529 | 4.527 | 311.033 | 4.829 | 315.2 | 0.332 | 889.367 | 14.568 | 23.7358
2019-03-19 17:30:00 | 8.203 | 310.667 | 8.525 | 306.146 | 8.701 | 311.967 | 8.94 | 310.7 | 0.698 | 889.433 | 14.42 | 21.9309
2019-03-19 17:45:00 | 7.338 | 290.26 | 7.854 | 291.31 | 8.03 | 297.967 | 8.257 | 297.667 | 0.482 | 889.9 | 14.675 | 28.0304
2019-03-19 18:00:00 | 5.588 | 334.573 | 5.894 | 327.486 | 6.044 | 332.967 | 6.289 | 331.433 | 0.515 | 889.6 | 14.757 | 23.1183
2019-03-19 18:15:00 | 5.233 | 340.88 | 5.356 | 336.171 | 5.477 | 340.867 | 5.565 | 339.967 | 0.532 | 889.5 | 14.537 | 18.1941
2019-03-19 18:30:00 | 6.396 | 325.307 | 6.576 | 321.699 | 6.66 | 327.733 | 6.865 | 327.167 | 0.748 | 889.667 | 14.176 | 22.4255
2019-03-19 18:45:00 | 4.818 | 333.667 | 5.058 | 324.224 | 5.432 | 327.433 | 5.563 | 324.967 | 0.665 | 889.733 | 14.073 | 23.7045
2019-03-19 19:00:00 | 6.938 | 334.147 | 7.156 | 337.772 | 7.33 | 330.733 | 7.275 | 340.233 | 0.366 | 889.467 | 14.22 | 21.9146
2019-03-19 19:15:00 | 4.941 | 339.92 | 5.242 | 333.573 | 5.635 | 339.633 | 6.04 | 336.9 | 0.615 | 889.6 | 14.275 | 15.9949
2019-03-19 19:30:00 | 5.22 | 314.067 | 5.83 | 307.552 | 6.072 | 314.533 | 6.205 | 313 | 0.416 | 889.667 | 14.195 | 9.9316
2019-03-19 19:45:00 | 3.8 | 315.333 | 4.036 | 302.602 | 4.385 | 305.1 | 4.756 | 300.633 | 0.03 | 889.467 | 14.78 | 12.0647
2019-03-19 20:00:00 | 3.869 | 319.693 | 4.72 | 311.335 | 5.301 | 316.967 | 5.638 | 316.2 | -0.306 | 889.4 | 15.315 | 8.8899
2019-03-19 20:15:00 | 3.616 | 311.133 | 4.489 | 308.617 | 4.881 | 316.433 | 5.13 | 315.633 | -0.419 | 889.467 | 15.344 | 9.0668
2019-03-19 20:30:00 | 3.214 | 311.387 | 4.176 | 310.776 | 4.573 | 315.8 | 4.832 | 315.167 | -0.975 | 889.6 | 15.953 | 7.014
2019-03-19 20:45:00 | 3.085 | 315.213 | 3.664 | 319.712 | 3.811 | 333.6 | 4.02 | 337.667 | -1.342 | 889.467 | 16.639 | 5.0067
2019-03-19 21:00:00 | 2.615 | 302.52 | 2.673 | 318.875 | 2.75 | 329.233 | 2.99 | 334.867 | -1.676 | 889.467 | 17.069 | 2.4579
2019-03-19 21:15:00 | 2.98 | 261.5 | 2.412 | 300.837 | 2.416 | 316.467 | 2.969 | 319.7 | -2.356 | 889.767 | 17.357 | 1.2662
2019-03-19 21:30:00 | 3.623 | 290.64 | 3.718 | 300.62 | 3.635 | 309.567 | 3.894 | 307.3 | -1.966 | 889.533 | 17.429 | 1.7466
2019-03-19 21:45:00 | 3.639 | 236.167 | 3.394 | 271.876 | 3.197 | 289.933 | 3.566 | 297 | -3.572 | 889.4 | 18.497 | 1.2108
2019-03-19 22:00:00 | 3.725 | 262.5 | 3.495 | 283.881 | 3.488 | 302.533 | 3.767 | 308.533 | -3.756 | 889.8 | 19.889 | 1.2655
2019-03-19 22:15:00 | 4.179 | 241.233 | 3.516 | 261.347 | 3.408 | 274.067 | 3.548 | 280.467 | -3.622 | 889.667 | 20.517 | 0.090242
2019-03-19 22:30:00 | 4.025 | 233.16 | 2.776 | 255.513 | 2.475 | 277.4 | 2.716 | 290.5 | -3.902 | 889.9 | 20.451 | 0.18119
2019-03-19 22:45:00 | 5.431 | 252.567 | 5.071 | 259.031 | 4.66 | 267.167 | 4.117 | 265.633 | -5.402 | 890.1 | 22.203 | 0.54571
2019-03-19 23:00:00 | 5.661 | 230.26 | 4.384 | 248.322 | 4.062 | 262.133 | 4.172 | 264.833 | -5.78 | 889.883 | 22.955 | 7.5711
2019-03-19 23:15:00 | 4.948 | 244 | 4.52 | 260.213 | 4.472 | 273.4 | 4.8 | 274.6 | -5.202 | 889.383 | 24.821 | 5.8124
2019-03-19 23:30:00 | 5.429 | 233.713 | 4.497 | 243.726 | 4.148 | 256.233 | 4.057 | 258.2 | -6.286 | 889.567 | 28.88 | 7.0033
2019-03-19 23:45:00 | 5.356 | 223.267 | 5.647 | 240.156 | 4.996 | 250.933 | 4.435 | 251.567 | -6.345 | 889.9 | 31.819 | 6.9998