## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-20 00:00:00 | 5.086 | 237.64 | 5.329 | 246.833 | 4.672 | 256.1 | 4.66 | 257.833 | -5.918 | 889.583 | 34.715 | 9.2892
2019-03-20 00:15:00 | 5.718 | 232.2 | 5.48 | 242.603 | 5.239 | 252.567 | 5.052 | 251.467 | -6.512 | 889.683 | 35.477 | 11.6199
2019-03-20 00:30:00 | 5.692 | 216.84 | 6.034 | 229.54 | 5.336 | 245.833 | 4.913 | 246.633 | -7.21 | 889.85 | 36.725 | 11.7222
2019-03-20 00:45:00 | 5.591 | 225.013 | 6.104 | 237.274 | 5.567 | 248.933 | 5.211 | 251.767 | -7.015 | 889.583 | 38.56 | 11.7236
2019-03-20 01:00:00 | 5.58 | 223.607 | 5.908 | 233.82 | 5.512 | 244.2 | 5.198 | 243.167 | -6.73 | 889.467 | 40.165 | 13.4496
2019-03-20 01:15:00 | 5.091 | 218.913 | 5.976 | 235.01 | 5.679 | 245.367 | 5.352 | 243.167 | -6.916 | 889.458 | 40.848 | 14.092
2019-03-20 01:30:00 | 5.397 | 232.82 | 6.181 | 246.49 | 5.956 | 260.6 | 5.958 | 262.733 | -7.433 | 889.883 | 42.187 | 15.4584
2019-03-20 01:45:00 | 4.56 | 222.307 | 5.488 | 239.704 | 5.283 | 259.433 | 5.436 | 262.833 | -7.028 | 890.1 | 42.496 | 14.4586
2019-03-20 02:00:00 | 5.075 | 228.033 | 5.78 | 238.251 | 5.449 | 254.033 | 5.244 | 257.367 | -7.606 | 889.792 | 43.541 | 11.7855
2019-03-20 02:15:00 | 5.022 | 224.167 | 5.872 | 235.337 | 5.299 | 250.233 | 4.91 | 254.633 | -7.539 | 889.567 | 43.797 | 10.6706
2019-03-20 02:30:00 | 5.235 | 221.387 | 6.254 | 229.665 | 5.762 | 238.567 | 5.196 | 239.433 | -7.88 | 889.425 | 43.84 | 11.9659
2019-03-20 02:45:00 | 5.296 | 221.727 | 6.66 | 229.187 | 6.264 | 237.533 | 5.874 | 235.033 | -7.793 | 889.417 | 44.416 | 13.2492
2019-03-20 03:00:00 | 5.544 | 219.187 | 6.88 | 227.082 | 6.599 | 234.567 | 6.115 | 232.067 | -8.013 | 889.808 | 44.821 | 16.0311
2019-03-20 03:15:00 | 5.602 | 219.573 | 6.842 | 229.065 | 6.381 | 237.033 | 6.045 | 234.967 | -8.271 | 889.942 | 45.781 | 17.9631
2019-03-20 03:30:00 | 5.612 | 222.707 | 6.195 | 233.938 | 6.015 | 242.833 | 5.799 | 241.1 | -7.97 | 890.317 | 47.925 | 17.1502
2019-03-20 03:45:00 | 5.924 | 224.46 | 6.405 | 234.994 | 6.163 | 244.467 | 5.69 | 243.2 | -8.01 | 889.85 | 49.152 | 16.903
2019-03-20 04:00:00 | 5.625 | 219.993 | 6.482 | 231.412 | 5.98 | 241.633 | 5.555 | 241.467 | -8.36 | 889.992 | 50.411 | 16.6571
2019-03-20 04:15:00 | 5.652 | 219.46 | 7.043 | 229.282 | 6.508 | 238.7 | 5.966 | 237.1 | -8.154 | 889.908 | 51.499 | 17.5148
2019-03-20 04:30:00 | 5.566 | 218.4 | 6.923 | 226.668 | 6.495 | 238.867 | 6.022 | 235.267 | -8.658 | 889.508 | 52.043 | 17.7606
2019-03-20 04:45:00 | 6.204 | 216.767 | 6.976 | 223.764 | 6.696 | 233.733 | 6.338 | 232.067 | -8.724 | 889.767 | 52.277 | 19.7701
2019-03-20 05:00:00 | 6.306 | 218.753 | 6.833 | 225.879 | 6.565 | 236.567 | 6.221 | 234.667 | -8.414 | 889.392 | 51.957 | 19.0659
2019-03-20 05:15:00 | 5.736 | 220.367 | 6.784 | 228.304 | 6.318 | 239.4 | 5.78 | 239.633 | -8.574 | 889.733 | 51.925 | 16.4198
2019-03-20 05:30:00 | 6.13 | 219.667 | 6.795 | 225.251 | 6.382 | 235.033 | 5.883 | 234.9 | -8.824 | 889.9 | 52.064 | 15.6922
2019-03-20 05:45:00 | 6.337 | 214.733 | 8.06 | 217.81 | 6.761 | 225.067 | 5.866 | 227 | -8.674 | 889.992 | 53.237 | 17.5901
2019-03-20 06:00:00 | 6.108 | 214.267 | 7.909 | 213.614 | 7.343 | 219.467 | 6.583 | 218 | -8.958 | 889.642 | 55.275 | 18.1237
2019-03-20 06:15:00 | 6.162 | 212.733 | 8.423 | 212.416 | 7.656 | 216.233 | 7.196 | 213.8 | -9.191 | 889.983 | 55.531 | 18.7867
2019-03-20 06:30:00 | 6.61 | 213.933 | 8.204 | 215.24 | 7.096 | 219.633 | 6.405 | 216.5 | -8.741 | 889.883 | 55.264 | 17.9923
2019-03-20 06:45:00 | 6.492 | 215.867 | 7.755 | 216.395 | 7.044 | 221.333 | 6.13 | 218.467 | -8.858 | 890.058 | 55.787 | 17.5958
2019-03-20 07:00:00 | 6.072 | 212.167 | 8.032 | 214.578 | 7.034 | 218.867 | 6.177 | 218.933 | -9.241 | 889.9 | 56.224 | 18.155
2019-03-20 07:15:00 | 6.274 | 212.8 | 7.537 | 213.971 | 6.354 | 219.167 | 5.502 | 219.033 | -9.108 | 889.925 | 55.349 | 13.623
2019-03-20 07:30:00 | 4.938 | 217.933 | 6.892 | 212.534 | 6.567 | 215.3 | 6.073 | 213.967 | -9.141 | 890.058 | 54.592 | 14.9894
2019-03-20 07:45:00 | 4.382 | 211.933 | 6.283 | 207.552 | 6.245 | 211.733 | 6.076 | 208.5 | -9.191 | 889.575 | 54.752 | 13.5562
2019-03-20 08:00:00 | 5.752 | 209.1 | 6.421 | 204.796 | 6.198 | 209.567 | 6.238 | 206.467 | -8.808 | 889.942 | 46.549 | 13.2407
2019-03-20 08:15:00 | 5.156 | 205.547 | 6.365 | 201.366 | 6.608 | 206.567 | 6.326 | 203.933 | -7.933 | 890.042 | 41.035 | 13.6216
2019-03-20 08:30:00 | 5.294 | 206.327 | 7.615 | 200.55 | 7.002 | 203.667 | 6.76 | 199.967 | -6.658 | 889.783 | 38.235 | 16.1583
2019-03-20 08:45:00 | 5.338 | 210.367 | 7.074 | 207.53 | 7.396 | 209.833 | 7.437 | 204.5 | -5.452 | 889.8 | 35.957 | 21.3774
2019-03-20 09:00:00 | 5.62 | 210.5 | 6.472 | 207.51 | 6.791 | 210.867 | 7.177 | 206.233 | -3.907 | 889.617 | 32.619 | 21.2303
2019-03-20 09:15:00 | 4.688 | 206.06 | 4.615 | 206.27 | 4.9 | 211.167 | 5.61 | 206.333 | -2.364 | 889.667 | 29.243 | 14.7642
2019-03-20 09:30:00 | 5.092 | 209.6 | 5.364 | 208.469 | 5.547 | 212.133 | 5.82 | 208.6 | -1.7 | 889.567 | 26.32 | 11.2795
2019-03-20 09:45:00 | 5.201 | 215.213 | 5.24 | 211.883 | 5.404 | 214.133 | 5.667 | 209.1 | -1.199 | 889.5 | 24.683 | 11.3527
2019-03-20 10:00:00 | 4.236 | 219.027 | 4.341 | 214.363 | 4.523 | 218.733 | 4.841 | 213.5 | -0.239 | 889.9 | 23.141 | 9.1173
2019-03-20 10:15:00 | 3.104 | 228.207 | 3.208 | 223.538 | 3.399 | 223.917 | 3.523 | 220.167 | 0.515 | 889.367 | 21.984 | 4.721
2019-03-20 10:30:00 | 1.854 | 249.713 | 1.926 | 246.792 | 1.976 | 251.583 | 2.306 | 248.05 | 1.539 | 889.85 | 21.208 | 0.61961
2019-03-20 10:45:00 | 2.48 | 253.847 | 2.166 | 251.192 | 2.097 | 253.283 | 2.42 | 250.1 | 2.777 | 889.733 | 19.256 | 0.31123
2019-03-20 11:00:00 | 0.959 | 110.212 | 0.29 | 208.95 | 0.326 | 242.15 | 0.8 | 249.133 | 2.557 | 889.467 | 18.581 | 0.29133
2019-03-20 11:15:00 | 0.906 | 309.387 | 0.634 | 280.291 | 0.716 | 282.483 | 1.367 | 264.433 | 1.412 | 889.867 | 17.757 | 0.30696
2019-03-20 11:30:00 | 2.588 | 281.893 | 2.75 | 267.884 | 2.877 | 271.567 | 3.084 | 267.867 | 2.194 | 889.433 | 17.716 | 0.30839
2019-03-20 11:45:00 | 0.156 | 290.907 | 0 | 284.18 | 0 | 285.3 | 0.054 | 257.9 | 2.443 | 889.667 | 17.103 | 0.28565
2019-03-20 12:00:00 | 0.712 | 159.59 | 0.097 | 220.483 | 0.157 | 261.633 | 1.599 | 293.2 | 3.942 | 889.7 | 15.771 | 0.28991
2019-03-20 12:15:00 | 2.051 | 136.03 | 2.009 | 131.958 | 1.766 | 134.833 | 1.983 | 133 | 3.859 | 889.033 | 14.088 | 0.29418
2019-03-20 12:30:00 | 2.055 | 164.8 | 1.657 | 161.505 | 1.842 | 162.933 | 2.166 | 156.867 | 3.421 | 889.3 | 13.813 | 0.27073
2019-03-20 12:45:00 | 1.986 | 138.8 | 1.336 | 132.852 | 1.303 | 137.133 | 1.402 | 142.533 | 3.304 | 889.633 | 13.544 | 0.29275
2019-03-20 13:00:00 | 0.543 | 114.998 | 0.566 | 182.953 | 0.343 | 175.253 | 0.897 | 192.317 | 4.384 | 889.567 | 12.859 | 0.28138
2019-03-20 13:15:00 | 2.921 | 129.53 | 2.872 | 126.06 | 3.107 | 133.867 | 3.26 | 135.3 | 3.872 | 889.4 | 12.077 | 0.28991
2019-03-20 13:30:00 | 2.517 | 74.052 | 2.394 | 80.577 | 2.437 | 93.2 | 2.763 | 84.133 | 4.215 | 889.567 | 12.621 | 0.2352
2019-03-20 13:45:00 | 2.126 | 72.801 | 2.345 | 72.113 | 2.57 | 88.233 | 3.037 | 88.933 | 4.285 | 889.867 | 12.325 | 0.23236
2019-03-20 14:00:00 | 1.798 | 192.635 | 0.856 | 134.793 | 0.837 | 133.652 | 1.883 | 124.338 | 4.474 | 889.833 | 11.967 | 0.22738
2019-03-20 14:15:00 | 3.565 | 135.22 | 3.242 | 123.67 | 2.975 | 126.6 | 3.204 | 117.767 | 4.762 | 889.4 | 11.371 | 0.12577
2019-03-20 14:30:00 | 2.761 | 67.135 | 2.546 | 73.37 | 2.498 | 78.833 | 2.922 | 74.567 | 5.57 | 889.333 | 10.709 | 0.25722
2019-03-20 14:45:00 | 3.084 | 59.501 | 3.21 | 51.406 | 3.281 | 73.467 | 3.534 | 69.8 | 4.902 | 889.833 | 10.963 | 0.68854
2019-03-20 15:00:00 | 4.458 | 69.392 | 4.705 | 64.565 | 4.467 | 71.133 | 4.374 | 69.567 | 4.958 | 889.8 | 10.92 | 1.8489
2019-03-20 15:15:00 | 2.47 | 104.696 | 2.268 | 176.955 | 2.463 | 34.142 | 2.851 | 40.133 | 5.386 | 889.6 | 10.691 | 2.2447
2019-03-20 15:30:00 | 1.879 | 91.677 | 1.456 | 89.131 | 1.667 | 97.733 | 2.097 | 92.967 | 5.108 | 889.5 | 10.888 | 0.7866
2019-03-20 15:45:00 | 2.56 | 202.552 | 1.9 | 82.025 | 2.193 | 22.612 | 2.371 | 34.8 | 5.972 | 889.267 | 9.898 | 0.19967
2019-03-20 16:00:00 | 3.112 | 80.287 | 3.074 | 74.627 | 3.38 | 75.667 | 3.547 | 70.4 | 5.62 | 889.567 | 10.423 | 0.74681
2019-03-20 16:15:00 | 2.448 | 58.99 | 2.144 | 55.796 | 2.57 | 58.5 | 2.856 | 56.5 | 5.733 | 889.367 | 10.511 | 0.46471
2019-03-20 16:30:00 | 3.671 | 114.041 | 3.654 | 114.014 | 3.811 | 74.401 | 4.238 | 80.8 | 5.497 | 889.833 | 11.3 | 2.6206
2019-03-20 16:45:00 | 2.836 | 81.967 | 2.843 | 69.258 | 3.048 | 84.333 | 2.977 | 78.167 | 5.626 | 889.5 | 11.875 | 4.2314
2019-03-20 17:00:00 | 3.845 | 78.275 | 4.012 | 70.876 | 3.881 | 70.5 | 3.954 | 66.033 | 5.468 | 889.367 | 12.12 | 4.7985
2019-03-20 17:15:00 | 2.43 | 61.917 | 2.425 | 53.325 | 2.673 | 62.333 | 3.287 | 55.233 | 5.6 | 889.433 | 12.352 | 4.3679
2019-03-20 17:30:00 | 4.066 | 75.147 | 4.506 | 70.142 | 4.295 | 72.467 | 4.806 | 68.533 | 5.928 | 889.767 | 12.067 | 5.2077
2019-03-20 17:45:00 | 4.903 | 67.633 | 4.672 | 60.56 | 4.795 | 64 | 4.908 | 64.067 | 5.681 | 888.933 | 12.763 | 5.288
2019-03-20 18:00:00 | 4.572 | 67.768 | 5.027 | 58.523 | 5.265 | 63.367 | 5.469 | 58 | 5.253 | 889.667 | 13.515 | 5.9652
2019-03-20 18:15:00 | 3.946 | 58.01 | 3.922 | 54.333 | 3.978 | 56 | 4.09 | 49.767 | 5.163 | 889.5 | 13.536 | 7.9178
2019-03-20 18:30:00 | 5.351 | 61.418 | 4.742 | 51.87 | 4.521 | 58.767 | 5.149 | 57.167 | 4.954 | 889.3 | 14.016 | 11.6206
2019-03-20 18:45:00 | 4.687 | 65.063 | 4.92 | 57.235 | 4.993 | 63.2 | 5.048 | 57.5 | 5.194 | 889.733 | 14.125 | 11.1708
2019-03-20 19:00:00 | 3.889 | 64.172 | 3.38 | 51.874 | 3.337 | 58 | 3.918 | 49.1 | 4.192 | 889.733 | 14.864 | 11.6355
2019-03-20 19:15:00 | 4.742 | 63.915 | 4.523 | 59.201 | 4.377 | 61 | 4.426 | 56.667 | 4.395 | 889.567 | 15.947 | 10.2656
2019-03-20 19:30:00 | 5.355 | 49.81 | 6.021 | 41.516 | 6.341 | 48.567 | 6.907 | 45.167 | 3.908 | 889.367 | 17.427 | 9.4612
2019-03-20 19:45:00 | 4.718 | 63.267 | 4.833 | 57.1 | 4.722 | 64.633 | 4.761 | 58.633 | 3.639 | 889.433 | 17.589 | 10.2798
2019-03-20 20:00:00 | 4.085 | 61.915 | 4.119 | 56.185 | 3.895 | 63.4 | 4.146 | 59.267 | 3.16 | 889.333 | 18.707 | 10.8596
2019-03-20 20:15:00 | 3.812 | 63.468 | 4.645 | 59.577 | 4.591 | 63.7 | 4.603 | 59.567 | 3.036 | 889.333 | 18.829 | 9.518
2019-03-20 20:30:00 | 2.77 | 71.813 | 3.493 | 70.461 | 3.747 | 75.167 | 4.048 | 72.733 | 2.278 | 889.5 | 19.541 | 9.4683
2019-03-20 20:45:00 | 2.012 | 42.632 | 2.597 | 55.276 | 3.388 | 70.567 | 3.535 | 69.4 | 1.762 | 889.3 | 20.077 | 5.2923
2019-03-20 21:00:00 | 1.629 | 83.637 | 1.931 | 75.395 | 2.164 | 80.5 | 2.294 | 80.233 | 1.649 | 889.95 | 21.909 | 3.307
2019-03-20 21:15:00 | 0.134 | 69.213 | 0.846 | 78.266 | 1.423 | 80.2 | 1.755 | 79.2 | 1.359 | 890.283 | 23.205 | 0.46471
2019-03-20 21:30:00 | 0 | 69.353 | 0 | 78.243 | 0.123 | 80.067 | 1.218 | 78.9 | 0.565 | 889.433 | 22.997 | 0.27357
2019-03-20 21:45:00 | 0 | 123.363 | 0 | 78.25 | 0 | 80.4 | 1.184 | 79.1 | 0.05 | 889.967 | 24.517 | 0.27286
2019-03-20 22:00:00 | 1.498 | 286.56 | 0.386 | 320.981 | 0.457 | 318.7 | 0.877 | 288.567 | 0.499 | 889.383 | 23.531 | 0.27712
2019-03-20 22:15:00 | 1.4 | 267.8 | 0 | 320.726 | 0 | 318.633 | 0.396 | 288.333 | 0.067 | 889.85 | 23.781 | 0.28707
2019-03-20 22:30:00 | 2.603 | 240.8 | 1.07 | 302.906 | 1.14 | 271.933 | 1.643 | 262.1 | -0.199 | 890.017 | 23.931 | 0.28138
2019-03-20 22:45:00 | 3.426 | 247.84 | 1.177 | 279.047 | 1.321 | 272.067 | 1.726 | 262 | -0.13 | 889.6 | 23.691 | 0.29275
2019-03-20 23:00:00 | 3.893 | 249.627 | 1.208 | 276.187 | 1.511 | 272 | 1.934 | 262.067 | -0.648 | 890.267 | 22.691 | 0.073899
2019-03-20 23:15:00 | 5.63 | 266.167 | 6.573 | 289.484 | 6.842 | 301.5 | 7.225 | 302.233 | -2.32 | 889.667 | 23.189 | 3.4519
2019-03-20 23:30:00 | 4.616 | 271.893 | 5.73 | 286.508 | 6.177 | 294.333 | 6.726 | 292.2 | -2.107 | 889.65 | 24.923 | 21.6716
2019-03-20 23:45:00 | 4.825 | 275.413 | 5.263 | 284.409 | 5.408 | 289.933 | 5.778 | 288.633 | -1.786 | 889.933 | 26.168 | 18.1379