## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-21 00:00:00 | 4.616 | 271.92 | 5.581 | 286.401 | 6.026 | 293.067 | 6.446 | 291.033 | -1.62 | 889.85 | 26.483 | 18.5586
2019-03-21 00:15:00 | 3.866 | 279.827 | 4.837 | 292.161 | 5.097 | 299.7 | 5.569 | 298.367 | -2.344 | 890.233 | 27.893 | 15.2168
2019-03-21 00:30:00 | 4.08 | 256.293 | 4.133 | 282.972 | 4.744 | 302.067 | 5.309 | 304 | -2.679 | 889.6 | 28.987 | 9.8911
2019-03-21 00:45:00 | 4.877 | 232.633 | 3.802 | 259.549 | 4.012 | 277.267 | 4.444 | 283.8 | -4.404 | 889.833 | 29.84 | 6.0149
2019-03-21 01:00:00 | 4.722 | 224.567 | 3.776 | 255.529 | 3.816 | 264.067 | 3.878 | 264.9 | -3.572 | 889.45 | 31.101 | 2.9361
2019-03-21 01:15:00 | 5.406 | 220.033 | 4.1 | 233.983 | 3.696 | 258.7 | 4.065 | 265.367 | -4.919 | 889.483 | 36.331 | 2.639
2019-03-21 01:30:00 | 5.865 | 216.9 | 4.783 | 229.46 | 4.213 | 246.867 | 4.278 | 255.467 | -4.835 | 889.667 | 38.629 | 4.1994
2019-03-21 01:45:00 | 5.722 | 217.9 | 4.739 | 226.816 | 4.223 | 236.3 | 4.101 | 243.533 | -5.202 | 889.275 | 40.613 | 4.996
2019-03-21 02:00:00 | 5.698 | 220.433 | 5.436 | 227.349 | 4.901 | 235.2 | 4.301 | 233.333 | -5.402 | 889.942 | 40.88 | 5.9268
2019-03-21 02:15:00 | 4.881 | 219.9 | 5.19 | 232.17 | 4.844 | 239.3 | 4.512 | 240.267 | -5.402 | 889.758 | 40.933 | 8.2724
2019-03-21 02:30:00 | 5.538 | 225.993 | 5.038 | 234.51 | 4.84 | 245.067 | 4.465 | 242.1 | -5.978 | 889.783 | 41.355 | 7.4119
2019-03-21 02:45:00 | 5.718 | 216.967 | 5.064 | 228.467 | 4.705 | 238.667 | 4.592 | 236.833 | -6.114 | 889.733 | 41.813 | 7.5242
2019-03-21 03:00:00 | 5.924 | 221.187 | 5.692 | 227.005 | 5.282 | 237.133 | 5.13 | 235.433 | -5.826 | 890 | 43.413 | 8.8323
2019-03-21 03:15:00 | 5.703 | 217.267 | 5.056 | 225.12 | 4.577 | 235.433 | 4.419 | 237.933 | -6.528 | 889.742 | 45.323 | 9.113
2019-03-21 03:30:00 | 6.019 | 224.3 | 5.705 | 231.186 | 4.979 | 244.167 | 4.495 | 247.733 | -6.345 | 889.7 | 46.699 | 6.9643
2019-03-21 03:45:00 | 5.45 | 230.567 | 4.754 | 242.96 | 4.571 | 254.1 | 4.68 | 256.117 | -6.578 | 889.725 | 48.416 | 7.3458
2019-03-21 04:00:00 | 5.85 | 216.34 | 5.33 | 228.886 | 4.496 | 244.4 | 4.472 | 244.933 | -6.814 | 889.983 | 49.013 | 6.5727
2019-03-21 04:15:00 | 5.328 | 221.793 | 4.918 | 232.568 | 4.417 | 244.433 | 4.255 | 245.3 | -7.269 | 889.783 | 50.539 | 6.2231
2019-03-21 04:30:00 | 5.838 | 215.373 | 5.438 | 228.808 | 4.742 | 240.667 | 4.508 | 241.2 | -7.41 | 889.808 | 51.744 | 6.5514
2019-03-21 04:45:00 | 5.706 | 216.927 | 5.776 | 227.121 | 5.264 | 234.067 | 5.054 | 232.433 | -7.354 | 889.85 | 52.629 | 8.6767
2019-03-21 05:00:00 | 5.959 | 216.24 | 5.667 | 225.843 | 5.183 | 233.933 | 4.986 | 234.967 | -7.178 | 889.983 | 53.429 | 8.4557
2019-03-21 05:15:00 | 6.202 | 213.433 | 6.08 | 223.045 | 5.493 | 231.633 | 5.254 | 230.6 | -7.539 | 889.7 | 54.571 | 8.1438
2019-03-21 05:30:00 | 5.613 | 208.567 | 5.893 | 216.878 | 5.329 | 224.1 | 5.033 | 225.067 | -7.572 | 889.925 | 55.168 | 8.6234
2019-03-21 05:45:00 | 5.265 | 209.16 | 6.475 | 213.363 | 6.102 | 219.467 | 5.657 | 216.767 | -7.859 | 889.933 | 55.861 | 8.3165
2019-03-21 06:00:00 | 4.982 | 208.367 | 6.076 | 215.564 | 5.508 | 221.2 | 5.007 | 222.033 | -7.706 | 889.892 | 55.552 | 9.6033
2019-03-21 06:15:00 | 5.415 | 210.493 | 5.263 | 212.497 | 5.104 | 217.2 | 4.667 | 217.3 | -7.652 | 889.633 | 56.384 | 5.8913
2019-03-21 06:30:00 | 5.89 | 218.107 | 5.404 | 213.096 | 4.773 | 219.567 | 4.272 | 218.467 | -7.161 | 890.375 | 54.773 | 2.8629
2019-03-21 06:45:00 | 5.042 | 214.027 | 4.555 | 210.385 | 3.896 | 216.833 | 3.3 | 213.9 | -7.726 | 889.933 | 54.155 | 0.28778
2019-03-21 07:00:00 | 6.765 | 220.067 | 4.651 | 209.958 | 3.978 | 218.133 | 3.689 | 218.867 | -7.739 | 890.033 | 53.995 | 0.31691
2019-03-21 07:15:00 | 6.024 | 223.28 | 4.811 | 214.931 | 3.321 | 223.567 | 3.009 | 227.833 | -7.231 | 889.667 | 53.685 | 0.15277
2019-03-21 07:30:00 | 5.269 | 227.727 | 5.48 | 221.462 | 3.796 | 227.067 | 2.937 | 231.033 | -8.01 | 890.075 | 54.869 | 0.12648
2019-03-21 07:45:00 | 5.789 | 226.267 | 4.56 | 224.285 | 3.793 | 224.8 | 3.236 | 221.533 | -8.391 | 889.875 | 55.851 | 0.12861
2019-03-21 08:00:00 | 6.044 | 223.633 | 5.498 | 221.099 | 4.214 | 226.6 | 3.142 | 221.6 | -7.439 | 889.883 | 52.469 | 0.10516
2019-03-21 08:15:00 | 5.012 | 227.46 | 4.96 | 224.436 | 3.291 | 232.467 | 2.546 | 236 | -6.609 | 889.917 | 47.36 | 0.076741
2019-03-21 08:30:00 | 5.05 | 222.4 | 3.256 | 218.588 | 1.952 | 223.733 | 1.357 | 231 | -5.402 | 890.267 | 42.56 | 0.1343
2019-03-21 08:45:00 | 3.309 | 228.433 | 1.962 | 221.06 | 0 | 227.033 | 0 | 231.067 | -3.973 | 889.733 | 38.896 | 0.31265
2019-03-21 09:00:00 | 3.094 | 229.527 | 2.293 | 214.445 | 0.153 | 224 | 0 | 231 | -2.842 | 889.767 | 35.584 | 0.2956
2019-03-21 09:15:00 | 2.045 | 223.733 | 0.432 | 214.484 | 0 | 223.867 | 0 | 231 | -0.822 | 889.7 | 32.149 | 0.29702
2019-03-21 09:30:00 | 1.175 | 212.08 | 0.447 | 213.893 | 0.204 | 208.833 | 0.349 | 231 | 1.282 | 889.85 | 28.357 | 0.29133
2019-03-21 09:45:00 | 0.688 | 112.98 | 0 | 206.079 | 0 | 113.867 | 0.114 | 175.933 | 1.402 | 889.833 | 26.32 | 0.29275
2019-03-21 10:00:00 | 0.939 | 105.443 | 0.503 | 116.558 | 0.313 | 104.333 | 1.112 | 141 | 1.596 | 889.583 | 27.499 | 0.28565
2019-03-21 10:15:00 | 1.617 | 62.797 | 1.12 | 59.385 | 1.041 | 76.467 | 1.531 | 65 | 1.759 | 889.55 | 27.941 | 0.29275
2019-03-21 10:30:00 | 2.241 | 66.075 | 1.786 | 64.095 | 1.722 | 76.2 | 2.18 | 81.8 | 1.855 | 889.933 | 28.789 | 0.31549
2019-03-21 10:45:00 | 2.25 | 113.83 | 2.107 | 106.26 | 2.091 | 116.3 | 2.439 | 114.633 | 1.775 | 889.717 | 28.373 | 0.29062
2019-03-21 11:00:00 | 2.604 | 89.305 | 2.219 | 97.726 | 2.447 | 101.2 | 2.823 | 100.9 | 2.098 | 889.567 | 28.224 | 0.43273
2019-03-21 11:15:00 | 3.424 | 111.02 | 3.478 | 99.725 | 3.297 | 105.933 | 3.337 | 104.467 | 2.082 | 889.967 | 27.227 | 1.1049
2019-03-21 11:30:00 | 3.583 | 111.147 | 3.917 | 103.673 | 3.802 | 106.2 | 3.905 | 99.333 | 2.622 | 889.717 | 26.949 | 1.6222
2019-03-21 11:45:00 | 3.764 | 80.375 | 3.726 | 77.26 | 3.627 | 90.4 | 4.008 | 87.2 | 2.958 | 889.733 | 26.896 | 2.7648
2019-03-21 12:00:00 | 3.815 | 99.19 | 3.637 | 98.163 | 4.009 | 105.533 | 4.338 | 107.167 | 2.938 | 890 | 27.285 | 3.0064
2019-03-21 12:15:00 | 3.155 | 116.967 | 3.469 | 111.632 | 3.624 | 111.167 | 4.031 | 104.3 | 3.154 | 889.883 | 26.053 | 3.393
2019-03-21 12:30:00 | 3.726 | 128.233 | 3.578 | 111.805 | 3.788 | 114.933 | 4.028 | 104.567 | 3.099 | 889.083 | 25.435 | 4.8233
2019-03-21 12:45:00 | 3.722 | 80.768 | 3.506 | 81.729 | 3.519 | 84.7 | 3.575 | 75.867 | 3.474 | 890 | 23.941 | 5.4465
2019-03-21 13:00:00 | 4.729 | 102.5 | 4.769 | 97.265 | 4.814 | 103.8 | 5.335 | 100.633 | 3.337 | 889.617 | 22.635 | 6.2985
2019-03-21 13:15:00 | 4.208 | 90.262 | 4.244 | 85.93 | 4.31 | 92.3 | 4.609 | 92.1 | 4.102 | 889.883 | 21.333 | 8.4124
2019-03-21 13:30:00 | 3.095 | 70.14 | 3.391 | 55.27 | 3.499 | 62.004 | 3.581 | 58.467 | 3.986 | 889.883 | 21.211 | 8.2234
2019-03-21 13:45:00 | 3.678 | 70.433 | 3.981 | 62.616 | 4.067 | 68.133 | 4.264 | 66.1 | 4.265 | 889.733 | 20.421 | 8.0187
2019-03-21 14:00:00 | 4.098 | 95.467 | 4.078 | 88.283 | 3.74 | 90.333 | 3.996 | 87.067 | 4.732 | 889.133 | 19.448 | 8.0436
2019-03-21 14:15:00 | 4.858 | 66.714 | 4.531 | 62.405 | 4.669 | 69.533 | 4.744 | 66.333 | 4.782 | 889.467 | 18.704 | 9.7028
2019-03-21 14:30:00 | 3.993 | 60.352 | 3.968 | 57.763 | 4.349 | 64.7 | 4.918 | 61.767 | 4.166 | 889.6 | 17.248 | 9.9117
2019-03-21 14:45:00 | 3.179 | 107.177 | 2.969 | 99.4 | 2.851 | 96.667 | 3.126 | 86.967 | 4.554 | 889.567 | 17.424 | 9.1507
2019-03-21 15:00:00 | 3.421 | 82.528 | 3.467 | 64.741 | 3.67 | 65.7 | 3.773 | 56.533 | 4.685 | 889.9 | 16.541 | 11.9048
2019-03-21 15:15:00 | 3.306 | 112.728 | 3.565 | 73.371 | 3.379 | 78.475 | 3.795 | 75.133 | 5.369 | 889.7 | 16.032 | 7.834
2019-03-21 15:30:00 | 2.999 | 89.221 | 3.422 | 62.718 | 3.765 | 55.2 | 4.337 | 50.167 | 5.3 | 889.1 | 15.828 | 5.3321
2019-03-21 15:45:00 | 3.896 | 50.263 | 3.764 | 43.835 | 3.813 | 46.9 | 4.216 | 41.067 | 5.643 | 889.7 | 15.584 | 6.9202
2019-03-21 16:00:00 | 4.078 | 64.492 | 4.096 | 58.719 | 4.162 | 67.533 | 4.155 | 64.067 | 5.201 | 889.1 | 15.645 | 4.1113
2019-03-21 16:15:00 | 3.16 | 67.649 | 3.353 | 25.828 | 3.821 | 34.367 | 3.804 | 26.333 | 5.822 | 889.233 | 15.075 | 2.5943
2019-03-21 16:30:00 | 3.871 | 76.832 | 4.086 | 68.975 | 4.274 | 72.267 | 4.437 | 68.633 | 5.69 | 889.533 | 15.2 | 1.5867
2019-03-21 16:45:00 | 3.72 | 63.3 | 3.584 | 46.428 | 3.689 | 58.6 | 4.099 | 52.8 | 5.795 | 889.633 | 15.216 | 1.3209
2019-03-21 17:00:00 | 3.154 | 50.378 | 3.037 | 37.85 | 3.294 | 31.202 | 3.428 | 29.8 | 5.912 | 889.333 | 15.176 | 0.92516
2019-03-21 17:15:00 | 2.23 | 80.51 | 1.631 | 92.633 | 1.753 | 49.667 | 2.867 | 43.667 | 6.314 | 889.367 | 15.115 | 1.4154
2019-03-21 17:30:00 | 2.55 | 85.96 | 2.428 | 85.982 | 2.96 | 69.5 | 3.274 | 58.3 | 5.485 | 889.3 | 15.649 | 0.43771
2019-03-21 17:45:00 | 3.429 | 69.268 | 3.695 | 70.658 | 3.575 | 77.867 | 3.624 | 74.9 | 5.868 | 889.8 | 15.525 | 0.37021
2019-03-21 18:00:00 | 4.406 | 62.173 | 4.764 | 41.439 | 5.029 | 50.602 | 5.16 | 48.7 | 5.809 | 889.3 | 15.667 | 0.81289
2019-03-21 18:15:00 | 2.538 | 47.758 | 2.409 | 44.968 | 2.562 | 45.933 | 2.596 | 39.567 | 5.76 | 889.167 | 15.939 | 0.66864
2019-03-21 18:30:00 | 2.854 | 44.33 | 2.648 | 50.028 | 2.813 | 25.667 | 2.894 | 22.5 | 6.071 | 889.267 | 14.848 | 0.40573
2019-03-21 18:45:00 | 3.714 | 31.886 | 3.581 | 18.758 | 3.659 | 9.3 | 3.607 | 10.267 | 6.171 | 889.4 | 13.933 | 0.61606
2019-03-21 19:00:00 | 3.596 | 33.913 | 3.654 | 30.673 | 3.694 | 37.067 | 3.689 | 31 | 5.912 | 889.467 | 14.173 | 0.63383
2019-03-21 19:15:00 | 2.2 | 39.752 | 2.153 | 36.149 | 2.463 | 45.233 | 2.607 | 42.9 | 5.795 | 889.9 | 13.904 | 0.64235
2019-03-21 19:30:00 | 3.701 | 39.071 | 3.935 | 31.717 | 4.015 | 38.133 | 4.006 | 35.5 | 5.376 | 889.433 | 14.699 | 0.97845
2019-03-21 19:45:00 | 2.844 | 24.441 | 2.81 | 21.661 | 2.919 | 28.767 | 3.131 | 27.733 | 5.063 | 889.667 | 15.936 | 1.1554
2019-03-21 20:00:00 | 2.607 | 27.088 | 2.582 | 25.928 | 2.696 | 30.4 | 2.802 | 28.567 | 4.636 | 889.433 | 17.141 | 0.49171
2019-03-21 20:15:00 | 2.635 | 24.054 | 2.618 | 23.064 | 2.845 | 27.2 | 3.046 | 25.8 | 4.77 | 889.767 | 17.693 | 0.11369
2019-03-21 20:30:00 | 2.905 | 20.748 | 2.993 | 17.992 | 3.151 | 23.533 | 3.25 | 23.033 | 4.431 | 889.567 | 18.069 | 0.076031
2019-03-21 20:45:00 | 2.612 | 15.476 | 3.168 | 15.988 | 3.164 | 21 | 3.214 | 20 | 4.229 | 889.533 | 17.883 | 0.077452
2019-03-21 21:00:00 | 1.492 | 42.267 | 2.141 | 31.26 | 2.52 | 34.333 | 2.866 | 28.433 | 3.104 | 889.5 | 18.144 | 0.0874
2019-03-21 21:15:00 | 1.654 | 33.367 | 2.758 | 34.704 | 2.836 | 42.567 | 3.041 | 40.3 | 3.321 | 889.267 | 18.752 | 0.26717
2019-03-21 21:30:00 | 1.133 | 25.815 | 2.033 | 20.064 | 2.391 | 24.967 | 2.648 | 23.9 | 2.982 | 889.233 | 19.029 | 0.25012
2019-03-21 21:45:00 | 0.74 | 27.025 | 2.131 | 31.059 | 2.525 | 41.267 | 2.974 | 39.367 | 2.818 | 889.333 | 19.704 | 0.24657
2019-03-21 22:00:00 | 0.247 | 38.08 | 1.743 | 34.124 | 2.517 | 39 | 2.528 | 45.133 | 2.679 | 889.767 | 20.099 | 0.24728
2019-03-21 22:15:00 | 0 | 38.085 | 2.136 | 49.082 | 2.211 | 53.967 | 2.395 | 51.233 | 2.298 | 889.2 | 20.461 | 0.23875
2019-03-21 22:30:00 | 0 | 38.085 | 1.231 | 55.113 | 1.859 | 64.567 | 2.242 | 61 | 1.549 | 889.7 | 21.013 | 0.24586
2019-03-21 22:45:00 | 0.116 | 297.44 | 0 | 55.108 | 0.403 | 65 | 1.666 | 60.9 | 0.898 | 889.733 | 21.216 | 0.24017
2019-03-21 23:00:00 | 1.428 | 269.56 | 0 | 55.1 | 0.682 | 47.738 | 1.395 | 59.067 | 1.299 | 889.767 | 20.747 | 0.23875
2019-03-21 23:15:00 | 1.92 | 253.86 | 0 | 54.166 | 0 | 41.042 | 1.628 | 59 | 1.065 | 890.117 | 21.131 | 0.2487
2019-03-21 23:30:00 | 2.949 | 232.447 | 0 | 52.674 | 0 | 40.933 | 1.176 | 59 | 0.932 | 889.833 | 20.864 | 0.24444
2019-03-21 23:45:00 | 4.734 | 208.407 | 1.354 | 207.504 | 0 | 41 | 0 | 59 | -1.802 | 888.983 | 20.709 | 0.25296