## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-22 00:00:00 | 4.621 | 222.287 | 0.681 | 207.481 | 0 | 41 | 0 | 59.067 | -2.333 | 890.15 | 23.531 | 0.26291
2019-03-22 00:15:00 | 3.567 | 232.6 | 0 | 207.451 | 0.03 | 44.833 | 1.563 | 51.867 | -0.675 | 889.35 | 22.427 | 0.28991
2019-03-22 00:30:00 | 3.551 | 212.993 | 0.42 | 178.698 | 1.08 | 122.533 | 2.295 | 95.5 | -1.721 | 889.783 | 21.293 | 0.16556
2019-03-22 00:45:00 | 2.302 | 156.3 | 2.63 | 109.701 | 2.536 | 104.5 | 2.281 | 90.3 | -1.369 | 889.883 | 21.563 | 1.0289
2019-03-22 01:00:00 | 3.248 | 183.453 | 1.824 | 141.735 | 2.586 | 122.233 | 3.158 | 114.033 | -2.882 | 889.767 | 23.787 | 1.139
2019-03-22 01:15:00 | 3.748 | 192.907 | 2.436 | 157.756 | 2.124 | 144.767 | 2.697 | 127.033 | -1.68 | 889.6 | 23.28 | 0.89176
2019-03-22 01:30:00 | 3.487 | 193.827 | 2.425 | 152.723 | 2.094 | 143.8 | 2.308 | 133.567 | -2.18 | 889.8 | 23.915 | 1.343
2019-03-22 01:45:00 | 2.923 | 196.94 | 2.402 | 156.454 | 2.45 | 147.2 | 2.469 | 137.367 | -1.703 | 889.833 | 23.792 | 1.3458
2019-03-22 02:00:00 | 2.541 | 202.533 | 2.16 | 158.246 | 2.521 | 147.733 | 2.75 | 139.3 | -0.965 | 889.6 | 23.323 | 2.3157
2019-03-22 02:15:00 | 2.688 | 216.333 | 1.194 | 162.087 | 1.677 | 151.9 | 2.318 | 139.767 | -1.286 | 889.467 | 23.451 | 2.202
2019-03-22 02:30:00 | 3.398 | 219.72 | 1.493 | 175.477 | 1.271 | 162.833 | 2.309 | 151.167 | -1.866 | 889.8 | 23.648 | 1.3266
2019-03-22 02:45:00 | 3.66 | 214.533 | 1.761 | 183.55 | 1.836 | 162.1 | 2.577 | 150 | -1.895 | 889.733 | 23.621 | 0.79441
2019-03-22 03:00:00 | 3.795 | 211.253 | 2.126 | 180.172 | 2.016 | 171.033 | 2.607 | 151.6 | -2.131 | 889.983 | 23.803 | 0.36097
2019-03-22 03:15:00 | 3.77 | 214.693 | 1.17 | 163.657 | 0.916 | 146.033 | 2.526 | 141.7 | -2.194 | 890.183 | 23.872 | 0.13288
2019-03-22 03:30:00 | 4.737 | 220.7 | 1.496 | 184.267 | 1.354 | 162.033 | 2.15 | 145.867 | -3.371 | 889.8 | 24.48 | 0.10801
2019-03-22 03:45:00 | 5.57 | 222.913 | 2.053 | 198.546 | 1.744 | 175.667 | 2.216 | 157.033 | -5.674 | 889.233 | 26.747 | 0.16983
2019-03-22 04:00:00 | 4.779 | 229.113 | 1.636 | 204.769 | 1.079 | 182 | 2.143 | 158.467 | -4.46 | 890.167 | 26.645 | 0.32615
2019-03-22 04:15:00 | 6.237 | 225.253 | 2.146 | 218.634 | 0.511 | 186.5 | 1.486 | 158 | -7.068 | 889.983 | 28.448 | 0.29702
2019-03-22 04:30:00 | 5.923 | 224.76 | 2.936 | 224.486 | 0.804 | 213.867 | 1.204 | 158 | -6.409 | 889.883 | 29.371 | 0.28423
2019-03-22 04:45:00 | 6.534 | 222.433 | 3.587 | 218.872 | 2.137 | 212.567 | 1.953 | 182 | -6.992 | 889.783 | 29.984 | 0.29275
2019-03-22 05:00:00 | 7.468 | 218.213 | 4.168 | 216.846 | 2.523 | 211.067 | 2.514 | 187.033 | -6.933 | 889.833 | 30.448 | 0.30128
2019-03-22 05:15:00 | 6.42 | 217.46 | 3.992 | 210.163 | 3.233 | 205.633 | 3.16 | 188.333 | -6.873 | 889.717 | 30.731 | 0.30696
2019-03-22 05:30:00 | 6.78 | 219.34 | 4.289 | 210.304 | 3.252 | 203.933 | 3.196 | 187.933 | -7.111 | 889.583 | 30.512 | 0.29489
2019-03-22 05:45:00 | 6.928 | 219.727 | 4.117 | 215.325 | 2.637 | 208.667 | 2.554 | 188.067 | -6.972 | 889.783 | 30.901 | 0.27712
2019-03-22 06:00:00 | 6.762 | 219.513 | 4.769 | 217.088 | 3.015 | 214.633 | 2.433 | 194.1 | -6.668 | 889.8 | 30.928 | 0.29844
2019-03-22 06:15:00 | 7.149 | 216.753 | 4.617 | 212.147 | 3.089 | 209.4 | 2.468 | 193.1 | -6.322 | 889.683 | 30.981 | 0.29702
2019-03-22 06:30:00 | 5.66 | 215.453 | 5.484 | 207.911 | 3.493 | 207.667 | 2.293 | 196.6 | -6.952 | 890.05 | 32.059 | 0.24372
2019-03-22 06:45:00 | 6.804 | 215.867 | 5.252 | 204.149 | 3.706 | 206 | 3.383 | 194.633 | -7.091 | 889.817 | 33.019 | 0.14211
2019-03-22 07:00:00 | 7.224 | 219.033 | 4.748 | 199.251 | 3.278 | 195.233 | 2.626 | 190.867 | -6.694 | 889.783 | 33.883 | 0.18617
2019-03-22 07:15:00 | 7.363 | 218.78 | 4.792 | 206.608 | 3.457 | 200.1 | 2.773 | 187.9 | -6.568 | 890.067 | 33.909 | 0.15348
2019-03-22 07:30:00 | 7.112 | 217.16 | 4.571 | 207.311 | 3.101 | 202.4 | 2.554 | 188 | -6.873 | 889.983 | 34.747 | 0.16059
2019-03-22 07:45:00 | 6.907 | 219.1 | 5.112 | 212.888 | 3.519 | 211 | 2.414 | 193.9 | -6.695 | 889.717 | 34.512 | 0.20962
2019-03-22 08:00:00 | 6.688 | 219.247 | 4.587 | 212.373 | 3.387 | 209.2 | 2.557 | 196.333 | -6.037 | 889.433 | 32.939 | 0.10374
2019-03-22 08:15:00 | 6.022 | 220.567 | 4.242 | 216.91 | 2.722 | 214.267 | 2.169 | 197.733 | -5.202 | 889.417 | 31.621 | 0.23591
2019-03-22 08:30:00 | 6.182 | 220.933 | 4.244 | 217.86 | 2.618 | 217.9 | 1.999 | 195.467 | -3.823 | 889.767 | 29.413 | 0.2487
2019-03-22 08:45:00 | 5.523 | 222.353 | 3.923 | 217.406 | 2.216 | 214.467 | 1.697 | 192 | -2.899 | 889.733 | 28.043 | 0.32047
2019-03-22 09:00:00 | 4.526 | 224.927 | 3.452 | 216.687 | 1.956 | 216.933 | 1.572 | 191.533 | -1.319 | 889.683 | 26.405 | 0.32544
2019-03-22 09:15:00 | 3.78 | 224.5 | 3.297 | 212.356 | 1.97 | 210.767 | 1.828 | 199.2 | 0.482 | 889.6 | 24.848 | 0.30412
2019-03-22 09:30:00 | 3.32 | 215.18 | 3.172 | 208.837 | 3.197 | 209.367 | 3.059 | 196.767 | 2.164 | 889.85 | 22.949 | 0.14709
2019-03-22 09:45:00 | 2.447 | 207.773 | 2.279 | 202.233 | 2.183 | 204 | 2.644 | 197.867 | 3.709 | 889.35 | 20.072 | 0.22596
2019-03-22 10:00:00 | 1.754 | 175.767 | 1.479 | 185.048 | 1.203 | 178.167 | 1.811 | 170.7 | 4.553 | 889.733 | 17.96 | 0.28849
2019-03-22 10:15:00 | 1.355 | 159.02 | 1.253 | 148.589 | 1.194 | 150.133 | 1.778 | 145.033 | 4.299 | 889.3 | 16.941 | 0.23022
2019-03-22 10:30:00 | 2.696 | 129.487 | 2.746 | 127.025 | 2.767 | 134.7 | 3.055 | 130.033 | 4.899 | 889.167 | 16.376 | 0.25936
2019-03-22 10:45:00 | 2.921 | 100.37 | 3.148 | 102.752 | 3.196 | 106.367 | 3.375 | 102.267 | 4.44 | 889.767 | 16.965 | 0.093795
2019-03-22 11:00:00 | 2.876 | 80.728 | 2.618 | 85.223 | 2.527 | 98.667 | 3 | 91.5 | 4.902 | 889.567 | 16.891 | 0.18119
2019-03-22 11:15:00 | 2.856 | 99.35 | 3.108 | 98.098 | 3.063 | 104.067 | 3.365 | 104.4 | 5.161 | 889.467 | 16.669 | 0.57201
2019-03-22 11:30:00 | 2.584 | 110.167 | 2.57 | 101.803 | 2.766 | 105.1 | 2.799 | 96.2 | 5.392 | 889.367 | 16.349 | 0.75889
2019-03-22 11:45:00 | 3.345 | 77.88 | 3.34 | 71.816 | 3.602 | 74.6 | 3.754 | 72.833 | 5.488 | 889.5 | 16.064 | 1.122
2019-03-22 12:00:00 | 2.995 | 128.287 | 2.555 | 115.821 | 2.738 | 117.967 | 3.029 | 108.433 | 5.517 | 889.633 | 15.653 | 0.83207
2019-03-22 12:15:00 | 3.323 | 78.26 | 3.37 | 70.086 | 3.562 | 74.567 | 3.887 | 70.333 | 6.038 | 889.4 | 15.155 | 0.79157
2019-03-22 12:30:00 | 2.374 | 59.911 | 2.283 | 44.169 | 2.59 | 54.3 | 3.006 | 54.467 | 5.978 | 889.3 | 15.04 | 0.59901
2019-03-22 12:45:00 | 3.52 | 98.107 | 3.523 | 94.019 | 3.364 | 96.033 | 3.549 | 88.667 | 6.433 | 889.533 | 14.08 | 0.62175
2019-03-22 13:00:00 | 2.794 | 58.39 | 2.556 | 52.615 | 2.744 | 58.433 | 2.872 | 55.667 | 6.373 | 889.667 | 13.971 | 0.45405
2019-03-22 13:15:00 | 2.998 | 52.774 | 3.459 | 52.562 | 3.898 | 54.967 | 3.963 | 54.233 | 7.086 | 889.6 | 13.416 | 1.4339
2019-03-22 13:30:00 | 3.994 | 114.658 | 4.098 | 113.598 | 4.147 | 121.633 | 4.265 | 113.333 | 6.846 | 889.267 | 13.971 | 1.645
2019-03-22 13:45:00 | 4.237 | 49.052 | 4.143 | 42.37 | 3.832 | 48.267 | 3.823 | 49.3 | 6.946 | 889.367 | 13.915 | 2.0024
2019-03-22 14:00:00 | 3.853 | 66.901 | 3.576 | 50.236 | 3.648 | 52.233 | 3.64 | 56.3 | 7.102 | 889.8 | 13.925 | 1.5512
2019-03-22 14:15:00 | 2.139 | 161.181 | 1.782 | 162.977 | 2.004 | 75.202 | 2.458 | 70.4 | 7.106 | 889.433 | 13.211 | 1.3131
2019-03-22 14:30:00 | 2.313 | 63.527 | 2.041 | 68.122 | 2.269 | 81.6 | 2.532 | 72.467 | 6.687 | 889.433 | 12.819 | 1.1604
2019-03-22 14:45:00 | 3.496 | 53.803 | 3.402 | 48.766 | 3.479 | 51.5 | 3.67 | 50.933 | 7.506 | 889.3 | 12.52 | 2.6092
2019-03-22 15:00:00 | 4.778 | 89.195 | 5.152 | 85.763 | 5.059 | 93 | 5.137 | 90.733 | 7.673 | 889.1 | 11.984 | 1.2648
2019-03-22 15:15:00 | 3.036 | 157.065 | 2.827 | 154.604 | 2.814 | 143.133 | 3.037 | 104.242 | 7.529 | 889.8 | 12.337 | 1.3003
2019-03-22 15:30:00 | 2.511 | 77.675 | 2.372 | 76.03 | 2.69 | 85.6 | 2.977 | 85.867 | 7.206 | 889.5 | 12.501 | 2.4166
2019-03-22 15:45:00 | 4.94 | 62.873 | 5.096 | 58.829 | 4.944 | 62.433 | 4.961 | 60.8 | 7.459 | 889.733 | 11.723 | 1.8453
2019-03-22 16:00:00 | 3.045 | 110.667 | 2.837 | 106.52 | 2.85 | 113.667 | 2.957 | 108.833 | 7.559 | 889.4 | 11.915 | 0.94576
2019-03-22 16:15:00 | 3.626 | 84.108 | 3.948 | 77.328 | 4.159 | 80.867 | 4.584 | 78.067 | 7.456 | 889.567 | 11.829 | 0.66793
2019-03-22 16:30:00 | 3.253 | 98.985 | 3.237 | 68.776 | 3.733 | 83.1 | 3.958 | 79.667 | 7.816 | 889.233 | 11.515 | 0.90171
2019-03-22 16:45:00 | 2.72 | 112.457 | 2.684 | 78.173 | 2.616 | 81.5 | 3.432 | 68.5 | 8.087 | 889.933 | 11.728 | 0.79441
2019-03-22 17:00:00 | 3.578 | 64.973 | 3.606 | 51.793 | 3.91 | 54.5 | 4.146 | 50.033 | 7.963 | 889.333 | 12.08 | 0.74467
2019-03-22 17:15:00 | 2.616 | 97.167 | 2.604 | 84.383 | 2.505 | 89.967 | 2.556 | 85.433 | 7.629 | 889.5 | 11.568 | 0.69351
2019-03-22 17:30:00 | 1.968 | 57.882 | 1.807 | 41.497 | 2.48 | 38.267 | 2.806 | 36.567 | 7.893 | 889.567 | 11.72 | 0.17551
2019-03-22 17:45:00 | 1.546 | 111.287 | 1.004 | 102.638 | 0.797 | 102.483 | 1.189 | 142.967 | 7.686 | 889.5 | 11.583 | 0.42492
2019-03-22 18:00:00 | 2.903 | 29.545 | 2.921 | 12.198 | 3.121 | 15.767 | 3.275 | 15.9 | 7.913 | 889.433 | 11.504 | 0.6857
2019-03-22 18:15:00 | 2.81 | 84.163 | 2.627 | 74.724 | 2.76 | 80.4 | 2.825 | 72.867 | 7.526 | 889.867 | 11.493 | 0.15704
2019-03-22 18:30:00 | 2.79 | 44.651 | 2.776 | 42.433 | 2.87 | 49 | 3.134 | 48.933 | 8.227 | 889.433 | 10.541 | 0.16272
2019-03-22 18:45:00 | 2.358 | 76.558 | 2.273 | 70.381 | 2.24 | 73.333 | 2.517 | 67.233 | 8.184 | 889.1 | 10.196 | 0.15135
2019-03-22 19:00:00 | 2.552 | 54.547 | 2.255 | 43.288 | 2.516 | 44.667 | 2.627 | 41.633 | 8.541 | 889 | 9.923 | 0.10943
2019-03-22 19:15:00 | 2.805 | 50.903 | 2.814 | 42.389 | 2.985 | 47.133 | 3.067 | 43.033 | 7.993 | 888.933 | 9.599 | 0.12861
2019-03-22 19:30:00 | 3.274 | 52.778 | 3.332 | 45.432 | 3.462 | 51.2 | 3.438 | 48.567 | 7.582 | 888.8 | 9.908 | 0.28209
2019-03-22 19:45:00 | 2.457 | 55.552 | 2.289 | 55.152 | 2.416 | 63.2 | 2.705 | 59.967 | 7.083 | 889.333 | 10.603 | 0.12719
2019-03-22 20:00:00 | 2.167 | 64.985 | 2.463 | 52.77 | 2.746 | 56.2 | 2.873 | 56.2 | 6.419 | 889.367 | 11.877 | 0.14709
2019-03-22 20:15:00 | 2.466 | 71.09 | 2.963 | 63.103 | 3.036 | 70.633 | 3.117 | 65.033 | 6.084 | 889.2 | 12.565 | 0.097348
2019-03-22 20:30:00 | 2.399 | 68.18 | 2.794 | 59.603 | 3.253 | 61.467 | 3.35 | 60.6 | 5.61 | 889.3 | 12.973 | 0.14638
2019-03-22 20:45:00 | 2.02 | 66.163 | 2.414 | 55.336 | 2.857 | 59 | 2.971 | 58.233 | 5.561 | 889.1 | 13.072 | 0.094505
2019-03-22 21:00:00 | 1.747 | 78.82 | 2.754 | 65.208 | 3.103 | 71.3 | 3.307 | 68.8 | 5.171 | 889.567 | 13.072 | 0.38726
2019-03-22 21:15:00 | 1.533 | 105.433 | 2.113 | 72.794 | 2.31 | 76 | 2.53 | 72 | 4.685 | 889.833 | 13.277 | 0.29702
2019-03-22 21:30:00 | 1.384 | 111.5 | 2.501 | 75.888 | 2.434 | 82.8 | 2.488 | 76.433 | 4.635 | 889.7 | 13.389 | 0.16911
2019-03-22 21:45:00 | 1.427 | 131.307 | 1.93 | 89.792 | 2.477 | 86.9 | 2.842 | 81.5 | 4.547 | 888.933 | 13.587 | 0.32331
2019-03-22 22:00:00 | 1.45 | 140.953 | 1.396 | 99.254 | 1.77 | 90.7 | 2.389 | 83.467 | 4.299 | 889.767 | 13.896 | 0.20606
2019-03-22 22:15:00 | 1.372 | 163.533 | 0.737 | 104.527 | 1.533 | 91.333 | 2.166 | 80.233 | 4.122 | 889.333 | 13.829 | 0.071767
2019-03-22 22:30:00 | 1.526 | 178.407 | 0.51 | 110.283 | 0.592 | 96.467 | 1.474 | 83.733 | 3.18 | 889.5 | 14.603 | 0.11867
2019-03-22 22:45:00 | 2.246 | 190.84 | 0.467 | 111.261 | 1.7 | 108.733 | 2.513 | 91.867 | 2.81 | 889.733 | 15.08 | 0.16983
2019-03-22 23:00:00 | 3.091 | 200.88 | 1.26 | 144.489 | 1.536 | 113.133 | 2.068 | 92.067 | 2.415 | 889.667 | 14.883 | 0.2153
2019-03-22 23:15:00 | 3.533 | 212.96 | 1.871 | 145.985 | 1.52 | 138.967 | 2.112 | 103.6 | 2.455 | 889.633 | 15.056 | 0.25225
2019-03-22 23:30:00 | 3.675 | 212.413 | 2.256 | 158.73 | 2.235 | 148.7 | 2.338 | 119.933 | 2.254 | 889.233 | 15.112 | 0.25865
2019-03-22 23:45:00 | 4.29 | 215.467 | 2.236 | 178.986 | 2.398 | 155.1 | 2.616 | 133.8 | 1.818 | 889.5 | 15.325 | 0.28494