## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-23 00:00:00 | 4.643 | 217.513 | 2.474 | 188.381 | 2.294 | 169.867 | 2.664 | 141.5 | 1.239 | 889.633 | 15.779 | 0.26433
2019-03-23 00:15:00 | 5.582 | 220.52 | 2.63 | 190.44 | 2.306 | 174.3 | 2.8 | 142 | -1.892 | 889.467 | 17.496 | 0.28494
2019-03-23 00:30:00 | 5.274 | 222.44 | 2.353 | 194.778 | 1.953 | 166 | 2.439 | 142 | -1.95 | 889.467 | 18.421 | 0.29702
2019-03-23 00:45:00 | 5.133 | 222.1 | 2.149 | 201.245 | 1.809 | 162.067 | 2.271 | 142 | -0.778 | 889.433 | 17.797 | 0.28565
2019-03-23 01:00:00 | 4.94 | 223.567 | 2.251 | 204.372 | 1.438 | 171.233 | 2.064 | 142 | -0.638 | 889.367 | 17.915 | 0.28423
2019-03-23 01:15:00 | 5.512 | 222.38 | 1.982 | 205.733 | 1.504 | 171.567 | 2.099 | 142.067 | -0.736 | 889.6 | 17.531 | 0.27712
2019-03-23 01:30:00 | 5.629 | 217.42 | 2.696 | 207.158 | 1.952 | 184.9 | 2.208 | 142.067 | -3.117 | 889.3 | 19.531 | 0.28565
2019-03-23 01:45:00 | 5.912 | 216.667 | 3.048 | 208.84 | 2.306 | 198 | 2.103 | 143.9 | -3.572 | 889.65 | 20.691 | 0.28423
2019-03-23 02:00:00 | 6.837 | 220.207 | 2.834 | 207.561 | 2.208 | 195.867 | 2.156 | 158.967 | -4.325 | 889.8 | 21.461 | 0.28565
2019-03-23 02:15:00 | 6.976 | 222.453 | 3.096 | 213.128 | 1.998 | 196 | 2.068 | 164.033 | -4.381 | 889.467 | 22.341 | 0.27854
2019-03-23 02:30:00 | 7.117 | 220.453 | 4.141 | 214.618 | 2.505 | 209.267 | 2.276 | 175.133 | -4.729 | 889.75 | 22.763 | 0.29275
2019-03-23 02:45:00 | 6.85 | 223.2 | 4.646 | 220.837 | 3.056 | 217.867 | 2.436 | 188.5 | -4.985 | 889.633 | 22.869 | 0.28991
2019-03-23 03:00:00 | 6.84 | 221.54 | 5.02 | 224.568 | 3.612 | 227.233 | 2.344 | 205.167 | -4.325 | 889.567 | 22.896 | 0.29418
2019-03-23 03:15:00 | 6.988 | 221.06 | 4.091 | 226.468 | 4.062 | 226.233 | 3.114 | 216.967 | -4.583 | 889.833 | 22.875 | 0.26007
2019-03-23 03:30:00 | 6.903 | 225.727 | 5.376 | 231.192 | 3.698 | 234.1 | 2.956 | 223.333 | -4.186 | 889.433 | 22.987 | 0.18972
2019-03-23 03:45:00 | 6.773 | 223.187 | 5.118 | 231.557 | 3.615 | 236.9 | 2.085 | 228 | -4.464 | 889.467 | 23.323 | 0.13288
2019-03-23 04:00:00 | 6.498 | 224.153 | 4.822 | 231.467 | 3.579 | 240.033 | 2.516 | 233 | -4.696 | 889.817 | 23.515 | 0.1073
2019-03-23 04:15:00 | 6.803 | 223.187 | 4.586 | 229.863 | 3.119 | 238.067 | 2.056 | 232.833 | -4.846 | 889.683 | 23.867 | 0.14709
2019-03-23 04:30:00 | 7.166 | 219.227 | 4.574 | 222.991 | 3.296 | 234.433 | 2.187 | 233 | -4.6 | 889.883 | 24.192 | 0.19683
2019-03-23 04:45:00 | 7.134 | 217.92 | 5.262 | 223.716 | 3.472 | 228.667 | 2.472 | 219.867 | -4.463 | 890.067 | 24.56 | 0.17196
2019-03-23 05:00:00 | 7.826 | 217.58 | 7.112 | 219.357 | 5.056 | 224.367 | 3.321 | 215.333 | -4.246 | 890 | 27.728 | 0.56064
2019-03-23 05:15:00 | 6.941 | 218.96 | 5.993 | 213.294 | 4.164 | 219.4 | 2.97 | 212.833 | -4.285 | 889.683 | 29.088 | 0.65656
2019-03-23 05:30:00 | 7.263 | 219.367 | 5.862 | 213.486 | 4.415 | 216.867 | 3.5 | 209.167 | -4.503 | 889.817 | 31.557 | 0.79654
2019-03-23 05:45:00 | 7.29 | 217.867 | 6.185 | 208.634 | 4.596 | 210 | 3.652 | 207.233 | -4.404 | 890 | 32.416 | 2.2525
2019-03-23 06:00:00 | 7.166 | 218.333 | 5.325 | 200.864 | 3.928 | 196.7 | 3.656 | 189.733 | -4.503 | 889.533 | 32.784 | 1.3643
2019-03-23 06:15:00 | 7.25 | 216.147 | 4.4 | 199.55 | 3.25 | 189.1 | 3.054 | 185.967 | -4.444 | 889.5 | 32.672 | 0.27215
2019-03-23 06:30:00 | 7.005 | 214.633 | 5.444 | 196.968 | 3.862 | 195.8 | 3.497 | 181.2 | -4.802 | 889.667 | 34.283 | 0.098058
2019-03-23 06:45:00 | 7.279 | 218.967 | 5.909 | 200.513 | 4.436 | 196.6 | 3.952 | 182.967 | -5.019 | 889.733 | 35.872 | 0.44553
2019-03-23 07:00:00 | 7.097 | 216.693 | 5.613 | 199.71 | 4.344 | 194.7 | 3.687 | 180.9 | -4.6 | 889.783 | 36.373 | 0.70844
2019-03-23 07:15:00 | 6.522 | 217.2 | 5.835 | 200.096 | 4.44 | 199.867 | 3.72 | 186.833 | -4.719 | 889.567 | 37.248 | 0.88821
2019-03-23 07:30:00 | 7.141 | 218.027 | 4.906 | 196.038 | 4.56 | 193.533 | 3.946 | 186 | -4.749 | 889.517 | 38.309 | 1.0431
2019-03-23 07:45:00 | 7.51 | 215.733 | 5.413 | 198.799 | 4.53 | 193.633 | 3.946 | 182.833 | -4.454 | 889.933 | 37.813 | 0.96211
2019-03-23 08:00:00 | 6.655 | 216.56 | 6.3 | 200.531 | 4.852 | 199.233 | 3.976 | 182.133 | -4.483 | 890.033 | 35.957 | 1.0857
2019-03-23 08:15:00 | 6.799 | 217.033 | 6.128 | 211.318 | 5.375 | 203.667 | 4.614 | 192.367 | -3.522 | 889.783 | 34.251 | 1.4481
2019-03-23 08:30:00 | 5.753 | 213.04 | 5.846 | 210.397 | 4.551 | 209.133 | 4.551 | 195.2 | -2.362 | 889.867 | 31.285 | 3.1606
2019-03-23 08:45:00 | 5.012 | 215.347 | 5.11 | 207.784 | 4.201 | 204.733 | 3.926 | 190.867 | -0.755 | 889.65 | 28.091 | 2.4614
2019-03-23 09:00:00 | 4.45 | 211.947 | 5.491 | 207.264 | 4.49 | 205.3 | 3.916 | 192.633 | 0.665 | 889.933 | 24.72 | 1.1092
2019-03-23 09:15:00 | 3.824 | 211.353 | 4.331 | 206.38 | 3.894 | 201.733 | 3.434 | 192.167 | 2.48 | 889.75 | 21.451 | 0.58977
2019-03-23 09:30:00 | 2.669 | 218.373 | 2.11 | 208.835 | 2.321 | 205.5 | 3.008 | 194.1 | 4.325 | 888.833 | 19.195 | 0.1549
2019-03-23 09:45:00 | 1.519 | 204.42 | 1.194 | 195.066 | 1.284 | 191.7 | 1.77 | 188.767 | 6.237 | 889.433 | 17.349 | 0.32118
2019-03-23 10:00:00 | 1.574 | 165.927 | 1.016 | 179.912 | 0.886 | 169.667 | 1.387 | 173.6 | 6.886 | 889.867 | 15.016 | 0.28423
2019-03-23 10:15:00 | 1.342 | 133.887 | 0.739 | 155.07 | 0.979 | 164.2 | 1.677 | 166.467 | 6.214 | 889.733 | 14.704 | 0.2558
2019-03-23 10:30:00 | 1.073 | 110.72 | 1.199 | 136.341 | 1.36 | 131.933 | 1.468 | 131.367 | 7.472 | 890 | 14.419 | 0.096637
2019-03-23 10:45:00 | 2.566 | 136.337 | 2.44 | 130.761 | 2.461 | 138.433 | 2.835 | 137.433 | 6.933 | 889.367 | 14.115 | 0.066793
2019-03-23 11:00:00 | 2.5 | 144.657 | 2.545 | 133.818 | 2.703 | 140.5 | 3.049 | 139.7 | 7.222 | 889.267 | 14.197 | 0.24088
2019-03-23 11:15:00 | 1.788 | 132.417 | 1.755 | 124.528 | 2.197 | 126.267 | 2.595 | 120.167 | 7.566 | 889.733 | 14.013 | 0.27286
2019-03-23 11:30:00 | 2.78 | 109.507 | 2.99 | 106.34 | 3.237 | 110.067 | 3.198 | 109.633 | 8.064 | 889.7 | 14.016 | 0.51445
2019-03-23 11:45:00 | 2.534 | 118.893 | 2.523 | 115.655 | 2.662 | 117.567 | 2.845 | 122.367 | 8.11 | 889.533 | 13.888 | 0.48461
2019-03-23 12:00:00 | 2.819 | 94.507 | 2.574 | 86.311 | 2.684 | 92.367 | 2.793 | 94.367 | 8.31 | 889.3 | 13.685 | 1.0097
2019-03-23 12:15:00 | 2.762 | 117.392 | 2.978 | 111.547 | 3.506 | 124.2 | 3.85 | 120.7 | 8.845 | 889.267 | 13.075 | 1.4517
2019-03-23 12:30:00 | 3.967 | 123.46 | 3.992 | 120.49 | 3.941 | 124.067 | 4.013 | 117.333 | 9.07 | 889.367 | 13.056 | 2.0962
2019-03-23 12:45:00 | 3.518 | 105.593 | 3.989 | 96.157 | 4.054 | 98.333 | 4.284 | 94.967 | 9.149 | 889.467 | 12.917 | 2.369
2019-03-23 13:00:00 | 1.949 | 76.103 | 1.884 | 72.742 | 2.46 | 81.467 | 2.918 | 76.2 | 9.295 | 889.567 | 12.736 | 2.3633
2019-03-23 13:15:00 | 3.884 | 72.56 | 3.916 | 71.499 | 4.092 | 77.333 | 4.28 | 77.033 | 9.751 | 889.267 | 12.141 | 1.5128
2019-03-23 13:30:00 | 4.043 | 95.493 | 4.32 | 89.464 | 4.584 | 91.9 | 4.8 | 88.667 | 10.616 | 889.5 | 11.829 | 1.4737
2019-03-23 13:45:00 | 4.126 | 119.783 | 4.286 | 111.241 | 4.109 | 112.967 | 4.284 | 109.4 | 10.222 | 889.667 | 11.741 | 2.4671
2019-03-23 14:00:00 | 2.564 | 137.255 | 2.52 | 122.841 | 2.796 | 111.7 | 3.743 | 102.433 | 10.241 | 889.5 | 11.496 | 3.2388
2019-03-23 14:15:00 | 3.255 | 98.462 | 3.669 | 94.068 | 3.754 | 97.2 | 3.98 | 93.1 | 11.111 | 889.567 | 10.6 | 3.0782
2019-03-23 14:30:00 | 3.835 | 104.27 | 3.958 | 104.042 | 4.434 | 107.3 | 4.828 | 100.1 | 11.045 | 889.2 | 10.352 | 2.7264
2019-03-23 14:45:00 | 3.357 | 110.027 | 3.797 | 100.972 | 4.113 | 103.6 | 4.445 | 100.933 | 11.045 | 889.067 | 10.303 | 3.9166
2019-03-23 15:00:00 | 2.903 | 160.793 | 2.982 | 149.313 | 2.876 | 150.733 | 2.906 | 137.2 | 10.943 | 889.333 | 10.228 | 3.27
2019-03-23 15:15:00 | 5.481 | 93.073 | 5.525 | 89.694 | 5.589 | 95.5 | 5.778 | 90.933 | 11.736 | 888.933 | 9.903 | 4.2215
2019-03-23 15:30:00 | 3.147 | 82.558 | 3.596 | 73.044 | 3.568 | 86.2 | 4.112 | 93 | 11.89 | 889.067 | 9.747 | 7.1298
2019-03-23 15:45:00 | 5.357 | 77.493 | 5.124 | 71.314 | 5.288 | 76.567 | 5.389 | 74.933 | 11.39 | 889 | 9.905 | 8.9979
2019-03-23 16:00:00 | 6.514 | 65.917 | 6.301 | 62.338 | 6.562 | 67 | 7.102 | 63.433 | 11.582 | 889.367 | 10.152 | 14.6668
2019-03-23 16:15:00 | 6.146 | 59.01 | 6.412 | 53.809 | 6.571 | 57.1 | 6.709 | 57.767 | 11.557 | 889.367 | 10.051 | 22.1597
2019-03-23 16:30:00 | 6.675 | 80.423 | 6.41 | 75.878 | 6.708 | 81 | 6.892 | 75.1 | 11.803 | 889.467 | 10.197 | 26.4928
2019-03-23 16:45:00 | 6.216 | 63.827 | 6.115 | 55.873 | 6.27 | 62.7 | 6.331 | 58.5 | 11.457 | 889.5 | 10.355 | 22.4958
2019-03-23 17:00:00 | 7.142 | 68.65 | 6.765 | 66.84 | 6.87 | 72.867 | 6.894 | 69.533 | 11.295 | 888.733 | 10.197 | 25.331
2019-03-23 17:15:00 | 6.495 | 63.013 | 6.542 | 59.905 | 6.399 | 61.233 | 6.581 | 58.5 | 11.299 | 889.167 | 10.188 | 23.642
2019-03-23 17:30:00 | 5.429 | 59.29 | 5.729 | 56.245 | 6.018 | 64.767 | 6.457 | 63.033 | 11.516 | 889.367 | 10.327 | 23.3819
2019-03-23 17:45:00 | 5.307 | 69.517 | 5.494 | 65.785 | 5.578 | 71.367 | 5.657 | 68.267 | 11.178 | 889.2 | 10.329 | 20.6327
2019-03-23 18:00:00 | 5.644 | 83.595 | 5.874 | 76.757 | 6.281 | 81 | 6.602 | 76.867 | 11.045 | 889.633 | 10.401 | 20.8359
2019-03-23 18:15:00 | 6.412 | 70.603 | 6.605 | 66.279 | 6.74 | 71.433 | 6.954 | 69 | 11.028 | 889.8 | 10.551 | 22.6443
2019-03-23 18:30:00 | 5.649 | 86.333 | 5.455 | 77.881 | 5.406 | 86.667 | 5.764 | 81.1 | 11.211 | 889.067 | 10.047 | 26.6732
2019-03-23 18:45:00 | 6.159 | 81.357 | 6.251 | 75.913 | 6.213 | 81.033 | 6.547 | 76 | 11.011 | 889 | 10.176 | 24.3945
2019-03-23 19:00:00 | 5.551 | 84.9 | 5.528 | 80.955 | 5.281 | 85.833 | 5.303 | 82.533 | 11.061 | 889.2 | 10.032 | 23.2831
2019-03-23 19:15:00 | 5.647 | 76.55 | 5.802 | 73.313 | 6.027 | 80.5 | 6.076 | 75.967 | 10.718 | 889.133 | 10.123 | 19.3828
2019-03-23 19:30:00 | 5.719 | 84.443 | 5.907 | 80.214 | 6.037 | 84.267 | 6.258 | 81.7 | 10.426 | 889.433 | 10.864 | 18.2395
2019-03-23 19:45:00 | 4.759 | 82.267 | 5.265 | 78.52 | 5.217 | 83.367 | 5.16 | 79.033 | 9.762 | 889.367 | 11.008 | 16.8383
2019-03-23 20:00:00 | 4.27 | 81.933 | 4.984 | 75.987 | 5.17 | 80.933 | 5.431 | 77.433 | 9.204 | 889.3 | 11.157 | 14.2099
2019-03-23 20:15:00 | 4.004 | 91.52 | 4.352 | 86.471 | 3.737 | 92.867 | 3.537 | 89.4 | 8.421 | 890.167 | 11.363 | 11.919
2019-03-23 20:30:00 | 3.43 | 101.467 | 4.085 | 89.201 | 3.531 | 97.2 | 3.034 | 93.467 | 7.656 | 889.433 | 11.608 | 12.2608
2019-03-23 20:45:00 | 3.555 | 98.967 | 3.969 | 90.218 | 3.283 | 95.833 | 3.12 | 89.667 | 7.256 | 889.367 | 11.875 | 14.0898
2019-03-23 21:00:00 | 2.421 | 97.997 | 3.61 | 90.722 | 2.868 | 102.167 | 2.883 | 92.3 | 7.086 | 889.8 | 12.091 | 14.05
2019-03-23 21:15:00 | 2.727 | 101.707 | 3.381 | 95.265 | 2.639 | 103.333 | 2.745 | 94.967 | 6.781 | 889.533 | 12.315 | 12.8065
2019-03-23 21:30:00 | 2.669 | 106.117 | 2.838 | 93.242 | 2.678 | 100.133 | 2.787 | 98.7 | 6.609 | 889.467 | 12.584 | 9.9643
2019-03-23 21:45:00 | 2.1 | 122.17 | 3.749 | 106.25 | 3.46 | 106.1 | 2.809 | 96.867 | 6.425 | 889.133 | 12.597 | 9.4854
2019-03-23 22:00:00 | 0.227 | 128.1 | 2.525 | 101.305 | 2.542 | 97.567 | 2.739 | 90.667 | 5.081 | 889.667 | 13.485 | 9.8691
2019-03-23 22:15:00 | 2.054 | 154.507 | 3.402 | 113.81 | 3.744 | 111.733 | 3.386 | 105.833 | 5.55 | 889.367 | 13.589 | 5.4337
2019-03-23 22:30:00 | 2.893 | 200.467 | 1.27 | 134.556 | 1.472 | 144.6 | 2.006 | 127.067 | 5.514 | 889.267 | 13.552 | 0.8946
2019-03-23 22:45:00 | 5.618 | 229.533 | 4.047 | 214.737 | 3.734 | 214.8 | 3.549 | 201.533 | 3.622 | 889.733 | 13.88 | 0.30128
2019-03-23 23:00:00 | 5.712 | 227.227 | 4.476 | 234.47 | 4.426 | 242.533 | 4.434 | 232.133 | 1.312 | 889.433 | 15.427 | 6.906
2019-03-23 23:15:00 | 6.343 | 228.593 | 6.13 | 238.139 | 5.199 | 248.467 | 4.417 | 245.333 | 0.832 | 889.1 | 16.419 | 8.1886
2019-03-23 23:30:00 | 5.626 | 231.107 | 6.062 | 242.488 | 5.734 | 249.767 | 5.42 | 245.167 | 0.715 | 889.633 | 17.376 | 11.3222
2019-03-23 23:45:00 | 5.927 | 233.713 | 5.437 | 248.829 | 4.766 | 262.333 | 4.501 | 261.6 | 0.665 | 889.833 | 18.152 | 10.9562