## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-24 00:00:00 | 5.668 | 229.667 | 5.094 | 247.002 | 4.733 | 256.9 | 4.334 | 258.75 | 0.882 | 889.333 | 18.448 | 8.7847
2019-03-24 00:15:00 | 5.882 | 225.267 | 5.181 | 238.379 | 4.591 | 248.667 | 4.165 | 246.233 | 0.915 | 889.133 | 18.579 | 6.1791
2019-03-24 00:30:00 | 5.912 | 228.633 | 4.979 | 236.511 | 4.511 | 241.667 | 4.166 | 241.9 | 0.449 | 889.567 | 19.333 | 5.6952
2019-03-24 00:45:00 | 5.917 | 222.5 | 4.957 | 229.761 | 4.762 | 235.833 | 4.541 | 230.133 | 0.333 | 889.383 | 20.523 | 6.1457
2019-03-24 01:00:00 | 6.084 | 227.133 | 5.901 | 232.282 | 5.526 | 238.1 | 4.998 | 233.433 | 0.882 | 889.883 | 20.189 | 8.9553
2019-03-24 01:15:00 | 6.011 | 237.993 | 5.865 | 245.974 | 5.89 | 252.967 | 5.823 | 249.5 | 1.656 | 889.367 | 20.173 | 10.6017
2019-03-24 01:30:00 | 5.882 | 229.24 | 4.985 | 234.774 | 5.083 | 243.833 | 5.168 | 243.533 | 1.58 | 889.467 | 19.608 | 10.8006
2019-03-24 01:45:00 | 5.899 | 213.3 | 5.779 | 227.685 | 4.979 | 240.3 | 4.614 | 240.3 | 0.569 | 889.367 | 19.864 | 6.9486
2019-03-24 02:00:00 | 4.909 | 231.453 | 5.341 | 245.284 | 5.295 | 251.6 | 5.359 | 246.7 | 0.067 | 889.367 | 20.912 | 4.6734
2019-03-24 02:15:00 | 5.969 | 233.8 | 6.334 | 235.549 | 6.058 | 247.3 | 5.656 | 243.6 | -0.805 | 889.567 | 21.739 | 5.8757
2019-03-24 02:30:00 | 6.074 | 237.887 | 6.304 | 232.904 | 5.635 | 237.6 | 5.025 | 231.133 | -0.922 | 889.933 | 21.845 | 5.698
2019-03-24 02:45:00 | 5.81 | 238.6 | 5.81 | 236.076 | 5.378 | 243.567 | 5.33 | 237.433 | -1.286 | 889.433 | 22.384 | 6.4342
2019-03-24 03:00:00 | 4.546 | 238.307 | 6.522 | 225.271 | 6.308 | 230.233 | 5.882 | 225.9 | -0.875 | 889.817 | 22.512 | 8.4124
2019-03-24 03:15:00 | 5.879 | 230.4 | 7.118 | 231.283 | 6.826 | 235.1 | 6.457 | 227.9 | -0.738 | 889.583 | 22.768 | 11.9041
2019-03-24 03:30:00 | 5.202 | 230.633 | 6.878 | 224.755 | 6.931 | 227.7 | 6.682 | 223.5 | -0.419 | 889.55 | 22.213 | 20.6988
2019-03-24 03:45:00 | 6.708 | 238.8 | 7.15 | 239.23 | 6.783 | 241.967 | 6.611 | 232.733 | -0.638 | 889.633 | 22.043 | 27.0427
2019-03-24 04:00:00 | 5.883 | 231.973 | 7.382 | 227.479 | 7.002 | 231.367 | 6.534 | 226.867 | -0.402 | 889.967 | 21.803 | 21.4968
2019-03-24 04:15:00 | 6.708 | 226.16 | 7.644 | 224.638 | 7.458 | 230.833 | 7.388 | 227.4 | -1.099 | 889.75 | 22.613 | 23.8232
2019-03-24 04:30:00 | 6.875 | 215.927 | 7.119 | 225.341 | 6.884 | 233.467 | 6.546 | 231.267 | -0.872 | 889.7 | 22.432 | 29.8019
2019-03-24 04:45:00 | 6.508 | 217.333 | 7.819 | 219.68 | 6.905 | 225.533 | 6.27 | 223.167 | -0.638 | 889.967 | 21.861 | 19.8959
2019-03-24 05:00:00 | 6.255 | 228.267 | 8.007 | 222.997 | 7.166 | 230.033 | 6.705 | 227.867 | -0.478 | 889.6 | 22.144 | 19.7502
2019-03-24 05:15:00 | 5.481 | 226.073 | 7.467 | 223.735 | 7.175 | 230.6 | 6.809 | 227.967 | -1.082 | 889.6 | 22.56 | 22.6422
2019-03-24 05:30:00 | 6.288 | 220.36 | 7.184 | 223.326 | 6.9 | 231.967 | 6.586 | 230.267 | -0.855 | 889.683 | 22.347 | 21.8826
2019-03-24 05:45:00 | 6.289 | 218.76 | 6.566 | 225.776 | 6.128 | 235.5 | 5.564 | 236.267 | -0.788 | 889.95 | 22.581 | 18.0789
2019-03-24 06:00:00 | 6.41 | 212.693 | 5.857 | 217.57 | 4.758 | 228.633 | 4.2 | 232.233 | -1.182 | 890.017 | 22.603 | 12.1216
2019-03-24 06:15:00 | 6.111 | 223.22 | 6.05 | 224.57 | 4.897 | 239.5 | 4.176 | 247.533 | -1.456 | 889.367 | 23.131 | 4.6897
2019-03-24 06:30:00 | 6.283 | 229.72 | 6.079 | 231.57 | 5.348 | 244.333 | 4.791 | 242.6 | -1.432 | 889.55 | 23.28 | 7.3316
2019-03-24 06:45:00 | 6.564 | 223.74 | 5.919 | 229.437 | 6.002 | 242 | 5.97 | 241.367 | -1.984 | 889.483 | 23.723 | 8.8096
2019-03-24 07:00:00 | 5.896 | 221.187 | 6.188 | 228.892 | 5.64 | 240 | 5.27 | 237.433 | -1.74 | 889.917 | 23.717 | 9.2971
2019-03-24 07:15:00 | 6.881 | 219.247 | 6.165 | 225.467 | 5.618 | 234.6 | 4.808 | 232.9 | -1.773 | 890.083 | 23.621 | 9.2274
2019-03-24 07:30:00 | 6.651 | 220.607 | 6.865 | 221.129 | 6.078 | 227.933 | 5.215 | 228.3 | -1.289 | 889.783 | 23.557 | 10.3657
2019-03-24 07:45:00 | 6.553 | 217.86 | 6.703 | 217.741 | 6.063 | 224.333 | 5.402 | 223.5 | -1.312 | 890.117 | 23.136 | 10.6372
2019-03-24 08:00:00 | 6.393 | 217.52 | 6.993 | 217.358 | 6.251 | 222.6 | 5.406 | 222.8 | -1.232 | 889.917 | 22.747 | 10.8219
2019-03-24 08:15:00 | 6.721 | 219.693 | 6.622 | 221.194 | 5.581 | 230.033 | 5.12 | 231.3 | -0.319 | 889.1 | 23.413 | 11.2781
2019-03-24 08:30:00 | 6.029 | 221.54 | 6.74 | 218.559 | 6.092 | 226.767 | 5.344 | 226.633 | 0.349 | 889.417 | 23.429 | 8.6135
2019-03-24 08:45:00 | 5.376 | 217.5 | 6.563 | 216.238 | 5.998 | 224.8 | 5.311 | 223.967 | 1.149 | 889.75 | 22.795 | 8.3676
2019-03-24 09:00:00 | 5.012 | 221.02 | 6.638 | 215.52 | 6.17 | 220.5 | 5.668 | 219.433 | 2.221 | 889.75 | 21.749 | 7.991
2019-03-24 09:15:00 | 4.332 | 217.76 | 5.334 | 215.248 | 5.658 | 223.8 | 5.333 | 219.567 | 3.818 | 889.867 | 20.608 | 7.132
2019-03-24 09:30:00 | 4.479 | 233.293 | 4.938 | 228.062 | 5.607 | 229.767 | 5.681 | 222.967 | 5.709 | 889.767 | 18.949 | 6.3653
2019-03-24 09:45:00 | 4.57 | 233.693 | 4.445 | 226.634 | 4.548 | 229.033 | 4.79 | 222.4 | 6.969 | 889.367 | 16.76 | 6.0206
2019-03-24 10:00:00 | 4.901 | 231.34 | 4.953 | 228.512 | 4.95 | 231.1 | 5.046 | 226.667 | 7.669 | 889.533 | 15.432 | 5.703
2019-03-24 10:15:00 | 4.173 | 242.733 | 4.119 | 238.488 | 4.451 | 246.133 | 4.481 | 242.367 | 8.227 | 889.167 | 14.027 | 5.9254
2019-03-24 10:30:00 | 4.181 | 255.9 | 4.436 | 252.47 | 4.416 | 255.05 | 4.383 | 251.95 | 9.216 | 889.667 | 13.003 | 4.4346
2019-03-24 10:45:00 | 3.773 | 270.793 | 3.971 | 269.843 | 4.07 | 274.833 | 4.175 | 272.3 | 8.783 | 889.5 | 13.043 | 3.5436
2019-03-24 11:00:00 | 4.345 | 265.42 | 4.458 | 264.434 | 4.599 | 276.733 | 4.808 | 273.7 | 9.212 | 889.433 | 13.121 | 3.6871
2019-03-24 11:15:00 | 3.943 | 286.56 | 4.426 | 285.945 | 4.577 | 292.733 | 4.961 | 292.167 | 8.674 | 889.6 | 13.097 | 3.7795
2019-03-24 11:30:00 | 4.855 | 292.587 | 5.046 | 290.421 | 5.212 | 293.8 | 5.46 | 289.967 | 9.333 | 889.133 | 13.307 | 4.5725
2019-03-24 11:45:00 | 4.589 | 311.427 | 4.621 | 299.953 | 4.685 | 303.667 | 4.794 | 296.367 | 9.337 | 889.433 | 13.633 | 8.0045
2019-03-24 12:00:00 | 4.6 | 300.027 | 4.985 | 296.297 | 5.201 | 304.6 | 5.529 | 302.367 | 9.745 | 889.633 | 13.845 | 10.2052
2019-03-24 12:15:00 | 4.775 | 310.587 | 5.152 | 307.821 | 5.341 | 316.167 | 5.529 | 314.467 | 9.772 | 889.567 | 14.289 | 8.4017
2019-03-24 12:30:00 | 4.805 | 281.4 | 4.925 | 288.36 | 5.018 | 281.1 | 5.32 | 280.233 | 10.155 | 889.233 | 14.189 | 8.1232
2019-03-24 12:45:00 | 4.973 | 318.267 | 4.906 | 313.821 | 4.891 | 315.6 | 5.04 | 325.133 | 10.349 | 889.567 | 13.532 | 6.0384
2019-03-24 13:00:00 | 4.533 | 304.19 | 4.813 | 310.624 | 5.209 | 316.733 | 5.416 | 316.4 | 10.911 | 889.333 | 13.159 | 5.5282
2019-03-24 13:15:00 | 4.132 | 293.96 | 4.126 | 294.591 | 4.484 | 308.9 | 4.989 | 309.5 | 11.045 | 889.433 | 11.993 | 8.2291
2019-03-24 13:30:00 | 5.255 | 322.933 | 5.545 | 315.439 | 5.643 | 318.433 | 5.938 | 316.667 | 11.482 | 889.433 | 11.592 | 9.1102
2019-03-24 13:45:00 | 4.357 | 309.293 | 4.666 | 301.136 | 4.888 | 305.2 | 5.205 | 303.467 | 11.445 | 889.6 | 11.008 | 7.5498
2019-03-24 14:00:00 | 4.24 | 260.067 | 4.517 | 304.927 | 4.409 | 272.467 | 4.379 | 262 | 11.924 | 889.567 | 10.912 | 6.297
2019-03-24 14:15:00 | 3.027 | 309.4 | 3.307 | 309.761 | 3.436 | 316.833 | 3.681 | 304.033 | 11.578 | 889.767 | 10.591 | 4.7089
2019-03-24 14:30:00 | 4.327 | 323.76 | 4.208 | 315.792 | 5.009 | 319.5 | 5.274 | 314.633 | 12.195 | 889.567 | 10.231 | 7.7793
2019-03-24 14:45:00 | 2.53 | 275.16 | 2.721 | 311.457 | 2.887 | 299.767 | 3.26 | 306.6 | 12.468 | 889.333 | 10.175 | 9.7674
2019-03-24 15:00:00 | 3.473 | 297.507 | 3.631 | 297.214 | 3.577 | 296.267 | 3.938 | 296.7 | 12.236 | 889.2 | 10.137 | 9.0562
2019-03-24 15:15:00 | 3.917 | 269.727 | 4.208 | 265.875 | 4.284 | 278.217 | 4.439 | 276.033 | 12.872 | 888.667 | 9.515 | 8.072
2019-03-24 15:30:00 | 4.55 | 202.864 | 4.837 | 289.075 | 5.187 | 255.067 | 5.282 | 278.233 | 12.353 | 888.933 | 9.824 | 7.5817
2019-03-24 15:45:00 | 5.205 | 274.547 | 5.778 | 304.077 | 5.919 | 306.6 | 6.154 | 303.033 | 12.509 | 889.4 | 10.228 | 9.3269
2019-03-24 16:00:00 | 5.136 | 294.32 | 5.463 | 291.358 | 5.777 | 297.833 | 5.916 | 293.767 | 12.747 | 888.833 | 10.055 | 14.5538
2019-03-24 16:15:00 | 6.075 | 322.92 | 6.409 | 328.925 | 6.142 | 332.467 | 6.021 | 329.867 | 12.318 | 889.1 | 10.036 | 15.3077
2019-03-24 16:30:00 | 4.479 | 316.533 | 4.543 | 321.267 | 4.808 | 330.033 | 4.786 | 320.733 | 13.205 | 889.133 | 10.083 | 21.3781
2019-03-24 16:45:00 | 6.628 | 308.547 | 6.771 | 306.157 | 6.896 | 311.833 | 7.266 | 309.7 | 13.216 | 889 | 9.435 | 17.4409
2019-03-24 17:00:00 | 4.955 | 289.68 | 5.075 | 284.636 | 5.188 | 285.6 | 5.287 | 282.9 | 13.012 | 889 | 9.683 | 21.9167
2019-03-24 17:15:00 | 6.267 | 295.667 | 6.586 | 290.723 | 6.954 | 294.067 | 7.262 | 289.933 | 13.178 | 889 | 9.305 | 24.899
2019-03-24 17:30:00 | 4.481 | 314.547 | 4.998 | 309.062 | 5.462 | 311.5 | 5.786 | 309.7 | 12.928 | 889.133 | 9.67 | 26.4686
2019-03-24 17:45:00 | 7.049 | 316.36 | 7.597 | 308.191 | 7.918 | 315 | 8.125 | 313.333 | 12.855 | 888.933 | 9.702 | 29.2313
2019-03-24 18:00:00 | 7.693 | 318.387 | 7.795 | 312.906 | 8.06 | 317.233 | 8.28 | 316.1 | 12.659 | 889.033 | 10.075 | 31.8902
2019-03-24 18:15:00 | 6.72 | 307.2 | 7.018 | 301.856 | 7.297 | 306.367 | 7.573 | 303.9 | 12.797 | 889.333 | 10.107 | 38.9867
2019-03-24 18:30:00 | 7.616 | 313.547 | 7.998 | 307.555 | 8.432 | 313.667 | 8.831 | 311.633 | 12.784 | 889.4 | 10.158 | 39.0421
2019-03-24 18:45:00 | 8.079 | 306 | 8.719 | 302.435 | 9.176 | 307.6 | 9.389 | 305 | 12.403 | 889.333 | 10.563 | 45.5992
2019-03-24 19:00:00 | 7.681 | 306.747 | 8.509 | 301.743 | 8.86 | 307.8 | 9.252 | 305.633 | 12.551 | 889.5 | 11.213 | 46.7574
2019-03-24 19:15:00 | 6.559 | 302.2 | 7.242 | 298.339 | 7.639 | 303.5 | 8.103 | 301.967 | 12.166 | 889.3 | 11.785 | 42.3768
2019-03-24 19:30:00 | 5.842 | 300.92 | 6.543 | 297.788 | 6.763 | 304.233 | 7.398 | 301.4 | 12.274 | 889.667 | 12.076 | 40.6316
2019-03-24 19:45:00 | 6.642 | 295.72 | 7.475 | 291.873 | 7.769 | 297.1 | 8.241 | 295.267 | 11.766 | 889.633 | 12.759 | 37.6053
2019-03-24 20:00:00 | 6.198 | 291.933 | 7.447 | 287.584 | 8.19 | 293.233 | 8.723 | 291.167 | 11.145 | 889.1 | 13.289 | 37.4959
2019-03-24 20:15:00 | 5.566 | 291.227 | 6.89 | 287.305 | 7.76 | 292.2 | 8.214 | 289.933 | 10.235 | 889.4 | 14 | 36.1529
2019-03-24 20:30:00 | 5.728 | 283.867 | 6.928 | 283.917 | 7.316 | 289.3 | 7.884 | 288.3 | 10.397 | 889.667 | 14.279 | 33.9665
2019-03-24 20:45:00 | 5.017 | 278.627 | 6.623 | 281.962 | 7.249 | 287.167 | 7.883 | 285.833 | 9.806 | 889.667 | 15.017 | 28.5982
2019-03-24 21:00:00 | 4.717 | 265.707 | 5.818 | 270.049 | 6.239 | 277.633 | 6.6 | 275.267 | 9.141 | 889.6 | 15.536 | 22.0332
2019-03-24 21:15:00 | 4.515 | 266.267 | 5.788 | 270.402 | 6.192 | 278.6 | 6.58 | 276.133 | 8.407 | 889.4 | 16.34 | 19.8809
2019-03-24 21:30:00 | 4.546 | 248.213 | 5.322 | 259.212 | 5.421 | 270.533 | 5.789 | 269.633 | 8.1 | 889.733 | 17.085 | 20.8068
2019-03-24 21:45:00 | 5.183 | 246.767 | 5.198 | 257.492 | 5.327 | 266.8 | 5.617 | 265.467 | 7.122 | 889.833 | 17.507 | 16.4098
2019-03-24 22:00:00 | 5.288 | 237.533 | 5.792 | 250.596 | 6.143 | 263.467 | 6.345 | 263.133 | 7.322 | 889.333 | 17.516 | 16.4184
2019-03-24 22:15:00 | 5.328 | 233.633 | 5.879 | 246.428 | 6.141 | 256.933 | 6.374 | 256.833 | 6.31 | 889.467 | 18.48 | 20.88
2019-03-24 22:30:00 | 5.117 | 226.24 | 5.328 | 241.971 | 5.486 | 256 | 5.746 | 256.483 | 5.518 | 889.2 | 19.467 | 17.8963
2019-03-24 22:45:00 | 5.713 | 223.467 | 5.509 | 232.909 | 5.116 | 245.367 | 5.198 | 246.333 | 4.985 | 889.667 | 20.152 | 14.853
2019-03-24 23:00:00 | 5.652 | 228 | 5.808 | 242.544 | 5.564 | 254.667 | 5.69 | 253.767 | 4.685 | 890.067 | 20.837 | 18.1294
2019-03-24 23:15:00 | 5.095 | 223.86 | 5.714 | 238.905 | 5.599 | 250.533 | 5.629 | 248.767 | 4.352 | 889.883 | 21.573 | 20.8317
2019-03-24 23:30:00 | 5.171 | 223.813 | 5.689 | 235.893 | 5.482 | 248.833 | 5.603 | 248.533 | 4.246 | 889.833 | 21.995 | 19.5662
2019-03-24 23:45:00 | 5.741 | 222.5 | 6.568 | 233.934 | 6.242 | 246.4 | 5.941 | 245.6 | 3.765 | 889.5 | 22.443 | 17.578