## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-25 00:00:00 | 5.74 | 225.72 | 6.799 | 232.04 | 6.601 | 239.767 | 6.163 | 238.267 | 3.849 | 889.717 | 22.331 | 20.2021
2019-03-25 00:15:00 | 5.225 | 223.407 | 6.421 | 231.413 | 6.153 | 242.133 | 5.842 | 240.833 | 3.759 | 889.983 | 22.501 | 19.5278
2019-03-25 00:30:00 | 5.766 | 220.167 | 6.822 | 227.688 | 6.533 | 235.6 | 6.145 | 232.967 | 3.288 | 890.033 | 22.741 | 16.8589
2019-03-25 00:45:00 | 5.908 | 219 | 7.21 | 226.671 | 7.266 | 233.8 | 7.058 | 230.833 | 3.354 | 889.633 | 23.136 | 24.1024
2019-03-25 01:00:00 | 6.78 | 215.7 | 8.909 | 215.491 | 8.55 | 222.8 | 8.049 | 220.8 | 2.312 | 889.967 | 24.043 | 29.539
2019-03-25 01:15:00 | 5.947 | 218.053 | 7.309 | 223.904 | 7.343 | 231.6 | 7.355 | 229.467 | 2.578 | 889.5 | 24.533 | 29.2135
2019-03-25 01:30:00 | 5.958 | 216.233 | 7.272 | 222.574 | 6.961 | 233.9 | 6.577 | 232.767 | 2.241 | 889.367 | 24.939 | 25.2727
2019-03-25 01:45:00 | 6.573 | 214.393 | 8.494 | 215.893 | 7.993 | 224.433 | 7.396 | 221.933 | 2.016 | 889.583 | 25.44 | 24.1735
2019-03-25 02:00:00 | 6.334 | 217.16 | 7.837 | 221.474 | 7.385 | 228.633 | 7.203 | 226.5 | 1.933 | 889.517 | 25.941 | 27.7213
2019-03-25 02:15:00 | 5.587 | 216.213 | 7.24 | 223.597 | 7.108 | 234.333 | 6.646 | 232 | 1.829 | 890.067 | 26.405 | 24.8968
2019-03-25 02:30:00 | 6.056 | 216.9 | 7.377 | 224.495 | 7.029 | 234.6 | 6.604 | 232.567 | 1.839 | 889.683 | 26.688 | 22.7225
2019-03-25 02:45:00 | 6.604 | 218.473 | 7.743 | 227.553 | 7.562 | 237.433 | 7.242 | 235.567 | 1.95 | 890.017 | 26.528 | 25.3189
2019-03-25 03:00:00 | 6.645 | 225.933 | 7.621 | 237.536 | 7.729 | 246.833 | 7.621 | 245 | 1.9 | 889.983 | 26.763 | 30.1088
2019-03-25 03:15:00 | 6.489 | 228.927 | 7.973 | 236.729 | 7.897 | 246.833 | 7.761 | 244.867 | 1.759 | 889.633 | 27.445 | 35.7131
2019-03-25 03:30:00 | 7.095 | 221.6 | 7.735 | 228.952 | 7.339 | 239.7 | 7.153 | 238.233 | 2.519 | 890.15 | 27.515 | 36.5373
2019-03-25 03:45:00 | 6.656 | 220.72 | 7.443 | 223.59 | 7.264 | 230.2 | 7.129 | 228.5 | 2.405 | 889.667 | 27.419 | 32.836
2019-03-25 04:00:00 | 7.046 | 218.96 | 7.736 | 223.287 | 7.755 | 230.033 | 7.519 | 228.733 | 1.62 | 889.883 | 27.605 | 28.8426
2019-03-25 04:15:00 | 6.292 | 223.513 | 7.522 | 219.438 | 7.099 | 226.233 | 6.713 | 224.8 | 2.269 | 889.817 | 27.099 | 26.6235
2019-03-25 04:30:00 | 7.442 | 213.233 | 7.702 | 212.783 | 7.248 | 215.967 | 6.864 | 213.1 | 2.496 | 890.233 | 26.171 | 20.3684
2019-03-25 04:45:00 | 6.916 | 215.073 | 7.394 | 214.169 | 7.225 | 217.967 | 6.956 | 214.5 | 2.291 | 889.9 | 25.499 | 22.5413
2019-03-25 05:00:00 | 6.218 | 221.407 | 7.184 | 220.572 | 6.574 | 226.933 | 6.175 | 223.1 | 2.114 | 889.533 | 25.136 | 19.736
2019-03-25 05:15:00 | 6.11 | 224.073 | 5.871 | 225.664 | 5.564 | 234.1 | 5.663 | 230.3 | 1.819 | 889.917 | 25.237 | 16.326
2019-03-25 05:30:00 | 6.775 | 218.98 | 6.548 | 221.823 | 5.935 | 230.2 | 5.968 | 230 | 2.175 | 889.717 | 24.507 | 12.4193
2019-03-25 05:45:00 | 6.019 | 221.113 | 6.087 | 226.552 | 6.048 | 238.167 | 5.953 | 235.667 | 1.673 | 889.783 | 25.045 | 15.2807
2019-03-25 06:00:00 | 6.288 | 220.147 | 6.483 | 227.289 | 6.481 | 235.833 | 6.255 | 232.833 | 2.082 | 890.067 | 24.597 | 17.6341
2019-03-25 06:15:00 | 6.239 | 217.113 | 6.161 | 222.357 | 6.061 | 229.7 | 5.95 | 227.967 | 2.258 | 889.833 | 24.309 | 22.2535
2019-03-25 06:30:00 | 5.638 | 211.667 | 5.955 | 217.606 | 6.144 | 227 | 6.057 | 225.8 | 3.171 | 889.95 | 23.616 | 22.2365
2019-03-25 06:45:00 | 5.065 | 203.253 | 6.196 | 213.93 | 6.894 | 228.133 | 6.978 | 231.2 | 2.593 | 889.517 | 23.995 | 24.8343
2019-03-25 07:00:00 | 5.812 | 209.487 | 7.428 | 223.163 | 8.454 | 236.733 | 8.507 | 236.067 | 1.539 | 889.75 | 25.451 | 32.215
2019-03-25 07:15:00 | 5.582 | 231.413 | 8.185 | 235.647 | 8.496 | 245.267 | 8.438 | 242.6 | 1.842 | 889.517 | 25.973 | 40.2891
2019-03-25 07:30:00 | 6.39 | 233.233 | 8.369 | 238.113 | 8.603 | 248 | 8.446 | 246 | 2.631 | 889.467 | 26.219 | 51.224
2019-03-25 07:45:00 | 6.6 | 234.713 | 8.253 | 240.562 | 8.3 | 249.233 | 8.094 | 249.033 | 2.871 | 889.95 | 27.413 | 51.9211
2019-03-25 08:00:00 | 6.01 | 234.013 | 7.718 | 239.621 | 7.884 | 246.433 | 7.806 | 243.767 | 2.821 | 889.433 | 28.48 | 50.4843
2019-03-25 08:15:00 | 6.312 | 233.24 | 7.974 | 235.852 | 8.28 | 243.933 | 8.099 | 241.5 | 4.06 | 889.433 | 28.741 | 50.2605
2019-03-25 08:30:00 | 6.027 | 228.4 | 7.238 | 231.24 | 7.412 | 239.8 | 7.429 | 238.367 | 5.101 | 889.767 | 28.661 | 47.7295
2019-03-25 08:45:00 | 5.11 | 242.087 | 6.337 | 243.789 | 6.777 | 252.9 | 7.041 | 250.133 | 5.359 | 889.633 | 31.301 | 38.4537
2019-03-25 09:00:00 | 5.034 | 237.06 | 5.655 | 239.208 | 5.956 | 247.133 | 6.38 | 245.283 | 6.466 | 889.367 | 31.627 | 35.6719
2019-03-25 09:15:00 | 7.356 | 251.953 | 8.125 | 251.193 | 8.509 | 255.917 | 8.614 | 252.583 | 7.936 | 889.75 | 28.184 | 39.3562
2019-03-25 09:30:00 | 7.335 | 265.053 | 8.002 | 262.528 | 8.303 | 267.933 | 8.344 | 261.983 | 8.287 | 889.567 | 24.952 | 46.9756
2019-03-25 09:45:00 | 7.678 | 264.833 | 8.272 | 266.067 | 8.504 | 271.633 | 8.897 | 266.833 | 8.741 | 889.933 | 23.445 | 44.2804
2019-03-25 10:00:00 | 8.605 | 267.253 | 9.2 | 267.358 | 9.372 | 270.833 | 9.511 | 266.167 | 9.02 | 889.467 | 22.355 | 48.5495
2019-03-25 10:15:00 | 8.546 | 268.067 | 9.475 | 267.136 | 9.543 | 268.717 | 9.9 | 265.017 | 9.233 | 889.7 | 21.744 | 56.6528
2019-03-25 10:30:00 | 9.571 | 268.407 | 10.371 | 269.947 | 10.88 | 272.867 | 11.221 | 268.467 | 9.12 | 889.667 | 21.853 | 66.7009
2019-03-25 10:45:00 | 12.022 | 266.387 | 13.716 | 267.354 | 13.783 | 272.467 | 13.763 | 268.633 | 9.437 | 889.8 | 22.888 | 73.6609
2019-03-25 11:00:00 | 12.282 | 273.573 | 13.269 | 275.241 | 13.761 | 278.5 | 13.925 | 276.367 | 8.828 | 889.4 | 24.477 | 75.5062
2019-03-25 11:15:00 | 13.869 | 266.68 | 14.935 | 268.346 | 15.24 | 273.6 | 15.173 | 268.867 | 8.749 | 889.733 | 25.675 | 75.8324
2019-03-25 11:30:00 | 13.236 | 258.993 | 15.103 | 262.634 | 15.33 | 267.467 | 15.255 | 263.6 | 9.154 | 889.933 | 25.552 | 75.5943
2019-03-25 11:45:00 | 11.357 | 262.973 | 12.79 | 266.642 | 12.764 | 270.7 | 12.835 | 265.75 | 9.404 | 889.783 | 25.013 | 76.0811
2019-03-25 12:00:00 | 13.598 | 257.993 | 14.498 | 259.929 | 14.567 | 264.8 | 14.426 | 261 | 9.989 | 890.067 | 23.912 | 76.0676
2019-03-25 12:15:00 | 12.31 | 257.107 | 13.073 | 255.99 | 12.934 | 260.333 | 12.878 | 254.917 | 10.241 | 889.617 | 23.512 | 75.5865
2019-03-25 12:30:00 | 12.487 | 263.227 | 13.633 | 265.144 | 13.671 | 270.067 | 13.444 | 265.233 | 10.436 | 889.783 | 24.072 | 76.4115
2019-03-25 12:45:00 | 12.43 | 268.567 | 13.772 | 272.761 | 14.378 | 275.6 | 14.563 | 273.433 | 10.203 | 889.733 | 24.688 | 77.4553
2019-03-25 13:00:00 | 11.787 | 270.013 | 12.72 | 273.543 | 12.791 | 276.367 | 12.996 | 272.533 | 10.097 | 889.683 | 25.608 | 77.407
2019-03-25 13:15:00 | 11.594 | 263.42 | 12.63 | 266.868 | 12.494 | 270.7 | 12.788 | 267.467 | 10.278 | 890.217 | 25.333 | 77.5484
2019-03-25 13:30:00 | 10.791 | 267.073 | 11.633 | 269.538 | 12.25 | 275 | 12.464 | 271.9 | 10.428 | 890.2 | 25.341 | 77.6088
2019-03-25 13:45:00 | 9.34 | 270.447 | 9.97 | 268.516 | 10.388 | 272.033 | 10.398 | 269 | 11.061 | 889.45 | 24.88 | 74.8831
2019-03-25 14:00:00 | 10.057 | 274.887 | 10.767 | 271.093 | 10.951 | 275.3 | 11.062 | 273.033 | 10.795 | 889.983 | 25.205 | 74.9577
2019-03-25 14:15:00 | 10.728 | 261.393 | 11.107 | 261.427 | 11.315 | 266.9 | 11.438 | 264.533 | 11.045 | 890.117 | 25.432 | 75.028
2019-03-25 14:30:00 | 9.751 | 268.087 | 10.422 | 266.347 | 10.482 | 271.267 | 10.662 | 267.9 | 10.961 | 889.967 | 25.008 | 71.2805
2019-03-25 14:45:00 | 10.44 | 258.887 | 11.04 | 260.86 | 11.453 | 267.567 | 11.402 | 265.117 | 11.111 | 889.883 | 25.104 | 68.0822
2019-03-25 15:00:00 | 9.693 | 262.44 | 10.69 | 262.551 | 11.38 | 268.5 | 11.476 | 264.983 | 11.424 | 889.483 | 25.125 | 64.5472
2019-03-25 15:15:00 | 9.308 | 285.64 | 10.247 | 286.579 | 10.598 | 290.233 | 10.967 | 287.6 | 11.553 | 889.75 | 25.691 | 68.4404
2019-03-25 15:30:00 | 8.14 | 274.207 | 8.783 | 274.652 | 9.344 | 277.967 | 9.454 | 273.3 | 11.557 | 889.633 | 26.413 | 63.5893
2019-03-25 15:45:00 | 10.104 | 279.84 | 10.935 | 277.891 | 11.464 | 281.333 | 11.726 | 279.833 | 11.436 | 889.95 | 26.133 | 62.8262
2019-03-25 16:00:00 | 9.658 | 276.213 | 10.253 | 273.426 | 10.687 | 278.367 | 10.868 | 274.383 | 11.578 | 889.95 | 26.333 | 63.6646
2019-03-25 16:15:00 | 9.966 | 285.267 | 10.844 | 283.96 | 11.195 | 288.6 | 11.339 | 288.067 | 11.228 | 889.683 | 27.008 | 64.8321
2019-03-25 16:30:00 | 10.578 | 281.313 | 11.181 | 278.335 | 11.193 | 284.3 | 11.421 | 280.9 | 11.228 | 889.5 | 27.195 | 63.6789
2019-03-25 16:45:00 | 10.784 | 281.827 | 11.902 | 283.65 | 12.35 | 286.133 | 12.761 | 284.2 | 11.303 | 889.8 | 27.773 | 62.2648
2019-03-25 17:00:00 | 10.441 | 275.16 | 11.141 | 276.469 | 11.496 | 280.933 | 11.806 | 278.733 | 11.324 | 889.917 | 28.141 | 64.1926
2019-03-25 17:15:00 | 10.16 | 268.42 | 10.753 | 270.422 | 11.103 | 274.833 | 11.389 | 271.467 | 11.066 | 889.633 | 28.576 | 67.5067
2019-03-25 17:30:00 | 10.356 | 279.46 | 11.533 | 281.091 | 11.831 | 285.8 | 12.158 | 284.033 | 11.278 | 889.933 | 28.8 | 71.1583
2019-03-25 17:45:00 | 10.993 | 267.207 | 12.183 | 269.908 | 12.447 | 274.7 | 12.593 | 271.333 | 10.66 | 890 | 30.237 | 75.4132
2019-03-25 18:00:00 | 10.03 | 275.787 | 11.042 | 277.532 | 11.38 | 280.1 | 11.547 | 279.067 | 10.578 | 889.55 | 30.421 | 74.5768
2019-03-25 18:15:00 | 9.622 | 266.993 | 10.63 | 272.396 | 11.017 | 276.9 | 11.091 | 275.567 | 10.147 | 889.55 | 30.579 | 75.6689
2019-03-25 18:30:00 | 9.499 | 272.047 | 10.299 | 276.036 | 10.602 | 280.133 | 10.781 | 278 | 10.11 | 890.1 | 30.773 | 73.0278
2019-03-25 18:45:00 | 8.356 | 274.953 | 9.503 | 278.178 | 9.877 | 281.567 | 9.99 | 277.233 | 9.906 | 889.55 | 30.813 | 72.7038
2019-03-25 19:00:00 | 8.894 | 272.633 | 9.675 | 278.268 | 10.282 | 281.433 | 10.703 | 278.633 | 9.81 | 889.4 | 31.395 | 70.9685
2019-03-25 19:15:00 | 9.049 | 273.413 | 10.002 | 277.021 | 10.185 | 280.033 | 10.483 | 276.7 | 9.785 | 890.167 | 32.579 | 66.0259
2019-03-25 19:30:00 | 8.45 | 273.213 | 9.588 | 277.801 | 9.995 | 281.867 | 10.28 | 279 | 9.52 | 889.65 | 33.115 | 64.5308
2019-03-25 19:45:00 | 8.746 | 268.653 | 9.849 | 269.784 | 10.265 | 275.1 | 10.586 | 271.733 | 9.254 | 889.7 | 32.893 | 61.4917
2019-03-25 20:00:00 | 9.081 | 267.927 | 10.311 | 268.177 | 10.439 | 271.9 | 10.787 | 268.033 | 9.008 | 890.167 | 32.877 | 68.0105
2019-03-25 20:15:00 | 8.058 | 265.673 | 8.991 | 268.833 | 9.37 | 274 | 9.782 | 270.133 | 8.904 | 890.083 | 34.144 | 63.7627
2019-03-25 20:30:00 | 7.676 | 263.413 | 8.728 | 265.669 | 9.313 | 270.9 | 9.403 | 266.267 | 8.845 | 889.45 | 34.712 | 62.2755
2019-03-25 20:45:00 | 8.534 | 261.58 | 9.926 | 265.399 | 10.571 | 269.433 | 10.91 | 266.383 | 7.909 | 889.583 | 34.619 | 65.2314
2019-03-25 21:00:00 | 9.03 | 261.26 | 10.587 | 265.63 | 11.311 | 269.9 | 11.578 | 265.1 | 8.203 | 890.083 | 34.877 | 70.3006
2019-03-25 21:15:00 | 8.836 | 260.407 | 10.239 | 266.33 | 10.87 | 271.433 | 11.048 | 268.133 | 7.883 | 889.9 | 35.493 | 70.6474
2019-03-25 21:30:00 | 8.067 | 268.08 | 9.579 | 269.979 | 10.098 | 273.5 | 10.504 | 271.233 | 7.75 | 889.9 | 36.139 | 72.1943
2019-03-25 21:45:00 | 8.229 | 256.893 | 9.45 | 257.232 | 9.939 | 262.233 | 10.062 | 258.767 | 7.462 | 889.8 | 38.984 | 71.412
2019-03-25 22:00:00 | 8.374 | 260.533 | 9.518 | 262.298 | 9.981 | 267.033 | 10.33 | 261.667 | 7.072 | 889.833 | 44.811 | 66.1026
2019-03-25 22:15:00 | 8.093 | 252.047 | 9.589 | 253.586 | 9.99 | 258.633 | 10.271 | 255.833 | 6.86 | 889.8 | 46.539 | 68.8944
2019-03-25 22:30:00 | 9.05 | 259.547 | 10.021 | 260.68 | 10.285 | 265.533 | 10.725 | 261.317 | 6.625 | 890.133 | 48.875 | 67.447
2019-03-25 22:45:00 | 9.004 | 259.853 | 10.381 | 262.706 | 10.767 | 267.167 | 11.384 | 262.867 | 6.416 | 890.075 | 50.117 | 73.6239
2019-03-25 23:00:00 | 9.174 | 260.453 | 10.656 | 263.822 | 11.086 | 269.367 | 11.549 | 265.867 | 5.962 | 890.258 | 50.261 | 74.2514
2019-03-25 23:15:00 | 8.972 | 262.727 | 10.397 | 266.748 | 10.887 | 271.933 | 11.197 | 266.133 | 6.273 | 889.733 | 49.675 | 75.5339
2019-03-25 23:30:00 | 8.152 | 259.92 | 9.661 | 265.583 | 10.223 | 271.9 | 10.724 | 268.217 | 5.848 | 889.8 | 49.04 | 74.5868
2019-03-25 23:45:00 | 8.521 | 266.987 | 10.067 | 268.779 | 10.867 | 273.533 | 11.269 | 271.1 | 5.795 | 889.517 | 49.44 | 74.0396