## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-26 00:00:00 | 8.064 | 263.853 | 9.612 | 268.499 | 10.219 | 272.833 | 10.576 | 269.233 | 5.418 | 889.883 | 49.541 | 75.4466
2019-03-26 00:15:00 | 7.484 | 258.007 | 8.83 | 262.562 | 9.514 | 270.067 | 9.983 | 265.217 | 5.448 | 889.95 | 50.848 | 75.735
2019-03-26 00:30:00 | 6.762 | 264.853 | 8.033 | 266.352 | 8.63 | 272.2 | 8.78 | 267.6 | 5.16 | 890.142 | 52.155 | 64.8165
2019-03-26 00:45:00 | 7.605 | 258.953 | 8.93 | 260.592 | 9.566 | 266.167 | 10.171 | 262.3 | 5.074 | 890.292 | 52.901 | 60.3598
2019-03-26 01:00:00 | 7.724 | 258.473 | 9.165 | 260.039 | 9.95 | 265.017 | 10.041 | 261.967 | 4.848 | 889.65 | 54.011 | 68.7864
2019-03-26 01:15:00 | 6.971 | 258.633 | 8.299 | 260.087 | 8.899 | 265.1 | 9.341 | 262.167 | 4.819 | 890.025 | 54.635 | 63.2724
2019-03-26 01:30:00 | 7.423 | 257.487 | 8.872 | 259.726 | 9.224 | 265.2 | 9.688 | 261.433 | 4.635 | 890.35 | 54.469 | 59.2861
2019-03-26 01:45:00 | 7.415 | 257.78 | 8.516 | 256.845 | 9.028 | 264.2 | 9.347 | 258.383 | 4.788 | 889.708 | 54.459 | 57.5076
2019-03-26 02:00:00 | 6.845 | 249.207 | 7.658 | 249.898 | 8.261 | 254.383 | 8.742 | 253.183 | 5.057 | 889.583 | 54.261 | 54.342
2019-03-26 02:15:00 | 7.124 | 245.353 | 8.29 | 248.702 | 8.672 | 253.733 | 8.75 | 249.65 | 4.461 | 889.9 | 53.707 | 55.044
2019-03-26 02:30:00 | 6.732 | 239.687 | 8.041 | 243.752 | 8.599 | 250.1 | 8.67 | 247.617 | 4.299 | 890.192 | 54.976 | 63.9496
2019-03-26 02:45:00 | 7.293 | 239.06 | 8.508 | 242.242 | 9.038 | 249.583 | 9.062 | 247.267 | 4.315 | 889.875 | 55.435 | 68.3665
2019-03-26 03:00:00 | 6.834 | 247.447 | 8.228 | 248.873 | 8.631 | 255.9 | 8.775 | 253.133 | 4.471 | 890.158 | 52.064 | 70.5635
2019-03-26 03:15:00 | 7.299 | 249.293 | 8.478 | 253.445 | 8.936 | 258.583 | 9.105 | 254.75 | 4.186 | 889.942 | 49.573 | 67.5465
2019-03-26 03:30:00 | 7.711 | 248.807 | 9.142 | 256.686 | 9.89 | 261.367 | 9.856 | 257.117 | 4.785 | 889.675 | 46.581 | 69.168
2019-03-26 03:45:00 | 8.157 | 251.473 | 9.343 | 255.72 | 9.796 | 260.95 | 10.22 | 257.65 | 4.942 | 890.175 | 46.533 | 73.6332
2019-03-26 04:00:00 | 8.498 | 251.46 | 9.662 | 252.776 | 10.028 | 259.05 | 10.088 | 255.317 | 5.057 | 890.05 | 47.733 | 76.0008
2019-03-26 04:15:00 | 9.549 | 252.6 | 10.441 | 256.363 | 10.867 | 259.833 | 11.117 | 258.367 | 5.183 | 889.667 | 48.437 | 74.1945
2019-03-26 04:30:00 | 8.458 | 250.647 | 9.827 | 256.677 | 9.937 | 259.05 | 9.939 | 255.9 | 4.802 | 889.675 | 49.995 | 71.9115
2019-03-26 04:45:00 | 8.748 | 252.2 | 10.321 | 254.544 | 11.016 | 259.8 | 11.309 | 256.2 | 4.769 | 889.55 | 51.456 | 67.9387
2019-03-26 05:00:00 | 8.952 | 255.627 | 10.135 | 263.13 | 10.403 | 267.3 | 10.569 | 263.45 | 4.586 | 889.775 | 52.981 | 71.6841
2019-03-26 05:15:00 | 9.168 | 249.54 | 10.212 | 257.223 | 10.922 | 261.533 | 11.267 | 257.217 | 4.816 | 890.092 | 54.795 | 70.2395
2019-03-26 05:30:00 | 10.32 | 250.893 | 11.625 | 255.708 | 12.16 | 260.65 | 12.268 | 256.15 | 4.329 | 890.075 | 56.928 | 76.8741
2019-03-26 05:45:00 | 9.066 | 253.527 | 10.637 | 258.81 | 11.157 | 263.8 | 11.44 | 259.1 | 4.127 | 889.617 | 57.712 | 76.155
2019-03-26 06:00:00 | 8.673 | 257.5 | 9.753 | 259.83 | 10.156 | 263.5 | 10.47 | 259.317 | 4.246 | 889.85 | 57.611 | 74.6628
2019-03-26 06:15:00 | 8.399 | 249.86 | 9.97 | 257.424 | 10.478 | 262.2 | 10.602 | 258.15 | 4.156 | 889.975 | 57.755 | 75.3591
2019-03-26 06:30:00 | 8.202 | 251.507 | 9.335 | 257.539 | 10.036 | 260.833 | 10.446 | 256.933 | 4.246 | 890.108 | 58.576 | 76.3426
2019-03-26 06:45:00 | 8.795 | 253.813 | 9.927 | 254.404 | 10.258 | 259.45 | 10.319 | 257.05 | 3.97 | 889.917 | 59.904 | 76.9515
2019-03-26 07:00:00 | 7.617 | 251.78 | 8.959 | 257.619 | 9.323 | 262.2 | 9.354 | 259.7 | 4.02 | 889.842 | 61.035 | 68.817
2019-03-26 07:15:00 | 6.729 | 268.94 | 7.698 | 269.983 | 8.144 | 273.567 | 8.398 | 268.367 | 4.066 | 889.775 | 61.637 | 51.7868
2019-03-26 07:30:00 | 7.007 | 261.4 | 8.171 | 265.813 | 8.365 | 270.367 | 8.613 | 267.5 | 4.285 | 890.183 | 62.379 | 47.7273
2019-03-26 07:45:00 | 6.729 | 266.007 | 7.627 | 268.587 | 8.105 | 271.833 | 8.534 | 267.867 | 4.226 | 890.167 | 62.869 | 42.9971
2019-03-26 08:00:00 | 6.215 | 263.047 | 7.326 | 266.085 | 7.854 | 271.067 | 8.279 | 265.85 | 3.953 | 889.825 | 63.173 | 36.1622
2019-03-26 08:15:00 | 6.343 | 257.22 | 6.952 | 256.904 | 7.353 | 263.517 | 7.528 | 258.967 | 4.384 | 890.058 | 62.992 | 38.3166
2019-03-26 08:30:00 | 6.999 | 257.8 | 7.83 | 261.499 | 8.129 | 267.867 | 8.55 | 264.133 | 4.107 | 890.033 | 62.619 | 43.7531
2019-03-26 08:45:00 | 7.764 | 259.167 | 8.86 | 261.331 | 9.162 | 266.383 | 9.137 | 263.8 | 4.743 | 890.133 | 62.347 | 49.4967
2019-03-26 09:00:00 | 8.02 | 264.887 | 9.353 | 267.75 | 9.534 | 271.733 | 9.771 | 266.833 | 5.24 | 889.792 | 58.864 | 48.7761
2019-03-26 09:15:00 | 10.279 | 262.793 | 11.694 | 267.098 | 11.656 | 269.467 | 12.03 | 265.133 | 5.277 | 889.492 | 57.504 | 68.6983
2019-03-26 09:30:00 | 10.294 | 266.44 | 11.64 | 268.806 | 12.252 | 274.267 | 12.306 | 268.533 | 5.468 | 889.95 | 56.032 | 75.6391
2019-03-26 09:45:00 | 10.925 | 266.88 | 11.877 | 269.13 | 11.936 | 273.2 | 11.965 | 269.65 | 5.878 | 890.058 | 52.965 | 77.1107
2019-03-26 10:00:00 | 10.457 | 261.093 | 11.125 | 265.003 | 11.432 | 269.133 | 11.59 | 265.967 | 5.862 | 889.867 | 52.395 | 77.5441
2019-03-26 10:15:00 | 9.6 | 270.34 | 10.436 | 274.276 | 10.374 | 277.767 | 10.457 | 273.033 | 5.862 | 889.917 | 50.864 | 73.7398
2019-03-26 10:30:00 | 9.396 | 271.36 | 10.312 | 270.951 | 10.532 | 277.9 | 10.584 | 274.8 | 6.522 | 889.708 | 47.573 | 71.9271
2019-03-26 10:45:00 | 8.702 | 268.133 | 9.509 | 273.715 | 10 | 276.8 | 10.169 | 274.033 | 7.256 | 889.508 | 45.653 | 70.4889
2019-03-26 11:00:00 | 9.013 | 278.433 | 9.808 | 279.179 | 9.675 | 279.833 | 9.761 | 275.867 | 7.766 | 890.158 | 43.76 | 72.3371
2019-03-26 11:15:00 | 9.936 | 276.067 | 10.638 | 277.24 | 10.791 | 281.9 | 10.887 | 280.3 | 7.556 | 889.917 | 40.947 | 69.3136
2019-03-26 11:30:00 | 8.328 | 279.673 | 9.186 | 280.722 | 9.393 | 282.533 | 9.721 | 277.883 | 8.658 | 889.45 | 37.621 | 65.1696
2019-03-26 11:45:00 | 9.951 | 280.24 | 10.79 | 281.38 | 11.096 | 285.3 | 11.367 | 284.267 | 8.691 | 889.783 | 34.645 | 58.7241
2019-03-26 12:00:00 | 9.304 | 289.413 | 9.959 | 291.996 | 9.91 | 296.633 | 10.537 | 294.833 | 8.404 | 890 | 35.251 | 66.3797
2019-03-26 12:15:00 | 9.083 | 284.12 | 9.78 | 285.942 | 10.115 | 291.4 | 10.583 | 289.933 | 8.754 | 889.617 | 33.856 | 65.6933
2019-03-26 12:30:00 | 10.112 | 294.853 | 10.509 | 294.214 | 10.81 | 297.567 | 11.33 | 294.85 | 9.454 | 889.9 | 32.925 | 58.609
2019-03-26 12:45:00 | 8.994 | 283.227 | 9.884 | 282.794 | 10.204 | 287.567 | 10.494 | 285.767 | 8.899 | 889.65 | 33.811 | 52.3972
2019-03-26 13:00:00 | 8.964 | 292.72 | 9.461 | 290.293 | 9.766 | 294.7 | 10.015 | 294 | 9.058 | 890.117 | 33.309 | 50.2676
2019-03-26 13:15:00 | 9.666 | 299.227 | 10.516 | 293.178 | 10.757 | 299.5 | 11.098 | 297.6 | 9.524 | 890.033 | 32.536 | 50.5888
2019-03-26 13:30:00 | 10.252 | 285 | 11.05 | 288.156 | 11.262 | 290.967 | 11.466 | 288.8 | 9.849 | 889.7 | 32.347 | 61.6786
2019-03-26 13:45:00 | 10.368 | 296.5 | 10.831 | 293.042 | 10.764 | 298.2 | 11.388 | 295.9 | 9.856 | 889.7 | 32.472 | 59.8581
2019-03-26 14:00:00 | 11.114 | 303.253 | 11.745 | 298.492 | 11.851 | 302.733 | 12.369 | 300.9 | 10.293 | 889.933 | 31.672 | 57.7385
2019-03-26 14:15:00 | 10.374 | 291.18 | 11.153 | 290.729 | 11.736 | 295.3 | 12.296 | 291.367 | 11.045 | 889.583 | 29.573 | 57.9439
2019-03-26 14:30:00 | 12.117 | 286.347 | 13.02 | 287.792 | 13.113 | 293.7 | 13.533 | 291.2 | 10.541 | 889.867 | 30.189 | 58.7383
2019-03-26 14:45:00 | 13.248 | 280.387 | 14.122 | 284.08 | 14.485 | 289.4 | 15.017 | 287.433 | 10.776 | 889.233 | 29.363 | 59.2407
2019-03-26 15:00:00 | 12.735 | 265.333 | 13.614 | 266.983 | 13.792 | 272.367 | 14.055 | 269.8 | 10.745 | 890 | 30.083 | 59.0232
2019-03-26 15:15:00 | 11.358 | 280.507 | 12.005 | 281.948 | 12.113 | 286.367 | 12.248 | 284.133 | 10.349 | 889.383 | 31.245 | 58.0433
2019-03-26 15:30:00 | 10.992 | 287.92 | 11.844 | 287.8 | 12.063 | 293.167 | 12.488 | 291.267 | 10.172 | 889.917 | 33.307 | 60.1488
2019-03-26 15:45:00 | 11.05 | 293.773 | 11.96 | 294.129 | 12.06 | 300.133 | 12.554 | 295.633 | 9.428 | 890.025 | 40.696 | 59.0254
2019-03-26 16:00:00 | 10.43 | 290.573 | 11.051 | 290.248 | 11.37 | 293.167 | 11.656 | 291.133 | 9.412 | 889.867 | 41.133 | 57.3839
2019-03-26 16:15:00 | 7.602 | 281.853 | 8.588 | 282.968 | 8.622 | 289.067 | 8.907 | 284 | 9.162 | 889.8 | 42.048 | 55.5244
2019-03-26 16:30:00 | 9.304 | 275.007 | 10.032 | 275.918 | 10.268 | 280.267 | 10.427 | 277.6 | 9.099 | 889.533 | 41.589 | 46.7574
2019-03-26 16:45:00 | 12.166 | 261.107 | 13.324 | 265.314 | 13.393 | 270.333 | 13.376 | 266.817 | 10.091 | 889.733 | 34.4 | 58.8861
2019-03-26 17:00:00 | 8.898 | 266.88 | 9.962 | 266.94 | 10.096 | 270.033 | 10.539 | 266.817 | 10.203 | 889.45 | 34.624 | 56.8929
2019-03-26 17:15:00 | 8.277 | 259.487 | 8.881 | 258.066 | 9.111 | 263.767 | 9.223 | 259.533 | 10.287 | 889.367 | 36.541 | 57.3086
2019-03-26 17:30:00 | 9.802 | 271.18 | 10.866 | 271.835 | 11.421 | 275.233 | 11.52 | 270.467 | 10.647 | 890.117 | 34.107 | 58.1997
2019-03-26 17:45:00 | 9.82 | 265.56 | 10.979 | 271.2 | 10.968 | 275.367 | 11.096 | 273.167 | 10.559 | 889.717 | 34.491 | 58.744
2019-03-26 18:00:00 | 9.085 | 267.473 | 9.858 | 269.926 | 10.033 | 275.7 | 10.366 | 273.367 | 10.591 | 890.067 | 34.392 | 59.7558
2019-03-26 18:15:00 | 11.028 | 269.78 | 12.313 | 271.983 | 12.489 | 275.167 | 12.83 | 272.167 | 10.403 | 889.567 | 32.84 | 63.0408
2019-03-26 18:30:00 | 9.446 | 280.9 | 10.61 | 283.784 | 10.778 | 286.267 | 11.12 | 284.467 | 10.297 | 889.8 | 31.504 | 66.438
2019-03-26 18:45:00 | 10.674 | 273.247 | 11.802 | 278.647 | 12.025 | 282.867 | 12.434 | 279.733 | 10.36 | 889.683 | 31.085 | 70.6346
2019-03-26 19:00:00 | 10.122 | 289.933 | 11.358 | 288.326 | 11.49 | 293.467 | 11.97 | 290.167 | 9.766 | 889.65 | 32.565 | 72.7656
2019-03-26 19:15:00 | 8.693 | 280.513 | 9.737 | 283.569 | 9.623 | 287.667 | 9.774 | 285.9 | 9.697 | 889.95 | 34.765 | 74.7758
2019-03-26 19:30:00 | 9.23 | 282.133 | 10.636 | 284.956 | 11.017 | 290.167 | 11.298 | 287.567 | 9.545 | 889.4 | 36.787 | 75.0003
2019-03-26 19:45:00 | 8.511 | 283.993 | 9.708 | 285.73 | 10.115 | 288.2 | 10.511 | 285.067 | 9.028 | 889.983 | 38.091 | 68.6905
2019-03-26 20:00:00 | 8.981 | 280.94 | 10.341 | 285.505 | 10.632 | 290.633 | 11.034 | 288 | 8.62 | 889.767 | 39.04 | 70.8833
2019-03-26 20:15:00 | 7.116 | 281.893 | 8.228 | 279.976 | 8.648 | 284.033 | 8.85 | 280.733 | 8.387 | 889.65 | 39.856 | 72.7158
2019-03-26 20:30:00 | 9.38 | 271.687 | 10.95 | 280.08 | 11.381 | 282.9 | 11.587 | 281 | 7.936 | 890.05 | 42.24 | 54.1523
2019-03-26 20:45:00 | 7.522 | 282.033 | 8.703 | 281.833 | 9.197 | 285.467 | 9.636 | 282.5 | 8.16 | 889.983 | 44.907 | 70.6609
2019-03-26 21:00:00 | 7.662 | 280.533 | 8.176 | 281.845 | 8.259 | 287.167 | 8.517 | 286.967 | 7.472 | 889.633 | 46.24 | 66.6092
2019-03-26 21:15:00 | 6.241 | 281.693 | 6.994 | 280.829 | 6.979 | 283.933 | 7.094 | 281.033 | 7.616 | 890.058 | 47.445 | 48.1757
2019-03-26 21:30:00 | 4.845 | 281.467 | 5.735 | 280.52 | 5.854 | 285.5 | 6.131 | 282.867 | 7.389 | 890.1 | 48.485 | 28.1988
2019-03-26 21:45:00 | 5.011 | 270.293 | 5.706 | 269.285 | 5.887 | 272.467 | 6.121 | 268.033 | 7.439 | 889.833 | 49.333 | 19.763
2019-03-26 22:00:00 | 3.478 | 281.667 | 3.747 | 275.818 | 3.988 | 276.033 | 4.186 | 268.467 | 7.272 | 890.333 | 50.091 | 15.2097
2019-03-26 22:15:00 | 3.235 | 267.74 | 4.167 | 262.329 | 4.411 | 264.35 | 4.681 | 260.833 | 6.839 | 890.083 | 51.168 | 11.6256
2019-03-26 22:30:00 | 5.004 | 263.753 | 5.779 | 263.971 | 5.939 | 269 | 6.134 | 264.7 | 6.671 | 889.833 | 56.635 | 15.3653
2019-03-26 22:45:00 | 3.549 | 289.107 | 4.237 | 282.976 | 4.278 | 285.867 | 4.578 | 283.067 | 6.685 | 889.417 | 57.691 | 16.0133
2019-03-26 23:00:00 | 5.428 | 304.387 | 6.305 | 298.666 | 6.774 | 303.867 | 7.38 | 300.6 | 6.372 | 889.975 | 57.131 | 22.2258
2019-03-26 23:15:00 | 7.891 | 271.36 | 9.294 | 273.593 | 9.866 | 277.367 | 10.344 | 275.2 | 5.432 | 889.9 | 61.621 | 39.4706
2019-03-26 23:30:00 | 7.509 | 262.76 | 8.224 | 265.798 | 8.569 | 269.167 | 8.931 | 264.033 | 4.392 | 889.833 | 72.464 | 64.4122
2019-03-26 23:45:00 | 4.909 | 252.693 | 6.076 | 255.501 | 6.507 | 260.4 | 6.808 | 258.633 | 4.147 | 889.717 | 76.651 | 40.4653