## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-27 00:00:00 | 5.174 | 243.28 | 5.986 | 247.723 | 6.348 | 254.833 | 6.586 | 253.567 | 4.428 | 889.625 | 75.712 | 30.2844
2019-03-27 00:15:00 | 5.464 | 231.34 | 6.198 | 235.744 | 6.353 | 244.667 | 6.449 | 242.367 | 4.041 | 889.617 | 77.525 | 28.9108
2019-03-27 00:30:00 | 4.556 | 230.867 | 5.68 | 229.307 | 5.912 | 235.9 | 6.084 | 232.667 | 3.773 | 890.133 | 78.603 | 23.6818
2019-03-27 00:45:00 | 4.062 | 253.607 | 5.567 | 256.568 | 6.394 | 264.3 | 6.837 | 263.05 | 3.709 | 889.592 | 79.221 | 22.3729
2019-03-27 01:00:00 | 7.279 | 283 | 8.463 | 283.392 | 8.734 | 285.9 | 9.149 | 282.033 | 4.819 | 889.642 | 71.008 | 32.7742
2019-03-27 01:15:00 | 8.174 | 269.027 | 9.246 | 271.157 | 9.615 | 274.9 | 9.843 | 271.3 | 4.514 | 889.842 | 72.331 | 62.0083
2019-03-27 01:30:00 | 9.354 | 256.093 | 10.878 | 257.654 | 11.627 | 262.65 | 12.105 | 258.733 | 4.255 | 889.95 | 74.965 | 61.312
2019-03-27 01:45:00 | 6.868 | 258.227 | 7.917 | 259.466 | 8.121 | 265.1 | 8.304 | 262.383 | 4.066 | 890.2 | 71.467 | 55.636
2019-03-27 02:00:00 | 6.549 | 249.967 | 7.582 | 252.358 | 8.092 | 258.5 | 8.189 | 254.933 | 3.505 | 889.35 | 75.28 | 39.5409
2019-03-27 02:15:00 | 5.068 | 232.513 | 5.927 | 233.763 | 6.545 | 239.9 | 6.912 | 235.9 | 3.005 | 889.646 | 81.323 | 32.0409
2019-03-27 02:30:00 | 5.092 | 232.027 | 6.141 | 233.886 | 6.654 | 243.033 | 6.889 | 239.333 | 2.537 | 889.967 | 80.928 | 27.8507
2019-03-27 02:45:00 | 4.831 | 234.967 | 6.047 | 240.041 | 6.46 | 247.8 | 6.534 | 245.533 | 2.7 | 890.075 | 77.675 | 24.9849
2019-03-27 03:00:00 | 5.12 | 235.613 | 6.49 | 243.153 | 6.606 | 253.333 | 6.844 | 252.083 | 2.352 | 889.633 | 78.155 | 23.7265
2019-03-27 03:15:00 | 6.005 | 253.32 | 7.462 | 255.517 | 8.117 | 263.767 | 8.526 | 259.45 | 2.456 | 889.733 | 77.061 | 34.4376
2019-03-27 03:30:00 | 6.756 | 258.267 | 8.064 | 260.034 | 8.686 | 267.067 | 9.062 | 263.75 | 3.137 | 889.967 | 72.139 | 38.9661
2019-03-27 03:45:00 | 6.536 | 260.5 | 7.781 | 262.497 | 8.519 | 270.2 | 8.628 | 265.267 | 3.354 | 890.267 | 68.987 | 43.8931
2019-03-27 04:00:00 | 7.108 | 263.233 | 8.184 | 263.208 | 8.492 | 269.1 | 8.793 | 265.367 | 3.522 | 889.725 | 68.448 | 46.3574
2019-03-27 04:15:00 | 6.393 | 269.467 | 7.727 | 269.43 | 8.185 | 274.333 | 8.494 | 268.933 | 3.471 | 890.058 | 67.877 | 42.3974
2019-03-27 04:30:00 | 6.512 | 263.9 | 7.761 | 265.314 | 8.554 | 272.967 | 9.016 | 269.5 | 3.008 | 890.067 | 68.795 | 34.6444
2019-03-27 04:45:00 | 4.942 | 270.52 | 5.739 | 271.027 | 6.165 | 276.333 | 6.614 | 270.833 | 2.923 | 889.817 | 69.963 | 29.8395
2019-03-27 05:00:00 | 3.527 | 265.153 | 4.023 | 264.799 | 4.41 | 269.4 | 5.092 | 267.833 | 2.773 | 890.367 | 70.779 | 18.8535
2019-03-27 05:15:00 | 4.161 | 260.567 | 5.496 | 261.053 | 6.096 | 267.067 | 6.404 | 265.017 | 2.051 | 889.733 | 73.467 | 9.5919
2019-03-27 05:30:00 | 4.077 | 268.067 | 5.584 | 268.804 | 6.108 | 274.517 | 6.788 | 271.9 | 2.217 | 889.817 | 73.136 | 8.239
2019-03-27 05:45:00 | 4.502 | 279.6 | 5.589 | 279.206 | 5.852 | 283.4 | 6.356 | 280.1 | 2.065 | 889.8 | 73.6 | 11.9638
2019-03-27 06:00:00 | 3.268 | 286.987 | 5.007 | 283.654 | 5.423 | 287 | 5.987 | 282.633 | 1.489 | 889.667 | 75.141 | 10.7956
2019-03-27 06:15:00 | 3.317 | 271.547 | 3.941 | 275.174 | 4.007 | 279.333 | 4.56 | 274.133 | 1.636 | 890.117 | 75.504 | 6.9401
2019-03-27 06:30:00 | 3.886 | 249.227 | 4.378 | 256.681 | 4.644 | 263.567 | 5.228 | 259.25 | 1.206 | 889.85 | 75.723 | 7.1149
2019-03-27 06:45:00 | 3.632 | 242.547 | 4.671 | 260.578 | 4.694 | 269.067 | 5.063 | 266.5 | 0.499 | 889.358 | 77.189 | 8.9048
2019-03-27 07:00:00 | 4.542 | 247.353 | 4.735 | 259.558 | 4.868 | 268.2 | 5.436 | 264.567 | -0.445 | 889.758 | 79.547 | 9.9025
2019-03-27 07:15:00 | 4.934 | 247.987 | 5.428 | 255.99 | 5.716 | 264.4 | 6.146 | 259.733 | 0.349 | 890.117 | 77.253 | 15.9444
2019-03-27 07:30:00 | 4.709 | 250.833 | 6.123 | 253.494 | 6.825 | 261.2 | 7.193 | 257.117 | 0.482 | 890.225 | 76.357 | 28.1683
2019-03-27 07:45:00 | 5.712 | 259.133 | 7.312 | 258.803 | 7.845 | 265.533 | 8.187 | 261.583 | 1.529 | 890.233 | 71.323 | 40.6686
2019-03-27 08:00:00 | 4.938 | 255.833 | 6.148 | 255.16 | 6.614 | 262.367 | 6.966 | 260.9 | 2.157 | 890.458 | 67.749 | 40.4824
2019-03-27 08:15:00 | 3.644 | 262.3 | 4.925 | 260.592 | 5.292 | 270.833 | 5.557 | 269.767 | 2.009 | 889.633 | 68.117 | 27.5778
2019-03-27 08:30:00 | 3.587 | 252.813 | 4.288 | 260.447 | 4.558 | 275.733 | 5.221 | 275.067 | 2.975 | 889.708 | 65.408 | 17.3698
2019-03-27 08:45:00 | 4.018 | 246.92 | 4.7 | 256.832 | 5.331 | 268.8 | 6.279 | 267.733 | 2.966 | 890.1 | 63.717 | 16.4795
2019-03-27 09:00:00 | 5.218 | 235.88 | 5.436 | 236.514 | 5.423 | 245.867 | 5.248 | 243.617 | 4.048 | 889.942 | 55.456 | 18.8762
2019-03-27 09:15:00 | 5.473 | 272.393 | 5.88 | 271.181 | 5.94 | 275.3 | 6.131 | 272.8 | 4.521 | 889.917 | 51.44 | 18.6581
2019-03-27 09:30:00 | 5.528 | 265.1 | 5.715 | 264.259 | 5.977 | 269.033 | 6.166 | 265.583 | 4.643 | 889.233 | 50.176 | 18.1763
2019-03-27 09:45:00 | 6.383 | 275.08 | 6.897 | 274.828 | 6.974 | 278.733 | 7.287 | 277.067 | 4.408 | 890.125 | 48.8 | 17.9738
2019-03-27 10:00:00 | 7.185 | 288.973 | 7.812 | 287.825 | 8.184 | 291.767 | 8.381 | 290 | 4.265 | 890.017 | 48.24 | 31.3317
2019-03-27 10:15:00 | 5.882 | 280.267 | 6.016 | 281.322 | 5.886 | 288.033 | 6.364 | 283.3 | 4.504 | 890.158 | 47.2 | 32.4438
2019-03-27 10:30:00 | 6.31 | 294.027 | 6.781 | 289.402 | 6.982 | 293.733 | 7.077 | 290.533 | 4.719 | 889.95 | 45.093 | 29.21
2019-03-27 10:45:00 | 5.952 | 295.04 | 6.44 | 293.14 | 6.579 | 298.033 | 6.97 | 294.067 | 4.994 | 889.783 | 45.456 | 31.8888
2019-03-27 11:00:00 | 6.39 | 298.8 | 6.706 | 297.152 | 6.758 | 301.9 | 7.01 | 299.267 | 4.702 | 889.658 | 44.24 | 27.8933
2019-03-27 11:15:00 | 5.221 | 295.013 | 5.495 | 294.294 | 5.852 | 299.333 | 6.113 | 299.6 | 5.336 | 889.75 | 42.424 | 26.3087
2019-03-27 11:30:00 | 9.109 | 310.973 | 9.435 | 304.87 | 9.816 | 309.8 | 10.066 | 309.2 | 5.458 | 889.7 | 37.637 | 30.467
2019-03-27 11:45:00 | 7.078 | 307.133 | 7.375 | 308.769 | 7.739 | 314 | 8.296 | 314.133 | 5.597 | 889.692 | 38.819 | 37.2443
2019-03-27 12:00:00 | 6.682 | 323.493 | 7.072 | 315.635 | 7.449 | 320.9 | 7.53 | 316.4 | 6.001 | 889.517 | 40.272 | 33.0058
2019-03-27 12:15:00 | 7.582 | 314.76 | 7.408 | 308.416 | 7.703 | 312.6 | 7.838 | 308.9 | 5.686 | 889.867 | 41.947 | 36.3014
2019-03-27 12:30:00 | 5.969 | 325.92 | 6.517 | 321.685 | 6.814 | 326.467 | 7.093 | 325.067 | 6.34 | 889.733 | 39.296 | 34.9613
2019-03-27 12:45:00 | 7.657 | 332.533 | 8.055 | 326.14 | 8.248 | 332.967 | 8.317 | 330.933 | 6.36 | 890.2 | 36.587 | 37.0745
2019-03-27 13:00:00 | 7.074 | 301.993 | 7.739 | 301.218 | 8.012 | 306 | 8.431 | 303.5 | 6.776 | 890 | 34.616 | 38.3912
2019-03-27 13:15:00 | 9.419 | 303.053 | 10.463 | 295.815 | 10.821 | 303 | 11.024 | 302.033 | 6.39 | 889.783 | 32.867 | 43.0198
2019-03-27 13:30:00 | 8.814 | 285.027 | 9.607 | 287.102 | 9.857 | 292.633 | 10.291 | 291.467 | 6.863 | 889.767 | 32.715 | 53.8354
2019-03-27 13:45:00 | 9.41 | 287.107 | 9.897 | 289.557 | 9.986 | 296.233 | 10.345 | 292.8 | 6.876 | 889.65 | 30.925 | 55.6615
2019-03-27 14:00:00 | 8.772 | 307.36 | 9.405 | 314.63 | 9.73 | 320.4 | 10.016 | 319.633 | 7.172 | 889.183 | 29.811 | 56.7174
2019-03-27 14:15:00 | 9.654 | 305.627 | 10.445 | 297.004 | 10.876 | 301.367 | 11.514 | 297.367 | 7.766 | 889.6 | 26.088 | 55.8683
2019-03-27 14:30:00 | 8.554 | 324.533 | 8.841 | 316.965 | 8.871 | 322.2 | 9.211 | 320.9 | 7.489 | 889.617 | 29.032 | 56.068
2019-03-27 14:45:00 | 6.915 | 330.667 | 7.366 | 322.453 | 7.813 | 324.833 | 8.071 | 322.667 | 7.239 | 889.733 | 29.259 | 47.3884
2019-03-27 15:00:00 | 8.512 | 330.96 | 9.181 | 332.746 | 9.499 | 339.033 | 9.98 | 337.4 | 7.139 | 889.717 | 31.221 | 46.5215
2019-03-27 15:15:00 | 7.949 | 313.933 | 8.432 | 310.349 | 8.594 | 316.3 | 9.172 | 314.8 | 7.656 | 889.933 | 29.661 | 56.1518
2019-03-27 15:30:00 | 8.522 | 326.507 | 8.822 | 323.208 | 9.13 | 326.733 | 9.258 | 328.2 | 7.612 | 889.633 | 30.859 | 45.0691
2019-03-27 15:45:00 | 7.605 | 307.093 | 7.909 | 304.204 | 8.05 | 322 | 8.394 | 319.433 | 7.439 | 890.167 | 30.403 | 38.6982
2019-03-27 16:00:00 | 6.953 | 331.027 | 7.086 | 327.043 | 7.593 | 331.867 | 7.665 | 319.133 | 7.666 | 889.667 | 28.971 | 28.8199
2019-03-27 16:15:00 | 6.35 | 270.053 | 6.778 | 338.79 | 6.996 | 309.5 | 7.13 | 330.433 | 8.214 | 889.683 | 28.36 | 27.123
2019-03-27 16:30:00 | 5.978 | 276.669 | 6.305 | 283.673 | 6.343 | 276.867 | 6.384 | 311.9 | 8.32 | 890.067 | 28.072 | 29.6619
2019-03-27 16:45:00 | 6.705 | 330.107 | 7.035 | 310.596 | 7.249 | 281.3 | 7.558 | 315 | 7.953 | 889.75 | 27.765 | 25.4376
2019-03-27 17:00:00 | 6.482 | 296.235 | 6.462 | 292.05 | 6.586 | 307.567 | 6.912 | 328.833 | 8.21 | 889.983 | 26 | 30.3341
2019-03-27 17:15:00 | 5.451 | 246.987 | 6.083 | 289.053 | 6.279 | 246.6 | 6.855 | 292.533 | 8.277 | 889.9 | 26.373 | 26.2533
2019-03-27 17:30:00 | 8.117 | 330.747 | 8.618 | 337.131 | 8.684 | 330.4 | 8.805 | 316.767 | 8.143 | 889.633 | 26.045 | 23.9653
2019-03-27 17:45:00 | 6.935 | 340.333 | 7.043 | 334.044 | 7.349 | 340.033 | 7.391 | 335.967 | 8.307 | 889.383 | 25.976 | 32.1482
2019-03-27 18:00:00 | 5.914 | 319.84 | 6.294 | 335.013 | 6.495 | 339.633 | 6.447 | 338.8 | 8.297 | 889.633 | 25.397 | 19.0091
2019-03-27 18:15:00 | 4.403 | 106.549 | 4.512 | 223.675 | 4.65 | 159.102 | 4.861 | 140.867 | 7.93 | 889.8 | 24.517 | 13.9228
2019-03-27 18:30:00 | 5.109 | 60.071 | 5.711 | 166.476 | 5.654 | 4.167 | 5.874 | 95.067 | 7.789 | 890.067 | 23.067 | 8.9801
2019-03-27 18:45:00 | 4.824 | 163.748 | 5.218 | 231.112 | 5.287 | 141.95 | 5.386 | 147.7 | 7.966 | 889.717 | 22.363 | 8.9638
2019-03-27 19:00:00 | 3.198 | 286.08 | 3.21 | 315.215 | 3.426 | 333.767 | 3.477 | 313.7 | 7.889 | 889.817 | 22.16 | 6.0398
2019-03-27 19:15:00 | 3.363 | 31.263 | 3.508 | 21.668 | 3.457 | 20.1 | 3.343 | 17.3 | 8.083 | 889.567 | 21.12 | 2.023
2019-03-27 19:30:00 | 3.533 | 34.628 | 3.506 | 26.814 | 3.58 | 28.5 | 3.66 | 24.733 | 7.619 | 890.25 | 21.163 | 1.4197
2019-03-27 19:45:00 | 3.263 | 15.386 | 3.146 | 9.291 | 3.748 | 14.133 | 3.72 | 12.1 | 7.139 | 889.75 | 22.597 | 1.5561
2019-03-27 20:00:00 | 2.713 | 36.577 | 3.397 | 0 | 3.174 | 1.1 | 3.34 | 0 | 6.314 | 889.65 | 24.427 | 0.38868
2019-03-27 20:15:00 | 2.849 | 28.802 | 3.254 | 24.435 | 3.344 | 29.267 | 3.196 | 24.567 | 6.223 | 889.467 | 24.869 | 0.25794
2019-03-27 20:30:00 | 2.228 | 45.567 | 2.685 | 44.086 | 2.868 | 48.7 | 2.966 | 44.9 | 5.978 | 889.367 | 25.627 | 0.44837
2019-03-27 20:45:00 | 1.805 | 62.3 | 2.224 | 46.797 | 2.568 | 50.7 | 2.724 | 47.733 | 5.535 | 889.75 | 26.064 | 0.2153
2019-03-27 21:00:00 | 2.388 | 87.05 | 2.707 | 64.9 | 2.718 | 69 | 2.648 | 61.733 | 5.465 | 889.167 | 25.691 | 0.16485
2019-03-27 21:15:00 | 1.746 | 136.127 | 1.808 | 99.676 | 2.06 | 88.9 | 2.383 | 75.3 | 4.521 | 889.85 | 26.389 | 0.11156
2019-03-27 21:30:00 | 3.021 | 135.993 | 3.167 | 100.758 | 3.106 | 95.4 | 3.279 | 83.6 | 4.6 | 889.5 | 26.624 | 0.14709
2019-03-27 21:45:00 | 3.754 | 104.547 | 4.254 | 83.434 | 4.139 | 82.933 | 4.118 | 76.933 | 4.61 | 889.633 | 25.941 | 3.4221
2019-03-27 22:00:00 | 3.002 | 81.357 | 3.885 | 74.096 | 3.835 | 79.833 | 4.114 | 74.867 | 4.063 | 889.917 | 23.488 | 7.8276
2019-03-27 22:15:00 | 3.362 | 100.967 | 3.806 | 90.643 | 2.926 | 95.067 | 3.001 | 86.733 | 3.672 | 890.183 | 22.475 | 4.338
2019-03-27 22:30:00 | 3.367 | 118.47 | 3.394 | 102.429 | 2.624 | 106.067 | 2.842 | 96.8 | 3.709 | 889.817 | 21.739 | 3.8442
2019-03-27 22:45:00 | 3.714 | 119.61 | 4.039 | 106.655 | 3.857 | 108.733 | 3.953 | 103 | 3.866 | 890.067 | 21.011 | 6.5322
2019-03-27 23:00:00 | 4.392 | 109.687 | 4.88 | 103.753 | 4.206 | 107.133 | 4.246 | 102.8 | 2.86 | 889.867 | 22.891 | 15.0178
2019-03-27 23:15:00 | 4.758 | 133.08 | 5.101 | 129.984 | 4.658 | 137.667 | 4.872 | 131.667 | 2.381 | 890.017 | 26.619 | 26.718
2019-03-27 23:30:00 | 3.781 | 136.187 | 5.418 | 124.796 | 5.29 | 127.167 | 5.649 | 124.2 | 1.502 | 889.567 | 26.917 | 25.6294
2019-03-27 23:45:00 | 5.099 | 132.403 | 5.502 | 123.631 | 5.463 | 127.8 | 5.62 | 125.633 | 2.172 | 889.35 | 24.832 | 26.1965