## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-28 00:00:00 | 4.673 | 140.937 | 5.105 | 131.53 | 4.388 | 137 | 4.782 | 131.2 | 2.114 | 889.667 | 25.232 | 24.5124
2019-03-28 00:15:00 | 3.78 | 149.873 | 4.348 | 142.814 | 4.373 | 146.667 | 4.861 | 141.467 | 1.479 | 889.733 | 25.387 | 20.944
2019-03-28 00:30:00 | 3.016 | 162.407 | 3.589 | 148.136 | 3.83 | 149.967 | 4.307 | 146.733 | 1.901 | 890.017 | 25.291 | 9.2821
2019-03-28 00:45:00 | 3.303 | 187.96 | 3.111 | 160.02 | 3.047 | 159.767 | 3.157 | 152.967 | 1.129 | 889.533 | 27.355 | 5.4358
2019-03-28 01:00:00 | 3.253 | 181.473 | 2.96 | 150.638 | 3.45 | 149.767 | 3.649 | 138.067 | 0.432 | 889.65 | 31.733 | 6.2672
2019-03-28 01:15:00 | 3.227 | 207.893 | 2.128 | 158.048 | 2.184 | 145.4 | 2.243 | 134.2 | -0.462 | 890.167 | 39.029 | 3.9962
2019-03-28 01:30:00 | 4.659 | 230.92 | 2.418 | 202.484 | 1.407 | 195.9 | 1.334 | 164 | -1.045 | 889.725 | 40.997 | 1.1781
2019-03-28 01:45:00 | 4.435 | 234.2 | 3.154 | 223.474 | 1.823 | 215.1 | 1.162 | 166.067 | -0.622 | 889.833 | 40.635 | 0.26007
2019-03-28 02:00:00 | 4.897 | 236.96 | 3.385 | 233.76 | 2.736 | 237.467 | 1.706 | 198.8 | -1.543 | 889.933 | 43.499 | 0.29986
2019-03-28 02:15:00 | 5.154 | 242.62 | 3.636 | 248.515 | 2.84 | 251 | 2.747 | 236.667 | -1.232 | 890.083 | 44.501 | 0.27002
2019-03-28 02:30:00 | 5.445 | 232.567 | 4.667 | 238.744 | 3.553 | 250.033 | 3.329 | 252.017 | -1.895 | 889.517 | 46.581 | 0.1343
2019-03-28 02:45:00 | 4.742 | 233.653 | 4.406 | 237.083 | 3.548 | 248.767 | 3.355 | 251.9 | -1.232 | 890.275 | 45.173 | 1.4908
2019-03-28 03:00:00 | 3.957 | 228.5 | 5.999 | 234.12 | 5.27 | 237.633 | 4.716 | 233.367 | -0.478 | 890.2 | 44.971 | 1.8667
2019-03-28 03:15:00 | 4.052 | 226.227 | 5.458 | 225.062 | 4.996 | 238.033 | 4.762 | 234.933 | -0.995 | 889.883 | 45.472 | 2.892
2019-03-28 03:30:00 | 4.957 | 224.487 | 4.582 | 233.017 | 4.145 | 244.933 | 3.801 | 244.633 | -1.149 | 889.85 | 46.731 | 2.0557
2019-03-28 03:45:00 | 4.781 | 222.827 | 4.199 | 232.46 | 3.689 | 244.4 | 3.283 | 246.4 | -1.099 | 889.833 | 46.016 | 1.9278
2019-03-28 04:00:00 | 4.787 | 217.767 | 2.886 | 224.095 | 2.314 | 238.633 | 2.368 | 245 | -0.738 | 889.95 | 44.917 | 0.46258
2019-03-28 04:15:00 | 4.868 | 216.767 | 3.557 | 220.443 | 2.878 | 225.8 | 2.352 | 222.4 | -0.662 | 890.325 | 45.685 | 0.26149
2019-03-28 04:30:00 | 4.712 | 223.1 | 3.144 | 231.169 | 2.33 | 241.9 | 2.082 | 236.167 | -0.658 | 890.317 | 45.376 | 0.29986
2019-03-28 04:45:00 | 4.947 | 230.273 | 3.224 | 244.6 | 2.249 | 263.133 | 1.968 | 239.1 | -0.412 | 889.692 | 44.267 | 0.30554
2019-03-28 05:00:00 | 5.031 | 230.78 | 5.252 | 243.158 | 4.371 | 252.767 | 3.34 | 249 | -1.222 | 889.925 | 45.291 | 0.23733
2019-03-28 05:15:00 | 5.025 | 234.24 | 4.009 | 254.513 | 3.154 | 273.467 | 3.067 | 268.767 | -1.419 | 889.742 | 45.707 | 0.9415
2019-03-28 05:30:00 | 5.576 | 224.1 | 4.634 | 244.692 | 3.925 | 258.467 | 3.16 | 264.2 | -1.6 | 889.592 | 45.76 | 0.68783
2019-03-28 05:45:00 | 4.881 | 224.647 | 3.116 | 257.235 | 2.753 | 273.467 | 2.738 | 278.533 | -2.038 | 889.975 | 46.469 | 0.21672
2019-03-28 06:00:00 | 4.528 | 221.853 | 2.787 | 261.46 | 2.635 | 278.733 | 2.592 | 274.233 | -2.214 | 889.533 | 47.141 | 0.22596
2019-03-28 06:15:00 | 3.955 | 229.26 | 2.85 | 265.753 | 2.448 | 292.2 | 2.319 | 295.267 | -2.545 | 890.108 | 48.379 | 0.28707
2019-03-28 06:30:00 | 3.748 | 227.753 | 1.259 | 259.559 | 0.22 | 291.067 | 0.536 | 292 | -2.378 | 889.6 | 48.416 | 0.28849
2019-03-28 06:45:00 | 3.576 | 216.233 | 2.297 | 238.048 | 2.05 | 267.467 | 1.857 | 284.867 | -2.143 | 889.542 | 46.155 | 0.28138
2019-03-28 07:00:00 | 3.857 | 218.607 | 1.849 | 252.203 | 0.627 | 274 | 0.406 | 248 | -2.91 | 890.267 | 50.496 | 0.28707
2019-03-28 07:15:00 | 4.289 | 212.973 | 2.378 | 237.227 | 2.345 | 260.667 | 2.215 | 255.917 | -3.213 | 890.367 | 51.253 | 0.3027
2019-03-28 07:30:00 | 4.812 | 213.933 | 2.811 | 236.067 | 2.262 | 255.733 | 2.464 | 256.333 | -3.204 | 889.8 | 53.056 | 0.28423
2019-03-28 07:45:00 | 4.7 | 224.233 | 3.588 | 243.071 | 2.93 | 255.9 | 2.749 | 255.95 | -3.404 | 889.992 | 53.413 | 0.26078
2019-03-28 08:00:00 | 5.068 | 234.72 | 2.437 | 244.879 | 2.362 | 265.667 | 2.743 | 266.9 | -1.356 | 889.825 | 48.683 | 0.085268
2019-03-28 08:15:00 | 4.359 | 235.887 | 2.437 | 247.767 | 1.534 | 259.3 | 2.128 | 258.033 | -1.065 | 889.867 | 44.661 | 0.41781
2019-03-28 08:30:00 | 4.372 | 233.94 | 4.884 | 233.973 | 3.563 | 246.367 | 3.257 | 251.733 | -0.05 | 889.608 | 42.005 | 1.8695
2019-03-28 08:45:00 | 4.09 | 238.353 | 5.1 | 236.24 | 4.814 | 249.4 | 4.818 | 250.033 | 1.439 | 889.65 | 37.488 | 2.6426
2019-03-28 09:00:00 | 3.783 | 230.767 | 4.19 | 230.231 | 4.723 | 242.9 | 4.432 | 239.267 | 3.204 | 889.933 | 33.685 | 3.8626
2019-03-28 09:15:00 | 2.595 | 235.74 | 2.53 | 234.712 | 2.758 | 241.967 | 2.994 | 237.4 | 5.022 | 889.65 | 30.027 | 2.1594
2019-03-28 09:30:00 | 1.301 | 253.68 | 0.95 | 258.61 | 1.25 | 258.033 | 1.79 | 262.833 | 6.889 | 889.55 | 26.389 | 0.21317
2019-03-28 09:45:00 | 0.975 | 307.387 | 0.17 | 294.709 | 0.32 | 281.133 | 0.977 | 275.067 | 6.13 | 889.8 | 25.229 | 0.19114
2019-03-28 10:00:00 | 1.088 | 105.676 | 0 | 302.462 | 0.077 | 294 | 0.134 | 77.919 | 7.256 | 889.767 | 24.285 | 0.1684
2019-03-28 10:15:00 | 1.651 | 36.855 | 1.164 | 22.251 | 0.999 | 13.069 | 1.172 | 14.467 | 6.854 | 890.35 | 24.096 | 0.16414
2019-03-28 10:30:00 | 1.862 | 193.813 | 0.887 | 329.463 | 0.587 | 303.167 | 1.073 | 343.2 | 7.056 | 890 | 23.84 | 0.17977
2019-03-28 10:45:00 | 1.946 | 71.737 | 1.35 | 119.97 | 1.204 | 152.433 | 1.741 | 137.733 | 7.569 | 889.917 | 23.869 | 0.26007
2019-03-28 11:00:00 | 2.077 | 290.928 | 1.644 | 300.728 | 1.894 | 295.9 | 2.15 | 295.7 | 8.414 | 889.483 | 23.219 | 0.25865
2019-03-28 11:15:00 | 1.875 | 301.76 | 2.306 | 294.993 | 2.147 | 308.767 | 2.609 | 310.267 | 8.317 | 889.2 | 23.301 | 0.21459
2019-03-28 11:30:00 | 2.425 | 313.854 | 2.163 | 300.209 | 2.161 | 297.383 | 2.597 | 295.933 | 8.633 | 889.95 | 22.957 | 0.33965
2019-03-28 11:45:00 | 2.585 | 268.014 | 3.036 | 317.569 | 3.02 | 250 | 3.282 | 260.368 | 9.054 | 889.917 | 22.128 | 0.90739
2019-03-28 12:00:00 | 4.686 | 304.707 | 4.966 | 302.412 | 5.246 | 305.433 | 5.509 | 304.6 | 9.328 | 889.717 | 22.029 | 1.9249
2019-03-28 12:15:00 | 3.902 | 261.987 | 4.237 | 305.081 | 4.479 | 316.3 | 4.469 | 323.033 | 8.97 | 889.55 | 22.147 | 3.5166
2019-03-28 12:30:00 | 4.22 | 323.32 | 4.464 | 314.787 | 4.721 | 318.067 | 4.946 | 312.867 | 9.587 | 889.583 | 21.147 | 6.4171
2019-03-28 12:45:00 | 5.24 | 211.487 | 5.615 | 327.268 | 6.112 | 293.933 | 6.25 | 314.1 | 10.178 | 889.633 | 20.861 | 8.3889
2019-03-28 13:00:00 | 5.714 | 319.52 | 5.866 | 311.774 | 5.804 | 315.2 | 6.053 | 316.4 | 10.547 | 889.733 | 19.859 | 12.5031
2019-03-28 13:15:00 | 6.691 | 301.947 | 6.746 | 305.204 | 7.251 | 310.533 | 7.442 | 308.233 | 10.94 | 889.2 | 19.251 | 12.7277
2019-03-28 13:30:00 | 5.467 | 300.047 | 5.571 | 299.07 | 5.592 | 303.434 | 5.766 | 324 | 11.228 | 889.267 | 19.101 | 15.3376
2019-03-28 13:45:00 | 5.463 | 303.467 | 6.079 | 299.464 | 6.624 | 304.3 | 7.118 | 301.467 | 11.245 | 889.133 | 18.345 | 14.2525
2019-03-28 14:00:00 | 5.25 | 309.027 | 5.6 | 318.179 | 6.029 | 309.533 | 6.065 | 306.933 | 11.478 | 889.067 | 17.556 | 16.6472
2019-03-28 14:15:00 | 6.245 | 297.573 | 6.619 | 302.315 | 6.718 | 316.4 | 7.021 | 326.567 | 11.786 | 889.333 | 16.741 | 14.9077
2019-03-28 14:30:00 | 5.526 | 322.8 | 5.852 | 328.03 | 6.287 | 334.633 | 6.567 | 308.333 | 11.724 | 889.633 | 16.609 | 17.7023
2019-03-28 14:45:00 | 5.505 | 313.053 | 5.844 | 312.322 | 6.172 | 316.467 | 6.418 | 317.733 | 11.728 | 889.567 | 16.401 | 11.1026
2019-03-28 15:00:00 | 4.346 | 174.633 | 4.494 | 247.177 | 4.756 | 204.5 | 4.77 | 205.633 | 12.078 | 889.267 | 16.143 | 11.4906
2019-03-28 15:15:00 | 4.654 | 330.1 | 4.809 | 323.38 | 4.978 | 327.767 | 5.11 | 328 | 12.272 | 889.567 | 15.484 | 11.7975
2019-03-28 15:30:00 | 2.991 | 163.49 | 2.947 | 265.53 | 3.172 | 230.033 | 3.615 | 275.967 | 12.007 | 889.567 | 15.363 | 11.1857
2019-03-28 15:45:00 | 4.005 | 278.467 | 4.206 | 318.19 | 4.423 | 311.2 | 4.798 | 319.533 | 12.493 | 889.833 | 14.931 | 10.4524
2019-03-28 16:00:00 | 4.664 | 290.093 | 4.754 | 326.337 | 5.059 | 335.467 | 5.563 | 325.9 | 12.48 | 889.433 | 14.917 | 11.6185
2019-03-28 16:15:00 | 3.335 | 247.301 | 2.997 | 328.07 | 3.11 | 290.667 | 4.015 | 328.9 | 12.651 | 889.567 | 14.68 | 10.4276
2019-03-28 16:30:00 | 7.638 | 327.333 | 7.892 | 331.813 | 7.922 | 335.333 | 7.937 | 333.233 | 13.047 | 889.5 | 14.501 | 9.1336
2019-03-28 16:45:00 | 4.048 | 314.867 | 4.306 | 307.07 | 4.723 | 310.2 | 4.492 | 307.133 | 12.647 | 890 | 14.756 | 15.7057
2019-03-28 17:00:00 | 6.626 | 324.96 | 6.822 | 317.534 | 6.776 | 320.633 | 7.074 | 320.267 | 13.06 | 889.667 | 14.379 | 10.7068
2019-03-28 17:15:00 | 7.185 | 277.92 | 7.32 | 343.755 | 7.22 | 276.433 | 7.454 | 333.633 | 13.156 | 889.667 | 14.044 | 21.0029
2019-03-28 17:30:00 | 5.701 | 44.456 | 6.09 | 73.619 | 6.013 | 64.9 | 6.192 | 63.067 | 13.003 | 889.333 | 13.536 | 16.8333
2019-03-28 17:45:00 | 6.05 | 163.922 | 6.394 | 242.41 | 6.566 | 233 | 6.67 | 244.933 | 13.42 | 889.433 | 12.977 | 10.2627
2019-03-28 18:00:00 | 5.434 | 268.527 | 5.771 | 298.024 | 5.862 | 244.2 | 5.909 | 301.634 | 13.224 | 889.267 | 13.125 | 19.5583
2019-03-28 18:15:00 | 5.356 | 296.621 | 5.511 | 324.161 | 5.711 | 316.067 | 6.037 | 313.767 | 13.574 | 889.733 | 12.679 | 11.6732
2019-03-28 18:30:00 | 6.509 | 325.933 | 7.089 | 315.022 | 7.553 | 320.2 | 7.744 | 319.567 | 13.566 | 889.467 | 12.172 | 16.4354
2019-03-28 18:45:00 | 4.459 | 314.407 | 4.757 | 313.602 | 5.088 | 321.2 | 5.459 | 321.133 | 13.604 | 889.2 | 12.221 | 24.6382
2019-03-28 19:00:00 | 4.216 | 306.4 | 4.781 | 307.699 | 4.759 | 303.3 | 4.872 | 318.2 | 13.383 | 889.533 | 12.297 | 22.8071
2019-03-28 19:15:00 | 7.152 | 321.947 | 7.471 | 316.831 | 7.77 | 323.133 | 8.035 | 322.733 | 13.558 | 889.267 | 12.164 | 17.1936
2019-03-28 19:30:00 | 5.278 | 332.88 | 5.619 | 327.452 | 5.858 | 333.233 | 6.181 | 330.767 | 12.884 | 889.7 | 12.149 | 22.785
2019-03-28 19:45:00 | 5.283 | 316.853 | 6.065 | 311.296 | 6.581 | 316 | 6.879 | 316.133 | 12.653 | 889.433 | 12.683 | 16.9868
2019-03-28 20:00:00 | 4.366 | 315.573 | 5.13 | 309.792 | 5.802 | 314.1 | 6.309 | 313 | 11.911 | 889.8 | 14.08 | 20.3648
2019-03-28 20:15:00 | 4.642 | 303.787 | 6.012 | 299.956 | 6.307 | 305.4 | 6.585 | 305.033 | 11.428 | 889.2 | 15.343 | 18.7526
2019-03-28 20:30:00 | 3.745 | 296.453 | 4.963 | 299.563 | 5.363 | 306.4 | 5.9 | 305.467 | 10.907 | 889.5 | 15.896 | 15.9451
2019-03-28 20:45:00 | 3.35 | 296.8 | 3.999 | 300.633 | 4.344 | 305.633 | 4.761 | 302.133 | 10.203 | 889.367 | 16.396 | 7.7729
2019-03-28 21:00:00 | 3.258 | 282.733 | 3.724 | 293.549 | 4.005 | 302.8 | 4.358 | 301.867 | 9.766 | 889.633 | 16.831 | 3.5734
2019-03-28 21:15:00 | 2.898 | 254.16 | 3.05 | 288.926 | 3.114 | 296.2 | 3.446 | 293.167 | 8.622 | 889.467 | 17.327 | 1.1284
2019-03-28 21:30:00 | 3.336 | 247.7 | 3.48 | 274.046 | 3.073 | 289 | 3.028 | 294.433 | 7.406 | 889.267 | 19.181 | 0.17977
2019-03-28 21:45:00 | 3.548 | 234.933 | 2.467 | 255.482 | 2.227 | 269.6 | 2.54 | 287 | 7.306 | 889.567 | 20.379 | 0.13359
2019-03-28 22:00:00 | 4.014 | 219.807 | 2.439 | 246.379 | 1.978 | 266.467 | 2.274 | 284.6 | 7.669 | 889.75 | 20.389 | 0.28565
2019-03-28 22:15:00 | 5.048 | 217.653 | 2.78 | 231.492 | 1.867 | 245.133 | 1.978 | 260.6 | 6.867 | 890.233 | 21.019 | 0.17267
2019-03-28 22:30:00 | 5.062 | 222.48 | 2.809 | 227.453 | 1.941 | 244.1 | 2.141 | 260 | 7.683 | 890.217 | 21.104 | 0.051871
2019-03-28 22:45:00 | 6.002 | 220.407 | 4.909 | 233.864 | 3.454 | 246.8 | 2.516 | 256.933 | 5.286 | 889.767 | 22.885 | 0.1009
2019-03-28 23:00:00 | 5.546 | 221.66 | 4.665 | 233.262 | 3.99 | 243.433 | 3.495 | 243.933 | 4.169 | 889.617 | 24.944 | 1.2406
2019-03-28 23:15:00 | 3.52 | 232.593 | 3.342 | 246.563 | 2.463 | 264.8 | 2.331 | 296.133 | 4.566 | 889.583 | 25.395 | 1.6521
2019-03-28 23:30:00 | 4.388 | 237.473 | 4.245 | 245.312 | 3.506 | 256.733 | 2.88 | 258.417 | 4.822 | 889.533 | 25.083 | 1.4098
2019-03-28 23:45:00 | 4.388 | 246.967 | 4.343 | 245.549 | 4.123 | 258.7 | 3.172 | 262.933 | 4.835 | 889.667 | 25.024 | 1.7274