## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-29 00:00:00 | 5.282 | 234.233 | 5.087 | 235.276 | 4.643 | 249.633 | 3.76 | 246.5 | 5.348 | 889.417 | 24.715 | 0.77167
2019-03-29 00:15:00 | 5.799 | 229.6 | 5.558 | 232.226 | 4.632 | 244.867 | 3.716 | 244.033 | 3.522 | 889.817 | 26.469 | 2.752
2019-03-29 00:30:00 | 6.391 | 225.8 | 6.214 | 230.031 | 4.999 | 236.633 | 4.071 | 233.333 | 3.271 | 889.933 | 27.52 | 4.0318
2019-03-29 00:45:00 | 6.54 | 226.02 | 6.874 | 234.18 | 5.87 | 243.533 | 4.504 | 242.9 | 2.687 | 889.417 | 28.581 | 6.5038
2019-03-29 01:00:00 | 6.573 | 225.12 | 5.6 | 235.741 | 4.347 | 248.467 | 3.652 | 257.7 | 2.307 | 889.567 | 29.653 | 9.2629
2019-03-29 01:15:00 | 6.101 | 225.673 | 5.163 | 241.744 | 4.356 | 259.2 | 4.03 | 268.233 | 2.385 | 889.767 | 28.992 | 5.1523
2019-03-29 01:30:00 | 6.665 | 223.933 | 5.801 | 241.08 | 4.716 | 257.367 | 4.125 | 272.233 | 2.148 | 890.067 | 28.816 | 4.0566
2019-03-29 01:45:00 | 6.358 | 219.767 | 6.558 | 230.584 | 5.85 | 243.367 | 4.697 | 246.567 | 1.9 | 890.017 | 28.72 | 5.3655
2019-03-29 02:00:00 | 6.852 | 218.74 | 7.082 | 230.513 | 6.453 | 239.767 | 5.755 | 240.967 | 2.114 | 889.783 | 28.949 | 9.6438
2019-03-29 02:15:00 | 6.09 | 217.46 | 6.897 | 231.515 | 6.163 | 242.133 | 5.492 | 245.133 | 2.124 | 889.567 | 29.099 | 12.906
2019-03-29 02:30:00 | 6.966 | 218.56 | 6.465 | 233.377 | 6.097 | 245.367 | 5.669 | 246.633 | 1.985 | 889.733 | 28.949 | 15.0242
2019-03-29 02:45:00 | 6.662 | 218.36 | 6.419 | 228.242 | 5.818 | 241.033 | 5.431 | 245.433 | 1.954 | 889.967 | 28.928 | 16.1185
2019-03-29 03:00:00 | 7.231 | 217.393 | 6.809 | 227.472 | 6.215 | 237.167 | 5.532 | 240.167 | 1.928 | 889.667 | 29.125 | 15.1152
2019-03-29 03:15:00 | 6.88 | 218.58 | 6.406 | 228.337 | 5.937 | 238.067 | 5.462 | 237.167 | 1.529 | 889.983 | 29.44 | 14.1602
2019-03-29 03:30:00 | 7.019 | 216.907 | 6.391 | 222.18 | 5.599 | 236.667 | 5.477 | 244.067 | 1.605 | 889.383 | 29.627 | 12.4719
2019-03-29 03:45:00 | 6.605 | 219.993 | 6.65 | 219.328 | 5.874 | 228.1 | 4.762 | 231.967 | 1.229 | 889.683 | 30.165 | 9.6125
2019-03-29 04:00:00 | 7.024 | 216.753 | 6.725 | 214.231 | 5.722 | 221.633 | 4.833 | 221.867 | 1.456 | 889.733 | 30.907 | 7.5633
2019-03-29 04:15:00 | 7.08 | 216.547 | 7.009 | 213.81 | 6.03 | 218.467 | 4.901 | 219.833 | 1.032 | 889.867 | 31.845 | 7.8304
2019-03-29 04:30:00 | 6.732 | 217.02 | 6.697 | 216.417 | 5.558 | 221.4 | 4.73 | 223.2 | 1.142 | 889.5 | 32.72 | 8.7471
2019-03-29 04:45:00 | 6.659 | 216.687 | 7.003 | 216.42 | 6.105 | 222.267 | 5.03 | 224.233 | 0.865 | 889.733 | 33.499 | 10.1689
2019-03-29 05:00:00 | 6.463 | 214.087 | 6.86 | 218.512 | 5.934 | 223.333 | 4.898 | 220.567 | 0.815 | 889.967 | 35.248 | 9.2743
2019-03-29 05:15:00 | 6.661 | 214.067 | 6.689 | 219.801 | 5.92 | 224.267 | 5.253 | 222.733 | 0.465 | 889.783 | 36.965 | 9.2722
2019-03-29 05:30:00 | 6.451 | 217.313 | 5.995 | 222.681 | 5.475 | 229.333 | 4.74 | 229.267 | 0.415 | 889.6 | 38.123 | 8.6824
2019-03-29 05:45:00 | 6.687 | 212.647 | 6.583 | 217.564 | 5.638 | 223.867 | 4.772 | 223.567 | 0.665 | 889.833 | 39.077 | 8.934
2019-03-29 06:00:00 | 6.503 | 213.987 | 6.2 | 218.88 | 5.367 | 226.467 | 4.613 | 226.967 | 0.982 | 890.017 | 39.323 | 8.5922
2019-03-29 06:15:00 | 6.274 | 217.28 | 6.341 | 221.374 | 5.504 | 231.6 | 4.825 | 234.567 | 0.499 | 889.583 | 40.603 | 7.6713
2019-03-29 06:30:00 | 6.284 | 216.34 | 6.348 | 219.87 | 5.487 | 228.567 | 4.632 | 232.133 | 0.482 | 890.175 | 41.227 | 7.5007
2019-03-29 06:45:00 | 6.49 | 216.887 | 5.761 | 219.043 | 4.93 | 228.4 | 4.097 | 232.633 | 0.449 | 890.042 | 42.059 | 5.8586
2019-03-29 07:00:00 | 5.98 | 215.34 | 5.851 | 216.716 | 4.991 | 224.233 | 4.275 | 226.9 | 0.416 | 889.733 | 42.795 | 3.3752
2019-03-29 07:15:00 | 5.173 | 212.08 | 6.564 | 216.973 | 5.565 | 222.133 | 4.753 | 221.133 | -0.123 | 889.633 | 43.851 | 3.776
2019-03-29 07:30:00 | 4.836 | 209.3 | 5.439 | 213.076 | 4.373 | 221.1 | 3.794 | 222.533 | -0.782 | 889.525 | 45.483 | 3.5877
2019-03-29 07:45:00 | 5.306 | 212.02 | 5.726 | 211.444 | 4.581 | 218.667 | 3.964 | 217.667 | 0.532 | 889.692 | 42.112 | 1.5789
2019-03-29 08:00:00 | 5.486 | 217.96 | 4.968 | 214.196 | 4.153 | 222.533 | 3.569 | 220.4 | 1.342 | 889.833 | 39.541 | 1.3551
2019-03-29 08:15:00 | 5.431 | 221.38 | 4.533 | 220.574 | 3.776 | 229.133 | 3.244 | 231.067 | 1.916 | 889.4 | 37.349 | 0.78731
2019-03-29 08:30:00 | 4.761 | 221.167 | 4.259 | 220.88 | 3.37 | 231.867 | 2.82 | 233.467 | 3.321 | 889.683 | 34.48 | 0.31549
2019-03-29 08:45:00 | 3.015 | 217 | 3.339 | 214.92 | 2.069 | 229.867 | 2.029 | 232.283 | 5.101 | 889.833 | 31.088 | 0.22738
2019-03-29 09:00:00 | 1.317 | 222.3 | 0 | 263.015 | 0.217 | 303.867 | 1.479 | 270.4 | 7.189 | 889.917 | 27.272 | 0.27428
2019-03-29 09:15:00 | 0.791 | 32.925 | 0 | 263.42 | 0 | 231 | 0.95 | 278.7 | 9.258 | 890.067 | 24.341 | 0.26291
2019-03-29 09:30:00 | 1.996 | 26.159 | 1.557 | 23.328 | 1.515 | 33 | 2.058 | 27.367 | 7.816 | 889.633 | 24.912 | 0.26149
2019-03-29 09:45:00 | 2.753 | 67.177 | 2.645 | 59.295 | 2.531 | 64.667 | 2.84 | 63.233 | 8.217 | 889.55 | 25.595 | 0.18972
2019-03-29 10:00:00 | 3.348 | 65.487 | 3.709 | 61.717 | 3.52 | 67.833 | 3.484 | 64.733 | 7.472 | 889.517 | 27.067 | 0.46329
2019-03-29 10:15:00 | 3.233 | 60.672 | 3.111 | 56.841 | 3.201 | 65.767 | 3.216 | 63.9 | 7.596 | 890.1 | 25.851 | 0.85481
2019-03-29 10:30:00 | 2.687 | 65.272 | 2.626 | 59.072 | 2.742 | 67.433 | 3.06 | 61.933 | 8.03 | 889.967 | 24.955 | 1.0097
2019-03-29 10:45:00 | 3.098 | 44.397 | 2.814 | 42.427 | 2.661 | 50.533 | 2.845 | 46.833 | 8.512 | 889.983 | 23.893 | 0.80934
2019-03-29 11:00:00 | 3.394 | 63.229 | 3.601 | 59.52 | 3.706 | 66.033 | 3.67 | 62.5 | 9.13 | 889.7 | 23.589 | 0.86831
2019-03-29 11:15:00 | 3.976 | 48.903 | 3.785 | 46.469 | 3.862 | 52.1 | 3.74 | 46.9 | 9.695 | 889.683 | 22.837 | 2.7982
2019-03-29 11:30:00 | 3.806 | 26.385 | 3.642 | 28.446 | 3.9 | 38.533 | 3.845 | 35.7 | 9.72 | 889.767 | 22.693 | 3.5003
2019-03-29 11:45:00 | 2.427 | 128.5 | 2.269 | 47.139 | 2.787 | 36.709 | 3.32 | 32.467 | 9.833 | 889.367 | 21.912 | 2.6113
2019-03-29 12:00:00 | 2.873 | 67.106 | 2.707 | 74.34 | 2.79 | 31.601 | 2.95 | 17.933 | 10.139 | 889.55 | 20.411 | 2.131
2019-03-29 12:15:00 | 4.581 | 41.23 | 4.626 | 37.234 | 4.738 | 38.6 | 4.79 | 38.6 | 10.52 | 889.7 | 18.427 | 2.5111
2019-03-29 12:30:00 | 3.598 | 62.828 | 3.388 | 37.946 | 3.534 | 43.533 | 3.662 | 45.833 | 10.795 | 889.4 | 17.581 | 2.585
2019-03-29 12:45:00 | 3.488 | 50.929 | 3.744 | 37.588 | 3.704 | 42.8 | 3.788 | 35.2 | 10.895 | 889.433 | 16.064 | 3.8015
2019-03-29 13:00:00 | 4.021 | 69.922 | 3.953 | 63.036 | 3.912 | 67.133 | 4.179 | 62.267 | 10.895 | 889.3 | 15.637 | 5.013
2019-03-29 13:15:00 | 5.029 | 77.78 | 4.803 | 71.779 | 4.836 | 76 | 4.828 | 70.867 | 11.095 | 889.633 | 15.069 | 4.8795
2019-03-29 13:30:00 | 4.863 | 35.95 | 5.097 | 37.23 | 5.144 | 43.467 | 5.174 | 46.167 | 11.395 | 889.267 | 13.989 | 4.9455
2019-03-29 13:45:00 | 2.965 | 89.769 | 3.467 | 86.889 | 3.538 | 92.067 | 3.929 | 84.5 | 11.703 | 889.633 | 14.067 | 4.6762
2019-03-29 14:00:00 | 4.814 | 44.679 | 4.56 | 40.058 | 4.527 | 45.233 | 4.731 | 48.333 | 11.766 | 889.833 | 13.725 | 5.5978
2019-03-29 14:15:00 | 4.894 | 94.253 | 4.828 | 84.536 | 4.936 | 83.967 | 5.172 | 77.7 | 12.049 | 889.6 | 12.765 | 6.4157
2019-03-29 14:30:00 | 3.572 | 134.772 | 3.983 | 94.447 | 4.036 | 90.404 | 4.138 | 88.5 | 12.488 | 889.133 | 12.34 | 6.7774
2019-03-29 14:45:00 | 6.124 | 70.458 | 6.028 | 62.423 | 6.118 | 62.367 | 6.033 | 57.433 | 12.338 | 889.333 | 12.245 | 9.2523
2019-03-29 15:00:00 | 2.891 | 91.097 | 3.265 | 90.768 | 3.589 | 95.333 | 3.863 | 89.833 | 12.42 | 889.233 | 11.928 | 5.9908
2019-03-29 15:15:00 | 4.773 | 44.558 | 4.623 | 40.923 | 4.744 | 51.533 | 5.209 | 53.233 | 12.407 | 889.433 | 11.605 | 8.0543
2019-03-29 15:30:00 | 4.342 | 42.637 | 4.261 | 41.711 | 4.647 | 53.333 | 4.893 | 52.1 | 12.859 | 889.2 | 11.36 | 11.3264
2019-03-29 15:45:00 | 4.61 | 48.221 | 4.868 | 46.563 | 4.382 | 50.167 | 4.425 | 47.533 | 12.578 | 889.8 | 11.563 | 12.2075
2019-03-29 16:00:00 | 3.644 | 97.023 | 3.996 | 89.04 | 4.007 | 91.333 | 4.217 | 84.7 | 12.62 | 889.2 | 11.555 | 9.253
2019-03-29 16:15:00 | 4.214 | 102.963 | 4.48 | 92.655 | 4.265 | 97.567 | 4.37 | 92.733 | 12.753 | 889.433 | 11.28 | 9.9664
2019-03-29 16:30:00 | 3.766 | 60.801 | 3.955 | 63.171 | 4.197 | 71.033 | 4.51 | 67.667 | 12.645 | 889.233 | 10.853 | 10.2982
2019-03-29 16:45:00 | 6.326 | 76.985 | 6.044 | 73.697 | 6.056 | 82.033 | 6.322 | 76.833 | 12.639 | 888.933 | 11.352 | 12.2182
2019-03-29 17:00:00 | 5.924 | 84.817 | 5.964 | 78.752 | 6.029 | 83.2 | 6.253 | 77.033 | 12.739 | 889.567 | 11.619 | 12.9344
2019-03-29 17:15:00 | 4.248 | 104.697 | 4.323 | 97.52 | 4.567 | 98.5 | 4.556 | 95.567 | 12.72 | 889.667 | 11.173 | 12.1308
2019-03-29 17:30:00 | 5.256 | 65.487 | 5.396 | 61.816 | 5.416 | 70.033 | 5.571 | 65.067 | 13.032 | 889.567 | 11.048 | 13.1092
2019-03-29 17:45:00 | 5.193 | 86.833 | 5.154 | 83.891 | 4.764 | 91.3 | 4.954 | 87.233 | 12.52 | 889.367 | 11.325 | 14.3534
2019-03-29 18:00:00 | 5.234 | 89.648 | 4.875 | 84.039 | 5.078 | 88.4 | 5.636 | 84.967 | 12.714 | 889.067 | 11.251 | 10.9655
2019-03-29 18:15:00 | 4.395 | 104.74 | 4.288 | 97.399 | 4.148 | 100.7 | 4.381 | 94.833 | 12.511 | 889.7 | 11.267 | 13.5526
2019-03-29 18:30:00 | 4.939 | 71.978 | 5.19 | 67.148 | 5.264 | 72.867 | 5.251 | 71.167 | 12.693 | 889.567 | 11.221 | 14.6981
2019-03-29 18:45:00 | 4.992 | 81.26 | 5.088 | 76.878 | 5.196 | 80.467 | 4.976 | 79.533 | 12.161 | 889.267 | 11.395 | 14.7507
2019-03-29 19:00:00 | 5.058 | 90.533 | 5.279 | 83.701 | 4.915 | 89.833 | 4.654 | 87.067 | 11.99 | 889.567 | 11.731 | 16.5121
2019-03-29 19:15:00 | 5.124 | 91.007 | 5.194 | 85.101 | 4.781 | 87.7 | 5.041 | 84.1 | 12.124 | 889.7 | 11.621 | 19.8674
2019-03-29 19:30:00 | 5.17 | 91.6 | 5.357 | 85.681 | 4.969 | 91.467 | 5.045 | 86.467 | 11.786 | 889.633 | 11.189 | 24.538
2019-03-29 19:45:00 | 5.114 | 98.227 | 4.637 | 90.926 | 4.369 | 95.633 | 4.479 | 90.4 | 11.52 | 889.8 | 11.483 | 24.236
2019-03-29 20:00:00 | 5.819 | 92.5 | 5.687 | 88.973 | 4.929 | 96.6 | 5.252 | 88.167 | 11.078 | 889.467 | 11.264 | 31.3459
2019-03-29 20:15:00 | 5.832 | 92.05 | 5.756 | 87.661 | 4.938 | 94.567 | 4.816 | 84.633 | 10.33 | 889.3 | 11.688 | 34.6394
2019-03-29 20:30:00 | 9.384 | 84.433 | 10.515 | 79.213 | 10.719 | 84.7 | 10.509 | 81.733 | 9.628 | 889.633 | 13.603 | 47.7487
2019-03-29 20:45:00 | 8.789 | 89.133 | 8.961 | 84.568 | 8.678 | 89.5 | 8.791 | 85.3 | 8.728 | 889.433 | 14.509 | 59.085
2019-03-29 21:00:00 | 6.835 | 96.67 | 6.244 | 91.539 | 5.128 | 103.267 | 4.988 | 97.433 | 8.287 | 889.333 | 14.712 | 56.8937
2019-03-29 21:15:00 | 6.295 | 103.173 | 6.649 | 97.118 | 5.652 | 101.333 | 5.591 | 97.367 | 7.766 | 889.667 | 15.107 | 55.744
2019-03-29 21:30:00 | 7.559 | 106.913 | 7.495 | 101.559 | 6.905 | 103.3 | 6.32 | 93.667 | 7.726 | 889.333 | 15.392 | 46.3218
2019-03-29 21:45:00 | 6.889 | 108.6 | 7.601 | 104.081 | 7.028 | 107.033 | 6.814 | 99.767 | 7.389 | 889.533 | 15.565 | 41.6882
2019-03-29 22:00:00 | 6.125 | 106.467 | 6.887 | 104.196 | 6.479 | 107.133 | 6.462 | 103.1 | 7.189 | 889.767 | 15.885 | 46.5599
2019-03-29 22:15:00 | 5.274 | 119.7 | 6.15 | 112.143 | 6.2 | 116.033 | 6.574 | 111.767 | 6.708 | 889.5 | 16.368 | 36.4563
2019-03-29 22:30:00 | 5.489 | 115.197 | 5.814 | 107.408 | 6.211 | 115.067 | 6.258 | 108.367 | 6.554 | 890.067 | 16.685 | 32.8211
2019-03-29 22:45:00 | 5.477 | 119.687 | 6.3 | 112.942 | 6.599 | 118.333 | 6.934 | 111.733 | 6.158 | 889.567 | 17.157 | 30.5117
2019-03-29 23:00:00 | 5.546 | 117.39 | 6.262 | 111.048 | 6.452 | 114.967 | 6.889 | 111.8 | 6.234 | 889.9 | 17.536 | 26.1673
2019-03-29 23:15:00 | 5.656 | 119.727 | 6.574 | 112.926 | 6.936 | 114.967 | 7.102 | 108.033 | 5.567 | 889.633 | 17.813 | 25.9037
2019-03-29 23:30:00 | 4.822 | 123.457 | 5.547 | 116.954 | 5.847 | 120.567 | 6.538 | 116.167 | 5.594 | 889.9 | 18.195 | 28.7701
2019-03-29 23:45:00 | 4.264 | 134.24 | 4.83 | 125.707 | 4.849 | 131.3 | 5.122 | 124.167 | 5.65 | 889.833 | 18.277 | 22.2812