## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-30 00:00:00 | 4.729 | 130.907 | 5.867 | 119.556 | 6.031 | 125.333 | 6.443 | 119.733 | 5.319 | 889.767 | 18.469 | 23.7471
2019-03-30 00:15:00 | 4.764 | 126.783 | 5.825 | 118.938 | 6.225 | 123.167 | 6.622 | 117.367 | 5.442 | 889.267 | 18.576 | 25.9129
2019-03-30 00:30:00 | 4.943 | 126.96 | 6.077 | 118.626 | 6.224 | 122.5 | 6.623 | 117.967 | 5.087 | 889.433 | 18.744 | 26.2078
2019-03-30 00:45:00 | 5.374 | 122.83 | 6.209 | 113.651 | 6.796 | 117.967 | 7.295 | 114.633 | 5.048 | 889.667 | 18.813 | 27.7824
2019-03-30 01:00:00 | 4.666 | 129.107 | 5.771 | 121.703 | 5.766 | 123.667 | 5.932 | 118.7 | 5.113 | 889.667 | 18.709 | 25.8199
2019-03-30 01:15:00 | 4.006 | 131.4 | 4.752 | 122.989 | 4.958 | 124.833 | 5.289 | 117.033 | 4.981 | 889.833 | 18.677 | 19.2883
2019-03-30 01:30:00 | 3.538 | 127.65 | 4.178 | 117.698 | 4.602 | 118.9 | 4.839 | 110.4 | 5.172 | 889.633 | 18.845 | 13.1149
2019-03-30 01:45:00 | 2.974 | 137.887 | 3.28 | 127.445 | 3.392 | 130.667 | 3.798 | 125.7 | 4.583 | 889.567 | 19.16 | 8.6412
2019-03-30 02:00:00 | 2.469 | 138.847 | 2.645 | 127.207 | 2.515 | 131.467 | 2.798 | 127.767 | 4.709 | 889.7 | 19.152 | 5.59
2019-03-30 02:15:00 | 2.58 | 163.54 | 3.029 | 144.395 | 3.205 | 148.233 | 3.194 | 143.067 | 4.457 | 889.6 | 19.685 | 3.9692
2019-03-30 02:30:00 | 3.036 | 199.7 | 1.944 | 159.38 | 1.987 | 162.567 | 2.758 | 150.5 | 3.438 | 889.45 | 20.504 | 2.9076
2019-03-30 02:45:00 | 3.431 | 214.28 | 2.457 | 177.746 | 2.303 | 161.2 | 3.177 | 144.733 | 2.556 | 889.35 | 21.44 | 3.3816
2019-03-30 03:00:00 | 3.811 | 209.667 | 3.004 | 187.603 | 2.632 | 178.067 | 2.884 | 157.6 | 3.154 | 889.933 | 21.072 | 4.2826
2019-03-30 03:15:00 | 4.159 | 214.74 | 2.559 | 187.66 | 2.055 | 180.967 | 2.183 | 161.933 | 3.331 | 889.767 | 20.637 | 2.3356
2019-03-30 03:30:00 | 5.031 | 222.78 | 2.703 | 213.26 | 1.944 | 203.933 | 1.887 | 172.8 | 1.802 | 889.65 | 21.211 | 0.34391
2019-03-30 03:45:00 | 4.029 | 226.02 | 1.356 | 213.434 | 0.086 | 206.033 | 0.883 | 186 | -0.013 | 889.567 | 23.429 | 0.33112
2019-03-30 04:00:00 | 3.886 | 244.873 | 1.494 | 242.791 | 0 | 206 | 0.091 | 186 | 1.366 | 889.733 | 22.507 | 0.24444
2019-03-30 04:15:00 | 2.454 | 235.113 | 0.242 | 247.474 | 0 | 284 | 0.087 | 291 | 1.032 | 890.017 | 22.661 | 0.2487
2019-03-30 04:30:00 | 2.559 | 221.493 | 0.203 | 247.606 | 1.636 | 14.367 | 2.14 | 6.5 | 0.698 | 890.217 | 22.496 | 0.25296
2019-03-30 04:45:00 | 1.714 | 269.834 | 2.25 | 230.437 | 3.491 | 31.671 | 4.071 | 21.567 | 0.782 | 889.85 | 23.019 | 0.86547
2019-03-30 05:00:00 | 2.062 | 253.999 | 2.312 | 14.18 | 3.063 | 33.029 | 3.534 | 43.367 | 0.432 | 889.95 | 22.992 | 2.7421
2019-03-30 05:15:00 | 2.159 | 294.64 | 0.706 | 344.472 | 0.814 | 12.922 | 2.079 | 51.767 | 0.482 | 890.25 | 23.085 | 4.5071
2019-03-30 05:30:00 | 1.674 | 281.133 | 0.053 | 328.99 | 0.027 | 221.07 | 0.877 | 49.2 | 0.548 | 889.567 | 22.955 | 1.2883
2019-03-30 05:45:00 | 3.407 | 288.24 | 1.903 | 331.083 | 1.657 | 108.167 | 2.321 | 17.567 | -0.425 | 889.883 | 23.787 | 0.56561
2019-03-30 06:00:00 | 1.092 | 301.453 | 0.573 | 7.894 | 2.064 | 39.621 | 2.442 | 48.267 | -0.319 | 890.067 | 23.803 | 0.25509
2019-03-30 06:15:00 | 1.353 | 294.427 | 0.073 | 13.031 | 1.231 | 37.986 | 2.146 | 57.067 | -0.106 | 890.233 | 23.904 | 0.13003
2019-03-30 06:30:00 | 2.345 | 279.787 | 0.18 | 344.101 | 0 | 15.353 | 2.119 | 70.6 | -0.099 | 889.483 | 23.597 | 0.17977
2019-03-30 06:45:00 | 3.385 | 273.333 | 2.349 | 305.376 | 0.587 | 336.2 | 0.981 | 89.429 | -0.459 | 890.183 | 23.325 | 0.20109
2019-03-30 07:00:00 | 3.555 | 289.96 | 2.966 | 317.237 | 2.387 | 344.3 | 1.924 | 15.771 | 0.05 | 890.033 | 23.133 | 0.30412
2019-03-30 07:15:00 | 3.19 | 287.667 | 2.673 | 325.1 | 2.527 | 209.333 | 2.522 | 2.8 | -0.559 | 889.7 | 22.853 | 0.2288
2019-03-30 07:30:00 | 2.894 | 300 | 2.24 | 336.623 | 1.91 | 119.971 | 2.13 | 15.205 | -0.406 | 889.533 | 23.283 | 0.23307
2019-03-30 07:45:00 | 2.895 | 297.547 | 1.81 | 314.883 | 1.133 | 337.167 | 1.31 | 1.803 | -0.372 | 889.75 | 22.779 | 0.32118
2019-03-30 08:00:00 | 2.198 | 306.6 | 1.138 | 320.098 | 0 | 352.367 | 0.426 | 22.933 | -0.399 | 889.817 | 22.995 | 0.27712
2019-03-30 08:15:00 | 2.445 | 330.667 | 1.85 | 336.911 | 0.784 | 353.2 | 1.266 | 23.002 | -0.116 | 889.683 | 22.411 | 0.27428
2019-03-30 08:30:00 | 1.686 | 341.253 | 0.79 | 350.852 | 1.028 | 19.977 | 1.552 | 30.2 | 0.332 | 889.483 | 20.869 | 0.27428
2019-03-30 08:45:00 | 0.964 | 313.693 | 0 | 351.05 | 0 | 24.025 | 0.784 | 35.067 | 0.549 | 889.233 | 19.976 | 0.27144
2019-03-30 09:00:00 | 1.656 | 339.88 | 0.62 | 340.117 | 0.26 | 336.367 | 0.581 | 200.4 | 1.105 | 889.667 | 18.683 | 0.28707
2019-03-30 09:15:00 | 1.049 | 330.053 | 0.303 | 327.384 | 0.147 | 318.9 | 0.45 | 348.2 | 1.886 | 889.667 | 18.191 | 0.19683
2019-03-30 09:30:00 | 0.638 | 34.933 | 0.116 | 68.957 | 0.106 | 215.835 | 0.406 | 202.267 | 3.154 | 890 | 17.115 | 0.27428
2019-03-30 09:45:00 | 0.346 | 66.94 | 0 | 0 | 0 | 308.067 | 0 | 304.9 | 4.285 | 889.967 | 15.973 | 0.24017
2019-03-30 10:00:00 | 0.259 | 52.148 | 0 | 21.535 | 0 | 214.533 | 0.229 | 304.367 | 6.028 | 889.567 | 15.245 | 0.24159
2019-03-30 10:15:00 | 1.428 | 79.582 | 0.834 | 72.878 | 0.94 | 74.933 | 1.746 | 66.633 | 5.157 | 889.867 | 15.013 | 0.2487
2019-03-30 10:30:00 | 3.333 | 82.963 | 3.784 | 73.943 | 3.774 | 78.133 | 3.896 | 75.367 | 5.28 | 889.3 | 15.845 | 1.1341
2019-03-30 10:45:00 | 4.954 | 77.497 | 4.9 | 76.112 | 4.973 | 82.1 | 4.886 | 76.767 | 5.762 | 889.533 | 15.677 | 4.1014
2019-03-30 11:00:00 | 4.043 | 62.037 | 3.93 | 61.312 | 4.112 | 64.433 | 4.753 | 61.133 | 6.631 | 889.567 | 14.896 | 5.3975
2019-03-30 11:15:00 | 4.695 | 63.865 | 4.696 | 55.77 | 5.007 | 63.333 | 4.908 | 63.233 | 7.686 | 889.333 | 14.016 | 4.6109
2019-03-30 11:30:00 | 1.281 | 217.213 | 0.771 | 53.719 | 0.829 | 163.567 | 1.552 | 103.1 | 8.65 | 889.5 | 13.123 | 4.8503
2019-03-30 11:45:00 | 5.369 | 85.157 | 5.325 | 84.282 | 5.268 | 89.733 | 5.619 | 87.2 | 9.428 | 889.467 | 12.853 | 13.8461
2019-03-30 12:00:00 | 5.767 | 103.82 | 6.057 | 95.974 | 5.821 | 105.7 | 5.861 | 100.367 | 9.587 | 889.567 | 12.859 | 19.4596
2019-03-30 12:15:00 | 3.79 | 121.533 | 4.209 | 110.811 | 4.283 | 112.533 | 4.409 | 110.767 | 9.982 | 889.8 | 12.733 | 16.1085
2019-03-30 12:30:00 | 7.18 | 96.068 | 7.616 | 89.694 | 7.861 | 91.833 | 7.93 | 88.533 | 10.709 | 889.667 | 11.789 | 19.218
2019-03-30 12:45:00 | 8.112 | 77.535 | 8.734 | 72.607 | 8.456 | 79.133 | 8.167 | 76.9 | 10.566 | 889.633 | 11.712 | 33.5316
2019-03-30 13:00:00 | 7.385 | 74.98 | 7.586 | 71.437 | 7.761 | 77.4 | 7.848 | 73.733 | 10.711 | 889.433 | 11.619 | 36.1316
2019-03-30 13:15:00 | 6.614 | 67.502 | 6.711 | 65.305 | 6.975 | 70.733 | 7.234 | 69.633 | 10.845 | 889.767 | 11.4 | 31.7446
2019-03-30 13:30:00 | 6.973 | 86.57 | 6.804 | 81.457 | 7.16 | 87.033 | 7.451 | 80.733 | 10.928 | 889.267 | 11.453 | 26.7436
2019-03-30 13:45:00 | 5.304 | 64.886 | 5.686 | 65.389 | 6.027 | 70.833 | 6.555 | 69.767 | 11.403 | 889.467 | 11.107 | 24.5508
2019-03-30 14:00:00 | 7.213 | 79.223 | 7.587 | 72.907 | 7.791 | 77.533 | 8.132 | 74.567 | 11.378 | 889.333 | 11.2 | 27.791
2019-03-30 14:15:00 | 6.739 | 90.125 | 7.06 | 82.89 | 6.87 | 92.233 | 7.176 | 85 | 12.107 | 889.2 | 10.447 | 28.3246
2019-03-30 14:30:00 | 7.119 | 80.672 | 7.039 | 75.474 | 7.297 | 80.067 | 7.419 | 76.833 | 12.007 | 888.967 | 10.513 | 30.8265
2019-03-30 14:45:00 | 5.291 | 101.745 | 5.051 | 94.847 | 5.233 | 97.433 | 5.775 | 95.333 | 12.228 | 888.933 | 9.981 | 29.2547
2019-03-30 15:00:00 | 8.705 | 68.158 | 8.719 | 65.873 | 9.058 | 71.033 | 9.389 | 68.833 | 12.216 | 889.2 | 10.229 | 38.6939
2019-03-30 15:15:00 | 6.584 | 83.49 | 6.664 | 79.996 | 6.949 | 82.933 | 7.309 | 79.8 | 12.366 | 889.2 | 9.928 | 36.543
2019-03-30 15:30:00 | 5.682 | 84.661 | 5.826 | 78.572 | 6.424 | 81.9 | 6.657 | 77.467 | 12.353 | 888.933 | 9.713 | 31.6188
2019-03-30 15:45:00 | 7.085 | 83.92 | 7.551 | 79.6 | 7.786 | 82.5 | 8.027 | 80.1 | 12.716 | 889.133 | 9.483 | 26.4693
2019-03-30 16:00:00 | 6.987 | 68.468 | 7.042 | 63.243 | 7.287 | 70.067 | 7.391 | 68.833 | 13.024 | 888.867 | 9.391 | 28.9712
2019-03-30 16:15:00 | 6.262 | 79.932 | 6.56 | 74.314 | 6.931 | 79.267 | 6.949 | 75.133 | 12.834 | 888.933 | 9.201 | 29.0728
2019-03-30 16:30:00 | 4.97 | 68.838 | 5.244 | 65.1 | 5.535 | 72.7 | 5.972 | 71.133 | 12.803 | 888.867 | 8.856 | 18.9679
2019-03-30 16:45:00 | 6.903 | 86.943 | 6.93 | 82.776 | 7.004 | 87.5 | 7.69 | 81.267 | 13.051 | 889 | 9.009 | 23.9823
2019-03-30 17:00:00 | 7.051 | 75.53 | 7.118 | 68.336 | 7.753 | 73.433 | 8.114 | 69.9 | 13.135 | 888.933 | 8.939 | 25.9101
2019-03-30 17:15:00 | 7.233 | 72.458 | 7.559 | 65.451 | 7.838 | 68.867 | 7.975 | 64.967 | 12.943 | 889.267 | 9.049 | 25.7772
2019-03-30 17:30:00 | 6.955 | 76.12 | 7.17 | 70.622 | 7.372 | 73.5 | 7.547 | 69.367 | 13.141 | 888.867 | 8.955 | 27.0939
2019-03-30 17:45:00 | 7.441 | 70.57 | 7.633 | 66.8 | 7.717 | 70.9 | 7.981 | 66.633 | 12.959 | 888.933 | 9.024 | 28.4653
2019-03-30 18:00:00 | 6.71 | 84.712 | 6.768 | 79.37 | 6.681 | 84.8 | 6.632 | 81.667 | 13.222 | 889 | 8.916 | 26.0124
2019-03-30 18:15:00 | 5.598 | 87.153 | 5.944 | 81.315 | 6.071 | 88.333 | 6.262 | 83 | 13.303 | 889.2 | 8.688 | 24.7505
2019-03-30 18:30:00 | 5.922 | 82.08 | 5.976 | 74.956 | 6.116 | 79.7 | 6.603 | 75.133 | 13.245 | 889 | 8.589 | 25.795
2019-03-30 18:45:00 | 5.63 | 81.727 | 5.885 | 75.862 | 5.878 | 81.933 | 5.91 | 79.367 | 13.591 | 888.8 | 8.609 | 24.5551
2019-03-30 19:00:00 | 5.258 | 79.927 | 5.59 | 74.926 | 5.911 | 79.467 | 6.233 | 74.033 | 13.103 | 889.133 | 8.679 | 20.1474
2019-03-30 19:15:00 | 5.932 | 75.367 | 6.092 | 70.404 | 6.3 | 75.267 | 6.214 | 73.133 | 12.768 | 889.333 | 8.943 | 20.1048
2019-03-30 19:30:00 | 5.884 | 74.44 | 6.246 | 71.249 | 6.495 | 77.567 | 6.879 | 74.667 | 12.511 | 889.067 | 9.176 | 22.181
2019-03-30 19:45:00 | 5.205 | 77.505 | 5.547 | 72.956 | 5.865 | 79.1 | 6.257 | 74.233 | 11.886 | 888.933 | 9.812 | 24.9196
2019-03-30 20:00:00 | 5.979 | 83 | 6.429 | 75.883 | 6.447 | 82.467 | 6.365 | 79.233 | 11.328 | 889.5 | 10.519 | 24.3319
2019-03-30 20:15:00 | 5.58 | 84.307 | 5.835 | 80.196 | 5.764 | 85.3 | 5.735 | 81.8 | 10.649 | 889.4 | 10.909 | 20.6512
2019-03-30 20:30:00 | 5.448 | 81.733 | 6.015 | 77.237 | 6.271 | 82.267 | 6.485 | 78 | 10.103 | 889.833 | 11.283 | 17.8104
2019-03-30 20:45:00 | 5.081 | 85.55 | 5.713 | 78.652 | 5.79 | 84.833 | 5.727 | 81.367 | 9.943 | 889.467 | 11.373 | 15.7568
2019-03-30 21:00:00 | 4.256 | 87.213 | 4.319 | 84.594 | 3.937 | 90.067 | 3.757 | 88.067 | 9.333 | 889.7 | 11.859 | 14.1815
2019-03-30 21:15:00 | 3.465 | 94.693 | 3.997 | 85.213 | 3.267 | 93.567 | 3.262 | 86.8 | 9.158 | 889.067 | 11.829 | 12.0178
2019-03-30 21:30:00 | 3.062 | 98.97 | 3.618 | 91.427 | 3.134 | 96.867 | 2.973 | 92.6 | 8.671 | 889.5 | 12.264 | 10.6237
2019-03-30 21:45:00 | 3.239 | 99.07 | 3.622 | 91.733 | 3 | 102.5 | 3.11 | 94.567 | 7.97 | 889.233 | 12.552 | 10.0396
2019-03-30 22:00:00 | 2.726 | 102.437 | 2.737 | 91.211 | 2.289 | 102.5 | 2.815 | 92.667 | 8.17 | 889.333 | 12.707 | 7.5711
2019-03-30 22:15:00 | 2.616 | 118.657 | 3.457 | 107.261 | 3.23 | 108.6 | 3.143 | 102.633 | 8.18 | 889.3 | 12.941 | 4.6116
2019-03-30 22:30:00 | 1.887 | 139.533 | 2.364 | 111.891 | 2.753 | 115.233 | 3.128 | 111.333 | 7.439 | 889.467 | 13.176 | 2.7684
2019-03-30 22:45:00 | 1.95 | 146.067 | 2.546 | 112.707 | 2.625 | 109.7 | 2.914 | 106.5 | 7.322 | 889.633 | 13.219 | 1.1994
2019-03-30 23:00:00 | 1.376 | 150.5 | 1.291 | 110.642 | 1.978 | 106.433 | 2.299 | 103.333 | 7.422 | 889.5 | 13.523 | 0.32899
2019-03-30 23:15:00 | 0.642 | 147.533 | 0.614 | 105.995 | 1.38 | 104 | 1.689 | 110.167 | 6.674 | 889.533 | 13.941 | 0.27925
2019-03-30 23:30:00 | 0.393 | 147.5 | 0.497 | 102.293 | 0.852 | 99 | 1.733 | 109.9 | 6.492 | 889.6 | 14.477 | 0.18048
2019-03-30 23:45:00 | 1.982 | 211.593 | 0 | 102.302 | 0.597 | 108.9 | 1.567 | 113.033 | 6.24 | 889.5 | 14.629 | 0.1947