## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-03-31 00:00:00 | 2.955 | 221.387 | 0 | 102.272 | 0 | 123.9 | 1.532 | 120.067 | 5.856 | 889.5 | 14.755 | 0.19896
2019-03-31 00:15:00 | 2.77 | 225.947 | 0 | 102.216 | 0.916 | 123.867 | 1.971 | 120 | 5.521 | 889.767 | 14.813 | 0.20464
2019-03-31 00:30:00 | 3.228 | 225.773 | 0 | 106.064 | 1.007 | 124.133 | 2.043 | 120 | 5.221 | 889.4 | 15.045 | 0.23307
2019-03-31 00:45:00 | 3.696 | 229.767 | 0 | 130.55 | 0.383 | 124 | 1.615 | 120 | 4.835 | 889.333 | 15.112 | 0.23307
2019-03-31 01:00:00 | 3.948 | 229.093 | 0.648 | 135.551 | 0.84 | 137.233 | 1.702 | 120 | 4.981 | 889.467 | 15.096 | 0.23591
2019-03-31 01:15:00 | 4.305 | 235.513 | 0.41 | 135.556 | 0 | 144 | 1.603 | 127 | 4.925 | 889.533 | 14.96 | 0.23733
2019-03-31 01:30:00 | 3.463 | 234.98 | 1.064 | 140.433 | 0 | 144 | 1.31 | 130 | 4.908 | 889.433 | 15.315 | 0.24301
2019-03-31 01:45:00 | 4.043 | 240.827 | 1.401 | 150.719 | 0 | 162 | 0 | 130 | 5.082 | 889.6 | 14.875 | 0.24444
2019-03-31 02:00:00 | 5.041 | 235.793 | 2.181 | 182.988 | 0.136 | 207.1 | 0 | 130 | 2.858 | 889.5 | 15.976 | 0.24586
2019-03-31 02:15:00 | 4.286 | 244.433 | 1.547 | 233.602 | 0.383 | 216.467 | 0.178 | 90.025 | 3.488 | 889.3 | 16.448 | 0.25012
2019-03-31 02:30:00 | 4.236 | 239.167 | 1.874 | 243.525 | 0.193 | 269.6 | 0.202 | 58.992 | 3.086 | 889.5 | 16.205 | 0.24586
2019-03-31 02:45:00 | 5.013 | 234.96 | 2.591 | 248.574 | 1.514 | 290.867 | 1.33 | 327.7 | 2.196 | 889.533 | 16.595 | 0.24159
2019-03-31 03:00:00 | 4.139 | 247.5 | 2.12 | 276.082 | 1.537 | 322.967 | 1.809 | 136.65 | 3.521 | 889.733 | 16.399 | 0.25154
2019-03-31 03:15:00 | 3.825 | 245.2 | 1.206 | 288.169 | 0.68 | 284.833 | 1.361 | 29.472 | 3.455 | 889.533 | 16.172 | 0.28565
2019-03-31 03:30:00 | 3.95 | 247.087 | 1.251 | 296.558 | 1.047 | 259.467 | 1.867 | 20.633 | 2.683 | 889.633 | 16.319 | 0.27144
2019-03-31 03:45:00 | 3.98 | 245.16 | 0.734 | 304.36 | 0.478 | 13.833 | 2.266 | 48.6 | 2.773 | 889.367 | 16.32 | 0.26575
2019-03-31 04:00:00 | 3.38 | 253.753 | 1.151 | 311.277 | 1.942 | 22.615 | 2.646 | 43.667 | 2.373 | 889.733 | 16.656 | 0.27144
2019-03-31 04:15:00 | 3.008 | 257.167 | 1.307 | 319.92 | 1.984 | 27.534 | 2.29 | 46.5 | 3.338 | 889.333 | 16.204 | 0.27428
2019-03-31 04:30:00 | 3.227 | 246.86 | 0.881 | 323.282 | 1.094 | 31.403 | 2.615 | 37.933 | 3.263 | 889.667 | 16.144 | 0.31691
2019-03-31 04:45:00 | 3.116 | 239.087 | 0.2 | 288.173 | 0.167 | 2.2 | 2.297 | 41.333 | 2.628 | 889.7 | 16.396 | 0.29986
2019-03-31 05:00:00 | 4.232 | 234.433 | 0.694 | 274.965 | 0 | 343.8 | 1.758 | 41.975 | 2.399 | 889.667 | 16.44 | 0.26291
2019-03-31 05:15:00 | 5.208 | 225.247 | 0.778 | 264.584 | 0 | 278 | 0.312 | 42.125 | 0.765 | 889.267 | 17.611 | 0.27712
2019-03-31 05:30:00 | 4.719 | 229.653 | 1.459 | 259.864 | 0 | 278 | 0.531 | 42.225 | 1.195 | 889.867 | 17.888 | 0.27712
2019-03-31 05:45:00 | 5.764 | 231.813 | 2.906 | 235.381 | 1.366 | 240.667 | 0.454 | 153.333 | 0.15 | 889.5 | 18.485 | 0.27002
2019-03-31 06:00:00 | 4.96 | 227.847 | 1.422 | 231.721 | 0.434 | 220.167 | 0.42 | 233 | -0.852 | 889.2 | 19.765 | 0.28423
2019-03-31 06:15:00 | 4.388 | 224.08 | 1.108 | 231.45 | 0.167 | 165.033 | 1.866 | 161.433 | 1.102 | 889.467 | 18.4 | 0.27854
2019-03-31 06:30:00 | 6.263 | 226.847 | 2.145 | 231.682 | 0.043 | 165.567 | 0.869 | 145.067 | -1.246 | 889.167 | 19.755 | 0.27996
2019-03-31 06:45:00 | 5.684 | 228.1 | 3.237 | 237.82 | 1.648 | 239.433 | 0 | 145.067 | -1.8 | 889.5 | 20.451 | 0.28423
2019-03-31 07:00:00 | 6.018 | 225.367 | 3.419 | 238.486 | 2.349 | 238 | 1.469 | 199 | -1.882 | 889.683 | 20.976 | 0.29275
2019-03-31 07:15:00 | 6.991 | 222.733 | 4.332 | 232.494 | 3.562 | 237.833 | 2.488 | 219.467 | -1.895 | 889.867 | 22.256 | 0.27002
2019-03-31 07:30:00 | 6.353 | 221.667 | 5.202 | 225.069 | 4.16 | 231.2 | 3.326 | 227.8 | -1.132 | 889.7 | 21.573 | 0.72478
2019-03-31 07:45:00 | 5.871 | 224.853 | 4.142 | 226.683 | 3.517 | 235.667 | 2.873 | 229.2 | -0.495 | 889.35 | 20.544 | 0.74752
2019-03-31 08:00:00 | 5.728 | 216.907 | 4.722 | 222.705 | 3.476 | 230.667 | 2.852 | 227.433 | -0.05 | 889.367 | 19.536 | 0.15348
2019-03-31 08:15:00 | 5.346 | 220.467 | 4.5 | 225.446 | 3.473 | 228.433 | 2.402 | 218.267 | 1.179 | 889.333 | 19.072 | 0.13501
2019-03-31 08:30:00 | 4.84 | 224.087 | 4.287 | 226.022 | 3.428 | 231.833 | 2.647 | 225.5 | 2.679 | 889.9 | 20.072 | 0.13501
2019-03-31 08:45:00 | 4.131 | 233.067 | 4.114 | 226.686 | 2.952 | 234.367 | 1.976 | 230.033 | 4.719 | 889.467 | 18.333 | 0.26007
2019-03-31 09:00:00 | 3.111 | 230.647 | 2.523 | 225.041 | 1.986 | 223.833 | 1.729 | 215.467 | 6.796 | 889.1 | 16.291 | 0.25865
2019-03-31 09:15:00 | 2.687 | 235.993 | 1.884 | 231.546 | 1.099 | 229.833 | 0.802 | 189 | 8.704 | 889.767 | 14.059 | 0.25438
2019-03-31 09:30:00 | 1.557 | 238.933 | 0.313 | 231.384 | 0.213 | 236.7 | 0.366 | 189 | 10.33 | 889.167 | 12.325 | 0.2487
2019-03-31 09:45:00 | 1.165 | 147.12 | 1.043 | 155.465 | 1.374 | 120.433 | 2.08 | 95.7 | 10.893 | 889.2 | 10.693 | 0.25296
2019-03-31 10:00:00 | 2.504 | 105.063 | 2.055 | 93.82 | 2.396 | 94.633 | 2.942 | 92.067 | 9.889 | 889.667 | 10.947 | 0.29844
2019-03-31 10:15:00 | 2.864 | 95.03 | 2.784 | 84.319 | 3.106 | 87.333 | 3.056 | 82.133 | 10.564 | 889.867 | 10.603 | 0.17906
2019-03-31 10:30:00 | 2.816 | 61.418 | 2.679 | 58.218 | 2.822 | 66.433 | 2.98 | 62.667 | 10.657 | 889.567 | 10.467 | 0.41852
2019-03-31 10:45:00 | 3.268 | 75.718 | 3.164 | 68.472 | 3.394 | 79.767 | 3.315 | 79.733 | 10.878 | 889.733 | 10.287 | 0.73046
2019-03-31 11:00:00 | 3.244 | 74.923 | 3.08 | 70.543 | 3.348 | 80.433 | 3.452 | 78.167 | 11.278 | 889.267 | 10.132 | 1.6862
2019-03-31 11:15:00 | 4.089 | 72.348 | 3.866 | 65.58 | 3.643 | 63.8 | 3.827 | 57.9 | 11.516 | 889.433 | 10.219 | 3.3048
2019-03-31 11:30:00 | 4.53 | 79.528 | 4.447 | 75.141 | 4.326 | 80.067 | 4.264 | 77.3 | 11.482 | 889.667 | 10.325 | 3.626
2019-03-31 11:45:00 | 4.169 | 85.052 | 4.229 | 79.712 | 4.384 | 82.8 | 4.254 | 79.1 | 12.086 | 889.4 | 10.133 | 2.9467
2019-03-31 12:00:00 | 3.762 | 80.38 | 4.013 | 75.551 | 4.08 | 79.3 | 4.022 | 76.133 | 12.011 | 889.533 | 10.228 | 2.4074
2019-03-31 12:15:00 | 3.122 | 63.328 | 3.395 | 64.123 | 3.71 | 65.867 | 3.645 | 67.433 | 12.595 | 888.867 | 9.845 | 2.9965
2019-03-31 12:30:00 | 2.266 | 91.92 | 2.059 | 66.457 | 2.34 | 81.469 | 2.596 | 28.433 | 13.02 | 888.667 | 8.9 | 2.2269
2019-03-31 12:45:00 | 3.464 | 74.555 | 3.693 | 68.008 | 3.763 | 71.567 | 3.833 | 69.667 | 13.316 | 889.067 | 8.596 | 1.3238
2019-03-31 13:00:00 | 1.397 | 73.61 | 1.606 | 54.858 | 1.799 | 70.767 | 2.361 | 77.9 | 13.708 | 889 | 8.409 | 1.1262
2019-03-31 13:15:00 | 2.717 | 59.059 | 2.948 | 55.473 | 3.287 | 60.333 | 3.373 | 56.533 | 14.37 | 888.867 | 7.885 | 0.73473
2019-03-31 13:30:00 | 3.325 | 51.598 | 3.147 | 43.611 | 3.444 | 45.867 | 3.69 | 41.867 | 14.754 | 888.867 | 7.833 | 1.2364
2019-03-31 13:45:00 | 2.992 | 56.993 | 2.881 | 53.562 | 3.19 | 64 | 3.239 | 60.867 | 14.408 | 888.533 | 7.901 | 0.97277
2019-03-31 14:00:00 | 2.946 | 76.673 | 3.059 | 75.19 | 3.112 | 70.6 | 3.38 | 62.933 | 14.774 | 889.133 | 7.703 | 1.7551
2019-03-31 14:15:00 | 2.25 | 70.822 | 2.083 | 73.262 | 2.559 | 65.203 | 2.856 | 83.235 | 15.319 | 889 | 6.76 | 1.4211
2019-03-31 14:30:00 | 2.513 | 113.427 | 2.392 | 41.684 | 2.502 | 23.769 | 2.632 | 28.4 | 15.124 | 889.067 | 6.638 | 0.91308
2019-03-31 14:45:00 | 2.284 | 76.79 | 1.673 | 22.774 | 1.833 | 152.233 | 2.412 | 34.567 | 15.122 | 889 | 6.413 | 0.7731
2019-03-31 15:00:00 | 2.431 | 94.587 | 2.458 | 113.124 | 2.747 | 35.667 | 3.257 | 53.367 | 15.804 | 889.067 | 6.273 | 0.94576
2019-03-31 15:15:00 | 2.336 | 57.548 | 2.352 | 41.575 | 2.695 | 46.533 | 2.958 | 51.733 | 15.982 | 889.067 | 6.627 | 1.0289
2019-03-31 15:30:00 | 2.705 | 56.585 | 2.432 | 47.365 | 2.713 | 54.733 | 2.813 | 55.2 | 15.367 | 888.8 | 6.908 | 1.1291
2019-03-31 15:45:00 | 3.759 | 63.857 | 3.99 | 61.064 | 3.967 | 71.6 | 4.027 | 65.1 | 15.796 | 889.2 | 6.748 | 1.6173
2019-03-31 16:00:00 | 3.442 | 29.987 | 2.932 | 41.264 | 3.348 | 23.801 | 3.387 | 20.967 | 15.83 | 889.467 | 7.108 | 0.77168
2019-03-31 16:15:00 | 3.347 | 77.617 | 3.595 | 50.846 | 3.936 | 38 | 3.818 | 60.933 | 16.12 | 889.2 | 6.996 | 1.6393
2019-03-31 16:30:00 | 4.067 | 50.867 | 4.44 | 39.386 | 4.681 | 45.5 | 4.682 | 45.167 | 16.248 | 889.4 | 7.075 | 1.149
2019-03-31 16:45:00 | 2.481 | 71.553 | 1.948 | 70.836 | 2.061 | 77.733 | 2.324 | 63.033 | 15.868 | 889 | 7.776 | 0.86618
2019-03-31 17:00:00 | 2.54 | 49.647 | 2.55 | 36.067 | 3.017 | 42.433 | 3.396 | 37.933 | 15.583 | 888.733 | 7.896 | 0.25438
2019-03-31 17:15:00 | 2.73 | 81.304 | 2.717 | 43.945 | 2.847 | 13.636 | 3.076 | 14.5 | 15.977 | 889.067 | 8.521 | 0.071767
2019-03-31 17:30:00 | 2.181 | 113.41 | 1.528 | 98.388 | 1.951 | 104.533 | 2.208 | 90.9 | 16.108 | 889.267 | 8.516 | 0.082426
2019-03-31 17:45:00 | 2.331 | 233.381 | 2 | 208.34 | 2.176 | 223.433 | 2.352 | 166.867 | 15.597 | 888.867 | 9.69 | 0.10943
2019-03-31 18:00:00 | 2.466 | 35.837 | 2.258 | 40.553 | 2.43 | 47.433 | 2.666 | 39.333 | 15.844 | 889.067 | 9.293 | 0.1343
2019-03-31 18:15:00 | 1.658 | 82.533 | 0.797 | 45.674 | 1.625 | 51.767 | 2.109 | 43.367 | 16.01 | 888.933 | 9.359 | 0.16911
2019-03-31 18:30:00 | 1.311 | 19.526 | 0.457 | 15.704 | 0.606 | 35.367 | 1.556 | 24.233 | 15.756 | 889.033 | 9.876 | 0.15846
2019-03-31 18:45:00 | 1.004 | 44.71 | 0.184 | 47.013 | 0.516 | 56.933 | 1.565 | 53.3 | 15.626 | 888.867 | 9.625 | 0.15206
2019-03-31 19:00:00 | 1.861 | 16.708 | 0.798 | 5.321 | 0.753 | 110.667 | 1.629 | 286.067 | 15.348 | 889.433 | 10.212 | 0.16201
2019-03-31 19:15:00 | 1.795 | 328.48 | 1.432 | 331.206 | 1.705 | 335.8 | 2.139 | 330.7 | 15.497 | 889.167 | 10.305 | 0.14922
2019-03-31 19:30:00 | 2.108 | 26.04 | 1.236 | 17.312 | 1.148 | 12.1 | 1.493 | 184.967 | 15.357 | 889.6 | 10.867 | 0.1549
2019-03-31 19:45:00 | 0.176 | 30.15 | 0 | 21.062 | 0 | 18 | 0.47 | 30.033 | 14.891 | 889.533 | 11.392 | 0.12932
2019-03-31 20:00:00 | 1.511 | 344.8 | 1.276 | 336.752 | 1.443 | 326 | 1.865 | 315.067 | 14.758 | 889.2 | 11.701 | 0.11795
2019-03-31 20:15:00 | 1.011 | 342.267 | 0 | 336.326 | 0.06 | 326.3 | 1.282 | 315 | 14.791 | 889.933 | 11.648 | 0.1279
2019-03-31 20:30:00 | 1.338 | 315.867 | 0 | 334.884 | 0 | 320 | 2.432 | 314.433 | 14.654 | 889.433 | 12.085 | 0.12506
2019-03-31 20:45:00 | 0 | 315.067 | 0 | 335.514 | 0 | 320 | 0 | 314 | 14.383 | 889.6 | 12.551 | 0.13643
2019-03-31 21:00:00 | 0.947 | 303.867 | 0 | 335.193 | 0 | 320.1 | 0.336 | 313.867 | 13.71 | 889.633 | 12.872 | 0.13785
2019-03-31 21:15:00 | 1.975 | 238.087 | 0.457 | 292.623 | 0.669 | 281.4 | 1.8 | 299 | 13.297 | 889.667 | 13.304 | 0.15064
2019-03-31 21:30:00 | 2.5 | 221.2 | 0.2 | 230.957 | 0.991 | 231.733 | 1.582 | 285.867 | 13.118 | 889.3 | 13.635 | 0.1549
2019-03-31 21:45:00 | 2.724 | 216.313 | 1.636 | 223.355 | 1.778 | 227.033 | 2.13 | 235.033 | 13.176 | 889.367 | 13.483 | 0.16485
2019-03-31 22:00:00 | 3.312 | 214.007 | 1.981 | 216.457 | 2.054 | 219.633 | 2.807 | 220.133 | 13.41 | 889.433 | 13.643 | 0.19754
2019-03-31 22:15:00 | 4.706 | 223.013 | 3.343 | 219.15 | 3.045 | 219 | 3.061 | 220 | 10.632 | 889.567 | 14.208 | 0.20962
2019-03-31 22:30:00 | 5.381 | 220.367 | 4.887 | 213.54 | 3.999 | 219.133 | 3.485 | 220 | 10.391 | 889.633 | 14.749 | 0.54927
2019-03-31 22:45:00 | 4.882 | 219.8 | 4.978 | 219.688 | 4.567 | 221 | 4.299 | 220 | 9.733 | 889.7 | 15.021 | 2.1736
2019-03-31 23:00:00 | 4.805 | 222.3 | 4.84 | 223.177 | 4.486 | 222.433 | 4.511 | 220 | 9.699 | 889.533 | 15.016 | 2.8963
2019-03-31 23:15:00 | 5.161 | 226.3 | 4.986 | 229.984 | 4.461 | 231.967 | 4.683 | 222.433 | 9.562 | 889.567 | 15.2 | 3.3112
2019-03-31 23:30:00 | 6.152 | 232.027 | 8.071 | 239.444 | 7.648 | 249.333 | 7.205 | 245.967 | 9.537 | 889.5 | 15.365 | 9.9735
2019-03-31 23:45:00 | 5.634 | 253.093 | 6.572 | 260.754 | 6.77 | 270.833 | 7.142 | 267.567 | 10.006 | 889.8 | 19.932 | 41.1681