## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-01 00:00:00 | 4.686 | 253.673 | 5.268 | 263.589 | 5.68 | 273.933 | 6.154 | 273.8 | 10.045 | 889.767 | 24.624 | 21.8343
2019-04-01 00:15:00 | 4.175 | 245.087 | 5.43 | 259.857 | 5.748 | 269.8 | 6.107 | 269.033 | 10.426 | 889.517 | 28.064 | 14.5105
2019-04-01 00:30:00 | 4.548 | 254.967 | 5.427 | 264.201 | 5.712 | 272.367 | 6.057 | 270.467 | 9.599 | 890.033 | 32.552 | 15.7973
2019-04-01 00:45:00 | 4.63 | 247.867 | 5.51 | 259.574 | 5.899 | 268.067 | 6.068 | 265.7 | 9.599 | 890.017 | 34.163 | 16.0695
2019-04-01 01:00:00 | 5.129 | 245.373 | 5.515 | 256.475 | 5.944 | 268.8 | 6.205 | 267.4 | 9.141 | 889.717 | 35.131 | 16.9129
2019-04-01 01:15:00 | 4.744 | 265.873 | 5.853 | 270.595 | 6.248 | 277.633 | 6.673 | 275.6 | 9.562 | 889.633 | 37.088 | 20.6043
2019-04-01 01:30:00 | 4.974 | 250.787 | 6.033 | 260.304 | 6.428 | 269.133 | 6.806 | 267.167 | 9.074 | 889.533 | 38.707 | 20.0188
2019-04-01 01:45:00 | 5.148 | 242.033 | 6.144 | 250.2 | 6.312 | 259.167 | 6.545 | 257.783 | 8.624 | 889.683 | 40.549 | 20.9972
2019-04-01 02:00:00 | 5.212 | 244.84 | 6.227 | 254.546 | 6.641 | 262.567 | 6.884 | 260.167 | 8.421 | 889.808 | 42.123 | 23.9589
2019-04-01 02:15:00 | 5.428 | 245.94 | 6.413 | 253.14 | 6.71 | 260.933 | 6.962 | 259.05 | 8.437 | 890 | 42.859 | 25.0695
2019-04-01 02:30:00 | 5.671 | 248.9 | 6.755 | 253.916 | 7.031 | 262.133 | 7.345 | 260.267 | 8.073 | 890.167 | 44.427 | 25.434
2019-04-01 02:45:00 | 5.081 | 239.427 | 6.434 | 247.869 | 6.726 | 257.567 | 7.075 | 255.65 | 7.96 | 889.817 | 45.131 | 28.2649
2019-04-01 03:00:00 | 5.277 | 241.3 | 6.189 | 250.626 | 6.508 | 259.9 | 6.811 | 257.6 | 7.322 | 889.817 | 46.373 | 27.6105
2019-04-01 03:15:00 | 5.034 | 228.733 | 6.012 | 241.89 | 6.474 | 253.267 | 6.846 | 252.133 | 7.189 | 890.217 | 47.456 | 28.3559
2019-04-01 03:30:00 | 5.663 | 236.96 | 7.271 | 245.103 | 7.464 | 255.1 | 7.661 | 253.15 | 6.769 | 889.875 | 48.629 | 30.2318
2019-04-01 03:45:00 | 5.376 | 233.133 | 7.142 | 239.386 | 7.298 | 250.133 | 7.406 | 249.567 | 7.189 | 890 | 47.968 | 35.1638
2019-04-01 04:00:00 | 5.327 | 234.5 | 6.813 | 243.365 | 6.977 | 253.467 | 7.222 | 252.033 | 7.156 | 889.808 | 48.149 | 36.5281
2019-04-01 04:15:00 | 5.435 | 234 | 6.702 | 241.479 | 6.691 | 252.733 | 7.006 | 253.617 | 6.972 | 889.75 | 47.947 | 34.805
2019-04-01 04:30:00 | 4.987 | 230.02 | 6.303 | 237.476 | 6.397 | 250.1 | 6.503 | 250.9 | 6.999 | 889.883 | 48.213 | 32.939
2019-04-01 04:45:00 | 5.432 | 229.3 | 6.307 | 235.759 | 6.187 | 248.333 | 6.048 | 250.2 | 6.044 | 889.792 | 49.333 | 30.9374
2019-04-01 05:00:00 | 6.012 | 227 | 6.97 | 234.103 | 6.883 | 245.167 | 6.588 | 246.333 | 6.591 | 889.4 | 49.632 | 32.7763
2019-04-01 05:15:00 | 5.844 | 223.26 | 7.043 | 232.896 | 7.122 | 242.667 | 7.099 | 242.167 | 6.108 | 889.7 | 49.312 | 37.4312
2019-04-01 05:30:00 | 5.579 | 229.907 | 7.476 | 236.784 | 7.845 | 247.767 | 7.937 | 246.2 | 6.413 | 890.233 | 49.227 | 42.1231
2019-04-01 05:45:00 | 6.086 | 231.28 | 7.287 | 240.166 | 7.523 | 250.967 | 8.042 | 250.083 | 6.399 | 889.892 | 48.299 | 44.2292
2019-04-01 06:00:00 | 5.23 | 231.82 | 7.671 | 241.566 | 8.284 | 253.167 | 8.52 | 251.817 | 6.22 | 889.675 | 49.611 | 46.1371
2019-04-01 06:15:00 | 6.928 | 229.507 | 8.389 | 237.529 | 8.756 | 247.433 | 8.851 | 246.333 | 6.413 | 889.8 | 49.568 | 54.3001
2019-04-01 06:30:00 | 6.524 | 225.227 | 8.217 | 232.169 | 8.46 | 242.4 | 8.435 | 239.933 | 6.223 | 890.475 | 48.928 | 61.5052
2019-04-01 06:45:00 | 6.772 | 225.54 | 8.278 | 230.53 | 8.73 | 241.033 | 8.871 | 239.433 | 5.915 | 889.842 | 48.555 | 58.0206
2019-04-01 07:00:00 | 6.192 | 223.333 | 8.194 | 229.28 | 8.964 | 238.8 | 9.176 | 235.867 | 6.226 | 889.775 | 48.352 | 57.5467
2019-04-01 07:15:00 | 6.18 | 221.987 | 8.1 | 228.132 | 8.779 | 237.3 | 8.789 | 235.7 | 6.286 | 889.983 | 47.915 | 54.8614
2019-04-01 07:30:00 | 6.189 | 225.687 | 8.251 | 231.463 | 9.124 | 240.133 | 9.195 | 238.433 | 6.088 | 889.85 | 47.723 | 53.1319
2019-04-01 07:45:00 | 5.96 | 225.187 | 8.15 | 228.866 | 9.178 | 238.7 | 9.258 | 236.267 | 6.502 | 890.083 | 46.453 | 52.1798
2019-04-01 08:00:00 | 7.086 | 232.033 | 8.818 | 234.156 | 9.661 | 241.933 | 9.727 | 238.733 | 6.972 | 889.958 | 44.512 | 58.9806
2019-04-01 08:15:00 | 6.403 | 233.82 | 8.188 | 234.635 | 9.136 | 243.5 | 9.258 | 240.033 | 7.856 | 889.742 | 42.08 | 60.2653
2019-04-01 08:30:00 | 6.002 | 232.793 | 7.399 | 236.968 | 8.025 | 245.667 | 8.4 | 242.567 | 8.311 | 890.3 | 40.016 | 51.4202
2019-04-01 08:45:00 | 6.596 | 231.013 | 7.41 | 232.76 | 8.143 | 240.733 | 8.572 | 237.5 | 9.354 | 889.783 | 37.488 | 43.5819
2019-04-01 09:00:00 | 5.698 | 235.4 | 6.403 | 234.642 | 7.069 | 241.567 | 7.355 | 237.4 | 10.551 | 889.683 | 34.133 | 36.8166
2019-04-01 09:15:00 | 5.762 | 234.933 | 6.086 | 234.664 | 6.407 | 241.567 | 6.647 | 239.2 | 11.482 | 889.9 | 30.987 | 30.2289
2019-04-01 09:30:00 | 5.873 | 253.033 | 6.233 | 250.77 | 6.354 | 253.867 | 6.306 | 248.333 | 12.816 | 889.867 | 24.229 | 24.5899
2019-04-01 09:45:00 | 6.651 | 257.66 | 7.273 | 255.777 | 7.566 | 260.983 | 7.689 | 258.05 | 13.483 | 889.133 | 20.403 | 25.4063
2019-04-01 10:00:00 | 7.761 | 263.933 | 8.423 | 261.294 | 8.405 | 265.617 | 8.399 | 262.633 | 13.843 | 889.667 | 18.825 | 32.3407
2019-04-01 10:15:00 | 8.247 | 272.167 | 8.913 | 270.421 | 9.148 | 275.1 | 9.385 | 270.667 | 14.116 | 889.6 | 18.835 | 32.8971
2019-04-01 10:30:00 | 8.407 | 277.94 | 8.883 | 276.37 | 9.028 | 280.633 | 8.871 | 276.6 | 13.433 | 889.8 | 19.743 | 35.3379
2019-04-01 10:45:00 | 8.05 | 280.14 | 8.425 | 275.452 | 8.483 | 282.2 | 8.694 | 277.967 | 13.733 | 889.567 | 20.223 | 38.9895
2019-04-01 11:00:00 | 8.048 | 283.187 | 8.678 | 279.94 | 8.923 | 283.3 | 9.189 | 280.1 | 14.037 | 889.633 | 19.492 | 40.0944
2019-04-01 11:15:00 | 8.208 | 290.04 | 8.88 | 286.369 | 8.918 | 288.4 | 9.111 | 285.5 | 14.437 | 889.267 | 18.472 | 38.9121
2019-04-01 11:30:00 | 7.957 | 274.4 | 8.508 | 271.833 | 8.598 | 276.933 | 8.482 | 274.233 | 14.541 | 889.767 | 16.729 | 39.7093
2019-04-01 11:45:00 | 7.856 | 288.8 | 8.516 | 282.347 | 8.59 | 287.233 | 9.004 | 285.567 | 14.924 | 889.6 | 16.905 | 37.8192
2019-04-01 12:00:00 | 7.215 | 287.4 | 7.65 | 287.107 | 7.572 | 291.4 | 7.987 | 290.267 | 15.141 | 889.2 | 15.959 | 34.7588
2019-04-01 12:15:00 | 6.494 | 303.08 | 6.887 | 298.08 | 6.773 | 303.433 | 7.102 | 298.433 | 15.374 | 889.867 | 15.699 | 30.8407
2019-04-01 12:30:00 | 6.309 | 310.64 | 6.469 | 304.593 | 6.582 | 302.933 | 6.688 | 296.367 | 15.732 | 889.367 | 15.228 | 27.4883
2019-04-01 12:45:00 | 5.796 | 286.5 | 6.146 | 282.582 | 6.204 | 291.733 | 6.628 | 289.5 | 16.398 | 889.7 | 14.705 | 22.1285
2019-04-01 13:00:00 | 5.984 | 318.307 | 6.115 | 312.158 | 6.57 | 316.033 | 6.609 | 313.733 | 15.892 | 889.767 | 14.572 | 20.929
2019-04-01 13:15:00 | 6.727 | 298.733 | 6.987 | 294.31 | 7.072 | 301.5 | 6.991 | 297 | 16.498 | 889.7 | 14.132 | 22.7459
2019-04-01 13:30:00 | 6.944 | 310.48 | 7.505 | 303.483 | 7.545 | 306.9 | 7.917 | 306.1 | 17.131 | 889.533 | 14.575 | 18.6957
2019-04-01 13:45:00 | 5.776 | 311.973 | 6.082 | 309.91 | 6.29 | 316 | 6.381 | 312.7 | 16.464 | 889.633 | 15.299 | 16.5342
2019-04-01 14:00:00 | 7.497 | 303.573 | 7.896 | 297.727 | 8.056 | 301.9 | 8.153 | 298.1 | 17.218 | 889.167 | 15.163 | 19.7594
2019-04-01 14:15:00 | 6.028 | 319.867 | 6.24 | 310.698 | 6.438 | 314.8 | 6.852 | 311.6 | 16.848 | 889.667 | 14.273 | 18.7135
2019-04-01 14:30:00 | 6.219 | 299.293 | 6.43 | 288.722 | 6.482 | 293.433 | 6.739 | 291.3 | 17.081 | 889.7 | 13.744 | 18.5273
2019-04-01 14:45:00 | 6.498 | 307.4 | 6.584 | 307.89 | 6.794 | 313.9 | 7.087 | 310.867 | 17.689 | 889.5 | 13.348 | 15.938
2019-04-01 15:00:00 | 7.773 | 293.333 | 8.159 | 289.282 | 8.805 | 294.1 | 9.133 | 293.267 | 17.827 | 889.567 | 13.373 | 18.1727
2019-04-01 15:15:00 | 6.689 | 314.613 | 6.98 | 309.095 | 7.405 | 315.033 | 7.85 | 314.433 | 17.585 | 889.433 | 14.301 | 23.0273
2019-04-01 15:30:00 | 6.157 | 298.773 | 6.341 | 294.842 | 6.459 | 298.867 | 6.648 | 293.817 | 17.327 | 889.533 | 14.771 | 28.1576
2019-04-01 15:45:00 | 5.22 | 298.347 | 5.604 | 295.803 | 5.81 | 300.2 | 5.994 | 299.2 | 17.552 | 889.267 | 15.493 | 26.1687
2019-04-01 16:00:00 | 6.675 | 296.627 | 6.996 | 293.264 | 6.951 | 301.633 | 6.84 | 300.933 | 17.302 | 889.567 | 16.749 | 32.6655
2019-04-01 16:15:00 | 8.028 | 309.693 | 8.487 | 302.899 | 8.566 | 311.467 | 8.9 | 312.067 | 17.377 | 889.267 | 18.225 | 42.1039
2019-04-01 16:30:00 | 8.727 | 297.32 | 9.25 | 290.383 | 9.282 | 294.3 | 9.553 | 292.267 | 17.71 | 889.267 | 19.149 | 44.2228
2019-04-01 16:45:00 | 7.196 | 298.4 | 7.716 | 291.956 | 7.967 | 296.933 | 8.253 | 293.633 | 17.106 | 889.067 | 19.867 | 39.6276
2019-04-01 17:00:00 | 7.537 | 305.747 | 8.263 | 296.494 | 8.544 | 302.233 | 8.704 | 298.2 | 17.977 | 889.367 | 19.739 | 36.6354
2019-04-01 17:15:00 | 7.768 | 307.92 | 8.242 | 301.953 | 8.376 | 305.267 | 8.623 | 301.333 | 17.473 | 889.583 | 20.581 | 34.0127
2019-04-01 17:30:00 | 6.942 | 306.987 | 6.989 | 305.671 | 7.285 | 309.8 | 7.608 | 307.633 | 17.339 | 890.05 | 21.331 | 33.4975
2019-04-01 17:45:00 | 6.097 | 288.16 | 6.666 | 283.972 | 6.957 | 286.7 | 7.176 | 282.4 | 17.906 | 889.5 | 21.189 | 30.8819
2019-04-01 18:00:00 | 6.588 | 301.24 | 6.859 | 295.809 | 6.946 | 300.433 | 7.332 | 297.167 | 17.46 | 889.417 | 22.523 | 28.0496
2019-04-01 18:15:00 | 6.162 | 284.653 | 6.43 | 279.896 | 6.52 | 286.6 | 6.766 | 284 | 17.473 | 889.75 | 21.635 | 29.5375
2019-04-01 18:30:00 | 7.36 | 320.84 | 7.534 | 313.181 | 7.791 | 318.267 | 8.128 | 317.4 | 17.681 | 889.483 | 21.16 | 31.2806
2019-04-01 18:45:00 | 7.39 | 306.04 | 7.389 | 299.688 | 7.461 | 305.1 | 7.775 | 303.1 | 17.281 | 890.1 | 21.291 | 35.3805
2019-04-01 19:00:00 | 7.439 | 304.307 | 7.889 | 295.883 | 8.263 | 299.1 | 8.54 | 296.233 | 17.298 | 889.767 | 20.903 | 37.9997
2019-04-01 19:15:00 | 6.71 | 309.333 | 7.308 | 302.182 | 7.521 | 306.9 | 8.002 | 302.833 | 16.948 | 889.683 | 21.125 | 39.0144
2019-04-01 19:30:00 | 7.096 | 299.813 | 7.929 | 295.081 | 8.234 | 299.333 | 8.772 | 297.8 | 16.564 | 889.5 | 21.051 | 35.5219
2019-04-01 19:45:00 | 6.875 | 304.413 | 7.661 | 300.674 | 7.918 | 304.467 | 8.502 | 302.667 | 15.854 | 889.917 | 21.683 | 39.7505
2019-04-01 20:00:00 | 6.449 | 306.813 | 6.98 | 302.006 | 7.195 | 306.867 | 7.538 | 303.233 | 15.704 | 889.55 | 22.376 | 37.3666
2019-04-01 20:15:00 | 5.102 | 295.92 | 6.424 | 291.774 | 6.874 | 298.267 | 7.406 | 295.1 | 14.716 | 890.017 | 22.704 | 29.701
2019-04-01 20:30:00 | 4.684 | 293.067 | 5.743 | 288.12 | 6.127 | 292.433 | 6.58 | 288.8 | 14.808 | 889.933 | 23.029 | 24.0413
2019-04-01 20:45:00 | 4.385 | 286.92 | 5.692 | 285.074 | 6.138 | 289.4 | 6.611 | 286.9 | 14.204 | 889.417 | 24.285 | 20.7812
2019-04-01 21:00:00 | 4.454 | 274.613 | 5.393 | 276.22 | 5.76 | 281.9 | 6.432 | 279.5 | 13.799 | 889.683 | 24.752 | 18.6325
2019-04-01 21:15:00 | 4.51 | 274.2 | 5.676 | 273.557 | 5.936 | 280.833 | 6.21 | 277.767 | 13.754 | 889.233 | 24.392 | 17.9617
2019-04-01 21:30:00 | 4.389 | 265.653 | 5.18 | 270.205 | 5.473 | 276.133 | 5.942 | 272.933 | 13.091 | 889.683 | 24.803 | 16.4304
2019-04-01 21:45:00 | 4.665 | 254.5 | 5.52 | 261.402 | 5.753 | 269.733 | 6.075 | 266.4 | 12.632 | 889.183 | 26.021 | 15.7028
2019-04-01 22:00:00 | 4.727 | 252.227 | 5.544 | 260.05 | 5.763 | 268 | 6.036 | 264.3 | 12.345 | 889.567 | 26.651 | 16.3636
2019-04-01 22:15:00 | 5.102 | 249.147 | 5.63 | 256.711 | 5.76 | 265.133 | 6.083 | 262.7 | 11.566 | 889.633 | 27.259 | 16.822
2019-04-01 22:30:00 | 4.975 | 243.933 | 5.551 | 255.011 | 5.818 | 263.267 | 6.206 | 260.867 | 11.311 | 889.5 | 27.821 | 17.7464
2019-04-01 22:45:00 | 4.986 | 240.1 | 5.545 | 251.636 | 5.662 | 260.367 | 5.902 | 259.167 | 10.651 | 889.667 | 28.699 | 16.6329
2019-04-01 23:00:00 | 5.125 | 240.367 | 5.857 | 252.328 | 5.863 | 261.4 | 6.073 | 259.317 | 10.27 | 889.817 | 29.523 | 16.9428
2019-04-01 23:15:00 | 5.357 | 232.553 | 5.777 | 244.564 | 5.838 | 255.333 | 6.017 | 253.733 | 10.105 | 889.867 | 30.032 | 18.6254
2019-04-01 23:30:00 | 5.151 | 232.953 | 6.041 | 242.698 | 5.83 | 253.333 | 5.972 | 251.833 | 9.928 | 889.617 | 30.389 | 20.4942
2019-04-01 23:45:00 | 4.714 | 235.087 | 5.685 | 245.778 | 5.486 | 255.8 | 5.683 | 254.75 | 9.635 | 889.8 | 30.768 | 20.1559