## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-02 00:00:00 | 5.334 | 233.947 | 6.036 | 242.242 | 5.746 | 253.067 | 5.726 | 253 | 9.283 | 889.683 | 31.563 | 18.9544
2019-04-02 00:15:00 | 5.181 | 239.267 | 5.707 | 247.404 | 5.609 | 257.333 | 5.787 | 256.933 | 9.22 | 889.717 | 31.483 | 18.209
2019-04-02 00:30:00 | 4.834 | 233.58 | 5.598 | 245.279 | 5.449 | 256.4 | 5.505 | 255.25 | 9.42 | 890.05 | 31.52 | 16.6287
2019-04-02 00:45:00 | 4.726 | 237.767 | 5.404 | 251.609 | 5.156 | 264.267 | 5.2 | 264.5 | 8.828 | 889.717 | 32.16 | 13.7552
2019-04-02 01:00:00 | 5.127 | 225.547 | 5.346 | 242.081 | 4.761 | 255.967 | 4.489 | 259.367 | 8.05 | 889.433 | 33.024 | 10.7786
2019-04-02 01:15:00 | 5.295 | 230.047 | 5.693 | 244.646 | 5.046 | 256.767 | 4.928 | 258.633 | 7.8 | 890.05 | 34.123 | 11.0315
2019-04-02 01:30:00 | 5.164 | 221.32 | 5.859 | 236.571 | 5.235 | 250.267 | 4.796 | 252.933 | 7.446 | 889.983 | 35.376 | 11.4849
2019-04-02 01:45:00 | 5.412 | 220.933 | 5.928 | 232.549 | 5.237 | 246.233 | 4.66 | 250.133 | 7.206 | 889.4 | 36.661 | 10.829
2019-04-02 02:00:00 | 5.179 | 218.933 | 6.16 | 231.01 | 5.576 | 242.233 | 4.896 | 243.3 | 7.306 | 889.433 | 37.275 | 11.2724
2019-04-02 02:15:00 | 5.879 | 217.127 | 6.215 | 226.399 | 5.707 | 236.367 | 5.053 | 236.633 | 6.738 | 889.933 | 38.667 | 11.7805
2019-04-02 02:30:00 | 5.98 | 220.827 | 6.387 | 225.828 | 6.105 | 235.433 | 5.73 | 233.933 | 6.506 | 889.65 | 39.115 | 13.9733
2019-04-02 02:45:00 | 5.706 | 221.08 | 6.542 | 227.796 | 6.184 | 237.333 | 5.928 | 235.667 | 6.864 | 889.55 | 39.317 | 15.1607
2019-04-02 03:00:00 | 6.436 | 222.153 | 6.854 | 223.97 | 6.367 | 233.933 | 6.035 | 233.3 | 6.353 | 889.733 | 40.181 | 17.0508
2019-04-02 03:15:00 | 5.892 | 222.933 | 6.5 | 227.905 | 6.398 | 237.267 | 6.144 | 235.9 | 6.393 | 890.1 | 40.357 | 17.8899
2019-04-02 03:30:00 | 5.499 | 221.1 | 6.55 | 229.37 | 6.329 | 237.933 | 6.174 | 235.833 | 6.012 | 889.825 | 41.04 | 17.3414
2019-04-02 03:45:00 | 5.688 | 218.18 | 6.332 | 227.644 | 6.304 | 235.4 | 6.092 | 233.6 | 5.885 | 889.733 | 41.451 | 17.0756
2019-04-02 04:00:00 | 6.108 | 218.693 | 6.238 | 226.533 | 6.182 | 234.633 | 6.106 | 231.867 | 6.156 | 889.433 | 41.877 | 16.2322
2019-04-02 04:15:00 | 6.191 | 219.36 | 6.272 | 225.181 | 6.31 | 232.3 | 6.185 | 229.8 | 6.058 | 889.917 | 42.059 | 15.8996
2019-04-02 04:30:00 | 6.793 | 221.06 | 6.251 | 224.82 | 6.031 | 233.933 | 5.842 | 232.7 | 6.208 | 889.483 | 42.368 | 14.0301
2019-04-02 04:45:00 | 5.648 | 219.753 | 5.996 | 225.734 | 5.705 | 235.067 | 5.653 | 234.233 | 6.668 | 889.55 | 42.336 | 12.3219
2019-04-02 05:00:00 | 3.85 | 260.153 | 4.657 | 239.945 | 6.054 | 227.167 | 6.232 | 221.65 | 5.722 | 889.792 | 44.197 | 10.9868
2019-04-02 05:15:00 | 6.632 | 218.613 | 6.257 | 222.948 | 5.89 | 232.567 | 5.803 | 229.733 | 5.406 | 889.617 | 45.259 | 10.7168
2019-04-02 05:30:00 | 6.416 | 216.633 | 6.584 | 219.526 | 5.966 | 226.8 | 5.97 | 226.967 | 5.15 | 889.617 | 46.261 | 12.6637
2019-04-02 05:45:00 | 5.922 | 217.153 | 6.662 | 220.627 | 5.952 | 227.467 | 5.639 | 227.867 | 4.878 | 889.633 | 46.795 | 12.1542
2019-04-02 06:00:00 | 6.733 | 214.867 | 6.592 | 217.496 | 5.81 | 224.7 | 5.699 | 226.067 | 5.266 | 890.267 | 46.197 | 12.5138
2019-04-02 06:15:00 | 5.159 | 218.253 | 7.188 | 216.469 | 6.157 | 223.8 | 5.725 | 223.1 | 5.227 | 889.908 | 45.835 | 11.4273
2019-04-02 06:30:00 | 6.467 | 215.24 | 7.107 | 211.114 | 6.564 | 215.1 | 6.09 | 215.567 | 5.418 | 890.283 | 45.632 | 11.3549
2019-04-02 06:45:00 | 7.071 | 216.04 | 7.068 | 211.644 | 6.585 | 214.733 | 6.244 | 213.867 | 5.369 | 889.808 | 45.877 | 10.0019
2019-04-02 07:00:00 | 7.067 | 215.72 | 7.316 | 212.584 | 6.469 | 218.033 | 6.13 | 216.6 | 5.244 | 889.733 | 46.016 | 10.6535
2019-04-02 07:15:00 | 6.91 | 217.24 | 7.076 | 215.184 | 7.007 | 221.033 | 6.478 | 218.133 | 5.336 | 889.867 | 45.835 | 12.2026
2019-04-02 07:30:00 | 6.406 | 217.667 | 8.124 | 216.677 | 7.315 | 222.2 | 6.691 | 219.8 | 5.482 | 889.8 | 45.483 | 13.5796
2019-04-02 07:45:00 | 6.283 | 219.633 | 7.752 | 217.916 | 7.295 | 224.7 | 6.361 | 221.233 | 5.895 | 889.983 | 43.744 | 14.4131
2019-04-02 08:00:00 | 6.432 | 223.167 | 7.692 | 218.26 | 6.766 | 220.333 | 6.528 | 218.733 | 7.006 | 889.517 | 40.133 | 13.2109
2019-04-02 08:15:00 | 5.658 | 218.933 | 7.701 | 214.71 | 6.672 | 218.067 | 5.68 | 216.8 | 7.622 | 889.767 | 37.904 | 10.0176
2019-04-02 08:30:00 | 5.157 | 218.407 | 6.686 | 216.515 | 6.045 | 214.733 | 6.154 | 213.467 | 8.287 | 889.683 | 36.411 | 9.8264
2019-04-02 08:45:00 | 5.003 | 221.7 | 6.328 | 218.854 | 6.932 | 219.733 | 5.988 | 216.033 | 9.699 | 889.75 | 33.403 | 8.4913
2019-04-02 09:00:00 | 5.333 | 225.567 | 5.79 | 221.634 | 6.129 | 222.933 | 5.57 | 216.233 | 10.945 | 889.8 | 31.045 | 8.6483
2019-04-02 09:15:00 | 4.494 | 229.72 | 4.333 | 227.625 | 4.666 | 229.067 | 5.081 | 220.333 | 12.488 | 889.817 | 28.411 | 6.0135
2019-04-02 09:30:00 | 4.26 | 238.287 | 4.206 | 231.924 | 4.042 | 232.267 | 4.049 | 226.433 | 13.554 | 889.7 | 27.499 | 4.4844
2019-04-02 09:45:00 | 4.202 | 237.113 | 4.24 | 231.921 | 4.158 | 235.967 | 4.195 | 229.467 | 14.004 | 890.017 | 26.597 | 3.8925
2019-04-02 10:00:00 | 3.96 | 229.7 | 3.903 | 227.097 | 3.869 | 230.2 | 4.146 | 224.267 | 14.558 | 889.967 | 25.611 | 3.6658
2019-04-02 10:15:00 | 2.398 | 253.433 | 2.299 | 246.616 | 2.445 | 251.267 | 2.997 | 243.1 | 15.576 | 889.733 | 24.288 | 2.3058
2019-04-02 10:30:00 | 3.306 | 304.893 | 3.218 | 287.732 | 3.279 | 289.7 | 3.486 | 284.117 | 15.533 | 889.583 | 25.045 | 0.45405
2019-04-02 10:45:00 | 2.474 | 312.067 | 2.339 | 302.34 | 2.402 | 303.233 | 2.946 | 298.867 | 14.924 | 889.833 | 26.283 | 0.096637
2019-04-02 11:00:00 | 2.888 | 304.64 | 2.84 | 318.523 | 2.582 | 320.8 | 2.936 | 321 | 15.21 | 889.833 | 26.243 | 0.11653
2019-04-02 11:15:00 | 2.778 | 315.507 | 2.351 | 320.016 | 2.066 | 318.933 | 2.625 | 311.633 | 16.056 | 890.067 | 24.427 | 0.38086
2019-04-02 11:30:00 | 2.426 | 287.213 | 2.448 | 295.192 | 2.53 | 304.167 | 2.873 | 301 | 15.889 | 889.483 | 24.845 | 0.2757
2019-04-02 11:45:00 | 1.994 | 283.167 | 2.186 | 283.681 | 2.256 | 285.1 | 2.713 | 281.367 | 16.414 | 889.817 | 23.805 | 0.099479
2019-04-02 12:00:00 | 2.872 | 313.133 | 2.726 | 320.152 | 2.926 | 319.233 | 3.132 | 314.6 | 17.294 | 889.917 | 22.901 | 0.066083
2019-04-02 12:15:00 | 2.528 | 187.587 | 2.105 | 171.205 | 2.134 | 191.933 | 3.038 | 201.433 | 17.235 | 889.933 | 22.637 | 0.15206
2019-04-02 12:30:00 | 1.851 | 185.167 | 1.834 | 153.196 | 1.606 | 155.433 | 2.144 | 176.8 | 17.248 | 889.7 | 22.968 | 0.085268
2019-04-02 12:45:00 | 3.494 | 247.814 | 3.709 | 338.657 | 3.715 | 312.767 | 3.861 | 331.5 | 17.718 | 889.683 | 22.629 | 0.19683
2019-04-02 13:00:00 | 3.699 | 321.053 | 3.362 | 315.376 | 3.094 | 317.2 | 3.141 | 311 | 17.935 | 889.817 | 22.221 | 0.50166
2019-04-02 13:15:00 | 2.49 | 65.373 | 2.042 | 46.185 | 2.107 | 48.8 | 2.764 | 109.433 | 17.889 | 889.767 | 21.445 | 0.14425
2019-04-02 13:30:00 | 0.965 | 235.279 | 0.684 | 314.464 | 0.68 | 114.21 | 1.163 | 85.567 | 17.902 | 890.5 | 21.549 | 0.14211
2019-04-02 13:45:00 | 2.069 | 77.054 | 2.147 | 93.379 | 1.879 | 92.367 | 2.826 | 163.5 | 18.156 | 889.45 | 21.344 | 0.70346
2019-04-02 14:00:00 | 4.399 | 254.427 | 4.86 | 309.56 | 4.581 | 292.267 | 4.944 | 314.233 | 18.773 | 889.1 | 20.188 | 1.4098
2019-04-02 14:15:00 | 3.168 | 202.862 | 3.284 | 219.467 | 3.454 | 196.367 | 3.41 | 231.5 | 18.214 | 889.767 | 20.328 | 2.1154
2019-04-02 14:30:00 | 1.808 | 172.373 | 1.176 | 143.259 | 0.896 | 164.967 | 1.374 | 193.867 | 19.348 | 889.4 | 18.891 | 3.2246
2019-04-02 14:45:00 | 3.733 | 235.716 | 3.898 | 278.848 | 4.385 | 247.433 | 4.551 | 267.867 | 18.744 | 889.433 | 18.724 | 1.1199
2019-04-02 15:00:00 | 1.779 | 269.14 | 1.995 | 276.05 | 2.272 | 252.983 | 3.139 | 292.6 | 18.589 | 889.633 | 19.312 | 1.1575
2019-04-02 15:15:00 | 3.335 | 124.899 | 3.535 | 274.291 | 3.592 | 193.967 | 3.905 | 216.9 | 19.006 | 889.4 | 18.505 | 3.5656
2019-04-02 15:30:00 | 3.029 | 298.92 | 3.037 | 297.588 | 3.028 | 301.067 | 3.366 | 312.8 | 19.081 | 889.433 | 18.732 | 3.2274
2019-04-02 15:45:00 | 2.233 | 65.825 | 2.014 | 39.638 | 1.96 | 37.334 | 2.356 | 43.4 | 19.235 | 889.5 | 17.784 | 0.64804
2019-04-02 16:00:00 | 3.24 | 259.718 | 3.345 | 246.066 | 3.591 | 276 | 4.205 | 273.133 | 19.481 | 889.833 | 17.424 | 0.92658
2019-04-02 16:15:00 | 2.008 | 282.453 | 2.013 | 273.019 | 2.12 | 272.333 | 2.439 | 266.917 | 19.331 | 889.7 | 17.535 | 2.978
2019-04-02 16:30:00 | 6.386 | 333.253 | 6.489 | 329.585 | 6.51 | 337.233 | 6.484 | 336.4 | 19.439 | 889.167 | 16.508 | 1.6634
2019-04-02 16:45:00 | 4.639 | 304.853 | 4.726 | 300.076 | 4.752 | 305.1 | 4.594 | 303.2 | 19.185 | 889.367 | 17.039 | 3.631
2019-04-02 17:00:00 | 2.807 | 254.101 | 2.461 | 234.845 | 2.45 | 202.6 | 2.744 | 210.667 | 19.227 | 889.733 | 16.845 | 5.9261
2019-04-02 17:15:00 | 4.529 | 225.801 | 4.972 | 235.169 | 5.012 | 180.633 | 5.067 | 213.8 | 19.498 | 889.367 | 16.408 | 1.2655
2019-04-02 17:30:00 | 3.801 | 324.64 | 4.046 | 319.591 | 3.992 | 325.4 | 3.863 | 321.9 | 19.152 | 889.6 | 16.893 | 3.4924
2019-04-02 17:45:00 | 5.23 | 323.32 | 5.303 | 314.484 | 5.312 | 318.533 | 5.34 | 316.833 | 19.66 | 889.5 | 15.389 | 6.0825
2019-04-02 18:00:00 | 5.432 | 301.213 | 5.75 | 295.574 | 6.125 | 298.9 | 6.571 | 300.467 | 19.448 | 889.167 | 14.864 | 4.4517
2019-04-02 18:15:00 | 5.756 | 288.076 | 5.905 | 283.062 | 5.669 | 261.867 | 5.944 | 272.667 | 19.489 | 889.5 | 15.095 | 11.7151
2019-04-02 18:30:00 | 5.326 | 330.587 | 5.691 | 323.592 | 5.917 | 330.2 | 6.039 | 325.6 | 19.081 | 889.7 | 16.053 | 12.8385
2019-04-02 18:45:00 | 5.725 | 88.264 | 6.272 | 142.117 | 6.123 | 72.9 | 6.26 | 60.433 | 18.756 | 889.833 | 18.175 | 19.3637
2019-04-02 19:00:00 | 4.409 | 314.72 | 4.505 | 318.703 | 4.485 | 312.233 | 4.563 | 310.567 | 18.673 | 889.767 | 18.025 | 13.5938
2019-04-02 19:15:00 | 5.782 | 326.067 | 6.215 | 314.974 | 6.482 | 317.767 | 6.865 | 315.333 | 18.268 | 889.3 | 18.773 | 8.2539
2019-04-02 19:30:00 | 6.623 | 305.693 | 7.073 | 299.53 | 6.979 | 304.733 | 7.321 | 302.367 | 18.073 | 889.1 | 19.859 | 15.0562
2019-04-02 19:45:00 | 5.824 | 314.173 | 6.335 | 307.54 | 6.716 | 313.167 | 7.134 | 309.833 | 17.51 | 890.1 | 21.592 | 24.1621
2019-04-02 20:00:00 | 5.383 | 310.267 | 6.121 | 304.159 | 6.377 | 309.433 | 7.077 | 306.767 | 17.064 | 889.8 | 22.013 | 24.2822
2019-04-02 20:15:00 | 4.684 | 318.8 | 5.422 | 313.378 | 5.955 | 319.3 | 6.338 | 316.967 | 16.798 | 890.25 | 22.304 | 22.0915
2019-04-02 20:30:00 | 4.049 | 320.96 | 5.164 | 313.257 | 5.773 | 317.533 | 6.14 | 315.7 | 16.648 | 889.417 | 22.976 | 19.9705
2019-04-02 20:45:00 | 4.995 | 312.467 | 5.928 | 306.368 | 6.213 | 311.867 | 6.662 | 310.1 | 15.951 | 889.133 | 23.525 | 17.8629
2019-04-02 21:00:00 | 4.066 | 305.227 | 5.35 | 302.917 | 5.766 | 308.1 | 6.368 | 305.3 | 15.73 | 889.4 | 23.48 | 17.9383
2019-04-02 21:15:00 | 4.37 | 302.707 | 5.257 | 299.795 | 5.614 | 306 | 6.097 | 303.533 | 15.269 | 889.733 | 23.664 | 15.8009
2019-04-02 21:30:00 | 3.165 | 282.667 | 4.441 | 289.308 | 5.034 | 297.433 | 5.633 | 296.1 | 14.824 | 890.05 | 24.109 | 13.8305
2019-04-02 21:45:00 | 2.506 | 260.973 | 3.544 | 278.05 | 4.794 | 290.733 | 5.666 | 292.567 | 14.216 | 889.383 | 24.661 | 8.7521
2019-04-02 22:00:00 | 2.95 | 229.1 | 3.781 | 269.142 | 4.11 | 279.067 | 4.522 | 279.5 | 13.095 | 889.8 | 25.875 | 4.974
2019-04-02 22:15:00 | 3.227 | 239.993 | 3.864 | 264.27 | 4.138 | 282.733 | 4.934 | 291.8 | 12.643 | 889.483 | 26.869 | 3.9969
2019-04-02 22:30:00 | 3.738 | 248.34 | 3.547 | 266.056 | 3.722 | 283.267 | 4.208 | 288.067 | 12.634 | 889.667 | 26.515 | 4.2833
2019-04-02 22:45:00 | 4.541 | 235.473 | 4.374 | 253.348 | 4.643 | 270.4 | 5.359 | 271.567 | 12.582 | 889.567 | 25.936 | 5.9119
2019-04-02 23:00:00 | 4.581 | 234.887 | 4.49 | 257.071 | 4.714 | 272.933 | 5.421 | 276.833 | 12.182 | 889.9 | 25.203 | 9.0398
2019-04-02 23:15:00 | 4.448 | 246.54 | 4.935 | 265.528 | 5.394 | 278.8 | 5.956 | 279.867 | 11.286 | 889.467 | 24.4 | 11.6824
2019-04-02 23:30:00 | 4.636 | 242.5 | 4.955 | 260.953 | 5.232 | 274.467 | 5.769 | 275.633 | 11.178 | 889.467 | 24.76 | 12.916
2019-04-02 23:45:00 | 5.471 | 233.847 | 5.57 | 245.414 | 5.392 | 258.033 | 5.59 | 261.133 | 10.572 | 889.833 | 25.509 | 13.0595