## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-03 00:00:00 | 5.254 | 234.973 | 5.745 | 252.37 | 5.836 | 265.067 | 6.09 | 264.117 | 10.334 | 889.367 | 27.536 | 15.3028
2019-04-03 00:15:00 | 5.318 | 230.64 | 5.948 | 245.54 | 5.955 | 259.2 | 6.095 | 260.967 | 9.687 | 889.6 | 28.389 | 17.5979
2019-04-03 00:30:00 | 4.751 | 235.853 | 5.897 | 251.61 | 5.974 | 265.133 | 6.259 | 266.733 | 9.258 | 890.2 | 29.173 | 18.7192
2019-04-03 00:45:00 | 4.528 | 244.313 | 5.328 | 259.402 | 5.341 | 272.867 | 5.686 | 273.533 | 9.37 | 889.683 | 30.021 | 16.7154
2019-04-03 01:00:00 | 4.889 | 238.113 | 5.225 | 257.317 | 5.249 | 271.933 | 5.678 | 272.6 | 9.391 | 889.8 | 30.491 | 14.0543
2019-04-03 01:15:00 | 5.153 | 237.533 | 5.336 | 257.645 | 5.49 | 272.467 | 6.017 | 273.033 | 8.541 | 889.45 | 31.176 | 14.335
2019-04-03 01:30:00 | 5.756 | 234.533 | 5.819 | 252.306 | 5.984 | 265.4 | 6.37 | 266.033 | 8.608 | 889.5 | 31.483 | 16.2343
2019-04-03 01:45:00 | 5.459 | 231.64 | 6.138 | 250.66 | 6.514 | 262.967 | 6.833 | 263.2 | 8.887 | 889.567 | 31.931 | 19.7246
2019-04-03 02:00:00 | 5.583 | 219.767 | 6.491 | 235.134 | 6.692 | 249.9 | 6.77 | 250.967 | 8.441 | 889.967 | 32.699 | 23.2263
2019-04-03 02:15:00 | 5.704 | 229.093 | 6.603 | 240.148 | 6.804 | 252.167 | 6.976 | 254.35 | 8.991 | 889.633 | 32.56 | 28.5584
2019-04-03 02:30:00 | 5.712 | 222.567 | 6.686 | 238.017 | 7.158 | 251.533 | 7.352 | 253.2 | 8.558 | 890.2 | 32.656 | 29.6839
2019-04-03 02:45:00 | 5.457 | 226.933 | 6.192 | 239.836 | 6.814 | 253 | 7.167 | 254.317 | 8.524 | 889.7 | 32.885 | 31.3943
2019-04-03 03:00:00 | 5.208 | 233.447 | 6.57 | 247.996 | 7.305 | 259.1 | 7.838 | 257.883 | 8.962 | 889.45 | 32.691 | 32.3386
2019-04-03 03:15:00 | 5.219 | 231.493 | 7.136 | 245.943 | 7.49 | 256.367 | 7.71 | 256.783 | 8.687 | 889.633 | 32.16 | 34.4625
2019-04-03 03:30:00 | 6.64 | 239.067 | 8.045 | 249.042 | 8.702 | 258.433 | 9.328 | 255.2 | 9.083 | 889.867 | 31.573 | 40.8604
2019-04-03 03:45:00 | 5.728 | 242.66 | 7.619 | 252.363 | 8.271 | 260.567 | 8.632 | 257.8 | 9.058 | 889.267 | 30.448 | 44.6648
2019-04-03 04:00:00 | 5.441 | 245.16 | 7.21 | 252.514 | 7.932 | 263.5 | 8.252 | 260.35 | 9.078 | 889.95 | 29.968 | 38.5383
2019-04-03 04:15:00 | 5.408 | 239.107 | 6.793 | 248.287 | 7.395 | 258.1 | 7.788 | 255.733 | 9.295 | 889.533 | 30.013 | 35.8502
2019-04-03 04:30:00 | 5.951 | 238.873 | 7.452 | 248.396 | 8.239 | 257.467 | 8.661 | 255.267 | 9.378 | 890 | 30.064 | 38.053
2019-04-03 04:45:00 | 5.707 | 239.32 | 7.366 | 246.216 | 7.867 | 255.5 | 8.267 | 255 | 9.12 | 890.083 | 29.861 | 41.4822
2019-04-03 05:00:00 | 5.401 | 230.84 | 7.175 | 241.402 | 7.734 | 253 | 7.979 | 249.567 | 9.245 | 889.917 | 30.427 | 41.2271
2019-04-03 05:15:00 | 5.574 | 220.78 | 7.128 | 231.499 | 7.476 | 245.1 | 7.5 | 245.133 | 8.484 | 889.517 | 30.795 | 41.1589
2019-04-03 05:30:00 | 5.988 | 221.007 | 7.346 | 228.986 | 7.347 | 242.067 | 7.361 | 242.5 | 7.986 | 889.767 | 30.448 | 43.3254
2019-04-03 05:45:00 | 6.475 | 226.04 | 7.671 | 231.666 | 7.468 | 241.367 | 7.263 | 240.9 | 8.504 | 889.617 | 29.579 | 42.8699
2019-04-03 06:00:00 | 6.038 | 228.1 | 7.341 | 233.561 | 7.385 | 243.067 | 7.2 | 241.8 | 8.508 | 889.867 | 29.467 | 40.4732
2019-04-03 06:15:00 | 5.472 | 219.36 | 7.279 | 228.514 | 7.298 | 238.9 | 6.918 | 238.067 | 8.177 | 889.75 | 30.309 | 36.3533
2019-04-03 06:30:00 | 5.54 | 223.353 | 7.161 | 233.415 | 7.187 | 243.4 | 7.031 | 242.933 | 7.813 | 889.867 | 31.323 | 34.7723
2019-04-03 06:45:00 | 5.581 | 220.7 | 7.116 | 235.018 | 7.134 | 246.633 | 6.936 | 247.233 | 7.506 | 889.717 | 31.28 | 34.2209
2019-04-03 07:00:00 | 6.002 | 221.867 | 7.306 | 233.048 | 7.185 | 247.067 | 6.994 | 247.833 | 6.789 | 889.583 | 31.904 | 34.903
2019-04-03 07:15:00 | 6.129 | 221.333 | 7.55 | 230.977 | 7.393 | 244.6 | 7.197 | 244.8 | 6.641 | 889.517 | 32.448 | 35.1567
2019-04-03 07:30:00 | 6.216 | 219.267 | 7.616 | 228.594 | 7.405 | 240.267 | 7.036 | 240.167 | 6.972 | 889.35 | 32.379 | 35.9774
2019-04-03 07:45:00 | 5.544 | 217.173 | 7.207 | 225.007 | 7.157 | 236.7 | 6.812 | 238.067 | 7.433 | 889.417 | 31.355 | 35.7955
2019-04-03 08:00:00 | 5.274 | 216.547 | 6.891 | 222.403 | 7.298 | 231.9 | 6.882 | 231.967 | 7.849 | 889.9 | 30.208 | 35.5461
2019-04-03 08:15:00 | 5.483 | 215.153 | 7.063 | 219.785 | 7.32 | 229.1 | 7.195 | 228.433 | 9.358 | 889.75 | 28.635 | 37.3907
2019-04-03 08:30:00 | 6.102 | 219.24 | 7.023 | 222.045 | 7.478 | 229.833 | 7.39 | 228.167 | 10.241 | 889.483 | 27.136 | 39.3469
2019-04-03 08:45:00 | 5.986 | 219.373 | 6.717 | 220.328 | 7.077 | 227.8 | 7.12 | 226.633 | 11.59 | 889.85 | 25.173 | 37.6423
2019-04-03 09:00:00 | 5.795 | 221.487 | 6.23 | 223.092 | 6.535 | 230.367 | 6.397 | 228.833 | 12.455 | 889.9 | 23.925 | 34.0255
2019-04-03 09:15:00 | 5.323 | 244.673 | 5.603 | 244.254 | 5.941 | 250.833 | 6.055 | 246.017 | 13.778 | 889.45 | 22.533 | 26.4508
2019-04-03 09:30:00 | 7.596 | 260.307 | 8.127 | 258.402 | 8.177 | 262.717 | 8.157 | 258.717 | 14.178 | 889.717 | 22.184 | 22.9009
2019-04-03 09:45:00 | 6.892 | 261.913 | 7.312 | 260.041 | 7.553 | 263.833 | 7.588 | 260.667 | 14.458 | 889.517 | 22.381 | 26.232
2019-04-03 10:00:00 | 6.659 | 268.947 | 7.303 | 267.515 | 7.407 | 271.633 | 7.489 | 267.117 | 14.591 | 889.817 | 22.64 | 27.5096
2019-04-03 10:15:00 | 6.434 | 268.54 | 6.85 | 267.57 | 7.049 | 271.433 | 7.179 | 267.55 | 15.122 | 889.583 | 22.48 | 25.3381
2019-04-03 10:30:00 | 5.848 | 271.713 | 6.111 | 266.501 | 6.282 | 271.433 | 6.561 | 267 | 15.319 | 889.7 | 22.368 | 22.7239
2019-04-03 10:45:00 | 6.144 | 283.66 | 6.696 | 280.04 | 6.789 | 284.7 | 6.976 | 282.5 | 15.74 | 889.717 | 22.605 | 19.9747
2019-04-03 11:00:00 | 5.693 | 287.293 | 6.267 | 284.927 | 6.38 | 286.8 | 6.661 | 282.983 | 15.896 | 890.217 | 22.813 | 18.6417
2019-04-03 11:15:00 | 6.045 | 268.887 | 6.62 | 266.757 | 6.585 | 269.8 | 6.723 | 267.75 | 16.631 | 889.717 | 21.405 | 17.9461
2019-04-03 11:30:00 | 4.363 | 280.24 | 4.733 | 277.03 | 5.035 | 283.583 | 5.425 | 285.183 | 16.598 | 889.417 | 20.763 | 16.9698
2019-04-03 11:45:00 | 4.553 | 308.84 | 4.625 | 300.229 | 4.834 | 303.867 | 5.173 | 300.9 | 16.664 | 889.517 | 20.048 | 11.4757
2019-04-03 12:00:00 | 4.03 | 280.04 | 4.354 | 275.974 | 4.498 | 282.433 | 4.604 | 277.917 | 16.731 | 889.2 | 18.952 | 8.2923
2019-04-03 12:15:00 | 4.332 | 279.96 | 4.371 | 281.795 | 4.458 | 287.033 | 4.638 | 279.7 | 18.256 | 889.5 | 17.001 | 6.2914
2019-04-03 12:30:00 | 3.222 | 282.02 | 3.334 | 271.013 | 3.771 | 270.767 | 3.761 | 266.2 | 18.189 | 889.633 | 16.597 | 2.3655
2019-04-03 12:45:00 | 4.433 | 251.573 | 4.264 | 246.314 | 4.34 | 252.733 | 4.266 | 244.75 | 18.239 | 889.467 | 17.096 | 2.8941
2019-04-03 13:00:00 | 3.055 | 302.387 | 2.736 | 289.048 | 2.949 | 290.167 | 3.469 | 282.867 | 18.048 | 889.3 | 17.219 | 3.734
2019-04-03 13:15:00 | 3.22 | 239.573 | 3.461 | 237.762 | 3.62 | 244.65 | 3.842 | 245.333 | 19.098 | 888.967 | 17.031 | 5.3257
2019-04-03 13:30:00 | 5.281 | 273.167 | 5.568 | 269.922 | 5.593 | 272.3 | 5.793 | 267.767 | 19.252 | 889.2 | 17.348 | 5.3015
2019-04-03 13:45:00 | 5.096 | 272.533 | 5.072 | 271.563 | 5.044 | 272.967 | 4.926 | 269.383 | 19.206 | 889.667 | 17.607 | 7.9136
2019-04-03 14:00:00 | 6.262 | 292.933 | 6.491 | 286.076 | 6.648 | 288.75 | 6.777 | 290.067 | 18.335 | 889.567 | 18.143 | 5.9588
2019-04-03 14:15:00 | 4.191 | 268.815 | 4.812 | 281.461 | 4.999 | 295.9 | 5.512 | 292.1 | 18.831 | 889.7 | 17.631 | 10.1902
2019-04-03 14:30:00 | 3.404 | 302.6 | 3.834 | 304.388 | 3.812 | 306.467 | 4.336 | 301.5 | 18.398 | 889.533 | 18.223 | 12.474
2019-04-03 14:45:00 | 4.974 | 266.4 | 4.988 | 258.735 | 4.971 | 265.583 | 5.526 | 267.167 | 19.485 | 889.733 | 18.007 | 14.6476
2019-04-03 15:00:00 | 5.717 | 294.12 | 6.01 | 289.172 | 6.282 | 296.567 | 6.408 | 294.233 | 18.927 | 889.2 | 18.383 | 21.042
2019-04-03 15:15:00 | 4.873 | 315.653 | 5.192 | 310.812 | 5.357 | 314.3 | 5.756 | 314.333 | 18.794 | 889.7 | 18.189 | 22.3836
2019-04-03 15:30:00 | 5.684 | 276.68 | 6.253 | 276.833 | 6.549 | 280.617 | 6.801 | 276.433 | 18.723 | 889.533 | 17.893 | 24.6567
2019-04-03 15:45:00 | 5.35 | 306.28 | 5.998 | 299.202 | 6.354 | 303.3 | 6.933 | 302.333 | 19.177 | 889.567 | 16.209 | 21.0861
2019-04-03 16:00:00 | 7.66 | 309.52 | 7.818 | 305.152 | 7.849 | 311.433 | 8.447 | 308.8 | 19.268 | 889.133 | 14.636 | 31.2116
2019-04-03 16:15:00 | 7.446 | 295.64 | 7.976 | 285.438 | 8.191 | 295.267 | 8.641 | 288.717 | 18.918 | 889.4 | 13.169 | 44.0665
2019-04-03 16:30:00 | 7.446 | 295.64 | 7.976 | 285.438 | 8.191 | 295.267 | 8.641 | 288.717 | 18.918 | 889.4 | 13.169 | 46.0028
2019-04-03 16:45:00 | 9.46 | 307.733 | 9.459 | 301.736 | 9.496 | 307.133 | 10.247 | 302.7 | 18.739 | 889.433 | 13.36 | 56.7039
2019-04-03 17:00:00 | 8.98 | 305.533 | 9.362 | 300.961 | 9.472 | 306.133 | 9.884 | 304 | 18.523 | 889.667 | 13.432 | 54.6035
2019-04-03 17:15:00 | 8.843 | 299.6 | 9.627 | 292.758 | 10.024 | 298.867 | 10.376 | 295.8 | 18.756 | 889.033 | 13.553 | 60.5204
2019-04-03 17:30:00 | 9.351 | 312.053 | 9.855 | 302.31 | 10.148 | 306.767 | 10.507 | 303.233 | 18.356 | 889.367 | 12.816 | 59.9811
2019-04-03 17:45:00 | 8.779 | 300.707 | 9.42 | 294.777 | 9.74 | 298.167 | 10.063 | 297.333 | 18.51 | 889.633 | 13.144 | 58.0718
2019-04-03 18:00:00 | 8.272 | 297.067 | 8.987 | 291.091 | 8.974 | 295.8 | 9.534 | 293.333 | 18.523 | 889.367 | 12.823 | 58.1116
2019-04-03 18:15:00 | 9.869 | 287.6 | 10.775 | 284.601 | 10.826 | 288.333 | 11.147 | 286.167 | 18.523 | 889.233 | 12.351 | 62.0268
2019-04-03 18:30:00 | 8.925 | 284.2 | 9.672 | 280.641 | 10.079 | 285.167 | 10.224 | 282.633 | 18.506 | 889.467 | 11.663 | 69.8636
2019-04-03 18:45:00 | 7.591 | 287.04 | 8.258 | 283.134 | 8.575 | 287.967 | 9.042 | 285.2 | 18.277 | 889.033 | 10.712 | 64.0377
2019-04-03 19:00:00 | 7.59 | 282.867 | 8.198 | 281.718 | 8.451 | 285.967 | 8.764 | 283.633 | 18.456 | 889.033 | 11.112 | 48.4777
2019-04-03 19:15:00 | 6.874 | 289.44 | 7.381 | 285.497 | 7.665 | 291.4 | 7.996 | 287.333 | 18.36 | 889.333 | 11.875 | 40.2778
2019-04-03 19:30:00 | 6.935 | 282.88 | 7.511 | 279.642 | 7.856 | 284.6 | 8.143 | 281.333 | 17.873 | 889.4 | 12.612 | 39.6851
2019-04-03 19:45:00 | 6.828 | 282.533 | 7.823 | 279.096 | 8.076 | 284.233 | 8.387 | 282.3 | 17.727 | 889.5 | 12.963 | 34.4064
2019-04-03 20:00:00 | 6.438 | 281.067 | 7.295 | 275.344 | 7.395 | 280.167 | 7.683 | 279.167 | 17.048 | 889.6 | 13.908 | 31.616
2019-04-03 20:15:00 | 5.486 | 275.307 | 6.576 | 274.241 | 6.981 | 281.8 | 7.371 | 279.133 | 16.631 | 889.467 | 14.545 | 26.7457
2019-04-03 20:30:00 | 5.288 | 269.227 | 6.468 | 269.076 | 6.896 | 275.467 | 7.273 | 273 | 15.93 | 889.433 | 15.107 | 25.9101
2019-04-03 20:45:00 | 4.994 | 260.893 | 6.327 | 264.004 | 6.772 | 271.2 | 7.176 | 267.367 | 15.421 | 889.633 | 16.069 | 27.1948
2019-04-03 21:00:00 | 4.928 | 263.667 | 6.246 | 266.192 | 6.413 | 273.533 | 6.901 | 271.4 | 14.924 | 889.6 | 17.051 | 26.4508
2019-04-03 21:15:00 | 5.157 | 254.713 | 6.372 | 259.616 | 6.591 | 267.067 | 6.845 | 265.3 | 14.208 | 889.633 | 17.731 | 24.8165
2019-04-03 21:30:00 | 5.093 | 245.953 | 6.264 | 254.632 | 6.418 | 263.533 | 6.779 | 262.3 | 14.066 | 888.767 | 18.744 | 24.7121
2019-04-03 21:45:00 | 5.645 | 243.733 | 6.448 | 253.176 | 6.548 | 262.333 | 6.875 | 260.483 | 12.984 | 889.567 | 19.756 | 25.719
2019-04-03 22:00:00 | 5.623 | 238.553 | 6.771 | 249.471 | 6.899 | 257.833 | 7.043 | 256.25 | 12.599 | 889.567 | 20.109 | 27.3128
2019-04-03 22:15:00 | 6.068 | 245 | 6.776 | 250.538 | 6.782 | 257.933 | 6.99 | 255.283 | 12.37 | 889.767 | 20.271 | 32.3784
2019-04-03 22:30:00 | 5.832 | 242.247 | 6.761 | 248.923 | 6.725 | 255.6 | 6.977 | 252.733 | 12.278 | 889.55 | 20.912 | 30.1373
2019-04-03 22:45:00 | 5.892 | 243.027 | 6.778 | 248.794 | 6.777 | 257.1 | 6.97 | 254.933 | 11.595 | 889.6 | 22.213 | 33.6041
2019-04-03 23:00:00 | 5.993 | 239.5 | 6.894 | 247.855 | 6.934 | 256.367 | 7.01 | 255.317 | 11.311 | 890.117 | 23.061 | 31.169
2019-04-03 23:15:00 | 5.543 | 234.467 | 7.011 | 242.871 | 6.888 | 252.8 | 7.027 | 252.85 | 11.178 | 889.65 | 23.771 | 30.3476
2019-04-03 23:30:00 | 5.875 | 229.6 | 7.12 | 235.872 | 7.231 | 246.533 | 7.013 | 245.767 | 10.828 | 889.9 | 23.995 | 30.2595
2019-04-03 23:45:00 | 5.66 | 222.153 | 7.449 | 231.322 | 7.292 | 240.9 | 7.115 | 239.833 | 10.509 | 889.883 | 24.245 | 31.6209