## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-04 00:00:00 | 6.188 | 213.6 | 7.726 | 219.912 | 8.025 | 230.5 | 7.564 | 229.567 | 10.347 | 890.033 | 24.32 | 35.3962
2019-04-04 00:15:00 | 6.577 | 214.187 | 8.209 | 220.434 | 8.27 | 227.7 | 8.096 | 225.6 | 10.045 | 889.867 | 24.453 | 34.0404
2019-04-04 00:30:00 | 6.583 | 215.533 | 8.097 | 222.482 | 8.246 | 229.767 | 8.194 | 227.133 | 9.633 | 890.15 | 24.624 | 36.0094
2019-04-04 00:45:00 | 6.278 | 216.927 | 7.775 | 223.734 | 8.077 | 232.367 | 8.024 | 230.067 | 9.591 | 889.8 | 24.592 | 37.0063
2019-04-04 01:00:00 | 6.422 | 216.54 | 7.738 | 223.231 | 8.163 | 233.233 | 7.984 | 232.067 | 9.483 | 889.067 | 24.891 | 37.8711
2019-04-04 01:15:00 | 6.33 | 218.107 | 7.683 | 225.212 | 7.963 | 235.433 | 7.736 | 234.2 | 9.258 | 889.383 | 24.944 | 39.5899
2019-04-04 01:30:00 | 6.532 | 215.42 | 7.804 | 224.231 | 7.97 | 234.9 | 7.703 | 233.433 | 9.224 | 889.983 | 25.147 | 39.6702
2019-04-04 01:45:00 | 7.072 | 214.38 | 8.437 | 220.942 | 8.461 | 230.367 | 8.209 | 228.533 | 8.858 | 890.4 | 25.211 | 41.7508
2019-04-04 02:00:00 | 6.27 | 215.967 | 8.576 | 220.031 | 8.425 | 229 | 8.273 | 226.667 | 8.574 | 890.05 | 25.301 | 42.0393
2019-04-04 02:15:00 | 6.254 | 217.153 | 7.866 | 222.36 | 7.97 | 232.033 | 7.879 | 229.867 | 8.247 | 889.7 | 25.6 | 38.2661
2019-04-04 02:30:00 | 7.12 | 214.367 | 8.824 | 218.695 | 8.433 | 226.4 | 8.06 | 225.733 | 8.157 | 889.583 | 25.904 | 37.3268
2019-04-04 02:45:00 | 6.543 | 216.893 | 8.758 | 218.448 | 8.24 | 226.333 | 7.71 | 225.6 | 8.043 | 889.883 | 26.165 | 34.9876
2019-04-04 03:00:00 | 6.305 | 213.92 | 8.431 | 214.627 | 8.176 | 222.733 | 7.643 | 220.2 | 7.629 | 889.7 | 26.528 | 31.7673
2019-04-04 03:15:00 | 6.652 | 213.04 | 8.951 | 213.428 | 8.536 | 220.2 | 7.823 | 219.067 | 7.586 | 889.367 | 27.045 | 31.1818
2019-04-04 03:30:00 | 6.691 | 211.133 | 8.683 | 207.083 | 8.824 | 211.867 | 8.675 | 209.6 | 7.356 | 889.617 | 27.179 | 34.4312
2019-04-04 03:45:00 | 6.491 | 212.433 | 8.3 | 209.161 | 8.238 | 212 | 8.429 | 208.533 | 7.889 | 889.817 | 26.4 | 43.432
2019-04-04 04:00:00 | 4.522 | 212.5 | 6.654 | 204.791 | 8.635 | 210.1 | 8.694 | 207 | 7.206 | 889.85 | 27.2 | 42.0485
2019-04-04 04:15:00 | 6.559 | 203.1 | 8.479 | 201.154 | 8.58 | 205.033 | 8.65 | 202.8 | 7.306 | 889.833 | 27.813 | 41.8602
2019-04-04 04:30:00 | 6.516 | 205.333 | 8.981 | 198.508 | 9.237 | 201.7 | 8.974 | 198.567 | 7.606 | 889.717 | 27.104 | 38.4218
2019-04-04 04:45:00 | 6.998 | 207.007 | 9.348 | 200.608 | 9.206 | 204.567 | 9.016 | 201.567 | 8.003 | 889.633 | 26.928 | 45.2411
2019-04-04 05:00:00 | 7.302 | 208.933 | 9.023 | 201.917 | 8.972 | 203.167 | 8.846 | 197.867 | 7.506 | 889.7 | 27.056 | 36.0904
2019-04-04 05:15:00 | 6.182 | 209.453 | 8.602 | 204.004 | 8.792 | 203.567 | 8.686 | 197.7 | 7.813 | 890.05 | 27.152 | 36.5324
2019-04-04 05:30:00 | 5.9 | 212.167 | 8.303 | 204.559 | 8.903 | 205.133 | 9.443 | 198.933 | 7.472 | 889.667 | 27.435 | 40.2948
2019-04-04 05:45:00 | 5.664 | 220.6 | 7.439 | 209.918 | 8.969 | 208.733 | 9.812 | 202.2 | 7.139 | 889.5 | 28.395 | 37.9144
2019-04-04 06:00:00 | 6.136 | 218.133 | 7.681 | 210.446 | 8.878 | 210.567 | 9.69 | 203.5 | 7.122 | 889.983 | 28.491 | 36.624
2019-04-04 06:15:00 | 7.11 | 216.067 | 9.244 | 210.907 | 9.25 | 210.733 | 10.178 | 203.633 | 7.372 | 889.95 | 28.112 | 37.7041
2019-04-04 06:30:00 | 7.64 | 213.633 | 8.785 | 210.397 | 8.98 | 210.767 | 9.86 | 202.467 | 7.522 | 889.817 | 28.011 | 38.0182
2019-04-04 06:45:00 | 7.104 | 213.9 | 8.859 | 207.002 | 9.273 | 205.7 | 10.062 | 197.633 | 7.906 | 889.983 | 27.984 | 38.6825
2019-04-04 07:00:00 | 6.832 | 211.367 | 9.429 | 206.836 | 9.763 | 204.567 | 9.679 | 198.167 | 7.773 | 890.183 | 28.123 | 37.2998
2019-04-04 07:15:00 | 7.278 | 210.693 | 9.27 | 202.037 | 9.671 | 204.233 | 9.555 | 198.333 | 7.526 | 889.783 | 28.432 | 40.007
2019-04-04 07:30:00 | 6.888 | 202.767 | 8.858 | 197.492 | 8.847 | 199.067 | 9.086 | 194.7 | 7.606 | 889.5 | 27.771 | 36.548
2019-04-04 07:45:00 | 6.454 | 210.127 | 8.997 | 206.29 | 9.307 | 206.467 | 9.012 | 203.933 | 8.01 | 889.633 | 26.917 | 36.0705
2019-04-04 08:00:00 | 7.822 | 212 | 8.822 | 206.28 | 8.284 | 209.867 | 8.227 | 210.7 | 8.458 | 889.633 | 25.691 | 35.9653
2019-04-04 08:15:00 | 5.927 | 221.507 | 6.504 | 211.388 | 6.287 | 210.5 | 6.292 | 205.733 | 9.158 | 889.85 | 24.656 | 20.1986
2019-04-04 08:30:00 | 4.258 | 247.813 | 4.772 | 229.218 | 5.574 | 218.1 | 6.908 | 207.3 | 10.478 | 889.6 | 23.36 | 10.9235
2019-04-04 08:45:00 | 3.43 | 238.893 | 3.825 | 223.186 | 4.286 | 218.9 | 5.513 | 206.2 | 12.786 | 890.05 | 21.067 | 4.9676
2019-04-04 09:00:00 | 2.922 | 288.44 | 2.72 | 272.382 | 2.637 | 262.567 | 3.376 | 234.333 | 13.791 | 889.267 | 19.413 | 2.9993
2019-04-04 09:15:00 | 3.389 | 261.173 | 4.02 | 239.114 | 4.512 | 233.8 | 5.57 | 219.367 | 14.183 | 889.2 | 18.6 | 7.4446
2019-04-04 09:30:00 | 3.393 | 246.167 | 4.134 | 228.185 | 4.35 | 226.5 | 4.78 | 214.067 | 15.338 | 888.933 | 17.468 | 12.3965
2019-04-04 09:45:00 | 5.815 | 200.447 | 5.974 | 196.711 | 6.012 | 200 | 6.213 | 195.9 | 16.581 | 889.267 | 16.704 | 18.2957
2019-04-04 10:00:00 | 5.888 | 200.127 | 6.118 | 197.386 | 6.24 | 201.067 | 6.485 | 199.133 | 17.031 | 889.767 | 16.309 | 16.429
2019-04-04 10:15:00 | 4.246 | 186.02 | 4.575 | 183.627 | 4.62 | 187.367 | 4.809 | 185.867 | 17.494 | 889.533 | 15.949 | 10.0702
2019-04-04 10:30:00 | 3.919 | 221.3 | 3.944 | 220.846 | 4.026 | 224 | 4.38 | 219.433 | 18.739 | 889.333 | 15.693 | 5.0997
2019-04-04 10:45:00 | 2.701 | 257.5 | 2.527 | 252.47 | 2.606 | 252.25 | 3.02 | 244.617 | 19.631 | 889.433 | 14.973 | 1.0104
2019-04-04 11:00:00 | 3.508 | 331.747 | 3.376 | 324.219 | 3.006 | 325.733 | 3.354 | 326.033 | 19.194 | 889.3 | 15.116 | 0.12293
2019-04-04 11:15:00 | 3.586 | 162.23 | 3.722 | 194.816 | 3.68 | 131.803 | 3.75 | 135.933 | 18.844 | 889.6 | 15.224 | 1.2279
2019-04-04 11:30:00 | 3.102 | 207.908 | 2.746 | 267.746 | 2.654 | 307.267 | 3.003 | 325.4 | 19.073 | 889.533 | 15.72 | 2.9055
2019-04-04 11:45:00 | 3.529 | 185.647 | 3.867 | 263.367 | 4.032 | 204.7 | 3.992 | 195.734 | 19.598 | 889.433 | 15.943 | 0.83065
2019-04-04 12:00:00 | 0.81 | 144.621 | 0.619 | 281.93 | 1.009 | 275.8 | 1.815 | 228.95 | 20.181 | 889.433 | 15.464 | 1.5938
2019-04-04 12:15:00 | 2.994 | 316.794 | 2.725 | 317.538 | 2.824 | 280.067 | 3.177 | 319.3 | 20.885 | 889.567 | 14.565 | 1.7459
2019-04-04 12:30:00 | 7.361 | 281.08 | 7.668 | 270.278 | 7.866 | 274 | 8.169 | 265.4 | 22.018 | 889.5 | 12.116 | 4.9441
2019-04-04 12:45:00 | 6.593 | 233.213 | 6.918 | 230.793 | 7.456 | 236.117 | 7.71 | 230.283 | 22.998 | 889.033 | 9.968 | 23.6953
2019-04-04 13:00:00 | 6.6 | 244.34 | 7.488 | 240.183 | 8.02 | 245.467 | 8.206 | 240.717 | 23.248 | 889.467 | 10.09 | 24.6986
2019-04-04 13:15:00 | 6.367 | 265.987 | 6.883 | 259.038 | 6.922 | 260.117 | 7.282 | 256.817 | 22.898 | 889.5 | 11.232 | 44.6946
2019-04-04 13:30:00 | 5.257 | 59.21 | 5.866 | 46.748 | 5.801 | 48.5 | 5.982 | 41.533 | 22.11 | 889.767 | 13.179 | 27.8201
2019-04-04 13:45:00 | 5.026 | 46.071 | 4.927 | 41.295 | 5.29 | 49.133 | 5.274 | 43.967 | 21.427 | 889.567 | 13.795 | 13.1092
2019-04-04 14:00:00 | 6.378 | 32.79 | 6.297 | 26.14 | 6.488 | 18.267 | 6.228 | 13.733 | 21.256 | 889.233 | 13.625 | 10.3579
2019-04-04 14:15:00 | 5.65 | 34.776 | 5.524 | 43.714 | 5.631 | 23.767 | 5.702 | 21.033 | 21.056 | 889.5 | 13.197 | 7.9818
2019-04-04 14:30:00 | 1.942 | 100.069 | 1.981 | 151.447 | 2.237 | 156.636 | 2.195 | 195.469 | 21.46 | 889.567 | 12.629 | 6.9891
2019-04-04 14:45:00 | 4.14 | 132.901 | 4.137 | 176.053 | 4.254 | 62.069 | 4.651 | 82.217 | 21.568 | 889.267 | 13.047 | 3.4349
2019-04-04 15:00:00 | 2.816 | 59.38 | 2.722 | 38.454 | 2.573 | 51.402 | 2.82 | 120.868 | 21.723 | 889.733 | 12.637 | 3.8264
2019-04-04 15:15:00 | 0.809 | 251.833 | 0.143 | 227.726 | 0.492 | 251.667 | 1.55 | 250.483 | 22.714 | 889.567 | 12.097 | 0.53079
2019-04-04 15:30:00 | 8.384 | 282.88 | 8.865 | 278.01 | 9.152 | 284.5 | 9.461 | 279.767 | 23.048 | 889.067 | 10.139 | 3.8769
2019-04-04 15:45:00 | 7.318 | 264.427 | 7.855 | 259.774 | 8.31 | 263.567 | 8.482 | 262.667 | 23.889 | 888.933 | 9.284 | 31.3225
2019-04-04 16:00:00 | 6.907 | 253.347 | 7.572 | 253.337 | 7.763 | 257.7 | 7.758 | 253.033 | 23.248 | 889.067 | 9.767 | 30.2225
2019-04-04 16:15:00 | 8.389 | 261.553 | 8.758 | 255.014 | 8.838 | 259.867 | 8.858 | 254.733 | 23.668 | 889.2 | 9.605 | 36.7178
2019-04-04 16:30:00 | 8.096 | 290.107 | 8.618 | 282.957 | 8.62 | 286.133 | 8.686 | 282.467 | 23.098 | 889.267 | 10.291 | 34.8362
2019-04-04 16:45:00 | 7.802 | 284.667 | 8.331 | 280.31 | 8.485 | 286.6 | 8.93 | 285.6 | 22.464 | 889.533 | 10.776 | 47.5348
2019-04-04 17:00:00 | 9.321 | 260.247 | 9.897 | 257.359 | 10.236 | 260.217 | 10.244 | 256.867 | 22.964 | 889.4 | 11.056 | 40.7531
2019-04-04 17:15:00 | 8.235 | 261.927 | 9.026 | 260.042 | 9.217 | 263.733 | 9.116 | 257.933 | 22.981 | 889.633 | 11.281 | 40.7858
2019-04-04 17:30:00 | 8.22 | 251.853 | 8.767 | 246.218 | 8.968 | 249.167 | 8.862 | 242.933 | 23.164 | 889.533 | 11.391 | 58.5308
2019-04-04 17:45:00 | 9.461 | 248.36 | 9.77 | 244.727 | 10.015 | 248.567 | 10.114 | 244.9 | 22.948 | 889.633 | 12.068 | 55.5038
2019-04-04 18:00:00 | 10.338 | 263.353 | 10.931 | 258.972 | 11.055 | 262.767 | 11.026 | 258.217 | 23.114 | 889.3 | 11.843 | 68.132
2019-04-04 18:15:00 | 10.23 | 230.133 | 10.449 | 228.724 | 10.915 | 233.633 | 10.742 | 229.267 | 22.981 | 889.4 | 12.075 | 70.2203
2019-04-04 18:30:00 | 9.635 | 236.98 | 10.534 | 234.748 | 10.866 | 239.6 | 10.929 | 232.867 | 23.114 | 889.533 | 11.779 | 71.4326
2019-04-04 18:45:00 | 8.349 | 242.847 | 9.317 | 239.316 | 9.729 | 244.283 | 9.754 | 239.3 | 22.731 | 889.733 | 11.987 | 69.9752
2019-04-04 19:00:00 | 10.401 | 234.46 | 11.326 | 232.195 | 11.651 | 236.9 | 11.697 | 231.867 | 23.031 | 889.567 | 12.059 | 72.7364
2019-04-04 19:15:00 | 10.344 | 231.46 | 10.772 | 229.757 | 11.273 | 233.067 | 11.621 | 227.033 | 22.298 | 889.633 | 12.603 | 75.8757
2019-04-04 19:30:00 | 9.449 | 235.293 | 10.231 | 232.873 | 10.895 | 237.167 | 10.992 | 231.767 | 21.381 | 889.567 | 13.259 | 77.7104
2019-04-04 19:45:00 | 9.255 | 235.92 | 10.478 | 232.93 | 11.176 | 237.033 | 11.324 | 231.133 | 21.385 | 889.433 | 13.659 | 78.7471
2019-04-04 20:00:00 | 9.24 | 238.727 | 10.406 | 236.744 | 11.092 | 240.133 | 11.457 | 235.233 | 20.731 | 889.833 | 14.056 | 75.8111
2019-04-04 20:15:00 | 8.19 | 239.033 | 9.275 | 237.612 | 9.785 | 242.6 | 10.041 | 235.867 | 19.86 | 889.533 | 14.131 | 75.6142
2019-04-04 20:30:00 | 7.591 | 232.447 | 8.803 | 230.698 | 9.675 | 235.767 | 10.144 | 230.067 | 19.327 | 889.833 | 14.672 | 73.7305
2019-04-04 20:45:00 | 8.411 | 231.193 | 9.933 | 229.711 | 11.131 | 233.8 | 11.516 | 228.2 | 18.71 | 889.067 | 15.165 | 77.2372
2019-04-04 21:00:00 | 8.222 | 229.753 | 9.552 | 227.19 | 10.708 | 234.167 | 11.118 | 228.5 | 19.002 | 889.533 | 15.243 | 73.8527
2019-04-04 21:15:00 | 7.494 | 233.933 | 9.025 | 232.373 | 10.079 | 237.3 | 10.367 | 232.767 | 18.385 | 889.667 | 15.675 | 65.7175
2019-04-04 21:30:00 | 6.261 | 238.5 | 7.74 | 235.523 | 8.62 | 239.967 | 8.905 | 233.667 | 18.064 | 889.7 | 15.949 | 61.7269
2019-04-04 21:45:00 | 5.633 | 233.053 | 6.854 | 232.341 | 7.656 | 237.133 | 8.295 | 233.6 | 17.51 | 889.6 | 16.579 | 44.6556
2019-04-04 22:00:00 | 5.6 | 269.947 | 7.031 | 260.876 | 7.35 | 266.633 | 7.33 | 262.583 | 17.131 | 889.5 | 17.283 | 44.225
2019-04-04 22:15:00 | 4.258 | 255.4 | 4.7 | 267.78 | 5.182 | 277.767 | 5.746 | 275.1 | 16.481 | 889.8 | 17.972 | 29.0146
2019-04-04 22:30:00 | 4.461 | 254.66 | 5.634 | 265.226 | 6.107 | 272.633 | 6.627 | 269.467 | 16.004 | 889.567 | 18.159 | 14.8928
2019-04-04 22:45:00 | 5.24 | 240.48 | 6.669 | 247.607 | 7.379 | 256.233 | 7.744 | 254.767 | 16.598 | 889.733 | 17.668 | 21.4804
2019-04-04 23:00:00 | 5.78 | 254.813 | 7.448 | 256.547 | 8.351 | 264.2 | 8.646 | 260.833 | 16.698 | 889.533 | 17.015 | 40.2977
2019-04-04 23:15:00 | 5.664 | 253.94 | 7.161 | 255.301 | 7.352 | 263.333 | 7.573 | 260.4 | 17.131 | 889.267 | 16.461 | 42.3079
2019-04-04 23:30:00 | 5.268 | 251.953 | 6.51 | 258.188 | 6.798 | 266.033 | 7.082 | 265.1 | 16.531 | 889.567 | 16.416 | 33.0584
2019-04-04 23:45:00 | 5.431 | 254.167 | 6.751 | 258.32 | 7.332 | 264.9 | 7.65 | 262.25 | 16.162 | 889.8 | 14.328 | 27.4023