## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-05 00:00:00 | 5.283 | 241.727 | 6.582 | 250.499 | 7.307 | 261.933 | 7.734 | 262.3 | 16.082 | 889.733 | 13.988 | 32.5916
2019-04-05 00:15:00 | 5.583 | 247 | 7.198 | 256.021 | 7.714 | 264.3 | 7.965 | 262.817 | 15.419 | 889.667 | 15.463 | 34.0084
2019-04-05 00:30:00 | 5.475 | 250.4 | 7.19 | 257.073 | 7.507 | 266 | 7.627 | 262.9 | 14.874 | 889.533 | 15.241 | 31.3196
2019-04-05 00:45:00 | 5.776 | 243.133 | 7.494 | 250.634 | 7.665 | 259.267 | 7.857 | 257.183 | 14.199 | 889.933 | 16.2 | 32.2334
2019-04-05 01:00:00 | 6.651 | 247.327 | 7.958 | 251.954 | 8.266 | 259.033 | 8.368 | 256.883 | 14.154 | 889.467 | 16.028 | 47.1646
2019-04-05 01:15:00 | 6.314 | 249.72 | 7.68 | 255.328 | 8.195 | 263.067 | 8.314 | 260.45 | 14.17 | 889.233 | 15.799 | 54.0933
2019-04-05 01:30:00 | 3.553 | 262.32 | 5.193 | 251.245 | 6.194 | 258.467 | 6.393 | 256.75 | 14.02 | 889.067 | 15.675 | 42.7349
2019-04-05 01:45:00 | 6.495 | 241.007 | 7.27 | 243.531 | 7.556 | 251.6 | 7.644 | 248.8 | 13.293 | 890 | 16.264 | 41.7088
2019-04-05 02:00:00 | 5.933 | 245.593 | 8.026 | 248.312 | 8.587 | 254.867 | 8.965 | 251.55 | 13.628 | 889.6 | 16.477 | 48.1402
2019-04-05 02:15:00 | 6.465 | 244.467 | 8.291 | 247.14 | 8.729 | 256.367 | 8.943 | 253.717 | 13.67 | 889.667 | 17.109 | 60.573
2019-04-05 02:30:00 | 6.6 | 242.38 | 8.116 | 248.35 | 8.556 | 258.6 | 8.701 | 256.733 | 13.599 | 889.433 | 17.52 | 60.2362
2019-04-05 02:45:00 | 6.142 | 237.753 | 7.789 | 243.075 | 7.955 | 252.5 | 8.194 | 251.333 | 13.572 | 890 | 18.104 | 50.8837
2019-04-05 03:00:00 | 6.98 | 240.773 | 8.526 | 244.307 | 8.946 | 253.833 | 9.129 | 250.217 | 13.745 | 889.6 | 18.443 | 47.252
2019-04-05 03:15:00 | 6.03 | 245.94 | 7.911 | 250.861 | 8.66 | 262.167 | 9.088 | 259.717 | 13.583 | 889.667 | 18.904 | 53.7814
2019-04-05 03:30:00 | 6.672 | 258.807 | 8.556 | 260.23 | 9.234 | 268.667 | 9.998 | 264.9 | 14.12 | 889.3 | 19.301 | 49.1613
2019-04-05 03:45:00 | 5.936 | 244.22 | 7.564 | 246.241 | 8.43 | 254.7 | 8.676 | 253.033 | 13.795 | 889.433 | 19.36 | 54.4223
2019-04-05 04:00:00 | 6.843 | 246.487 | 8.389 | 247.937 | 9.117 | 255.267 | 9.586 | 254.167 | 13.733 | 889.233 | 20.04 | 61.5777
2019-04-05 04:15:00 | 6.95 | 244.807 | 8.467 | 248.101 | 8.897 | 256.867 | 9.426 | 255.517 | 13.945 | 890.017 | 20.669 | 73.5138
2019-04-05 04:30:00 | 7.189 | 259.427 | 8.402 | 258.221 | 8.989 | 265 | 9.207 | 260.6 | 13.874 | 889.617 | 21.411 | 68.6322
2019-04-05 04:45:00 | 8.948 | 264.52 | 10.65 | 263.157 | 11.233 | 268.967 | 11.776 | 267.033 | 13.604 | 889.717 | 21.765 | 65.4112
2019-04-05 05:00:00 | 8.855 | 266.213 | 11.083 | 266.264 | 12.113 | 274.267 | 13.177 | 270.133 | 13.833 | 889.633 | 22.296 | 72.627
2019-04-05 05:15:00 | 9.047 | 272 | 11.149 | 271.201 | 11.972 | 276.933 | 12.693 | 274.933 | 13.774 | 889.667 | 22.837 | 76.8819
2019-04-05 05:30:00 | 8.892 | 283.16 | 10.727 | 279.969 | 12.037 | 281.733 | 13.102 | 279.2 | 13.497 | 889.567 | 23.517 | 78.0131
2019-04-05 05:45:00 | 10.15 | 284.733 | 12.089 | 279.992 | 13.421 | 283.967 | 14.314 | 278.633 | 13.974 | 889.517 | 23.373 | 77.2926
2019-04-05 06:00:00 | 10.787 | 269.907 | 12.6 | 266.755 | 13.498 | 271.8 | 14.154 | 268.3 | 14.049 | 890.35 | 23.763 | 76.0569
2019-04-05 06:15:00 | 8.862 | 261.34 | 10.938 | 261.141 | 11.989 | 267.367 | 12.538 | 262.6 | 13.528 | 889.683 | 24.48 | 74.6202
2019-04-05 06:30:00 | 8.98 | 258.92 | 10.11 | 256.548 | 10.69 | 263.533 | 11.106 | 259.5 | 13.216 | 889.383 | 25.035 | 75.1566
2019-04-05 06:45:00 | 7.197 | 248.033 | 8.685 | 248.154 | 9.289 | 254.25 | 9.454 | 251.183 | 13.316 | 889.9 | 25.072 | 75.5517
2019-04-05 07:00:00 | 6.718 | 249.933 | 8.036 | 250.982 | 8.434 | 256.233 | 8.869 | 253 | 13.041 | 889.233 | 25.552 | 72.3961
2019-04-05 07:15:00 | 6.492 | 265.92 | 7.579 | 263.43 | 7.974 | 270.5 | 8.217 | 265.967 | 13.351 | 889.483 | 26.072 | 55.2508
2019-04-05 07:30:00 | 5.76 | 276.693 | 6.913 | 273.989 | 7.269 | 278.667 | 7.726 | 275.7 | 13.701 | 889.933 | 26.421 | 36.3569
2019-04-05 07:45:00 | 7.202 | 278.013 | 8.095 | 272.091 | 8.589 | 274.033 | 8.797 | 268.333 | 13.474 | 889.767 | 26.539 | 28.1072
2019-04-05 08:00:00 | 8.543 | 259.82 | 9.62 | 260.189 | 10.219 | 265 | 10.775 | 260.95 | 13.587 | 889.8 | 26.704 | 45.4677
2019-04-05 08:15:00 | 9.001 | 267.727 | 10.701 | 264.753 | 10.876 | 269.6 | 11.172 | 264.733 | 13.285 | 889.733 | 27.709 | 67.2722
2019-04-05 08:30:00 | 9.894 | 263 | 11.24 | 264.686 | 12.033 | 269.533 | 12.224 | 266.9 | 13.493 | 889.8 | 28.512 | 76.1756
2019-04-05 08:45:00 | 9.259 | 272.68 | 10.519 | 270.949 | 11.224 | 275.367 | 11.504 | 273.633 | 12.889 | 890.017 | 29.683 | 76.6524
2019-04-05 09:00:00 | 10.176 | 272.293 | 11.658 | 272.893 | 12.303 | 276.833 | 12.549 | 276.133 | 12.807 | 889.967 | 32.176 | 76.1912
2019-04-05 09:15:00 | 8.258 | 261.427 | 9.152 | 258.78 | 9.456 | 267.133 | 9.561 | 263.967 | 12.705 | 889.517 | 31.349 | 76.2566
2019-04-05 09:30:00 | 8.393 | 266.993 | 9.574 | 266.333 | 9.884 | 271.2 | 10.252 | 269.067 | 13.055 | 890.033 | 33.472 | 61.3361
2019-04-05 09:45:00 | 7.937 | 267.373 | 8.779 | 266.311 | 9.129 | 273.3 | 9.359 | 268.6 | 12.868 | 889.867 | 35.229 | 60.2909
2019-04-05 10:00:00 | 6.72 | 262.84 | 7.31 | 260.146 | 7.599 | 264.267 | 7.616 | 258.283 | 13.047 | 890.017 | 36.296 | 52.9052
2019-04-05 10:15:00 | 6.838 | 254.027 | 7.468 | 250.127 | 7.842 | 254.333 | 7.936 | 249.217 | 13.199 | 889.617 | 35.779 | 47.6044
2019-04-05 10:30:00 | 7.18 | 241.953 | 7.504 | 241.407 | 7.889 | 247 | 7.932 | 242.033 | 13.554 | 890 | 33.797 | 46.0042
2019-04-05 10:45:00 | 6.348 | 252.547 | 6.691 | 245.521 | 6.839 | 252.283 | 6.658 | 245.483 | 13.774 | 889.75 | 32.045 | 37.0873
2019-04-05 11:00:00 | 9.378 | 263.993 | 10.213 | 263.294 | 10.683 | 267.933 | 10.763 | 265.267 | 14.22 | 889.6 | 33.019 | 41.3159
2019-04-05 11:15:00 | 9.093 | 252.593 | 9.79 | 249.907 | 10.03 | 255.433 | 9.994 | 250.817 | 14.958 | 889.9 | 33.04 | 69.7499
2019-04-05 11:30:00 | 9.97 | 284.353 | 10.497 | 282.316 | 10.91 | 287.033 | 11.143 | 283.433 | 15.264 | 889.767 | 32.539 | 72.6014
2019-04-05 11:45:00 | 10.45 | 256.753 | 11.285 | 259.953 | 11.381 | 265.167 | 11.537 | 262.7 | 15.792 | 889.667 | 31.835 | 75.0643
2019-04-05 12:00:00 | 11.21 | 265.02 | 11.86 | 265.395 | 12.154 | 270.883 | 12.13 | 267.883 | 16.36 | 889.733 | 31.757 | 75.0841
2019-04-05 12:15:00 | 12.288 | 258.707 | 12.94 | 257.508 | 13.129 | 261.817 | 13.322 | 257.017 | 15.956 | 889.35 | 32.051 | 68.8802
2019-04-05 12:30:00 | 11.44 | 267.573 | 12.221 | 265.085 | 12.316 | 270.133 | 12.471 | 266.45 | 16.648 | 889.667 | 31.299 | 70.3745
2019-04-05 12:45:00 | 12.103 | 281.28 | 12.936 | 279.113 | 13.221 | 281.667 | 13.612 | 278.767 | 16.748 | 889.7 | 31.139 | 70.0199
2019-04-05 13:00:00 | 11.843 | 272.493 | 14.05 | 272.499 | 14.16 | 276.767 | 14.175 | 274.1 | 16.731 | 889.767 | 31.376 | 68.6066
2019-04-05 13:15:00 | 11.543 | 287.84 | 12.132 | 283.657 | 12.432 | 288.667 | 12.873 | 287.633 | 16.548 | 889.767 | 31.2 | 66.3435
2019-04-05 13:30:00 | 11.317 | 287.567 | 12.355 | 284.652 | 12.463 | 288.867 | 13.071 | 285.4 | 16.648 | 889.683 | 31.371 | 65.5825
2019-04-05 13:45:00 | 12.853 | 296.573 | 13.671 | 290.551 | 14.165 | 296.2 | 14.557 | 294.633 | 17.418 | 889.683 | 30.085 | 64.8158
2019-04-05 14:00:00 | 10.323 | 292.353 | 11.444 | 285.849 | 11.605 | 289.533 | 11.982 | 286.683 | 17.023 | 889.9 | 30 | 64.9202
2019-04-05 14:15:00 | 11.455 | 292.307 | 12.301 | 288.367 | 12.467 | 294.033 | 13.014 | 291 | 17.114 | 890 | 29.555 | 62.6691
2019-04-05 14:30:00 | 12.122 | 293.68 | 13.065 | 291.425 | 13.362 | 296.033 | 14.017 | 293.733 | 17.498 | 890.15 | 28.275 | 63.6739
2019-04-05 14:45:00 | 10.656 | 292.12 | 11.395 | 286.735 | 11.572 | 289.767 | 12.006 | 286.433 | 18.206 | 889.6 | 28.568 | 63.6284
2019-04-05 15:00:00 | 12.5 | 295.133 | 13.452 | 290.19 | 13.644 | 294.033 | 13.685 | 292.267 | 17.385 | 889.5 | 28.248 | 63.2596
2019-04-05 15:15:00 | 13.375 | 290.707 | 14.601 | 286.922 | 14.989 | 291.933 | 15.624 | 289.433 | 17.544 | 889.617 | 28.48 | 61.8733
2019-04-05 15:30:00 | 12.774 | 289.253 | 13.275 | 285.99 | 13.499 | 291.567 | 13.888 | 289.067 | 17.331 | 889.683 | 28.032 | 60.2973
2019-04-05 15:45:00 | 12.33 | 291.8 | 13.515 | 286.775 | 13.918 | 292.367 | 14.206 | 290.333 | 17.418 | 889.717 | 28.264 | 60.0813
2019-04-05 16:00:00 | 11.342 | 280.047 | 12.193 | 279.014 | 12.413 | 284.4 | 13.075 | 282.033 | 17.556 | 889.867 | 27.984 | 60.0322
2019-04-05 16:15:00 | 11.885 | 298.373 | 12.456 | 293.371 | 12.55 | 296.667 | 13.272 | 294.7 | 17.731 | 889.95 | 27.344 | 60.4692
2019-04-05 16:30:00 | 12.163 | 287.647 | 13.203 | 285.108 | 13.528 | 290.3 | 13.963 | 288 | 18.168 | 889.85 | 26.349 | 59.9022
2019-04-05 16:45:00 | 13.002 | 286.6 | 14.107 | 283.001 | 14.462 | 287.6 | 14.798 | 286.733 | 17.864 | 889.383 | 27.965 | 59.4353
2019-04-05 17:00:00 | 12.393 | 285.507 | 12.982 | 284.014 | 12.95 | 289.233 | 13.572 | 284.2 | 17.748 | 889.633 | 26.733 | 59.8631
2019-04-05 17:15:00 | 13.328 | 270.553 | 14.587 | 269.958 | 14.651 | 275.033 | 15.104 | 272.133 | 18.031 | 890.083 | 26.672 | 60.315
2019-04-05 17:30:00 | 12.337 | 279.82 | 13.884 | 275.731 | 14.114 | 280.2 | 14.439 | 275.717 | 17.906 | 889.767 | 27.056 | 59.613
2019-04-05 17:45:00 | 11.21 | 271.133 | 12.342 | 269.677 | 12.549 | 275.233 | 12.72 | 272.783 | 18.089 | 889.267 | 25.765 | 60.0251
2019-04-05 18:00:00 | 10.935 | 292.72 | 11.866 | 288.439 | 12.091 | 291.733 | 12.586 | 289.2 | 17.931 | 889.75 | 27.669 | 61.0974
2019-04-05 18:15:00 | 13.071 | 292.973 | 14.116 | 289.409 | 14.639 | 293.067 | 15.068 | 289.5 | 17.664 | 889.683 | 26.776 | 59.9263
2019-04-05 18:30:00 | 12.614 | 282.627 | 13.508 | 280.903 | 13.714 | 284.767 | 14.164 | 280.633 | 17.327 | 889.533 | 27.011 | 54.1402
2019-04-05 18:45:00 | 12.403 | 291.613 | 13.319 | 287.17 | 13.748 | 291.333 | 14.224 | 289.967 | 17.568 | 889.567 | 27.179 | 53.9022
2019-04-05 19:00:00 | 10.869 | 298.107 | 11.824 | 293.876 | 12.467 | 299.533 | 13 | 297 | 17.031 | 889.5 | 27.645 | 61.6296
2019-04-05 19:15:00 | 11.503 | 298.947 | 12.363 | 297.134 | 13.034 | 300.033 | 13.697 | 297.9 | 17.131 | 889.983 | 27.939 | 62.068
2019-04-05 19:30:00 | 9.725 | 293.2 | 11.018 | 290.084 | 11.547 | 295.233 | 11.962 | 291.9 | 16.898 | 889.717 | 28.861 | 58.8037
2019-04-05 19:45:00 | 10.151 | 295.04 | 11.696 | 289.067 | 12.124 | 295.8 | 12.891 | 291.9 | 16.664 | 890 | 29.699 | 58.3986
2019-04-05 20:00:00 | 8.488 | 282.693 | 9.925 | 280.393 | 10.625 | 284.1 | 11.482 | 282.667 | 16.26 | 889.55 | 31.576 | 61.5152
2019-04-05 20:15:00 | 7.875 | 281.493 | 9.972 | 281.677 | 10.309 | 285.4 | 10.972 | 283.533 | 15.816 | 889.583 | 31.475 | 59.4744
2019-04-05 20:30:00 | 6.603 | 285.96 | 7.912 | 281.166 | 8.269 | 285.4 | 8.749 | 283.067 | 15.226 | 889.717 | 31.893 | 53.7089
2019-04-05 20:45:00 | 7.273 | 284.067 | 8.498 | 282.49 | 9.126 | 287.967 | 9.957 | 287.767 | 15.628 | 889.633 | 32.104 | 41.7621
2019-04-05 21:00:00 | 7.354 | 280.727 | 8.626 | 279.066 | 8.95 | 284.167 | 9.287 | 283.033 | 15.129 | 889.667 | 32.243 | 45.9111
2019-04-05 21:15:00 | 6.018 | 275.953 | 6.731 | 275.136 | 7.114 | 280.933 | 7.586 | 279.767 | 14.741 | 889.717 | 32.317 | 47.738
2019-04-05 21:30:00 | 5.453 | 273.827 | 6.488 | 273.524 | 6.972 | 279.567 | 7.25 | 278.3 | 14.566 | 890.083 | 32.797 | 33.0804
2019-04-05 21:45:00 | 5.226 | 273.107 | 6.438 | 272.539 | 6.532 | 278.133 | 6.818 | 276.667 | 13.87 | 889.7 | 33.373 | 27.2559
2019-04-05 22:00:00 | 4.684 | 258.34 | 5.381 | 262.382 | 5.694 | 271.733 | 5.91 | 269.3 | 13.745 | 890.217 | 34.448 | 22.785
2019-04-05 22:15:00 | 5.396 | 241.347 | 5.657 | 244.362 | 5.68 | 251.667 | 5.66 | 251.283 | 12.545 | 890.067 | 36.379 | 17.772
2019-04-05 22:30:00 | 5.506 | 243.293 | 6.133 | 248.25 | 6.01 | 255.967 | 6.073 | 255.75 | 12.426 | 889.833 | 37.312 | 21.2381
2019-04-05 22:45:00 | 5.017 | 241.84 | 5.904 | 245.808 | 5.85 | 254.867 | 5.833 | 253.667 | 12.032 | 889.917 | 38.213 | 22.6884
2019-04-05 23:00:00 | 5.111 | 238.527 | 5.978 | 243.669 | 5.802 | 252.533 | 5.66 | 250.95 | 11.695 | 890.05 | 39.056 | 21.7362
2019-04-05 23:15:00 | 5.131 | 233.733 | 6.202 | 239.907 | 6.17 | 249.733 | 6.106 | 249.4 | 11.278 | 889.783 | 40.165 | 22.9172
2019-04-05 23:30:00 | 4.979 | 236.033 | 5.918 | 241.139 | 5.956 | 250.8 | 5.775 | 248.9 | 11.328 | 889.975 | 40.704 | 21.5202
2019-04-05 23:45:00 | 5.209 | 238.6 | 6.174 | 239.904 | 6.172 | 248.433 | 5.958 | 246.283 | 10.945 | 890.208 | 41.419 | 20.4338