## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-06 00:00:00 | 4.896 | 230.567 | 5.514 | 233.77 | 5.427 | 240.867 | 5.195 | 237.7 | 10.634 | 889.975 | 42.08 | 17.9574
2019-04-06 00:15:00 | 4.925 | 229.487 | 5.904 | 234.703 | 5.833 | 242.833 | 5.532 | 239.367 | 10.105 | 889.667 | 43.488 | 16.9257
2019-04-06 00:30:00 | 5.321 | 225.213 | 6.082 | 231.627 | 5.889 | 239.333 | 5.561 | 237.933 | 9.891 | 889.925 | 44.64 | 17.421
2019-04-06 00:45:00 | 5.832 | 224.44 | 6.613 | 229.709 | 6.373 | 237.033 | 6.084 | 234.567 | 9.328 | 889.717 | 45.707 | 21.7426
2019-04-06 01:00:00 | 6.23 | 226.913 | 7.232 | 232.407 | 7.221 | 239.367 | 7.077 | 236.933 | 9.491 | 889.867 | 46.379 | 25.282
2019-04-06 01:15:00 | 6.715 | 226.52 | 8.013 | 230.058 | 8.067 | 236.9 | 8.036 | 232.367 | 9.649 | 890.175 | 46.272 | 32.1247
2019-04-06 01:30:00 | 5.855 | 231.04 | 7.604 | 234.75 | 7.876 | 241.667 | 7.909 | 237.533 | 9.245 | 890.058 | 46.677 | 35.7699
2019-04-06 01:45:00 | 6.679 | 230.967 | 8.222 | 234.181 | 8.705 | 241.067 | 8.74 | 235.933 | 9.599 | 889.6 | 46.987 | 42.5146
2019-04-06 02:00:00 | 7.419 | 227.147 | 8.928 | 231.095 | 9.121 | 238.4 | 8.936 | 235.3 | 9.951 | 889.725 | 46.923 | 50.2918
2019-04-06 02:15:00 | 7.173 | 226.88 | 8.949 | 230.588 | 9.147 | 238 | 8.934 | 235.367 | 9.42 | 889.9 | 48.064 | 54.5459
2019-04-06 02:30:00 | 7.156 | 229.66 | 8.649 | 232.136 | 8.836 | 240 | 8.844 | 235.633 | 9.058 | 889.558 | 49.099 | 56.6769
2019-04-06 02:45:00 | 6.586 | 234.627 | 8.244 | 238.704 | 8.679 | 245.3 | 8.672 | 241.267 | 9.228 | 889.85 | 49.195 | 53.9519
2019-04-06 03:00:00 | 6.118 | 236.52 | 7.834 | 241.935 | 8.298 | 248.233 | 8.374 | 243.633 | 9.12 | 890.333 | 49.888 | 48.715
2019-04-06 03:15:00 | 5.398 | 246.8 | 6.595 | 244.552 | 7.114 | 250.9 | 7.16 | 246.65 | 9.291 | 890.058 | 50.144 | 41.4808
2019-04-06 03:30:00 | 4.504 | 231.587 | 5.953 | 233.988 | 6.653 | 240.533 | 6.76 | 236.533 | 8.933 | 889.8 | 50.944 | 34.9435
2019-04-06 03:45:00 | 5.026 | 220.96 | 6.793 | 225.024 | 7.378 | 232.133 | 7.445 | 229.067 | 8.544 | 889.675 | 52.597 | 34.6629
2019-04-06 04:00:00 | 6.81 | 214.907 | 8.091 | 220.51 | 8.452 | 226.933 | 8.501 | 224 | 7.77 | 889.7 | 53.973 | 37.0624
2019-04-06 04:15:00 | 5.847 | 215.247 | 8.083 | 220.525 | 9.358 | 228.167 | 9.833 | 226.133 | 7.449 | 889.892 | 54.859 | 42.6816
2019-04-06 04:30:00 | 7.424 | 226.613 | 9.571 | 228.989 | 10.4 | 236.533 | 10.27 | 233.133 | 8.05 | 889.608 | 53.867 | 65.5064
2019-04-06 04:45:00 | 7.536 | 235.447 | 9.528 | 239.064 | 10.168 | 245.6 | 10.087 | 242.2 | 8.874 | 889.5 | 51.829 | 72.956
2019-04-06 05:00:00 | 7.423 | 235.893 | 9.164 | 238.841 | 9.584 | 245.567 | 9.561 | 241.767 | 8.654 | 889.758 | 51.531 | 71.9847
2019-04-06 05:15:00 | 7.265 | 234.887 | 9.036 | 241.137 | 9.295 | 249.567 | 9.315 | 245.8 | 8.562 | 889.5 | 52.192 | 61.6708
2019-04-06 05:30:00 | 7.087 | 230 | 8.792 | 232.532 | 8.892 | 240.867 | 8.66 | 238.733 | 8.474 | 889.85 | 53.259 | 56.1511
2019-04-06 05:45:00 | 8.47 | 229.613 | 9.968 | 235.101 | 10.179 | 243.133 | 10.087 | 240.5 | 7.466 | 889.842 | 54.784 | 55.6033
2019-04-06 06:00:00 | 7.326 | 230.967 | 9.046 | 235.976 | 9.401 | 244.867 | 9.256 | 242.2 | 8.173 | 890.083 | 55.2 | 64.2032
2019-04-06 06:15:00 | 7.558 | 230.667 | 9.148 | 233.151 | 9.363 | 241.533 | 9.281 | 239.033 | 8.04 | 890.258 | 55.349 | 65.8141
2019-04-06 06:30:00 | 8.658 | 229.34 | 10.517 | 231.186 | 10.805 | 238.967 | 10.71 | 236.367 | 7.92 | 889.842 | 54.72 | 71.5555
2019-04-06 06:45:00 | 8.86 | 230.013 | 10.734 | 234.158 | 11.12 | 242.967 | 11.074 | 239.767 | 7.816 | 889.733 | 54.293 | 79.1905
2019-04-06 07:00:00 | 8.38 | 230.287 | 10.124 | 234.445 | 10.6 | 244.333 | 10.704 | 240.833 | 7.746 | 890.067 | 54.325 | 78.8125
2019-04-06 07:15:00 | 7.785 | 235.62 | 9.718 | 240.182 | 10.829 | 247.4 | 10.815 | 244.667 | 8.113 | 889.808 | 54.528 | 79.5835
2019-04-06 07:30:00 | 7.898 | 232.88 | 10.008 | 236.849 | 10.79 | 245.1 | 10.843 | 242.2 | 8.167 | 889.767 | 53.408 | 79.5778
2019-04-06 07:45:00 | 7.973 | 232.847 | 9.743 | 235.5 | 10.463 | 245.9 | 10.664 | 242.733 | 8.862 | 889.683 | 51.467 | 79.6204
2019-04-06 08:00:00 | 7.082 | 229.887 | 8.592 | 235.206 | 9.35 | 243.5 | 9.448 | 241.4 | 9.885 | 890.15 | 47.776 | 78.4636
2019-04-06 08:15:00 | 6.194 | 231.613 | 7.798 | 236.602 | 8.55 | 245.633 | 8.696 | 242.817 | 10.295 | 890.267 | 46.304 | 63.7904
2019-04-06 08:30:00 | 6.495 | 245.393 | 7.086 | 244.643 | 7.77 | 252 | 8.063 | 249.767 | 11.366 | 889.783 | 43.488 | 48.0798
2019-04-06 08:45:00 | 6.067 | 234.66 | 6.532 | 238.9 | 6.983 | 247.767 | 7.249 | 246.267 | 12.124 | 890.25 | 41.44 | 40.2842
2019-04-06 09:00:00 | 5.621 | 264.053 | 6.118 | 264.014 | 6.272 | 269.333 | 6.371 | 263.1 | 13.128 | 890.183 | 39.901 | 30.5736
2019-04-06 09:15:00 | 7.162 | 264.493 | 8.019 | 259.961 | 8.251 | 266.5 | 8.635 | 259.667 | 13.624 | 889.717 | 38.509 | 27.3987
2019-04-06 09:30:00 | 7.948 | 279.853 | 8.939 | 273.793 | 9.419 | 279.533 | 9.823 | 275.333 | 13.562 | 889.9 | 35.176 | 41.1176
2019-04-06 09:45:00 | 8.879 | 279.66 | 9.675 | 278.649 | 9.889 | 283.867 | 10.043 | 281.033 | 13.858 | 889.767 | 34.347 | 51.5786
2019-04-06 10:00:00 | 8.292 | 290.173 | 8.918 | 284.223 | 8.825 | 288.933 | 9.182 | 286.933 | 14.133 | 890.067 | 32.587 | 53.3778
2019-04-06 10:15:00 | 8.207 | 295.733 | 8.48 | 291.882 | 8.882 | 296.567 | 9.216 | 293.733 | 14.658 | 890.15 | 31.429 | 49.9798
2019-04-06 10:30:00 | 7.412 | 288.92 | 7.716 | 284.991 | 7.73 | 289.5 | 7.888 | 287.433 | 15.058 | 889.717 | 28.848 | 50.0722
2019-04-06 10:45:00 | 7.409 | 286.107 | 8.123 | 278.533 | 8.134 | 283.867 | 8.369 | 281.3 | 15.112 | 890.05 | 26.653 | 44.9774
2019-04-06 11:00:00 | 7.769 | 293.613 | 8.108 | 290.234 | 8.392 | 295.8 | 8.509 | 293.333 | 15.474 | 889.883 | 26.797 | 52.0504
2019-04-06 11:15:00 | 9.583 | 286.627 | 10.398 | 283.095 | 10.704 | 287.167 | 10.665 | 285.133 | 15.656 | 889.467 | 28 | 58.5542
2019-04-06 11:30:00 | 9.752 | 293.44 | 10.784 | 291.266 | 10.988 | 294.967 | 11.473 | 292.733 | 15.716 | 889.75 | 26.92 | 63.5076
2019-04-06 11:45:00 | 9.656 | 301.547 | 10.483 | 296.112 | 10.958 | 298.067 | 11.305 | 295.533 | 15.937 | 889.783 | 27.277 | 68.6315
2019-04-06 12:00:00 | 10.442 | 294.533 | 11.01 | 290.294 | 11.168 | 295.2 | 11.952 | 292.1 | 16.348 | 889.683 | 25.088 | 69.5837
2019-04-06 12:15:00 | 8.712 | 292.533 | 9.28 | 291.198 | 9.476 | 296.233 | 9.869 | 292.233 | 15.761 | 889.9 | 30.109 | 73.6431
2019-04-06 12:30:00 | 9.665 | 294.187 | 10.257 | 290.776 | 10.497 | 296 | 10.852 | 293.867 | 15.825 | 890.233 | 29.259 | 68.4453
2019-04-06 12:45:00 | 8.496 | 291.567 | 9.135 | 287.376 | 9.359 | 291.667 | 9.738 | 289.8 | 16.086 | 889.833 | 29.296 | 59.2307
2019-04-06 13:00:00 | 10.172 | 291.667 | 11.043 | 288.193 | 11.328 | 293 | 11.683 | 292.2 | 16.614 | 889.583 | 27.576 | 62.5952
2019-04-06 13:15:00 | 9.844 | 293.613 | 10.967 | 293.098 | 11.178 | 296.933 | 11.613 | 293.6 | 16.714 | 889.767 | 26.763 | 69.74
2019-04-06 13:30:00 | 9.404 | 284.827 | 10.316 | 282.972 | 10.534 | 288.333 | 10.921 | 286.033 | 17.206 | 889.417 | 26.605 | 70.7938
2019-04-06 13:45:00 | 10.844 | 292.027 | 11.94 | 286.781 | 12.235 | 291.4 | 12.975 | 288.867 | 16.985 | 889.633 | 25.523 | 71.4951
2019-04-06 14:00:00 | 11.376 | 283.32 | 12.173 | 280.023 | 12.603 | 284.3 | 12.927 | 283.3 | 17.21 | 889.833 | 25.027 | 71.9356
2019-04-06 14:15:00 | 10.495 | 287.293 | 11.322 | 287.012 | 11.659 | 290.3 | 12.162 | 287.633 | 17.198 | 889.8 | 24.76 | 71.8219
2019-04-06 14:30:00 | 10.118 | 296.893 | 10.841 | 294.888 | 11.227 | 299.8 | 11.714 | 296.667 | 17.131 | 889.8 | 23.904 | 72.1637
2019-04-06 14:45:00 | 12.213 | 301.293 | 12.84 | 295.397 | 13.504 | 301.633 | 14.109 | 298.533 | 17.702 | 889.667 | 22.797 | 72.2554
2019-04-06 15:00:00 | 11.602 | 295.26 | 12.195 | 290.385 | 12.687 | 297.667 | 13.119 | 294.7 | 17.456 | 889.933 | 23.715 | 72.1922
2019-04-06 15:15:00 | 12.523 | 291.453 | 13.655 | 288.971 | 14.178 | 292.667 | 14.714 | 291.233 | 17.677 | 889.683 | 24.512 | 71.8553
2019-04-06 15:30:00 | 10.41 | 289.093 | 11.386 | 288.562 | 11.504 | 290.1 | 11.873 | 286 | 17.427 | 889.65 | 24.552 | 71.3075
2019-04-06 15:45:00 | 13.029 | 279.613 | 13.38 | 280.351 | 13.588 | 283.7 | 13.873 | 280.833 | 17.585 | 889.25 | 25.467 | 72.1247
2019-04-06 16:00:00 | 11.306 | 274.12 | 12.122 | 271.898 | 12.384 | 278.867 | 12.496 | 274.767 | 17.352 | 889.55 | 25.747 | 71.9534
2019-04-06 16:15:00 | 12.464 | 286.773 | 13.215 | 283.426 | 13.583 | 287.467 | 14.21 | 284.233 | 17.494 | 889.717 | 24.565 | 71.7182
2019-04-06 16:30:00 | 12.15 | 290.093 | 13.264 | 287.236 | 13.249 | 291.8 | 13.848 | 287.933 | 17.714 | 890.167 | 24.299 | 72.6185
2019-04-06 16:45:00 | 12.674 | 292.467 | 13.811 | 288.079 | 14.18 | 291.933 | 14.622 | 289.967 | 17.689 | 889.517 | 22.565 | 73.1173
2019-04-06 17:00:00 | 12.806 | 272.553 | 13.993 | 273.367 | 14.366 | 277.6 | 14.632 | 275.4 | 17.785 | 889.867 | 21.112 | 72.7137
2019-04-06 17:15:00 | 11.396 | 275.627 | 12.896 | 277.288 | 12.949 | 280.8 | 13.205 | 277.6 | 17.918 | 889.817 | 22.805 | 68.9633
2019-04-06 17:30:00 | 11.725 | 280.693 | 12.9 | 277.191 | 13.303 | 281.767 | 13.824 | 279.633 | 17.906 | 889.433 | 23.715 | 68.7651
2019-04-06 17:45:00 | 11.384 | 295.72 | 12.175 | 293.011 | 12.324 | 299.067 | 12.669 | 298.767 | 17.744 | 889.717 | 24.355 | 68.473
2019-04-06 18:00:00 | 11.918 | 287.373 | 12.812 | 285.866 | 13.081 | 290.267 | 13.518 | 284.233 | 17.902 | 889.833 | 23.208 | 68.4183
2019-04-06 18:15:00 | 12.341 | 288.373 | 13.373 | 285.518 | 14.13 | 291.333 | 14.918 | 289.567 | 17.768 | 889.75 | 23.261 | 68.4034
2019-04-06 18:30:00 | 12.719 | 292.52 | 14.206 | 288.745 | 14.669 | 293.767 | 15.676 | 291.433 | 17.544 | 889.383 | 24.608 | 68.4624
2019-04-06 18:45:00 | 13.83 | 281.12 | 15.332 | 281.457 | 15.734 | 284.467 | 16.344 | 283.433 | 17.218 | 889.783 | 25.675 | 68.4404
2019-04-06 19:00:00 | 13.498 | 287.16 | 15.352 | 283.051 | 16.051 | 286.733 | 16.255 | 284.6 | 16.981 | 889.733 | 26.816 | 68.8155
2019-04-06 19:15:00 | 12.514 | 291.933 | 14.137 | 290.67 | 14.265 | 295.367 | 14.845 | 293.667 | 16.564 | 889.483 | 28.707 | 68.2528
2019-04-06 19:30:00 | 14.081 | 286.493 | 15.843 | 287.696 | 16.675 | 291 | 17.587 | 289.167 | 16.338 | 889.45 | 30.795 | 68.2222
2019-04-06 19:45:00 | 14.152 | 289.747 | 15.602 | 288.211 | 16.334 | 291.367 | 17.145 | 289.167 | 15.324 | 889.733 | 33.056 | 68.4134
2019-04-06 20:00:00 | 12.57 | 277.793 | 14.248 | 279.498 | 14.598 | 282.267 | 15.024 | 279.433 | 14.858 | 890 | 34.061 | 68.1561
2019-04-06 20:15:00 | 10.716 | 281.933 | 12.241 | 278.451 | 12.793 | 285.433 | 13.279 | 283.067 | 15.008 | 889.417 | 34.013 | 68.0616
2019-04-06 20:30:00 | 10.613 | 280.48 | 12.193 | 278.472 | 12.881 | 283.3 | 13.462 | 281.167 | 14.595 | 889.9 | 34.312 | 68.1135
2019-04-06 20:45:00 | 11.826 | 273.52 | 13.805 | 275.222 | 14.161 | 279.6 | 14.381 | 276.467 | 14.137 | 889.783 | 34.085 | 68.019
2019-04-06 21:00:00 | 10.772 | 276.847 | 12.64 | 278.135 | 13.535 | 281.8 | 14.338 | 279.667 | 14.191 | 889.467 | 34.957 | 68.0083
2019-04-06 21:15:00 | 9.787 | 272.633 | 11.774 | 276.13 | 12.601 | 279.167 | 13.334 | 275.667 | 13.787 | 890.05 | 35.947 | 67.8861
2019-04-06 21:30:00 | 9.365 | 270.613 | 10.254 | 269.443 | 10.938 | 276 | 11.207 | 271.967 | 13.358 | 889.983 | 37.061 | 67.771
2019-04-06 21:45:00 | 9.422 | 270.44 | 11.021 | 270.446 | 11.582 | 274.3 | 11.908 | 271.667 | 13.23 | 889.35 | 38.075 | 69.1438
2019-04-06 22:00:00 | 9.315 | 269.527 | 10.654 | 271.197 | 11.315 | 275.367 | 11.948 | 271.467 | 12.947 | 889.517 | 39.291 | 70.9778
2019-04-06 22:15:00 | 8.767 | 269.707 | 10.461 | 269.513 | 11.328 | 274.9 | 11.692 | 271.8 | 12.707 | 889.683 | 40.635 | 71.1895
2019-04-06 22:30:00 | 9.488 | 266.333 | 11.005 | 266.294 | 11.564 | 273.167 | 11.828 | 269.333 | 12.224 | 889.542 | 41.989 | 71.4041
2019-04-06 22:45:00 | 10.048 | 267.193 | 11.867 | 268.545 | 12.426 | 273.733 | 13.067 | 271.433 | 12.528 | 890.042 | 42.971 | 70.8144
2019-04-06 23:00:00 | 10.655 | 265.793 | 12.656 | 266.884 | 13.395 | 272.667 | 13.877 | 267.667 | 11.766 | 890.058 | 44.368 | 70.9181
2019-04-06 23:15:00 | 10.958 | 267.773 | 13.174 | 269.324 | 13.654 | 274 | 14.194 | 269.167 | 11.732 | 889.875 | 45.195 | 70.8776
2019-04-06 23:30:00 | 11.022 | 263.913 | 12.456 | 265.026 | 12.787 | 270.5 | 13.225 | 267.4 | 12.003 | 889.908 | 45.333 | 70.8748
2019-04-06 23:45:00 | 11.276 | 259.24 | 12.942 | 263.559 | 13.552 | 266.867 | 13.829 | 263 | 11.578 | 889.983 | 45.739 | 70.8108