## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-07 00:00:00 | 11.624 | 263.133 | 13.111 | 262.31 | 13.66 | 267.933 | 13.856 | 263.817 | 11.736 | 889.808 | 46.048 | 70.7575
2019-04-07 00:15:00 | 11.115 | 261.193 | 12.781 | 261.213 | 13.436 | 265.833 | 13.842 | 262.633 | 11.545 | 889.317 | 46.416 | 70.8243
2019-04-07 00:30:00 | 12.21 | 260.873 | 13.117 | 262.788 | 13.749 | 266.6 | 14.268 | 262.617 | 11.211 | 889.775 | 46.491 | 70.8449
2019-04-07 00:45:00 | 12.17 | 266.12 | 14.071 | 264.908 | 14.405 | 270.333 | 14.786 | 267.067 | 11.44 | 889.717 | 47.179 | 70.825
2019-04-07 01:00:00 | 11.045 | 263.787 | 12.591 | 263.549 | 13.053 | 268.367 | 13.252 | 264.033 | 11.195 | 889.325 | 47.904 | 70.8421
2019-04-07 01:15:00 | 10.871 | 269.593 | 12.496 | 267.395 | 13.216 | 271.067 | 13.691 | 267.2 | 11.061 | 889.533 | 48.699 | 70.8847
2019-04-07 01:30:00 | 11.223 | 268.92 | 12.76 | 268.349 | 13.253 | 274.167 | 13.796 | 270.567 | 10.811 | 889.833 | 50.064 | 71.0055
2019-04-07 01:45:00 | 10.421 | 271.713 | 12.809 | 270.218 | 13.853 | 275.6 | 14.105 | 271.567 | 10.845 | 889.9 | 51.419 | 71.3047
2019-04-07 02:00:00 | 10.36 | 270.147 | 11.929 | 268.859 | 12.299 | 272.467 | 12.698 | 269.633 | 10.484 | 889.967 | 52.539 | 71.8902
2019-04-07 02:15:00 | 9.752 | 260.727 | 11.21 | 262.895 | 11.548 | 267.6 | 11.964 | 264.733 | 10.526 | 889.875 | 54.203 | 71.3167
2019-04-07 02:30:00 | 9.052 | 263.147 | 10.473 | 264.163 | 11.018 | 270.333 | 11.174 | 266.567 | 10.547 | 889.917 | 55.28 | 71.4254
2019-04-07 02:45:00 | 7.277 | 265.453 | 8.26 | 265.421 | 8.96 | 270.833 | 9.723 | 265.883 | 10.522 | 889.85 | 56.192 | 64.3724
2019-04-07 03:00:00 | 8.633 | 262.28 | 9.824 | 264.651 | 10.409 | 268.733 | 10.916 | 266.1 | 10.316 | 890.1 | 57.291 | 52.2082
2019-04-07 03:15:00 | 10.589 | 268.913 | 12.002 | 268.438 | 12.587 | 273.267 | 13.248 | 269.2 | 10.614 | 889.517 | 57.755 | 68.1135
2019-04-07 03:30:00 | 10.45 | 275.653 | 12.385 | 273.082 | 13.091 | 278.033 | 13.82 | 274.867 | 10.453 | 889.3 | 58.811 | 72.3684
2019-04-07 03:45:00 | 11.176 | 281.013 | 11.965 | 278.854 | 12.474 | 282.4 | 13.289 | 278.967 | 10.241 | 889.875 | 59.648 | 72.4565
2019-04-07 04:00:00 | 11.245 | 284.267 | 12.45 | 279.205 | 13.055 | 283.267 | 13.629 | 280.067 | 10.591 | 889.45 | 60.885 | 72.1666
2019-04-07 04:15:00 | 11.128 | 281.56 | 12.557 | 279.03 | 13.075 | 281.733 | 13.58 | 278.233 | 10.185 | 889.667 | 61.077 | 72.367
2019-04-07 04:30:00 | 10.882 | 280.247 | 12.345 | 279.692 | 12.87 | 281.8 | 13.749 | 277.467 | 10.541 | 889.875 | 61.285 | 71.392
2019-04-07 04:45:00 | 10.325 | 272.56 | 11.83 | 271.541 | 12.23 | 275.3 | 12.704 | 269.733 | 10.191 | 889.567 | 61.749 | 71.2222
2019-04-07 05:00:00 | 9.984 | 271.333 | 11.858 | 271.006 | 12.404 | 275.533 | 12.811 | 273.167 | 10.23 | 890.025 | 63.04 | 70.7106
2019-04-07 05:15:00 | 10.041 | 272.16 | 11.419 | 268.23 | 12.262 | 272.767 | 12.839 | 269.6 | 9.791 | 890.133 | 63.605 | 70.7739
2019-04-07 05:30:00 | 9.761 | 267.473 | 11.123 | 264.321 | 11.68 | 268.133 | 12.022 | 265 | 9.768 | 890.3 | 64.56 | 70.8002
2019-04-07 05:45:00 | 9.097 | 261.267 | 10.706 | 262.791 | 11.02 | 268.1 | 11.512 | 264.3 | 9.108 | 889.542 | 65.947 | 69.8125
2019-04-07 06:00:00 | 8.876 | 259.633 | 10.352 | 262.857 | 10.958 | 266.3 | 10.975 | 262.367 | 9.378 | 889.692 | 66.805 | 71.3246
2019-04-07 06:15:00 | 9.851 | 259.633 | 11.231 | 259.002 | 11.623 | 264.5 | 11.869 | 260.3 | 9.008 | 890.042 | 67.493 | 70.4662
2019-04-07 06:30:00 | 10.192 | 263.353 | 11.761 | 262.43 | 12.34 | 265.867 | 12.916 | 264.267 | 8.674 | 889.8 | 67.819 | 71.3373
2019-04-07 06:45:00 | 9.24 | 266.173 | 10.812 | 265.689 | 11.112 | 269.5 | 11.688 | 265.667 | 8.574 | 889.7 | 66.645 | 70.9096
2019-04-07 07:00:00 | 9.65 | 262.707 | 11.513 | 261.02 | 12.32 | 266.067 | 12.714 | 260.917 | 8.574 | 889.925 | 66.443 | 71.3068
2019-04-07 07:15:00 | 12.292 | 264.12 | 13.797 | 266.049 | 14.266 | 270.067 | 14.722 | 267.167 | 8.72 | 889.5 | 66.816 | 72.33
2019-04-07 07:30:00 | 11.671 | 266.14 | 13.018 | 262.908 | 13.516 | 270.933 | 13.938 | 267.6 | 8.558 | 890.125 | 67.893 | 70.8954
2019-04-07 07:45:00 | 10.333 | 275.787 | 11.76 | 272.893 | 12.235 | 277.367 | 12.878 | 273.733 | 8.11 | 889.683 | 68.597 | 71.4816
2019-04-07 08:00:00 | 9.989 | 268.247 | 11.424 | 264.085 | 11.604 | 270.633 | 11.615 | 265.8 | 8.724 | 889.925 | 67.989 | 70.8733
2019-04-07 08:15:00 | 12.603 | 266.273 | 14.417 | 267.139 | 14.758 | 272.133 | 15.433 | 266.3 | 8.683 | 889.817 | 66.699 | 71.2563
2019-04-07 08:30:00 | 12.45 | 266.78 | 14.011 | 265.845 | 14.24 | 270.1 | 14.427 | 266.333 | 8.327 | 889.892 | 65.771 | 71.7189
2019-04-07 08:45:00 | 11.538 | 265 | 12.115 | 261.714 | 12.605 | 267.1 | 12.807 | 262.383 | 8.19 | 890.042 | 63.371 | 71.9768
2019-04-07 09:00:00 | 10.905 | 262.067 | 11.966 | 261.503 | 12.372 | 265.7 | 12.523 | 260.233 | 8.147 | 889.558 | 62.272 | 71.5974
2019-04-07 09:15:00 | 10.569 | 263.853 | 11.897 | 260.95 | 12.03 | 265.933 | 12.237 | 259.833 | 8.107 | 889.833 | 63.451 | 71.9044
2019-04-07 09:30:00 | 9.785 | 269.687 | 10.986 | 264.136 | 11.018 | 270.767 | 10.932 | 267.017 | 8.083 | 890.125 | 64.96 | 71.6777
2019-04-07 09:45:00 | 10.184 | 276.267 | 11.49 | 273.363 | 11.912 | 277.033 | 12 | 272.2 | 8.123 | 889.792 | 65.397 | 70.2651
2019-04-07 10:00:00 | 10.979 | 265.007 | 11.924 | 264.651 | 12.296 | 268.667 | 12.324 | 264.017 | 7.889 | 890.475 | 65.205 | 72.2213
2019-04-07 10:15:00 | 9.841 | 266.573 | 10.92 | 264.535 | 11.211 | 270.967 | 11.634 | 265.933 | 7.93 | 890.242 | 60.4 | 71.0979
2019-04-07 10:30:00 | 11.902 | 269.32 | 13.293 | 266.883 | 13.662 | 272.3 | 13.77 | 269.667 | 8.14 | 889.658 | 54.795 | 70.6836
2019-04-07 10:45:00 | 12.148 | 274.813 | 13.065 | 275.371 | 13.412 | 278.967 | 13.821 | 277.5 | 8.103 | 889.917 | 48.773 | 70.2999
2019-04-07 11:00:00 | 12.754 | 267.767 | 13.596 | 269.2 | 14.003 | 273.967 | 14.512 | 271.133 | 7.986 | 889.917 | 49.925 | 69.8999
2019-04-07 11:15:00 | 12.286 | 267.307 | 13.198 | 266.548 | 13.487 | 270.233 | 13.693 | 266.167 | 7.97 | 889.683 | 49.392 | 70.6779
2019-04-07 11:30:00 | 12.342 | 262.973 | 13.637 | 265.622 | 13.652 | 270.033 | 13.541 | 266.65 | 8.414 | 890.033 | 48.475 | 71.235
2019-04-07 11:45:00 | 12.196 | 266.5 | 13.374 | 267.893 | 13.841 | 271.75 | 14.196 | 268.633 | 8.09 | 889.9 | 47.685 | 71.0275
2019-04-07 12:00:00 | 13.117 | 267.38 | 14.129 | 269.543 | 14.115 | 272.5 | 14.165 | 269.917 | 8.377 | 889.792 | 45.456 | 70.6289
2019-04-07 12:15:00 | 12.632 | 274.24 | 13.429 | 277.824 | 13.615 | 280.2 | 14.25 | 277.967 | 8.634 | 889.892 | 42.528 | 70.4577
2019-04-07 12:30:00 | 13.757 | 274.727 | 14.244 | 275.189 | 14.518 | 278.967 | 14.739 | 278.3 | 8.674 | 890.1 | 40.229 | 70.1358
2019-04-07 12:45:00 | 13.94 | 267.92 | 15.024 | 270.735 | 15.142 | 275.767 | 15.376 | 272.933 | 8.663 | 889.833 | 39.211 | 69.7904
2019-04-07 13:00:00 | 13.166 | 273.48 | 14.306 | 275.521 | 14.677 | 279.033 | 14.954 | 276.667 | 9.062 | 889.417 | 37.707 | 69.8665
2019-04-07 13:15:00 | 14.302 | 263.32 | 15.378 | 269.901 | 15.521 | 274.7 | 15.828 | 271.667 | 8.488 | 889.933 | 37.947 | 69.9361
2019-04-07 13:30:00 | 13.736 | 271.14 | 14.871 | 273.379 | 15.269 | 279 | 15.686 | 275.867 | 8.795 | 890 | 37.483 | 69.983
2019-04-07 13:45:00 | 13.94 | 266.753 | 15.015 | 269.348 | 15.625 | 274.9 | 15.591 | 272.7 | 9.262 | 889.3 | 35.379 | 69.9489
2019-04-07 14:00:00 | 13.507 | 284.227 | 14.74 | 282.966 | 15.299 | 288.233 | 15.878 | 285.3 | 9.387 | 889.95 | 34.256 | 69.826
2019-04-07 14:15:00 | 13.258 | 278.213 | 15.122 | 281.167 | 15.768 | 282.6 | 16.021 | 280.4 | 9.433 | 889.6 | 34.632 | 70.3987
2019-04-07 14:30:00 | 14.66 | 277.067 | 15.977 | 278.918 | 15.976 | 281.367 | 16.356 | 280.633 | 8.854 | 889.633 | 36.704 | 67.8229
2019-04-07 14:45:00 | 14.701 | 266.527 | 15.843 | 274.147 | 15.811 | 277.433 | 16.195 | 274.833 | 9.028 | 889.85 | 36.4 | 67.0768
2019-04-07 15:00:00 | 13.626 | 271.14 | 15.517 | 275.549 | 15.896 | 281.2 | 16.088 | 278.533 | 8.862 | 889.617 | 36.763 | 67.0363
2019-04-07 15:15:00 | 13.399 | 270.207 | 14.701 | 282.525 | 15.266 | 287.033 | 15.903 | 283.933 | 8.491 | 890.083 | 36.288 | 65.4041
2019-04-07 15:30:00 | 12.845 | 271.547 | 13.955 | 272.942 | 14.53 | 277.633 | 14.639 | 273.8 | 8.858 | 890 | 35.843 | 67.0917
2019-04-07 15:45:00 | 13.681 | 284.707 | 14.897 | 287.873 | 15.301 | 293.467 | 15.874 | 291.6 | 8.845 | 889.383 | 35.744 | 68.2044
2019-04-07 16:00:00 | 14.835 | 279.773 | 16.024 | 280.25 | 16.464 | 283 | 17.465 | 282.9 | 8.558 | 889.817 | 34.739 | 68.9456
2019-04-07 16:15:00 | 15.028 | 282.293 | 16.695 | 283.309 | 17.148 | 286.767 | 17.779 | 285.3 | 8.541 | 889.933 | 33.603 | 69.1872
2019-04-07 16:30:00 | 13.23 | 280.487 | 14.339 | 279.991 | 14.89 | 284.267 | 15.293 | 283.8 | 8.791 | 889.85 | 33.245 | 68.4844
2019-04-07 16:45:00 | 15.648 | 265.507 | 16.256 | 274.281 | 16.422 | 277.967 | 16.73 | 274.967 | 9.328 | 889.817 | 32.179 | 67.8321
2019-04-07 17:00:00 | 13.503 | 269.42 | 14.715 | 270.055 | 14.938 | 274.667 | 15.237 | 270.367 | 9.641 | 889.967 | 31.08 | 66.1694
2019-04-07 17:15:00 | 14.08 | 274.02 | 15.152 | 276.962 | 15.68 | 280.567 | 16.094 | 278.9 | 9.22 | 889.533 | 31.728 | 68.5605
2019-04-07 17:30:00 | 14.01 | 270.367 | 15.174 | 276.048 | 15.533 | 277.5 | 16.095 | 275.033 | 9.562 | 889.65 | 31.592 | 70.0121
2019-04-07 17:45:00 | 14.14 | 273.84 | 15.874 | 279.01 | 15.818 | 279.4 | 16.425 | 277 | 9.716 | 889.633 | 32.741 | 70.41
2019-04-07 18:00:00 | 13.293 | 273.447 | 14.529 | 278.407 | 14.814 | 283.2 | 15.117 | 279.633 | 9.216 | 890.15 | 33.285 | 69.7954
2019-04-07 18:15:00 | 13.945 | 274.433 | 15.33 | 279.632 | 15.951 | 283.367 | 16.457 | 281.8 | 9.237 | 889.8 | 32.707 | 68.9079
2019-04-07 18:30:00 | 14.217 | 273.553 | 15.585 | 276.268 | 15.915 | 280.267 | 16.282 | 275.833 | 8.895 | 889.967 | 34.253 | 69.4181
2019-04-07 18:45:00 | 15.73 | 268.607 | 17.19 | 276.091 | 17.506 | 279.2 | 18.012 | 277.667 | 8.713 | 889.867 | 34.616 | 69.1985
2019-04-07 19:00:00 | 14.465 | 282.327 | 16.282 | 283.829 | 16.8 | 287 | 17.83 | 284.567 | 7.936 | 889.817 | 36.264 | 69.104
2019-04-07 19:15:00 | 15.497 | 270.533 | 17.042 | 273.141 | 17.164 | 277.967 | 17.535 | 274.5 | 8.02 | 889.8 | 35.955 | 70.1301
2019-04-07 19:30:00 | 15.453 | 256.687 | 17.042 | 274.281 | 17.723 | 277.567 | 18.325 | 276.233 | 7.639 | 889.833 | 37.925 | 70.2651
2019-04-07 19:45:00 | 15.093 | 265.027 | 16.828 | 275.484 | 17.488 | 279.8 | 18.113 | 278.367 | 7.356 | 889.75 | 39.264 | 70.2288
2019-04-07 20:00:00 | 14.525 | 268.787 | 16.694 | 271.316 | 17.125 | 275.367 | 17.734 | 272.8 | 6.393 | 889.858 | 41.301 | 70.0214
2019-04-07 20:15:00 | 14.888 | 272.28 | 16.696 | 277.962 | 16.812 | 280.667 | 17.57 | 279.5 | 6.208 | 889.7 | 42.923 | 70.0903
2019-04-07 20:30:00 | 12.099 | 283.667 | 13.959 | 283.931 | 14.744 | 287.167 | 15.638 | 287.233 | 5.982 | 890.383 | 43.381 | 69.6682
2019-04-07 20:45:00 | 12.228 | 280.873 | 14.163 | 282.675 | 14.835 | 287.4 | 15.074 | 285.467 | 5.654 | 890.1 | 45.595 | 69.6043
2019-04-07 21:00:00 | 11.638 | 285.4 | 13.763 | 285.168 | 14.526 | 288.067 | 15.152 | 287.967 | 4.885 | 889.967 | 46.763 | 70.0008
2019-04-07 21:15:00 | 13.69 | 274.333 | 15.798 | 280.367 | 16.57 | 285.2 | 17.828 | 283.133 | 4.902 | 889.667 | 48.683 | 70.0029
2019-04-07 21:30:00 | 13.866 | 272.94 | 15.952 | 280.283 | 16.738 | 282.967 | 17.457 | 281.4 | 4.285 | 889.208 | 49.808 | 69.7954
2019-04-07 21:45:00 | 12.048 | 270.42 | 13.87 | 273.055 | 14.71 | 276.4 | 15.171 | 273.533 | 4.102 | 890.058 | 49.787 | 69.7848
2019-04-07 22:00:00 | 10.053 | 256.98 | 11.239 | 261.361 | 11.667 | 265.5 | 11.932 | 262.517 | 3.989 | 889.958 | 49.333 | 70.7014
2019-04-07 22:15:00 | 6.694 | 255.933 | 7.83 | 254.61 | 8.429 | 260.6 | 8.704 | 255.75 | 3.672 | 890.133 | 50.368 | 66.5474
2019-04-07 22:30:00 | 8.254 | 252.067 | 9.79 | 256.74 | 10.566 | 261.833 | 10.996 | 257.433 | 3.455 | 890.092 | 50.736 | 64.1265
2019-04-07 22:45:00 | 6.894 | 258.667 | 8.568 | 257.425 | 9.288 | 262.933 | 9.535 | 260.383 | 3.505 | 889.767 | 49.589 | 52.3794
2019-04-07 23:00:00 | 7.079 | 254.8 | 8.181 | 257.488 | 8.93 | 261.517 | 9.339 | 257.083 | 3.371 | 890.342 | 50.309 | 55.5592
2019-04-07 23:15:00 | 6.415 | 257.133 | 7.402 | 256.239 | 7.944 | 260.983 | 8.254 | 256.35 | 3.388 | 889.85 | 51.184 | 61.2771
2019-04-07 23:30:00 | 8.728 | 259.733 | 9.997 | 261.447 | 10.216 | 267.3 | 10.492 | 263.333 | 3.204 | 890.133 | 52.213 | 64.8428
2019-04-07 23:45:00 | 6.945 | 261.033 | 8.077 | 261.617 | 8.637 | 266.4 | 8.801 | 262.183 | 3.288 | 890.275 | 52.56 | 72.7627