## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-08 00:00:00 | 6.87 | 256.6 | 8.183 | 260.874 | 8.5 | 265.967 | 8.816 | 261.2 | 3.173 | 889.892 | 54.251 | 66.5062
2019-04-08 00:15:00 | 6.916 | 258.533 | 8.25 | 257.249 | 8.643 | 262.283 | 8.826 | 258.367 | 2.86 | 889.767 | 55.477 | 58.005
2019-04-08 00:30:00 | 7.44 | 253.527 | 8.737 | 256.985 | 9.351 | 261.4 | 9.498 | 258.267 | 2.326 | 890.417 | 56.944 | 54.1331
2019-04-08 00:45:00 | 6.966 | 256.173 | 8.115 | 255.065 | 8.6 | 262.15 | 8.971 | 257.767 | 2.418 | 889.783 | 57.445 | 52.346
2019-04-08 01:00:00 | 6.249 | 252.467 | 7.506 | 254.928 | 7.968 | 260.517 | 8.447 | 258.567 | 2.278 | 889.617 | 58.411 | 54.8309
2019-04-08 01:15:00 | 7.781 | 263.52 | 8.99 | 264.177 | 9.536 | 269.833 | 9.931 | 265.533 | 2.164 | 889.833 | 58.581 | 57.8188
2019-04-08 01:30:00 | 7.194 | 252.34 | 8.428 | 252.308 | 8.913 | 258.9 | 9.27 | 254.533 | 2.192 | 889.467 | 59.003 | 63.3001
2019-04-08 01:45:00 | 7.144 | 252.913 | 8.436 | 253.878 | 8.852 | 258.9 | 8.972 | 255.517 | 1.729 | 889.4 | 62.043 | 66.6696
2019-04-08 02:00:00 | 7.986 | 255.54 | 9.608 | 252.975 | 10.232 | 255.867 | 10.702 | 251.467 | 1.629 | 889.942 | 63.563 | 72.3023
2019-04-08 02:15:00 | 9.691 | 250.26 | 11.637 | 252.078 | 12.22 | 256.45 | 12.136 | 251.733 | 1.479 | 890.025 | 62.747 | 71.3125
2019-04-08 02:30:00 | 9.933 | 250.013 | 11.994 | 253.989 | 12.777 | 257.733 | 13.078 | 253.1 | 1.576 | 889.742 | 61.189 | 70.9408
2019-04-08 02:45:00 | 9.128 | 250.693 | 11.234 | 248.711 | 12.268 | 254.017 | 12.33 | 249.517 | 1.585 | 889.683 | 60.955 | 71.6877
2019-04-08 03:00:00 | 9.623 | 250.933 | 11.638 | 251.183 | 12.295 | 256.317 | 12.596 | 251.917 | 1.881 | 889.925 | 60.112 | 71.3722
2019-04-08 03:15:00 | 8.494 | 265.287 | 10.538 | 265.831 | 11.5 | 268.133 | 12.006 | 264.067 | 1.789 | 889.525 | 56.907 | 71.5811
2019-04-08 03:30:00 | 8.145 | 264.073 | 9.844 | 265.282 | 10.349 | 271.933 | 11.157 | 267.8 | 1.876 | 890 | 53.984 | 71.51
2019-04-08 03:45:00 | 7.289 | 251.82 | 9.458 | 260.19 | 10.611 | 265.95 | 11.167 | 262.817 | 1.605 | 889.858 | 53.648 | 56.0964
2019-04-08 04:00:00 | 6.101 | 255.44 | 7.405 | 257.704 | 7.981 | 262.933 | 8.178 | 257.15 | 2.091 | 889.967 | 52.187 | 40.5222
2019-04-08 04:15:00 | 5.249 | 226.233 | 6.505 | 232.992 | 7.031 | 239.8 | 7.211 | 238.8 | 1.499 | 889.625 | 54.112 | 33.16
2019-04-08 04:30:00 | 5.87 | 223.56 | 6.951 | 228.045 | 7.42 | 234 | 7.628 | 230.767 | 1.122 | 890.042 | 56.363 | 32.2832
2019-04-08 04:45:00 | 5.036 | 237.793 | 6.376 | 239.317 | 7.014 | 244.933 | 7.427 | 238.833 | 1.092 | 890.067 | 57.269 | 40.4348
2019-04-08 05:00:00 | 5.508 | 244.833 | 6.328 | 248.431 | 6.474 | 255.4 | 6.708 | 253.5 | 1.132 | 889.5 | 58.923 | 48.0549
2019-04-08 05:15:00 | 3.155 | 251.307 | 4.225 | 253.717 | 4.78 | 263.6 | 5.249 | 263.533 | 0.449 | 889.692 | 59.696 | 31.898
2019-04-08 05:30:00 | 4.029 | 233.747 | 4.607 | 244.694 | 4.761 | 256.5 | 4.83 | 259.133 | -0.066 | 889.658 | 60.043 | 19.1874
2019-04-08 05:45:00 | 5.096 | 233.907 | 5.707 | 245.981 | 5.907 | 255.667 | 6.253 | 255.483 | -0.209 | 890.142 | 60.064 | 20.3286
2019-04-08 06:00:00 | 5.604 | 235.187 | 6.274 | 249.044 | 6.494 | 259.2 | 6.764 | 259.7 | -0.206 | 890.208 | 59.115 | 28.5428
2019-04-08 06:15:00 | 7.035 | 234.72 | 7.749 | 247.353 | 7.919 | 256.733 | 8.1 | 256.417 | -0.016 | 890.15 | 57.792 | 42.8514
2019-04-08 06:30:00 | 7.118 | 263.727 | 9.441 | 266.01 | 10.354 | 272.367 | 11.088 | 269.933 | 0.299 | 890.092 | 52.715 | 62.5554
2019-04-08 06:45:00 | 8.743 | 259.26 | 10.666 | 264.43 | 11.07 | 270.5 | 11.216 | 266.567 | 1.981 | 889.717 | 46.379 | 71.6905
2019-04-08 07:00:00 | 6.1 | 234.173 | 7.86 | 247.448 | 8.5 | 256.9 | 8.652 | 257.05 | 0.782 | 890.008 | 49.963 | 61.0483
2019-04-08 07:15:00 | 6.734 | 236.02 | 7.886 | 245.475 | 8.3 | 255.633 | 8.292 | 254.483 | 0.632 | 890.242 | 52.608 | 48.9488
2019-04-08 07:30:00 | 6.688 | 239.073 | 7.854 | 244.628 | 7.949 | 253.5 | 8.262 | 252.317 | 0.915 | 889.767 | 53.312 | 46.7027
2019-04-08 07:45:00 | 5.874 | 232.187 | 7.054 | 236.273 | 7.988 | 246.267 | 8.411 | 243.1 | 2.146 | 889.55 | 51.712 | 48.2283
2019-04-08 08:00:00 | 6.433 | 227.827 | 7.357 | 227.396 | 7.944 | 234.633 | 7.992 | 232.733 | 2.639 | 890.183 | 50.731 | 45.1167
2019-04-08 08:15:00 | 7.106 | 231.08 | 7.868 | 233.974 | 8.388 | 241.1 | 8.488 | 238.033 | 3.544 | 889.5 | 49.419 | 47.7032
2019-04-08 08:30:00 | 6.745 | 239.787 | 7.394 | 246.647 | 7.583 | 251.567 | 7.909 | 248.367 | 4.226 | 889.858 | 47.147 | 47.6229
2019-04-08 08:45:00 | 7.423 | 257.533 | 8.113 | 260.552 | 8.144 | 263.833 | 7.866 | 257.267 | 4.752 | 889.517 | 50.187 | 42.1736
2019-04-08 09:00:00 | 6.341 | 246.073 | 6.732 | 249.784 | 6.797 | 255.617 | 6.696 | 251.417 | 5.035 | 889.758 | 50.571 | 38.3884
2019-04-08 09:15:00 | 6.786 | 256.273 | 7.372 | 255.486 | 7.4 | 262.017 | 7.356 | 258.483 | 5.491 | 890.233 | 48.133 | 32.8495
2019-04-08 09:30:00 | 5.766 | 255.047 | 6.208 | 257.357 | 6.357 | 263.533 | 6.425 | 259.233 | 6.791 | 890.3 | 43.989 | 30.5814
2019-04-08 09:45:00 | 6.862 | 262.38 | 7.313 | 262.764 | 7.241 | 267.85 | 7.411 | 262.283 | 6.068 | 890.058 | 42.704 | 27.182
2019-04-08 10:00:00 | 6.004 | 248.713 | 6.156 | 248.789 | 6.516 | 252.8 | 6.594 | 249.25 | 7.056 | 890.033 | 41.744 | 29.0366
2019-04-08 10:15:00 | 7.305 | 273.153 | 7.788 | 274.074 | 8.029 | 279.5 | 8.199 | 278.367 | 6.575 | 889.433 | 40.341 | 29.4885
2019-04-08 10:30:00 | 9.306 | 280.793 | 9.87 | 282.415 | 9.961 | 285.267 | 10.261 | 282.7 | 6.94 | 889.933 | 38.835 | 42.7306
2019-04-08 10:45:00 | 8.925 | 289.607 | 9.632 | 288.03 | 9.771 | 292.033 | 10.173 | 288.9 | 6.439 | 889.717 | 37.603 | 60.3911
2019-04-08 11:00:00 | 8.855 | 293.68 | 9.73 | 290.24 | 9.908 | 296.233 | 10.548 | 292.8 | 7.489 | 889.7 | 35.619 | 71.2578
2019-04-08 11:15:00 | 10.63 | 296 | 11.423 | 294.013 | 11.812 | 299.133 | 12.378 | 296.9 | 7.106 | 889.767 | 35.392 | 71.0368
2019-04-08 11:30:00 | 12.011 | 288.327 | 12.729 | 290.521 | 13.293 | 296.467 | 13.945 | 292.2 | 7.306 | 890.133 | 35.085 | 70.6715
2019-04-08 11:45:00 | 11.106 | 293.867 | 12.347 | 289.818 | 12.489 | 294.433 | 12.966 | 291.933 | 7.156 | 889.7 | 34.973 | 71.0872
2019-04-08 12:00:00 | 12.327 | 294.267 | 13.594 | 291.892 | 13.691 | 296.633 | 14.282 | 292.133 | 7.189 | 889.583 | 34.845 | 70.7532
2019-04-08 12:15:00 | 13.161 | 292.727 | 14.006 | 290.817 | 14.195 | 294.7 | 14.865 | 293.4 | 7.389 | 889.7 | 34.613 | 70.7255
2019-04-08 12:30:00 | 13.121 | 295.933 | 13.953 | 290.416 | 14.435 | 295.433 | 14.926 | 292.967 | 7.139 | 889.617 | 34.013 | 70.8584
2019-04-08 12:45:00 | 13.663 | 295.133 | 14.658 | 291.833 | 15.199 | 296.067 | 15.845 | 293.867 | 7.509 | 889.65 | 30.725 | 70.7888
2019-04-08 13:00:00 | 13.134 | 289.613 | 13.88 | 288.317 | 13.936 | 292.6 | 14.591 | 291.5 | 7.669 | 889.5 | 31.371 | 70.6026
2019-04-08 13:15:00 | 11.98 | 300.4 | 12.567 | 297.005 | 12.913 | 300 | 13.583 | 297.5 | 7.506 | 890.117 | 32.133 | 70.5529
2019-04-08 13:30:00 | 13.528 | 302.533 | 14.505 | 298.626 | 15.05 | 304.8 | 15.654 | 300 | 7.072 | 889.667 | 31.296 | 70.9323
2019-04-08 13:45:00 | 13.009 | 302.093 | 13.857 | 299.534 | 14.443 | 304.9 | 15.212 | 303.567 | 6.846 | 889.667 | 33.2 | 70.9735
2019-04-08 14:00:00 | 14.627 | 301.307 | 15.684 | 298.946 | 15.949 | 301.333 | 17.051 | 298.233 | 6.799 | 889.6 | 30.461 | 71.5676
2019-04-08 14:15:00 | 13.687 | 305.093 | 14.99 | 299.696 | 15.437 | 304.5 | 16.176 | 301.267 | 6.831 | 889.867 | 30.376 | 70.8087
2019-04-08 14:30:00 | 13.755 | 278.347 | 14.766 | 278.299 | 15.442 | 282.767 | 15.62 | 281.233 | 7.272 | 890.05 | 30.035 | 70.4733
2019-04-08 14:45:00 | 12.272 | 297.467 | 13.078 | 293.263 | 13.334 | 297.567 | 14.087 | 295.3 | 6.972 | 889.883 | 28.427 | 70.4399
2019-04-08 15:00:00 | 11.72 | 312.293 | 12.428 | 306.563 | 12.675 | 309 | 13.064 | 306.533 | 7.85 | 890.15 | 27.888 | 69.9084
2019-04-08 15:15:00 | 9.46 | 298.2 | 10.389 | 296.633 | 10.555 | 300.867 | 10.94 | 298.533 | 7.139 | 889.683 | 26.976 | 69.8722
2019-04-08 15:30:00 | 10.834 | 300.867 | 11.295 | 296.738 | 11.588 | 301.133 | 12.015 | 299.467 | 7.322 | 889.633 | 26.683 | 69.6966
2019-04-08 15:45:00 | 11.16 | 316.587 | 11.969 | 310.041 | 12.272 | 314.067 | 12.894 | 310.8 | 7.509 | 890.017 | 27.669 | 68.8582
2019-04-08 16:00:00 | 10.862 | 309.813 | 11.87 | 308.606 | 12.293 | 313.1 | 12.75 | 311.767 | 7.106 | 889.983 | 29.739 | 69.2653
2019-04-08 16:15:00 | 10.788 | 283.333 | 11.316 | 282.636 | 11.335 | 288.633 | 11.771 | 286.233 | 7.256 | 889.767 | 28.171 | 69.4373
2019-04-08 16:30:00 | 11.937 | 299.693 | 13.174 | 296.215 | 13.449 | 299.633 | 13.781 | 297.533 | 6.697 | 889.633 | 28.893 | 69.6618
2019-04-08 16:45:00 | 10.064 | 294.56 | 10.919 | 290.715 | 11.372 | 294.667 | 11.544 | 294.767 | 6.648 | 889.467 | 26.477 | 69.9738
2019-04-08 17:00:00 | 8.905 | 278.793 | 10.1 | 282.116 | 10.224 | 288.067 | 10.691 | 285.667 | 5.962 | 889.817 | 30.816 | 65.8312
2019-04-08 17:15:00 | 8.993 | 292.827 | 9.614 | 289.177 | 9.72 | 292.6 | 9.704 | 290.667 | 6.158 | 889.517 | 31.291 | 61.3652
2019-04-08 17:30:00 | 9.104 | 298.653 | 9.75 | 297.849 | 10.08 | 302.467 | 10.359 | 301.7 | 6.472 | 889.55 | 32.171 | 65.2471
2019-04-08 17:45:00 | 8.347 | 287.82 | 8.911 | 290.057 | 9.02 | 295.9 | 9.21 | 294.6 | 6.001 | 889.8 | 34.368 | 63.7691
2019-04-08 18:00:00 | 8.283 | 305.947 | 8.536 | 302.133 | 8.709 | 305.167 | 8.736 | 300.133 | 5.518 | 889.55 | 36.541 | 54.1303
2019-04-08 18:15:00 | 8.168 | 269.313 | 8.84 | 272.587 | 8.994 | 275.233 | 9.152 | 272.133 | 6.203 | 889.717 | 31.997 | 46.837
2019-04-08 18:30:00 | 8.035 | 298.12 | 8.633 | 294.286 | 9.086 | 299.5 | 9.345 | 297.833 | 5.875 | 889.767 | 33.277 | 50.851
2019-04-08 18:45:00 | 8.672 | 284.667 | 9.383 | 283.451 | 9.616 | 287.067 | 9.862 | 283.467 | 5.474 | 889.9 | 35.861 | 55.9017
2019-04-08 19:00:00 | 7.477 | 278.92 | 7.949 | 280.875 | 8.004 | 282.767 | 8.344 | 281.067 | 5.283 | 889.8 | 36.379 | 51.6859
2019-04-08 19:15:00 | 7.491 | 270.8 | 8.203 | 275.108 | 8.402 | 281.333 | 8.51 | 279.1 | 5.08 | 890.033 | 36.232 | 42.1743
2019-04-08 19:30:00 | 6.228 | 273.72 | 6.705 | 276.054 | 6.785 | 281.433 | 6.998 | 278.467 | 4.835 | 890.15 | 39.155 | 40.5051
2019-04-08 19:45:00 | 7.41 | 285.973 | 8.115 | 283.293 | 8.159 | 286.1 | 8.478 | 284.267 | 4.233 | 890.05 | 38.957 | 27.4691
2019-04-08 20:00:00 | 6.555 | 265.107 | 7.527 | 269.675 | 7.841 | 275.033 | 8.001 | 272.933 | 4.159 | 890 | 41.493 | 43.1968
2019-04-08 20:15:00 | 7.685 | 288.8 | 8.494 | 288.768 | 8.774 | 292.967 | 9.295 | 291.433 | 3.521 | 889.917 | 43.739 | 39.9424
2019-04-08 20:30:00 | 6.62 | 277.573 | 7.595 | 279.283 | 8.035 | 282.2 | 8.494 | 281.167 | 3.099 | 889.85 | 47.061 | 47.9
2019-04-08 20:45:00 | 5.684 | 272.733 | 6.67 | 274.067 | 7.15 | 276.533 | 7.627 | 273 | 2.842 | 889.8 | 50.304 | 42.4222
2019-04-08 21:00:00 | 5.076 | 253.88 | 5.8 | 259.269 | 6.126 | 267.2 | 6.514 | 264.367 | 2.23 | 889.975 | 53.819 | 33.5359
2019-04-08 21:15:00 | 4.26 | 240.067 | 5.131 | 246.018 | 5.329 | 252.967 | 5.676 | 252.367 | 1.895 | 889.708 | 56.597 | 21.5408
2019-04-08 21:30:00 | 3.547 | 234.387 | 4.352 | 243.461 | 4.427 | 254.7 | 4.704 | 253.85 | 1.533 | 890.325 | 57.643 | 13.7857
2019-04-08 21:45:00 | 3.13 | 239.513 | 3.596 | 247.2 | 3.69 | 256.4 | 3.871 | 257.767 | 1.002 | 889.717 | 58.709 | 8.0791
2019-04-08 22:00:00 | 3.913 | 258.887 | 4.682 | 272.354 | 4.955 | 280.967 | 5.566 | 281.833 | 0.782 | 890.033 | 58.821 | 7.2641
2019-04-08 22:15:00 | 4.373 | 264.4 | 5.305 | 270.802 | 5.559 | 278.7 | 5.963 | 276.367 | 1.155 | 889.65 | 54.784 | 15.867
2019-04-08 22:30:00 | 4.488 | 256.653 | 5.258 | 260.435 | 5.459 | 269.1 | 5.888 | 269.3 | 1.319 | 890.167 | 53.072 | 21.3802
2019-04-08 22:45:00 | 4.657 | 251.707 | 5.622 | 259.709 | 5.949 | 267.633 | 6.452 | 265.467 | 0.849 | 889.558 | 53.461 | 16.358
2019-04-08 23:00:00 | 5.377 | 236.76 | 6.286 | 248.119 | 6.529 | 254.7 | 6.768 | 253.85 | 0.449 | 889.792 | 54.379 | 20.9226
2019-04-08 23:15:00 | 4.813 | 231.54 | 5.96 | 240.144 | 6.222 | 247.567 | 6.439 | 244.3 | -0.016 | 889.867 | 54.763 | 25.5705
2019-04-08 23:30:00 | 4.834 | 232 | 5.86 | 241.081 | 6.116 | 249.8 | 6.122 | 247.117 | 0.133 | 889.8 | 53.397 | 23.3727
2019-04-08 23:45:00 | 4.344 | 240.627 | 5.294 | 248.042 | 5.257 | 255.567 | 5.394 | 254.1 | 0.083 | 889.95 | 52.928 | 19.6386