## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-09 00:00:00 | 4.169 | 246.1 | 4.155 | 255.045 | 3.876 | 264.267 | 4.033 | 266.033 | -0.356 | 889.917 | 52.965 | 13.4617
2019-04-09 00:15:00 | 4.457 | 242.2 | 4.219 | 248.725 | 3.866 | 257.2 | 3.775 | 259.467 | -0.455 | 890.342 | 49.824 | 9.344
2019-04-09 00:30:00 | 5.06 | 233.873 | 5.01 | 241.092 | 4.442 | 249 | 4.539 | 248.733 | -0.755 | 890.308 | 48.085 | 9.1791
2019-04-09 00:45:00 | 5.52 | 229.187 | 5.195 | 236.966 | 4.672 | 246.233 | 4.687 | 245.8 | -1.272 | 890.35 | 47.509 | 11.4778
2019-04-09 01:00:00 | 6.054 | 225.82 | 5.973 | 230.594 | 5.487 | 236.633 | 5.238 | 234.133 | -1.279 | 889.358 | 46.923 | 13.3196
2019-04-09 01:15:00 | 5.376 | 230.847 | 6.116 | 235.993 | 5.686 | 244.167 | 5.36 | 241.633 | -1.606 | 890.083 | 46.485 | 15.0455
2019-04-09 01:30:00 | 5.454 | 235.607 | 6.652 | 243.959 | 6.154 | 252.633 | 5.894 | 252.35 | -1.703 | 889.717 | 47.104 | 20.1176
2019-04-09 01:45:00 | 5.788 | 240.293 | 6.481 | 252.81 | 6.309 | 262.2 | 6.4 | 262.933 | -1.436 | 889.725 | 46.789 | 24.6659
2019-04-09 02:00:00 | 5.171 | 246.98 | 6.35 | 260.441 | 6.415 | 270.467 | 6.592 | 269.367 | -1.559 | 889.642 | 47.141 | 22.6038
2019-04-09 02:15:00 | 6.249 | 236.14 | 6.966 | 253.154 | 6.989 | 261.867 | 7.317 | 261.967 | -1.68 | 889.875 | 48.251 | 25.6436
2019-04-09 02:30:00 | 5.912 | 230.5 | 7.061 | 245.756 | 6.937 | 257.733 | 6.908 | 257.183 | -2.148 | 890.133 | 49.451 | 28.8192
2019-04-09 02:45:00 | 6.454 | 232.24 | 7.528 | 241.08 | 7.395 | 249.3 | 7.312 | 250.267 | -2.197 | 889.6 | 50.112 | 34.4241
2019-04-09 03:00:00 | 6.076 | 236.387 | 7.642 | 245.737 | 7.329 | 255.067 | 7.338 | 255.05 | -1.64 | 889.617 | 49.525 | 37.1228
2019-04-09 03:15:00 | 5.377 | 231.467 | 6.752 | 242.829 | 6.607 | 253.3 | 6.606 | 253.383 | -1.908 | 890.117 | 50.411 | 31.8867
2019-04-09 03:30:00 | 5.747 | 230.513 | 7.013 | 238.799 | 6.782 | 250.4 | 6.564 | 251.083 | -2.356 | 889.333 | 51.531 | 30.6389
2019-04-09 03:45:00 | 6.322 | 235.233 | 7.506 | 247.185 | 7.367 | 257.9 | 7.304 | 258.067 | -2.418 | 890.183 | 52.768 | 33.322
2019-04-09 04:00:00 | 5.707 | 246.353 | 6.905 | 260.358 | 7.018 | 270.8 | 7.369 | 272.2 | -2.784 | 889.908 | 54.171 | 34.1825
2019-04-09 04:15:00 | 5.269 | 243.953 | 6.146 | 262.085 | 6.342 | 272.933 | 6.625 | 272.1 | -2.589 | 889.742 | 55.52 | 26.2228
2019-04-09 04:30:00 | 5.512 | 239.66 | 6.157 | 256.424 | 6.298 | 268.533 | 6.531 | 268.733 | -2.74 | 889.45 | 56.747 | 22.073
2019-04-09 04:45:00 | 5.192 | 236.347 | 6.671 | 254.571 | 6.773 | 264.8 | 6.976 | 265 | -2.618 | 890.017 | 57.424 | 22.3551
2019-04-09 05:00:00 | 5.296 | 245.147 | 6.693 | 257.039 | 6.697 | 265 | 6.931 | 263.3 | -2.724 | 889.675 | 58.325 | 23.4416
2019-04-09 05:15:00 | 5.234 | 245.9 | 6.137 | 258.803 | 6.01 | 268.133 | 6.06 | 268.667 | -2.23 | 890.175 | 57.605 | 18.9956
2019-04-09 05:30:00 | 5.724 | 242.06 | 5.796 | 255.117 | 5.691 | 264.533 | 5.704 | 264.267 | -2.642 | 889.65 | 58.533 | 14.8849
2019-04-09 05:45:00 | 5.295 | 233.1 | 5.952 | 248.258 | 5.622 | 259.133 | 5.589 | 260 | -3.371 | 889.775 | 59.392 | 13.019
2019-04-09 06:00:00 | 5.02 | 234.067 | 5.441 | 250.736 | 5.101 | 262.4 | 5.242 | 264 | -3.689 | 889.925 | 60.107 | 12.6964
2019-04-09 06:15:00 | 5.239 | 232.633 | 6.179 | 249.45 | 5.683 | 261.6 | 5.634 | 262.533 | -3.79 | 889.5 | 60.747 | 11.6924
2019-04-09 06:30:00 | 5.248 | 235.667 | 5.953 | 254.003 | 5.76 | 265.933 | 6.07 | 266.733 | -3.739 | 890.458 | 60.763 | 15.8172
2019-04-09 06:45:00 | 5.46 | 229.353 | 6.384 | 245.536 | 5.968 | 260.967 | 5.99 | 263.667 | -4.049 | 889.967 | 61.045 | 16.7516
2019-04-09 07:00:00 | 5.965 | 230.127 | 6.889 | 246.096 | 6.726 | 258.467 | 6.782 | 260.2 | -4.384 | 890.025 | 61.131 | 21.8492
2019-04-09 07:15:00 | 5.468 | 231.6 | 6.359 | 248.483 | 6.563 | 263.133 | 6.806 | 265.3 | -3.773 | 889.883 | 60.48 | 27.1579
2019-04-09 07:30:00 | 4.588 | 231.653 | 6.848 | 258.772 | 6.765 | 270.8 | 7.165 | 273.467 | -3.117 | 890.092 | 58.347 | 19.2677
2019-04-09 07:45:00 | 4.956 | 242.54 | 6.307 | 260.729 | 6.139 | 274.733 | 6.403 | 275.267 | -1.703 | 890.217 | 53.296 | 13.9626
2019-04-09 08:00:00 | 5.642 | 237.073 | 6.472 | 250.034 | 6.152 | 264 | 6.201 | 265.9 | -0.672 | 889.925 | 49.611 | 15.6985
2019-04-09 08:15:00 | 5.687 | 235.793 | 6.704 | 247.056 | 6.545 | 258.633 | 6.749 | 261.917 | 0.133 | 889.75 | 46.645 | 23.9589
2019-04-09 08:30:00 | 5.002 | 249.007 | 5.54 | 256.864 | 5.892 | 262.767 | 6.434 | 262.583 | 1.842 | 890.033 | 40.899 | 23.4331
2019-04-09 08:45:00 | 5.265 | 261.56 | 5.454 | 263.272 | 5.469 | 268.633 | 5.805 | 265.533 | 2.757 | 889.333 | 37.229 | 15.1358
2019-04-09 09:00:00 | 4.882 | 263.233 | 5.29 | 262.718 | 5.338 | 269.5 | 5.471 | 266.933 | 3.355 | 889.45 | 35.221 | 10.8276
2019-04-09 09:15:00 | 4.562 | 284.733 | 4.781 | 282.62 | 4.72 | 286.267 | 4.964 | 280.667 | 3.304 | 890.083 | 33.096 | 9.8975
2019-04-09 09:30:00 | 4.047 | 304 | 4.292 | 306.782 | 4.286 | 308.533 | 4.48 | 302.6 | 3.438 | 889.883 | 30.467 | 8.8665
2019-04-09 09:45:00 | 4.522 | 318.267 | 5.113 | 311.267 | 5.192 | 319.633 | 5.392 | 319.5 | 3.655 | 889.517 | 28.227 | 8.3378
2019-04-09 10:00:00 | 5.149 | 317.867 | 5.297 | 315.457 | 5.276 | 322.1 | 5.372 | 319.767 | 3.823 | 889.817 | 26.101 | 11.7094
2019-04-09 10:15:00 | 4.357 | 229.42 | 4.807 | 299.474 | 5.012 | 263.667 | 5.356 | 308.967 | 4.16 | 889.683 | 25.437 | 13.79
2019-04-09 10:30:00 | 4.627 | 340.893 | 4.57 | 331.469 | 4.86 | 337.3 | 5.021 | 333.7 | 4.527 | 889.75 | 24.736 | 10.979
2019-04-09 10:45:00 | 4.829 | 106.856 | 4.808 | 146.961 | 5.013 | 114.6 | 4.693 | 160.367 | 4.998 | 889.267 | 23.613 | 7.9029
2019-04-09 11:00:00 | 3.754 | 296.187 | 3.781 | 307.834 | 3.62 | 321.833 | 3.728 | 329 | 4.969 | 889.633 | 23.195 | 5.0585
2019-04-09 11:15:00 | 4.075 | 260.88 | 4 | 319.918 | 3.938 | 314.2 | 4.219 | 326.233 | 5.313 | 889.817 | 22.771 | 2.3804
2019-04-09 11:30:00 | 3.99 | 220.848 | 4.17 | 285.912 | 4.128 | 276.868 | 4.464 | 321.667 | 6.128 | 889.95 | 21.96 | 0.84273
2019-04-09 11:45:00 | 1.136 | 168.963 | 0.763 | 189.281 | 0.98 | 335.767 | 1.637 | 324.8 | 6.188 | 890 | 21.443 | 0.14638
2019-04-09 12:00:00 | 3.558 | 128.404 | 3.175 | 127.581 | 3.376 | 131.033 | 3.634 | 116.9 | 6.439 | 889.65 | 20.813 | 0.26575
2019-04-09 12:15:00 | 2.543 | 285.027 | 3.149 | 275.205 | 2.614 | 283.65 | 2.905 | 282.433 | 7.576 | 889.2 | 19.848 | 0.24444
2019-04-09 12:30:00 | 1.385 | 151.703 | 1.317 | 252.85 | 1.183 | 232.467 | 1.846 | 234.5 | 6.996 | 889.8 | 19.68 | 0.23662
2019-04-09 12:45:00 | 3.677 | 240.013 | 3.536 | 240.65 | 3.739 | 250.467 | 3.955 | 244.9 | 7.559 | 889.8 | 19.071 | 0.24586
2019-04-09 13:00:00 | 4.199 | 321.2 | 4.572 | 319.478 | 4.548 | 327.767 | 4.931 | 329.233 | 7.973 | 889.567 | 17.903 | 0.23449
2019-04-09 13:15:00 | 4.025 | 291.427 | 4.068 | 289.76 | 4.265 | 298.267 | 4.71 | 293.333 | 8.546 | 889.233 | 17.825 | 0.23591
2019-04-09 13:30:00 | 4.138 | 300.867 | 4.176 | 301.611 | 4.506 | 304.533 | 4.918 | 300.067 | 8.397 | 889.467 | 18.017 | 0.23449
2019-04-09 13:45:00 | 2.434 | 243.237 | 2.452 | 298.358 | 2.037 | 289.95 | 2.568 | 269.15 | 7.876 | 889.8 | 18.171 | 0.22454
2019-04-09 14:00:00 | 2.023 | 207.288 | 2.036 | 215.088 | 2.229 | 252.45 | 2.888 | 252.383 | 9.212 | 889.967 | 16.88 | 0.22596
2019-04-09 14:15:00 | 2.957 | 308.52 | 2.738 | 310.986 | 2.972 | 317.733 | 3.566 | 316.2 | 7.959 | 889.567 | 16.544 | 0.2018
2019-04-09 14:30:00 | 1.208 | 122.485 | 0.347 | 143.809 | 0.333 | 229.633 | 0.952 | 208.925 | 8.895 | 889.2 | 15.668 | 0.20606
2019-04-09 14:45:00 | 2.934 | 267 | 2.821 | 304.182 | 2.512 | 298.1 | 3.008 | 313.9 | 8.599 | 889.333 | 15.908 | 0.21317
2019-04-09 15:00:00 | 1.731 | 192.547 | 2.096 | 115.699 | 1.899 | 121.678 | 2.259 | 104.767 | 9.199 | 889.833 | 15.631 | 0.20606
2019-04-09 15:15:00 | 1.464 | 235.459 | 1.173 | 247.551 | 0.71 | 274.5 | 1.581 | 286 | 10.67 | 889.367 | 14.46 | 0.21459
2019-04-09 15:30:00 | 3.307 | 223.193 | 3.252 | 219.472 | 3.314 | 212.933 | 3.483 | 210.933 | 9.495 | 889.667 | 14.564 | 0.20464
2019-04-09 15:45:00 | 2.957 | 136.495 | 2.887 | 84.818 | 2.893 | 29.639 | 3.22 | 24.569 | 9.487 | 889.7 | 15.249 | 0.26859
2019-04-09 16:00:00 | 1.301 | 236.847 | 0.837 | 267.652 | 0.997 | 278.767 | 1.14 | 305.3 | 10.12 | 889.3 | 14.997 | 0.30696
2019-04-09 16:15:00 | 3.393 | 38.502 | 3.309 | 34.563 | 3.393 | 41.267 | 3.754 | 37.4 | 9.97 | 889.467 | 14.029 | 0.2956
2019-04-09 16:30:00 | 3.284 | 195.17 | 3.206 | 200.609 | 2.623 | 220.767 | 2.821 | 251.2 | 10.434 | 889.733 | 13.955 | 0.26433
2019-04-09 16:45:00 | 1.956 | 76.767 | 1.166 | 35.99 | 0.86 | 126.201 | 1.751 | 96.8 | 9.983 | 889.433 | 13.947 | 0.23164
2019-04-09 17:00:00 | 1.309 | 51.348 | 0.966 | 82.663 | 0.861 | 83.767 | 1.262 | 89.233 | 10.653 | 890.033 | 13.812 | 0.18475
2019-04-09 17:15:00 | 1.529 | 59.549 | 1.375 | 64.229 | 1.133 | 50.667 | 1.24 | 44.767 | 10.568 | 889.367 | 13.671 | 0.18048
2019-04-09 17:30:00 | 2.159 | 234.136 | 1.848 | 329.344 | 1.954 | 327.267 | 2.38 | 320.933 | 10.491 | 889.7 | 12.992 | 0.19327
2019-04-09 17:45:00 | 1.246 | 264.687 | 1.13 | 265.116 | 1.226 | 285.6 | 1.745 | 276.367 | 10.861 | 889.567 | 12.767 | 0.19043
2019-04-09 18:00:00 | 2.974 | 90.413 | 2.704 | 72.502 | 2.125 | 79.567 | 2.166 | 69.033 | 11.574 | 889.167 | 12.4 | 0.18759
2019-04-09 18:15:00 | 2.586 | 76.613 | 2.497 | 68.078 | 2.335 | 66.933 | 2.703 | 58.7 | 11.028 | 889.367 | 12.712 | 0.18901
2019-04-09 18:30:00 | 0.2 | 288.373 | 0 | 302.538 | 0 | 278.4 | 0.43 | 260.517 | 13.128 | 889.567 | 11.425 | 0.19327
2019-04-09 18:45:00 | 3.668 | 88.877 | 3.698 | 60.775 | 3.528 | 58.612 | 3.613 | 56.333 | 11.378 | 889.233 | 11.384 | 0.1947
2019-04-09 19:00:00 | 1.09 | 27.557 | 1.201 | 23.476 | 1.465 | 25.333 | 1.934 | 22.433 | 11.211 | 889.8 | 11.997 | 0.17906
2019-04-09 19:15:00 | 0.703 | 169.543 | 0.577 | 101.261 | 0.976 | 60.017 | 1.905 | 16.667 | 11.211 | 889.633 | 11.855 | 0.1748
2019-04-09 19:30:00 | 2.208 | 74.295 | 1.92 | 68.5 | 2.173 | 72.667 | 2.463 | 69.1 | 11.345 | 889.633 | 11.747 | 0.16556
2019-04-09 19:45:00 | 2.633 | 104.963 | 2.281 | 104.046 | 2.42 | 109.3 | 2.586 | 102.8 | 10.597 | 889.233 | 12.456 | 0.17196
2019-04-09 20:00:00 | 2.552 | 99.083 | 2.559 | 92.094 | 2.405 | 95.2 | 2.836 | 88.667 | 10.297 | 889.4 | 13.288 | 0.16343
2019-04-09 20:15:00 | 2.293 | 89.067 | 2.191 | 80.863 | 2.314 | 88.333 | 2.599 | 83.3 | 9.474 | 889.733 | 14.357 | 0.1748
2019-04-09 20:30:00 | 2.61 | 97.747 | 3.566 | 98.662 | 3.727 | 102.9 | 3.942 | 101.133 | 9.57 | 889.433 | 15.16 | 0.18759
2019-04-09 20:45:00 | 3.338 | 99.427 | 3.177 | 94.448 | 2.082 | 102.233 | 2.436 | 91.8 | 8.332 | 889.333 | 15.499 | 0.36239
2019-04-09 21:00:00 | 2.898 | 103.567 | 2.319 | 95.31 | 2.039 | 99.567 | 2.304 | 96.733 | 8.828 | 889.533 | 15.755 | 1.4069
2019-04-09 21:15:00 | 3.656 | 107.883 | 3.832 | 97.261 | 3.338 | 101.067 | 3.256 | 97.633 | 8.667 | 889.433 | 15.989 | 4.7601
2019-04-09 21:30:00 | 3.877 | 112.92 | 4.217 | 105.311 | 3.998 | 107.3 | 4.291 | 104.3 | 7.869 | 889.333 | 15.931 | 6.2217
2019-04-09 21:45:00 | 4.03 | 113.243 | 4.342 | 105.029 | 3.855 | 107.2 | 4.011 | 104.033 | 8.164 | 889.4 | 16.301 | 7.2016
2019-04-09 22:00:00 | 3.073 | 128.307 | 4.42 | 111.297 | 4.36 | 113.8 | 4.529 | 109.4 | 7.562 | 889.433 | 16.36 | 9.285
2019-04-09 22:15:00 | 3.273 | 132.873 | 4.345 | 114.152 | 4.538 | 117.2 | 4.978 | 110.633 | 6.758 | 889.5 | 17.229 | 8.3804
2019-04-09 22:30:00 | 3.996 | 136.367 | 4.99 | 119.988 | 4.87 | 122.733 | 5.115 | 119.9 | 7.206 | 889.7 | 17.4 | 11.2184
2019-04-09 22:45:00 | 4.373 | 143.507 | 4.816 | 123.94 | 4.33 | 128.6 | 4.689 | 123.567 | 6.495 | 889.367 | 17.653 | 14.9162
2019-04-09 23:00:00 | 4.351 | 134.82 | 5.264 | 123.35 | 5.282 | 127.833 | 5.546 | 125.633 | 6.472 | 889.7 | 18.099 | 21.2907
2019-04-09 23:15:00 | 4.61 | 150.14 | 5.846 | 139.937 | 5.384 | 142.4 | 4.858 | 136.833 | 6.08 | 889.6 | 18.88 | 25.1398
2019-04-09 23:30:00 | 3.68 | 175.453 | 4.729 | 147.603 | 5.297 | 145.9 | 5.297 | 140.433 | 5.954 | 889.733 | 19.333 | 19.849
2019-04-09 23:45:00 | 3.23 | 175.86 | 4.889 | 140.231 | 4.646 | 142.5 | 4.327 | 134.8 | 4.253 | 889.433 | 20.651 | 17.1566