## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-11 00:00:00 | 0 | 94.08 | 1.222 | 82.93 | 2.061 | 93.033 | 2.452 | 81.3 | 9.266 | 889.667 | 23.243 | 0.18617
2019-04-11 00:15:00 | 0.08 | 123.247 | 0 | 86.273 | 0.515 | 93.033 | 1.815 | 82 | 9.091 | 889.6 | 23.888 | 0.20393
2019-04-11 00:30:00 | 2.748 | 249.127 | 0.196 | 138.105 | 0 | 92.633 | 0 | 82.033 | 9.028 | 889.75 | 24.032 | 0.1748
2019-04-11 00:45:00 | 3.88 | 244.933 | 2.485 | 235.649 | 1.392 | 225.7 | 1.067 | 82 | 8.541 | 889.683 | 23.632 | 0.17054
2019-04-11 01:00:00 | 3.505 | 249.933 | 2.191 | 245.503 | 1.381 | 230.067 | 1.36 | 123 | 8.324 | 889.833 | 23.995 | 0.17054
2019-04-11 01:15:00 | 4.263 | 239.467 | 2.886 | 245.535 | 2.097 | 231.967 | 1.917 | 187.933 | 7.172 | 889.6 | 24.352 | 0.17764
2019-04-11 01:30:00 | 3.83 | 235.76 | 2.881 | 235.504 | 2.229 | 233 | 2.124 | 205.867 | 7.142 | 889.75 | 25.285 | 0.21317
2019-04-11 01:45:00 | 4.478 | 231.26 | 2.952 | 234.352 | 2.57 | 233 | 2.422 | 206 | 7.342 | 889.85 | 24.96 | 0.18617
2019-04-11 02:00:00 | 4.891 | 229.88 | 3.862 | 233.589 | 3.552 | 233.8 | 3.638 | 219.833 | 6.996 | 890.1 | 25.445 | 0.67362
2019-04-11 02:15:00 | 5.043 | 230.113 | 4.465 | 237.765 | 4.15 | 243.267 | 4.219 | 227.5 | 6.533 | 889.383 | 25.808 | 2.438
2019-04-11 02:30:00 | 4.428 | 225.467 | 5.138 | 235.229 | 4.616 | 244.167 | 4.213 | 237.833 | 7.472 | 889.633 | 25.803 | 4.5498
2019-04-11 02:45:00 | 3.654 | 226.7 | 5.547 | 233.06 | 6.495 | 244.667 | 6.318 | 242.367 | 7.272 | 889.817 | 25.861 | 10.8482
2019-04-11 03:00:00 | 5.58 | 244.833 | 6.794 | 250.571 | 7.321 | 256.9 | 7.644 | 254.9 | 8.774 | 890.067 | 23.971 | 32.3016
2019-04-11 03:15:00 | 6.442 | 247.687 | 7.57 | 251.16 | 8.105 | 259 | 8.603 | 257.167 | 9.445 | 889.6 | 22.909 | 42.1899
2019-04-11 03:30:00 | 5.105 | 251.867 | 5.923 | 255.173 | 6.124 | 261.933 | 6.446 | 259.45 | 9.599 | 889.6 | 22.403 | 39.9438
2019-04-11 03:45:00 | 4.481 | 249.207 | 4.921 | 251.948 | 5.198 | 259.233 | 5.408 | 256.25 | 9.57 | 889.55 | 22.347 | 21.6304
2019-04-11 04:00:00 | 3.463 | 244.267 | 3.577 | 247.942 | 3.84 | 255.067 | 4.199 | 254.65 | 10.087 | 889.7 | 22.163 | 13.8148
2019-04-11 04:15:00 | 3.063 | 244.66 | 3.89 | 252.508 | 4.511 | 263.633 | 5.015 | 263.25 | 9.674 | 889.667 | 22.403 | 10.2116
2019-04-11 04:30:00 | 3.653 | 247.26 | 4.365 | 254.308 | 4.824 | 264.067 | 5.554 | 259.95 | 9.308 | 890.15 | 22.824 | 11.6647
2019-04-11 04:45:00 | 3.985 | 251.867 | 4.332 | 253.214 | 4.784 | 258.9 | 4.869 | 254.55 | 9.204 | 889.983 | 23.048 | 11.2035
2019-04-11 05:00:00 | 3.752 | 255.807 | 4.722 | 261.124 | 5.164 | 268.117 | 5.58 | 264.533 | 9.058 | 889.25 | 23.251 | 9.3681
2019-04-11 05:15:00 | 4.081 | 261.48 | 5.24 | 267.252 | 5.844 | 272.933 | 6.098 | 269 | 9.316 | 889.783 | 23.715 | 8.4941
2019-04-11 05:30:00 | 4.701 | 265.873 | 5.567 | 266.36 | 5.901 | 273.633 | 6.374 | 271.267 | 9.224 | 889.65 | 23.187 | 9.344
2019-04-11 05:45:00 | 5.636 | 261.5 | 7.012 | 264.469 | 7.499 | 270.833 | 7.595 | 267.8 | 9.799 | 889.517 | 23.096 | 12.9124
2019-04-11 06:00:00 | 5.647 | 259.7 | 6.942 | 260.624 | 7.389 | 264.833 | 7.781 | 260.133 | 9.733 | 889.983 | 22.88 | 21.2602
2019-04-11 06:15:00 | 6.361 | 252.367 | 7.798 | 252.412 | 8.15 | 258.4 | 8.379 | 253.5 | 9.997 | 889.6 | 22.715 | 31.3232
2019-04-11 06:30:00 | 7.128 | 251.553 | 8.105 | 251.702 | 8.54 | 257.7 | 8.636 | 252.583 | 9.932 | 889.75 | 22.435 | 48.5978
2019-04-11 06:45:00 | 7.621 | 242.907 | 8.358 | 248.14 | 8.672 | 252.417 | 9.045 | 246.817 | 9.57 | 889.833 | 22.587 | 60.1488
2019-04-11 07:00:00 | 6.184 | 254.133 | 7.666 | 255.058 | 8.299 | 260.583 | 8.591 | 256.683 | 9.616 | 890.067 | 22.941 | 58.2487
2019-04-11 07:15:00 | 9.034 | 253.22 | 10.34 | 256.56 | 11.053 | 262.067 | 11.095 | 258.15 | 9.204 | 889.65 | 23.259 | 59.8553
2019-04-11 07:30:00 | 8.985 | 259.233 | 10.203 | 261.107 | 10.706 | 265.5 | 11.067 | 261.25 | 9.058 | 889.683 | 23.507 | 69.4074
2019-04-11 07:45:00 | 6.95 | 280.3 | 7.827 | 279.562 | 8.404 | 284 | 8.941 | 281.033 | 9.187 | 889.65 | 27.957 | 66.4074
2019-04-11 08:00:00 | 6.699 | 274.773 | 7.454 | 275.62 | 7.665 | 278.967 | 7.863 | 274.967 | 8.474 | 889.883 | 33.675 | 45.4578
2019-04-11 08:15:00 | 7.512 | 268.54 | 8.39 | 269.463 | 8.462 | 274.5 | 8.486 | 269.933 | 8.574 | 889.65 | 30.88 | 35.1269
2019-04-11 08:30:00 | 7.141 | 267.193 | 7.977 | 273.303 | 8.223 | 277.833 | 8.354 | 271.833 | 8.716 | 889.8 | 33.437 | 43.3559
2019-04-11 08:45:00 | 6.582 | 265.733 | 7.223 | 265.837 | 7.443 | 270.033 | 7.88 | 266.567 | 8.774 | 889.567 | 33.368 | 45.6454
2019-04-11 09:00:00 | 7.072 | 257.087 | 7.438 | 257.909 | 7.401 | 262.35 | 7.536 | 258.533 | 9.224 | 890 | 34.736 | 39.7264
2019-04-11 09:15:00 | 8.698 | 247.5 | 9.344 | 249.726 | 9.555 | 254.733 | 9.446 | 250.75 | 9.237 | 889.333 | 38.371 | 49.9031
2019-04-11 09:30:00 | 7.001 | 241.84 | 7.199 | 244.606 | 7.386 | 248.833 | 7.464 | 243.267 | 9.437 | 889.883 | 37.837 | 49.5364
2019-04-11 09:45:00 | 6.996 | 236.827 | 7.386 | 235.02 | 7.565 | 238.933 | 7.553 | 233.533 | 10.014 | 889.733 | 36.544 | 35.448
2019-04-11 10:00:00 | 6.507 | 238.927 | 6.816 | 239.404 | 7.118 | 243.767 | 7.177 | 238.567 | 10.436 | 889.717 | 37.776 | 32.5795
2019-04-11 10:15:00 | 6.842 | 264.787 | 7.296 | 264.487 | 7.444 | 268.1 | 7.47 | 262.083 | 10.135 | 889.917 | 39.099 | 26.1389
2019-04-11 10:30:00 | 6.357 | 278.807 | 6.467 | 277.882 | 6.724 | 282.4 | 7.174 | 277.567 | 10.301 | 889.917 | 41.323 | 26.3251
2019-04-11 10:45:00 | 6.295 | 269.32 | 6.626 | 268.458 | 6.702 | 270.933 | 6.8 | 266.367 | 9.768 | 889.783 | 40.581 | 23.4586
2019-04-11 11:00:00 | 6.969 | 262.067 | 7.711 | 268.854 | 7.923 | 273.367 | 8.137 | 269.067 | 10.291 | 889.85 | 39.912 | 26.5333
2019-04-11 11:15:00 | 7.598 | 257.707 | 8.223 | 261.062 | 8.505 | 267.017 | 8.552 | 263.65 | 10.495 | 889.867 | 39.531 | 34.4213
2019-04-11 11:30:00 | 6.448 | 250.45 | 7.202 | 251.848 | 7.478 | 258 | 7.584 | 254.75 | 10.328 | 889.562 | 39.73 | 34.1527
2019-04-11 11:45:00 | 7.561 | 263.585 | 7.951 | 266.007 | 7.877 | 271.923 | 7.955 | 268.692 | 10.564 | 889.692 | 39.686 | 39.0769
2019-04-11 12:00:00 | 7.151 | 262.267 | 7.838 | 264.304 | 8.142 | 268.533 | 8.135 | 265.517 | 10.553 | 890.1 | 39.661 | 35.2086
2019-04-11 12:15:00 | 6.668 | 272.533 | 7.377 | 270.68 | 7.253 | 274.833 | 7.142 | 269.867 | 10.678 | 889.467 | 38.464 | 29.1467
2019-04-11 12:30:00 | 6.804 | 264.467 | 7.264 | 260.89 | 7.544 | 266.167 | 7.781 | 263 | 11.386 | 889.683 | 36.667 | 30.0968
2019-04-11 12:45:00 | 6.985 | 257.46 | 7.523 | 254.435 | 7.676 | 258.983 | 7.509 | 254.933 | 11.966 | 889.55 | 34.792 | 31.7474
2019-04-11 13:00:00 | 6.163 | 283.393 | 6.741 | 278.482 | 6.713 | 282.3 | 6.942 | 280.433 | 12.28 | 889.65 | 34.48 | 32.2071
2019-04-11 13:15:00 | 7.358 | 278.04 | 7.891 | 279.465 | 8.166 | 282.467 | 8.624 | 280.933 | 12.057 | 889.7 | 34.496 | 33.6858
2019-04-11 13:30:00 | 7.816 | 279.173 | 7.847 | 278.184 | 7.928 | 284.067 | 8.281 | 282.233 | 12.784 | 890.017 | 32.768 | 31.5193
2019-04-11 13:45:00 | 7.363 | 273.393 | 7.676 | 272.856 | 8.234 | 277.433 | 8.324 | 273.133 | 12.595 | 889.717 | 33.128 | 33.5338
2019-04-11 14:00:00 | 7.357 | 277.053 | 7.893 | 277.035 | 7.924 | 282.167 | 8.282 | 280.733 | 13.343 | 889.667 | 31.523 | 32.0359
2019-04-11 14:15:00 | 7.257 | 307.2 | 7.486 | 301.225 | 7.82 | 305.567 | 8.336 | 303.233 | 12.764 | 889.917 | 32.917 | 28.898
2019-04-11 14:30:00 | 7.466 | 309.027 | 7.664 | 306.647 | 8.047 | 311.433 | 8.538 | 308.633 | 12.872 | 890.067 | 32.755 | 31.2571
2019-04-11 14:45:00 | 7.552 | 297.08 | 8.032 | 289.206 | 8.072 | 290.267 | 8.55 | 287.533 | 14.154 | 889.567 | 29.595 | 20.0685
2019-04-11 15:00:00 | 8.194 | 286.6 | 8.986 | 283.266 | 8.938 | 288.9 | 9.065 | 285.867 | 13.904 | 890 | 30.531 | 0.24159
2019-04-11 15:15:00 | 8.192 | 287.98 | 8.686 | 285.867 | 8.69 | 291.867 | 8.884 | 291.333 | 13.991 | 889.983 | 31.157 | 0.25154
2019-04-11 15:30:00 | 6.717 | 279.6 | 7.055 | 282.33 | 7.27 | 287.067 | 7.467 | 283.133 | 13.593 | 889.433 | 31.059 | 0.29702
2019-04-11 15:45:00 | 7.35 | 282.273 | 8.125 | 282.841 | 8.29 | 287.933 | 8.612 | 285.6 | 13.778 | 889.45 | 31.195 | 0.31976
2019-04-11 16:00:00 | 9.423 | 284.673 | 10.076 | 282.804 | 10.384 | 287.9 | 10.87 | 287.3 | 14.095 | 889.6 | 31.125 | 0.32828
2019-04-11 16:15:00 | 10.054 | 300.92 | 10.656 | 295.606 | 10.86 | 299.633 | 10.982 | 295.367 | 13.816 | 889.45 | 31.792 | 0.32828
2019-04-11 16:30:00 | 8.816 | 287.08 | 9.628 | 286.52 | 10.08 | 291.367 | 10.465 | 288.933 | 14.008 | 889.75 | 31.963 | 0.33254
2019-04-11 16:45:00 | 9.906 | 286.613 | 10.858 | 285.771 | 11.29 | 291.1 | 11.615 | 286.767 | 13.974 | 889.767 | 32.501 | 0.33823
2019-04-11 17:00:00 | 9.333 | 283.12 | 10 | 284.014 | 10.019 | 291.067 | 10.497 | 286.767 | 13.77 | 889.917 | 32.445 | 0.32118
2019-04-11 17:15:00 | 10.158 | 291.28 | 10.59 | 292.347 | 10.886 | 297.867 | 11.382 | 296 | 13.983 | 889.583 | 32.035 | 0.30554
2019-04-11 17:30:00 | 9.709 | 295.907 | 10.255 | 291.071 | 10.609 | 297.933 | 11.065 | 293.4 | 14.27 | 889.817 | 32.749 | 0.33112
2019-04-11 17:45:00 | 9.135 | 284.7 | 10.02 | 286.571 | 10.104 | 291.3 | 10.491 | 290.833 | 13.983 | 889.8 | 32.707 | 0.32686
2019-04-11 18:00:00 | 9.98 | 292.16 | 10.779 | 289.166 | 10.998 | 294.7 | 11.653 | 290.333 | 14.178 | 889.933 | 32.904 | 0.33539
2019-04-11 18:15:00 | 10.218 | 298.747 | 10.988 | 296.716 | 11.53 | 301.567 | 11.872 | 298.867 | 14.374 | 889.667 | 32.453 | 0.3297
2019-04-11 18:30:00 | 10.895 | 285.953 | 11.957 | 286.64 | 12.394 | 289.933 | 12.802 | 288.367 | 13.962 | 889.85 | 32.701 | 0.33681
2019-04-11 18:45:00 | 10.259 | 284.693 | 11.152 | 284.021 | 11.625 | 288.867 | 12.003 | 285.967 | 14.216 | 889.65 | 32.235 | 0.32118
2019-04-11 19:00:00 | 10.11 | 287.66 | 11.018 | 284.762 | 11.367 | 291.167 | 11.675 | 288.733 | 14.004 | 889.8 | 33.277 | 0.28849
2019-04-11 19:15:00 | 8.938 | 288.393 | 9.787 | 286.098 | 10.197 | 289.5 | 10.747 | 287.333 | 13.795 | 889.65 | 34.016 | 1.5483
2019-04-11 19:30:00 | 7.276 | 281.42 | 8.097 | 281.35 | 8.243 | 285.833 | 8.474 | 281.933 | 13.454 | 889.833 | 34.147 | 12.0654
2019-04-11 19:45:00 | 8.182 | 288.827 | 9.091 | 285.191 | 9.29 | 288.933 | 9.678 | 286.133 | 13.616 | 889.75 | 34.477 | 36.3014
2019-04-11 20:00:00 | 8.063 | 288.947 | 9.108 | 286.21 | 9.463 | 291.333 | 9.812 | 289.7 | 13.43 | 890.167 | 34.656 | 55.3723
2019-04-11 20:15:00 | 7.216 | 285.853 | 8.038 | 287.035 | 8.528 | 292.867 | 8.892 | 290.7 | 13.182 | 889.95 | 34.637 | 50.4779
2019-04-11 20:30:00 | 7.617 | 292.493 | 8.713 | 288.8 | 8.807 | 293.267 | 9.182 | 289.7 | 13.27 | 889.967 | 34.251 | 54.2319
2019-04-11 20:45:00 | 7.368 | 289.507 | 8.463 | 285.287 | 9.248 | 289.467 | 9.953 | 289.167 | 13.18 | 890.083 | 33.571 | 58.9053
2019-04-11 21:00:00 | 7.947 | 294 | 8.846 | 290.698 | 9.122 | 295.3 | 9.821 | 295.133 | 12.891 | 889.95 | 33.333 | 47.4872
2019-04-11 21:15:00 | 6.248 | 274 | 7.216 | 275.324 | 7.494 | 280.133 | 7.774 | 277.9 | 13.412 | 889.783 | 34.251 | 42.8578
2019-04-11 21:30:00 | 6.994 | 278.267 | 8.135 | 279.768 | 8.503 | 282.667 | 8.918 | 280.2 | 12.799 | 889.55 | 34.875 | 46.3403
2019-04-11 21:45:00 | 7.394 | 278.113 | 8.292 | 276.455 | 8.663 | 279.667 | 9.226 | 278.2 | 12.897 | 889.583 | 35.24 | 59.5988
2019-04-11 22:00:00 | 8.177 | 270.58 | 9.083 | 272.37 | 9.07 | 277.1 | 9.419 | 275.833 | 12.968 | 889.717 | 35.368 | 54.6667
2019-04-11 22:15:00 | 7.736 | 266.473 | 8.52 | 268.567 | 8.888 | 274.567 | 9.107 | 270.533 | 12.561 | 889.7 | 35.347 | 47.7131
2019-04-11 22:30:00 | 7.423 | 258.86 | 8.325 | 260.056 | 8.431 | 265.267 | 8.668 | 262.567 | 12.724 | 889.883 | 35.472 | 60.7932
2019-04-11 22:45:00 | 7.67 | 262.26 | 8.766 | 265.317 | 8.977 | 270.5 | 9.247 | 266.7 | 12.145 | 889.767 | 36.787 | 62.78
2019-04-11 23:00:00 | 7.532 | 260.667 | 8.071 | 261.045 | 8.407 | 266.367 | 8.549 | 261.65 | 11.661 | 889.883 | 37.069 | 49.5187
2019-04-11 23:15:00 | 6.29 | 262.307 | 6.934 | 262.837 | 7.246 | 271.1 | 7.558 | 266.833 | 11.624 | 889.533 | 37.445 | 37.638
2019-04-11 23:30:00 | 5.141 | 262.893 | 5.808 | 261.688 | 6.085 | 268.167 | 6.412 | 263.867 | 11.407 | 889.267 | 37.541 | 32.3805
2019-04-11 23:45:00 | 6.25 | 258.527 | 6.996 | 261.223 | 7.254 | 267.367 | 7.304 | 264.45 | 11.228 | 889.583 | 37.435 | 37.8391